A study of the reactive intermediate IF and I atoms with photoelectron spectroscopy

Fabrizio Innocenti(a), Marie Eypper(a), Sonya Beccaceci(a), Alan Morris(a), Stefano Stranges(b), John B. West(c), George C. King(d)* and John M.Dyke(a)*

(a) Department of Chemistry, University of Southampton, Highfield,

Southampton SO17 1BJ, UK

(b) Department of Chemistry and INSTM Unit, “La Sapienza”, University of Rome, Italy.

ISNM-CNR sez. Roma La Sapienza and Laboratorio TASC-INFM-CNR, Trieste,Italy

(c) STFC  Daresbury Laboratory, Daresbury, Warrington WA4 4AD, UK

(d) Department of Physics, Manchester University, Manchester M13 9PL, UK

* Authors to whom correspondence should be addressed

Abstract

Angle resolved photoelectron (PE) spectra have been recorded for IF and I.  These were prepared as primary and secondary products of the F + CH2I2 reaction.

PE spectra were recorded with different IF to I ratios in order to evaluate the relative intensities of IF and I photoelectron bands where their bands were overlapped. Improved values have been obtained for the vertical and adiabatic ionization energies (VIEs and AIEs) of the IF+(X2Π3/2) ← IF(X1Σ+) and IF+(2Π1/2) ← IF(X1Σ+) ionizations, and for the spectroscopic constants ωe and ωexe for the two IF ionic states X2Π3/2 and 2Π1/2. Equilibrium bond lengths re of these IF ionic states have been derived from the experimental relative intensities of the vibrational components and calculated Franck-Condon Factors (FCFs).

Threshold photoelectron (TPE) spectra have also been recorded under the same reaction conditions. On comparing the TPE and PE spectra, the contributions from atomic iodine were much more intense in the TPE spectra. No difference was seen between the vibrational envelopes of the two observed IF bands and no extra structure was seen associated with the TPE bands of IF as has been observed in TPE spectra of other diatomic halogens. The extra features that were observed in the TPE spectra can be assigned to contributions from autoionization of known I Rydberg states.

Introduction

This paper reports a study of I and IF by photoelectron spectroscopy (PES) and threshold photoelectron spectroscopy (TPES). Iodine is a reactive open-shell atom and investigating its photoionization behaviour and measurement of its partial photoionization cross-sections should provide valuable information which will allow comparison between theory and experiment, and hence enable testing of the theoretical methods used. Also, a study of IF with these methods will allow its valence ionization energies and low-lying ionic state spectroscopic constants to be established. IF is a short-lived molecule in the gas-phase which typically has a lifetime of several milliseconds in a low pressure flowing gas system. It has been shown to be a promising candidate for a visible chemical laser via energy transfer to its vibrationally excited ground state, IF(X1+), from O2(a1g) to produce IF(B3) (1-3).

Although an initial investigation of IF with PES has been made (4), the higher resolution threshold photoelectron spectrum has not yet been obtained. PES and TPES are complementary methods of studying the electronic structure and spectroscopy of molecular ions. The PE and TPE spectra of the stable halogens and interhalogens F2, Cl2, Br2, ICl and IBr have been recorded previously (5-8). In these cases, the TPE spectra are notable in that extra vibrational structure is observed in the Franck-Condon gaps between the PE bands. Also, in the TPE spectra the resolution is higher than in PES. In TPES the resolution is limited by the resolution of the scanned photon source (typically 1 - 3 meV for a synchrotron source) combined with the low energy (threshold) electrons selected (typically below 3 meV) whereas in u.v. PES the resolution (typically 25 meV) is governed by the geometrical characteristics of the energy analyser used. In the initial study of IF by PES (4), IF was produced from the rapid gas-phase reaction F + ICl → IF + Cl. However, because of the minor reaction channel F + ICl → FCl + I, I atoms were also observed in the spectra and some of the I atom features overlapped with some of the vibrational components in the first two IF PE bands. For these overlapped bands, the relative contributions of I and If were not established.

The main objective of this work therefore was to determine these contributions. In this way, reliable vibrational envelopes of the PE bands of IF and the relative intensities of I atom bands will be obtained. The F + CH2I2 reaction was studied at different reactant times to obtain PE spectra with different partial pressures of I and IF in the photoionization region. These spectra were then used to obtain “pure” PE spectra of both I and IF.  Once the PE spectra had been obtained, TPE spectra were then recorded.

Experimental

The experiments reported here were undertaken on the Circularly Polarized Beamline (4.2R, Polar) at the Elettra synchrotron radiation source using a photoelectron spectrometer which has been specifically designed to study reactive intermediates (9-11). PE spectra were recorded as described in the earlier work (12) and the same procedures were used to normalize the spectra for photon flux and the transmission function of the spectrometer. Most spectra were recorded at the angle of 54 44´ with respect to the direction of polarization of the photon beam. At this angle the measured PE intensity is proportional to the photoionization cross-section and is independent of the angular distribution parameter . The resolution of the PE spectra is  35 meV. This is determined mainly by the slit widths and the mean radius of the hemispherical analyser used. Because of the DAC card used to supply the voltages to the lenses of the spectrometer, excellent linearity and reproducibility of the ionization energy scale was obtained in PE spectra. This allowed band maxima to be measured to within 1 meV (see later).

The spectrometer has been modified so that TPE spectra can also be recorded. This has been achieved by adding an extra electrode between the ionization region and the lens system of the photoelectron spectrometer. A potential applied to this electrode generates a penetrating field (13) in the interaction region which selectively extracts low energy (threshold) electrons. The technique results in a very large solid angle of collection (≈ 4π sr) for low-energy electrons, ≤ 10 meV, whilst more energetic electrons are discriminated against. It also produces a cross-over point or focus of electron trajectories which acts as input to the following lens system. The geometry was optimized by simulating computed electron trajectories for threshold electrons from the photoionization region through the three element lens to the entrance of the 180° hemispherical electron energy analyzer.  Figure 1 shows a simulation of trajectories of 1 meV photoelectrons with an extractor potential of 100 V and electrostatic lens potentials of V1 = 21 V, V2 = 14 V and V3 = 3 V. The last lens voltage, V3, is set equal to the pass energy of the hemispherical analyzer. These simulations also show that the entrance slit of 1 mm in the first lens further discriminates against more energetic electrons (≥ 2 meV). Some energetic electrons with initial trajectories along the axis of the lens system may pass through the extractor and the lens system. These are discriminated against by the hemispherical electron energy analyzer (not shown in Figure 1) and are not detected. The combination of the field-penetration stage and the hemispherical analyzer gives an overall transmission function that is sharply peaked for threshold electrons and falls off rapidly with electron kinetic energy.

Extractor Electrode V = 100 V

V1 = 21 V

V2 = 14 V

V3 = 3 V

Box 2

Box 1

PB

EA

Figure 1:	Simulations of trajectories of 1 meV photoelectrons. PB denotes the photon beam, which is at right angles to the plane shown. EA shows electrons entering the 180 hemispherical analyser.

TPES differs from PES in that the energy of the detected electrons is kept low (typically < 2meV) while the photon energy is scanned. A threshold photoelectron signal will be obtained each time the photon energy is equal to the ionization energy to an ionic state. Whilst the observed intensities of vibrational components in a conventional PE spectrum are almost always governed by Franck-Condon factors between the initial neutral and final ionic state, those observed by TPES are often dominated by autoionization (14,15). This is primarily due to the high density of Rydberg states which are parts of series which converge on higher rovibronic ionic levels, some of which can lie just above a selected ionization threshold. These can autoionize and produce electrons of low kinetic energy that are detected in TPES. In many cases the autoionization process can enable the observation of ionic states that cannot be observed by direct ionization from the ground state in conventional PES or can allow extra vibrational components of an ionic state, seen in PES, to be observed in TPES.

In this work, I atoms and IF were produced by the rapid reaction of F atoms with CH2I2 (16) :

Primary reactions:		F + CH2I2 → CH2I+ IF

Subsequent reactions:		F + CH2I → [CH2IF]† → CH2F + I

→ CHF + HI

CH2I + CH2I → CH2ICH2I† → HI + CH2CHI

In an earlier PES study of the F + CH2I2 reaction by the Southampton group (17), CH2I was observed at low mixing distances ( 0.3cm) (at 8.52 eV vertical ionization energy (VIE)) whereas only bands from I, IF, HI, HF and CH2CHI (vinyl iodide) and CF (weakly) are observed at longer mixing distances ( 3-4 cm) corresponding to the conditions used in this present work. It is clear that the reactive intermediates CH2F and CHF in the above reaction sequence are converted to CF + HF at the relatively long reaction times used in this work.

A high yield of fluorine atoms was produced by flowing 5% F2 in helium through a microwave discharge at 2.45 GHz in the side arm of a glass inlet system, as described previously (9-11). This system also has an inner inlet system which is used to transport the target reaction molecule (in this case CH2I2) to the reaction region. In order to minimize attack of the glass system by the fluorine atoms, the inner surfaces of both the tubes were coated with a thin layer of teflon. In addition the discharge cavity was positioned on an alumina section of the inlet system to prevent melting of the teflon due to heating from the discharge (9-11).

Preliminary experiments were carried out in Southampton in order to determine the optimum pressures and reactant mixing distances above the photon beam which maximise the intensities of the I and IF  features in the PE spectra. The optimum partial pressures were: p(CH2I2) = 110-6, p(F2/He) = 510-6 and p(Ar) = 310-7 mbar. These partial pressures were determined using an ionization gauge connected to the main vacuum chamber and were measured with respect to the background pressure in the vacuum chamber (110-7 mbar). The argon gas was introduced in order to allow optimization of the electrode voltages when TPE spectra were recorded, as described below. The most intense spectra of the I bands were obtained at a mixing distance of about 4 cm from the photon beam while the IF bands were optimized at a shorter mixing distance of about 3 cm.

Results and Discussion

The interhalogen IF has the electronic configuration ---122 64 132 74. In the imitial study of this reactive intermediate with PES using HeI radiation (4), where IF was prepared using the F + ICl reaction, the first two bands were vibrationally resolved. They correspond to ionization to the 23/2 and 21/2 ionic states at vertical ionization energies (VIEs) of 10.62 and 11.32 eV respectively arising from the (7)-1 ionization. The (13)-1 and (6)-1 ionizations gave rise to broad bands at VIEs of 15.22 and 15.94 eV respectively which showed no vibrational structure (4).

The ground state electronic configuration of atomic iodine is ---5s25p5. This gives rise to two states 2P3/2 and 2P1/2 separated by 0.94 eV with the 2P3/2 state lower (18). The 2P1/2 state is effectively not populated under equilibrium conditions at room temperature. I atoms were first observed by PES by de Leeuw and coworkers (18), where a partial photoelectron spectrum was obtained. The (5p)-1 ionization from the 2P3/2  ground state is expected to give 3P2, 3P1, 3P0, 1D2 and 1S0 ionic states with the following ionization energies determined from photoabsorption measurements (19,20):

I+(3P2) ← I(2P3/2)	10.451 eV

I+(3P0) ← I(2P3/2)	11.251 eV

I+(3P1) ← I(2P3/2)	11.330 eV

I+(1D2) ← I(2P3/2)	12.153 eV

I+(1S0) ← I(2P3/2)	14.109 eV

The (5s)-1 ionization, which was not studied in this work, gives 3P2,1,0 and 1P1 ionic states respectively with ionization energies 20.61, 20.89, 21.66 and 23.35 eV respectively (19).

a) Photoelectron (PE) spectra

Figures 2 and 3 show PE spectra recorded for the F + CH2I2 reaction, in the region from 10.3 eV to 12.3 eV with mixing distances of 4 and 3 cm respectively. The selected photon energy using the synchrotron source was 21.22 eV and the spectra were recorded at the angle of  = 54 44´. In the spectrum recorded at 4 cm mixing distance (Figure 2) the intensities of the atomic I spectral features compared to the IF features are higher than in the spectrum recorded at 3 cm mixing distance (Figure 3).

As shown in these spectra, two groups of bands were observed in the region 10.35-10.80 eV and 11.25-11.55 eV with a single band at 12.15 eV. To assist the analysis and discussion, these were labelled (a-e), (a-d) and a as shown.

The assignment of the bands shown in Figure 2 and 3 is as reported in the initial study of IF using He(I) photoelectron spectroscopy (7), where the IF was produced from the reaction F + ICl. In brief, bands (b) to (e) are vibrational components of the first IF band, bands (a) to (d) are vibrational components of the second IF band and I atom ionizations are as labelled in Figure 2. However, for some of the observed features, like features (a) and (b), the relative contribution from I and IF is not known. It is also not known whether or not IF contributes to band (a).

Mixing distance = 4 cm

I+(3P2)←I(2P3/2)

I+(1D2)←I(2P3/2)

I+(3P1,0)←I(2P3/2)

(a’)

(b’)

(c’)

(d’)

(a)

(b)

(c)

(e’)

(d)

(a’’)

Figure 2:	PE spectrum recorded at hν = 21.22 eV at 54°44’ and 4 cm mixing distance from the photon beam showing a “high” I to IF ratio.

Mixing distance = 3 cm

IF+ (2Π3/2)← IF (X 1Σ)

IF+ (2Π1/2)← IF (X 1Σ)

(d’)

(c’)

(b’)

(a’)

(a)

(b)

(c)

(e’)

(d)

(a’’)

Figure 3:	PE spectrum recorded at hν = 21.22 eV at 54°44’ and 3 cm mixing distance above the photon beam showing a “low” I to IF ratio.

The spectra shown in Figures 2 and 3 were normalised in intensity to the pure IF vibrational feature (c). Gaussian fitting was used to obtain the relative areas of all the bands. This approach was also used to analyze the many PE spectra recorded (≈ 20) with different I to IF ratios. Spectra with different I:IF ratios were obtained by recording PE spectra at different mixing distances and at selected atomic iodine resonance photon energies. The resonance positions to excited atomic Rydberg states were obtained by recording constant-ionic-state (CIS) spectra on the first and fourth PE bands of I atoms. It was also possible to obtain different I:IF ratios at the same mixing distance by recording PE spectra at different times e.g. when the reaction had just been started and after the reaction had been running for some time. This was possible since the I atom intensity decreased with respect to IF over the timescale of several hours, probably because of the change in efficiency in wall recombination of I atoms with time. Many spectra with different I to IF ratios were recorded during the several days that the reaction was running.

Once each PE spectrum had been normalized in intensity to band (c), an IF vibrational component, spectra were selected in pairs for analysis, one spectrum with “high” I atom intensity and another spectrum with “low” I atom intensity. The procedure used can be illustrated by considering Figures 2 and 3. The band intensity ratio was calculated for each band by dividing the area of each band in Figure 2 by the area of the corresponding band in Figure 3. This is expected to be equal to 1.0 for a pure IF band. Since band (a) corresponds to the pure I+(1D2) ← I(2P3/2) ionization, the ratio calculated for this band gives the increase (or decrease) of the I atoms between the two spectra. Figure 4 shows the ratio for the observed bands calculated by dividing the areas obtained in the spectrum in Figure 2 with respect to the areas obtained in the spectrum in Figure 3 after the intensity of band (c) has been made the same in both spectra. The error associated with each ratio is also reported. All the ratios obtained from analysis of all the PE spectra recorded give a pattern similar to that shown in Figure 4. Firstly it can be seen that, as expected, bands (b), (c), (d) and (c) are pure IF bands since their ratio is equal to 1.0 within the error associated with the measurement. Band (a) has the same ratio as the I+(1D2) ← I(2P3/2) band, band (a), indicating that (a) is a pure I band or that the contribution of IF to band (a) is so small that it cannot be determined with this procedure. The ratios for bands (a) and (b) are bigger than 1.0 (when the experimental errors for the ratios of bands (a) and (b) are considered) but smaller than that obtained for a pure I band, band (a). Therefore bands (a) and (b) have contributions from both I and IF, as expected because of known I atom ionizations in these positions. It can be seen that band (b) has a bigger contribution of I with respect to band (a).

Figure 4:	The band intensity ratio calculated by dividing the area of the more intense ionic bands in Figure 2 by the area of the same bands in Figure 3 after the intensity of band (c) has been made the same in both spectra (see text).

Taking band (a) as an example, which contains contributions from I and IF, and assuming the I atom ratio in Figure 4 for band (a) is the same as that of the pure I atom band (a) (or band (a)), it is possible to separate the contribution of I and IF in band (a). The same procedure can be used for band (b). It is assumed that Area1 and Area2 are the areas of band (a) in Figures 2 and 3 (after normalizing the two spectra to ensure areas of band (c) are the same), AreaIF is the area of the IF contribution,  and I1 and I2 are the I contributions to band (a) in the two spectra. The ratio I1/I2 is then set equal to the ratio of band (a) or alternatively of band (a) as both are pure I atom bands. Then using:

knowing Ratio, Area1 and Area2, I1 and I2 can be calculated and hence AreaIF can be calculated. The same calculation can be applied to band (b) allowing the determination in each spectrum of the relative intensities of the four I atom bands (at positions of bands a, a, b and a) as well as the relative intensities of the IF vibrational bands. The same procedure was used for any two PE spectra with different I to IF ratios from all the PE spectra recorded. All the relative intensities so obtained have been averaged and the results are shown in Figures 5, 6 and 7.

Figure 5:	Relative intensities of the four iodine atom components, derived using the procedure described in the text.

Figure 6:	Relative intensities obtained for the IF components in the IF+(X2Π3/2) ← IF(X1Σ) band.

Figure 7:	Relative intensities obtained for the IF components in the IF+(2Π1/2) ← IF(X1Σ) band.

The relative intensities of iodine atom bands  obtained in this work, including that measured for the I+(1S0) ← I(2P3/2) (5p)-1 ionization at 14.109 eV not shown in Figures 2 and 3, can be compared with those obtained in reference 21 and 22 by PES with a HeI (21.217 eV) photon source, as reported in Table 1. The results are quite similar within experimental error to the results obtained in references 21 and 22 with the exception of the I+(1D2) ← I(2P3/2) ionization. This has a much lower relative intensity in this work (0.58  0.03 compared to the HeI value in ref.(21) of 0.80  0.04) but is closer to the calculated value of references 21 and 22 (0.57) using an intermediate coupling model. This difference can only be partly explained by considering the asymmetry parameter  for each ionization. The experimental work in references 21 and 22 was carried out with unpolarized HeI radiation while the present results were obtained with linearly polarized radiation (P  0.99), at the detection angle (54º 44) where the measured intensity is proportional to the total photoionization cross section and independent by . Figure 8 shows the asymmetry parameter for the bands measured in the present work and it can be clearly seen that the value of  is higher for the I+(1D2) ← I(2P3/2) band (a) than for the I+(3P2) ← I(2P3/2) band (a). Relative cross section measurements depending on  would therefore give a higher relative intensity for I+(1D2) ← I(2P3/2) ionization with respect to the present work. Indeed, the intensity of a band in a spectrum recorded with an unpolarized photon source and at an angle between the direction of the photoelectrons and the unpolarized radiation of 90°, as used in refs.21 and 22, is proportional to the total photoionization cross section multiplied by a factor equal to (1 + /4) (23). Assuming  = 1.01 for band a (the I+(3P2) ← I(2P3/2) ionization) and 1.63 for band a” (the I+(1D2) ← I(2P3/2) ionization), then correcting for angular distribution, the relative intensity of bands a to a changes from 0.80 (value from Ref.(21)) to 0.71. This value compares with 0.58 ± 0.03 derived in this work and 0.57 obtained using an intermediate coupling model.

| I+ ← I(2P3/2) bands Ionic State | Berkowitz and Goodman (22) (a) | Ref. 21 (b) | This work, at h = 21.22 eV |
| --- | --- | --- | --- |
| 3P2 | 1.00 (1.00) | 1.00 (1.00) | 1.00 ± 0.03 |
| 3P1 | 0.34 (0.31) | 0.39 ± 0.05 (0.31) | 0.47 ± 0.03 |
| 3P0 | 0.17 (0.15) | 0.18 ± 0.03 (0.15) | 0.25 ± 0.02 |
| 1D2 | 0.79 (0.57) | 0.80 ± 0.04 (0.57) | 0.58 ± 0.03 |
| 1S0 | 0.06 (0.058) | 0.04 ± 0.01 (0.05) | 0.047 ± 0.005 |

Table 1:	Relative intensities of iodine atoms obtained in this work compared with the work of references 21 and 22.

- In reference 22, I atoms were generated by heating solid silver iodide and relative intensities were obtained from a HeI PE spectrum. The values shown in brackets are relative intensities computed with an intermediate coupling model.

- In reference 21, I atoms were generated from the F + HI reaction and relative intensities obtained from a HeI PE spectrum. The values shown in brackets are relative intensities computed with an intermediate coupling model.

Figure 8:	Asymmetry parameter  of the more intense bands shown in Figure 2 at a photon energy of 21.22 eV.

PE spectral envelopes obtained at 21.22 eV for the two IF bands (Figures 6 and 7) were simulated by computing the Franck-Condon factors (FCFs) between the ground state and the ionic state vibrational wavefunctions. To do this, the spectroscopic constants e, exe and re for each electronic state were used to generate a Morse potential for the IF and IF+ states. Then the vibrational wavefunctions for each electronic state were obtained from numerical solutions of the vibrational Schrödinger equation with the appropriate potential. The vibrational constants used for the IF(X1Σ+) state for the simulations were taken from a rotational and vibrational analysis of an electronic emission spectrum  and from a microwave spectroscopic study (24-26). The values used are: e = 610.24 cm-1, exe = 3.123 cm-1 and re = 1.90975 Å. The vibrational constants e and exe used for the ionic states were obtained by measuring the spacing (E) between the IF vibrational components of each IF band. Since the equilibrium bond length of each ionic state is not known, a trial value must be used in the calculation of the Franck-Condon factors. This trial value is chosen to be close to, although shorter than, the value of the neutral state. This is because in both IF bands, an electron has been removed from an antibonding orbital; the equilibrium bond length of the ionic state is therefore expected to be shorter while the vibrational constant ωe is expected to be larger than for the IF (X1Σ+) state, as was observed. The actual equilibrium bond length of the ionic state is found by choosing a range of trial values and calculating the quantity Σ[FCFv’(calc)-FCFv’(expt)]2 for each trial bond length (27). A curve of this quantity plotted as a function of trial ionic bond length was then obtained. The lowest point of the curve represents the recommended value of the equilibrium bond length for the ionic state. During these FCF calculations, it was assumed that the electronic transition moment is constant over the photoelectron band. This assumption gives an error in the equilibrium bond length of the ionic state of  0.005Å (27).

|  | IF+ (X2Π3/2) | IF+ (2Π1/2) | IF+ (X2Π3/2) ref. 4 | IF+ (2Π1/2) ref. 4 |
| --- | --- | --- | --- | --- |
| e [cm-1] | 696 ± 2 | 687 ± 2 | 700 ± 30 | 710 ± 30 |
| exe [cm-1] | 3.0 ± 0.5 | 1.2 ± 0.5 | 10 ± 5 | 10 ± 5 |
| re [Å] | 1.836 ± 0.005 | 1.832 ± 0.005 | 1.82 ± 0.01 | 1.82 ± 0.01 |
| AIE [eV] | 10.538 ± 0.001 | 11.244 ± 0.001 | 10.54 ± 0.01 | 11.24 ± 0.01 |
| VIE [eV] | 10.538 ± 0.001 | 11.329 ± 0.001 | 10.62 ± 0.01 | 11.32 ± 0.01 |
| Spin-orbit Splitting [cm-1] | 5690 ± 8 |  | 5560 ± 40 |  |

Table 2:	Ionic vibrational constants and adiabatic and vertical ionization energies for the two IF bands observed in this work.

The results obtained for both IF bands are shown in Table 2, where they are compared with the results obtained in the previous HeI PES work (4) in which IF was produced from the F + ICl reaction. The present results have a much higher precision than the previous ones. This is because the ionization energies of the IF vibrational bands have been determined here to within 1 meV. The ionization energy scales for all the PE spectra were calibrated using the known values for the Ar+(2P3/2,2P1/2) ← Ar(1S0) (3p)-1 and I+(1D2,3P2) ← I(2P3/2) (5p)-1 ionizations. Excellent linearity of the ionization energy scale was ensured by the use of a DAC card with 0.1 mV precision to supply the voltage to the lenses of the spectrometer. Also averaging of the results over many PE spectra allowed determination of the ionization energies of the IF vibrational bands with high precision.

It is notable that the Franck-Condon envelopes for the first two bands of IF are slightly different (Figures 6 and 7) and the derived equilibrium bond lengths for the  X2Π3/2  and 2Π1/2 ionic states are also slightly different (see Table 2). As these ionic states both arise from the IF (7)-1 ionization, their potential curves might be expected to be the same shape and  their equilibrium bond lengths and harmonic vibrational constants might be expected to be the same. However, interaction between ionic states (notably spin-orbit interaction between the 2Π1/2 ionic state and the  2Σ1/2  ionic state arising from the (13)-1  ionization would lead to the X2Π3/2  and 2Π1/2 ionic states having slightly different equilibrium constants and potential curves with slightly different shapes. This would explain why slightly different Franck-Condon envelopes are observed for the first two IF bands (Figures 6 and 7).

b) Threshold Photoelectron (TPE) spectra

In order to record TPE spectra, the penetrating-field analyzer system was tuned to detect near-zero energy (threshold) photoelectrons. The detection of threshold electrons was optimised using the Ar+(2P3/2,2P1/2) ← Ar(1S0) (3p)-1 doublet lines as a guide (28, 29). Figure 9 shows the TPE spectrum of Ar recorded with the optimized values of 100 V for the extractor voltage, V1 = 27.7 V, V2 = 13.3 V and V3 = 3.0 V. The spectral resolution obtained is about 5 meV as estimated from the full-width at half maximum of the main Ar+(2P3/2) ← Ar(1S0)  (3p)-1 band. Argon is a convenient atom to test the performance of the spectrometer since there are high-lying neutral Rydberg states (11s’, 12s’, 12s’, 14s’, etc.) that converge to the (3p)-1 2P1/2 ionization limit (28,29). These excited neutral states can autoionize to the lower-lying 2P3/2 ionic state leading to the production of electrons with energies of 3, 38, 62, 81 meV etc. respectively. At photon energies well away from threshold the ratio of the intensities of the argon Ar+(2P3/2) ← Ar(1S0) and Ar+(2P1/2) ← Ar(1S0) bands is the statistical ratio of 2:1. However, at photon energies slightly above threshold, this ratio increases due to the contribution of the 11s’ autoionizing states which gives electrons of 3 meV that enhance the Ar+(2P3/2) ← Ar(1S0) channel. The ratio shown in Figure 9 is ≈ 5:1 and indicates that autoionizing states are accessed within about 5 meV above the ionization threshold. Some finite energy electrons will be emitted in the direction of the spectrometer and will also be detected if their energy is within the band pass of the analyser. This gives rise to a high-energy tail in the transmission function of the analyser. As can be seen in Figure 9 there is a small peak at 15.798 eV due to the 12s’ autoionizing state which gives rise to electrons of 38 meV. TPE spectra may therefore contain additional features due to autoionizing states and this must be taken into account in the interpretation of the spectra. In molecules, this effect may lead to the observation of ionic state vibrational levels outside the normal Franck-Condon region which are enhanced in intensity by autoionization from close-lying Rydberg states.

Figure 9:	TPE spectrum recorded for argon in the region of the Ar+(2P3/2) ← Ar(1S0) and Ar+(2P1/2) ← Ar(1S0) (3p)-1 ionizations.

Figure 10 shows the TPE spectrum recorded for the F + CH2I2 reaction in the 10.3 - 12.3 eV photon energy region at a 3 cm mixing distance. The photon energy scale was calibrated using the known values for Ar+(2P3/2,2P1/2) ← Ar(1S0) and I+(1D2,3P2) ← I(2P3/2) ionizations. Comparing Figure 10 with the PE spectrum shown in Figure 3, it can be seen that better resolution is obtained for the TPE spectra and, as expected, different relative intensities of the bands are observed. All the atomic I features have increased in intensity with respect to the IF bands compared to the PE spectra. This is particularly the case for band (a’), corresponding to the first iodine atom ionization, I+(3P2) ← I(2P3/2). This is probably due to an autoionization resonance as for the case of the Ar+(2P3/2) ← Ar(1S0) ionization. In the photoionization work of Berkowitz et al (30) the ns Rydberg series converging to the I+(3P0) limit of atomic I has an n=8 component at an excitation energy equal to 10.4535 eV. This Rydberg level is only 2.5 meV above the I+(3P2) ← I(2P3/2) limit and therefore it can autoionize giving electrons of 2.5 meV that enhance the I+(3P2) ← I(2P3/2) channel. In an photoabsorption study, Sarma and Joshi (31) observed a different ns series converging to the 3P1 limit assigned as (3P1)ns[1]3/2 in the Jcl coupling scheme (31). The n = 8 state of this series has an excitation energy of 10.4596 eV, 8.6 meV above the I+(3P2)  I(2P3/2) ionization energy at 10.451 eV. It can also autoionize to the I+(3P2) state enhancing the I+(3P2) ← I(2P3/2) TPE intensity.

(a’)

(b’)

(c’)

(d’)

(a)

(b)

(c)

(e’)

(d)

(a’’)

Figure 10:	TPE spectrum recorded for the F + CH2I2 reaction in the 10.3 - 12.3 eV photon energy region at a mixing distance of 3 cm.

Comparison of Figures 3 and 10 also shows that the relative intensities of the IF+ ← IF bands are similar in both the TPE and PE spectra. In particular higher vibrational members of the first IF photoelectron band are not observed in the TPE spectrum in the “non-Franck-Condon region” between the IF+(X2Π3/2) ← IF(X1Σ) and IF+(2Π1/2) ← IF(X1Σ) bands, indicating an absence of significant autoionization to these vibrational states.

An expanded scan in the energy region of the I+(3P2) ← I(2P3/2) and the IF+(X2Π3/2) ← IF(X1Σ) bands, 10.40 - 10.85 eV, is shown in Figure 11. A small band can be observed of about 5% the intensity of the I+(3P2) ← I(2P3/2) band and 31 meV higher in photon energy (it is denoted with a ‘*’ in Figure 11). This could be associated with a high-lying neutral Rydberg state which autoionizes to the lower-lying I+(3P2) state. Berkowitz et al (30) assigned the n = 8 state of an ns series converging to the 3P1 limit at a photon energy of 10.4827 eV. Sarma and Joshi (31) reported two ns series converging to the 3P1 limit assigned as (3P1)ns[1]1/2 and (3P1)ns[1]3/2. The (3P1)8s[1]1/2 Rydberg state has an excitation energy of 10.4830 meV which is comparable with the result obtained by  Berkowitz. Autoionization of this state to the lower-lying I+(3P2) ionic state would give photoelectrons of 31 meV.

(a’)

(b’)

(c’)

(d’)

(e’)

Figure 11:	TPE spectrum showing the I+(3P2) ← I(2P3/2)  and the IF (X2Π3/2) ← IF(X 1Σ) bands.

(a)

(b)

(c)

(d)

(a1)

(a2)

(a3)

(a4)

(a5)

(a6)

Figure 12: 	TPE spectrum showing the I+(3P0,1) ← I(2P3/2) and IF+(2Π1/2) ← IF(X 1Σ) bands. Bands (a) and (b) are overlapped I and IF features whereas bands (c) and (d) are IF vibrational components (see text).

Figure 12 shows an expanded scan of the energy region 11.22 - 11.52 eV containing the I+(3P1,0) ← I(2P3/2)  and the IF+(X2Π1/2) ← IF(X 1Σ) bands. Associated with band (a) two intense sharp peaks (a1 and a2) and four smaller peaks (a3, a4, a5 and a6) can be seen. As noted above, band (a) has contributions from both I and IF. It is possible that the two contributions are resolved but the fact that band (a1) is sharp (2-3 meV) may indicate that it is associated with an autoionizing I atom Rydberg state. Moreover its photon energy (≈ 11.255 eV) is too high to be assigned as the I+(3P0) ← I(2P3/2) band at 11.251 eV. This may suggest that the wide band (a) (5-6 meV) has contributions from overlapping I and IF bands while the first sharp peak (a1) could be associated with 4 meV  electrons arising from autoionization of an I atom Rydberg state. CIS spectra on the I+(3P2) ← I(2P3/2) ionization band have been recorded and they will be reported in a future paper. A first analysis of these spectra shows several Rydberg states converging to the I+(3P1) ← I(2P3/2) limit at 11.330 eV (32,33) in the 11.0 - 11.3 eV photon energy region. This again suggests that the band (a) is an overlap of I and IF bands while the other sharp features, a1 to a6, are associated with I atom Rydberg autoionizing resonances. Berkowitz et al. (30) found one ns and one nd series converging to the (3P1) limit with several resonances in the 11.255 - 11.285 eV photon energy region. The same Rydberg series but with slightly different photon energies are reported by Gu et al. (34) and assigned as (3P1)ns[1]3/2 and (3P1)nd[2]5/2 resonances from the I(2P3/2) ground state. Autoionization of (3P1)16d[2]5/2 and (3P1)18s[1]3/2 I atom Rydberg states to the I+(3P0) ionic state can be associated with bands (a1) and (a2) at 11.2565 eV and 11.2606 eV (34) respectively. Features (a3, a4, a5 and a6) may also be assigned as overlapping autoionization features from higher n Rydberg states of both ns and nd series (30,34).

| ν+ | IF+ (X2Π3/2) PES | IF+ (X2Π3/2) TPES | IF+ (2Π1/2) PES | IF+ (2Π1/2) TPES |
| --- | --- | --- | --- | --- |
| 0 | 10.539 ± 0.001 | 10.539 ± 0.001 | 11.244 ± 0.001 | 11.245 ± 0.001 |
| 1 | 10.625 ± 0.001 | 10.625 ± 0.002 | 11.329 ± 0.001 | 11.333 ± 0.001 |
| 2 | 10.709 ± 0.001 | 10.709 ± 0.002 | 11.413 ± 0.001 | 11.413 ± 0.001 |
| 3 | 10.792 ± 0.003 | 10.793 ± 0.002 | 11.497 ± 0.002 | 11.496 ± 0.002 |

Table 3:	Comparison between the measured positions of the vibrational components   of the two IF PE bands as obtained in PE and TPE spectra.

Table 3 compares the ionization energies obtained from PE and TPE spectra for the IF+(X2Π3/2) ← IF(X1Σ) and IF+(X2Π1/2) ← IF(X1Σ) bands. The agreement between the two sets of measurements is in general excellent. This is significant since their respective uncertainties arise from different sources. In the case of the PE spectra the linearity and precision of the energy calibration depends upon the voltages applied to the spectrometer, notably the voltage applied to the third lens element. This voltage has a precision of about 0.2 mV. The peak position of each photoelectron band is determined from a gaussian fit with a precision of about 0.5 - 1.0 meV for an intense band. Furthermore, in this work the ionization energy position for each band has been averaged over the results obtained from many PE spectra. Therefore the error associated with the ionization energy of any of the intense bands is estimated to be 1 meV. On the other hand for the case of the TPE spectra the voltages applied to the spectrometer are held constant and the photon energy is swept linearly. The photon energy calibration of the monochromator is obtained with a precision of about 1 meV, while the TPE peak position is obtained with a precision of about 0.5 meV. The error associated with the photon energy position of a TPE band is thus estimated to be between 1 and 2 meV.

The same ionization energy values are obtained for three of the four IF+(X2Π3/2,v+) ← IF(X1Σ,v=0) vibrational components (v+ = 0, 1, 2). For the fourth (v+ = 3) there is a difference of 1 meV which is within experimental error (see Table 3). Also for three of the four IF+(X2Π1/2,v+) ← IF(X1Σ,v=0) vibrational components the same ionization energy values are obtained with a difference of 4 meV for v+ = 1 (this contributes to band (b) in Figure 12). The value of 11.333 eV obtained in the TPE measurement is too high to be associated with either IF or I. A possible explanation is a contribution from autoionizing I atom Rydberg states. Berkowitz et al. (30) reported two ns series converging to the 1D2 limit with excitation energies to the n = 8 Rydberg states close to 11.333 meV. The lower photon energy side of a TPE band has normally a sharp increase corresponding to the energy width of the incident photon beam, in this work about 3 - 4 meV from the bottom to the top of the peak. This value is 10 meV for band (b). This can be explained if band (b) in the TPE spectrum arises from the overlap of IF and I contributions at lower photon energy and contributions from one or two autoionizing I atom Rydberg states at higher photon energy.

In summary, this work has investigated IF and I bands in the ionization energy region 10.0-15.0 eV by PES. Their relative intensities have been measured and, where IF and I bands are overlapped, their relative contributions have been established.. This was not done in the initial study (4). This work has led to improved AIEs and VIEs of the IF+(X2Π3/2) ← IF(X1Σ+) and IF+(2Π1/2) ← IF(X1Σ+) ionizations and improved spectroscopic constants e, exe and re for the two IF ionic states X2Π3/2 and 2Π1/2.

Comparison of the TPE and PE spectra for IF and I shows that no difference can be seen between the vibrational envelopes of the two observed IF bands. Unlike TPE spectra recorded for other diatomic halogens (5-8), no extra vibrational structure is observed in the TPE spectrum of IF, particularly in the “Franck-Condon gap” between the two observed bands. The extra structure seen in the TPE spectra, notably associated with bands (a) and (a’), and the position of band (b), which is higher in the TPE spectrum compared to its position in the PE spectrum by 4 meV, can be attributed to autoionization contributions from know I atom Rydberg states.

Acknowledgements

The authors are grateful to EPSRC for supporting this work. They also thank Dr N.Zema and the technical staff of the Polar beamline (4.2R) at Elettra, Trieste for help and advice.

ME and SB thank the EU Early Stage Research Training Network (SEARCHERS) for financial support.

References

- (a) S.J. Davis, L. Hanko and P.L Wolf, J.Chem. Phys. 82, 4831 (1985).

(b) S.J. Davis and A.M. Woodward, J.Phys Chem. 95, 4610 (1991).

- (a) C.A. Helms, L. Hanko, K. Healey, G. Hager and G.P. Perram, J. Appl. Phys 66, 6093 (1989).

(b) K.Y. Kane and J.G. Eden, IEEE J. Quantum Electronics 26, 1620 (1990).

- (a) V.F. Gavrikov, A.N. Dvoryankin, A.A. Stepanov, A.K. Shmelev and V.A. Shcheglov, J. Russian Laser Research 15, 177 (1994).

(b) M. Trautmann, T.R. Trickl and J. Wanner, Ber.der Bunsen-Ges Phys. Chem. Chem. Phys. 86, 841 (1982).

- E.A. Colbourn, J.M. Dyke, N.K. Fayad and A. Morris, J. Elec. Spec. Rel. Phen. 14, 443 (1978).

- A.J. Cormack, A.J. Yencha, R.J. Donovan, K.P. Lawley, A. Hopkirk and G.C. King, Chemical Physics 213, 439 (1996).

- A.J. Yencha, A. Hopkirk, A. Hiraya, R.J. Donovan, J.G. Goode, R.R.J. Maier, G.C. King and A. Kvaran, J. Phys. Chem. 99, 7231 (1995).

- A.J. Yencha, M. Cristina Lopes and G.C. King, Chem. Phys. Letts. 325, 559 (2000).

- A.J. Yencha, A.E.R. Malins and G.C. King, Chem. Phys. Letts. 370, 756 (2003).

- F. Innocenti, L. Zuin, M.L. Costa, A.A. Dias, A. Morris, S. Stranges and J.M. Dyke, J. Chem. Phys 126, 154310 (2007).

- J.M. Dyke, S.D. Gamblin, A. Morris, T.G. Wright, A.E. Wright and J.B. West, J. Electron. Spec. Rel. Phen. 97, 5 (1998).

- J.M. Dyke, S.D. Gamblin, A. Morris, T.G. Wright, A.E. Wright and J.B.West, J. Phys. B 32, 2763 (1999).

- F. Innocenti, L. Zuin, M.L. Costa, A.A Dias, M. Goubet, A. Morris, R.I Oleriu, S. Stranges and J.M. Dyke, Mol. Phys. 105, 771 (2007).

- S. Cvejanovic and F.H. Read, J. Phys. B, 7, 1180 (1974).

- P.M. Guyon, R. Spohr,  W.A. Chupka and J. Berkowitz, J. Chem. Phys. 65, 1650 (1976).

- T. Baer and P.M. Guyon, J. Chem. Phys. 85, 4368 (1986).

- U. Worsdorfer and H. Heydtmann, Ber. Bunsenges. Phys. Chem. 93, 1132 (1989)

- L. Andrews, J.M. Dyke, N. Jonathan, N. Keddar and A. Morris,

J. Phys. Chem. 88, 1950 (1984).

- D.M.de Leeuw,R.Mooyman and C.A.de Lange  Chem Phys Letts  54, 1978, 26

- http://physics.nist.gov/PhysRefData

- (a) R.E. Huffman, J.C. Larrabee and Y. Tanaka, J.Chem. Phys. 47, 856 (1967).

(b) R.E. Huffman, J.C. Larrabee and Y. Tanaka, J.Chem. Phys. 48, 3835 (1968).

- J.M. Dyke, N. Jonathan and A.Morris, Int. Rev. Phys. Chem. 2, 3 (1982).

- J. Berkowitz and G.L. Goodman, J.Chem. Phys. 71, 1754 (1979).

- J.H.D. Eland, Photoelectron Spectroscopy, Butterworths , Oxford 1984.

- Constants of Diatomic Molecules Part IV, K.P. Huber and G. Herzberg, van Nostrand Reinhold Company, New York, 1979.

- R.A. Durie, Can. J. Phys. 44, 337 (1966).

- J.C. McGurk and W.H. Flygare, J.Chem. Phys. 59, 5742 (1973).

- J.M. Dyke, J.C.S. Faraday II 83, 67 (1987).

- G.C. King, M. Zubek, P.M. Rutter and F.H. Read, J. Phys. E 20, 440 (1987).

- R.I. Hall, A. McConkey, K. Ellis, G. Dawber, L. Avaldi, M.A. MacDonald, and G.C. King, Meas. Sci. Technol. 3, 316 (1992).

- J. Berkowitz, C.H. Batson and G.L. Goodman, Phys. Rev. A 24, 149 (1981).

- V.N. Sarma and Y.N. Joshi, Can. J. Phys. 61, 1434 (1983).

- L. Minnhagen, Arkiv Fysik 21, 415 (1961).

- W. C. Martin and C. H. Corliss, J. Res. Natl. Bur. Stand. (U.S.) 64A, 443 (1960).

- Y.Y. Gu, A.M. Chojacki, C.J. Zietkiewicz, A.A. Senin and J.G.Eden,

J. Chem. Phys. 119, 12342 (2003).