This is a revised personal version of the text of the final journal article, which is made available for scholarly purposes only, in accordance with the journal's author permissions. The full citation is:

JIANG, Y., ZHANG, Y. & BANKS, C. J. 2012. Determination of long chain fatty acids in anaerobic digesters using a rapid non-derivatisation GC-FID method. Water Science and Technology, 66, 741-747.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Determination of long chain fatty acids in anaerobic digesters using a rapid non-derivatisation GC-FID method**

**Author names and affiliations**

Ying Jiang,[[1]](#footnote-1) Yue Zhang and Charles J. Banks

Faculty of Engineering and the Environment, University of Southampton, Southampton SO17 1BJ, UK

**ABSTRACT**

A rapid non-derivatisation gas chromatographic (GC) method for quantification of palmitic, stearic and oleic acids was achieved using a flame ionisation detector and a highly polar capillary column at elevated temperature. These long chain fatty acids (LCFA) can accumulate in anaerobic digesters and a simple extraction method was also developed to permit a more rapid sample turn-around time, facilitating more frequent monitoring. The GC method was satisfactory in terms of peak separation, signal response, reproducibility and linearity range. The extraction method achieved recoveries of 103.8, 127.2 and 84.2% for palmitic, stearic and oleic acid respectively. The method was tested on digestate from mesophilic laboratory-scale digesters fed with source-segregated domestic food waste, and showed good repeatability between replicate samples. It was observed that the concentrations of stearic and palmitic acid in digesters routinely supplemented with trace elements were lower in proportion to the applied lipid loading than those without supplementation.

**Keywords**: Anaerobic digestion, food waste, GC-FID, long chain fatty acids, trace element

**INTRODUCTION**

In the anaerobic digestion process long chain fatty acids (LCFA) can be degraded via the ß-oxidation pathway to acetate and hydrogen, which are subsequently converted to methane (Weng and Jeris, 1976; Kim *et al.*, 2004). Despite this, LCFA have been reported in a number of studies to be inhibitory to methanogens, especially acetoclastic methanogens (Hanaki *et al.*, 1981; Angelidaki and Ahring, 1992; Lalman and Bagley, 2002). This has been attributed to their amphiphilic properties that allow them to be easily adsorbed onto a microbial surface, therefore impeding the passage of essential nutrients through the cell membrane (Henderson, 1973; Hwu *et al.* 1998; Alves et al, 2001; Pereira *et al.*, 2005).

There is some debate concerning the concentrations at which LCFA become inhibitory, and this may also depend on the digester operating mode and degree of acclimatisation. In batch experiments with granular sludge Koster and Cramer (1987) showed inhibition thresholds for methanogenesis at concentrations of 1.6, 2.4, 2.6, 2.6 and 6.75 mM for lauric, oleic, capric, myristic and caprylic acids respectively. Angelidaki and Ahring (1992) carried out thermophilic batch tests on cattle manure: addition of oleate and stearate at 0.7 and 1.8 mM respectively led to an increase in the lag period before biogas production, while at 1.8 and 3.5 mM methanogenesis was inhibited. No increase in tolerance was found using digestate that had been previously exposed to the LCFA and had successfully depleted it. This supported the findings of Koster and Cramer (1987), who also suggested that inhibition was concentration-dependent. Lalman and Bagley (2000, 2001), using unacclimated batch cultures at 21 °C, showed inhibition of acetoclastic methanogenesis by oleic and linoleic acids at 0.11 mM but not by stearic acid at concentrations up to 0.35 mM; all three acids showed only slight inhibition of hydrogenotrophic methanogenesis.

Alves *et al.* (2001) tested for inhibition in a fixed bed digester at 35 oC continuously fed with 4.15 g l-1 sodium oleate at an organic loading rate of 8-9 kg COD m-3 day-1, and showed it was efficiently converted to methane. Using granular sludge from fixed and expanded bed digesters Pereira *et al.* (2003, 2004) reported that LCFA had adverse effects on functionality, but also that the effect was reversible under appropriate conditions and LCFA could be efficiently converted. Palatsi *et al.* (2009, 2010) have more recently shown that the tolerance of anaerobic consortia towards LCFA could be improved by proper acclimation.

The traditional gas chromatography method for LCFA determination requires free fatty acids to be derivatised to a methyl ester (FAME). This approach was introduced by Morrison and Smith (1964) and similar methods are still used (Masse *et al.* 2002; Palatsi *et al.*, 2009). A two-step procedure is required: firstly methylation free fatty acids under high temperature with a suitable catalyst; then extraction of the derivatised fatty acids using a solvent. Methylation enhances the volatility and reduces activity of the free fatty acid. Morrison and Smith (1964), Angelidaki (1990), Chou *et al.* (1996) and Masse *et al.* (2002) used a catalyst prepared by dissolving Boron Fluoride, a very toxic gas, into methanol. Other workers (Eras *et al.*, 2004; Palatsi *et al.*, 2009) have used the less toxic Clorotrimethylsilane (CTMS)-methanol, but CTMS reacts violently with water requiring lyophilisation of all samples before extraction, with a significant increase in sample preparation time. Two less dangerous reagents, HCl:1-propanol and methanolic HCl, are reported in Neves *et al.* (2009) and Sönnichsen and Müller (1999) respectively, and good methylation has been achieved.

Irrespective of the catalyst selected, the methylation step requires a long reaction time (from 1-16 hours) at high temperature (90-100 °C). For routine monitoring of LCFA where a high sample throughput and a short turnaround time are essential, these methods are therefore not very suitable. There is also a concern that with small sample sizes, a complicated procedure is likely to be less accurate (Sönnichsen and Müller, 1999).

The purpose of the current work was to develop a quick and reliable gas chromatographic technique to analyse LCFA without a derivatisation step. The method was then tested for analysis of samples from laboratory-scale mesophilic digesters treating source segregated food waste with and without trace element (TE) addition.

**MATERIALS AND METHODS**

**LCFA method development**

*Standards and reagents.* Analytical grade palmitic (C16:0) and oleic (C18:1) acids were obtained from Fisher Chemical, UK. GC grade Stearic acid (C18:0) of ≥98.5% purity was obtained from Sigma-Aldrich, UK. Hexane (high performance liquid chromatography (HPLC) grade), Methyl tertiary butyl ether (MTBE) (HPLC grade), sodium chloride (analytic grade) and sulphuric acid (analytic grade) were purchased from Fisher Chemical, UK. Each standard was prepared by dissolving the LCFA into a 1/1 hexane-MTBE mixture. These were prepared at 50, 100 and 250 mg l-1 and either kept in a sealed gas-tight bottle or prepared freshly before each analysis.

*LCFA extraction.* The procedure was modified from that of Neves *et al.* (2006) and Lalman and Bagley (2000). A known weight of around 1.5 g of digestate was added to a 50 ml centrifuge tube, followed by 0.05 g NaCl, 0.2 ml of 50% H2SO4, and 5 ml of 1/1 Hexane- MTBE mixture. The centrifuge tube was closed and the contents mixed vigorously with a vortex mixer (FB15024, Fisher Scientific). The tube was then placed in an ultrasonic bath (Crest Ultrasonic CP1100, UK) for 20 minutes. The contents of the tube were allowed to separate and 2 ml of the upper layer was carefully transferred into a 2 ml tube and centrifuged for 5 minutes at 20,800 rcf (Eppendorf 5417C); the clear organic layer was used in gas chromatographic analysis.

*GC method.* The method was developed on a gas chromatograph (Shimazdu GC2010, Shimazdu, UK) fitted with a flame ionisation detector (FID) using a highly polar capillary BP-21 (FFAP) column 0.25 mm × 30 m, 0.25 µm thickness (SGE Forte GC, UK). The optimum instrument parameters were found to be: FID 280°C with H2 and air flows of 40 and 400 ml min-1 respectively; makeup flow: 30 ml min-1 (helium); column flow: 2.0 ml min-1 (helium); oven temperature: initial 160 °C, ramp rate 10 °C min-1, final 225 °C, final hold 20 minutes; injection volume 1 μl.

*Validation procedure.* Precision of the method was evaluated based on reproducibility and repeatability (Miller and Miller, 1993; Caulcutt and Boddy, 1983), indicated by relative standard deviation (RSD, %). To check reproducibility over time, three mixed standard solutions containing palmitic, oleic, and stearic acids at individual acid concentrations of 50, 100 and 250 mg l-1 were injected 6 times over a one-month period. To confirm repeatability single samples taken from two food waste digesters operating at different organic loading rates were subdivided into 6 sub-samples, each of which was extracted and each extract run in triplicate on the GC. To validate the extraction efficiency, three digestate samples were prepared and each spiked with 0.1 mg palmitic, stearic and oleic acid; these were recovered and analysed using the above methods with percentage recovery based on the difference between spiked and unspiked samples.

**Anaerobic digesters and feedstock**

The digesters used in this work were part of a larger study to assess the effect of trace element (TE) additions on the stability and performance of food waste digestion (Banks *et al.* 2012). The digesters were fed on food waste collected from Biocycle digestion plant in Shropshire, UK and processed by passing it through a macerating grinder (S52/010, IMC Ltd, UK). Feedstock characteristics are shown in Table 1. One of the digesters used had no TE addition and was operated at an organic loading rate (OLR) of 1.8 g VS l-1 day-1. The second digester was operated at 5.5 g VS l-1 day-1 and supplemented with Se, Mo, Co.

**RESULTS AND DISCUSSION**

**GC method calibration and validation**

The GC analysis showed good reproducibility for peak amplitude and retention time for the three fatty acids used as standards. A typical chromatogram is shown in Figure 1 and the RSD of peak responses for the six runs conducted over a one-month period are given in Table 2. The RSD values obtained were low compared to the 20% which might be considered acceptable (Shah *et al.*, 1992). Under the flow conditions used the variations in retention time windows were ±0.016, 0.017, and 0.018 minutes for palmitic, stearic and oleic acid respectively with mean values of 13.4, 19.7 and 21.0 minutes.

The calibration curves plotted for the three standards were linear over the concentration range studied, with correlation coefficients R2≥0.99 for all the analysed LCFA. The slopes of the regression equations obtained are shown in Table 2.

**Extraction procedure and repeatability with single samples**

In the LCFA extraction procedure a 1/1 Hexane and MTBE mixture was chosen because this has a lower flash point than hexane and was found to give a better peak response than other potential solvents. Methanol and ethanol were also tested as alternative solvents, but neither gave a satisfactory peak response.

Table 3 shows the results for the three LCFA quantified in replicated digestate samples with triplicate injections. The unsupplemented control had lower LCFA concentrations than those in the TE supplemented sample, with slightly lower %RSD values. LFCA concentrations mainly reflected the lipid loading rate, which was three times higher for the TE supplemented digester than for the control.

**Recovery efficiency**

The average recovery from the LCFA spiked into digestate samples was 103.8%, 127.2% and 84.2%, for palmitic, stearic and oleic acid respectively (Table 4).

The method reported showed that a highly polar capillary column used at high temperature can give good peak separation and signal response without the need for methylation of the sample. The sample preparation time was significantly reduced (45 minutes on average), allowing a much higher sample throughput.

In the digesters studied the values of LCFA recorded may not necessarily reflect the actual accumulation of these compounds in the digestate. LCFA have been observed to accumulate as discrete inclusions forming around inert material such as fruit pips. Analysis of these inclusions by x-ray diffraction (XRD) showed the deposits to consist mainly of salts of LCFA (unpublished data). The measured LFCA values therefore reflect the proportion miscible in the digestate which had not been hydrolysed in the degradation process. Considering, however, that at the time of sampling the digesters had been receiving food waste for a period of almost 2 years at a lipid concentration of around 150 g kg-1 VS, it seems probable that the degree of degradation is quite high. This view is supported by the studies of Angelidaki and Ahring (1992) and (Masse *et al.* (2002) who suggested that in an anaerobic environment the

lipid load to the digester is readily hydrolysed to free LCFA and glycerol. Subsequently the free LCFA are oxidised by acidogenic bacteria through ß-oxidation (Masse *et al.*, 2002) which leads to the final formation of simple volatile fatty acids and hydrogen. However, β-oxidation is thermodynamically unfavourable under standard conditions due to its positive Gibbs free energy (equation 1), therefore requiring constant removal of the reaction products (Fox and Pohland, 1994).

n-carboxylic acid ⟶ (n-2) carboxylic acid + CH3COOH + 2 H2 ∆G0= + 48 kJ mol-1 (1)

Methanogenesis provides the syntrophic complement to the process by using acetate, formate and hydrogen. The concentration of LCFA found in the TE supplemented digester was higher than that in the non-supplemented control which may reflect the difference in lipid loading between the two digesters. Proportional to the load, however, the concentrations of palmitic and stearic acids in the non-supplemented digesters were higher as was the total VFA concentration, further supporting the view that TE supplementation was required to prevent an accumulation of intermediate products (Ferry, 1999; Ragsdale and Pierce, 2008). The concentrations of palmitic, stearic and oleic acid of 1.0, 1.9 and 0.7 mM found in the TE supplemented digestate are below the values suggested as inhibitory in other studies (Koster and Cramer, 1987; Angelidaki and Ahring, 1992; Lalman and Bagley, 2002).

**CONCLUSIONS**

A reliable gas chromatographic method was developed and validated for quantification of palmitic, stearic and oleic acid without the requirement for further sample methylation. During repetitive runs, the relative standard deviations (RSD) of the results were satisfactory. Good LCFA recoveries were shown using a spike addition of LCFA to digester sludge. The simplicity of the sample preparation procedure reduces analysis time which would make the routine analysis of LCFA in digestate samples more realistic as a monitoring tool. Digestate samples from food waste digesters at different lipid loads and with and without trace element addition showed LCFA concentrations below values considered inhibitory in other studies, but concentrations of palmitic and stearic acid were lower in the TE supplemented digester in proportion to the lip[id loading applied than in the unsupplemented control.

**ACKNOWLEDGEMENTS**

The authors wish to thank the EU 7th Framework programme for support to carry out this work through grant number 241334 (VALORGAS).

REFERENCES

Alves, D. Z., Mota Vieira, J. A., Álvares Pereira, R. M., Pereira, M. A., Novais, J. M. and Mota, M. 2001. Effects of lipids and oleic acid on biomass development in anaerobic in fixed bed reactors. Part I: Biofilm growth and activity. Water Research, 35, 255–263.

Angelidaki, I., Petersen, S. P. & Ahring, B. K. (1990). Effects of lipids on thermophilic anaerobic digestion and reduction of lipid inhibition upon addition of bentonite. *Applied Microbiology and Biotechnology,* **33,** 469-472.

Angelidaki, I. and Ahring, B. K. 1992. Effects of free long-chain fatty acids on thermophilic anaerobic digestion. Applied Microbiology and Biotechnology, 37, 808-812.

Banks, C., Zhang, Y., Jiang, Y., Heaven, S (2012). Trace element requirements for stable food waste digestion at elevated ammonia concentrations, Bioresource Technology 104(1)127-135.

Caulcutt, R. and Boddy, R. 1983. Statistics for Analytical Chemists, Chapman and Hall, UK.

Chou, S., Chedore, P. and Kasatiya, S. (1998) Use of gas chromatographic fatty acid and mycolic acid cleavage product determination to differentiate among *Mycobacterium genavense*, *Mycobacterium fortuitum*, *Mycobacterium simiae*, and *Mycobacterium tuberculosis*. *J. Clin. Microbiol.*, 36, 577-579

Eras, J., Ferran, J., Perpiña, B., Canela, R., 2004. Cholotrimethylsilane – a reagent for direct quantitative analysis of fats and oils present in vegetables and meat samples. *Journal of Chromatography* A, 1047, 157–161

Ferry, J. G. 1999. Enzymology of one-carbon metabolism in methanogenic pathways. FEMS Microbiology Reviews, 23, 13-38.

Fox, P. and Pohland, F. G. 1994. Anaerobic treatment applications and fundamentals: substrate specificity during phase separation. Water Environment Research, 66, 716-724.

Hanaki, K., Matsuo, T. and Nagase, M. 1981. Mechanism of inhibition caused by long-chain fatty acids in anaerobic digestion process. Biotechnology and Bioengineering, 23, 1591-1610.

Henderson, C. 1973. Effects of fatty-acids on pure cultures of rumen bacteria. Journal of Agricultural Science, 81, 107-112.

Hwu, S.H., Tseng, S.K., Yuan, C.Y., Kulik, Z., Lettinga, G., 1998. Biosorption of long chain fatty acids in UASB treatment process. Water Research 32 (5), 1571–1579.

Kim, S. H., Han, S. K. and Shin, H. S. 2004. Two-phase anaerobic treatment system for fat-containing wastewater. Journal of Chemical Technology and Biotechnology, 79, 63-71.

Koster, I. W. and Cramer, A. 1987. Inhibition of Methanogenesis from Acetate in Granular Sludge by Long-Chain Fatty Acids. Appl. Environ. Microbiol., 53, 403-409.

Lalman, J.A. and Bagley, D.M. (2001) Anaerobic degradation and methanogenic inhibitory effects of oleic and stearic acids, Water Research, 35(12), 2975-2983.

Lalman, J. and Bagley, D. M. 2002. Effects of C18 long chain fatty acids on glucose, butyrate and hydrogen degradation. Water Research, 36, 3307-3313.

Lalman, J. A. and Bagley, D. M. 2000. Anaerobic degradation and inhibitory effects of linoleic acid. Water Research, 34, 4220-4228.

Masse, L., Massé, D. I., Kennedy, K. J. and Chou, S. P. 2002. Neutral fat hydrolysis and long-chain fatty acid oxidation during anaerobic digestion of slaughterhouse wastewater. Biotechnology and Bioengineering, 79, 43-52.

Miller, J. C. and Miller, J. N. 1993. Statistics for Analytical Chemistry, Ellis Horwood Limited, Great Britain.

Morrison, W. R. and Smith, L. M. 1964. Preparation of fatty acid methyl esters and dimethylacetals from lipids with boron fluoride--methanol. J. Lipid Res., 5, 600-608.

Neves, L., Oliveira, R. and Alves, M. M. 2006. Anaerobic co-digestion of coffee waste and sewage sludge. Waste Management, 26, 176-181.

Neves, L., Pereira, M., Mota, M., Alves, M.M., 2009. Detection and quantification of long chain fatty acids in liquid and solid samples and its relevance to understand anaerobic digestion of lipids. Bioresource Technology. 100 (1), 91–96.

Palatsi, J., Laureni, M., Andrés, M.V., Flotats, X., Nielsen, H.B. and Angelidaki, I. 2009. Strategies for recovering inhibition caused by long chain fatty acids on anaerobic thermophilic biogas reactor. Bioresource Technology, 100 (20), 4588–4596.

Palatsi, J., Illa, J., Prenafeta-boldú, F. X., Laureni, M., Fernandez, B., Angelidaki, I. and Flotats, X. 2010. Long-chain fatty acids inhibition and adaptation process in anaerobic thermophilic digestion: Batch tests, microbial community structure and mathematical modelling. Bioresource Technology, 101, 2243-2251.

Pereira, M. A., Cavaleiro, A. J., Mota, M. and Alves, M. M. 2003. Accumulation of long chain fatty acids onto anaerobic sludge under steady state and shock loading conditions: effect on acetogenic and methanogenic activity. Water Science and Technology, 48 33-40.

Pereira, M. A., Pires, O. C., Mota, M. and Alves, M. M. 2005. Anaerobic biodegradation of oleic and palmitic acids: Evidence of mass transfer limitations caused by long chain fatty acid accumulation onto the anaerobic sludge. Biotechnology and Bioengineering, 92, 15-23.

Pereira, M. A., Sousa, D. Z., Mota, M. and Alves, M. M. 2004. Mineralization of LCFA associated with anaerobic sludge: kinetics, enhancement of methanogenic activity, and effect of VFA. Biotechnology and Bioengineering, 88, 502-511.

Ragsdale, S. W. and Pierce, E. 2008. Acetogenesis and the Wood-Ljungdahl pathway of CO2 fixation. Biochimica et Biophysica Acta (BBA) - Proteins and Proteomics, 1784, 1873-1898.

Shah, V. P., Midha, K. K., Dighe, S., Mcgilveray, I. J., Skelly, J. P., Yacobi, A., Layloff, T., Viswanathan, C. T., Cook, C. E., Mcdowall, R. D., PITTMAN, K. A., SPECTOR, S. 1992. Analytical methods validation: bioavailability, bioequivalence, and pharmacokinetic studies. J. Pharm. Sci., 81, 309–312.

Sönnichsen, M., Müller, B.W., 1999. A rapid and quantitative method for total fatty acid analysis of fungi and other biological samples. Lipids. 34 (12), 1347– 1349.

Weng, C. and Jeris, J. S. 1976. Biochemical mechanisms in methane fermentation of glutamic and oleic acids. Water Research, 10, 9-18.

Table 1. Characteristics of food waste substrate

|  |  |
| --- | --- |
| pH (1:5) | 4.71 ±0.01 |
| Total solids, TS (% wet weight (WW)) | 23.74 ±0.08 |
| Volatile solids, VS (% WW) | 21.71 ±0.09 |
| VS (% TS) | 91.44 ±0.39 |
| Total organic carbon (TOC) (% TS) | 47.6 ±0.5 |
| Total Kjeldahl nitrogen (TKN) (% TS) | 3.42 ±0.04 |
| Lipids (g kg-1 VS) | 151 ±1 |
| Crude proteins (g kg-1 VS) | 135 ±3 |

Table 2. Peak area shift in sequential injections of standards and calibration curve parameters


|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | **mg l-1** | **Run1** | **Run2** | **Run 3** | **Run 4** | **Run 5** | **Run 6** | **Average** | **SD** | **%RSD** |
| **Palmitic** | 50 | 52268 | 49481 | 49972 | 51130 | 46892 | 51154 | 50150 | 1873 | 3.74 |
| 100 | 90426 | 108081 | 99801 | 110980 | 97601 | 109874 | 102794 | 8173 | 7.95 |
| 250 | 249226 | 253405 | 268318 | 245168 | 257543 | 278050 | 258618 | 12403 | 4.8 |
| *Slope* | 1002 | 1008 | 1099 | 953 | 1056 | 1131 | 1042 | 67 | 6.40 |
| *R2* | 0.9965 | 0.9984 | 0.9995 | 0.9960 | 0.9999 | 0.9999 | 1.0000 |  |  |
| **Stearic** | 50 | 13389 | 11486 | 15043 | 10210 | 15398 | 12561 | 13015 | 2017 | 15.5 |
| 100 | 20233 | 23367 | 25481 | 21871 | 25298 | 25872 | 23687 | 2277 | 9.61 |
| 250 | 58161 | 53420 | 59879 | 57348 | 53475 | 56045 | 56388 | 2595 | 4.6 |
| *Slope* | 231 | 208 | 225 | 236 | 190 | 214 | 217 | 17 | 7.85 |
| *R2* | 0.9900 | 0.9987 | 0.9997 | 1.0000 | 0.9999 | 0.9963 | 1.0000 |  |  |
| **Oleic** | 50 | 37540 | 34936 | 31971 | 35190 | 34578 | 37540 | 35293 | 2087 | 5.91 |
| 100 | 68213 | 64066 | 65469 | 57543 | 67564 | 65423 | 64713 | 3828 | 5.92 |
| 250 | 141673 | 136942 | 167305 | 123628 | 154432 | 142110 | 144348 | 15000 | 10.39 |
| *Slope* | 514 | 504 | 677 | 442 | 595 | 520 | 542 | 82 | 15.17 |
| *R2* | 0.9977 | 0.9985 | 1.0000 | 1.0000 | 0.9993 | 0.9997 | 0.9996 |  |  |

Table 3. LCFA concentrations (mg l-1) in subsamples from control and TE-supplemented food waste digesters (three injections)


|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Unsupplemented control  F1 (OLR=1.8 g VS l-1 day-1) | | | | TE supplemented 1  F5 (OLR=5.5g VS l-1 day-1) | | | | TE supplemented 2  R3 (OLR=3g VS l-1 day-1) | | | |
| Subsample | LCFA | 1# | 2# | 3# | Ave. | 1# | 2# | 3# | Ave. | 1# | 2# | 3# | Ave. |
| 1 | Palmitic | 133.3 | 130.6 | 129.1 | 131.0 | 205.2 | 201.3 | 197.5 | 201.3 | 49.6 | 49.0 | 48.5 | 49.0 |
|  | Stearic | 292.6 | 290.9 | 289.4 | 291.0 | 402.5 | 394.7 | 388.3 | 395.2 | 114.5 | 111.6 | 112.1 | 112.8 |
|  | Oleic | 75.5 | 71.6 | 69.1 | 72.1 | 134.1 | 129.9 | 126.6 | 130.2 | 11.0 | 11.0 | 10.7 | 10.9 |
| 2 | Palmitic | 110.6 | 110.4 | 111.1 | 110.7 | 253.7 | 240.5 | 257.4 | 250.5 | 45.4 | 49.2 | 45.5 | 47.3 |
|  | Stearic | 271.2 | 271.2 | 272.6 | 271.6 | 487.9 | 466.8 | 501.5 | 485.4 | 113.0 | 115.2 | 115.0 | 114.1 |
|  | Oleic | 50.6 | 48.4 | 48.5 | 49.2 | 181.2 | 161.0 | 179.4 | 173.9 | 19.6 | 20.1 | 18.5 | 19.9 |
| 3 | Palmitic | 117.4 | 116.9 | 118.7 | 117.7 | 346.8 | 272.6 | 302.7 | 307.4 | 48.8 | 48.8 | 49.2 | 48.8 |
|  | Stearic | 281.8 | 281.7 | 285.3 | 282.9 | 667.8 | 527.8 | 590.2 | 595.3 | 119.5 | 118.6 | 118.3 | 119.0 |
|  | Oleic | 51.4 | 54.2 | 54.4 | 53.3 | 248.1 | 182.7 | 206.8 | 212.5 | 9.6 | 7.9 | 7.7 | 8.7 |
| 4 | Palmitic | 96.0 | 95.5 | 95.6 | 95.7 | 249.2 | 241.6 | 281.7 | 257.5 | 46.1 | 46.7 | 46.2 | 46.4 |
|  | Stearic | 235.5 | 233.9 | 232.8 | 234.1 | 489.2 | 476.3 | 555.6 | 507.0 | 116.2 | 117.6 | 117.7 | 116.9 |
|  | Oleic | 35.9 | 34.0 | 34.4 | 34.8 | 162.4 | 157.3 | 190.2 | 170.0 | 7.2 | 5.9 | 5.6 | 6.5 |
| 5 | Palmitic | 138.5 | 136.8 | 136.8 | 137.4 | 219.1 | 247.2 | 243.6 | 236.6 | 52.1 | 53.0 | 52.2 | 52.5 |
|  | Stearic | 323.3 | 318.9 | 316.3 | 319.5 | 430.0 | 491.9 | 484.1 | 468.6 | 107.7 | 109.8 | 109.1 | 108.7 |
|  | Oleic | 55.4 | 54.5 | 53.3 | 54.4 | 151.9 | 178.3 | 174.9 | 168.4 | 13.7 | 13.8 | 15.0 | 13.7 |
| 6 | Palmitic | 118.9 | 107.8 | 104.4 | 110.4 | 335.4 | 377.4 | 325.2 | 346.0 | 49.6 | 47.3 | 56.7 | 48.4 |
|  | Stearic | 281.1 | 255.7 | 247.3 | 261.4 | 772.8 | 867.8 | 752.4 | 797.7 | 120.2 | 113.0 | 112.1 | 116.6 |
|  | Oleic | 68.9 | 61.5 | 59.8 | 63.4 | 281.0 | 316.5 | 272.3 | 289.9 | 8.2 | 8.1 | 7.6 | 8.2 |
| **Average** |  | **average** | **stdev** | **% RSD** | **%RSD without the outlier** | **average** | **stdev** | **% RSD** |  | **average** | **stdev** | **% RSD** | **%RSD without the outlier** |
|  | Palmitic | **117.1** | 15.2 | 12.9 | 10.1 | **266.6** | 51.9 | 19.5 |  | **48.7** | 2.1 | 4.3 | 4.5 |
|  | Stearic | **276.8** | 28.8 | 10.4 | 7.8 | **541.5** | 141.1 | 26.1 |  | **114.7** | 3.7 | 3.2 | 3.6 |
|  | Oleic | **54.5** | 12.7 | 23.3 | 15.7 | **190.8** | 55.1 | 28.9 |  | **11.3** | 4.9 | 43.0 | 28.9 |

**Table 4**. Extraction recovery of the spiked samples

|  |  |  |  |
| --- | --- | --- | --- |
|  | | **Spike recovery** | |
|  | Palmitic | Stearic | Oleic |
| Replicate 1 | 108.9% | 121.8% | 64.7% |
| Replicate 2 | 110.2% | 133.9% | 75.8% |
| Replicate 3 | 92.4% | 125.8% | 112.2% |
| Average | 103.83% | 127.17% | 84.23% |



a) Representative chromatogram using a 50 mg l-1 standard LCFA mix



b)Chromatogram of identified LCFA from a digestate sample

**Figure 1.** Typical chromatograms for extracted LCFA

1. Corresponding author: Tel.: +44 (0)2380 598363; fax: +44 (0)2380 677519; E-mail address: [Y.Jiang@soton.ac.uk](mailto:Y.Jiang@soton.ac.uk) [↑](#footnote-ref-1)