Estimation of fat-free mass in Asian neonates using bioelectrical impedance analysis

Mya-Thway Tint1,2, Leigh C Ward3, Shu E Soh4, Izzuddin M Aris4, Amutha Chinnadurai5, Seang Mei Saw6, Peter D Gluckman4,7, Keith M Godfrey8, Yap-Seng Chong1,4, Michael S Kramer9, Fabian Yap10,11, Barbara Lingwood12, Yung Seng Lee 2,4,13

Authors’ affiliations and addresses

- Department of Obstetrics & Gynaecology, National University of Singapore, 1E Kent Ridge Road, NUHS Tower Block, Level 12, Singapore 119228

- Department of Pediatrics, Yong Loo Lin School of Medicine, National University of Singapore, 1E Kent Ridge Road, NUHS Tower Block, Level 12, Singapore 119228

- School Chemistry and Molecular Biosciences, The University of Queensland, Brisbane, QLD 4072. Australia

- Singapore Institute for Clinical Sciences (SICS), Agency for Science, Technology and Research (A*STAR), Brenner Centre for Molecular Medicine 30 Medical Drive, Singapore 117609

- Department of Neonatology, Khoo Teck Puat – National University Children’s Medical Institute, National University Health System, 5 Lower Kent Ridge Road, Singapore 119074

- Saw Swee Hock School of Public Health, Tahir Foundation Building, National University of Singapore, 12 Science Drive 2, #10-01, Singapore 117549

- Liggins Institute, University of Auckland, Auckland, New Zealand, Private Bag 92019, Victoria Street West, Auckland 1142, New Zealand

- MRC Lifecourse Epidemiology Unit & NIHR Southampton Biomedical Research Centre, University of Southampton & University Hospital Southampton NHS Foundation Trust, MP 218, Tremona Road, Southampton General Hospital, SO16  6YD

- Departments of Pediatrics and of Epidemiology, Biostatistics and Occupational Health, McGill University Faculty of Medicine, Purvis Hall, 1020 Pine Ave. West Montreal, QC H3A 1A2

- Department of Pediatric Endocrinology, KK Women’s and Children’s Hospital, 100 Bukit Timah Road, Singapore 229899

- Duke-NUS Graduate Medical School, Lee Kong Chian School of Medicine, Novena Campus, 11 Mandalay Road, Singapore 308232

- UQ Centre for Clinical Research, The University of Queensland, Building 71/918, Royal Brisbane & Women's Hospital Campus, Herston, QLD, 4029

- Division of Pediatric Endocrinology and Diabetes, Khoo Teck Puat-National University Children’s Medical Institute, National University Health System, , 5 Lower Kent Ridge Road, Singapore 119074

Address for Correspondence:

Associate Professor Yung Seng LEE

Senior Consultant

Department of Paediatrics

Yong Loo Lin School of Medicine

National University of Singapore

National University Health System

1E Kent Ridge Road, NUHS Tower Block – Level 12, Singapore 119228

65-67724420 (Tel), 65-67797486 (Fax)

Email: yung_seng_lee@nuhs.edu.sg

Running title: BIA and ADP in Asian neonates

Key words: Bioelectrical impedance analysis; air displacement plethysmography; validation; Asian neonates

Abstract: 250

Word count:  4164

Abstract

The aims of this study were to develop and validate a prediction equation of fat-free mass (FFM) based on bioelectrical impedance analysis (BIA) and anthropometry using air displacement plethysmography (ADP) as a reference in Asian neonates and to test the applicability of the prediction equations in independent Western cohort. A total of 173 neonates at birth and 140 at week-2 of age were included. Multiple linear regression analysis was performed to develop the prediction equations in a two-third randomly selected subset and validated on the remaining one-third subset at each time point and in an independent Queensland cohort. FFM measured by ADP was the dependent variable and anthropometric measures, sex and impedance quotient (L2/R50) were independent variables in the model. Accuracy of prediction equations were assessed using intra-class correlation and Bland-Altman analyses. L2/R50 was the significant predictor of FFM at week-2 but not at birth. Compared to the model using weight, sex and length, including L2/R50 slightly improved the prediction with a bias of 0.01kg with 2SD limits of agreement (LOA) (0.18,

-0.20). Prediction explained 88.9% of variation but not beyond that of anthropometry. Applying these equations to Queensland cohort provided similar performance at the appropriate age. However, when the Queensland equations were applied to our cohort, the bias increased slightly but with similar LOA. BIA appears to have limited use in predicting FFM in the first few weeks of life compared to simple anthropometry in Asian populations. There is a need for population and age appropriate FFM prediction equations.

Research in developmental origins of health and Disease (DOHaD) has pointed to the importance of body size and composition at birth which reflect the adaptation of the fetus to its intrauterine environment, and is linked to the risk of subsequent metabolic diseases (1). Neonatal body composition has been a focus for many research studies as it may be a modifiable factor for health and diseases later in life (2). Body composition can be measured by a variety of methods, which differ in accuracy, feasibility, cost and complexity. However, some methods are not suitable for neonates including under-water weighing, stable isotope dilution and dual-energy X-ray absorptiometry (DXA), while others such as magnetic resonance imaging (MRI) are limited by their cost, especially for large epidemiological studies.

The measurement of body composition in neonates or infants is challenging, as the distribution of fluid in the body changes rapidly in first few days of life, with 5-10% reduction in body weight attributable to the change in total body water and body composition (3; 4). In addition, highly accurate techniques (e.g., MRI, stable isotope dilution) in neonates and infants generally require high compliance from the subject. This can be difficult to achieve in neonates and infants. Air displacement plethysmography (ADP) for healthy infants has been validated in several studies using the deuterium dilution method for body water and a four-compartment body composition model as the reference methods (5; 6; 7). ADP does not require the infant to be restrained during the 2 minute measurement. However, the infant ADP device is expensive, large and not readily portable and generally not available outside of major hospitals and research facilities. Therefore, an inexpensive, portable and reliable method to measure body composition is clearly required at this age.

Bioelectrical impedance analysis (BIA) is a simple, non-invasive and useful method for estimating body composition in epidemiological and clinical research (8). BIA measures impedance of the body to an imperceptible, harmless electric current transmitted through electrodes placed on the hands and the feet. Impedance (Z) of a conductor is proportional to L2/Z. Thus impedance of the whole body can be used to estimate the volume of total body water (TBW) in the aqueous tissue compartments. Fat-free mass (FFM) can be calculated from TBW by using an hydration fraction for FFM, usually assumed to be 0.732 (9). Fat mass (FM) can be estimated by subtracting FFM from body weight.

Since BIA was first introduced as a method for estimating body composition, many studies have demonstrated its validity to measure body water in healthy populations of older children and adults with normal fluid distribution (8; 10; 11; 12; 13; 14; 15; 16; 17). However, research on its usefulness for predicting body composition in neonates is limited especially in Asians. Although a few small studies have reported the use of BIA in infants, most did not compare the performance of equations developed from BIA neither with that of simple anthropometry nor did they use an independent validation group (18; 19; 20; 21). In addition, the studies were on infants requiring intensive care or low birth weight infants in whom the body composition profile may be different from that in healthy infants. Lingwood et al developed prediction equations for FFM based on BIA in a cohort of 77 healthy infants in the first few months of life and reported that the contribution of the BIA parameter in their model was not statistically significant and did not improve the prediction over that using weight alone until their study infants reached 3 months of age (22). In a recent study on predicting FFM using BIA reference to that of ADP also suggested the potential use of BIA in infants the subjects used to develop the prediction equation were of mixed age range from 0-6 months (23). These studies on predicting FFM in infants using impedance from BIA were conducted in Western population thus may not be necessarily applicable to the Asian population. A prediction equation for FFM using BIA in Asian infants would be a valuable tool especially in large cohorts or longitudinal cohort studies.

Our aims were to develop a prediction equation for FFM during the early neonatal period based on BIA and to validate that prediction using the ADP device, PEAPOD infant body composition system in Asian neonates. The applicability of this equation will also be tested in the independent validation group in this cohort as well as in an independent Western cohort of children from a study conducted at the University of Queensland.

# experimental Methods

## Study design and setting

The neonates were participants in GUSTO (Growing Up in Singapore Towards healthy Outcomes), a prospective birth cohort study in Singapore (24). Pregnant women attending maternity units of two major public hospitals in Singapore, the KK Women's and Children's Hospital (KKH) and National University Hospital (NUH), were recruited in their first trimester between June 2009 and September 2010.  They were all Singapore citizens or permanent residents, intended to deliver either in KKH or NUH and to reside in Singapore for the next 5 years. Both participant and her partner were of Chinese, Malay or Indian ethnicity with homogeneous parental ethnic background. Participants receiving chemotherapy or psychotropic drugs and type I diabetes mellitus were excluded. Recruited women were followed though pregnancy and delivery, and their children were followed up postnatally.

## Subjects

Participating neonates were born between November 2009 and May 2011 to GUSTO mothers. A total of 173 healthy singleton neonates who completed the BIA and ADP measurements at birth (0–3 days), and 140 who completed them at week 2 (5-17 days) were included in this analysis. 52 neonates were tested at both ages. Most neonates were born at term although 4 neonates in each group were born at 35-37 completed weeks of gestation.

Ethics

Study ethics approvals were obtained from Centralized Institutional Review Board, SingHealth and Institutional Review Board of National Health Care Group of Singapore.

## Anthropometry

All anthropometric measurements at birth were done within 24 hours after delivery (median: 1 day) and at week 2 (median: 10 days) respectively. Weight (W) of the neonate was measured using an integrated scale in the PEA POD infant body composition system. Recumbent length (L) was measured to the nearest 0.1 cm using a SECA infant mat (SECA 210 Mobile Measuring Mat, SECA Corp). Recumbent length was measured in duplicate for reliability and a third measurement was performed if the difference between the first two measurements was more than 1 cm. The average of the 2 or 2 closest of 3 measurements was used for the analysis.

## Body composition measurement by PEA POD Infant body composition system

The PEA POD Infant Body Composition System Version 3.1.0 (Cosmed, Italy) was used to measure body composition, i.e., FM and FFM. The system was calibrated each day before measuring the neonates.  A cylinder with known volume was used to calibrate the chamber, and a 2-kg weight was used to calibrate the scale. Clothing was removed and a tight-fitting cap was placed on the head to minimize the amount of air trapped in the hair. Items on the neonate that could not be removed, e.g., the umbilical clamp or hospital identification bracelet, were used to tare the scale for body weight and volume measurements. The neonate was then placed on the scale to measure body mass, and then inside the chamber for body volume measurement, which required approximately 2 minutes. Weight and volume measurement by the PEA POD system are very precise with coefficients of variation for repeated measurements of 0% and 0.02-0.09% respectively (5). Infant percent body fat was computed by software integral to the PEA POD system. Body mass and body volume of the neonate are used to calculate body density (DB). The raw DB is adjusted for thoracic volume and surface area artifact. Then values for the density of FM and FFM are used to calculate % fat and % FFM (25; 26). The density of fat, 0.9007 kg/L, remains constant during throughout life. This value is the used by the PEA POD for fat density (26). Contrary to fat, the density of FFM changes from birth onwards. Thus, age and sex-specific densities of FFM based on multi-compartment studies are used by the PEA POD (25; 26).

ADP is suggested to be more accurate for body fat measurement than DXA (27). There is good agreement for within subject measurements using the PEA POD with mean differences of <1% (7; 28). Likewise there is good agreement between measurements of % fat in term and preterm neonates using ADP, and measurements using labelled water and a four compartment model. A study on 49 healthy infants demonstrated no significant difference in the mean % fat measured by ADP and that of the four-compartment model (r2=0.73, standard error of the estimate (SEE) =3.7 %fat) (7). A similar study compared % fat by ADP and H218O dilution in 70 preterm infants and 9 full terms and also reported good agreement (r2 = 0.63, SEE = 1.65 %fat)(28). The regression between the two different % fat did not deviate significantly from the line of identity for both studies.

## Bioelectrical Impedance Analysis

Bioimpedance was measured using the Impedimed SFB7 (Impedimed, Brisbane, QLD, Australia), a single-channel, tetra-polar bioimpedance spectroscopy device and its electrode 292-STE single tab electrodes. The device measures resistance and reactance at 256 frequencies between 3 and 1000 kHz. We chose to use resistance at 50 kHz as this frequency is used in single frequency analyzers. Therefore the prediction equation developed will be applicable to prediction of FFM in infants using the more common single frequency analyzers.

Neonates were put in a supine position. Insulating materials (e.g., thin cotton blanket) were used to prevent skin-to-skin contact among the body parts. Sense electrodes were placed on the dorsum of the wrist and dorsum of the ankle at the level of styloid process and medial malleolus. Source electrodes were placed on the palm and sole over the metacarpals and metatarsals. Good connection between electrodes and the lead as well as skin contact of the electrodes were ensured. Ten consecutive BIA measurements were completed within 2 minutes.

## Statistical Analysis

A random number generator was used to divide the subjects at each study visit (birth and week 2) into two groups: a model development group and a model validation group. Figure 1 shows the flow diagram of the study. The model development group included approximately two-thirds of the subjects and was used to develop prediction equations for FFM (N=116 and 96 for birth and week 2 respectively). The model validation group comprised approximately one-third of the subjects (N=57 and 46 at birth and week 2, respectively).  FFM prediction equations based on BIA or simple anthropometry developed from “model development groups” were applied to model validation groups. Subsequently these predicted FFM were compared to FFM measured by ADP (FFMADP) at respective time points.

For prediction of FFM, either simple anthropometric measurements alone or in combination with impedance quotient, L2/R50 (cm2/() were used as predictors. R50 is the resistance at 50 kHz and was used for all analyses. In the model development group, the prediction equation for FFM was developed by multiple linear regression analysis using FFMADP as the dependent variable; predictors were W (kg), sex (S); (male=1, female=2) together with L (cm) alone or L2/R50. Weight, length and sex were used in the prediction as these are significant predictors at least at one of 2 time points (for length and sex). In addition, weight and length reflect the body size of the neonate. Sex is included is it is well accepted that there is gender difference in body composition. R50 is the resistance at 50 kHz and was used for all analyses. 50 kHz is the frequency most commonly used in single-frequency impedance analyzers.

Standardized regression coefficients were used to assess the independent contribution of each variable to the dependent variable (FFM). The developed prediction equation was then used to derive FFM in the validation group within the GUSTO cohort as an independent assessment of the performance of the prediction equation.

Agreement between FFMADP and predicted FFM by GUSTO equation (FFMGUSTO) either using the impedance quotient (W+S+L2/R50) or simple anthropometry (W+S+L) was assessed using the intra-class correlation coefficient (ICC). Bland-Altman analysis was then used to compare FFMADP FFM derived from prediction equations. The bias or mean difference of FFM between the two methods was used to determine under-estimation (negative bias) or over-estimation (positive bias) of the prediction equation. The possible extent of the variation was determined by limits of agreement (mean of differences ± 1.96 SD) in which the agreement between 2 methods would lie in 95% of repeated samples. The slope of the regression line defined whether there is a systematic variation of the difference with the mean of FFM values by 2 methods. Analysis was carried out using IBM SPSS 22 and MedCalc version 15 (MedCalc Software, Broekstraat, Belgium). Scattered plots and Bland Altman plots are produced using MedCalc version 15.

The GUSTO prediction equations developed at birth and week 2 (FFMGUSTO) were also applied to an independent cohort from the University of Queensland to cross-validate the performance of the developed prediction equation in an independent Western population. This Queensland cohort included 77 neonates at birth, 54 at 6weeks, 55 at 3 months and 53 at 4.5 months (22). Intra-class correlations between FFMADP and FFMGUSTO in the Queensland cohort, as well as bias and limits of agreements were compared to correlations between FFMADP and predicted FFM using Queensland own equation developed at birth.

# Results

Table 1 presents the characteristics of the neonates at birth and at week 2 after delivery. The physical characteristics and body composition of the neonates were not different in model development and validation groups at either time point.

Resistance was negatively associated with FFMADP both at birth and at week 2. The strength of association between FFMADP and R50 was low at birth (r= -0.204, p=0.007) but stronger at week 2 (r=-0.438, p<.001). The correlations between FFMADP and weight were r=0.947 and 0.946 (both p <0.001) and between FFMADP and length were r=0.750 and 0.753 (both p <0.001) at birth and week 2, respectively.

## Birth

### Model development group

The linear regression analysis revealed that weight and sex are both significant predictors of FFM at birth (Table 2). Weight was the strongest contributor to the prediction of FFM. The standardized coefficient for L2/R50 was greater than for L in the models, but contribution of L2/R50 was not significant in model including weight and sex. Weight explained 90.6% of the variance in FFM at birth. Adding sex to the model resulted in minimal improvement in predicting FFM, while adding L or L2/R50 led to no improvement.

### Validation group

The scatterplot for the associations between FFMADP and predicted FFM(W+S+L2/R50) or FFM(W+S+L) are shown in Figure 2a and 2b respectively. The intra-class correlation coefficient between FFMADP and FFM(W+S+L2/R50) was 0.970 (p<0.001) and for FFM (W+S+L) was 0.971 (p <0.001). Figure 3 shows the Bland-Altman plots for the validation group.  The plots show the mean of FFMADP and predicted FFM either by W+S+ L2/R50 (Figure 3a) or W+S+ L (Figure 3b) on the x-axis and the difference in the two methods on the y-axis. The mean bias of the predicted FFM(W+S+L2/R50) was 0.03 kg, i.e., 0.7% of FFM at birth (2.77 Kg). The limits of agreement were 0.22 to -0.16 kg. The root mean square error (RMSE) of the prediction equation using W+S+ L2/R50 at birth was 0.10 kg. The mean bias of FFM prediction by W+S+L was 0.11 kg, larger than that of the model using W+S+ L2/R50. The limits of agreement were +0.30 to -0.08 kg. RMSE for this prediction by W+S+L was 0.15 kg. No significant relationship was observed between the mean and the difference of measured versus predicted FFM.

## Week 2

### Model development group

Unlike the prediction at birth, the prediction models at week 2 revealed that weight and either length or L2/R50 were significant predictors of neonatal FFM at week 2 but sex was not. (Table 2). Adding L2/R50 to the model explained 89.9% of the variance in FFM at week 2 in neonates compared to 87.4% with weight alone, and 88.8% with W+S+L.

Validation group

The scatterplots between FFMADP and that predicted FFM by W+S+ L2/R50 or W+S+ L in the validation group are shown in Figure 2c and 2d respectively. The intra-class correlation coefficients between the FFMADP and FFM(W+S+L2/R50) and  FFM(W+S+L) were 0.963 and 0.966 (p<0.001), respectively.

The Bland-Altman analysis shows that the mean bias of FFM (kg) at week 2 by ADP and W+S+L2/R50 was -0.01 kg, i.e., 0.3 % of FFM at week 2 (2.80 kg). The limits of agreement for the GUSTO equation at week 2 were +0.18 to -0.20 Kg (Figure 4a). Bias for prediction of FFM(W+S+L) was slightly larger (-0.03 kg, 0.9% of FFM). The limits of agreement of this prediction were 0.15 to -0.21 kg (Figure 4b). RMSE for prediction was similar to prediction using L2/R50 at 0.096 Kg. No significant relationship was observed between the mean and the difference of measured vs predicted FFM.

### Cross-validation with independent cohort

The GUSTO prediction equations using simple anthropometry or L2/R50 were applied to an independent cohort from the University of Queensland. When GUSTO prediction equations at birth was applied to Queensland cohort at birth (Table 3), the ICC, bias and LOA of the predictions were very close to those values obtained in own GUSTO cohort, and again inclusion of the impedance quotient did not improve the prediction. However, when the Queensland equations were applied to the GUSTO cohort, the bias increased slightly although the LOA were similar.

When GUSTO predictions equation developed at 2 weeks were applied to 6weeks in Queensland cohort, the bias and LOA were slightly smaller compared to results using Queensland 6 weeks equation. However, when the GUSTO 2 week equation was applied to the Queensland cohort at age, 3 months and 4.5 months, the bias was larger and LOA were wider compared to results using Queensland’s age appropriate equations (Table 4). Agreement worsened with increasing age.

# Discussion

A simple and reliable method is required to measure body composition in newborn infants participating in large epidemiological longitudinal studies (29). Our findings add to the limited available evidence on the validity of BIA estimates of body composition in neonates. We developed prediction equations for FFM using BIA (W+S+L2/R50), as well as simple anthropometric measures (W+S+L) and validated these against the criterion method ADP (PEA POD). At birth, we found that L2/R50 did not contribute significantly to prediction of FFM. Unlike the findings at birth, the prediction then improved substantially over the subsequent week or two. At 1-2 weeks of age, both L and L2/R50 became significant predictors of FFM. Their contributions to FFM prediction were similar and much greater than the non-significant contribution of sex at this age. The rapid changes in body water status and body composition in the first few days of life may impact on hydration status of FFM thus confounding the conversion of TBW to FFM (30). In the Queensland cohort, L2/R50 did not become a significant predictor of FFM until 4.5 months, and its contribution was similar to significant contribution of sex (22). In addition, this finding of significant contribution of L2/R50 in GUSTO may imply that the hydration status in Asian infants is different from the Western populations studied previously.

While the L2/R50 contributes significantly to the prediction at 2 weeks, it did not appear to contribute much more than that provided by simple anthropometry. There is a debate in the literature whether L2/R50 performs better than simple anthropometry in predicting FFM. BIA is widely used in adults, adolescents and older children but much less frequently in infants. A few small studies have suggested that BIA is useful for estimating total body water or FFM in infants, but they were performed in low birth weight infants or infants requiring intensive care (30), whose fluid distributions were likely to be different from healthy term infants.  Moreover, those studies did not validate their equations in an independent group, nor did they compare prediction using BIA with the use of simple anthropometric measures alone (19; 21). Raghavan et al reported high correlation between predicted TBW using BIA and that based on a dilution technique, but the prediction equation did not perform better than did weight alone (20). Tang et al reported that weight and impedance index together improved an association (r2) slightly versus weight alone but did not test that finding in a validation group (21). Lingwood et al concluded that it did not improve the prediction compared to simple anthropometry in infants younger than 3 months while a slight improvement with the prediction using L2/R50 at 3 and 4.5 month of age (22). The study of Ethiopean infants by Wibaek et al albeit with a wide age range of infant subjects from 0-6 months, also found that the L2/R50 improved prediction for infants older than 3 months of age (23). Therefore our findings consistent with the previous findings suggest that BIA has limited value in very early life in predicting FFM, above and beyond that of anthropometry (weight and length) alone.

The failure of impedance measurements to improve the prediction of FFM at early infancy means that without DXA or ADP, prediction is limited to anthropometric measures; weight, length and skinfold thickness. However, weight or length has inherent limitations for predicting body composition, because these measures do not differentiate between fat and lean mass. The use of weight alone assumes that fat mass and FFM have similar proportions over time and in different populations, which is not true. Even individuals with similar weight and length can have very different body composition(31). Measurements of skinfold thickness (SFT) have been shown to correlate with body fat measured in older children and infants (32; 33; 34; 35) . A previous study in GUSTO showed that prediction of fat mass using subscapular SFT together with W, S, gestational age (GA), referenced to FMADP,  only slightly improved prediction compared to prediction using W, S and GA only (r2: 0.811 vs 0.774)(36). However, the validity of SFT in infants is being questioned due to rapid changes in hydration status and the variability in skinfold compressibility among neonates (13; 37). In addition, training of study team members, standardization and quality control are a challenge especially for large longitudinal studies.

Yajnik et al have described the thin-fat phenotype of South Asian neonates: lower birth weight but greater adiposity, reflecting different intrauterine trajectories in fat vs lean tissues (29; 38). Studies on total or regional adiposity in Indian infants in India compared with European infants UK suggested that Indian-born babies have greater adiposity compared to their Western counterparts (29; 39; 40). Other studies have shown that this phenotype at birth persists into childhood and later in life (41; 42; 43). In addition, the first weeks of life is may be a critical period for the development of obesity later in life (44; 45; 46; 47; 48). These findings may also reflect a different trajectory of FM and FFM growth in Asian populations. It would be of great value if a simple method could be developed to predict FFM beyond that of simple anthropometry during infancy.

When GUSTO prediction equations developed at birth and week 2 were applied to respective ages in Queensland cohort, the performance of the prediction equations seems to perform similar as in its own GUSTO cohort. When Queensland prediction equations developed at birth were applied to same age in GUSTO cohort, the results were similar with a slightly larger bias and wider LOA. Therefore, although the performance of GUSTO equation in Queensland Cohort may suggest that prediction equations are transferrable, results from application of the Queensland equations in the GUSTO cohort suggest that that FFM prediction equations are best used in the population in which they were originally developed.

When GUSTO FFM prediction equations developed at 2 weeks were applied to the 6 weeks old infants in Queensland cohort, the bias and LOA were slightly smaller compared to results using Queensland 6 weeks equation. However when the GUSTO 2 week equations were applied to the 3 and 4.5 month Queensland cohort, the bias was larger and LOA were wider than Queensland’s equations at 3 month and 4.5 month and agreement decreased with age. This finding implies that prediction equations are best applied in the age group for which they were developed.

A limitation of this study is that FFM density data produced by Fomon and Butte (25; 26) were based on Western populations. It is possible that FFM density of Asian infants will be different which may impact on body composition data derived from the PEA POD.

In conclusion, BIA appears to have limited use in predicting fat-free mass in the first few weeks of life compared to simple anthropometry. There is still a need for population and age appropriate FFM prediction equations. Future studies should assess the age at which electrical impedance provides a significant improvement over simple anthropometry in predicting body composition, especially in Asian populations.

# Figures

Fig 1 Scatter plot of fat free mass (kg) of neonates measured by ADP and fat free mass derived from GUSTO prediction equations based on weight (W), sex (S) and impedance quotient (L2/R50), and W, S and recumbent length (L) in validation group at birth (1a and 1b) and week 2 (1c and 1d). Dotted lines are the lines of identity

Fig 2 Bland-Altman plots comparing fat free mass (kg) of neonates measured by ADP and from prediction equations based on weight (W), sex (S) and impedance quotient (L2/R50) (2a) and W, S and recumbent length (L) (2b)  in the validation group at birth (N=57). The centre blue line represents the bias (mean difference) between the two methods and the dotted red lines represent the limit of agreement (mean bias ± 1.96 SD). The purple line denotes the slope of the regression line between difference and mean of measured and predicted FFM

Fig 3 Bland-Altman plots comparing FFM (kg) of neonates measured by ADP and from prediction equations based on weight (W), sex (S) and impedance quotient (L2/R50) (3a) and W, S and recumbent length (L) (3b)  in the validation group at week 2 (N=46). The centre blue line represents the bias (mean difference) between the two methods and the dotted red lines represent the limit of agreement (mean bias ± 1.96 SD). The purple line denotes the slope of the regression line between difference and mean of measured and predicted FFM

# ACKNOWLEDGMENTS

This study acknowledges the contribution of the rest of the GUSTO stud group, which includes the following: Pratibha Agarwal, Arijit Biswas, Choon Looi Bong, Birit FP Broekman, Shirong Cai, Jerry Kok Yen Chan, Yiong Huak Chan, Cornelia Yin Ing Chee, Helen Y. H Chen, Yin Bun Cheung, Audrey Chia Chai Kiat Chng, Mary Foong-Fong Chong, Shang Chee Chong, Mei Chien Chua, Chun Ming Ding, Eric Andrew Finkelstein, Doris Fok, Marielle V. Fortier, Anne Eng Neo Goh, Yam Thiam Daniel Goh, Joshua J. Gooley, Wee Meng Han, Mark Hanson, Christiani Jeyakumar Henry, Joanna D. Holbrook, Chin-Ying Hsu, Hazel Inskip, Jeevesh Kapur, Kenneth Kwek, Ivy Yee-Man Lau, Bee Wah Lee, Ngee Lek, Sok Bee Lim, Yen-Ling Low, Iliana Magiati, Lourdes Mary Daniel, Michael J Meaney, Cheryl Ngo, Krishnamoorthy Naiduvaje, Wei Wei Pang, Anqi Qiu, Boon Long Quah, Victor Samuel Rajadurai, Mary Rauff, Salome A. Rebello, Jenny L. Richmond, Anne Rifkin-Graboi, Lynette Pei-Chi Shek, Allan Sheppard, Borys Shuter, Leher Singh, Walter Stunkel, Lin Lin Su, Kok Hian Tan, Oon Hoe Teoh, Hugo P S van Bever, Rob M. van Dam, Inez Bik Yun Wong, P. C. Wong, George Seow Heong Yeo.

All authors thank the GUSTO study team, study participants; parents and their neonates for their valuable contribution in this study.

Financial Support

This research is supported by the Singapore National Research Foundation under its Translational and Clinical Research (TCR) Flagship Programme and administered by the Singapore Ministry of Health’s National Medical Research Council (NMRC), Singapore- NMRC/TCR/004-NUS/2008; NMRC/TCR/012-NUHS/2014. Additional funding is provided by the Singapore Institute for Clinical Sciences, Agency for Science Technology and Research (A*STAR), Singapore.

# conflict of interest

PDG, KMG, YSL and YSC have received reimbursement for speaking at conferences sponsored by companies selling nutritional products. PDG, KMG and YSC are part of an academic consortium that has received research funding from Abbott Nutrition, Nestle and Danone. No other potential conflicts of interest relevant to this article were reported.  KMG is supported by the National Institute for Health Research through the NIHR Southampton Biomedical Research Centre and by the European Union's Seventh Framework Programme (FP7/2007-2013), project EarlyNutrition under grant agreement n°289346. LW provides consultancy services to ImpediMed Ltd. ImpediMed Ltd. had no involvement in the conduct of this research or in the preparation of this manuscript.

# Author contribution

All authors were involved in all parts of the study and approved the final manuscript. SMS, KMG, PDG, YSC, FY, YSL designed and led the GUSTO study. MTT undertook the experimental studies, undertook the sample analyses and written the manuscript. LCW and BL contributed to data analysis, statistical analysis, interpretation and manuscript preparation. LCW, BL, MSK and LYS provided important intellectual contribution to the revision of the manuscript. AC, SES and IA contributed to the data analysis and revision of the manuscript.

Table 1. Characteristics of the study subjects

|  | Birth (N=173) | 2 weeks after delivery(N=140) |
| --- | --- | --- |
|  | Model development group | Validation group | p | Model development group | Validation group | p |
|  | (N=116) | (N=57) |  | (N=94) | (N=46) |  |
| Sex, N (%) |  |  | 0.162 |  |  | 0.053 |
| Male | 52 (44.8) | 32 (56.1) |  | 45 (47.9) | 30 (65.2) |  |
| Female | 64 (55.2) | 25 (43.9) |  | 49 (52.1) | 16 (34.8) |  |
| Ethnicity, N (%) |  |  | 0.179 |  |  | 0.580 |
| Chinese | 59 (50.9) | 21 (36.8) |  | 32 (34.0) | 20 (43.5) |  |
| Malay | 36 (31.0) | 21 (36.8) |  | 43 (45.7) | 18 (39.1) |  |
| Indians | 21 (18.1) | 15 (26.3) |  | 19 (20.2) | 8 (17.4) |  |
| Age group, N (%) |  |  |  |  |  |  |
| Age group I | 85 (73.3) | 38 (66.7) | 0.647 | 7 (7.4) | 3 (6.5) | 1.000 |
| Age group II | 16 (13.8) | 9 (15.8) |  | 81 (86.2) | 42 (91.3) |  |
| Age group III | 15 (12.9) | 10 (17.5) |  | 6 (6.4) | 1 (2.2) |  |
|  | Mean | SD | Mean | SD | p | Mean | SD | Mean | SD | p |
| Gestational age (weeks) | 38.9 | 1.1 | 38.8 | 1.1 | 0.480 |  |  |  |  |  |
| Age on the day of BIA and ADP (days) | 1.0 | 0.0 | 1 | 0.0 | 0.392 | 10.0 | 2.0 | 10.0 | 2.0 | 0.762 |
| Weight (kg) | 3.11 | 0.37 | 3.15 | 0.41 | 0.500 | 3.20 | 0.40 | 3.20 | 0.40 | 0.847 |
| Recumbent Length (cm) | 48.2 | 2.0 | 48.5 | 1.8 | 0.267 | 49.7 | 1.8 | 49.7 | 1.7 | 0.881 |
| Percentage fat-free mass (%) | 90.3 | 3.5 | 89.3 | 3.8 | 0.103 | 87.8 | 3.7 | 88.4 | 3.5 | 0.323 |
| Percentage fat mass (%) | 9.7 | 3.5 | 10.7 | 3.8 | 0.103 | 12.2 | 3.7 | 11.6 | 3.1 | 0.332 |
| Fat-free mass (kg) | 2.77 | 0.30 | 2.77 | 0.29 | 0.958 | 2.80 | 0.31 | 2.80 | 0.35 | 0.912 |
| Fat mass (kg) | 0.30 | 0.13 | 0.34 | 0.15 | 0.094 | 0.40 | 0.15 | 0.38 | 0.15 | 0.439 |

Data shown are N (%) or mean (SD).  Age group at birth: I: Day 0, II: Day 1, III: Day 2-3. Age group at week 2: I: < 1week, II: 1-2 week, III: >2 week

Significant difference (p<0.05). p values were based on between group comparison of 2 sample T test for continuous variables and chi square test for categorical variables.

Table 2. Multiple regression analysis of weight, sex and length or impedance quotients for predicting fat-free mass in the model development group.

Birth

| Model | Predictive variables | Overall r | R square | Adjusted R square | Standardized coefficients | Prediction equations for FFM (Kg) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | W(Kg) | S | L(cm) or L2/R50 (cm2/() |  |
| 1 | L2/R50 | 0.541 | 0.293 |  | 0.541** |  |  | 1.527+ 0.319 L2/R50 |
| 2 | W | 0.949 | 0.901 |  | 0.949** |  |  | 0.386 + 0.775W |
| 3 | W + S | 0.952 | 0.906 | 0.904 | 0.941** | -0.077** |  | 0.478 + 0.769W - 0.047S |
| 4 | W + S + L | 0.952 | 0.906 | 0.903 | 0.943** | -0.078* | -0.004 | 0.502 + 0.771W - 0.047S - 0.001L |
| 5 | W + S + L2 | 0.952 | 0.906 | 0.904 | 0.914** | -0.071* | 0.038 | 0.396 + 0.747W - 0.043S +0.00006 L2 |
| 6 | W + S + L2/R50 | 0.952 | 0.906 | 0.903 | 0.932** | -0.074* | 0.017 | 0.459 + 0.762W - 0.045S + 0.010 L2/R50 |

Week 2

| Model | Predictive variables | Overall r | R square | Adjusted R square | Standardized coefficients | Prediction equations for FFM (Kg) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | W (Kg) | S | L(cm) or L2/R50 (cm2/() |  |
| 1 | L2/R50 | 0.769 | 0.592 |  | 0.769** |  |  | 1.333+0.402L2/ R50 |
| 2 | W | 0.935 | 0.874 |  | 0.935** |  |  | 0.430 + 0.741W |
| 3 | W + S | 0.936 | 0.876 | 0.873 | 0.934** | -0.040 |  | 0.469 + 0.741W - 0.024S |
| 4 | W + S + L | 0.943 | 0.888 | 0.885 | 0.803** | -0.035 | 0.173** | -0.660 + 0.637W - 0.022S + 0.029L |
| 5 | W + S + L2 | 0.943 | 0.889 | 0.885 | 0.800** | -0.036 | 0.177** | 0.058 + 0.634W - 0.022S + 0.0003 L2 |
| 6 | W + S + L2/R50 | 0.948 | 0.899 | 0.895 | 0.783** | -0.027 | 0.214** | 0.375 + 0.621W - 0.016S + 0.112L2/ R50 |

Abbreviations: W: weight (kg), S: sex and L: length or L2/R50: impedance quotients, FFM: fat-free mass. *P <0.05, **P <0.01 for statistically significant standardized regression coefficient from multiple linear regression.

Table 3. Cross validation of performance of FFM prediction equations developed from GUSTO and Queensland cohorts at birth

| Origin | Age of prediction | Parameters | Equation | Cohort applied | Age group applied | Bias (Kg) | LOA (Kg) | ICC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GUSTO | Birth | W+S | 0.478 + 0.769W - 0.047S | GUSTO | Birth | 0.03 | 0.22, -0.16 | 0.971 |
|  |  |  |  | UQ | Birth | -0.03 | 0.20, -0.25 | 0.966 |
| UQ | Birth | W+S | 0·864+0·682W-0·093S | GUSTO | Birth | 0.08 | 0.27, -0.10 | 0.952 |
| GUSTO | Birth | W+S+L | 0.502+0.771W-0.047S-0.001L | GUSTO | Birth | 0.11 | 0.30, -0.08 | 0.940 |
|  |  |  |  | UQ | Birth | -0.05 | 0.18, -0.27 | 0.963 |
| UQ | Birth | W+S+L | 0·507+0·646W-0·089S+0·009L | GUSTO | Birth | 0.06 | 0.24, -0.13 | 0.963 |
| GUSTO | Birth | W+S+L2/R50 | 0.459 + 0.762W - 0.045S + 0.010 L2/R50 | GUSTO | Birth | 0.03 | 0.22, -0.16 | 0.970 |
|  |  |  |  | UQ | Birth | -0.02 | 0.20, -0.24 | 0.968 |
| UQ | Birth | W+S+L2/R50 | 0·822+0·669W-0·081S+0·016L2/R50 | GUSTO | Birth | 0.08 | 0.26, -0.10 | 0.954 |

Abbreviations: LOA: Limit of agreement, ICC: Intra-class correlation coefficient, UQ: Queensland cohort. Bias and LOA were based on Bland Altman analysis.

Table 4. Performance of FFM prediction equations at week 2 and the Queensland’s own age appropriate equations at specific ages in Queensland cohort

| Origin | Age of prediction | Parameters | Equation | Cohort applied | Age group applied | Bias (Kg) | LOA (Kg) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| GUSTO | Week 2 | W+S+L2/R50 | 0.375 + 0.621W - 0.016S + 0.112L2/ R50 | UQ | 6 weeks | -0.06 | 0.32 to -0.45 |
|  |  |  |  |  | 3 months | -0.20 | 0.25 to -0.66 |
|  |  |  |  |  | 4.5 months | -0.29 | 0.42 to -0.99 |
| UQ | 6 weeks | W+S+L2/R50 | 1.248+0.584W-0.142S+0.002 L2/R50 | UQ | 6 weeks | -0.10 | 0.32, -0.52 |
|  | 3 months |  | 1·458+0·498W-0·197S+0·067 L2/R50 |  | 3 months | -0.03 | 0.41, -0.48 |
|  | 4.5 months |  | 2.203+0.334W-0.361S+0.185 L2/R50 |  | 4.5 months | 0.07 | 0.59, -0.45 |

Abbreviations: LOA: Limit of agreement, ICC: Intra-class correlation coefficient, UQ: Queensland cohort. Bias and LOA were based on Bland Altman analysis.

# References

1. Forsen T, Eriksson J, Tuomilehto J et al. (2000) The fetal and childhood growth of persons who develop type 2 diabetes. Annals of internal medicine 133, 176-182.

2. Ibanez L, Ong K, Dunger DB et al. (2006) Early development of adiposity and insulin resistance after catch-up weight gain in small-for-gestational-age children. The Journal of clinical endocrinology and metabolism 91, 2153-2158.

3. Podratz RO, Broughton DD, Gustafson DH et al. (1986) Weight loss and body temperature changes in breast-fed and bottle-fed neonates. Clinical pediatrics 25, 73-77.

4. Lorenz JM (1997) Assessing fluid and electrolyte status in the newborn. National Academy of Clinical Biochemistry. Clinical chemistry 43, 205-210.

5. Urlando A, Dempster P, Aitkens S (2003) A new air displacement plethysmograph for the measurement of body composition in infants. Pediatric research 53, 486-492.

6. Ma G, Yao M, Liu Y et al. (2004) Validation of a new pediatric air-displacement plethysmograph for assessing body composition in infants. The American journal of clinical nutrition 79, 653-660.

7. Ellis KJ, Yao M, Shypailo RJ et al. (2007) Body-composition assessment in infancy: air-displacement plethysmography compared with a reference 4-compartment model. The American journal of clinical nutrition 85, 90-95.

8. Heitmann BL (1990) Evaluation of body fat estimated from body mass index, skinfolds and impedance. A comparative study. European journal of clinical nutrition 44, 831-837.

9. Sheng HP, Huggins RA (1979) A review of body composition studies with emphasis on total body water and fat. The American journal of clinical nutrition 32, 630-647.

10. Kyle UG, Bosaeus I, De Lorenzo AD et al. (2004) Bioelectrical impedance analysis--part I: review of principles and methods. Clinical nutrition 23, 1226-1243.

11. Segal KR, Van Loan M, Fitzgerald PI et al. (1988) Lean body mass estimation by bioelectrical impedance analysis: a four-site cross-validation study. The American journal of clinical nutrition 47, 7-14.

12. Danford LC, Schoeller DA, Kushner RF (1992) Comparison of two bioelectrical impedance analysis models for total body water measurement in children. Annals of human biology 19, 603-607.

13. Davies PS, Lucas A (1990) The prediction of total body fatness in early infancy. Early human development 21, 193-198.

14. Rush EC, Bristow S, Plank LD et al. (2013) Bioimpedance prediction of fat-free mass from dual-energy X-ray absorptiometry in a multi-ethnic group of 2-year-old children. European journal of clinical nutrition 67, 214-217.

15. Eisenmann JC, Heelan KA, Welk GJ (2004) Assessing body composition among 3- to 8-year-old children: anthropometry, BIA, and DXA. Obesity research 12, 1633-1640.

16. Rush EC, Puniani K, Valencia ME et al. (2003) Estimation of body fatness from body mass index and bioelectrical impedance: comparison of New Zealand European, Maori and Pacific Island children. European journal of clinical nutrition 57, 1394-1401.

17. Kriemler S, Puder J, Zahner L et al. (2009) Cross-validation of bioelectrical impedance analysis for the assessment of body composition in a representative sample of 6- to 13-year-old children. European journal of clinical nutrition 63, 619-626.

18. Dung NQ, Fusch G, Armbrust S et al. (2007) Body composition of preterm infants measured during the first months of life: bioelectrical impedance provides insignificant additional information compared to anthropometry alone. European journal of pediatrics 166, 215-222.

19. Mayfield SR, Uauy R, Waidelich D (1991) Body composition of low-birth-weight infants determined by using bioelectrical resistance and reactance. The American journal of clinical nutrition 54, 296-303.

20. Raghavan CV, Super DM, Chatburn RL et al. (1998) Estimation of total body water in very-low-birth-weight infants by using anthropometry with and without bioelectrical impedance and H2[(18)O]. The American journal of clinical nutrition 68, 668-674.

21. Tang W, Ridout D, Modi N (1997) Assessment of total body water using bioelectrical impedance analysis in neonates receiving intensive care. Archives of disease in childhood Fetal and neonatal edition 77, F123-126.

22. Lingwood BE, Storm van Leeuwen AM, Carberry AE et al. (2012) Prediction of fat-free mass and percentage of body fat in neonates using bioelectrical impedance analysis and anthropometric measures: validation against the PEA POD. The British journal of nutrition 107, 1545-1552.

23. Wibaek R, Kaestel P, Skov SR et al. (2015) Calibration of bioelectrical impedance analysis for body composition assessment in Ethiopian infants using air-displacement plethysmography. European journal of clinical nutrition, 69, 1099-1104.

24. Soh SE, Tint MT, Gluckman PD et al. (2014) Cohort profile: Growing Up in Singapore Towards healthy Outcomes (GUSTO) birth cohort study. International journal of epidemiology 43, 1401-1409.

25. Fomon SJ, Haschke F, Ziegler EE et al. (1982) Body composition of reference children from birth to age 10 years. The American journal of clinical nutrition 35, 1169-1175.

26. Butte NF, Hopkinson JM, Wong WW et al. (2000) Body composition during the first 2 years of life: an updated reference. Pediatric research 47, 578-585.

27. Fields DA, Goran MI (2000) Body composition techniques and the four-compartment model in children. Journal of applied physiology 89, 613-620.

28. Roggero P, Gianni ML, Amato O et al. (2012) Evaluation of air-displacement plethysmography for body composition assessment in preterm infants. Pediatric research 72, 316-320.

29. Yajnik CS, Fall CH, Coyaji KJ et al. (2003) Neonatal anthropometry: the thin-fat Indian baby. The Pune Maternal Nutrition Study. International journal of obesity and related metabolic disorders : journal of the International Association for the Study of Obesity 27, 173-180.

30. Collins CT, Reid J, Makrides M et al. (2013) Prediction of body water compartments in preterm infants by bioelectrical impedance spectroscopy. European journal of clinical nutrition 67 Suppl 1, S47-53.

31. Yajnik CS, Yudkin JS (2004) The Y-Y paradox. Lancet 363, 163.

32. Goran MI, Driscoll P, Johnson R et al. (1996) Cross-calibration of body-composition techniques against dual-energy X-ray absorptiometry in young children. The American journal of clinical nutrition 63, 299-305.

33. Weststrate JA, Deurenberg P (1989) Body composition in children: proposal for a method for calculating body fat percentage from total body density or skinfold-thickness measurements. The American journal of clinical nutrition 50, 1104-1115.

34. Sheng HP, Muthappa PB, Wong WW et al. (1993) Pitfalls of body fat assessments in premature infants by anthropometry. Biology of the neonate 64, 279-286.

35. Schmelzle HR, Fusch C (2002) Body fat in neonates and young infants: validation of skinfold thickness versus dual-energy X-ray absorptiometry. The American journal of clinical nutrition 76, 1096-1100.

36. Aris IM, Soh SE, Tint MT et al. (2013) Body fat in Singaporean infants: development of body fat prediction equations in Asian newborns. European journal of clinical nutrition 67, 922-927.

37. Lohman TG (1993) Advances in Body Composition Assessment. Medicine & Science in Sports & Exercise 25, 762.

38. Yajnik CS, Lubree HG, Rege SS et al. (2002) Adiposity and hyperinsulinemia in Indians are present at birth. The Journal of clinical endocrinology and metabolism 87, 5575-5580.

39. Nightingale CM, Rudnicka AR, Owen CG et al. (2011) Patterns of body size and adiposity among UK children of South Asian, black African-Caribbean and white European origin: Child Heart And health Study in England (CHASE Study). International journal of epidemiology 40, 33-44.

40. Modi N, Thomas EL, Uthaya SN et al. (2009) Whole body magnetic resonance imaging of healthy newborn infants demonstrates increased central adiposity in Asian Indians. Pediatric research 65, 584-587.

41. Krishnaveni GV, Hill JC, Veena SR et al. (2005) Truncal adiposity is present at birth and in early childhood in South Indian children. Indian pediatrics 42, 527-538.

42. Bavdekar A, Yajnik CS, Fall CH et al. (1999) Insulin resistance syndrome in 8-year-old Indian children: small at birth, big at 8 years, or both? Diabetes 48, 2422-2429.

43. Dudeja V, Misra A, Pandey RM et al. (2001) BMI does not accurately predict overweight in Asian Indians in northern India. The British journal of nutrition 86, 105-112.

44. Stettler N, Iotova V (2010) Early growth patterns and long-term obesity risk. Current opinion in clinical nutrition and metabolic care 13, 294-299.

45. Chandler-Laney PC, Gower BA, Fields DA (2013) Gestational and early life influences on infant body composition at one year. Obesity (Silver Spring) Obesity 21, 144-148.

46. Andersen LG, Holst C, Michaelsen KF et al. (2012) Weight and weight gain during early infancy predict childhood obesity: a case-cohort study. Int J Obes (Lond) 36, 1306-1311.

47. Stettler N, Stallings VA, Troxel AB et al. (2005) Weight gain in the first week of life and overweight in adulthood: a cohort study of European American subjects fed infant formula. Circulation 111, 1897-1903.

48. Botton J, Heude B, Maccario J et al. (2008) Postnatal weight and height growth velocities at different ages between birth and 5 y and body composition in adolescent boys and girls. Am J Clin Nutr 87, 1760-1768.