1. INTRODUCTION.

Medical and technological advances have led to a welcome increase in life expectancy, and yet the loss or dysfunction of skeletal tissue that can accompany trauma, injury, disease or advancing years can result in significant morbidity as well as a variety of socio-economic issues. Indeed the 2000-2010 decade was endorsed by the WHO and the UN as the Bone and Joint Decade, acknowledging the major burden of musculoskeletal (MSK) disease. Osteoarthritis (OA) is one of the most prevalent MSK disorders [1], affecting 9.6% of men and 18% of women aged over 60 years [2]. The impacts of OA on an individual patients’ quality of life and health care system in general are anticipated to intensify with the ageing population and higher prevalence in older groups [3]. Despite the prevailing success of hip arthroplasty in treatment of hip osteoarthritis [4], 11% of patients remain dissatisfied at 1 year following hip replacements [5], [6]. As the largest arthroplasty database in the world, the UK National Joint Registry shows overall hip replacement revision rates of 6.46% at 12 years, and 3.93% and 8.37% revision rates of cemented and uncemented implants, respectively [7]. Thus, the intuitive desire to develop for patient application a biological implant/bone interface able to dynamically respond and self-repair under the changing physiological demands remains a key unmet orthopedic need. The establishment of an appropriate biological implant-bone interface depends on the process of osseointegration, which, in turn, is reliant upon establishment of primary and subsequently secondary stability. Secondary stability is achieved by bone in- or on-growth on the implant surface as a result of de novo osteogenesis. Implant surface properties have been shown to regulate the process of contact osteogenesis [8], responsible for a series of events ranging from implant surface colonization by skeletal stem cells (SSCs) to appositional bone formation [9].

The development of surfaces able to augment implant integration with host tissue is therefore more than research curiosity. This process should involve modifications of the existing surface finishes, with particular focus on addressing specific nanotexture-enabled properties impacting cellular level interactions. Meticulous monitoring of clinical outcomes following the surface modifications is warranted. The ability of an uncemented implant to attain full implant/bone contact will enable reduction of transferred mechanical load density through maximizing the area of contact with the elimination of interface deficiencies. This would preclude wear particle entry into the implant/bone interface and subsequent inflammatory-mediated osteolytic processes [10]. In turn, these factors promise to prevent at least 24.3% of hip revision and 29.8% of knee revision procedures that are currently undertaken for aseptic loosening, which in real numbers amounts to over 4,000 cases per year in the UK alone [11], [12].

The importance of the concept that surface structure could be pivotal in modulating cell orientation and contact guidance was recognized in the early 20th Century [13]; while the seminal work of Curtis and Varde demonstrated the importance of topography for the cell and the concept of contact guidance and guidance-cell environment [14]. Indeed, the stimulation of an enhanced SSC-mediated osteogenic response by implant surface topography has been extensively investigated [8]. A number of investigations using materials developed at the micro-scale and nanoscale topographies have been shown to trigger an enhanced osteogenic response [15], [16], [17], [18], [19], [20], [21] and, furthermore, there is a wealth of literature on the ability of nanotopographical substrates to modulate SSC differentiation, maintain SSC phenotype or differentiate human embryonic stem cells along the mesoderm lineage [8], [22], [23], [24], [25], [26], [27], [28], [29], [30]. Ti surface-modifying technologies result in a range of surface parameters, which in turn trigger heterogeneous SSC responses [8]. However, the optimal topographical features have, to date, not been identified.

Aseptic loosening and infection remain the two leading causes of orthopedic implant failures [7]. We have previously demonstrated the nanowire surface textures fabricated by the thermal oxidation method exhibiting bactericidal properties, a highly desirable property for an implant surface [31]. In the current study, aiming to address implant aseptic loosening through formation of enhanced implant/bone interface, we explored the osteoinductive potential of the equivalent nanowire surface topographies by examining their in vitro and in vivo biological interactions with human SSCs. We have analyzed the ability of generated topographies to induce SSC osteogenic lineage differentiation in vitro, as measured by morphological alterations, osteogenic gene expression and bone-specific extracellular protein synthesis. This SSC-mediated biological response was compared to other complex nanotopographical surfaces fabricated using anodizing and thermal oxidation techniques. Subsequently, the in vivo outcomes on nanowires were analyzed by measuring appositional de novo osteogenic response in a calvarial rat model.

2. MATERIALS AND METHODS.

2.1. Materials, substrate preparation and characterization.

Fourteen mm diameter discs and ten mm squares were cut from a chemically pure titanium (cpTi) sheet and a Ti6Al4V (Ti64) sheet (Titanium Metals Ltd), respectively. The samples were polished to a mirror shine (TegraPol-15, Struers), sonicated in acetone for 10 minutes and air-dried. For TiO2 nanodot patterning, an anodization method using a block copolymer template was applied [32]. Mirror polished cpTi samples were coated with a thin film of polystyrene-b-poly 4-vinylpyridine (PS-b-P4VP) block copolymer (Polymer Source, molecular weight 480k-b-150k) using a spin coater. The PS-b-P4VP films were solvent annealed in a tetrahydrofuran (THF) atmosphere for 3 hours. The samples were anodized in 0.01M oxalic acid at room temperature with a voltage of 4 or 10 V, respectively. After anodization, the PS-b-P4VP thin film templates were removed by O2 plasma treatment at 150 W for 40 minutes. The resultant TiO2 nanodots are depicted in Figure 1.

Figure 1. The diameter, height and surface distribution pattern of nanodots fabricated using an anodization protocol. The heights of individual nanodots on the bottom chart were taken from tapping mode AFM data (atomic force microscope (Veeco Multimode with Quadrex Nanoscope 3D)). Blue markers show individual measurements, red markers show the average nanodot height (nanodots 4V – 15 nm (8-27), nanodots 10V – 22 nm (13-31)).

For TiO2 nanowire patterning, a controlled thermal oxidation method was used [31]. Ti6Al4V alloy (Ti64) samples were heat-treated in a horizontal alumina tube furnace (1500 mm long, 95 mm inner diameter). After purging the tube with Ar, the temperature was increased to 850 °C at 15 °C/min. After reaching 850 °C the Ar flow was diverted through a bubbler bottle containing acetone at 25°C, with the Ar flow rate adjusted to 50 or 300 sccm for 30 minutes. Tube was then allowed to cool to room temperature under the flow of Ar at 500 sccm. Subsequently, the samples were annealed at 600°C for 30 minutes in air to remove carbon from the surfaces, resulting in formation of TiO2 nanowires seen in Figure 2. A JEOL JSM 5600LV field emission scanning electron microscope (SEM) was used to image the oxidized Ti64 surfaces as previously described [31].

Figure 2.  SEM of surface topographies generated by thermal oxidation method. A and C. Top view TiO2 nanowires 50 sccm and 300 sccm, respectively. B and D. Side view TiO2 nanowires 50 sccm and 300 sccm, respectively. The average length of TiO2 nanowire 300 sccm spikes on the surface was 3 μm, and the average diameter was 20 nm.

Two substrate groups were formed based on the bulk material (Table 1). Each group was sub-divided into a further three groups based on surface characteristics. In subsequent experiments each group had an internal control (planar surface in both in vitro and in vivo), as well as an external control (TCP in in vitro testing only).

| Bulk material | Surface finish |
| --- | --- |
| cpTi | Planar |
|  | Nanodots 4V |
|  | Nanodots 10V |
| TiAl6V4 | Planar |
|  | Nanowires 50 sccm (Nanowires 50) |
|  | Nanowires 300 sccm (Nanowires 300) |

Table 1. The test groups generated as a result of employing different bulk materials and surface treatments.

2.2. Human skeletal stem cell (SSC) Cell culture.

Adult human osteoprogenitor and skeletal stem cell populations were enriched from femoral head samples and bone marrow obtained from hematologically healthy patients undergoing hip replacement surgery with local ethics committee approval (LREC194/99/1), as previously described [33]. Enrichment of SSC fraction from bone marrow cell population was achieved using magnetic sorting system and Stro-1 antibody, as previously described [34], [33], [35]. Primary cultures were established from 3 physiologically healthy donors: (mean age 72.7 years; 2 females 78 and 71 years of age and 1 male 69 years of age). All 3 donors demonstrated consistent viability and cell growth.

SSCs were cultured in a basal medium (α-MEM/10% FCS/1% P/S) at 37°C in 5% CO2, with medium changes performed twice a week. Individual experiments were performed using exclusively passage 1 cells from discrete patient donors unadjusted for demographics (3 donors for 3 repeats of in vitro experiments). SSCs were seeded at 220 cells/cm2 density either directly onto substrates (test groups) or TCP (control groups) for subsequent 21 day in vitro cultures.

Preparation of substrates was undertaken in PBS/1% antibiotic-antimycotic solution (Life Technologies, Invitrogen) for a minimum of 24 hours, before transfer into culture plates and a PBS wash prior to cell seeding or in vivo implantation.

2.3. Live/dead cell assay.

Cell viability and morphology were evaluated using CellTracker™ Green (CTG) CMFDA and ethidium homodimer-1 (Life Technologies, Invitrogen). 50 μg of CTG and 5 μg of ethidium homodimer were dissolved in 10 μl of DMSO prior to addition to the culture medium.

Following in vitro culture, substrates with adherent cells were washed in PBS and fixed overnight in 3% glutaraldehyde, 4% paraformaldehyde and 0.1M PIPES (Sigma-Aldrich). Subsequently, the samples were dehydrated through graded ethanol (30%, 50%, 70%, 90% and 100%) and dried. The samples were sputter coated with platinum to achieve a 7 nm layer thickness prior to imaging.

2.4. In vitro immunocytochemistry.

After three weeks in vitro culture, cells adherent to substrate surfaces were rinsed in PBS and fixed in 4% PFA, blocked with bovine serum (Sigma-Aldrich), treated overnight in anti-OPN or anti-Collagen type I αI primary antibody raised in rabbit (GeneTex), followed by goat anti-rabbit IgG (H+L) secondary antibody, Alexa Fluor® 488 conjugate (Sigma-Aldrich). Nuclear counterstaining was performed using DAPI (4',6-Diamidino-2-Phenylindole, Dihydrochloride) (Life Technologies, Invitrogen). The substrates were mounted on slides and imaged using Zeiss Axiovert 200 inverted microscope.

Following fixation in 4% PFA and bovine serum block, cytoskeletal immunostaining of actin microfilaments was performed by incubating cells at room temperature with Alexa Fluor 647 Phalloidin conjugate (ThermoFisher Scientific). The samples were counterstained using DAPI  and subsequently mounted.

2.5. Molecular analysis of osteogenic gene expression.

Trypsin-EDTA buffer (Sigma-Aldrich) was used to release cells from culture surfaces (8 material replicates) prior to lysis. Total mRNA extraction was accomplished using the Qiagen RNeasy kit in accordance with manufacturer’s instructions. mRNA samples were treated with DNAse and reverse-transcribed using SuperScript first-strand synthesis system (Veriti Thermal Cycler, Applied Biosystems). Real-time qPCR using SYBR® Select Master Mix (Life Technologies) was carried out on 7500 Real-Time PCR system (Applied Biosystems) for amplification of β-actin, ALP, Collagen type I, OPN, OCN and Collagen type II genes. β-actin was employed as the house-keeping gene and Collagen type II as a negative control. Primer sequences (Table 2) were validated by dissociation curve/melt curve analysis and efficiencies of amplification for the β-actin primers and primers for the bone marker genes of interest were approximately equal. The quantification of PCR amplification data was achieved using comparative cycle threshold method and relative transcript levels were expressed as mean ± S.D. Data were analyzed and plotted using GraphPad Prism 6 for Mac OS X software.

| Gene | Primer pairs | Amplicon |  |
| --- | --- | --- | --- |
| β-Actin | F: 5’ GGC ATC CTC ACC CTG AAG TA 3’ R: 5’ AGG TGT GGT GCC AGA TTT TC 3’ | 82 | NM_001101 |
| ALP | F: 5’ GGA ACT CCT GAC CCT TGA CC 3’ R: 5’ TCC TGT TCA GCT CGT ACT GC 3’ | 86 | NM_000478 |
| Collagen type IαI | F: 5’ GAG TGC TGT CCC GTC TGC 3’ R: 5’ TTT CTT GGT CGG TGG GTG 3’ | 52 | NM_000088 |
| OPN | F: 5’ GTT TCG CAG ACC TGA CAT CC 3’ R: 5’ CAT TCA ACT CCT CGC TTT CC 3’ | 80 | NM_001251830 |
| OCN | F: 5’ GGC AGC GAG GTA GTG AAG AG 3’ R: 5’ CTC ACA CAC CTC CCT CCT 3’ | 102 | NM_001199662 |
| Collagen type IIαI | F: 5’ CCT GGT CCC CCT GGT CTT GG 3’ R: 5’ CAT CAA ATC CTC CAG CCA TC 3’ | 58 | NM_001844 |

Table 2. Primer sequences used for RT-PCR

2.6. In vivo evaluation of implant substrates.

Two sample surfaces were selected for further in vivo testing: Planar as a control and nanowires 300 as a result of superior osteogenic potential demonstrated in vitro. Following appropriate preparation, one sample from each test group was implanted into male ex-breeder Sprague Dawley rats in accordance with the calvarial model protocol outlined in Figure 3A-D. The periosteal flap was elevated off the parietal bones of skull to create a pocket, the surface of the skull was then feathered to create a flat cancellous bed for substrate implantation, and the periosteal flap was closed above to secure the samples. While under anesthesia, the rats were transferred into a SkyScan 1176 (SkyScan, Bruker, Kontich, Belgium) for immediate post-operative scanning, before recovery. The scans were repeated at 2-weekly intervals post-operatively. At 8 weeks, the rats were euthanized, and the substrates and the underlying segments of parietal bones were retrieved for histological examination (Figure 3E).

Figure 3. Schematic representing the use of the calvarial model for in vivo substrate culture. The natural flat plane over the superior parts of parietal bones was laterally confined by bilateral supraorbital ridges (A). Restraint was created by the overlying exocranial periosteum, combined with friction with underlying feathered bone, enabling the implanted substrates to achieve primary stability (C and D). The samples were removed with the underlying segment of calvarium and enveloped with overlying periosteum (E). Manual alignment of nanowires 300 (F) samples along coronal, trans-axial and sagittal axes for CT scanning. 3D reconstructions of the samples following 8 weeks of in vivo culture: view from sagittal view (G) and the top (H).

2.7. CT-based radiological evaluation of bone/implant interface.

Individual specimen image data was acquired using the Skyscan 1176 (SkyScan, Bruker, Kontich, Belgium) immediately post-surgery (week 0) and at weeks 2, 4, 6 and 8. The following settings were used: source voltage – 90 kV; current – 278 µA; filter – Cu 0.1 mm; exposure time – 165 ms; frame averaging – 1; rotation step – 0.7°; rotation – 180°. Reconstruction of cross sections was undertaken using software package NRecon (SkyScan, Bruker, Kontich, Belgium) with automatic correction for misalignment, ring artefacts and beam hardening (40%). The alignment was further adjusted manually along three axes as shown in Figure 3F.

The region of interest (ROI), selected to include a region of the implant being in optimal contact with adjacent bone, was set to 2.5x1.25 mm in 75 consecutive cross sections, and included the whole thickness of an individual implant and underlying calvarial bone tissue. Thus, the bone volume analysed included both the original calvarial tissue and any new bone formed adjacent to the sample surface. CT analysis was undertaken using CTAn (SkyScan, Bruker, Kontich, Belgium). Global thresholding was used to segment bone from the background. The resultant data was compiled using GraphPad Prism 6 for Mac OS X software to generate mean values of the temporal bone volume trend for individual sample group, which was later used for quantitative statistical comparison. Three-dimensional reconstructions of the samples (Figure 3G and H) were obtained using CTvox (SkyScan, Bruker, Kontich, Belgium).

2.8. In vivo histological analysis.

Following micro-CT analysis, the calvarial bones were retrieved and the segments immediately underlying the substrate surface topographies carefully dissected and fixed in 4% PFA, ensuring that correct orientation was preserved. The samples were decalcified in 5% EDTA, 0.1M Tris pH 7.3 for 21 days, dehydrated through a series of graded alcohols, embedded in low-melting point paraffin using automated Shandon Citadel 2000 and cut to obtain 7 μm thick sections. The sections were rehydrated and stained with 0.5% Alcian blue 8GX (for proteoglycan-rich cartilaginous matrix) and 1% Sirius red F3B (for collagenous bone matrix). Alternatively, the sections were permeabilized with 3% H2O2 (Sigma-Aldrich), and subsequent immunostaining with anti-OCN primary antibody raised in rabbit (GeneTex) followed the steps described in in vitro immunocytochemistry. All sections were subsequently dehydrated and cleared before mounting in DPX.

2.9. Imaging

Image capture was undertaken with a Zeiss Axiovert 200 inverted microscope using an Axiocam MR camera for fluorescent imaging and Axiovert HR camera for white light imaging operated by Zeiss Axiovision software version 4.7.  Alcian blue Sirius Red (A&S) histology sample imaging was performed with an Olympus BX-51/22 dotSlide digital virtual microscope using OlyVIA 2.1 software (Olympus Soft Imaging Solutions, GmBH). Scanning electron microscopy was performed on FEI Quanta 250 FEG SEM microscope using xT Microscope software.

2.10. Statistical analysis.

The statistical analysis was carried out using Microsoft Excel for Mac 2011 Version 14.6.4 (Microsoft Corporation) and Prism 6 for Mac OS X (GraphPad Software) with data presented as mean +/- standard deviations. In vitro experiments were repeated three times to ensure validity and reproducibility of the results. Eight independent culture samples were pooled for RT-PCR analysis to minimize the effect of the variation introduced by individual samples. The results were expressed as mean ± standard deviation (SD). Two-way ANOVA test was used in comparisons for multiple factors between seven independent test groups. T-test was used in comparison for a single factor between two independent groups. The significance level was set at p<0.05.

3. RESULTS.

3.1. Evaluation of skeletal stem cell growth on nanosurfaces.

STRO-1 Enriched human SSCs were observed to proliferate, remain viable and to reach confluence after 21 days of in vitro culture on a range of substrates (Figure 4A). SSCs displayed an elongated and fibroblast-like morphology on planar surfaces irrespective of bulk material. Initial induction of a morphological osteoblastic-like (cuboidal) appearance was observed on nanodots 10V. In contrast, SSCs maintained on nanowires 50, displayed an enhanced stellate osteoblast-like morphology, while on nanowires 300 the skeletal populations displayed a distinct teardrop-shaped morphology and marked extensions between several focal adhesion points. On nanowires 300, and to a lesser extent on nanowires 50, the density of viable cells was observed to be reduced although there was no evidence of significant cell apoptosis observed. On nanowires 300, SSCs displayed an increasingly distinct elongated morphology between day 7 and 21.

Scanning electron microscopy analysis of SSCs on Ti64 planar surfaces revealed the formation of a cell monolayer with extensive intercellular connections (Figure 4B). On nanowires 50, SSCs presented as a flat, spread, stellar appearance with cytoplasmic projections approaching 400 μm in length and fewer filopodia with pronounced actin stress fibers (Figure 4C). In contrast, the SSCs on nanowires 300 displayed a distinct elongated morphology with cytoplasmic projections approaching 400 μm in length and a more globular cell presentation with multiple fine adhesion filopodia that appeared to penetrate the nanowire lattice (Figure 4D). Given the low density of cells on nanowire 300 constructs, few intercellular connections observed in these cultures.

An interconnected and aligned cell monolayer was observed on Ti64 planar surfaces evidenced by Phalloidin immunostaining of filamentous actin. On nanowires 300, actin microfilaments were noted to be aligned and to form a cytoskeletal framework interlinking individual focal attachment complexes of the osteoprogenitor cells (Figure 4E and F).

Figure 4. A. Stro-1 SSC viability and morphology on different test surfaces (Ai) Ti planar, Aii) Nanodots 4V, Aiii) Nanodots 10V, Aiv) Ti64 planar, Av) Nanowires 50, Avi) Nanowires 300) following 21 days of in vitro culture (scale bar for nanowire 300 represents 200 μm and other surfaces - 100 μm). SSCs were seeded at 220 cells/cm2 density, and this density was maintained throughout the 21 days of in vitro culture, indicating minimal cell expansion as a consequence of early nanowire topography-mediated signaling and preferential SSC differentiation. B-D. SEM images of SSCs cultured on test surfaces in vitro for 21 days (scale bar 100 μm). Immunostaining of actin microfilaments following 21 days of in vitro culture on Ti64 planar surfaces (E – scale bar 20 μm) and nanowires 300 (F – scale bar 20 μm).

3.2. Osteogenic marker expression of SSCs following culture on nanosurfaces.

SSCs cultured, in vitro, on Ti and Ti64 control surfaces demonstrated comparable levels of osteogenic gene induction for the following markers ALP, Collagen type I, OPN and OCN. Gene expression was enhanced on Ti and Ti64 substrates in comparison to TCP but this did not reach statistical significance (Figure 5A). SSCs cultured on nanowires 300 displayed significantly enhanced expression of osteogenic marker genes compared to control substrates. In contrast, Collagen type II gene expression, a marker of cartilaginous extracellular matrix, was significantly reduced on all test surfaces in comparison to SSCs maintained on TCP.

SSCs cultured on nanowires, in particular on nanowires 300, displayed significantly enhanced expression of OPN and Collagen type I immunofluorescence in comparison to expression on TCP and planar surface controls as shown in Figures 5B and C, respectively. Induction of OPN and Collagen type I expression was also observed on nanodots 10V compared to planar surfaces, although the levels of expression were less marked in comparison to nanowires.

Figure 5. A. Real-time qPCR analysis of osteogenic genes (ALP, Collagen type I, OPN and OCN) with the chondrogenic gene Collagen Type II as a negative control in STRO 1 SSCs cultured in vitro on test surfaces and tissue culture plastic for 21 days. TCP surface served as a reference point. Results expressed as mean ± SD, triplicate samples, individual experiment repeated three times, 2-way ANOVA test, ***p<0.001. B. Fluorescent imaging of OPN immunostaining in SSCs after 21 days of in vitro cultures (blue – cell nuclei, green – OPN protein). Scale bar 20 μm. C. Fluorescent imaging of Collagen type I immunostaining in SSCs after 21 days of in vitro cultures (blue – cell nuclei, green – Collagen type I protein). Scale bar 50 μm.

3.3. Computer tomography (CT)-based analysis of in vivo nanosurfaces.

Following planar control and nanowire 300 (Figure 6A and 6B) sample implantation in a rat calvarial model, the initial post-operative CT at week 0 indicated greater X-ray depletion by nanowires 300 samples, resulting in a larger metal shadow artefact (Figure 6C and D).

Figure 6. The SEM images of planar control (A) and nanowires 300 (B) test group surfaces, and coronal cross sections of control (C) and nanowires 300 (D) at week 0 post-operative CT. Note the samples (green) and the metal artefact (pink) produced as a result of beam hardening. E. μCT analysis of bone volume at the interface with planar control and nanowires 300 sample surfaces measured at 2-weekly intervals over 8 weeks of in vivo culture. Results expressed as mean ± SD, n=5, t-test, *p<0.05, **p<0.01, ***p<0.001. Reconstructed images of the interface of a nanowires 300 sample and overlying calvarial bone from circa the same area of the interface at week 0 (F) and following 8 weeks (G) of in vivo culture. Note the increased bone volume (bright orange color) at the interface at 8 weeks.

A significant increase in bone volume at the calvarial bone interface with nanowires 300 sample surface after 8 weeks of in vivo culture compared to control samples was observed (Figure 6E). A time-dependent increase in bone volume was observed in both experimental groups with the rate of bone volume increase significantly enhanced at the interface with nanowires 300 surfaces.  Significant differences in the rate of bone formation were observed from four weeks of in vivo implantation. The enhanced effect of nanowires 300 surface topography on the bone volume at the adjacent interface was further visually confirmed by comparison of images at week 0 and week 8 time points (Figure 6F and G).

3.4. In vivo histology.

Examination of proteoglycan and collagenous matrix production using Alcian blue/Sirius red (A&S) staining of calvarial bone demonstrated augmented appositional osteogenesis, evidenced as a layer of immature bone with reduced collagenous framework organization in the areas underlying the implant surfaces. This layer of de novo bone formation was significantly enhanced following contact with nanowire 300 topography compared to planar surfaces. Similarly, OCN immunohistochemistry revealed enhanced de novo appositional osteogenesis triggered by nanowire 300 topography compared to planar surfaces (Figure 7).

Figure 7. Bone formation in calvarial tissue following nanoconstruct implantation. Enhanced A&S stain and OCN immunostain of calvarial bone in contact with Ti64 planar (A and D) and nanowires 300 (B and D), respectively. Region of de novo appositional bone formation indicated by blue arrows. OCN – green, DAPI nuclear counterstain – blue. Scale bar 200 μm. D. Schematic, explaining the focus of histological tissue analysis.

4. DISCUSSION.

The current studies demonstrate the potential of nanowire topographies to enhance the osteogenic SSC response. Nanowire 300 topographies triggered up-regulation of bone-specific gene expression and extracellular matrix protein (OPN and Collagen type I) synthesis in vitro. Early topography-induced terminal lineage-specific differentiation of SSCs resulted in minimal cell proliferation and attainment of mature distinctive tear-shaped cell morphology by day 14 of in vitro culture on nanowires 300. This enhanced osteogenic activity in vitro was coupled with demonstration of significant enhancement of de novo contact osteogenesis at nanowire surface/bone interface within the in vivo rat calvarial model as revealed by CT analysis.

These findings indicate significant orthopedic potential in the application of nanowires in orthopedic implants harnessing nanowire-mediated effects in the induction of bone integration and thus implant osseointegration, and the clinical benefits therein. Interestingly, while full implant/bone contact is desirable, it has been suggested, based on 2D finite element models, that as a result of the remodeling process an equilibrium state is achieved with about 58-60% contact. This observation appears consistent with clinical observations [36]. Therefore, the data from further in vivo and clinical trials is required to explore the potential of achieving 100% implant/bone contact with novel surface modifications.

It has previously been demonstrated that nanotopographical textures enable maintenance of SSC self-renewal and multipotency, or control differentiation [22], [23], [24], [25], [26], [37], [38]. In our study, morphological changes occurring early in the culture process of SSCs on nanowire surfaces were correlated with differentiation of the SSCs and cessation of SSC expansion. Consistent with the low seeding density, the density of the SSCs cells remained low throughout the 21 days of in vitro culture, indicating minimal cell expansion as a consequence of early nanowire topography-mediated signaling and SSC differentiation. An integrated cascade of gene expression has been shown to be responsible for the modulation of the temporal osteoblast differentiation process, that includes proliferation, biosynthesis, organization and mineralisation of bone extracellular matrix [39]. Transition between proliferation and phenotypic differentiation occurs as a result of transcriptional shift in response to physiological regulatory signals. The physical cues of the nanowire topography resulted in modulation of SSC differentiation and activation of extracellular matrix protein synthesis. The absence of dead cells following live/dead staining, the vigorous adhesion complexes formation and cytoskeletal alignment, and strong evidence of osteogenic activity collectively indicate that nanowire surfaces were biocompatible with cell viability and function.

Interestingly, as evidenced by SEM, the formation of adhesion complexes was preceded by physical interaction of the SSC with the nanowire lattice by filopodia, enabling sensing of spatial, topographical and chemical information for the SSCs [40], [41]. Thus, the physical signals involved in activation of osteoblast lineage differentiation were as a consequence of interaction of SSCs with the underlying topography by the cell filopodia with or without activation of adhesion molecules, integrins [40], [41]. Cell differentiation and osteogenic induction mediated by the nanowires 50 topography, produced STRO-1 SSCs displaying the characteristic flattened osteoblast morphology. The mature elongated morphology of SSCs cultured on nanowires 300 was distinctive and unusual, and appeared to have been established by day 14 in culture with the cell projections observed to be almost twice the length of the spread cells on nanowires 50 surface. The observed morphological changes resulted from the concomitant alterations in cytoskeletal scaffolds and tensegrity. Cell phenotype and function can be regulated by transmission of physical surface signals through the adhesion-cytoskeleton-nucleus mechanotransduction pathway [42]. Actin microfilaments assembly interlinking the focal adhesion complexes is important in mediating intracellular tension and cell gene activation and bone matrix protein production [23]. Thus, cytoskeletal microfilaments form an integral link between focal adhesions and nuclear scaffolds that are essential in triggering change in the organization of cytoplasmic and nuclear molecular assemblies [43]. In a detailed study looking at the effect of a range of topographical feature heights (150, 300 and 560 nm), widths (300, 500 and 1000 nm) and special arrangements on human lung fibroblasts, Wang et al concluded that cellular function (i.e. Collagen type I synthesis) was dependent on the focal adhesion rearrangements modulating nuclear volume, with anisotropic arrangement of topography proving more potent due to enhanced ability to provide continuous undisrupted surface guidance [44]. These observations are in agreement with our findings of increased cellular elongation and resultant enhanced intracellular tension found on anisotropic nanowire lattice triggering enhanced expression of osteoblast phenotype and osteogenic activity.

In the current study, a significant up-regulation in osteogenic gene induction was observed in SSCs cultured on nanowires 300 compared to Ti64 planar controls; linked to enhanced Collagen type I and Osteopontin matrix protein synthesis in comparison to control substrates. It was suggested that surfaces lacking sufficient surface roughness caused excessive cells flattening and relative impairment of nutrition [45]. Thus, it is possible, the globular tear-shaped morphology of the SSCs on nanowires 300 may aid intra-cellular metabolic exchanges compared to flattened morphology on other test surfaces. The expression of bone marker genes was less robust in SSCs cultured on nanodots 10V and nanowires 50. Interestingly, Collagen type II gene expression, characteristic of chondrogenic stimulation, was not observed further highlighting the SSCs differentiation by the nanoconstructs and the metal planar surface controls.

The characteristics of TiO2 nanowires vary with parameters of thermal oxidation treatment [46]. Previously, compared to planar controls, nanowires measuring 6 μm in length and 300 nm in diameter were shown to induce improved adhesion and proliferation, and increased ALP activity in osteosarcoma cells in vitro [47]. However, following demonstration of bactericidal properties of nanowires specifically measuring 3 μm in length and 20 nm in diameter, our findings represent a focused attempt at extensive characterization of nanowire osteoinductive potential within in vitro and in vivo environments using human SSCs. Harnessing in vivo studies, control and test samples were implanted in each individual rat to reduce the effect of physiological and anatomical variation between the rat hosts. The samples were implanted in midline with each exposed to underlying calvarial bone and the sagittal suture, thus eliminating the variation introduced by the superior regenerative potential of the stem cells derived from the suture [48]. The same volume of bone was chosen for analysis, aided by precise alignment of the samples prior to selection of the region of interest. The enhanced X-ray depletion in the nanowires 300 group was likely caused by the nanowire mesh on the sample surface contributing to the increased volume of metal material compared to controls. Consequently, x-ray depletion contributed to the higher initial (week 0) reading of bone volume in nanowires 300 group compared to the control samples. However, the effect of this shadow artefact was constant throughout the subsequent period of in vivo culture and therefore did not contribute further to the increase in bone volume observed in both groups. Critically, the whole thickness of an individual implant and underlying calvarial bone tissue was included in ROI to compensate for any variation in calvarial anatomy and implant placement. In vivo analysis demonstrated a significant increase of bone volume in contact with nanowire 300 surfaces compared to planar controls. This enhanced bone formation, a consequence of stem cell stimulation following culture on the nanowires, resulted in the augmentation of de novo appositional osteogenesis, evidenced by histological findings. The process of appositional osteogenesis occurred either through lamellar remodeling or woven bone deposition and subsequent lamellar bone substitution on the surface of the host bone bed and on the implant itself [9], [49].

Nanowire topographies have been previously reported to display bactericidal properties [31], [50]. Moreover, while reducing bacterial colonization, topographies fabricated using thermal oxidation were shown to support mammalian osteosarcoma cell adhesion and proliferation [50]. Consistent with our findings, the proliferation of osteosarcoma cells on these surfaces was characterized by early cell isolation as opposed to monolayer formation, and distinctive morphological alterations resulting in teardrop morphology indicative of unipolar migration of cells held by topographical spikes [50]. The current studies demonstrate the potential for complex surface treatment of large areas in 3D, using thermal oxidation and, critically, the potential for enhancement of implant osseointegration. The combination of bactericidal and osteoinductive properties make thermal oxidation an attractive approach for potential industrial scale application in implant fabrication.

The caveats of the current in vitro studies include a lack of the assessment of the scope of focal adhesion complexes-mediated cell adhesion and resultant cell deformation. The data analysis did not specifically focus on the cellular mechanisms responsible for the osteoinduction observed, which would have been to further understand and guide the material surface design. The in vivo study design did allow micro movement of the implanted samples, with the initial frictional interference of the nanowire surfaces offering relative protection against micro movement compared to the planar surfaces. However, both planar and nanowire surfaces achieved sufficient primary stability to enable osteogenesis as evidenced by bone volume increase in contact with both surfaces (Figure 6E). The extent of implant/bone contact and mechanical strength of the interface formed were not formally tested in these in vivo studies. Further research will aim to further investigate these aspects. Additionally, it was previously suggested that the concept of animal research, particularly that relating to pharmaceuticals and environmental agents, may be a poor predictor of human experience [51]. Therefore, although the results from in vivo studies demonstrated enhanced osteogenic potential of nanowires 300, a degree of caution is warranted in outcome extrapolation to the human scenario.  Further steps will necessitate a comparative study including a select range of novel surface finishes identified from discrete studies as well as the current commercially available implant surface finishes. Indeed, these studies advocate thorough standardization of surface characterization parameters, cell-type and experimental design as essential. Nevertheless, the level of nanowire 300 topography-mediated enhancement in osteogenic response indicates this surface as a prominent candidate material for enhanced contact osteoinductivity.

In summary, the current studies have demonstrated an enhanced osteogenic response to nanowires 300 surface modifications, and thus the potential for augmented implant integration resulting in significant impact on clinical implant track record. This impact could be particularly relevant in areas of orthopedic implantology where clinical success and patient satisfaction levels are significantly below those observed in hip and knee replacements (i.e. shoulder, elbow and ankle replacements).  The further evaluation of nanowire 300 topography mediated enhancement of bone induction auger well for bone tissue regenerative application for an increasing ageing demographic.

5. Funding Sources.

Funding to ROCO from the Medical Research Council, the Engineering and Physical Sciences Research Council, and the Biotechnology and Biological Sciences Research Council UK Regenerative Medicine Platform Hub Acellular Approaches for Therapeutic Delivery (MR/K026682/1) and BBSRC LO21071/ and BB/L00609X/1 and BB/G010579/1 is gratefully acknowledged. Funding to BS from the Engineering and Physical Sciences Research Council  (EP/K035142/1 and EP/KG049076/1) is gratefully acknowledged. The authors would also like to thank Ms Julia Wells of the University of Southampton Bone and Joint group for technical support and Dr Stuart Lanham, also of the University of Southampton Bone and Joint group for assistance with microcomputed tomography analysis.

6. REFERENCES.

[1] A.D. Woolf, The Bone and Joint Decade: working together to make musculoskeletal conditions a public health priority., Arthritis Research UK, arthritiseesearchuk.org, 2012.

[2] C.J.L.L. Murray, A. D., editors, The global burden of disease. Acomprehensive assessment of mortality and disability from diseases, injuries, and risk factors in 1990 and projected to 2020., Harvard School of Public Health on behalf of the World Health Organization and The World Bank1996.

[3] A.D. Woolf, B. Pfleger, Burden of major musculoskeletal conditions, Bulletin of the World Health Organization 81(9) (2003) 646-56.

[4] I.D. Learmonth, C. Young, C. Rorabeck, The operation of the century: total hip replacement, Lancet 370(9597) (2007) 1508-19.

[5] RCSEng, National Total Hip Replacement Outcome Study: Final Report to the Department of Health. <https://www.rcseng.ac.uk/publications/docs/hip_replacement.html>, 2000 (accessed 06/10/2015.).

[6] G.K. Garellick, J.; Rogmark, C.; Herberts, P., Swedish Hip Arthroplasty Register Annual Report 2010.,  (2010).

[7] NJR, 13th annual report 2016. <http://www.njrreports.org.uk/Portals/0/PDFdownloads/NJR 13th Annual Report 2016.pdf>, 2016 (accessed 03/01/2018.).

[8] V. Goriainov, R. Cook, J.M. Latham, D.G. Dunlop, R.O. Oreffo, Bone and metal: an orthopaedic perspective on osseointegration of metals, Acta biomaterialia 10(10) (2014) 4043-57.

[9] J.E. Davies, Understanding peri-implant endosseous healing, Journal of dental education 67(8) (2003) 932-49.

[10] Y. Abu-Amer, I. Darwech, J.C. Clohisy, Aseptic loosening of total joint replacements: mechanisms underlying osteolysis and potential therapies, Arthritis Res Ther 9(Suppl 1) (2007) S6.

[11] NJR, 10th annual report 2013. <http://www.njrcentre.org.uk/njrcentre/Portals/0/Documents/England/Reports/10th_annual_report/NJR 10th Annual Report 2013 B.pdf>, 2013 (accessed 26/03/2014.).

[12] M. Khan, K. Osman, G. Green, F.S. Haddad, The epidemiology of failure in total knee arthroplasty: avoiding your next revision, Bone Joint J 98-b(1 Suppl A) (2016) 105-12.

[13] R.G. Harrison, ON THE STEREOTROPISM OF EMBRYONIC CELLS, Science 34(870) (1911) 279-81.

[14] A.S. Curtis, M. Varde, Control of cell behaviour: topological factors., Journal of the National Cancer Institute 33 (1964) 15-26.

[15] G. Zhao, Z. Schwartz, M. Wieland, F. Rupp, J. Geis-Gerstorfer, D.L. Cochran, B.D. Boyan, High surface energy enhances cell response to titanium substrate microstructure, Journal of biomedical materials research. Part A 74(1) (2005) 49-58.

[16] R. Olivares-Navarrete, R.A. Gittens, J.M. Schneider, S.L. Hyzy, D.A. Haithcock, P.F. Ullrich, Z. Schwartz, B.D. Boyan, Osteoblasts exhibit a more differentiated phenotype and increased bone morphogenetic protein production on titanium alloy substrates than on poly-ether-ether-ketone, The spine journal : official journal of the North American Spine Society 12(3) (2012) 265-72.

[17] T. Sjostrom, M.J. Dalby, A. Hart, R. Tare, R.O. Oreffo, B. Su, Fabrication of pillar-like titania nanostructures on titanium and their interactions with human skeletal stem cells, Acta biomaterialia 5(5) (2009) 1433-41.

[18] M.J. Dalby, A. Andar, A. Nag, S. Affrossman, R. Tare, S. McFarlane, R.O. Oreffo, Genomic expression of mesenchymal stem cells to altered nanoscale topographies, Journal of the Royal Society, Interface / the Royal Society 5(26) (2008) 1055-65.

[19] W. Zhang, Z. Li, Y. Liu, D. Ye, J. Li, L. Xu, B. Wei, X. Zhang, X. Liu, X. Jiang, Biofunctionalization of a titanium surface with a nano-sawtooth structure regulates the behavior of rat bone marrow mesenchymal stem cells., International journal of nanomedicine 7 (2012) 4459-72.

[20] W. Qian, L. Gong, X. Cui, Z. Zhang, A. Bajpai, C. Liu, A.B. Castillo, J.C.M. Teo, W. Chen, Nanotopographic Regulation of Human Mesenchymal Stem Cell Osteogenesis, ACS applied materials & interfaces 9(48) (2017) 41794-41806.

[21] Q.R. Xiao, N. Zhang, X. Wang, X.Y. Man, K. Yang, L.X. Lü, N.P. Huang, Oriented Surface Nanotopography Promotes the Osteogenesis of Mesenchymal Stem Cells, Advanced Materials Interfaces 4(3) (2017) 1600652.

[22] M.J. Dalby, D. McCloy, M. Robertson, H. Agheli, D. Sutherland, S. Affrossman, R.O. Oreffo, Osteoprogenitor response to semi-ordered and random nanotopographies, Biomaterials 27(15) (2006) 2980-7.

[23] M.J. Dalby, N. Gadegaard, R.O. Oreffo, Harnessing nanotopography and integrin-matrix interactions to influence stem cell fate, Nature materials 13(6) (2014) 558-69.

[24] R.J. McMurray, N. Gadegaard, P.M. Tsimbouri, K.V. Burgess, L.E. McNamara, R. Tare, K. Murawski, E. Kingham, R.O. Oreffo, M.J. Dalby, Nanoscale surfaces for the long-term maintenance of mesenchymal stem cell phenotype and multipotency, Nature materials 10(8) (2011) 637-44.

[25] E. Kingham, R.O. Oreffo, Embryonic and induced pluripotent stem cells: understanding, creating, and exploiting the nano-niche for regenerative medicine, ACS nano 7(3) (2013) 1867-81.

[26] E. Kingham, K. White, N. Gadegaard, M.J. Dalby, R.O. Oreffo, Nanotopographical cues augment mesenchymal differentiation of human embryonic stem cells, Small 9(12) (2013) 2140-51.

[27] R.A. Gittens I, T. McLachlan, Y. Cai, S. Berner, R. Tannenbaum, Z. Schwartz, K.H. Sandhage, B.D. Boyan, The effects of combined micron-/submicron-scale surface roughness and nanoscale features on cell proliferation and differentiation, Biomaterials 32(13) (2011) 3395-403.

[28] R.A. Gittens, L. Scheideler, F. Rupp, S.L. Hyzy, J. Geis-Gerstorfer, Z. Schwartz, B.D. Boyan, A Review on the Wettability of Dental Implant Surfaces II: Biological and Clinical Aspects, Acta biomaterialia 10(7) (2014) 2907-18.

[29] D.A. Hollander, M. von Walter, T. Wirtz, R. Sellei, B. Schmidt-Rohlfing, O. Paar, H.J. Erli, Structural, mechanical and in vitro characterization of individually structured Ti-6Al-4V produced by direct laser forming, Biomaterials 27(7) (2006) 955-63.

[30] X. Wang, S. Xu, S. Zhou, W. Xu, M. Leary, P. Choong, M. Qian, M. Brandt, Y.M. Xie, Topological design and additive manufacturing of porous metals for bone scaffolds and orthopaedic implants: A review, Biomaterials 83 (2016) 127-41.

[31] T. Sjostrom, A.H. Nobbs, B. Su, Bactericidal nanospike surfaces via thermal oxidation of Ti alloy substrates, Materials Letters 167 (2016) 22–26.

[32] T. Sjostrom, L.E. McNamara, L. Yang, M.J. Dalby, B. Su, Novel anodization technique using a block copolymer template for nanopatterning of titanium implant surfaces, ACS applied materials & interfaces 4(11) (2012) 6354-61.

[33] X. Yang, R.S. Tare, K.A. Partridge, H.I. Roach, N.M. Clarke, S.M. Howdle, K.M. Shakesheff, R.O. Oreffo, Induction of human osteoprogenitor chemotaxis, proliferation, differentiation, and bone formation by osteoblast stimulating factor-1/pleiotrophin: osteoconductive biomimetic scaffolds for tissue engineering, Journal of bone and mineral research : the official journal of the American Society for Bone and Mineral Research 18(1) (2003) 47-57.

[34] D. Howard, K. Partridge, X. Yang, N.M. Clarke, Y. Okubo, K. Bessho, S.M. Howdle, K.M. Shakesheff, R.O. Oreffo, Immunoselection and adenoviral genetic modulation of human osteoprogenitors: in vivo bone formation on PLA scaffold, Biochemical and biophysical research communications 299(2) (2002) 208-15.

[35] S.H. Mirmalek-Sani, R.S. Tare, S.M. Morgan, H.I. Roach, D.I. Wilson, N.A. Hanley, R.O. Oreffo, Characterization and multipotentiality of human fetal femur-derived cells: implications for skeletal tissue regeneration, Stem cells (Dayton, Ohio) 24(4) (2006) 1042-53.

[36] Z. Lian, H. Guan, S. Ivanovski, Y.C. Loo, N.W. Johnson, H. Zhang, Effect of bone to implant contact percentage on bone remodelling surrounding a dental implant, International journal of oral and maxillofacial surgery 39(7) (2010) 690-8.

[37] L.C. Lee, N. Gadegaard, M.C. de Andres, L.A. Turner, K.V. Burgess, S.J. Yarwood, J. Wells, M. Salmeron-Sanchez, D. Meek, R.O. Oreffo, M.J. Dalby, Nanotopography controls cell cycle changes involved with skeletal stem cell self-renewal and multipotency, Biomaterials 116 (2017) 10-20.

[38] M.J. Dalby, N. Gadegaard, R. Tare, A. Andar, M.O. Riehle, P. Herzyk, C.D. Wilkinson, R.O. Oreffo, The control of human mesenchymal cell differentiation using nanoscale symmetry and disorder, Nature materials 6(12) (2007) 997-1003.

[39] G.S. Stein, J.B. Lian, J.L. Stein, A.J. Van Wijnen, M. Montecino, Transcriptional control of osteoblast growth and differentiation, Physiological reviews 76(2) (1996) 593-629.

[40] M.J. Biggs, R.G. Richards, M.J. Dalby, Nanotopographical modification: a regulator of cellular function through focal adhesions, Nanomedicine : nanotechnology, biology, and medicine 6(5) (2010) 619-33.

[41] L. Feller, Y. Jadwat, R.A.G. Khammissa, R. Meyerov, I. Schechter, J. Lemmer, Cellular Responses Evoked by Different Surface Characteristics of Intraosseous Titanium Implants, BioMed research international 2015 (2015).

[42] D.B. Wormer, K.A. Davis, J.H. Henderson, C.E. Turner, The focal adhesion-localized CdGAP regulates matrix rigidity sensing and durotaxis, PloS one 9(3) (2014) e91815.

[43] A.J. Maniotis, C.S. Chen, D.E. Ingber, Demonstration of mechanical connections between integrins, cytoskeletal filaments, and nucleoplasm that stabilize nuclear structure, Proc Natl Acad Sci U S A 94(3) (1997) 849-54.

[44] K. Wang, A. Bruce, R. Mezan, A. Kadiyala, L. Wang, J. Dawson, Y. Rojanasakul, Y. Yang, Nanotopographical Modulation of Cell Function through Nuclear Deformation, ACS applied materials & interfaces 8(8) (2016) 5082-92.

[45] A. Wennerberg, T. Albrektsson, Effects of titanium surface topography on bone integration: a systematic review, Clinical oral implants research 20 Suppl 4 (2009) 172-84.

[46] B.J. Dinan, Growth of Titania Nanowires by Thermal Oxidation., Materials Science and Engineering: A, THE OHIO STATE UNIVERSITY, Ann Arbor, USA, 2012, p. 328.

[47] B.G.-P. Dinan, D., H. Lee, D. Hansford, S.A. Akbar, Thermally grown TiO2 nanowires to improve cell growth and proliferation on titanium based materials, Ceramics International 39(5) (2013) 5949–5954.

[48] T. Maruyama, J. Jeong, T.J. Sheu, W. Hsu, Stem cells of the suture mesenchyme in craniofacial bone development, repair and regeneration, Nature communications 7 (2016) 10526.

[49] A.F. Mavrogenis, R. Dimitriou, J. Parvizi, G.C. Babis, Biology of implant osseointegration, J Musculoskelet Neuronal Interact 9(2) (2009) 61-71.

[50] T. Diu, N. Faruqui, T. Sjostrom, B. Lamarre, H.F. Jenkinson, B. Su, M.G. Ryadnov, Cicada-inspired cell-instructive nanopatterned arrays, Scientific reports 4 (2014) 7122.

[51] M.B. Bracken, Why animal studies are often poor predictors of human reactions to exposure, J R Soc Med 102(3) (2009) 120-2.