An objective comparison of quality and reliability of auditory brainstem response features elicited by click and speech sounds

Kimberley Novis1 & Steven Bell2

1Audiology Department, City Hospitals Sunderland

2Hearing and Balance Centre, Institute of Sound and Vibration Research, University of Southampton, UK

Financial Disclosures/Conflicts of Interest

This research project was funded by the Engineering and Physical Sciences Research Council (EPSRC, grant No. EP/M026728/1), and completed as part of an MSc degree funded by Newcastle Upon Tyne NHS Foundation Trust.

Address correspondence to Institute of Sound and Vibration Research, University of Southampton, Highfield, Southampton, SO17 1BJ, UK.

Email: kimberley.novis@chsft.nhs.uk, s.l.bell@soton.ac.uk

Abstract

Objectives: Auditory Brainstem Responses (ABRs) are commonly generated using simple, transient stimuli (e.g. clicks or tone bursts). While resulting waveforms are undeniably valuable clinical tools, they are unlikely to be representative of responses to more complex, behaviourally-relevant sounds such as speech. There has been interest in the use of more complex stimuli to elicit the ABR, with considerable work focusing on the use of synthetically generated Consonant-Vowel (CV) stimuli. Such responses may be sensitive to a range of clinical conditions and to the effects of auditory training.

Several ABR features have been documented in response to CV stimuli, however an important issue is how robust such features are. In the current research we use time- and frequency-domain objective measures of quality to compare the reliability of Wave V of the click-evoked ABR, to that of waves elicited by the CV stimulus /da/.

Design: Stimuli were presented to 16 subjects at 70 dB nHL in quiet for 6000 epochs. The presence and quality of response features across subjects were examined using Fsp and a Bootstrap analysis method, which was used to assign p-values to ABR features for individual recordings in both time and frequency domains.

Results: All consistent peaks identified within the /da/-evoked response had significantly lower amplitude than Wave V of the ABR. The morphology of speech-evoked waveforms varied across subjects. Mean Fsp values for several waves of the speech-evoked ABR were below 3, suggesting low quality. The most robust response to the /da/ stimulus appeared to be an offset response.

Only click-evoked Wave V showed 100 % wave presence. Responses to the /da/ stimulus showed lower wave detectability. Frequency domain analysis showed stronger and more consistent activity evoked by clicks than by /da/. Only the click ABR had consistent time-frequency domain features across all subjects.

Conclusions: Based on the objective analysis used within this investigation, it appears that the quality of speech-evoked ABR is generally less than that of click-evoked responses, although the quality of responses may be improved by increasing the number of epochs or the stimulation level. This may have implications for the clinical use of speech-evoked ABR.

Introduction

The auditory brainstem response (ABR) is a short-latency, scalp-recorded, 5-7 peak electrical response, arising from auditory nerve and brainstem structures in response to the onset of an auditory stimulus. The ABR is sensitive to disorders of the ear and brainstem, and is widely clinically applied during hearing screening, threshold estimation, and site-of-lesion testing. Measurements are most often centred on Wave V, typically the largest positive peak, and therefore most easily distinguished from background EEG activity. It is thought that this peak is primarily generated at the termination of lateral lemniscus fibres as they enter the inferior colliculus (Møller & Janetta, 1983; Møller et al, 1995).

ABRs are most commonly clinically generated using transient stimuli to promote synchronous firing of numerous auditory neurons. However, while brainstem responses evoked by clicks and tone-bursts are well-characterised and represent valuable clinical tools, they may provide limited information about brainstem representations of complex sounds, such as speech.

This issue has sparked interest surrounding how the temporal and spectral features of more complex sounds are represented within the ABR and other evoked responses. Neural responses to a wide range of complex stimuli have been characterised, though this is an expanding area of research and a full review of approaches is beyond the scope of this paper. For ABR, the largest volume of research has focused upon consonant-vowel constructions (e.g. Skoe et al, 2015; Song et al, 2011a; Russo et al, 2004), although other approaches include the study of fundamental following responses to various Mandarin syllables with differing pitch contours (e.g. Krishnan et al, 2004; Bidelman et al, 2011; Xu et al, 2006) and ‘steady-state’ responses to stimuli designed to approximate temporal and spectral speech characteristics (e.g. Dimitrijevic et al, 2004), or to common features in speech (Aiken & Picton, 2008; Easwar et al, 2015). Broadly speaking, neural responses may be classified as either ‘transient’ or ‘steady-state’; on the one hand, ‘transient’ speech-evoked responses reflect neural activity occurring in response to specific, brief speech events (e.g. sound onsets/offsets). On-going ‘steady-state’ responses, meanwhile, reflect activity that is time-locked to periodic stimulus modulations, and are proposed to resemble the stimulus elements to which they are locked. The rest of this paper concerns transient ABR methods only.

When using consonant-vowel (CV) diphone stimuli, various studies have noted that the short-latency activity following the transient stimulus onset appears to include a consistent positive peak (Wave V), likely equivalent to the Wave V elicited by click stimuli. This is immediately followed by a negative trough (Wave A) (Russo et al. 2004). Within the next 10-40 ms a complex ‘sustained’ waveform has been described, proposed to follow the stimulus frequency information and contain two more stable peaks; Peak C (perhaps a response to the onset of the vowel) (Kraus & Nicol 2005) and Peak F, occurring at latencies of 18 and 40 ms respectively (Russo et al. 2004). Less consistently, sequential response peaks have been proposed at 22 ms (Peak D) and 31 ms (Peak E), each suggested to correspond to prominent peaks at certain harmonics of the fundamental frequency (the formants of the stimulus), the relative spacing of which is unique to the vowel portion of the /da/ syllable in particular (Kraus & Nicol 2005).

Neurophysiological timing differences at the level of the brainstem in response to speech stimuli have been suggested to predispose disrupted encoding of temporal features in the auditory cortex (Johnson et al, 2007; Parbery-Clark et al, 2011), potentially demonstrating a link between low-level auditory pathway encoding and broad perceptual difficulties. In particular, the significance of abnormal brainstem timing has been highlighted with respect to various higher-level language processes, including reading, and speech-in noise perception (Anderson et al, 2011; Anderson et al, 2013; Banai et al, 2009; Hornickel et al, 2009a; Song et al, 2011b). The speech-ABR has therefore been proposed as an objective clinical tool, potentially facilitating the early identification of various auditory processing deficits that lead to learning or literacy disorders (Cunningham et al, 2001; King et al, 2002; Wible et al, 2004), including Dyslexia (Chandrasekaran et al, 2009) and Autism (Russo et al, 2008; Russo et al, 2009).  A link between brainstem encoding and higher-order cognitive processes has also been inferred based on changes in evoked responses following musical or linguistic auditory training (Kraus et al, 2009; Song et al 2008).

Overall, the morphology of the brainstem response elicited by this CV speech syllable has been suggested to reflect acoustic parameters of the stimulus itself, in theory providing specific information relating to the structural encoding of specific speech syllables by the central nervous system (Banai et al. 2007; Kraus & Nicol 2005). It is also claimed that the majority of morphological and spectral features of these responses are largely consistent between different subjects, as well as highly replicable within individuals (Banai et al. 2007; Hornickel et al, 2012; Russo et al. 2004; Song et al, 2011a).

Early analysis of speech-ABRs, particularly with respect to CV syllables, often relied upon subjective waveform interpretation methods (e.g. Russo et al, 2004). Indeed, although objective assessment approaches for the ABR have been available for some time (e.g. Don et al. 1984), clinical interpretation of responses is still often predominantly based on subjective judgement of waveform presence. In order to determine whether an ABR response is present, repetition of data acquisition runs is typically carried out on the assumption that replicable peaks and troughs in the waveform represent time-locked activity evoked by the stimulus (Don et al. 1984). However, visual interpretation may be complicated by poor signal-to-noise ratios (small responses and/or high levels of physiological background noise). Background noise, often varying between runs, can result in poor replicability of waveform peaks and troughs, leading to considerable inconsistency in hearing-threshold judgments made by different clinicians (Don et al. 1984; Arnold 1985; Lv et al. 2007; Vidler & Parker 2004).

Various methods for automated ABR detection have been developed with the aim of reducing the subjective aspects of response interpretation. Such techniques typically employ statistical response detection algorithms to objectively assess the probability of response presence, either within the frequency or time domain (e.g. Elberling & Don 1984; Lv et al. 2007).

One well-established time-domain objective approach, the ‘Fsp’ detection statistic (described by Elberling & Don (1984)), is widely available within clinical measurement systems.  Derived from a ratio of the variance of the averaged response to the estimated variance of the background noise (Don et al. 1984), the Fsp offers an objective means by which to assess response quality based on statistical quantification of the ABR signal-to-noise ratio. (Don et al. 1984; Sininger & Hyde 2009). The Fsp represents a ratio of variances, with values therefore having an (F) distribution. If the degrees of freedom of the signal and noise are known, then F values can be converted to p- values in order to indicate the statistical likelihood that a response is present. Elberling and Don (1984) demonstrated that it is possible to calculate the degrees of freedom of the background noise in order to calculate such confidence intervals.

Bootstrap analysis methods (Efron 1979) provide a means to estimate the confidence interval of a parameter based on resampling the data, and have previously been applied to evoked responses (Lv et al. 2007). For evoked response data, confidence intervals are inferred by estimating the distribution of a given parameter (e.g. Fsp or peak-to-peak amplitude) in a number of non-coherent averages generated by taking arrays of epochs from the original data with random starting points (non-coherent to the stimulus). This process is repeated many times to build up the distribution of the parameter in non-coherent averages, and this parameter is compared to the value obtained from the coherent average. Lv et al. (2007) applied the bootstrap approach to time- and frequency-domain parameters estimated from the coherent average of ABR data. In the current work we extend this to a time-frequency (spectral) representation of ABR data in order to explore which time-frequency features of the ABR may be most consistent across subjects.

With findings of speech-ABR research broadly suggestive of their potential as a clinical tool, efforts are now being made to encourage incorporation of speech-evoked responses (with particular emphasis upon CV syllables) into clinical practice (e.g. Skoe & Kraus, 2010). However, in order for features to be clinically useful, they must be able to be reliably detected and measured. There has been relatively little analysis of the reliability of individual features of the speech-evoked ABR using objective analysis approaches. Indeed, while objective analysis methods have more recently been applied with respect to CV-syllable responses, these have tended to consider the response as a whole, rather than examining individual peaks (Skoe et al, 2011; Song et al, 2011a). The aim of the current research was therefore to use objective methods to compare the consistency of specific ABR features elicited using speech stimuli in both time and frequency domains.

To this end, ABRs to a 40 ms /da/ syllable were recorded in normally hearing young adults. The statistical significance of ABR features was assessed using objective analysis approaches. Response analysis in the time domain was centred around the Fsp statistic and bootstrap statistical analysis, as proposed by Lv et al. (2007). The bootstrap analysis was also extended to the spectral domain to explore the reliability of time-frequency ABR features.

Further, as a means of inferring their respective potential clinical value, characteristics of consistent speech-evoked features were compared with those of Wave V of participants’ click-evoked responses. Given that Wave V is well-characterised and widely clinically-applied, it was hoped that comparison with this feature would provide an indication of how easily individual speech-evoked response peaks could be used in a clinical setting.

A 40 ms /da/ syllable was chosen as the focus of this investigation based on it’s application as the primary stimulus within a large body of previous research (Skoe & Kraus, 2010).  Proposed to elicit clear, replicable, well-characterised ABRs, the /da/ stimulus consists of a transient segment followed by a sustained periodic segment. Indeed, the response to the stimulus onset has already been suggested to be analogous to click-evoked Wave V (Russo et al, 2004), supporting comparison between /da/ and click-evoked responses within the current investigation.

In each subject we aimed to explore which features elicited by each stimulus type (speech or click) that objective analysis indicated were statistically significant, and examine which of these could be consistently objectively identified across different participants (inter-subject reliability). Furthermore, both click and /da/ stimuli were presented to each participant twice to establish whether features were replicable within individuals (intra-subject reliability). Both measures were considered relevant given that various potential clinical applications of the speech-evoked ABR have been proposed. On the one hand, inter-subject reliability is most important for threshold-seeking or neuro-diagnostic purposes, where waveform features are likely to be compared with normative data (e.g. King et al, 2002). By contrast, intra-subject reliability within subjects is essential if speech-ABRs are to be effectively used to measure auditory training effects for subjects over a period of time (e.g. Song et al, 2008).

Materials and Methods

Participants

Normally hearing subjects, displaying pure tone hearing thresholds of less than 20 dB HL at 250, 500, 1000, 2000, 4000, and 8000 Hz, were recruited for the study. Participants’ eligibility for inclusion was assessed via a series of audiometric screening procedures; Otoscopy, Pure Tone Audiometry and Tympanometry, each carried out according to the relevant British Society of Audiology (BSA) recommended procedures. Participants also completed a brief screening questionnaire designed to assess various aspects of their otological history including previous noise exposure (particularly within the last 48 hours), ear surgery, family history of hearing loss, etc. Based on the results of the screening procedure, a total of 16 normally-hearing volunteers (3 male and 13 female), ranging in age from 22 to 30 years, were considered appropriate for inclusion. As musical training has been suggested to enhance temporal and frequency encoding in the auditory brainstem (Musacchia et al, 2007), all included participants were also asked to provide details of any previous musical experience. 7/16 participants (44%) had received previous, formal musical training (ranging from UK Grade 2-8), while the remaining 56% disclosed no particular previous experience, giving a reasonably balanced representation of musical versus non-musical training amongst participants. Ethical approval was sought prior to initiation of the study via the University of Southampton’s Ethics and Research Governance Online (ERGO) system.

Stimulus and Recording Parameters

Stimulus/recording parameters aimed to replicate those applied by previous related research (Skoe & Kraus 2010). ABRs were elicited by two different acoustic stimuli presented at 70 dB nHL; a 40ms-duration synthesised /da/ syllable, and a 100s-duration broadband click. Peak equivalent sound pressure levels (p.e.SPL), established using a Wavetek oscilloscope, were 105.6 dB p.e.SPL (for the voiced region of the /da/ stimulus), 81.9 dB p.e.SPL (for the /da/ onset burst), and 113.5 dB p.e.SPL (click). Stimuli were generated by a Cambridge Electronic Design (CED) µ1401 laboratory interface system, connected to a laptop via USB. The /da/ stimulus consisted of the first 40 ms of a five-formant synthetic speech syllable digitally synthesised using a Klatt cascade parallel formant synthesizer (Klatt, 1980) (at a sampling rate of 10 kHz).

All stimuli were delivered monaurally (into the participant’s right ear) in alternating polarities, via 3M EAR-tone 5a insert phones at a rate of 11.1/second. A constant rate, rather than a constant off-time, was chosen to ensure the same rate-adaptation effects for the two stimuli (with an assumption that adaptation is due to the rate, although it could be debated that off-time is more important). A 90 ms analysis window was utilised, with stimulation starting at 10 ms to allow a baseline measurement. The analysis window was intended to be long enough to allow the response to the 40 ms /da/ stimulus to conclude/return to baseline before initiation of a subsequent stimulus presentation.

Stimuli were presented in quiet, with a repetition carried out in order to examine the test-retest variability of specific response characteristics. A ‘no-stimulus’ condition was additionally included (involving electrophysiological recording in the absence of acoustic stimulus presentation) as a means of quantifying levels of residual, background activity and to check the false positive rates of the statistical methods used. The sequence of stimulus presentation was randomised for each individual using a Latin Square technique, aiming to reduce the influence of varying participant state.

Responses were recorded differentially between scalp electrodes placed on the midline of the forehead at the hairline (active), and nape of the neck (reference), with a further electrode, placed on the midline of the lower forehead, serving as the common ground. All impedances, as measured between each electrode pair, were maintained below 5kΩ for all participants throughout recording. Data was sampled at 10 kHz, and filters were 100-3000 Hz. A total of 6000 sweeps (3000 of each polarity) were collected, as recommended by Skoe & Kraus (2010).

Bootstrap Analysis

In general, bootstrap statistical techniques offer a means by which a particular parameter’s confidence intervals may be estimated (Lv et al. 2007). For the purposes of standard ABR recording, an array of epochs is created, with the start of each row corresponding to the initiation of the stimulus. The ABR is thereby a ‘coherent’ average of epochs, from which certain parameters (e.g. peak amplitude) may be calculated. The aim of bootstrap analysis is to calculate the distribution of the same parameter (e.g. peak amplitude) for averages of random epochs (from the same set of data) that are not coherent with the initiation of the stimulus. By repeating this process multiple times it is possible to calculate the percentage of random data that will have a value of the parameter above a certain value (for example the upper 5% or 1% confidence intervals for a parameter in random data). As this calculation is from the same data set as the coherent average, the statistical properties of the noise on the random averages will be the same as that of the noise on the coherent average.

For each stimulus condition, a ‘coherent average’ waveform was initially generated through averaging responses to 6000 stimulus presentations (epochs containing artefacts were not included in this array). Peak amplitudes were calculated from the final average.

Each epoch in the array of data was then randomly rotated to yield a new series of non coherent epochs, the ‘incoherent average’ of which was therefore no longer synchronised with the timing of the stimulus. This process of random rotation and subsequent ‘incoherent’ averaging was repeated a total of 499 times (for a resolution of p> 0.002) to build up a distribution of (499) peak amplitudes for non-coherent averages (effectively estimating the sampling distribution if no response had been present). Based upon this bootstrap distribution, the upper 1%, and lower 1% of amplitude data could be inferred; points across the coherent average exceeding/falling below these confidence intervals could be classified as coherent activity (as opposed to random background EEG ‘noise’) with 99% confidence, p< 0.01.

Bootstrap analysis was also applied in the time-frequency domain. Spectrograms of the (coherent) click and speech ABR averages were initially calculated using Blackman windows of 256 sample length, with the MATLAB ‘spectrogram’ function, using 6 sample overlaps between data and covering the whole 90 ms of the response time window. The data was zero padded at each end with 128 samples to ensure that the resulting spectrogram had the same length as the original ABR (0.09s). Next the spectrograms of 499 non-coherent bootstrap averages were also calculated. For each point in the time-frequency plot, the distribution of amplitude points was calculated across the 499 spectrograms. If the amplitude of the same point in the spectrogram of the coherent average exceeded the upper 99% value of the non-coherent amplitude distributions, significant coherent spectral activity was indicated.

To identify consistent spectral features across subjects, the plots of significant spectral activity were summed over subjects. For each subject, a time-frequency point was assigned a value of 1 (significant spectral activity) or 0 (non-significant activity). When summed over subjects, each point could have a value from 0 (no subjects have significant activity at that time-frequency point) to 16 (all subjects have significant activity at that time frequency point).

Discrete Peak Identification/Measures (Time-domain)

We aimed to find analysis windows in the speech-evoked ABR that were most likely to contain features. Due to possible differences between our recording system and those used in other speech-evoked response research, we could not be sure that the latencies in our speech-evoked data would be exactly the same as those previously reported in the literature. As a first step towards identifying consistent features of the speech-evoked response, speech-evoked recordings were initially divided into discrete 5ms time-windows. Within each time-window, features of each response exceeding the 99% amplitude confidence intervals specified by bootstrap analysis were noted.

For each 5ms time-window, the proportion of participants in which a feature was evident was calculated. It should be noted that the 1% criteria applies to each sample point in time. If an ABR average waveform is viewed over many samples, there is an issue that effectively repeated comparisons are being made for each sample in the waveform. In this case a 90 ms analysis window contains 900 samples, although the samples are not independent from each other (the data is not white noise). It is challenging to estimate the effective number of repeated comparisons that are being carried out if all samples in time are compared to the 1% criterion. The actual false positive rate for a 1% cut-off was therefore tested using no stimulus data. Across 16 subjects and with 10 analysis time windows (160 total analysis windows), significant activity was seen in 11 out of 160 (6.88%) of windows for no stimulation data. This suggests that if a 1% criterion is applied across 10 blocks of 5 ms (so that within each window, a response is taken as significant if any point in the waveform exceeds the upper or lower 1% criterion) a false positive rate close to 5% is obtained.

Five 5 ms time windows containing features with the highest detection percentages across participants were identified for further investigation (5 ms-9.9 ms; 10 ms–14.9 ms; 20 ms–24.9 ms; 30 ms–34.9 ms; 40 ms–44.9 ms) (Table 1). Measures of both timing and amplitude were subsequently obtained for all speech-evoked response peaks exceeding the 99% bootstrap confidence intervals within each of these time-windows of interest, as well as for Wave V of the click-evoked response.

With respect to the click-evoked response, analysis was focused upon the well-characterised Wave V complex, occurring within the 5-9.9 ms time window, and known to represent a robust, reliable and commonly used ABR feature. Precise latency/amplitude values obtained for Wave V thereby served as a control; comparison with corresponding measures of various speech-evoked features was anticipated to infer the relative reliability and clinical validity of aspects of the /da/-associated ABR.

Results

Time Domain Analysis

Latencies and amplitudes of features in speech- and click-evoked ABRs

Based on the results of the bootstrap statistical technique, six features were identified within the /da/-evoked response, each objectively detected within at least 62.5% of participants’ responses. These have been denoted 1a-4b (Figure 1). Figure 1 shows recordings to speech (LHS) and click (RHS) stimuli from two example subjects. The upper panels are from a subject with a strong speech-evoked response (containing all peaks), and the lower panel from a subject with a weaker response. Both subjects show clear click-evoked responses. This demonstrates the variability of speech-evoked responses in the current study. Figure 2 shows the amplitude of the most consistent peaks identified to click and /da/ stimuli. In general, the amplitudes of speech-evoked peaks were lower than those evoked by click stimulation. The majority of the data was normally distributed. Repeated measured ANOVA showed a significant effect of wave type on amplitude (F=24.343, p<0.001). Post-hoc comparisons were made between the amplitude of wave V and the other waves using paired t-tests. All waves evoked by the /da/ stimulus were highly significantly lower in amplitude than wave V of the click-evoked response (p<0.001). Mean latencies of response features are summarised in Table 2.

Fsp Values for click and speech evoked ABR

In order to further objectively assess the quality of identified /da/-evoked response components, Fsp values corresponding to the five, previously identified, windows of interest were compared with one another, as well as with that of Wave V of the click-evoked response (Table 3 & Figure 3). With the exception of Fsp values corresponding to Peak 1a (W(15) = 0.92, p> 0.05), all data was found to be non-parametric (p< 0.05). A resulting Friedman’s ANOVA broadly indicated the existence of a significant difference between Fsp values corresponding to different response features, X2(5) = 51.69, p< 0.05. Post-hoc Wilcoxon testing indicated that waves 1a, 1b, 2 and 3 all had lower Fsp than Wave V (p<0.005). Only Peak 4 was not significantly different in Fsp than Wave V. Raw, individual Fsp scores corresponding to this particular analysis window (40-45 ms) were seen to exceed 3.1 in the majority of participants (13 of the total 16).

Test-Retest Reliability

In order to determine whether discrete aspects of the speech-evoked response described were replicable, click and /da/ stimuli were presented to each participant twice. For each analysis window (as used in Table 1), the percentage of participants that showed a statistically significant response on the bootstrap analysis in each recording was calculated.

As a means of ruling out any influence of variation due to underlying subject noise between recordings, comparison was drawn between prestimulus noise levels for each of the four sets of recordings under consideration. Since data corresponding to click presentation two was found to be non-normally distributed (W(16) = 0.78, p< 0.05) a Freidman’s ANOVA was conducted. There was no significant difference in pre-stimulus noise level between recordings one and two for click or speech stimulation.

Figure 4 shows the consistency of peaks in the ABR responses to click and speech sounds, displaying the percentage of participants in which features were objectively detected within two replications. While Wave V of the click-evoked response was present in 100% of participants for both stimulus repetitions, the consistency of speech-evoked peaks varied considerably (Figure 4). Peak 2 was replicable in only 37.5% of subjects, meanwhile Peak 4b appeared most reliable (detected on both occasions within 87.5% of participants).

Paired t-tests were used to check for significant differences between the first and second repeats for wave latency and amplitude. The analysis excluded features where less than 10 of the 16 recordings had waves present on both repetitions (which occurred only for waves 1a and 2). None of the amplitudes or latencies were significantly different between the first and second repeats (p>0.05), suggesting good reproducibility.

Wave V latency and amplitude, wave 1a amplitude, wave 1b amplitude, wave 3a amplitude, wave 4a amplitude and wave 4b latency and amplitude showed significant pearson correlations (p<0.05) between the first and second repetition. For the features with the highest numbers of detections (waves V and 4b), both amplitude and latency were significantly correlated across repetitions.

It is worth noting that intra-subject reliability was measured during a single testing session within the current investigation, while previous research has often completed re-testing after a longer time period. Nevertheless, despite test-retest intervals of up to 12 months, most brainstem measures have not been found to change significantly (Hornickel et al, 2012; Song et al, 2011a), though one notable exception within one study was the amplitude of the VA (stimulus onset) complex (Russo et al, 2004).

Frequency Domain Analysis

Figure 5 shows grand average waveforms for click, speech and no stimulation data. It also shows the results of bootstrapping the spectra of the ABRs in order to identify which significant time-frequency features were consistent across subjects. For the click-evoked ABR, a total of 19 time-frequency points consistently exceeded the upper 99% value of the bootstrap amplitude distribution across all participants’ recordings (denoted by dark red regions of the summed frequency spectrogram). By contrast, there were no consistent time-frequency points found to be significant across all 16 participants’ speech-evoked ABRs (demonstrated by the absence of dark red regions within the summed speech-evoked frequency spectrogram). A single time-frequency point was significant across 94% of participants for speech-evoked ABR, while 9 points were significant across 84% of bootstrap spectrograms.

A possible increase in ‘noise’ amplitude over a 50-60 ms time period (from 25-80 ms) was noted within the ‘no stimulus’ grand average waveform (Figure 5). It is unclear whether this represents a true increase in noise, or simply random fluctuation. Despite this, for the ‘no stimulus’ condition, consistent significant time-frequency points (considered ‘false positives’) were only seen across a maximum of 2 out of the 16 recordings.

Discussion

Previous research has documented features in the waveforms of speech-evoked ABR. However the clinical utility of such features depends upon the ease with which they can be reliably detected. Using bootstrap statistical detection in the time domain, we identified four, readily detectable waves within the /da/-evoked response, which in most subjects were of sufficient amplitude to be confidently distinguished from underlying background noise. Whilst Wave V of the click-evoked response was detected within all participants’ responses, the presence of speech-evoked features varied. No single component of the speech-evoked response was identified within 100% of participants within the time domain, with detection instead ranging from 93.75% (Peak 4b) to 62.5% (Peaks 1a, 1b and 2) (Table 1). Furthermore no consistently significant spectral features were evident across 100% of participants’ speech-evoked responses when viewed within the frequency domain, however 9 significant time-frequency points were consistently present across all participants’ click-evoked responses.

This issue of varying morphology in the speech-evoked ABR is illustrated by Figure 1, displaying click and corresponding /da/ responses obtained from two separate participants. On the one hand, Wave V is clearly evident within both participants’ click-evoked responses (exceeding 99% bootstrap confidence intervals), with both sets of click-associated data also inferred to be of similar quality based upon comparable Wave V Fsp values (13.22 and 17.19 for participants A and B respectively). However, despite this Wave V detection consistency, differences are apparent with respect to speech-evoked peak presence; while peaks 1a-4b are all present within the response recording for participant A, only three (1a, 4a and 4b) of the six components are of sufficient amplitude to be reliably distinguished from background noise in participant B. This is a particularly interesting observation given that prestimulus noise levels corresponding to each of these recordings appear relatively similar (0.08 and 0.09 microvolts respectively), with peaks therefore unlikely to be significantly more obscured by noise for one participant than for the other. Indeed, this particular example serves to broadly illustrate the degree of variability encountered with respect to speech-evoked response features throughout this investigation, with a full set of peaks (1a-4b) objectively detected within less than half the participants’ responses (6/16). From the data of the current study, it appears that the ‘Wave 4’ complex (particularly its negative component, Peak 4b), occurring between 40 and 45 ms following stimulus onset, may represent the most reliable aspect of the /da/-evoked ABR. In particular, Wave 4 components proved to be of greatest amplitude, highly replicable from test to retest, no more variable in terms of latency or amplitude than Wave V, and associated with highest Fsp values (comparable to those obtained for Wave V).

Previous research has identified seven characteristic peaks within the /da/-evoked response, termed V, A, C, D, E, F and O, each proposed to relate to various major acoustic landmarks of the stimulus (Skoe & Kraus, 2010). Of these, onset response peaks (V & A) have repeatedly been detected across 100% of normal hearing participants’ responses in quiet (Russo et al, 2004; Hornickel et al, 2009b; Song et al, 2011a). By contrast, the apparent onset response within the current investigation (consisting of Peaks 1a & 1b) was objectively detected across no more than 62.5% of participants. Indeed, while the negative component of the onset response (Wave A) has appeared largest in amplitude within previous research (Russo et al, 2004), the first negative response feature within the current study (1b) had the second smallest average amplitude, and was therefore less likely to consistently exceed the amplitude of general background noise and be identified based on bootstrap analysis.

The most consistent response feature (4b), identified within 93.75% of subjects’ responses is closest in latency to previously defined Peak F (Russo et al, 2004). However, there is still a noticeable difference between their respective average latencies; while ‘Peak F’ has been reported to occur at an average latency of 39.73 ms (Russo et al, 2004), this investigation showed ‘Peak 4b’ to exhibit a comparative delay, instead appearing at 43.71 ms. A similar latency shift may exist across other response features recorded within the current investigation, given that the negative component of the apparent onset response complex (Peak 1b), the possible counterpart of which (Wave A) is suggested to occur at a mean latency of 7.51 ms, appears similarly delayed, recorded at an average latency of 10.92 ms within the current investigation (a delay of 3.4 ms). A possible explanation for this approximate 4 ms latency shift may be differences between our recording system and those used in other speech-evoked response research, such as the filter roll-off slopes in the amplifiers used.

While conclusions of early research examining CV response features appeared to be based around peaks subjectively detected by ‘experienced raters’ (Russo et al, 2004), various objective waveform analysis techniques have more recently been applied. In particular, Song et al (2011a) used a correlation between the entire stimulus waveform and the evoked response as a measure of response quality. Measures of signal-to-noise-ratio (SNR) are also mentioned, but appear to refer to the SNR of the response as a whole. By contrast, within the current research, bootstrap analysis was used to identify the statistical significance of individual response features, and for individual recordings. Furthermore, Fsp values were used to indicate the quality of specific time windows within the speech-evoked response. As Fsp generates a value indicating response strength, but does not directly indicate if the response is significant or not (as the degrees of freedom of the noise is not known), bootstrapping was used to convert Fsp values to significance values for individual recordings. This allowed assessment of the statistical significance of specific peaks or time windows for individual recordings, and subsequent exploration of the percentage of significant responses across individuals (which, to our knowledge, has not previously been carried out). It should be noted that detecting a response over a wider window (for example, to state that over the whole window the response is present) is easier than detecting individual peaks, but the focus here is on individual peaks.

A ‘Phaseogram’ approach has also previously been applied to objectively measure features of the ABR, exploring how the phase of components of speech-evoked responses may vary for different stimuli (Skoe et al, 2011). This method uses the cross-power spectral density between responses to two stimuli to calculate phase differences over time and frequency. Application of an alternative bootstrapping approach to spectral data (testing whether time-frequency features in individual recordings were statistically different from background noise) was considered more robust within the current investigation, given concerns that phase measurements are sensitive to background noise, which generally increases when responses are combined. Furthermore, ‘Cross-Phaseograms’ include frequencies that are not harmonics of the fundamental frequency, calculating phase at frequencies where no response would be expected, and potentially introducing difficulty in interpretation.

In the current study, stimuli were calibrated in dBnHL, with 0 nHL initially established for a group of normal hearing subjects. The two stimuli were then each presented at 70 dB nHL. However, there are various options for the calibration of short speech stimuli including measuring the peak level, the rms level and using either dB A or dB SPL. For clicks, peak equivalent SPL is commonly used, although this is not appropriate for /da/ as the stimulus is longer in duration, so a /da/ with the same peak level as a click would be louder. Some papers suggest measuring the SPL of a stimulus (e.g. Song et al, 2011a), although the details of the SPL measurement are sometimes a little unclear. If the rms level of the stimulus is measured including gaps in the stimulus between /da/ presentations, then the peak level of the stimuli would be higher than when no gaps are included. We note that using a higher stimulus level or more averages may well improve the quality compared to the measurements we made, but our aim was to find a level that was comfortable for subjects to listen to for a prolonged time. It is possible that other papers exploring the /da/ response have used higher stimulus levels than we did, and this may explain why other studies report higher presence of response features than we found. Increasing the number of averages will on average improve SNR with the root of the number of sweeps taken, but for clinical work having a large number of averages may make recording durations problematic.

One issue with the use of the Bootstrap technique to find points in the response that are significant at the 1% level, is that multiple time (or time-frequency) points may be compared.  The process of conducting multiple statistical tests upon the same set of experimental data may inflate the probability of obtaining false positive results. We therefore used a no-stimulus experimental condition to assess the false positive rate arising from bootstrap analysis. For the ‘no stimulation’ condition, points exceeding the upper and lower 1% bootstrap confidence intervals were considered to represent false positives. In the time domain, for 16 participants and 10 analysis time windows (160 windows), significant activity was observed within only 11 of 160 (i.e. 6.88%) of possible analysis windows. It therefore appears that by using the upper and lower 1% bootstrap confidence intervals, the overall probability of making a Type 1 error is close to the 5% (0.05) criterion typically applied in scientific statistical analysis.

Conclusion

This paper explores the use of objective detection techniques in order to assess the reliability of features in the click- and speech-evoked ABR across 16 normally hearing adult participants. Fsp and bootstrapping approaches were used to assess the reliability of ABR features in the time domain, and bootstrapping was also applied to spectral time-frequency features.

The amplitude of features in speech-evoked responses was generally lower than the amplitude of click-evoked Wave V. Wave V of the click-evoked ABR was present in 100% of recordings on time domain bootstrap analysis. Time domain analysis identified four distinct regions within the /da/-evoked speech ABR, each associated with a reasonably high frequency of detection (> 60%). However none of the features were present in 100% of participants.  The repeatability of Wave V of the click-evoked ABR was higher than that of the speech-evoked ABR.

Using bootstrap analysis of spectral information, some time-frequency features of the click-evoked ABR were present in 100% of participants, but for the speech-evoked ABR, time-frequency features were only present in a maximum of 94% of participants. For ‘no stimulation’ data, no consistent time-frequency features were found.

Using brainstem encoding to explore higher-level cognitive processes in clinical practice will only be possible if individual speech-evoked response features can be reliably detected and measured. The objective analysis methods proposed in the current paper appear a useful tool to identify how consistent peaks in the ABR are. Using this approach, features in the speech-evoked ABR are not as consistent as those to click-evoked ABR. If individual waves are to be used for clinical assessments, wave presence should ideally be at or near 100 %. For the moderately loud stimulation level of 70 dB nHL used here, individual peaks in speech responses were not detected in all subjects. Increasing stimulation level, increased numbers of averages or the use of advanced noise reduction methods may increase wave presence. However, for the protocol used here, it does not appear that the presence of individual waves in the speech evoked ABR is sufficiently high for them to be replied on in clinical assessment.

Acknowledgements

Thanks to David Simpson for providing advice on bootstrap analysis. This research project was funded by the Engineering and Physical Sciences Research Council (EPSRC, grant No. EP/M026728/1), and was completed as part of an MSc degree funded by Newcastle Upon Tyne NHS Foundation Trust. All data supporting this study are openly available from the University of Southampton repository at *web address to be added in final proof*.

References

Aiken, S. & Picton, T. (2008) Envelope and spectral frequency-following responses to vowel sounds. Hear Res 245(1-2): 35-47

Anderson, S., Parbery-Clark, A., White-Schwoch, T., Kraus, N. (2013) Auditory Brainstem Response to Complex Sounds Predicts Self-Reported Speech-in-Noise Performance. J Speech Lang Hear Res 56: 31-43

Anderson, S., Parbery-Clark, A., Yi, H., Kraus, K. (2011) A Neural Basis of Speech-in-Noise Perception in Older Adults. Ear Hear 32(6): 750-757

Arnold, S.A. (1985) Objective versus visual detection of the auditory brain stem response. Ear Hear 6(3): 144-150

Banai, K., Abrams, D., Kraus, N. (2007) Sensory-based learning disability: Insights from brainstem processing of speech sounds. Int J Audiol 46: 524-532

Banai, K., Hornickel, J., Skoe, E., Nicol, T., Zecker, S., Kraus, N. (2009) Reading and subcortical auditory function. Cereb Cortex 19(11): 2699-2707

Bidelman, G., Gandour, J., Krishnan, A. (2011) Cross-domain Effects of Music and Language Experience on the Representation of Pitch in the Human Audtory Braintem. J Cogn Neurosci 23(2): 425-434

Chandrasekaran, B., Hornickel, J., Skoe, E., Nicol, T., Kraus, N. (2009) Context-dependent encoding in the human auditory brainstem relates to hearing speech in noise: Implications for developmental dyslexia. Neuron 64(3): 311-319

Cunningham, J., Nicol, T., Zecker, S.G., et al. (2001) Neurobiologic responses to speech in noise in children with learning problems: Deficits and strategies for improvement. Clin Neurophysiol 112: 758-767

Dimitrijevic, A., John, S.M., Picton, T.W. (2004) Auditory Steady-State Responses and Word Recognition Scores in Normal-Hearing and Hearing-Impaired Adults. Ear Hear 25: 68-84

Don, M., Elberling, C., Waring, M. (1984) Objective Detection of Averaged Auditory Brainstem Responses. Scand Audiol 13(4): 219-228

Easwar, V., Purcell, D., Aiken, S., Vijay, P., Scollie, S. (2015) Effect of Stimulus Level and Bandwidth on Speech-Evoked Envelope Following Responses in Adults with Normal Hearing. Ear Hear 36(6): 619-634

Efron, B. (1979) Bootstrap methods: another look at the Jackknife. Ann Stat 7: 1–26.

Elberling, C. & Don, M. (1984) Quality Estimation of Averaged Auditory Brainstem Responses. Scand Audiol 13(3): 187-197

Hornickel, J., Skoe, E., Nicol, T., Zecker, S., Kraus, N. (2009a) Subcortical differentiation of stop consonants relates to reading and speech-in-noise perception. Proc Natl Acad Sci U S A 106(31): 13022-13027

Hornickel, J., Skoe, E., Kraus, N. (2009b) Subcortical Laterality of Speech Encoding. Audiol Neurootol 14(3): 198-207

Hornickel, J., Knowles, E., Kraus, N. (2012) Test-retest consistency of speech-evoked auditory brainstem responses in typically-developing children. Hear Res 284: 52-58

Johnson, K.L., Nicol, T., Zecker, S.G., Kraus, N. (2007) Auditory Brainstem Correlates of Perceptual Timing Deficits. J Cogn Neurosci 19(3): 376-385

King, C., Warrier, C.M., Hayes, E., et al. (2002) Deficits in auditory brainstem pathway encoding of speech sounds in children with learning problems. Neurosci Lett 319: 111-115

Klatt, D.H. (1980) Software for a cascade/parallel formant synthesizer. J Acoust Soc Am 67: 971–995.

Kraus, N. & Nicol, T. (2005) Brainstem origins for cortical ‘what’ and ‘where’ pathways in the auditory system. Trends Neurosci 28(4): 176-181

Kraus, N., Skoe, E., Parbery-Clark, A., Ashley, R. (2009) Experience-induced malleability in neural encoding of pitch, timbre and timing. Ann NY Acad Sci 1169: 543-557

Krishnan, A., Xu, Y., Gandour, J.T., Cariani, P.A. (2004) Human frequency-following response: Representation of pitch contours in chinese tones. Hear Res 189: 1-12

Lv, J., Simpson, D.M., Bell, S.L. (2007) Objective detection of evoked potentials using a bootstrap technique. Medical Eng Phys 29: 191-198

Møller, A.R., Jannetta, P.J. (1983) Auditory evoked potentials recorded from the cochlear nucleus and its vicinity in man. J Neurosurg 59: 1013-1018.

Møller, A.R., Jho, H.D., Yokota, M., Jannetta, P.J. (1995) Contribution from crossed and uncrossed brainstem structures to the brainstem auditory evoked potentials (BAEP): a study in human. Laryngoscope 105: 596-605.

Musacchia, G., Sams, M., Skoe, E., Kraus, N. (2007) Musicians have enhanced subcortical auditory and audiovisual processing of speech and music. Proc Natl Acad Sci U S A 104: 15894-15898

Parbery-Clark, A., Marmel, F., Bair, J., & Kraus, N. (2011). What subcortical-cortical relationships tell us about processing speech in noise. Eur J Neurosci 33(3): 549-557.

Russo, N., Nicol, T., Musacchia, G., et al. (2004) Brainstem responses to speech syllables. Clin Neurophysiol 115: 2021-2030

Russo, N., Skoe, E., Trommer, B., Nicol, T., Zecker, S., Bradlow, A., Kraus, N. (2008) Deficient brainstem encoding of pitch in children with autism spectrum disorders. Clin Neurophysiol 119(8): 1720-1730

Russo, N., Nicol, T., Trommer, B., Zecker, S., Kraus, N. (2009) Brainstem transcription of speech is disrupted in children with autism spectrum disorders. Dev Sci 12:557-567

Sininger, Y.S. & Hyde, M.L. (2009) Auditory Brainstem Response in Audiometric Threshold Prediciton. In Katz, J. Medwetsky, L. Burkard, R. Hood, L. (6th edition) Handbook of Clinical Audiology. Lippincott Williams & Wilkins: Philadelphia

Skoe, E. & Kraus, N. (2010) Auditory brainstem response to complex sounds: a tutorial. Ear Hear 31(3): 302-324

Skoe, E., Nicol, T., Kraus, N., (2011) Cross-phaseogram: Objective neural index of speech sound differentiation. J Neurosci Methods 196(2): 308-317

Skoe, E., Krizman, J., Anderson, S., Kraus, N. (2015) Stability and Plasticity of Auditory Brainstem Function Across the Lifespan. Cereb Cortex 25(6): 1415-1426

Song, J.H., Skoe, E., Wong, P.C. (2008) Plasticity in the adult human auditory brainstem following short-term linguistic training. J Cogn Neurosci 20: 1892-1902

Song, J.H., Nicol, T., Kraus, N. (2011a) Test-retest reliability of the speech-evoked brainstem response Clin Neurophysiol. 122(2): 346-55.

Song, J., Skoe, E., Banai, K., Kraus, N. (2011b) Perception of Speech in Noise: Neural Correlates. J Cogn Neurosci 23(9): 2268-2279

Vidler, M. & Parker, D. (2004) Auditory brainstem response threshold estimation: subjective threshold estimation by experienced clinicians in a computer simulation of the clinical test. Int J Audiol. 43(7): 417-29.

Wible, B., Nicol, T., Kraus, N. (2004) Atypical Brainstem Representation of Onset and Formant Structure of Speech Sounds in Children with Language-Based Learning Problems. Biol Psychol 67(3): 299-317

Xu, Y., Krishnan, A., Gandour, J.T. (2006) Specificity of experience-dependent pitch representation in the brainstem. Neuroreport 17: 1601-1605

Figure Legends

Figure 1: Example ABRs from two different subjects to speech and click stimulation. Comparison of click (right column) and /da/ (left column) responses obtained from two separate participants; Subject A (top row), Subject B (bottom row). Solid green and cyan lines indicate the 5% bootstrap significance level, Dotted lines indicate the 1% significance level. Prestimulus noise levels for /da/ recordings: 0.08V (participant A) and 0.09 V (participant B). Prestimulus noise levels for click recordings: 0.08 V (A) and 0.05 V (B). Fsp values obtained for click responses: 13.22 (A) and 17.19 (B).

Figure 2: Comparison of mean amplitudes of Wave V of the click-evoked response and Peaks 1a-4b identified within the speech evoked response.

Figure 3: Mean Fsp Values. Comparison of mean Fsp values for Wave V of the click-evoked response and the five time-windows of interest identified within the speech-evoked response.

Figure 4: Test-retest reliability. Percentage of participants in which discrete click- and /da/-evoked features were detected within both stimulus replications.

Figure 5: Grand average waveforms and Frequency Domain Bootstrap Analysis for click (top), /da/ (middle) and no-stimulus (bottom) recordings. The LHS shows the time domain grand average. The RHS indicates the number of subjects (out of 16) that showed a significant response (1% on bootstrap analysis) for each time-frequency point in the spectral analysis. Stronger and more consistent activity was evident for the click evoked ABR than the speech ABR (dark red regions indicate consistently significant spectral activity across all 16 participants).