## Fig 4A
Effect of the addition of unfiltered urine to the RPA reaction mixture (1:50 dilution) plotted as a change in TTP compared with the mean TTP of the positive control (purified K. Pneumonia plasmid DNA, 90,000 copies). The DNA was added to RPA reaction mix prepared as per manufacturer’s recommendation, except that the 1 µL of nuclease free water is replaced by urine. Data from duplicates.
| Change in TTP (mins) | Std dev
Volunteer 1 | 0.6 | 0.5
Volunteer 2 | 0.8 | 0.6
Volunteer 3 | 1.3 | 0.1
Volunteer 4 | 1 | 0.2

## Fig 4B
Capture efficiency of plasmid DNA onto the beads at different concentrations of GuHCl in PBS and urine, quantified as a change in TTP compared with the positive control. Purified plasmid DNA (90,000 copies) was added to either phosphate buffer saline (PBS) or urine containing different concentration of GuHCl and captured on 2.5 µL of magnetic beads. Plasmid was eluted into 5µL of elution buffer. Experiments were performed using the protocol shown in Figure 1A. Data from duplicates.
Change in TTP (mins)
PBS |  | PBS | Urine | Std dev PBS | Std dev Urine
6 | 6M GuHCl | 7.7 | 3.4 | 0.2 | 0.2
5 | 5M GuHCl | 6.9 | 2.4 | 0.1 | 1.3
3 | 3M GuHCl | 3.3 | 1.1 | 0.7 | 0.7

## Fig 5A
RPA amplification curves for DNA extracted from Klebsiella pneumoniae NCTC 13443 using the benchtop protocol shown in Figure 1.
Time (mins) | 10^6 cfu/mL | 10^6 cfu/mL | 10^5 cfu/mL | 10^5 cfu/mL | 10^4 cfu/mL | 10^4 cfu/mL | 10^3 cfu/mL | 10^3 cfu/mL | 10^2 cfu/mL | 10^2 cfu/mL | Control | Control
1 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
2.0333 | 954.74 | 961.55 | 954.39 | 964.39 | 960.36 | 974.39 | 957.78 | 958.52 | 948.51 | 966.68 | 951.05 | 952.51
3.0833 | 915.49 | 931.7 | 909.51 | 933.25 | 922.57 | 950.56 | 921.59 | 916.3 | 900.05 | 936.95 | 910.77 | 913.01
4.1333 | 885.87 | 905.63 | 872.27 | 904.82 | 883.1 | 925.88 | 892.1 | 881.51 | 859.02 | 906.67 | 876.82 | 876.26
5.1833 | 860.26 | 883.93 | 842.33 | 878.49 | 852.61 | 906.21 | 867.6 | 851.2 | 826.12 | 883.07 | 848.57 | 848.19
6.2333 | 841 | 865.95 | 814.61 | 857.18 | 825.67 | 889.24 | 844.48 | 825.27 | 799.18 | 864.22 | 826.48 | 824.59
7.2833 | 823.67 | 850.37 | 793.77 | 841.05 | 802.67 | 876.47 | 827.51 | 806.29 | 780.96 | 846.71 | 809.55 | 807.44
8.3333 | 811.19 | 838.72 | 771.08 | 824.01 | 784.48 | 863.86 | 809.5 | 789.45 | 761.61 | 835.44 | 797.23 | 795.67
9.3833 | 801.17 | 827.95 | 755.17 | 813.82 | 769.41 | 853.15 | 798.31 | 775.06 | 746.72 | 823.79 | 785.38 | 783.67
10.4333 | 794.59 | 820.23 | 740.16 | 801.83 | 751.93 | 845.18 | 785.57 | 764.88 | 732.32 | 816.4 | 775.9 | 774.48
11.4667 | 790.15 | 823.22 | 727.5 | 792.39 | 737.6 | 839.21 | 776.27 | 754.02 | 722.23 | 808.43 | 767.47 | 767.51
12.5167 | 797.46 | 885.35 | 720.31 | 784.79 | 727.36 | 834.95 | 769.36 | 743.94 | 712.34 | 801.41 | 761.27 | 760.46
13.5667 | 875.64 | 1197.06 | 724.31 | 790.15 | 715.06 | 832.99 | 759.14 | 738.46 | 702.77 | 797.4 | 752.57 | 756.13
14.6167 | 1177.03 | 1844.07 | 773.35 | 851.66 | 713.73 | 836.3 | 751.41 | 732.74 | 694.77 | 793.41 | 742.92 | 752.56
15.65 | 1721.92 | 2641.94 | 991.31 | 1097.22 | 732.95 | 862.28 | 746.25 | 730.87 | 684.48 | 787.32 | 736.75 | 748.96
16.7 | 2364.93 | 3489.35 | 1456.99 | 1603.18 | 796.58 | 923.07 | 742.73 | 726.29 | 677.2 | 781.93 | 727.16 | 746.38
17.75 | 3060.93 | 4355.4 | 2134.43 | 2278.77 | 933.87 | 1044.76 | 740.89 | 727.74 | 670.75 | 780.73 | 723.1 | 743.03
18.8 | 3774.91 | 5227.81 | 2972.74 | 3070.91 | 1167.52 | 1236.65 | 743.7 | 731.38 | 665.61 | 777.76 | 716.42 | 738.26
19.85 | 4456.1 | 6095.43 | 3850.39 | 3895.24 | 1497.08 | 1505.33 | 749.28 | 736.64 | 662.49 | 774.56 | 709.75 | 733.68
20.8833 | 5034.47 | 6870.84 | 4719.83 | 4606.12 | 1818.26 | 1846.29 | 783.47 | 744.18 | 664.82 | 774.41 | 707.7 | 732.26
21.9333 | 5725.9 | 7623.42 | 5523.13 | 5341.21 | 2159.7 | 2102.21 | 835.65 | 752.95 | 661.22 | 772.08 | 706.97 | 728.74
22.9833 | 6234.37 | 8141.67 | 6290.82 | 6019.84 | 2598.55 | 2435.53 | 871.84 | 766.85 | 661.77 | 771.61 | 710.12 | 724.12
24.0333 | 6662.67 | 8495.79 | 6983.7 | 6759.49 | 2981.54 | 2837.58 | 895.98 | 786.54 | 658.7 | 770.37 | 708 | 721.07
25.0833 | 7089.04 | 8821.34 | 7599.55 | 7443.02 | 3461.18 | 3344.72 | 917.5 | 828.97 | 665.64 | 770.45 | 710.49 | 721.21
26.1167 | 7787.76 | 9309.35 | 8135.81 | 8174.82 | 3853.37 | 3814.11 | 948.27 | 883.16 | 668.83 | 773.56 | 709.17 | 718.71
27.1667 | 8298.2 | 9631.03 | 8597.93 | 8740.89 | 4266.02 | 4250.76 | 982.1 | 947.18 | 672.64 | 777.94 | 712.4 | 719.73
28.2167 | 8625.98 | 9858.73 | 9005.64 | 9100.48 | 4635.47 | 4653.49 | 1006.68 | 1002.26 | 675.39 | 781.21 | 711.46 | 720.29
29.2667 | 8885.46 | 10014.43 | 9402.05 | 9393.05 | 4978.35 | 4992.01 | 1035.35 | 1061.99 | 675.98 | 780.99 | 710.46 | 720.55
30.3167 | 9115.65 | 10175.63 | 9726.75 | 9651.85 | 5331.92 | 5261.36 | 1059.98 | 1124.56 | 673.54 | 779.06 | 708.47 | 719.72
31.35 | 9297.86 | 10333.53 | 9937.85 | 9862.35 | 5610.78 | 5448.57 | 1064.61 | 1173.2 | 673.43 | 778.13 | 707.27 | 719.67
32.4 | 9438.72 | 10537.93 | 10116.75 | 10134.15 | 5761.05 | 5588.2 | 1056.85 | 1202.14 | 674.05 | 775.26 | 699.28 | 720.93
33.45 | 9519.62 | 10904.63 | 10292.45 | 10455.35 | 5869.12 | 5759.13 | 1053.83 | 1225.95 | 672.03 | 774.25 | 696.7 | 723.65
34.5 | 9560.72 | 11675.53 | 10602.65 | 11346.65 | 6066.08 | 6078.8 | 1057.58 | 1247.4 | 671.97 | 774.76 | 695.45 | 723.76
35.55 | 9628.22 | 12309.63 | 11660.95 | 12195.15 | 6748.29 | 6782 | 1056.09 | 1266.13 | 672.43 | 774.89 | 693.28 | 726.26
36.6 | 9757.12 | 12684.23 | 12689.15 | 12657.25 | 7217.1 | 7127.33 | 1059.2 | 1294.42 | 674.6 | 779.12 | 694.99 | 725.94
37.6333 | 10257.92 | 12930.03 | 13274.75 | 12924.65 | 7337.96 | 7246.86 | 1072.09 | 1348.81 | 678.19 | 780.86 | 696.31 | 729.61
38.6833 | 10913.92 | 13095.13 | 13562.05 | 13043.35 | 7422.42 | 7323.23 | 1074.09 | 1398.15 | 684.92 | 784.25 | 700.35 | 733.84
39.7333 | 11412.12 | 13164.13 | 13683.15 | 13074.95 | 7583.41 | 7438.13 | 1074.96 | 1426.67 | 693.44 | 787.89 | 699.25 | 738.02
40.7833 | 11731.12 | 13105.83 | 13729.15 | 13133.35 | 7896.63 | 7634.12 | 1072.7 | 1488.99 | 697.61 | 792.3 | 704.97 | 739.74

## Fig 5B
Plot of time to positivity (TTP) vs log10 bacteria concentration. Data from duplicates.
Bacteria concentration (log) cfu/mL | TTP avg (mins) | Std dev
6.2788 | 13.45 | 0.77782
5.2788 | 15.425 | 0.24749
4.2788 | 17.575 | 0.53033
3.2788 | 27.2 | 0.56569

## Fig 6B
RPA amplification curve for the image shown in Fig 6(A)
Time (mins) | NTC | NTC | NTC | 800 copies | 800 copies | 800 copies
0.5 | 0 | 0 | 0 | 0 | 0 | 0
1 | -1.3052 | -0.11903 | -1.1016 | -1.3973 | -3.2755 | -3.4758
1.5 | -1.2206 | -0.039638 | -0.50544 | -1.1626 | -4.0716 | 2.2477
2 | -0.78414 | -0.33925 | -1.2744 | -0.39213 | -0.85643 | 1.7287
2.5 | -1.1435 | -0.60099 | -0.085093 | -1.3121 | -3.1456 | 0.46665
3 | 0.34158 | 0.35553 | -0.33943 | -1.5721 | -1.8146 | 1.2549
3.5 | -0.8233 | 0.41803 | -1.9282 | 3.7784 | 1.5971 | 8.3617
4 | -1.3976 | -0.54888 | -1.8742 | 8.6013 | 5.2083 | 13.282
4.5 | 0.57659 | 2.6286 | -0.40891 | 15.1 | 17.729 | 21.556
5 | -0.32868 | 1.3268 | 0.51991 | 18.524 | 22.603 | 24.156
5.5 | -1.11 | -1.0251 | 0.23792 | 20.804 | 22.968 | 22.574
6 | 0.63827 | 1.6676 | 1.0515 | 21.604 | 29.531 | 32.467
6.5 | -0.7588 | -0.39942 | -0.93433 | 25.315 | 29.461 | 32.127
7 | -1.2217 | 0.96316 | -0.043106 | 26.882 | 31.504 | 36.57
7.5 | -0.38297 | 1.1493 | 1.3056 | 28.299 | 32.506 | 34.223
8 | -0.14083 | 0.79591 | 0.45817 | 29.42 | 36.114 | 41.968
8.5 | -1.4679 | -1.0294 | -1.9727 | 30.458 | 33.077 | 40.554
9 | -1.1285 | -0.6064 | -0.074725 | 29.547 | 35.549 | 36.093
9.5 | -2.1167 | -0.36431 | -2.3511 | 29.905 | 35.884 | 42.77
10 | -1.0129 | 0.87596 | 0.68394 | 32.218 | 38.277 | 44.817
10.5 | -0.016858 | 0.97365 | -0.29253 | 34.08 | 42.238 | 42.427
11 | 0.60935 | 0.35061 | 0.13911 | 34.365 | 37.515 | 43.426
11.5 | 0.047317 | 1.1425 | 1.2132 | 33.811 | 35.18 | 42.115
12 | -0.018363 | -0.25525 | 0.24363 | 31.982 | 39.363 | 43.535
12.5 | -0.78077 | 0.18825 | -0.84289 | 32.269 | 38.718 | 44.376
13 | 0.89789 | 1.0848 | 0.46821 | 34.628 | 41.823 | 43.663
13.5 | 0.78037 | 0.36902 | 2.5877 | 34.575 | 38.691 | 48.538
14 | -0.099058 | 0.82507 | 0.43293 | 35.664 | 42.351 | 45.176
14.5 | 0.20098 | 0.78547 | 0.97105 | 35.473 | 38.639 | 46.29
15 | -1.494 | 1.2179 | -0.74016 | 31.79 | 44.512 | 48.99
15.5 | 0.32842 | 0.024364 | 0.40834 | 32.946 | 39.218 | 44.758
16 | -0.84785 | 0.54149 | 0.37946 | 32.1 | 40.732 | 50.359
16.5 | 0.27776 | 2.1964 | 1.3775 | 36.576 | 41.471 | 47.394
17 | 1.1886 | 0.67433 | 0.49067 | 38.305 | 44.779 | 48.211
17.5 | 0.32415 | 0.20346 | 0.82419 | 35.34 | 37.063 | 48.936
18 | -0.72112 | 0.88584 | 1.2389 | 32.597 | 39.715 | 48.788
18.5 | 0.38195 | 0.9176 | 1.0603 | 34.89 | 42.479 | 43.505
19 | -1.1704 | 2.7091 | -0.12849 | 31.869 | 36.856 | 47.921
19.5 | 0.4792 | 2.7625 | 0.85171 | 35.34 | 39.891 | 46.26
20 | -0.72336 | 1.6665 | 1.8598 | 33.998 | 39.555 | 49.136
20.5 | 1.3617 | 0.52148 | 1.6039 | 33.671 | 40.221 | 45.734
21 | 0.90707 | 1.734 | 0.25284 | 33.967 | 41.003 | 45.479
21.5 | 0.60964 | 0.82065 | 0.45278 | 37.714 | 37.384 | 49.788
22 | 0.052415 | 0.72134 | -1.1081 | 35.169 | 40.57 | 47.191
22.5 | -0.016468 | 1.7463 | 1.5491 | 33.809 | 38.469 | 44.963
23 | 2.4945 | 2.7511 | 2.4256 | 35.537 | 40.823 | 47.761
23.5 | 1.2887 | 3.3102 | 1.4153 | 38.651 | 42.251 | 48.948
24 | 0.86265 | 0.74691 | 2.0129 | 34.681 | 43.334 | 51.107
24.5 | 0.86311 | 0.73615 | 1.0787 | 35.771 | 40.325 | 49.7
25 | 0.87259 | 0.66738 | 0.81967 | 34.08 | 37.568 | 53.639
25.5 | -0.83802 | 1.4195 | 0.15402 | 30.933 | 43.243 | 45.468
26 | 0.70683 | -0.27617 | 1.5726 | 34.25 | 41.048 | 45.419
26.5 | 1.758 | 2.2069 | 3.3387 | 34.333 | 39.8 | 47.701
27 | 0.68377 | 1.7755 | 3.288 | 35.751 | 37.979 | 51.595
27.5 | 0.56491 | 0.70433 | 1.2476 | 34.168 | 43.333 | 44.449
28 | -0.35555 | 2.0758 | 1.083 | 34.037 | 40.419 | 42.47
28.5 | 0.23422 | 1.7007 | 2.0329 | 36.851 | 40.731 | 48.481
29 | -0.35048 | 1.6373 | 3.344 | 33.94 | 41.36 | 51.284
29.5 | 0.21617 | 0.64624 | -0.29385 | 34.847 | 42.049 | 47.368
30 | 1.5755 | 1.8242 | 2.3934 | 35.164 | 39.45 | 52.884

## Fig 6C
RPA amplification curves for purified DNA loaded directly on reservoir electrodes.
Time (mins) | 1440 copies | 1440 copies | 720 copies | 720 copies | 360 copies | 360 copies | 144 copies | 72 copies | 7 copies | 7 copies | 3 sigma
0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.99
1 | 3.1468 | 1.6148 | 0.90462 | -1.4468 | -0.15206 | 1.8435 | 1.086 | -0.4195 | 1.4022 | -0.36106 | 2.99
1.5 | 5.3517 | 3.5415 | 6.2937 | -1.339 | -0.24654 | 2.6853 | 0.18577 | 0.76808 | 0.22507 | -3.0787 | 2.99
2 | 10.126 | 13.064 | 14.486 | 0.74981 | 3.4159 | 5.626 | 1.9666 | 2.9933 | 0.72136 | -2.1201 | 2.99
2.5 | 13.44 | 23.696 | 24.833 | 1.2762 | 7.0534 | 5.0728 | 4.6938 | 5.015 | 1.1516 | -0.64121 | 2.99
3 | 17.504 | 28.741 | 31.427 | 6.2763 | 7.6919 | 8.8337 | 10.748 | 7.9402 | 1.9044 | -1.5753 | 2.99
3.5 | 21.669 | 35.143 | 40.092 | 7.9617 | 13.739 | 8.2988 | 14.99 | 11.691 | 2.0258 | -0.37335 | 2.99
4 | 26.736 | 37.882 | 42.179 | 11.775 | 15.151 | 11.38 | 20.85 | 12.363 | 4.0608 | -1.174 | 2.99
4.5 | 28.43 | 40.228 | 44.498 | 15.76 | 19.492 | 13.727 | 23.411 | 14.498 | 3.835 | -0.27774 | 2.99
5 | 30.014 | 42.193 | 45.822 | 19.096 | 22.914 | 17.4 | 24.724 | 15.697 | 3.593 | -0.74307 | 2.99
5.5 | 32.902 | 42.923 | 49.357 | 22.261 | 23.955 | 21.255 | 28.409 | 19.49 | 4.275 | -0.3489 | 2.99
6 | 33.419 | 43.563 | 48.475 | 25.397 | 26.506 | 21.704 | 31.676 | 21.846 | 4.4904 | -0.40137 | 2.99
6.5 | 33.585 | 43.814 | 51.436 | 27.154 | 31.697 | 26.474 | 33.697 | 26.536 | 4.9312 | -0.46319 | 2.99
7 | 37.36 | 45.242 | 53.041 | 28.412 | 33.511 | 29.487 | 37.006 | 29.276 | 7.3656 | 1.7232 | 2.99
7.5 | 39.397 | 47.522 | 51.374 | 30.675 | 38.323 | 34.492 | 37.173 | 27.547 | 7.6584 | 0.78152 | 2.99
8 | 39.417 | 47.797 | 54.217 | 32.132 | 39.343 | 37.49 | 38.502 | 31.336 | 8.4163 | 2.1 | 2.99
8.5 | 41.1 | 47.273 | 52.849 | 32.641 | 39.475 | 38.271 | 38.814 | 30.212 | 9.6432 | 2.5996 | 2.99
9 | 41.839 | 48.746 | 52.646 | 36.856 | 43.202 | 41.858 | 39.266 | 31.737 | 8.5722 | 0.8415 | 2.99
9.5 | 43.808 | 49.305 | 55.424 | 37.299 | 45.151 | 44.395 | 40.88 | 34.524 | 10.012 | 1.7414 | 2.99
10 | 46.783 | 52.078 | 56.123 | 40.582 | 48.007 | 49.28 | 40.935 | 34.364 | 10.889 | 2.478 | 2.99
10.5 | 44.625 | 50.693 | 56.752 | 40.85 | 46.704 | 49.162 | 41.107 | 38.172 | 11.213 | 2.9925 | 2.99
11 | 46.746 | 52.969 | 55.626 | 40.681 | 48.98 | 55.907 | 41.372 | 36.383 | 12.557 | 3.4998 | 2.99
11.5 | 45.877 | 52.086 | 54.369 | 41.205 | 49.087 | 56.725 | 42.645 | 37.355 | 13.666 | 3.9053 | 2.99
12 | 46.068 | 52.196 | 55.43 | 44.032 | 53.13 | 59.236 | 42.201 | 38.361 | 13.563 | 3.4184 | 2.99
12.5 | 48.28 | 51.835 | 56.254 | 44.527 | 53.699 | 59.294 | 43.99 | 38.912 | 15.271 | 3.8035 | 2.99
13 | 47.917 | 52.366 | 55.434 | 43.378 | 55.372 | 64.667 | 43.467 | 39.023 | 15.133 | 5.4591 | 2.99
13.5 | 47.501 | 53.878 | 58.595 | 44.942 | 54.537 | 66.175 | 42.875 | 41.229 | 14.42 | 4.9959 | 2.99
14 | 49.569 | 55.139 | 56.13 | 46.949 | 52.764 | 69.192 | 44.452 | 38.909 | 16.692 | 5.7454 | 2.99
14.5 | 50.8 | 52.846 | 58.216 | 47.994 | 56.037 | 68.681 | 45.931 | 40.953 | 17.176 | 4.9604 | 2.99
15 | 49.389 | 53.976 | 58.742 | 48.303 | 55.026 | 71.839 | 45.169 | 41.03 | 17.563 | 6.3323 | 2.99
15.5 | 49.777 | 51.03 | 56.956 | 50.071 | 54.999 | 72.402 | 44.164 | 39.511 | 16.151 | 3.96 | 2.99
16 | 48.953 | 52.05 | 58.342 | 50.629 | 57.007 | 73.059 | 44.154 | 42.208 | 17.353 | 5.0579 | 2.99
16.5 | 48.683 | 51.308 | 56.667 | 50.725 | 55.731 | 73.211 | 44.919 | 41.347 | 17.553 | 4.637 | 2.99
17 | 48.931 | 54.373 | 57.669 | 52.398 | 58.011 | 73.292 | 45.197 | 42.781 | 17.482 | 7.6049 | 2.99
17.5 | 48.503 | 51.762 | 57.343 | 51.874 | 58.324 | 76.462 | 46.861 | 43.726 | 18.844 | 6.6016 | 2.99
18 | 51.6 | 53.693 | 59.067 | 54.363 | 58.896 | 79.508 | 49.146 | 44.344 | 19.281 | 7.439 | 2.99
18.5 | 51.101 | 53.875 | 58.149 | 54.59 | 58.076 | 79.049 | 49.189 | 43.448 | 19.445 | 6.8532 | 2.99
19 | 49.461 | 52.199 | 59.289 | 50.121 | 59.176 | 78.808 | 48.446 | 44.841 | 19.017 | 6.3841 | 2.99
19.5 | 50.809 | 53.941 | 59.472 | 52.602 | 58.168 | 83.506 | 48.335 | 44.799 | 19.646 | 7.1419 | 2.99
20 | 50.588 | 53.619 | 58.148 | 51.821 | 58.897 | 83.179 | 48.344 | 43.029 | 20.319 | 6.7563 | 2.99
20.5 | 51.406 | 52.555 | 60.346 | 49.776 | 58.116 | 81.768 | 46.811 | 43.713 | 19.361 | 6.7445 | 2.99

## Fig 6D
TTP with respect to DNA concentration. Data is average of duplicates shown in Fig 6C
DNA copies | TTP avg (mins) | Std dev
3.1584 | 2.7 | 0.28284
2.8573 | 3.45 | 1.0607
2.5563 | 3.25 | 0.35355
0.8451 | 8.6 | 4.8083

## Fig 7C
RPA amplification curve for two different bacteria concentrations in urine from two healthy volunteers.
Time (mins) | NTC | NTC | 1.7*10^5 cfu/mL | 1.7*10^5 cfu/mL | 1.7*10^5 cfu/mL
0.5 | 0 | 0 | 0 | 0 | 0
1 | 0.47837 | -0.47837 | -0.27274 | 1.0463 | 0.30017
1.5 | -0.01925 | 0.01925 | 0.29725 | 0.68105 | 1.847
2 | -0.00395 | 0.00395 | 0.05718 | 1.0642 | 0.8974
2.5 | -0.17705 | 0.17705 | 0.88636 | 0.71608 | 1.9389
3 | -0.34635 | 0.34635 | 0.049355 | 0.22115 | 1.2735
3.5 | 0.19023 | -0.19023 | 0.70365 | 1.9933 | 2.3036
4 | 0.19038 | -0.19038 | 0.72002 | 1.526 | 4.4526
4.5 | -0.031825 | 0.031825 | 1.108 | 1.9896 | 4.7029
5 | 0.28339 | -0.28339 | 4.5111 | 4.0635 | 5.4606
5.5 | 0.08715 | -0.08715 | 5.8026 | 4.7117 | 8.146
6 | 0.0603 | -0.0603 | 8.5773 | 6.6716 | 8.2885
6.5 | 0.03015 | -0.03015 | 9.8104 | 7.4421 | 11.0156
7 | -0.1211 | 0.1211 | 13.2117 | 10.4182 | 14.363
7.5 | 0.1962 | -0.1962 | 16.2826 | 10.8132 | 14.5476
8 | -0.03355 | 0.03355 | 19.6054 | 16.2023 | 15.7373
8.5 | -0.1593 | 0.1593 | 22.3888 | 16.9278 | 20.0248
9 | 0.2243 | -0.2243 | 23.8268 | 18.5838 | 21.4258
9.5 | 0.3083 | -0.3083 | 27.2311 | 24.2201 | 27.9741
10 | -0.07015 | 0.07015 | 27.9197 | 25.2236 | 27.4216
10.5 | 0.3847 | -0.3847 | 28.7663 | 27.3303 | 29.6443
11 | -0.28315 | 0.28315 | 32.0618 | 29.4448 | 34.4558
11.5 | -0.1792 | 0.1792 | 33.513 | 31.694 | 35.291
12 | -0.1959 | 0.1959 | 33.431 | 34.813 | 35.914
12.5 | 0.33465 | -0.33465 | 34.0868 | 36.6148 | 40.2407
13 | 0.0934 | -0.0934 | 35.0563 | 37.5933 | 41.2053
13.5 | -0.5136 | 0.5136 | 36.3064 | 40.8874 | 43.6824
14 | -0.2628 | 0.2628 | 37.1286 | 45.8266 | 45.7296
14.5 | -0.3267 | 0.3267 | 37.1687 | 46.5437 | 47.1387
15 | 0.04065 | -0.04065 | 38.3516 | 47.0426 | 46.2706
15.5 | -0.02615 | 0.02615 | 39.1844 | 45.3544 | 48.0974
16 | 0.1622 | -0.1622 | 39.0902 | 49.3582 | 54.2962
16.5 | -0.09845 | 0.09845 | 40.1026 | 50.8225 | 57.7755
17 | -0.0587 | 0.0587 | 38.196 | 49.036 | 58.191
17.5 | -0.3417 | 0.3417 | 38.2681 | 52.4521 | 55.5851
18 | 0.04075 | -0.04075 | 38.3059 | 50.9549 | 58.051
18.5 | 0.1394 | -0.1394 | 39.6522 | 49.8662 | 57.9032
19 | -0.21875 | 0.21875 | 39.6591 | 53.3721 | 59.4911
19.5 | -0.22325 | 0.22325 | 40.0776 | 52.1885 | 58.5536
20 | -0.21825 | 0.21825 | 40.2557 | 53.0897 | 58.2447
20.5 | -0.1869 | 0.1869 | 38.3092 | 53.6692 | 59.1762
21 | 0.17945 | -0.17945 | 38.6447 | 53.2567 | 57.7557
21.5 | 0.26895 | -0.26895 | 39.0725 | 51.5105 | 62.4155
22 | 0.10995 | -0.10995 | 37.4708 | 51.8477 | 60.3537
22.5 | -0.3106 | 0.3106 | 40.3455 | 53.1215 | 64.1815
23 | -0.1631 | 0.1631 | 40.1011 | 54.1291 | 67.1811
23.5 | -0.18555 | 0.18555 | 39.9907 | 53.9228 | 66.1347
24 | -0.1673 | 0.1673 | 40.1066 | 53.9386 | 68.6916
24.5 | -0.0918 | 0.0918 | 40.9091 | 54.0861 | 69.8641
25 | -0.29665 | 0.29665 | 41.1249 | 55.5919 | 68.1029
25.5 | -0.10155 | 0.10155 | 40.8298 | 53.2067 | 67.3897
26 | 0.1204 | -0.1204 | 40.0396 | 55.2066 | 63.9376
26.5 | 0.14205 | -0.14205 | 40.8285 | 53.7936 | 65.1155
27 | -0.38705 | 0.38705 | 42.3622 | 54.4872 | 68.1693
27.5 | 0.13445 | -0.13445 | 38.4597 | 56.9667 | 65.2608
28 | 0.16445 | -0.16445 | 40.2552 | 56.1121 | 69.0871
28.5 | -0.21415 | 0.21415 | 40.9545 | 53.5675 | 69.6964
29 | 0.00325 | -0.00325 | 41.3017 | 56.3058 | 70.7587
29.5 | 0.00015 | -0.00015 | 41.5062 | 55.8942 | 73.6941
30 | 0.06305 | -0.06305 | 40.7086 | 59.0556 | 74.0026

## Fig 7D
RPA amplification curve for two different bacteria concentrations in urine from two healthy volunteers.
Time (mins) | NTC | NTC | 6*10^4 cfu/mL | 6*10^4 cfu/mL | 6*10^4 cfu/mL
0.5 | 0 | 0 | 0 | 0 | 0
1 | -0.15068 | 0.15068 | 1.6239 | -0.20889 | 1.5644
1.5 | -0.13171 | 0.13171 | 1.6665 | 1.3703 | 3.2058
2 | -0.26643 | 0.26643 | 1.1229 | 1.573 | 0.66727
2.5 | -0.38971 | 0.38971 | 0.95285 | -0.18573 | 1.3113
3 | -0.11988 | 0.11988 | 0.89868 | -0.55438 | 2.6774
3.5 | -0.8268 | 0.8268 | 0.86774 | 1.9915 | 2.11
4 | -0.1804 | 0.1804 | 2.7 | 1.2756 | 0.96792
4.5 | -0.57262 | 0.57261 | 0.99611 | 1.7072 | 0.29695
5 | 0.14159 | -0.14159 | 2.1436 | 3.8494 | 0.76099
5.5 | 0.2312 | -0.2312 | 2.8731 | 3.1573 | 2.1069
6 | 0.0339 | -0.0339 | 1.421 | 3.8169 | 1.7754
6.5 | 0.32052 | -0.32052 | 2.7693 | 3.2817 | 1.1306
7 | -0.22045 | 0.22045 | 3.3536 | 3.6285 | 3.3415
7.5 | 0.0592 | -0.0592 | 2.7963 | 4.0267 | 2.9005
8 | -0.73835 | 0.73835 | 2.9244 | 3.8207 | 2.3203
8.5 | -0.90565 | 0.90565 | 3.4183 | 5.5468 | 3.9496
9 | -0.13955 | 0.13954 | 3.4787 | 6.877 | 3.6064
9.5 | -1.0672 | 1.0672 | 4.3244 | 6.5789 | 3.41
10 | -0.05456 | 0.05456 | 2.9717 | 5.3416 | 1.6701
10.5 | -0.69765 | 0.69764 | 3.7072 | 7.9844 | 2.2774
11 | -0.7254 | 0.7254 | 2.9656 | 7.8117 | 1.5363
11.5 | -0.3307 | 0.3307 | 4.6433 | 8.0761 | 1.5552
12 | -0.81115 | 0.81114 | 4.8621 | 6.7852 | 1.9996
12.5 | -0.31665 | 0.31665 | 5.1959 | 8.201 | 2.8104
13 | -0.65785 | 0.65785 | 5.2079 | 10.3197 | 2.5519
13.5 | -0.99895 | 0.99895 | 4.2118 | 8.1779 | 2.6449
14 | -0.33571 | 0.33572 | 3.8906 | 8.9473 | 2.3549
14.5 | -1.2832 | 1.2832 | 3.9746 | 8.8187 | 2.2871
15 | -0.4132 | 0.4132 | 2.763 | 8.9995 | 3.0982
15.5 | -1.0181 | 1.0181 | 4.6315 | 9.983 | 1.8968
16 | -0.40724 | 0.40724 | 4.1692 | 9.7499 | 2.5158
16.5 | -0.8973 | 0.8973 | 4.3106 | 10.8902 | 3.5661
17 | -1.1151 | 1.1151 | 4.5153 | 12.9906 | 3.7395
17.5 | -0.18264 | 0.18264 | 4.596 | 10.3101 | 1.9021
18 | -0.3509 | 0.3509 | 5.5028 | 11.8189 | 2.8227
18.5 | -0.4681 | 0.46811 | 5.0674 | 12.6571 | 1.9312
19 | -1.5016 | 1.5016 | 4.048 | 10.4411 | 1.4455
19.5 | -0.32285 | 0.32285 | 5.21 | 11.0122 | 2.8109
20 | -1.2417 | 1.2417 | 3.9458 | 10.351 | 1.9243
20.5 | -0.4934 | 0.4934 | 4.2561 | 12.894 | 1.1249
21 | -0.4185 | 0.4185 | 4.7828 | 10.8406 | 3.0058
21.5 | -0.97846 | 0.97846 | 5.5314 | 11.6595 | 2.9009
22 | -0.7332 | 0.7332 | 5.9071 | 12.9033 | 3.2204
22.5 | -1.1066 | 1.1066 | 5.3268 | 13.0801 | 2.7138
23 | -0.17139 | 0.17139 | 5.4507 | 12.3931 | 2.1633
23.5 | -0.64885 | 0.64885 | 6.0137 | 14.2496 | 1.6645
24 | -0.458 | 0.458 | 5.8877 | 11.9561 | 3.4487
24.5 | -0.3733 | 0.37331 | 4.8198 | 12.9959 | 1.6476
25 | -0.67015 | 0.67015 | 5.8574 | 15.2287 | 4.2306
25.5 | -0.73765 | 0.73765 | 6.083 | 12.6608 | 3.4338
26 | -0.60161 | 0.60161 | 5.8596 | 12.2529 | 3.5202
26.5 | -0.6824 | 0.6824 | 6.3185 | 14.8434 | 2.9644
27 | -1.3664 | 1.3664 | 7.6732 | 14.059 | 3.7539
27.5 | -0.09715 | 0.09715 | 6.0083 | 15.3413 | 2.5042
28 | -0.71435 | 0.71435 | 5.6798 | 13.6193 | 2.9307
28.5 | -0.66455 | 0.66455 | 6.5822 | 15.652 | 4.9059
29 | -0.7979 | 0.7979 | 6.7639 | 16.177 | 3.3717
29.5 | -1.2898 | 1.2898 | 6.4389 | 15.9965 | 4.8177
30 | -0.6878 | 0.6878 | 7.7814 | 14.4454 | 3.795

## Fig S3
Plot of time to positivity (TTP) vs log10 purified DNA (genomic and plasmids) concentration, extracted using DNeasy Blood and Tissue Kit (Qiagen, UK). Data is average of duplicates.
DNA copies (log) | TTP (mins) | Std dev
5.9542 | 11.2 | 0.56569
4.9542 | 14.2 | 1.9799
3.9542 | 15.9 | 2.2627
2.9542 | 18.65 | 3.182
1.9542 | 22.55 | 3.182

## Fig S4
Plot of amount of purified DNA (in ng) added to 3M GuHCl (1 mL) and processed on DMF platform using described protocol. The beads are re-suspended into 5 µL of elution buffer and quantified using a nanodrop.
DNA (genomic and plasmid) added (ng) | Plasmid recovered (ng) | Std dev
25 | 10 | 3.2323
50 | 16.5667 | 1.2553
100 | 20.1667 | 3.9552
250 | 41.4167 | 13.194