The UK Biobank imaging enhancement of 100,000 participants: rationale, data collection, management and future directions

Authors

Thomas J Littlejohns1, Jo Holliday1, Lorna M Gibson2,3, Steve Garratt4, Niels Oesingmann4 Fidel Alfaro-Almagro5, Jimmy D Bell6, Chris Boultwood4, Rory Collins1, Megan C Conroy1, Nicola Crabtree7, Nicola Doherty4, Alejandro F Frangi8, Nicholas C Harvey9, Paul Leeson10, Karla L Miller5, Stefan Neubauer10, Steffen E Petersen11, Jonathan Sellors1,4, Simon Sheard4, Stephen M Smith5, Cathie LM Sudlow2, Paul M Matthews12,*, Naomi E Allen1,*

Affiliations

1 Nuffield Department of Population Health, University of Oxford, Oxford, UK

2 Usher Institute of Population Health Sciences and Informatics, University of Edinburgh, Edinburgh, UK

3 Department of Clinical Radiology, New Royal Infirmary of Edinburgh, Edinburgh, UK

4 UK Biobank Coordinating Centre, Stockport, UK

5 Centre for Functional MRI of the Brain, Wellcome Centre for Integrative Neuroimaging, University of Oxford, Oxford, UK

6 Research Centre for Optimal Health, University of Westminster, London, UK

7 Birmingham Women’s and Children’s NHS Foundation Trust, Birmingham, UK

8 CISTIB Centre for Computational Imaging and Simulation Technologies in Biomedicine, Schools of Computing and Medicine, University of Leeds, Leeds, UK

9 MRC Lifecourse Epidemiology Unit, University of Southampton, Southampton, UK

10 Radcliffe Department of Medicine, University of Oxford, Oxford, UK

11 William Harvey Research Institute, Queen Mary University of Medicine, London, UK

12 Department of Brain Sciences, Imperial College London and UK Dementia Research Institute, London, UK

Please send correspondence regarding the review article to thomas.littlejohns@ndph.ox.ac.uk. Any general queries regarding the UK Biobank imaging enhancement should be directed to enquiries@ukbiobank.ac.uk

* Equally contributing authors

Abstract (first level heading)

UK Biobank is a population-based cohort of half a million participants aged 40-69 years recruited between 2006 and 2010. In 2014, UK Biobank started the world’s largest multi-modal imaging study, with the aim of re-inviting 100,000 participants to undergo brain, cardiac and abdominal magnetic resonance imaging, dual-energy X-ray absorptiometry and carotid ultrasound. The combination of large-scale multi-modal imaging with extensive phenotypic and genetic data offers an unprecedented resource for scientists to conduct health-related research. This article provides an in-depth overview of the imaging enhancement, including the data collected, how it is managed and processed, and future directions .

Background

Imaging provides structural and functional information on internal anatomy and physiological processes. Its use in clinical practice has transformed the diagnosis, management and treatment of disease. Imaging can detect asymptomatic pathology prior to disease development and thus can be used to screen high risk populations to support precision and preventative medicine. In some case, imaging can provide insights into the biological mechanisms underlying exposure-disease associations.

Large-scale population-based prospective studies can facilitate the identification of imaging measures as targets for prevention or provide an insight into disease mechanisms. Although some epidemiological studies have incorporated imaging measures, these have usually been limited to a specific imaging modality or body region (such as the brain or heart), have often been restricted to selective population subgroups at high risk for certain diseases and have included no more than a few thousand participants. For example, the first cohort studies to use magnetic resonance imaging (MRI), such as the Rotterdam study and the Multi-Ethnic Study of Atherosclerosis (MESA), included less than 5,000 participants 1,2.

However, to assess the moderate associations that may exist between genetic and lifestyle factors and imaging-derived phenotypes (IDPs), or between IDPs and subsequent risk of a wide range of diseases, it is necessary to perform imaging in very large numbers of healthy individuals as only a relatively small proportion of them will develop any particular condition during follow-up. Furthermore, in the era of ‘Big Data’, large, diversely-phenotyped cohorts are essential to maximise recent developments in artificial intelligence (AI). To address this challenge, more ambitious multi-modal imaging protocols have been initiated in longitudinal cohorts, including brain and body MRI in the German National Cohort on 30,000 participants3, and MRI of the brain, blood vessels, heart and liver in the Canadian Partnership for Tomorrow Project (CPTP) for 10,000 participants (see www.partnershipfortomorrow.ca).

Here, we provide an overview of the programme currently underway in UK Biobank (UKB), the largest and most detailed imaging study to date. The UKB imaging enhancement aims to perform brain, cardiac and abdominal MRI, full body dual-energy X-ray absorptiometry (DXA) and a carotid ultrasound scan on 100,000 of the existing 500,000 UKB participants before the end of 20234. As of early 2020, over 45,000 participants have undergone an assessment, already making the UKB imaging enhancement by far the largest multi-modal imaging study in the world. This article outlines the scientific rationale and processes involved in collecting, curating and disseminating the imaging data for research purposes, and describes recent developments, such as the initiative to repeat the imaging of at least 10,000 participants.

The launch of UK Biobank

Between 2006 and 2010, 9.2 million women and men aged 40-69 who were registered with the UK’s National Health Service were sent postal invitations to attend one of 22 UKB assessment centres in England, Scotland and Wales5. Of these, ~500,000 (5.5%) individuals joined the study. Although UKB is not representative of the UK population, the large sample size and heterogeneity of measures nonetheless enable a valid assessment of many exposure-outcome relationships to be made. During the baseline assessment, extensive sociodemographic, lifestyle and health-related information was collected through a touchscreen questionnaire and verbal interview, and a wide range of physical measures were performed4,6. Participants also provided biological samples which since have been used to perform genotyping7 and  haematological and biochemistry assays for the full cohort8. Once recruitment was fully under way, additional measures were incorporated into the baseline assessment, including tests of hearing and arterial stiffness (n=~200,000), a cardiorespiratory fitness test (n=~100,000) and various eye measures (n=100,000-150,000). Since the baseline visit, subsets of participants have supported additional data collection through various enhancements to the study. These have included: a full repeat of the baseline assessment (n=~20,000, 2012-2013), collection of physical activity data over 7-days by wearing accelerometers (n=~100,000, 2013-2015 and n=~2,500 on four occasions, 2018-2019) and regular online questionnaires covering a variety of topics such as diet, cognitive function, occupational history, mental wellbeing, gastrointestinal health and pain (sent to ~330,000 participants with email addresses; ~35-50% response rate for each questionnaire).

All participants provided consent for their health to be followed-up through linkage to health-related records, which currently includes death, cancer and hospital inpatient records for the full cohort. Primary care data is also available for approximately 45% of the cohort (with data for the remaining participants pending). Together, these electronic medical record data capture information on type and date of diagnosis and symptoms, procedures and operations, prescriptions, test results and referrals by general practitioners.

UKB received approval from the National Information Governance Board for Health and Social Care and the National Health Service North West Centre for Research Ethics Committee (Ref: 11/NW/0382). UKB is compliant with both the previous Data Protection Act and the more recent General Data Protection Regulation (GDPR) implemented in 2018, whilst participants were contacted by email or post to explain how UKB meets the requirements of GDPR (https://www.ukbiobank.ac.uk/gdpr/).

Rationale for multi-modal imaging on 100,000 participants in UK Biobank

When the original UKB protocol was reviewed in 2006, the UK Biobank International Peer Review Panel recommended exploring the feasibility of conducting enhancements in large subsets of the cohort. The inclusion of imaging measures was deemed of value and further consultation with the wider scientific community was recommended. Consequently, UKB established an expert Imaging Working Group in 2011 who, after consultation with over 100 imaging specialists worldwide developed an imaging protocol that aimed to maximise the scientific value of the imaging data collected whilst also being achievable at scale (i.e. non-invasive with short acquisition times).

A key requirement was the inclusion of several imaging modalities that could provide precise and reliable information on multiple organ systems (as opposed to single body sites). The protocol thus includes collection of imaging data on the brain, heart, large blood vessels, body composition, bone and joints. The inclusion of multiple imaging modalities provides researchers with the opportunity to integrate measures from different organ systems for exploring biological mechanisms of complex diseases, which are typically multifactorial. For example, the diversity of data could contribute to a better understanding of the relationships between systemic health and dementia through capture of data regarding the structure and function of the brain (brain MRI) in conjunction with adiposity and vascular risk factors (body and cardiac MRI and carotid ultrasound)9. The integration of multiple ‘gold-standard’ imaging measures can be used to calibrate and expand upon the data collected at the baseline assessment. For example, the whole-body DXA scan complements measures of bone density obtained from the heel ultrasound performed at baseline. Further, body MRI and DXA could provide more detailed data on body composition and fat distribution than that provided by the bioimpedance measures. This will support more refined analyses of body composition, such as whether disease risk varies in those with a normal BMI but who have a high visceral fat content10.

Another consideration for the Imaging Working Group was how many participants to image. This was done by ultimately balancing estimates of the power of potential future nested case-control studies with pragmatic considerations based on costs and feasibility. Approximately 5,000 and 10,000 cases are required to detect an odds ratio of 1.5 and 1.33 with 80% power, respectively, when the exposure prevalence is 10%11. Whilst imaging 100,000 participants is unprecedented, it is clear this is the sample size needed to capture sufficient cases to reliably explore a wide range of associations.

Protocols of the UK Biobank imaging enhancement

Following ethical approval, a pilot study of ~5,000 participants was performed between 2014 and 2015 to demonstrate the feasibility of high-throughput imaging and to finalise the imaging protocols required for the main phase. Funding was then released to extend the imaging enhancement to an additional 95,000 participants, with data collection estimated to finish by 2023. The imaging assessment takes place in dedicated, purpose-built centres based in Stockport (termed Central), Newcastle-upon-Tyne (North), Reading (South-East) and , Bristol (South-West). The locations were selected to minimise travel times for the majority of participants, based on driving times and availability of public transport links, as travelling time was recognised as one of the main determinants as to whether a participant was likely to attend or not.

Invitation process

Invitations for the Central region of the UK began in April 2014, followed by the Northern region in April 2017, the South-East region in June 2018 and the South-West centre in February 2020. Initially, invitations were sent by email as this is the most cost-effective means of communicating with participants. However, as not all participants provided an email address, postal invitations began in early 2020 to provide all participants the opportunity to attend, should they wish to do so. Therefore, all surviving UKB participants will be invited, except for those who have informed UKB they no longer wish to be contacted or now live outside the UK. Participants are provided with comprehensive information about the project, including an invitation letter briefly describing what the assessment visit involves and an information leaflet describing the individual scans, eligibility criteria and benefits and risks of participation as well as links to a dedicated UKB imaging website (https://imaging.ukbiobank.ac.uk/). If interested, participants are asked to telephone the Participant Resource Centre who makes an initial assessment as to whether the potential participants are eligible for inclusion in the enhancement (e.g., the MRI scans are not safe for individuals who have metal implants or who have had certain surgeries) and for tolerability (e.g., claustrophobia), whilst completion of the full protocol is not possible for those unable to lie still, hold their breath voluntarily or hear instructions. Participants who have MR-compatible metal implants in their body (not limbs) are also excluded as these can affect the quality of the scan in regions close to the metal and reduce their value for research purposes.

Reminder emails are sent to non-responders approximately 2 weeks, 4 weeks, 6 months, 12 months and 24 months after the initial invitation, to provide participants with further opportunities to participate. All email invitations and reminders contain a decline link, where participants can opt out of receiving subsequent invitations. To obtain imaging data on 100,000 participants, an attendance rate of at least 20% of the 500,000 UKB participants is required. To date, this has been achieved, with 31% of invited participants expressing an interest, of whom 71% are eligible and have booked an appointment; of these, 97% have attended an imaging assessment centre (Figure 1). Approximately 12% of participants book an appointment in response to an initial invitation, with response rates of 7% after the 2 week reminder and a further 4% after the 4-week reminder.

General imaging process

The target throughput for each imaging centre is 18 participants per 12-hour working day, and the centres are open every day (except for the Christmas and Easter holidays). When fully operational, a monthly average of 17 participants per day is achieved (95% attendance rate). Each centre is staffed by six radiographers, three healthcare assistants, a laboratory specialist, a healthcare assistant team leader and a centre manager, with a lead radiographer and MR physicist providing support across all centres. Four sub-specialist third party consultant radiologists, each with experience in brain, cardiac, abdominal or musculoskeletal imaging, review scans that are flagged by radiographers as having a potentially serious incidental finding.

On arrival at the assessment centre, the participant’s eligibility is again checked with a radiographer, and electronic consent is obtained to confirm that the participant understands the nature of the study and potential implications, such as the detection and feedback of incidental findings. There are four imaging stations: one consisting of the brain MRI, another one covering both the cardiac and abdominal MRI, one for DXA and a final station for carotid ultrasound. To fully maximise the use of the facilities, three participants go to a separate station simultaneously and serially rotate through different stations. Once participants have finished the imaging assessments, they repeat all the measures collected at the baseline assessment, except for the eye examinations, 4-lead electrocardiogram (ECG) during exercise and saliva sampling.

General imaging quality control

A centralised training and monitoring team is responsible for quality assurance across all imaging centres. All staff members undergo a six-week training programme before centres open, with monthly training provided by the MR physicist. To ensure fully harmonised imaging data are acquired across centres, identical scanner models, software, adjustment and tuning methods, types of coils and protocols are used. Quality assurance and control measures are also in place including a standardised training programme for all radiographers in each centre, system acceptance testing, standard operating procedures, as well as routine phantom measurements, regular servicing and performance checks that are conducted by a dedicated UKB physicist. The radiographer visually inspects the MRI images for quality control purposes whilst participants are undergoing scanning and immediately after acquisition. Quality control assessments consisting of qualitative and quantitative comparisons conducted by external imaging experts for each modality confirmed that images acquired during the pilot study were of excellent quality for support of quantitative research applications (Table 1).

Incidental findings

UKB developed an approach to managing the clinical review of images acquired in consultation with stakeholders, funders and the UKB Ethics and Governance Council (now the Ethics Advisory Committee). Consistent with the practices established for other data collected by UKB, participants are informed that the data collected is intended for research use only, that the scans will not be routinely assessed for evidence of disease and that individual results will not be made available to them (detailed information on incidental findings can be found at https://imaging.ukbiobank.ac.uk). However, and consistent with the approach adopted for incidental findings during the original assessment visit, if while scanning a participant, a radiographer observes an incidental finding that might be clinically serious or life-threatening then the relevant scans undergo further review by a specialist radiologist, who determines independently whether UKB should notify the participant and their general practitioner. All participants explicitly consent to participate in the imaging enhancement on this basis.

This approach was evaluated through comparison with systematic radiology review of all images from the first 1,000 imaged participants. Compared to the systematic radiologist review, radiographer flagging resulted in substantially fewer participants with potentially serious incidental findings (179/1000 [17.9%] versus 18/1000 [1.8%]) but a higher proportion with serious final diagnoses (21/179 [11.7%] versus 5/18 [27.8%]). Radiographer flagging missed 16/21 serious final diagnoses (false negatives) while systematic radiologist review generated large numbers of non-serious final diagnoses (158/179, false positives). All participants who were notified of a potentially serious incidental finding consulted their GP, and 90% had some further clinical assessment (most commonly additional imaging (79%), or referral to a specialist (64%)). Some participants reported that feedback of their incidental findings had a negative impact on their emotional wellbeing, insurance status or finances, or work and leisure activities (17%, 9% and 6%, respectively).

In light of these findings from the pilot and with additional advice from UKB’s independent Ethics and Governance Council, we concluded that the proposed UKB imaging incidental findings protocol to use radiographer flagging (and not systematic radiologist review) provides an acceptable balance of benefit versus harm to the participants, as detailed elsewhere12.

Rationale, protocol and data processing for each imaging modality

Brain MRI

There are several neuroimaging methods that can measure different aspects of the brain.  However, MRI is unique as it can capture high-resolution structural and functional information in a single examination, in a non-invasive manner (i.e. with no use of non-ionising radiation). Both structural and functional brain measures show promise as markers to guide strategies for disease prevention, monitoring of disease progression or as predictive markers for disease risk (e.g., by identifying neuroanatomical markers related to the risk of developing dementia)13. However, while brain MRI has been used commonly for smaller clinical and non-clinical neuroscientific research 14, its use in large-scale population-based studies like UKB is limited.

The brain MRI protocol is performed using a 3 Tesla Siemens Skyra scanner (Siemens Healthineers, Erlangen, Germany) with VD13 software and a 32-channel head coil. The full examination lasts approximately 35 minutes. Table 2 reports  the selected parameters of the brain MRI protocols. The protocol includes three structural MRI scans; T1, T2 fluid attenuation inversion recovery (FLAIR) and susceptibility-weighted MRI (swMRI), as well as diffusion MRI (dMRI) and resting and task functional MRI (fMRI). T1 scans allow precise volumetric measures of the whole brain, as well as specific cortical and subcortical regions. The T2 FLAIR scan identifies changes that might be indicative of  inflammation or tissue damage (e.g., an increased signal in the white matter is associated with an increased risk of dementia and stroke15). swMRI is sensitive to increased iron content as a result of microbleeds or chronic microglial activation in the context of neurodegeneration16. dMRI reflects structural connectivity and tissue microstructural features describing white matter integrity. Resting fMRI is performed on an individual who is not engaged in any particular activity or task and can provide indices related to the functional connectivity between brain regions independent of external stimuli. By contrast, task fMRI is performed on an individual to whom stimuli are repetitively delivered that engage sensory-motor and cognitive processes of interest. The UKB task fMRI protocol is based on the Hariri faces/shapes ‘emotion’ task, selected because it engages a wide range of cognitive and sensory-motor systems and a wide range of normative data is available17.

An automated processing pipeline for brain image analysis and quality control was established for UKB at the University of Oxford’s Wellcome Centre for Integrative Neuroimaging (WIN/FMRIB). This pipeline is primarily based around FSL (FMRIB’s Software Library), and other packages such as FreeSurfer18,19. When acquired at the imaging centres, the images are reconstructed from k-space on the scanner computer and saved initially as DICOM files. The processing pipeline then converts these files to the NIFTI format and undertakes pre-processing (e.g., correcting for head motion and other artefacts) as well as automated quality control that identifies issue with the equipment (e.g., coil failure) and artefacts specific to the participant or scanning session (e.g., excessive head movement). The NIFTI files for the T1 and T2 scans are the default version provided to researchers, as these are suitably “defaced” to remove the possibility of re-identification of any individual participant. In 99.5% of cases the defaced mask does not overlap with the brain mask19. The pipeline also automatically generates thousands of IDPs, such as regional grey matter volume from T1 scans, volume of white matter hyperintensities from T2 scans, fractional anisotropy measures from dMRI scans and signal changes in response to stimuli from task fMRI scans. These IDPs have been made available to researchers in batched uploads to the resource since the imaging enhancement began. In-depth information on the brain MRI protocol and quality control process have been published elsewhere18,19.

Cardiac MRI

Cardiac MRI captures information related to both the structure and function of the heart and can provide a range of measures which have been implicated in cardiovascular disease such as left ventricular mass, left ventricular ejection fraction, left atrial volume and aortic stiffness20–23. Prior to UKB, the largest studies of cardiac MRI were the Multi-Ethnic Study of Atherosclerosis (5,000 participants)2, the Dallas Heart Study (3,000 participants)24 and the Jackson Heart Study (2,000 participants)25. While these studies are valuable resources for population health research, their main focus is on cardiovascular disease and risk factors. The sheer size of UKB offers unique opportunities to investigate the subclinical cardiovascular mechanisms related to a wide range of cardiovascular and non-cardiovascular diseases, including research to identify early markers of pathology and their genetic and lifestyle determinants.

The cardiac MRI scan is performed using a Siemens 1.5 Tesla MAGNETOM Aera scanner (Siemens Healthineers, Erlangen, Germany) with VD13A software and a spine and body flex matrix coil. No pharmacological stressor or contrast agent is used. The protocol lasts approximately 20 minutes and provides structural and functional measures of the left and right ventricles, left and right atria and the aorta, including volumes, changes in volumes during cardiac cycle, cardiac wall thickness and mass, tissue motion using tagging and thoracic aorta size and distensibility. Table 3 reports the selected parameters of the cardiac MRI protocols.

At present, only a limited range of features are automatically extracted from the cardiac scanner, such as inline ventricular function (which assesses left ventricular contours and volume). A group based at Queen Mary University, London, and the University of Oxford has created a cardiac structural MRI segmentation reference by manual analysis of the first 5,000 scans26,27. However, the scale of the imaging enhancement has accelerated efforts to develop automated processing tools that can extract a wider range of cardiac phenotypes in order to maximise the scientific utility of these data. A range of algorithms to automatically segment and assess the quality of the remaining cine CMR images are now being made openly available28–30. An automated large-scale image quality control, analytics and image-based phenotype extraction has been established in collaboration with the University of Leeds Centre for Computational Imaging & Simulation Technologies in Biomedicine (CISTIB) based on a private deployment of the MULTI-X secure-based platform30,31. In-depth  information on the cardiac MRI protocol have been published elsewhere26,32.

Abdominal MRI

Anthropometric measures, such as weight, height, body mass index (BMI) and waist-to-hip ratio, are commonly collected in epidemiological studies and have informed our knowledge about the role of adiposity with disease risk. However, these measures are fairly crude indicators of body composition and provide little information on the type and distribution of body fat, which have been shown to be important predictors of disease risk33. For example, visceral obesity (abdominal fat surrounding the internal organs) has been linked to an increased risks of type II diabetes, cardiovascular disease, cancer and mortality34–36. Accumulation of ectopic fat in the liver can cause hepatic steatosis (fatty liver), which is associated with insulin resistance and hepatocellular carcinoma37,38. MRI is considered the gold standard for body composition measurement and offers an unprecedented opportunity to measure internal and ectopic fat content, as well as whole-body and site-specific fat and muscle volume. However, abdominal MRI has not been conducted in any large-scale studies previously. Consequently, UKB is an unprecedented resource to further our understanding of how body fat composition and distribution influences disease risk.

The abdominal MRI protocol follows the cardiac examination on the 1.5T scanner, employing relevant elements of spine and body matrix coils. The scan includes sequences that last 10 minutes. Table 4 reports the selected parameters of the abdominal MRI protocols.

Localization is performed relative to the jugular notch, which is the centre position of the first stage of the Dixon imaging. The examination includes the LiverMultiScan protocol, developed by Perspectum Diagnostics (Oxford, UK), which images the liver by a single transverse slice at the porta hepatisis using two different sequences39. A single breath-hold cardiac-gated Modified Look-Locker Inversion Recovery sequence (shMOLLI) for T1 mapping is acquired.  A single breath-held spoiled-gradient-multi-echo sequence in the same slice position is performed. Together, these allow multiple measures sensitive to liver fibrosis, iron content and fat39. For volumetric evaluations of the pancreas, a 3D VIBE is acquired in transverse orientation centred at the position of the pancreas. A shMOLLI sequence is performed using the same parameters as for the liver. Finally, multi-echo sequence is used (10 different echoes) to allow measurements of iron and fat content.

For quality control, images are visually inspected immediately after reconstruction at the scanner. Fully automated tools are not currently available for extracting quantitative parameters from the images. However, research groups are developing semi-automated tools to extract fat, muscle and organ measures, including visceral and ectopic fat content40 and liver measures41. In-depth information on the abdominal MRI protocol have been published elsewhere40,42,43

Dual-energy X-ray absorptiometry

DXA captures precise site-specific (proximal femur, lumbar spine) measures of bone mineral density and whole body composition (bone, fat and lean mass), with no extensive additional processing and analysis44. DXA is regarded as the ‘gold-standard’ tool for the diagnosis of osteoporosis45, and can also provide information concerning the joint and its articular surfaces that is relevant to osteoarthritis46.  While several population-based cohorts have performed DXA scanning on several thousand participants47–49, UKB will be about 10-times bigger and uniquely offers the opportunity to compare body composition measures across DXA and MRI modalities. It also enables the investigation of how bone and joint integrity measures are related to a broad range of health outcomes and their genetic and environmental determinants.

An iDXA instrument (GE-Lunar, Madison, WI, USA) is used in the imaging enhancement to measure several body sites using a protocol that lasts 20 minutes. The instrument captures high resolution images of the whole-body, proximal femur, spine (from L4 to T4) and knees, which can be used to identify joint pathology, vertebral fractures and other phenotypes using advanced techniques50.  Measures of bone mineral density and body composition are automatically derived from the scanner and are transferred to UKB requiring little post-processing. Other measures are also being derived, including indices of bone strength, such as trabecular bone score (a measure of bone texture) and hip structural analysis, as well as hip and knee osteoarthritis phenotypes. High-resolution images of hips, knees, whole body, anteroposterior lumbar spine and lateral thoracolumbar spine are exported as DICOM files for further analysis by researchers.

All radiographers are trained according to a protocol harmonised across the scanning sites to allow consistent, accurate participant positioning and image acquisition. The DXA instrument undergoes manufacturer’s daily quality control and local calibration using a phantom (GE-Lunar, Madison, WI). Periodic calibration across sites and over time is undertaken using a European spine phantom to ensure consistent measures are obtained51. An automated quality control protocol, where specific DXA analysis results (femoral neck bone mineral density, dual femur total bone mineral content, trunk fat mass, age, DXA weight) are checked for consistency, is being developed and a random sample of 50 scans per site are checked each quarter, with further radiographer training recommended as appropriate.

Carotid ultrasound

Carotid ultrasound imaging provides information about the health of the carotid arteries including measures of vessel thickness (expressed as carotid intima-media thickness (CIMT)) and vessel wall and plaque volume52. These measures are useful indicators of vascular pathology, such as atherosclerotic burden and are predictive of various cardiovascular diseases such as stroke, myocardial infarction and coronary heart disease53.

UKB participants are imaged using a CardioHealth Station (Panasonic Healthcare Corporation of America, Newark, NJ, USA), which has a 9 MHz linear array transducer. The protocol lasts 10 minutes. Both right and left carotid arteries are imaged using a 2D sweep along the transverse plane from below the carotid bifurcation to below the jaw and is repeated along the longitudinal plane. The CIMT is measured at predefined angles: 150° and 120° on the right carotid artery, and 210° and 240° on the left. A marker is placed on the screen to guide the operator in aligning the flow divider and a 10mm region of interest box is overlaid and automatically tracks the far wall of the common carotid. After three consecutive cardiac cycles, the image auto-freezes in end-diastole and records the mean, maximum, and minimum CIMT for each angle of acquisition.

All the CIMT measures are automatically generated by the device and do not require further post-processing. However, the quality of data acquisition depends highly on the operator and hence quality control is a high priority. Trained radiographers complete a manual assessment of image quality for all scans against agreed criteria, based on expected key features of the image and automated CIMT measurement54. Although vessel wall volume and plaque volume are not available as automated measures within the CardioHealth station, bespoke analysis tools to extract these measures are in development. In-depth information on the carotid ultrasound protocol and quality control process have been published elsewhere54.

12-lead electrocardiogram

Participants also undertake a 12-lead ECG assessment (GE Cardiac Acquisition Module CAM-14) during the imaging assessment. ECG can be used to detect abnormalities related to heart rhythm and electrical activity and to make inferences regarding cardiac structure55. Both major and minor ECG abnormalities have been associated with an increased risk of coronary heart disease56 and cardiovascular-related mortality57. In UKB, the ECG is performed with participants at rest on the same couch used for the carotid ultrasound. The leads are placed on the right and left forearms proximal to wrists, right and left lower legs proximal to ankles and chest with the measurement lasting 20 seconds. After acquisition, a summary page displays the results for the operating staff member to either mark as ‘complete’ or provide a reason for incomplete assessment. The ECG system includes interpretation software (GE CardioSoft system) that provides an automated output for the detection of arrhythmias and metrics reflecting electrical activity, such as PR interval, QRS duration and QT interval. The raw ECG datasets are also made available for research use.

Characteristics and data completeness for the first 40,000 participants

Table 5 summarises selected demographic and lifestyle characteristics for the participants who completed imaging between 2014 and early 2020. A high proportion have undertaken other UKB data enhancements, with almost half (44%) having worn the 7-day accelerometer, compared with 19% of the whole UKB cohort, and most have completed the web-based questionnaires.

More than 80% of participants who have undertaken imaging have complete ‘core’ datasets for each of the imaging modalities, and over 90% have complete ‘core’ datasets for the DXA and carotid ultrasound (Figure 1). For the small proportion of participants with incomplete data, approximately half arise from participant specific issues, such as inability to comply with the demands of the protocol; for example, failure to complete the brain MRI because of excessive movement (1%) or a sudden episode of claustrophobia (2.2%). Other reasons for missing data for the brain MRI include scanner failures (2 %), staffing issues (0.4%) or scheduling problems (1.1%).

Data generation, storage and access

Around 2.7GB of imaging data are generated per participant, with 500TB of storage estimated to be required for 100,000 participants. Imaging data is transferred from the scanners to the data repository via a custom-built Picture Archiving and Communication System (PACS), at the Nuffield Department of Population Health, University of Oxford. The imaging system was initially set up around a commercial PACS system, but due to the quantity and nature of the imaging workflow, a fully customised solution was essential. Images on the PACS are automatically checked for completeness and then replicated in a core archive. Incomplete data sets are flagged for manual checking and fault resolution. The PACS also has a workflow to manage and track potentially serious incidental findings, enables secure access for radiologists and specialists to view image data, write and review reports, and prepare the correspondence and imaging data for the NHS. All personal identifiers are removed before providing participant data to researchers.

The UKB resource is available to all bona fide researchers who are associated with academic and commercial institutions anywhere in the world58. Researchers must first register with UKB and can then apply to access the data for specified research projects via an online Access Management System (www.ukbiobank.ac.uk/register-apply), which consists of a brief application form and the selection of data-fields. Applications can be broad in scope as long as the aims of the project are well-defined and consist of health-related research in the public interest.

UKB became available for researchers to access in 2012, with imaging data for the first 5,000 participants available in mid-2015 and for ~40,000 participants by early 2020. Researchers can request IDPs or the scans if they wish to extract novel features. Example images for each modality are provided on the UKB Data Showcase (http://biobank.ndph.ox.ac.uk/showcase/). Imaging data are uploaded to the resource every 6-12 months in batches of 5,000-10,000 participants, so researchers can update their analyses. Researchers are expected to publish and return their results (i.e. code/syntax, derived variables) so that any imaging-derived phenotypes generated as part of a research project are incorporated back into the UKB resource and are available to others.

Repeat multi-modal imaging on 10,000 participants

Whilst imaging 100,000 participants is a unique and powerful enhancement to the UKB resource, these data are currently only collected at a single time point and many valuable insights could be gained from observing change in imaging phenotypes over time. Serial measures are necessary to explore trajectories and progression of pathological processes. Measures of change in structural MRI are a much better predictor of conversion from mild cognitive impairment to Alzheimer’s disease compared to a single measure59. Several measures collected over time can also provide more accurate information concerning trajectories of pathological processes than can a single, cross-sectional measure. For example, left ventricular mass has been shown to decrease with age in men when examined cross-sectionally, but to increase with age when examined longitudinally in the same study60. Repeated measures also enable researchers to account for random measurement error and within-person variability, known as regression dilution bias, that can bias observed associations towards the null61.

Recognising this, at least 10,000 of the imaged participants will be re-invited to undergo a complete repeat of the imaging enhancement. Invitations to participants who had attended the first imaging assessment at least 2 years previously were initiated in May 2019 for the Central region and July 2019 for the Northern region. Although still in the early stages, the response rate has been high (more than 65%), with ~3,200 participants having booked appointments to attend repeat imaging within the first seven months.

Discussion and future directions

By the early 2020, almost 50,000 participants had undertaken the imaging assessment, with 100,000 participants expected to have completed the protocol by the end of 2023. Of these, 10,000 participants are expected to have undergone a repeat of the imaging assessment by 2023. Imaging at such a large scale is unprecedented1,2. However, as only a small proportion of individuals will go on to develop certain diseases and the influences of risk factors may be small, a large sample size (i.e. in the order of 100,000) is necessary to adequately detect reliable associations with all but the most common conditions and strongest risk factors. The wealth of phenotypic and genetic data available on the UKB cohort will enable researchers to study how imaging phenotypes are related to a wide range of lifestyle, environmental and genetic factors, and to study how these antecedent factors influence disease risk through changes in tissue structure and/or function.

An advantage of the imaging enhancement is that it is embedded in an existing cohort study that has thousands of researchers worldwide actively working with the data. As of early 2020, over 1,750 UKB projects were underway, two-thirds of which had received IDPs, whilst a quarter had received the scans. Hence, whilst still in the early stages of data acquisition, the imaging data that has been collected (and which is being made available to researchers in regular tranches) has received widespread interest worldwide and is already being used to address a range of novel research questions.

Published output to date has primarily focused on exploring cross-sectional associations between lifestyle factors with IDPs. For example, higher BMI and waist-to-hip ratio have both been associated with smaller volumes in different regions of the brain62,63, whilst hypertension and other vascular risk factors have been linked with abnormal white matter microstructure and other adverse brain measures64,65. These early findings are particularly interesting as they could help us understand the mechanism through which vascular risk factors are related to neurodegenerative diseases, such as Alzheimer’s disease9. A range of cardiovascular risk factors have also been associated with cardiac structure and function66–68, although other, less obvious associations have also been identified, such as with air pollution69, menopausal hormonal therapy70 and lung function71. Novel findings are already emerging, for example diabetes has been shown to be associated with abnormal morphologies and function in all four heart chambers, whereas previously only the left ventricle was typically thought to be affected by diabetes72.

In addition to lifestyle factors, there is great interest in exploring how genetic variation is associated with imaging phenotypes, to better assess the genetic determinants of early disease and to help understand the biological mechanisms underlying disease associations. For example, a ground-breaking study that performed genome-wide association studies on over 3,000 functional and structural brain imaging phenotypes on 12,000 participants identified novel associations between genes linked to iron transport and IDPs related to lower cognitive function73. Other studies have explored the genetic determinants of regional brain volumes and measures of white matter integrity74–79. One study provided evidence that genes associated with left-handedness are linked to cortical regions involved in language80. These studies are both novel and powerful as previous genetic studies have tended to focus on a narrow selection of imaging-related outcomes and incorporate data from multiple studies (with heterogeneous data collection and analytic techniques), to achieve a sufficiently large sample size.

The brain IDPs are extracted through a fully automated pipeline (established by WIN/FMRIB) and are therefore relatively easy to integrate into the resource and provide for research use. At present, IDPs from the other imaging modalities are extracted using semi-automated or manual pipelines, which are more time consuming and less readily available. However, the sheer scale of the imaging data available in UKB is facilitating the development of new methods to extract novel IDPs structural measures from the cardiac scans28,81,82, body compositional measures from the abdominal MRI40,43,83, and measures of fat and iron from the liver MRI39,42,84. In accordance with UKB access policies, all results, including individual-level IDPs and the methods used to generate them by research users of the resource, are returned to be integrated into the resource so that they can be made available to everyone approved to use the data.

The imaging enhancement has coincided with recent major advances in applications of machine learning and AI, in particular the development of computational algorithms that can learn how to extract meaningful information from raw images85,86. This includes the automated segmentation and classification of anatomical structures as well as the detection of abnormalities. Recently, machine learning techniques such as deep learning have demonstrated enormous potential as diagnostic tools by identifying conditions on a par with experts, such as skin cancer and diabetic retinopathy29,87. Development of these algorithms requires training on thousands of images to produce robust results, making UKB an ideal dataset. For example, machine learning techniques were applied to UKB cardiac MRI scans to identify aortic valve malformations and subsequent major cardiac events88. While this analysis was performed on only the first 10,000 imaged participants, it clearly demonstrates the use of UKB as a valuable resource for AI research using the imaging data.

A key aspect of UKB is its prospective study design, which will progressively enhance its value by supporting research concerning the associations between IDPs and a range of incident health outcomes. This is important, as cross-sectional analyses cannot determine temporality of an observed association and are particularly affected by reverse causation, i.e. when the outcome influences the exposure. Data from national death and cancer registries and hospital inpatient data are available for the full cohort, with data from primary care made available for about half the cohort in late 2019. Primary care will be immensely valuable for capturing conditions often diagnosed outside of a hospital inpatient setting. For example, compared to using only death registry and hospital admissions records, incorporating primary care data could increase the number of incident cases identified in the UKB cohort by 2021 by ~150% for dementia (5,400 to 13,000 cases), by ~50% for stroke (8,300 to 12,900 cases), by over 100% for chronic obstructive pulmonary disorder (13,300 to 30,600 cases) and by ~100% for Parkinson’s disease (2,000 to 4,000 cases). Additional case ascertainment is being aided by online questionnaires which are being developed to collect information on outcomes poorly captured through medical records, such as those related to cognitive function, digestive health, pain, sleep and mental health.

External academic and commercial groups are also enhancing the resource by performing cohort-wide assays on the biological samples, including whole genome sequencing (funded by government, charity and industry), exome sequencing (led by Regeneron and a consortium of industry partners), leukocyte telomere length (University of Leicester, UK) and NMR-metabolomics (Nightingale Health).  In line with UKB return of results policy, these data will be returned to UKB and integrated into the resource to be accessible to all researchers registered with an approved application.

Conclusion

UKB is currently on course to collect detailed, high quality multi-modal imaging data on the brain, the heart, abdominal composition, bones, joints and blood vessels on 100,000 participants. UKB has also begun the process of performing repeat imaging on at least 10,000 participants. The amount of imaging data collected on such a large number of participants is truly unique. Yet it is the combination of these data with the wealth of other phenotypic, genetic and medical record information available in UKB that provides a powerful resource to address previously unanswerable research questions. Traditionally, imaging data might be perceived to be of value mainly to specialists in a narrow range of fields. However, researchers from many disciplines, including, but not limited to, epidemiologists, neuroscientists, statisticians, geneticists and psychologists, can and are using the IDPs already available from the imaging scans to conduct health-related research to provide new insights into the prevention, diagnosis and treatment of disease.

Acknowledgements

We would first like to acknowledge all UK Biobank participants for not only generously dedicating their free time to participate, but for also maintaining contact over many years which has made an imaging study of this scale possible.

LMG was funded by a Wellcome Trust Clinical Research Training Fellowship (107190/Z/15/Z). AFF acknowledges past and ongoing contributions of Le Zhang, Rahman Attar, Dr Marco Pereañez, Mohsen Farzi, Dr Jose Maria Pozo, Milton Hoz and Prof. J Mark Wilkinson on setting up the CMR and DXA quality assessment and quantitative analysis pipelines within the UKB. He also acknowledges partial support from EPSRC (EP/N026993/1) and the European Commission (FP7-ICT-2011-9-601055,H2020-SC1-PM-16-2017-777119, H2020-SC1-PM-17-2017-777090). PL acknowledges support from the NIHR Oxford Biomedical Research Centre, Oxford BHF Centre for Research Excellence and EPSRC. PMM acknowledges generous personal and research support from the Edmond J Safra Foundation and Lily Safra, an NIHR Senior Investigator Award and the UK Dementia Research Institute. SEP acknowledges support from the National Institute for Health Research Barts Biomedical Research Centre. SMS and KLM are supported by Wellcome Trust. The brain image processing is carried out on compute clusters at the Oxford Biomedical Research Computing (BMRC) facility and FMRIB (part of the Wellcome Centre for Integrative Neuroimaging). BMRC is a joint development between the Wellcome Centre for Human Genetics and the Big Data Institute, supported by Health Data Research UK and the NIHR Oxford Biomedical Research Centre.

We are grateful to Dr Eleni Kariki and the late Professor Judith Adams for their adjudication of DXA-related incidental findings, to Dr Neil Rane and formerly Dr Alan Jackson for adjudication of brain-related incidental findings, Dr Stephen Lee for adjudication of body-related incidental findings, and Dr Francesca Pugliese and formerly Dr Alexia Rossi and Dr Ermanno Capuano for adjudication of cardiac-related incidental findings. Christie’s Medical Physics provide MR safety support/advice as well as radiation protection advice. We would like to thank Mr Jonathan Price for his helpful comments on the custom built PACS and Dr Mihir Sanghvi for his contributions to the cardiac MRI section..

The following are current members of the UK Biobank Imaging Working Group; Paul Matthews, Tony Goldstone, Andrew Blamire, Steffen Petersen, Cathie Sudlow, Lorna Gibson, Alan Jackson,

Naomi Allen, Rory Collins, Paul Leeson, Karla Miller, Stefan Neubauer, Stephen Smith,

Nicholas Harvey, Jimmy Bell and E Louise Thomas.

Funding

The UK Biobank imaging project is funded by the Medical Research Council and the Wellcome Trust. The repeat imaging of 10,000 participants is funded by Dementias Platform UK.

Competing Interests

Nicholas C Harvey acknowledges consultancy/grant support/honoraria from Alliance for Better Bone Health, AMGEN, UCB, Radius Health, MSD, Eli Lilly, Servier, Shire, Consilient Healthcare and Internis Pharma, outside the submitted work. Paul Leeson acknowledges grant support from Lantheus Medical Imaging and Fukuda, consultancy fees from Intelligent Ultrasound and is a non-executive director of Ultromics. Steffen E Petersen acknowledges consultancy fees from Circle Cardiovascular Imaging Inc., Calgary, Alberta, Canada. Paul Matthews acknowledges consultancy fees from Roche, Adelphi Communications, Celgene and Biogen.  He has received honoraria or speakers’ honoraria from Novartis, Biogen and Roche and has received research or educational funds from Biogen, Novartis, GlaxoSmithKline and Nodthera. He is a member of the Scientific Advisory Board to the Board of Ipsen Pharmaceuticals. The remaining authors declare no competing interests.

Author Contributions

TJL developed the concept for the review and drafted the manuscript with input and guidance from NEA. The ‘invitation process’ section was drafted by JH and the ‘incidental findings’ section by LMG, JS and PMM. All authors edited, critically reviewed and approved the final version of the manuscript. LMG, JB, RC, NCH, PL, KM, SN, SEP, SSm, CLMS and PMM led in the conceptual design of the UK Biobank Enhancement and SG, CB, RC, NC, ND, NO, JS, SSh, CLMS, NEA and PMM contributed to its implementation. SG, FAA, AF, NC, NO and SSm additionally led in data quality control and establishing initial data processing pipelines.

Any general queries regarding the UK Biobank imaging enhancement should be directed to enquiries@ukbiobank.ac.uk

Figure Legends

Figure 1 - Flow chart of participation in the UK Biobank multi-modal imaging study

Note that as the invitation process is ongoing, this flow-chart is only accurate as of early 2020. For example, some participants classified as ‘no response’ might attend the imaging enhancement in future.

Table 1 - Quality control performed on brain, cardiac and abdominal MRI, DXA and carotid ultrasound sequences/images during the pilot study

| Imaging modality | Assessor | Sequence/images assessed | Number images assessed | Quality control metrics | Passed quality control (%) |
| --- | --- | --- | --- | --- | --- |
| Brain MRI | FMRIB | T1 | 2,957 | Similarity to template after non-linear registration (alignment) | 99 |
|  |  |  |  | Signal to noise | 99 |
|  |  |  |  | Contrast to noise | 99 |
|  |  | T2/Flair | 2,957 | Similarity to T1 after linear registration | 99 |
|  |  | T2* (magnitude image) | 2,957 | Similarity to T1 after linear registration | 100 |
|  |  | Resting fMRI | 2,957 | Similarity to T1 after linear registration | 100 |
|  |  |  |  | Temporal signal to noise | 99 |
|  |  |  |  | High subject head motion | 96 |
|  |  | Task fMRI | 2,957 | Similarity to T1 after linear registration | 100 |
|  |  |  |  | Temporal signal to noise | 98 |
|  |  |  |  | High subject head motion | 96 |
|  |  | Diffusion MRI | 2,957 | Similarity to T1 after linear registration | 100 |
|  | BioMedIA | T1 | 100 | Whole brain tissue segmentation | 100 |
|  | INRIA Asclepios | T1 | 100 | Cortical segmentation | 100 |
| Cardiac MRI | BioMedIA | Short-axis, cine views | 100 | Segmentation of myocardium and ventricular blood pools | 100 |
|  | INRIA Asclepios | Short-axis cine views | 100 | Visual inspection | 85 |
|  |  |  |  | Automated displacement and strain analyses | 100 |
|  | QMUL | All images | 100 | Manual “reference” analysis of all proposed IDPs feasible, excellent intra-observer variability of all IDPs | 100 |
|  | Oxford | ShMOLLI TI map | 100 | TI mapping | 90 |
|  | Yale | Short-axis, cine views | 100 | Visual inspection, processing pipeline works | 100 |
|  | Sheffield | Short-axis, cine views | 100 | Visual assessment, segmentation of myocardium and blood pools, image registration | 100 |
|  | Auckland | Automatic in line LV function | 100 | Comparison to manual analysis | 99 |
|  | Oxford UKB cluster | Automatic in line LV function | 3,456 | Automated extraction of LV measures | 99 |
| Abdominal MRI | BioMedIA | Dixon whole body | 100 | “Stitching” 6 scan stations for whole body reconstruction (24 scans per subject) | 93 |
|  | Prof. Jimmy Bell | T1 | 100 | Visual | 96 |
|  |  | T2* | 100 | Visual | 95 |
|  |  | Dixon | 100 | Visual | 96 |
|  | AMRA | Dixon abdomen station images | 100 | Semi-automated tissue segmentation | 99.7 |
|  |  | Dixon thigh station images | 100 | Semi-automated multi-atlas tissue segmentation | 98.1 |
|  | Perspectum | Liver | 100 | Semi-automated fibrosis index | 96 |
|  |  |  | 100 | Semi-automated steatosis measure | 99 |
|  |  |  | 100 | Semi-automated haemosiderosis measure | 99 |
| DXA | Dr Nicola Crabtree | DXA | 1,837 | Visual comparison versus gold standard | 99 |
|  |  |  |  | Quantitative comparison of all measures versus those re-derived by expert | 99 |
|  | GE iDXA device | DXA | 3,222 | Total and region-specific bone mineral density measures | 99-100 |
|  |  |  |  | Total and region-specific body composition measures | 96-100 |
| Carotid Ultrasound | UKB senior radiographer and Prof. Paul Leeson | Right and left carotid images | 1,994 | Visual comparison versus expert gold standard | 99 |
|  | Panasonic imaging device | Right and left carotid images | 3,107 | Right and left carotid intima-media thickness | 96-991 |

DXA, dual-energy X-ray absorptiometry, fMRI, functional magnetic resonance imaging, IDP, imaging derived phenotype, LV, left ventricle, MRI, magnetic resonance imaging. UKB, UK Biobank

1   96% ≥2 sets of measures obtained from both left and right carotids; 99% ≥1 set of measures obtained from left or right carotid

Table 2 - Selected parameters of brain MRI protocols

| Protocol Name | Spacing (mm) | Thickness (mm) | Image matrix (columns x rows) | Numbers of slices | TE (ms) | Bandwidth Hz/pixel | TR (ms) | TI (ms) | Flip angle (degrees) | Acceleration |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MPRAGE | 1.0 | 1.0 | 256 x 256 | 208 | 2.01 | 240 | 2000 | 880 | 8 | iPAT 2 |
| Rest fMRI | 2.39 | 2.4 | 88 x 88 | 64 | 42.4 | 2030 | 735 |  | 51 | MB 8 |
| FLAIR | 1.0 | 1.05 | 256 x 256 | 192 | 395 | 780 | 5000 | 1800 | 120, variable | iPAT 2 |
| dMRI1 | 2.02 | 2.0 | 104 x 104 | 72 | 92 | 1780 | 3600 |  | 78 | MB 3 |
| SWI | 0.8 | 3.0 | 256 x 288 | 48 | 9.42, 19.7 | 140 | 27 |  | 15 | None |
| Task fMRI | 2.39 | 2.4 | 88 x 88 | 64 | 42.4 | 2030 | 735 |  | 51 | MB 8 |

dMRI, diffusion MRI, FLAIR, Fluid-attenuated inversion recovery, fMRI, functional MRI (echo-planar imaging), Hz, Hertz, iPAT, image acceleration factor, MB, multi-band factors, mm, millimetre, ms, millisecond, MPRAGE, magnetization-prepared rapid acquisition with gradient echo sequence for T1-weighted contrast, SWI, susceptibility-weighted imaging

#### 1 Multi-band excitation and reconstruction protocols were kindly provided by the Center for Magnetic Resonance Research in the Department of Radiology of the University of Minnesota, USA.

Table 3 – Selected parameters of cardiac MRI protocols

| Protocol Name | Spacing (mm) | Thickness (mm) | Image matrix (columns x rows) | Number of slices | TE (ms) | Bandwidth (Hz/pixel) | TR (ms) | Alpha in degrees | Acceleration |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LAX | 1.9 | 6 | 210 x 208 | 50 | 1.16 | 925 | 32 | 65 | iPAT 2 |
| SAX | 1.8 | 8 | 210 x 208 | 50 | 1.1 | 925 | 32 | 10 | iPAT 2 |
| shMOLLI | 0.9375 | 8 | var x 384 | 7 | 1.073 | 900 | 400 | 35 | iPAT 2 |
| Aorta | 1.58 | 6 | 240 x 196 | 100 | 1.17 | 905 | 28 | 66 | iPAT 2 |
| LVOT | 1.9 | 6 | 210 x 208 | 50 | 1.16 | 925 | 32 | 65 | iPAT 2 |
| FLOW | 1.77 | 6 | 192 x192 | 30 | 2.47 | 450 | 37.12 | 20 | iPAT 2 |
| TAGGING | 1.38 | 8 | 256 x 256 | variable | 3.89 | 185 | 40.95 | 12 | None |

Hz, Hertz, iPAT, image acceleration factor, LAX, long-axis view imaging, LVOT, left ventricular outflow tract/aortic valve imaging, mm, millimetre, ms, millisecond, SAX, short-axis view imaging; shMOLLI,  shortened modified Look-Locker imaging

Table 4 – Selected parameters of body MRI protocol

| Protocol Name | Spacing (mm) | Thickness (mm) | Image matrix (columns x rows) | Number of slices | TE (ms) | Bandwidth (Hz/pixel) | TR (ms) | Alpha in degrees | Acceleration |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Dixon Stage 1 | 2.232 | 3 | 224 x 168 | 64 | 2.39, 4.77 | 440 | 6.67 | 10 | None |
| Dixon Stage 2 | 2.232 | 4.5 | 224 x 174 | 44 | 2.39, 4.77 | 440 | 6.69 | 10 | None |
| Dixon Stage 3 | 2.232 | 4.5 | 224 x 174 | 44 | 2.39, 4.77 | 440 | 6.69 | 10 | None |
| Dixon Stage 4 | 2.232 | 4.5 | 224 x 174 | 44 | 2.39, 4.77 | 440 | 6.69 | 10 | None |
| Dixon Stage 5 | 2.232 | 3.5 | 224 x 162 | 72 | 2.39, 4.77 | 440 | 6.69 | 10 | None |
| Dixon Stage 6 | 2.232 | 4 | 224 x 156 | 64 | 2.39, 4.77 | 440 | 6.69 | 10 | None |
| shMOLLI Liver | 1.146 | 8 | 384 x 288 | 7 | 1.93 | 245 | 480.6 | 35 | iPAT 2 |
| LMS | 1.719 | 10 | 256 x 232 | 6 | 1.2 (min) 7.2 (max) | 1565 | 14 | 5 | None |
| VIBE | 1.1875 | 1.6 | 320 x 260 | 52 | 1.15 | 650 | 3.11 | 10 | iPAT 2 |
| shMOLLI Pancreas | 1.146 | 8 | 384 x 288 | 7 | 1.93 | 245 | 480.6 | 35 | iPAT 2 |
| ME GRE Pancreas | 2.5 | 6 | 160 x 160 | 10 | 2.38(min) 23.8(max) | 710 | 27 | 20 | None |

Hz, Hertz, iPAT, image acceleration factor, LMS, LiverMultiScan protocol incorporating abdominal T1-weighted T2* and proton density fat fraction mapping, ME GRE, multi-echo gradient echo imaging, mm, millimetre, ms, milliseconds, shMOLLI, shortened modified Look-Locker imaging, VIBE, volumetric interpolated breath-hold examination

Table 5 - Characteristics and data completion for the first 48,000 participants who attended the imaging enhancement

|  | Imaged participants |  | Non imaged participants |
| --- | --- | --- | --- |
|  | At imaging % | At baseline % | At baseline % |
| Characteristic |  |  |  |
| Age, mean (SD) | 64 (7.5) | 55. (7.6) | 56. (8.1) |
| Females | 52 | 52 | 55 |
| Professional qualifications | 74 | 73 | 58 |
| Non-white ethnic background | 3 | 3 | 6 |
| BMI ≥30 kg/m2 | 19 | 18 | 25 |
| Current Smoker | 3 | 6 | 11 |
| Completed following enhancements |  |  |  |
| Physical activity monitor | 44 |  | 18 |
| Online questionnaires |  |  |  |
| 24 hour dietary recall at least once | 60 |  | 32 |
| Cognitive function | 54 |  | 22 |
| Occupational history | 55 |  | 21 |
| Mental health | 69 |  | 27 |
| Digestive health | 77 |  | 30 |
| Repeat of baseline assessment during 2011-2012 (not imaging) | 17 |  | 3 |

BMI, body mass index. SD, Standard Deviation

References

1.	Ikram, M. A. et al. The Rotterdam Scan Study: design update 2016 and main findings. Eur. J. Epidemiol. 30, 1299–315 (2015).

2.	Bild, D. E. et al. Multi-Ethnic Study of Atherosclerosis: objectives and design. Am. J. Epidemiol. 156, 871–81 (2002).

3.	Bamberg, F. et al. Whole-body MR imaging in the German National Cohort: rationale, design, and technical background. Radiology 277, 206–220 (2015).

4.	Sudlow, C. et al. UK Biobank: an open access resource for identifying the causes of a wide range of complex diseases of middle and old age. PLOS Med. 12, 1–10 (2015).

This paper provides a comprehnsive overview of the UK Biobank resource, including rationale, recruitment and data collection.

5.	Fry, A. et al. Comparison of sociodemographic and health-related characteristics of UK Biobank participants with those of the general population. Am. J. Epidemiol. 186, 1026–1034 (2017).

6.	Littlejohns, T. J., Sudlow, C., Allen, N. E. & Collins, R. UK Biobank: opportunities for cardiovascular research. Eur. Heart J. 40, 1158–1166 (2019).

7.	Bycroft, C. et al. The UK Biobank resource with deep phenotyping and genomic data. Nature 562, 203–209 (2018).

8.	UK Biobank. UK Biobarker Panel. (2015). Available at: http://www.ukbiobank.ac.uk/wp-content/uploads/2013/11/BCM023_ukb_biomarker_panel_website_v1.0-Aug-2015.pdf.

9.	Livingston, G. et al. Dementia prevention, intervention, and care. Lancet 6736, (2017).

10.	Thomas, E. L., Frost, G., Taylor-Robinson, S. D. & Bell, J. D. Excess body fat in obese and normal-weight subjects. Nutr. Res. Rev. 25, 150–161 (2012).

11.	UK Biobank. Protocol for a large-scale prospective epidemiological resource. (2006). Available at: www.ukbiobank.ac.uk/resources/. (Accessed: 15th January 2019)

12.	Gibson, L. M. et al. Impact of detecting potentially serious incidental findings during multi-modal imaging. Wellcome Open Res. 2, 114 (2018).

This paper provides evidence for the approach to incidental findings in the UK Biobank imaging enhancement

13.	Jack, C. R. et al. Hypothetical model of dynamic biomarkers of the Alzheimer’s pathological cascade. Lancet Neurol. 9, 119–128 (2010).

14.	Turner, B. O., Paul, E. J., Miller, M. B. & Barbey, A. K. Small sample sizes reduce the replicability of task-based fMRI studies. Commun. Biol. 1, 62 (2018).

15.	Debette, S. & Markus, H. S. The clinical importance of white matter hyperintensities on brain magnetic resonance imaging: systematic review and meta-analysis. BMJ 341, (2010).

16.	Liu, S. et al. Susceptibility-weighted imaging: current status and future directions. NMR Biomed. 30, (2017).

17.	Hariri, A. R., Tessitore, A., Mattay, V. S., Fera, F. & Weinberger, D. R. The amygdala response to emotional stimuli: a comparison of faces and scenes. Neuroimage 17, 317–23 (2002).

18.	Miller, K. L. et al. Multimodal population brain imaging in the UK Biobank prospective epidemiological study. Nat. Neurosci. 19, 1523–1536 (2016).

This paper describes the brain MRI protocol used in the UK Biobank imaging enhancement

19.	Alfaro-Almagro, F. et al. Image processing and Quality Control for the first 10,000 brain imaging datasets from UK Biobank. Neuroimage 0–32 (2017).

This paper documents the quality control approach used for processing the brain MRI data

20.	Levy, D., Garrison, R. J., Savage, D. D., Kannel, W. B. & Castelli, W. P. Prognostic implications of echocardiographically determined left ventricular mass in the Framingham Heart Study. N. Engl. J. Med. 322, 1561–6 (1990).

21.	Solomon, S. D. et al. Influence of ejection fraction on cardiovascular outcomes in a broad spectrum of heart failure patients. Circulation 112, 3738–44 (2005).

22.	Benjamin, E. J., D’Agostino, R. B., Belanger, A. J., Wolf, P. A. & Levy, D. Left atrial size and the risk of stroke and death. The Framingham Heart Study. Circulation 92, 835–41 (1995).

23.	Redheuil, A. et al. Proximal aortic distensibility is an independent predictor of all-cause mortality and incident CV events: the MESA study. J. Am. Coll. Cardiol. 64, 2619–2629 (2014).

24.	Victor, R. G. et al. The Dallas Heart Study: a population-based probability sample for the multidisciplinary study of ethnic differences in cardiovascular health. Am. J. Cardiol. 93, 1473–80 (2004).

25.	Carr, J. J. The revolution in risk assessment and disease detection made possible with non-invasive imaging: implications for population science. Ethn. Dis. 22, S1-24–7 (2012).

26.	Petersen, S. E. et al. UK Biobank’s cardiovascular magnetic resonance protocol. J. Cardiovasc. Magn. Reson. 18, 8 (2015).

This paper describes the cardiac MRI protocol used in the UK Biobank imaging enhancement

27.	Petersen, S. E. et al. Reference ranges for cardiac structure and function using cardiovascular magnetic resonance (CMR) in Caucasians from the UK Biobank population cohort. J. Cardiovasc. Magn. Reson. 19, 18 (2017).

28.	Bai, W. et al. Automated cardiovascular magnetic resonance image analysis with fully convolutional networks. J. Cardiovasc. Magn. Reson. 20, 65 (2018).

29.	Gulshan, V. et al. Development and validation of a deep learning algorithm for detection of diabetic retinopathy in retinal fundus photographs. JAMA 316, 2402–2410 (2016).

30.	Zhang, L. et al. Automatic Assessment of Full Left Ventricular Coverage in Cardiac Cine Magnetic Resonance Imaging with Fisher Discriminative 3D CNN. IEEE Trans. Biomed. Eng. (2018).

31.	Attar, R. et al. Quantitative CMR population imaging on 20,000 subjects of the UK Biobank imaging study: LV/RV quantification pipeline and its evaluation. Med. Image Anal. 56, 26–42 (2019).

32.	Petersen, S. E. et al. Imaging in population science: cardiovascular magnetic resonance in 100,000 participants of UK Biobank - rationale, challenges and approaches. J. Cardiovasc. Magn. Reson. 15, 46 (2013).

33.	Thomas, E. L. et al. The missing risk: MRI and MRS phenotyping of abdominal adiposity and ectopic fat. Obesity 20, 76–87 (2012).

34.	Mahabadi, A. A. et al. Association of pericardial fat, intrathoracic fat, and visceral abdominal fat with cardiovascular disease burden: the Framingham Heart Study. Eur. Heart J. 30, 850–6 (2009).

35.	Britton, K. A. et al. Body fat distribution, incident cardiovascular disease, cancer, and all-cause mortality. J. Am. Coll. Cardiol. 62, 921–5 (2013).

36.	Kuk, J. L. et al. Visceral fat is an independent predictor of all-cause mortality in men. Obesity 14, 336–41 (2006).

37.	Utzschneider, K. M. & Kahn, S. E. Review: The role of insulin resistance in nonalcoholic fatty liver disease. J. Clin. Endocrinol. Metab. 91, 4753–61 (2006).

38.	Zoller, H. & Tilg, H. Nonalcoholic fatty liver disease and hepatocellular carcinoma. Metabolism 65, 1151–60 (2016).

39.	McKay, A. et al. Measurement of liver iron by magnetic resonance imaging in the UK Biobank population. PLoS One 13, e0209340 (2018).

40.	Linge, J. et al. Body Composition Profiling in the UK Biobank Imaging Study. Obesity 26, 1785–1795 (2018).

41.	Banerjee, R. et al. Multiparametric magnetic resonance for the non-invasive diagnosis of liver disease. J. Hepatol. 60, 69–77 (2014).

42.	Wilman, H. R. et al. Characterisation of liver fat in the UK Biobank cohort. PLoS One 12, e0172921 (2017).

43.	West, J. et al. Feasibility of MR-based body composition analysis in large scale population studies. PLoS One 11, e0163332 (2016).

44.	El Maghraoui, A. & Roux, C. DXA scanning in clinical practice. QJM 101, 605–617 (2008).

45.	World Health Organisation. Assessment of fracture risk and its application to screening for postmenopausal osteoporosis: report of a WHO study group. (1994).

46.	Yoshida, K. et al. Reproducibility and diagnostic accuracy of Kellgren-Lawrence grading for osteoarthritis using radiographs and Dual-Energy X-ray Absorptiometry images. J. Clin. Densitom. 18, 239–44

47.	Black, D. M. et al. Comparison of methods for defining prevalent vertebral deformities: the Study of Osteoporotic Fractures. J. Bone Miner. Res. 10, 890–902 (1995).

48.	Leslie, W. D., Ludwig, S. M. & Morin, S. Abdominal fat from spine dual-energy x-ray absorptiometry and risk for subsequent diabetes. J. Clin. Edocrinology Metab. 95, 3272–6 (2010).

49.	Schott, A. M. et al. How hip and whole-body bone mineral density predict hip fracture in elderly women: the EPIDOS Prospective Study. Osteoporos. Int. 8, 247–54 (1998).

50.	Harvey, N. C., Matthews, P., Collins, R., Cooper, C. & UK Biobank Musculoskeletal Advisory Group. Osteoporosis epidemiology in UK Biobank: a unique opportunity for international researchers. Osteoporos. Int. 24, 2903–5 (2013).

51.	Kim, H. S., Jeong, E. S., Yang, M. H. & Yang, S.-O. Bone mineral density assessment for research purpose using dual energy X-ray absorptiometry. Osteoporos. Sarcopenia 4, 79–85 (2018).

52.	Lee, W. General principles of carotid Doppler ultrasonography. Ultrasonography 33, 11–7 (2014).

53.	Stein, J. H. et al. Use of Carotid Ultrasound to identify subclinical vascular disease and evaluate cardiovascular disease risk: a consensus statement from the American Society of Echocardiography Carotid Intima-Media Thickness Task Force endorsed by the Society for Vascular. J. Am. Soc. Echocardiogr. 21, 93–111 (2008).

54.	Coffey, S. et al. Protocol and quality assurance for carotid imaging in 100,000 participants of UK Biobank: development and assessment. Eur. J. Prev. Cardiol. 24, 1799–1806 (2017).

This paper describes the carotid ultrasound protocol used in the UK Biobank imaging enhancement

55.	Biering-Sørensen, T. et al. Global ECG measures and cardiac structure and function: The ARIC Study (Atherosclerosis Risk in Communities). Circ. Arrhythm. Electrophysiol. 11, e005961 (2018).

56.	Auer, R. et al. Association of major and minor ECG abnormalities with coronary heart disease events. JAMA 307, 1497–505 (2012).

57.	Denes, P., Larson, J. C., Lloyd-Jones, D. M., Prineas, R. J. & Greenland, P. Major and minor ECG abnormalities in asymptomatic women and risk of cardiovascular events and mortality. JAMA 297, 978–85 (2007).

58.	Conroy, M. et al. The advantages of UK Biobank’s open access strategy for health research. J. Intern. Med. (2019).

59.	McEvoy, L. K. et al. Mild cognitive impairment: baseline and longitudinal structural MR imaging measures improve predictive prognosis. Radiology 259, 834–43 (2011).

60.	Eng, J. et al. Adverse left ventricular remodeling and age assessed with cardiac MR imaging: The Multi-Ethnic Study of Atherosclerosis. Radiology 278, 714–22 (2016).

61.	Clarke, R. et al. Underestimation of risk associations due to regression dilution in long-term follow-up of prospective studies. Am. J. Epidemiol. 150, 341–353 (1999).

62.	Hamer, M. & Batty, G. D. Association of body mass index and waist-to-hip ratio with brain structure. Neurology (2019).

63.	Dekkers, I. A., Jansen, P. R. & Lamb, H. J. Obesity, brain volume, and white matter microstructure at MRI: a cross-sectional UK Biobank study. Radiology 181012 (2019).

64.	Suzuki, H. et al. Abnormal brain white matter microstructure is associated with both pre-hypertension and hypertension. PLoS One 12, e0187600 (2017).

65.	Cox, S. R. et al. Associations between vascular risk factors and brain MRI indices in UK Biobank. Eur. Heart J. 44, 511253 (2019).

66.	Woodbridge, S. P. et al. Physical activity and left ventricular trabeculation in the UK Biobank community-based cohort study. Heart (2019).

67.	Petersen, S. E. et al. The impact of cardiovascular risk factors on cardiac structure and function: Insights from the UK Biobank imaging enhancement study. PLoS One 12, e0185114 (2017).

68.	Hendriks, T. et al. Effect of systolic blood pressure on left ventricular structure and function. Hypertension 1–7 (2019).

69.	Aung, N. et al. Association between ambient air pollution and cardiac morpho-functional phenotypes. Circulation 138, 2175–2186 (2018).

70.	Sanghvi, M. M. et al. The impact of menopausal hormone therapy (MHT) on cardiac structure and function: insights from the UK Biobank imaging enhancement study. PLoS One 13, e0194015 (2018).

71.	Thomson, R. J. et al. Variation in lung function and alterations in cardiac structure and function - analysis of the UK Biobank cardiovascular magnetic resonance imaging substudy. PLoS One 13, e0194434 (2018).

72.	Jensen, M. T. et al. Changes in cardiac morphology and function in individuals with diabetes mellitus: the UK Biobank Cardiovascular Magnetic Resonance aubstudy. Circ. Cardiovasc. Imaging 12, e009476 (2019).

73.	Elliott, L. T. et al. Genome-wide association studies of brain imaging phenotypes in UK Biobank. Nature 562, 210–216 (2018).

74.	Ge, T. et al. The shared genetic basis of educational attainment and cerebral cortical morphology. Cereb. Cortex 1–23 (2018).

75.	Lyall, D. M. et al. Association between APOE e4 and white matter hyperintensity volume, but not total brain volume or white matter integrity. Brain Imaging Behav. 1–9 (2019).

76.	Wigmore, E. M. et al. Do regional brain volumes and major depressive disorder share genetic architecture? A study of Generation Scotland (n=19 762), UK Biobank (n=24 048) and the English Longitudinal Study of Ageing (n=5766). Transl. Psychiatry 7, e1205 (2017).

77.	Reus, L. M. et al. Association of polygenic risk for major psychiatric illness with subcortical volumes and white matter integrity in UK Biobank. Sci. Rep. 7, 42140 (2017).

78.	Rutten-Jacobs, L. C. A. et al. Genetic study of white matter integrity in UK Biobank (N=8448) and the overlap with stroke, depression, and dementia. Stroke 49, 1340–1347 (2018).

79.	Traylor, M. et al. Genetic variation in PLEKHG1 is associated with white matter hyperintensities (n = 11,226). Neurology 92, e749–e757 (2019).

80.	Wiberg, A. et al. Handedness, language areas and neuropsychiatric diseases: insights from brain imaging and genetics. Brain 1–10 (2019).

81.	Suinesiaputra, A. et al. Fully-automated left ventricular mass and volume MRI analysis in the UK Biobank population cohort: evaluation of initial results. Int. J. Cardiovasc. Imaging 34, 281–291 (2018).

82.	Biasiolli, L. et al. Automated localization and quality control of the aorta in cine CMR can significantly accelerate processing of the UK Biobank population data. PLoS One 14, e0212272 (2019).

83.	Borga, M. et al. Advanced body composition assessment: from body mass index to body composition profiling. J. Investig. Med. (2018). doi:10.1136/jim-2018-000722

84.	Hutton, C., Gyngell, M. L., Milanesi, M., Bagur, A. & Brady, M. Validation of a standardized MRI method for liver fat and T2* quantification. PLoS One 13, e0204175 (2018).

85.	Krizhevsky, A., Sutskever, I. & Hinton, G. E. ImageNet classification with deep convolutional neural networks. Adv. Neural Inf. Process. Syst. (2012).

86.	Litjens, G. et al. A survey on deep learning in medical image analysis. Med. Image Anal. 42, 60–88 (2017).

87.	Esteva, A. et al. Dermatologist-level classification of skin cancer with deep neural networks. Nature 542, 115–118 (2017).

88.	Fries, J. A. et al. Weakly supervised classification of aortic valve malformations using unlabeled cardiac MRI sequences. Nat. Commun. 10, 3111 (2019).