Comparative analysis of gene expression platforms for subtyping DLBCL shows high concordance.

Sophia Ahmed, Paul Glover, Jan Taylor, Chulin Sha, Matthew Care, Reuben Tooze, Andrew Davies, David Westhead, Peter Johnson, Cathy Burton, Sharon Barrans.

Supplementary Materials and Methods.

Affymetrix Transcriptome Arrays.

Transcriptome Arrays were generated using Affymetrix Primeview Human Gene Expression Assay following the manufacturer’s protocol.  They were stained and washed using the Affymetrix 450 Fluidics Station and arrays were scanned using the GeneChip® Scanner 3000 7 G (Affymetrix Inc.) to produce cel files for gene expression.

DASL

Illumina WG-DASLTM was performed according to Illumina protocols using 200 ng total RNA, and HumanRef-8 V4 arrays. Arrays were scanned on the Illumina BeadArray reader, data processed using GenomeStudio (Illumina United Kingdom), and exported as a text file.

HTG

HTG gene expression data was generated using the HTG EdgeSeq DLBCL Cell of Origin Assay.   Starting material was either extracted RNA as described above or tissue sections from slides according to the manufactures protocol.  Final libraries were pooled according to the HTG recommendations prepared for sequencing with the MiSeq Reagent Kit v2 300 cycles (Illumina).

RNAseq

Libraries were prepared using the Illumina RNA Exome kit following the manufacturer’s protocol.   Final library four-plex pools were quantitated using the Qubit Fluorimeter, and also checked for quality using the Agilent tapestation.  Library pools were then further pooled into groups of 16 samples for sequencing with TG NextSeq® 500/550 High Output Kit v2 150 cycles (Illumina).

# References

1.	Andrew, S., FastQC:  A Quality Control Tool for High Throughput Sequence Data 2010: http://www.bioinformatics.babraham.ac.uk/projects/fastqc/.

2.	Martin, M., Cutadapt removes adapter sequences from high-throughput sequencing reads. EMBnet.Journal, 2011. 17(1): p. 10-12.

3.	Dobin, A.D., C.A.; Schlesinger, F; Drenkow,J; Zaleski, C; Jha, S; Batut, P; Chaison, M; Gingeras, T.R., STAR: ultrafast universal RNA-seq aligner. Bioinformatics, 2013. 29(1): p. 15-21.

4.	Liao , Y.S., G.K.; Shi W., featureCounts: an efficient general purpose program for assigning sequence reads to genomic features. Bioinformatics, 2014. 30(7): p. 923-930.

5.	Gautier, L.C., L; Bolstad, Benjamin, B.; Irizarry, R, affy—analysis of Affymetrix GeneChip data at the probe level. Bioinformatics, 2004. 20(3): p. 307-315.

Supplemental Table S1:  Samples grid for case selection.

|  | DASL | HTG | Affy | RNAseq |
| --- | --- | --- | --- | --- |
| DASL (D) | 286 |  |  |  |
| HTG (H) | 237 | 248 |  |  |
| Affy (A) | 137 | 115 | 137 |  |
| RNAseq (R) | 85 | 74 | 69 | 90 |
| D / H / A |  | 115 |  |  |
| D / H / A / R |  |  | 68 |  |

Supplemental Figure:   Confidence values for the samples analysed by all 4 methods (red points, n=68) compared to the total number of samples in the study (black points, n=286). These plots show that the selected samples demonstrate a range of confidences as seen in the original dataset.

1a:  ABC 4-way Confidence, 1b: UNC 4-way Confidence, 1c:  GCB 4-way Confidence.

1a

1b

1c

Supplemental Table S2: Technical Comparison of Gene Expression Platforms

|  | Platform (cost per sample) | Input requirements |  |  | Pipeline for obtaining gene expression values and COO classification |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Input type | Quantity | QC | Classifier genes represented |  | Software/pipeline for analysis |
|  |  |  |  |  | genes | DAC |  |
| Illumina | DASL | RNA | >50ng | NA | 27,000 | 20/20 | Expression analysis in Illumina Genomestudio; COO classification in DAC. |
|  | RNA Exome | RNA | 20–100ng | DV200 > 30% | 21,415 | 20/20 | Fastq files checked in fastqc [1] Quality filtering and trimming in Cutadapt [2]. Libraries aligned to human genome Gencode release 28 (GRCh38.p12) using STAR aligner [3]. Raw counts per gene were generated using the featureCounts [4] implemented in Rsubreads. COO classification in DAC. |
| Affymetrix | Primeview | RNA | 50ng (20–200ng) | 260:280 (≥1.8). | >20,000 | 20/20 | Expression data obtained from gene level intensities, extracted from the cel files using the Affy package [5] R v3.4.2. COO classification in DAC. |
| HTG | HTG-DLBCL panel | RNA or FFPE section | 25ng RNA/ 0.5mm2 section | NA | 92 | 13/20 | HTG onboard CE-IvD COO classifier |

Supplemental Table S3.   COO classification of n=68 DLBCL samples on four GEP platforms.  All gene expression data from the different platforms were analysed using the DAC (DLBCL Automatic Classifier) except HTG data (final column) was classified using the HTG native onboard analysis.  DAC confidence for DASL classification is shown in column two. Mismatches are highlighted in red (ABC/GCB and mismatch involving unclassified respectively).

| Sample | DASL | DASL confidence | Affy | RNAseq | HTG |
| --- | --- | --- | --- | --- | --- |
| 1 | ABC | 0.863 | ABC | ABC | ABC |
| 2 | ABC | 0.86 | ABC | ABC | ABC |
| 3 | ABC | 0.842 | ABC | ABC | ABC |
| 4 | ABC | 0.827 | ABC | ABC | ABC |
| 5 | ABC | 0.791 | ABC | ABC | ABC |
| 6 | ABC | 0.787 | ABC | ABC | ABC |
| 7 | ABC | 0.778 | ABC | ABC | ABC |
| 8 | ABC | 0.73 | ABC | ABC | ABC |
| 9 | ABC | 0.679 | ABC | ABC | ABC |
| 10 | ABC | 0.724 | ABC | ABC | ABC |
| 11 | ABC | 0.615 | ABC | ABC | ABC |
| 12 | ABC | 0.539 | GCB | ABC | ABC |
| 13 | ABC | 0.517 | UNC | ABC | ABC |
| 14 | ABC | 0.513 | ABC | ABC | ABC |
| 15 | ABC | 0.506 | ABC | ABC | ABC |
| 16 | ABC | 0.497 | ABC | ABC | ABC |
| 17 | ABC | 0.477 | ABC | ABC | ABC |
| 18 | ABC | 0.459 | ABC | ABC | ABC |
| 19 | ABC | 0.456 | ABC | ABC | ABC |
| 20 | ABC | 0.435 | ABC | ABC | ABC |
| 21 | ABC | 0.427 | ABC | ABC | ABC |
| 22 | ABC | 0.36 | ABC | ABC | ABC |
| 23 | UNC | 0.545 | ABC | ABC | ABC |
| 24 | UNC | 0.608 | UNC | UNC | GCB |
| 25 | UNC | 0.817 | UNC | GCB | UNC |
| 26 | UNC | 0.821 | ABC | ABC | ABC |
| 27 | UNC | 0.86 | UNC | UNC | UNC |
| 28 | UNC | 0.874 | UNC | UNC | ABC |
| 29 | UNC | 0.521 | GCB | GCB | GCB |
| 30 | UNC | 0.467 | ABC | ABC | UNC |
| 31 | UNC | 0.455 | UNC | UNC | GCB |
| 32 | UNC | 0.384 | UNC | UNC | ABC |
| 33 | GCB | 0.397 | GCB | GCB | GCB |
| 34 | GCB | 0.467 | GCB | GCB | UNC |
| 35 | GCB | 0.47 | ABC | ABC | ABC |
| 36 | GCB | 0.516 | GCB | GCB | GCB |
| 37 | GCB | 0.524 | GCB | GCB | GCB |
| 38 | GCB | 0.527 | GCB | UNC | GCB |
| 39 | GCB | 0.55 | ABC | ABC | GCB |
| 40 | GCB | 0.587 | GCB | ABC | GCB |
| 41 | GCB | 0.608 | GCB | GCB | GCB |
| 42 | GCB | 0.611 | GCB | GCB | ABC |
| 43 | GCB | 0.623 | GCB | GCB | GCB |
| 44 | GCB | 0.687 | UNC | GCB | GCB |
| 45 | GCB | 0.691 | GCB | UNC | GCB |
| 46 | GCB | 0.712 | GCB | GCB | GCB |
| 47 | GCB | 0.717 | UNC | UNC | GCB |
| 48 | GCB | 0.757 | GCB | GCB | GCB |
| 49 | GCB | 0.774 | GCB | GCB | GCB |
| 50 | GCB | 0.775 | GCB | GCB | GCB |
| 51 | GCB | 0.777 | GCB | GCB | GCB |
| 52 | GCB | 0.786 | GCB | GCB | GCB |
| 53 | GCB | 0.788 | GCB | GCB | GCB |
| 54 | GCB | 0.848 | GCB | GCB | GCB |
| 55 | GCB | 0.858 | GCB | GCB | GCB |
| 56 | GCB | 0.866 | GCB | GCB | GCB |
| 57 | GCB | 0.871 | GCB | GCB | GCB |
| 58 | GCB | 0.88 | GCB | GCB | GCB |
| 59 | GCB | 0.881 | GCB | GCB | GCB |
| 60 | GCB | 0.882 | GCB | GCB | GCB |
| 61 | GCB | 0.887 | GCB | UNC | GCB |
| 62 | GCB | 0.89 | GCB | GCB | GCB |
| 63 | GCB | 0.894 | GCB | GCB | GCB |
| 64 | GCB | 0.902 | GCB | GCB | GCB |
| 65 | GCB | 0.903 | GCB | GCB | GCB |
| 66 | GCB | 0.904 | GCB | GCB | GCB |
| 67 | GCB | 0.905 | GCB | GCB | GCB |
| 68 | GCB | 0.906 | GCB | GCB | GCB |

Table S4: Confusion Matrices for three COO classes across the four gene expression platforms.   Concordant numbers of samples on the diagonal in bold,  and discordant numbers in upper and lower halves.

|  | ABC | GCB | UC |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ABC | 22 | 2 | 4 |  |  |  |  |  |  |  |  |  |  |
| GCB | 0 | 33 | 3 |  |  |  |  |  |  |  |  |  |  |
| UC | 0 | 1 | 3 |  |  |  |  |  |  |  |  |  |  |
|  | ABC | GCB | UC |  |  | ABC | GCB | UC |  |  |  |  |  |
| ABC | 20 | 2 | 3 |  | ABC | 23 | 1 | 1 |  |  |  |  |  |
| GCB | 1 | 32 | 1 |  | GCB | 2 | 31 | 1 |  |  |  |  |  |
| UC | 1 | 2 | 6 |  | UC | 3 | 4 | 2 |  |  |  |  |  |
|  | ABC | GCB | UC |  |  | ABC | GCB | UC |  |  | ABC | GCB | UC |
| ABC | 22 | 3 | 3 |  | ABC | 25 | 2 | 1 |  | ABC | 25 | 2 | 1 |
| GCB | 0 | 29 | 2 |  | GCB | 1 | 28 | 2 |  | GCB | 0 | 29 | 2 |
| UC | 0 | 4 | 5 |  | UC | 2 | 6 | 1 |  | UC | 0 | 3 | 6 |

AFFY

HTG

DASL

RNAseq

AFFY

HTG