**The influence of body position on bioelectrical impedance spectroscopy measurements in young children**

**Jaz Lyons-Reid1, Leigh C Ward1,2, Mya-Thway Tint3,4, Timothy Kenealy1,5, Keith M Godfrey6,7, Shiao-Yng Chan3,4, Wayne S Cutfield1,8\***

1Liggins Institute, University of Auckland, Auckland, New Zealand

2School of Chemistry and Molecular Biosciences, The University of Queensland, Brisbane, Australia

3Singapore Institute for Clinical Sciences, Agency for Science, Technology and Research (A\*STAR), Singapore

4Department of Obstetrics & Gynaecology, Yong Loo Lin School of Medicine, National University of Singapore, Singapore

5Department of Medicine and Department of General Practice and Primary Health Care, University of Auckland, Auckland, New Zealand

6MRC Lifecourse Epidemiology Unit, University of Southampton, Southampton, United Kingdom

7NIHR Southampton Biomedical Research Centre, University of Southampton and University Hospital Southampton NHS Foundation Trust, Southampton, United Kingdom

8A Better Start – National Science Challenge, University of Auckland, Auckland, New Zealand

\*w.cutfield@auckland.ac.nz

**Table S1 Bioimpedance body position adjustment equations applied to standing (<1 minute) measurements in validation sub-group (n=15).**

|  |  |  |  |
| --- | --- | --- | --- |
|  | Validation cohort (n = 15) | T-test | Bland-Altman |
| Mean | SD | F | *p* | Bias | Limits of agreement |
| Lower | Upper |
| R0 |
| Supine | 798.59 | 73.21 | -1.619 | 0.128 | -5.43-0.68% | -30.87-3.87% | 20.022.51% |
| Standing (adjusted) | 804.01 | 75.18 |
| R∞ |
| Supine | 581.27 | 62.84 | -1.077 | 0.300 | -4.34-0.75% | -34.88-6.00% | 26.214.51% |
| Standing (adjusted) | 585.60 | 59.56 |
| Zc |
| Supine | 693.22 | 67.64 | -1.441 | 0.172 | -4.75-0.69% | -29.80-4.30% | 20.292.93% |
| Standing (adjusted) | 697.97 | 67.53 |
| Z50 |
| Supine | 730.40 | 71.46 | -1.745 | 0.103 | -5.30-0.73% | -28.34-3.88% | 17.752.43% |
| Standing (adjusted) | 735.70 | 72.61 |
| R50 |
| Supine | 727.82 | 71.56 | -1.695 | 0.112 | -5.14-0.71% | -28.18-3.87% | 17.892.46% |
| Standing (adjusted) | 732.97 | 72.61 |
| Xc50 |
| Supine | 61.01 | 5.57 | 0.153 | 0.881 | 0.100.16% | -4.88-8.01% | 5.08 8.33% |
| Standing (adjusted) | 60.91 | 4.90 |
| Abbreviations: R0, resistance at 0 kHz; R∞, resistance at infinite kHz; Zc, impedance at the characteristic frequency; Z50, impedance at 50 kHz; R50, resistance at 50 kHz; Xc50, reactance at 50 kHz. |