**The influence of gender and ethnicity on facemasks and respiratory protective equipment fit – a systematic review and meta-analysis**

Jagrati Chopra (0000-0003-1194-4018), Nkemjika Abiakam (0000-0002-9599-7274), HanSung Kim(0000-0003-4907-0491), Cheryl D Metcalf, Peter R Worsley (0000-0003-0145-5042), Ying Cheong (0000-0001-7687-4597)

Department of Obstetrics and Gynaecology, Princess Anne Hospital, Southampton, UK, SO16 5YA, Jagrati Chopra

Academic Clinical Fellow

School of Health Sciences, Faculty of Environmental & Life Sciences, University of Southampton, Southampton, UK, SO17 1BJ, Nkemjika Abiakam

Research Fellow

School of Electronics and Computer Science, University of Southampton, Southampton, UK, SO17 1BJ, HanSung Kim

Assistant Professor

School of Health Sciences, Faculty of Environmental & Life Sciences, University of Southampton, Southampton, UK, SO17 1BJ, Cheryl D Metcalf

Faculty Director of Enterprise

School of Health Sciences, Faculty of Environmental & Life Sciences, University of Southampton, Southampton, UK, SO17 1BJ, Peter R. Worsley

Associate Professor

Faculty of Medicine, Human Development and Health, University of Southampton, Southampton, UK, SO17 1BJ. Complete Fertility, Princess Anne Hospital, Southampton, UK, SO16 5YA, Ying Cheong

Professor of Reproductive Medicine

Corresponding author: Professor Ying Cheong, y.cheong@soton.ac.uk

**Word count:** 5250 **Abstract word count:** 300

**SUMMARY BOX**

**What is already known on this topic:**

* For respirators to provide respiratory protection they must fit the user well, and this is determined by ‘fit-testing’ – a process of trialling successive facemasks until one is identified which provides a good seal, and thus the user passes ‘fit-testing’. Pass rates are the proportion of participants that pass ‘fit-testing’ and are successful at identifying a facemask that fits.
* Several factors may affect respirator fit and performance; anthropometric influences are relatively well studied and described but the association of gender and ethnicity is disputed.
* The current COVID-19 pandemic is disproportionately affecting Black, Asian and Minority Ethnics (BAME) healthcare workers most at risk and appropriately fitting respiratory protective equipment is paramount.

**What are the new findings?**

* Females have smaller facial measurements (3-15 studies) but gender based differences in anthropometrics and lower pass rates are not always correlated with lower fit factor scores. Reporting of ethnicity-based differences in anthropometrics and Respiratory Protective Equipment (RPE) performance is limited.
* Gender was associated with RPE performance in 12 studies and fit test pass rates were greater for males in eight studies. Overall pass rates were low or moderate for 12 studies of non-white cohorts. Therefore, female and BAME healthcare workers may experience difficulty in identifying respirators that offers adequate protection, requiring multiple fit-testing attempts.
* BAME people remain under-represented in the literature when evaluating RPE performance. Inclusivity of BAME people is needed in respirator design, fit-testing and research.

**What do the new findings imply?**

* Meta-analysis revealed 14 standardised anthropometric measurements were significantly smaller for females. Mean differences in measurements ranged from 0.37mm for the smallest dimension (nasal root breath) to 22.05mm for the greatest dimension (bitragion-menton arc). Meta-analysis of anthropometrics between ethnicity or of RPE performance outcomes was not possible due to reporting and study heterogeneity.
* Risk of bias assessment showed most studies did not pre-specify inclusion/exclusion criteria. Other limitations of included studies were small sample size (n <50) for seven studies and those based on fit-testing programs were unable to test all RPE consistently across their cohorts.
* Significant heterogeneity in study designs limits direct comparison. Including only English language studies is a significant limitation considering the focus of this review and inclusion of Chinese records in particular may affect results significantly.

**ABSTRACT**

**Introduction**

Black, Asian and Minority Ethnic (BAME) people are disproportionately affected by COVID-19. Respiratory protective equipment (RPE) has conventionally been developed for a predominantly white male population that does not represent the healthcare workforce. The literature was reviewed to determine the protection offered to female and BAME users.

**Methods**
Five databases were searched. Eligible studies related to respirator fit in the context of anthropometrics, gender and ethnicity. Meta-analysis was performed for gender-based anthropometric differences. A priori protocol registration was not performed.

**Results**

32 studies were included and anthropometric data was extracted from 15 studies. Meta-analysis revealed 14 anthropometric measurements were significantly smaller for females. Mean differences ranged from 0.37mm to 22.05mm. Gender-based anthropometric differences did not always translate to lower fit factor scores, with 12 studies reporting worse performance and fit for females and 10 reporting no gender effect. No studies provided disaggregate anthropometric data by ethnic group. Pass rates were low or moderate in 12 BAME or mixed-ethnicity cohorts. 14 studies reported associations between facial dimensions and respirator fit. Three comparative studies showed lower pass rates amongst selective BAME people. 18 studies reported RPE performance differed with model and design. Most studies did not pre-specify inclusion/exclusion criteria. Small sample size and lack of justification or power calculations was a concern. Significant heterogeneity in study designs limited comparisons, particularly relating to respirator selection or availability and defining study outcomes relating to RPE performance.

**Conclusion**

The literature reports on largely Caucasian or single ethnic populations, and BAME people remain underrepresented, limiting comparisons between ethnic groups. Facial anthropometrics vary between gender and likely between ethnicity, which may contribute to lower pass rates amongst females and ethnic minorities, particularly Asians. There is a need for studies including a broader spectrum of ethnicities and for consideration of female and BAME users during RPE development.

**INTRODUCTION**

There is growing evidence that Black, Asian and Minority Ethnic (BAME) people are disproportionally affected by SARS-CoV-2 (COVID-19) (1-5). Indeed, data from the UK-based Office for National Statistics (ONS) demonstrates COVID-19 related death rates in BAME communities are four times higher compared to those of white ethnicity (6). BAME people comprise only 14% of the population in the UK, yet account for 34% of COVID-19-related admissions to intensive care and 35% of deaths (7, 8). Similar trends are seen internationally (9-11). BAME people comprise a large proportion of workers in essential services (12), including healthcare, and their over-representation amongst patients affected by COVID-19 is a growing concern. Amongst National Health Service (NHS) staff, 63% of COVID-related deaths are of BAME people even though they represent only 20% of the NHS workforce (13, 14). The effect is likely multifactorial (4, 5), and addressing these ethnic inequalities requires efforts in various aspects, including effective personal protection equipment (PPE) in the workplace.

Respiratory protective equipment (RPE) is vital in the prevention of nosocomial viral transmission. Systematic reviews and meta-analyses demonstrate the use of masks can reduce the risk of respiratory virus infection by 80%, suggesting mask use offers significant protection against transmission of respiratory viruses such as influenza, SARS and COVID-19 (15). In the context of COVID-19, mask use has been shown to reduce the risk of infection by nearly 70% amongst healthcare workers, highlight the importance of RPE in the current pandemic (16). European and American safety regulatory bodies such as the Occupational Safety and Health Administration (OSHA) or Health and Safety Executive (HSE) mandate RPE must meet certification requirements, such as those developed by the National Institute for Occupational Safety and Health (NIOSH), International Organization for Standardization (ISO) or British Standards Institution (BSI) (17-19). Certification requires respirators be fit-tested on participants from a respirator fit test panel (RFTP) comprising of subjects with facial sizes representative of the user population. Historically, sizing and respirator certification has been based on the Los Alamos National Laboratory (LANL) standardized adult head shape panels, developed in the 1960s using a US Air Force (USAF) Anthropometry Survey of predominantly white male military personnel (20). The bivariate RFTP referenced for half-mask respirators uses two facial measurements – face length and lip length (figure 1). With evolving population demographics such as changing body shape and increasing female and BAME representation, the USAF data is no longer reflective of the current American workers (21). Therefore, NIOSH created a novel anthropometric database. This has been used to update the bivariate panel to include face length and face width as well as identify ten facial dimensions most relevant to respirator fit, which define the Principal Component Analysis (PCA) model (22). In the UK, BSI standards have been based on the 50th percentile of four dimensions (face length, face width, face depth and mouth width) of the adult white male face shape (figure 1) (23). More recent panels have included a more ethnically diverse sample group.

Fit testing is used to determine if the facial fit of a respirator is free of significant inward leak. Both qualitative fit test (QLFT) and quantitative fit test (QNFT) are recommended (19, 24). QLFT uses one’s olfactory or taste response to an aerosolised solution. QNFT measures the ratio of external aerosol concentration to internal aerosol concentration, to produce a fit factor (FF) score. Definitions and standards have evolved over time, but currently OSHA recommends a QNFT fit factor of 100 affords the user adequate protection and is equivalent to a successful QLFT (24). Suboptimal fit compromises respiratory protection and can be damaging to underlying skin (25).

The relationship between facial dimensions and RPE shape determines RPE fit. Facial dimensions vary significantly between genders, ethnicities and with age (26), as well on an individual basis. These may influence RPE fit and there is already some, albeit mixed, evidence that RPE protection varies with gender-based differences in facial dimension (27-29). Certainly, studies of BAME cohorts have yielded particularly low success rates of fit-testing, and similar trends are seen amongst healthcare workers (28-30). These findings may be important in respirators design and manufacturing processes. While newer RFTPs may be more diverse, they are not necessarily representative of HCWs or BAME people. There is growing concern that RPE in current use is inadequate at protecting female staff and those from at-risk BAME communities (31). The objectives of this systematic review were 1) to compare the anthropometric measurements of users across gender and ethnic groups and 2) assess the effect of facial dimensions, gender and ethnicity on RPE fit and effectiveness as measured by fit factors, fit-testing pass rates or inward leakage.

**METHODS**

The systematic review was conducted following the Preferred Reporting Items for Systematic reviews and Meta-Analyses (PRISMA) guidelines (32). The PRISMA checklist is available in appendix 1. A protocol for the review was defined, including inclusion and exclusion criteria but a priori protocol registration was not performed.

**Search Strategy**

A literature search was conducted using Embase and Medline via Ovid, PubMed, Scopus and Web of Science in April 2021. The search strategy (appendix 2) included key terms relating to respirators, face masks or PPE, respirator fit, facial dimensions or facial anthropometrics and race or ethnicity. Gender anthropometrics and differences between sexes were found to be discussed in most studies, therefore gender search terms were not applied as these restricted search results. Reference lists of included papers were also screened. Only human studies, reported in English were included and no time restrictions were applied.

**Study Selection and eligibility**

Two authors independently screened the search results for relevance based on title and abstract, and unrelated studies were excluded. Subsequently, both authors reviewed full texts to identify studies meeting the inclusion criteria: human studies of any age/gender/ethnicity, assessing half or quarter size filtering facepiece respirators meeting N95/PPF3 standards. Studies pertaining to full-facepiece masks were excluded as these likely relate to different facial dimensions. Both disposable or reusable RPE was accepted regardless of brand, design, models and sizes. Studies relating to qualitative or quantitative fit-testing were eligible. Outcomes related to fit-test fit-factor, fit-test pass rates or inward leak in the context of anthropometrics, gender and/or ethnicity. No restriction for setting were applied nor to participant characteristics such as occupation, ethnicity, race, gender or age. Studies not assessing the effect of at least one of, anthropometrics, gender or ethnicity, were excluded. Non-English language studies were excluded. Findings were compared and differences were addressed by re-review and discussion until a consensus was reached.

**Outcomes**

The outcomes of this review were to compare the anthropometric measurements of users across gender and ethnic groups and assess the effect of facial dimensions, gender and ethnicity on RPE fit and effectiveness as measured by fit factors, fit-testing pass rates or inward leakage.

**Data extraction**

An initial data extraction pro-forma was piloted on a small number of records, modified as required and confirmed. Data extracted related to study characteristics and outcomes, including (1) study design, study population, participant characteristics (age, gender distribution, race distribution), (2) anthropometrics data, method of collecting measurements and number of measurements taken, (3) RPE type and fit-testing protocol, (4) outcome measures of differences in anthropometrics and differences in RPE fit. For meta-analysis, we intended to collate data on anthropometric measurements for gender and ethnic groups as well as disaggregated group fit factor scores and pass rates.

**Analysis**

For systematic review, variables including facial dimensions, gender and ethnicity were organized into tables and described qualitatively. Association of variables facial dimensions, gender and ethnicity with RPE fit were summarised. Limitations and implications for this review are discussed.

Facial measurement means and associated standard deviations were extracted where possible and a meta-analysis was performed for gender based anthropometrics. Standardised methodologies for anthropometric measurements were employed by included studies and therefore sufficiently similar for meta-analysis. A random-effects meta-analysis was performed using RevMan (33). Statistical heterogeneity was assessed by the measure of the I2. For facial measurements where I2 indicate substantial heterogeneity (>50%), study methods were reviewed for possible explanations. Studies were assessed for clinical and methodological heterogeneity to identify any outlying studies conflicting with the remaining studies across the 14 anthropometrics. Sensitivity analysis was conducted to determine whether the gender-based differences in anthropometrics are robust. Attempts were made to identify studies contributing to heterogeneity for exclusion. Anthropometric were suspected to differ between ethnicities, therefore results were reviewed to identify groups of studies based on ethnicity with conflicting results for subgroup analysis.

Anthropometric data was not available based on ethnicity to allow for ethnicity. Due to heterogeneity in study design, outcome measures and reporting, meta-analysis could not be conducted for RPE performance.

**Risk of bias assessment**

The National Heart, Lung and Blood institute (NHRBI) study quality assessment tools for Observational cohort and cross-sectional studies (34) has previously been adapted (35) to assess the quality of studies in the context of anthropometric measurements between gender groups. The NHRBI tool was similarly modified and applied to the studies included in this systematic review based on available guidance from the NHRBI tool.

**Patient and public involvement**

This research does not directly include patient or public involvement. The aims and question are informed by national and international experiences of female and BAME HCWs in using RPE during the ongoing pandemic.

**RESULTS**

**Literature search results**

Search of the five databases yielded 796 records, with 544 remaining after excluding duplicates (figure 2). Of these, 401 studies were excluded based on title alone and 100 studies based on abstract. These were either unrelated to RPE or pertained to mask-design, methods of fit-testing and other predictors such as facial hair and temporal changes. Review articles and conference papers were also excluded. Full texts were reviewed for the remaining 43 records and a further a further 12 articles were excluded (36-47). Further detail of reasons for exclusion are shown in appendix 3. One further study was included from screening of reference lists. Therefore 32 articles were identified as eligible for inclusion (27-30, 48-75). Publication year ranged from 1982 to 2021, and all publications were in English. Most studies were published in non-medical journals, largely relating to occupational, industrial or environmental hygiene, ergonomics or health and safety fields. Finally, 15 studies reported anthropometric measurements for meta-analysis (27, 29, 49, 51, 53-55, 60, 61, 63, 65-67, 71, 73).

**Study characteristics**

Study characteristics are presented in table 1. The 32 included studies yielded a total of 10,658 participants, of which 33% were male and 60% female, with 8% being unreported. Four studies included a Caucasian population (48, 55, 60, 69), five studied a Korean population (29, 52, 53, 65, 68), two studied a Chinese population (63, 72), three studied an Iranian population (67, 71, 74), one studied a Taiwanese population (66) and one studied a Latino migrant workers population (62). Eight studies had populations of mixed ethnicity (27, 28, 50, 51, 57, 59, 61, 75), with the predominant group being Caucasian or Black/African. Ethnicity was not reported for eight studies, which were based in Australia, France, Spain, UK and US (30, 49, 54, 56, 58, 64, 70, 73). The distribution of participant ethnicities is shown appendix 4. Participants included HCWs, university students and staff or civilian workers from surrounding communities.

Between 1 – 21 facial dimensions were measured by 26 studies in varying combinations (27-29, 48-55, 57, 58, 60, 61, 63-68, 70-74) and one study recorded overall face shape and size (59). The most frequently reported anthropometric are shown in figure 1 which references standardised measurements from the US air force anthropometric report (76). Fit-testing protocols were in accordance with regulations relevant at the time of study, including ANSI and OSHA standards and in most studies involved quantitative measurement of fit factor using a PortaCount Plus. Six studies performed qualitative fit-testing (56, 58, 62, 66, 67, 71) and two assessed inward leak (50, 60). The variety of RPE brands, models and sizes used and fit-testing methods are reported in table 1.

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ***Study, Country*** | ***No. of participants (% male)*** | ***Age range [years], (mean\*)*** | ***Population*** | ***Population ethnicity\*\*(%)*** | ***RPE type*** ***Number of brands/ models/sizes \*\*\*******(RPE per user tested)*** | ***No. of facial dimensions*** | ***RPE fit measure*** ***(Guidelines/ standards)******and outcome*** |
| **Liau et al. (1982) 48****US** | 190 (100%) | N/A | Laboratory employees | Caucasian | Reusable half mask4 brands, 10 sizes total | 7 | QNFT Protection factor |
| **Gross and Horstman** **(1990) 49****US** | 121(50%) | (37.5) | Community members | N/A | Reusable half masks 3 brands (2), 3 sizes each | 10 † | QNFT a (ANSI)Fit factor, Pass rates |
| **Oestenstad et al. (1990) 50****US** | 73(53%) | 21 - 50 (30.6) | University student, staff and faculty | White (68%) Black (12%) Asian (12%) Other1 (7%)‡ | Reusable half mask1 brand, 3 sizes | 12 | QNFT (ANSI) Leak shape, size and distribution ††Fit factor |
| **Oestenstad and Perkins** **(1992) 27****US** | 68(56%) | 21 - 50 (30.4) | University students and staff | White (69%) Black (13%) Asian (10%) Hispanic (4%) Asian Indian (3%)‡ | Reusable half mask1 brand, 3 sizes | 12 † | QNFT b (ANSI)Fit factor |
| **Brazile et al. (1998) 51****US** | 186(49%) | N/A | Community members, university students | White (35%) African (31%) Mexican (33%) | Reusable half mask1 brand, 3 sizes | 14 † | QNFT a (ANSI)Fit factor, Pass rates |
| **Han (2000) 52****South Korea** | 778(52%) | 20 - 55 | Industrial workers, university students | Korean | Reusable quarter mask 3 brands (3) | 2 | QNFT c (ANSI)Fit factor, Pass rates |
| **Han and Choi (2003) 29****South Korea** | 150(75%) | 20 - 55 | Community members, university students | Korean | Reusable half mask3 brands (3), 1 size (M) | 10 † | QNFT c (ANSI/OSHA)Fit factor, Pass rates |
| **Kim et al.** **(2003) 53****South Korea** | 110(64%) | N/A | University students | Korean | Reusable quarter mask 3 brands (3), 1 size (M) | 12 † | QNFT a,c (ANSI/OSHA)Fit factor, Pass rates |
| **Zhuang et al. (2005) 54****US** | 32(45%) | N/A | N/A | N/A | Disposable N95 half mask18 models (18), 1-3 sizes | 12 † | QNFT SWPF |
| **Oestenstad et al. (2007) 55****US** | 41(51%) | 20 - 55 (30) | Institute student and staff | Caucasian | Reusable half mask3 brands (3), >1 size | 12 † | QNFT Fit factor |
| **McMahon et al. (2008) 56Canada** | 1295(24%) | 19 - 71 | Healthcare workers | N/A | Disposable N95 half masks3 brands36 models | N/A | QLFTPass rates |
| **Zhuang et al.** **(2008) 57****US** | 30(43%) | N/A | Community members | While (90%)Black (33%)Asian (66%) | Disposable and reusable half masks4 models (4), 3 sizes | 3 | QNFT cFit factor, Pass rates |
| **Winter et al.** **(2010) 58****Australia** | 50(N/A) | N/A | Healthcare workers | N/A | Disposable N95 half masks2 brands3 models (3) | 1 | QLFT |
| **Wilkinson et al. (2010) 59****Australia** | 5024 §(21%) | Mode age group: 41 - 50  | Healthcare workers | Aboriginals (0.9%) White (88.9%) East-Asian (5.7%) South/Central- Asian (3.5%) Other2 (1.0%) | Disposable P2/N95 half masks3 brands3, 1-2 sizes | N/A(overall face shape/size data collected) | QNFT cPass rates |
| **Oestenstad and Bartolucci** **(2010) 60****US** | 41(51%) | 20 - 55 (30) | University students and staff | Caucasian | Reusable half masks3 brands (3) | 12 † | Leak size, shape and distribution †† |
| **Spies et al. (2011) 61****South Africa** | 29(48%) | N/A | Research institute employees | African (45%) European (41%) Coloured4 (7%) Asian (7%) | Disposable P2 half mask1 model, 1 size (M) | 45 † | QNFT c (OSHA)Fit factor, Pass rates |
| **Ciotti et al.****(2012) 30****France** | 50(N/A) | N/A | Healthcare workers | N/A | Disposable PPF2 half masks9 models (2-3) | N/A | QNFT cFit factor, Pass rates |
| **Earle-Richardson et al. (2014) 62****US** | 56(88%) | 15 - 81 (33.2) | Farmworkers | Latino | Disposable N95 and reusable half masks 4 brands7 models 3 | N/A | QLFT (OSHA)Pass rates |
| **Yu et al. (2014) 63****China** | 50(52%) | Mean age (SD)21.5 (2.2) | N/A | Chinese | Disposable N95 half masks4 brands10 models (10), 2 sizes | 21 † | QNFT c (OSHA) Fit factor, Pass rates |
| **Bergman et al. (2014) 64****US** | 229(N/A) | N/A | General population | N/A | Disposable N95 half masks7 models3, 1-2 sizes | 13 | QNFT c (OSHA)Fit factorInward leak |
| **Kim et al.** **(2015) 65****South Korea** | 49(67%) | Mean age (SD) 23.0 (3.8) | Healthcare workers | Korean | Disposable N95 half masks1 brand 2 models, 3 sizes | 7 † | QNFT c (OSHA)SWPF Fit factor, Pass rates |
| **Lin et al. (2017) 66****Taiwan** | 206 (49%) | 21 – 30 | Community members, university students | Taiwan | Disposable N95 half masks3 models (3), 1 size | 19 † | QLFT (OSHA) |
| **Manganyi et al. (2017) 28****South Africa** | 562(33%) | Mode age group: 19 - 30 years | Laboratory employees | African (65%) Asian (11%) Coloured6 (9%) White (14%) | Disposable N95/FFP2 half masks>2 brands (1) 7, 2 sizes (S, M) | 4 | QNFT c (OSHA)Fit factor, Pass rates |
| **Honarbakhsh et al. (2018) 67****Iran** | 95 (33.5%) | N/A | Healthcare workers | Taiwanese | Disposable N95 half masks3 models, 1 size | 2 † | QLFT (OSHA) |
| **Huh et al.** **(2018) 68****South Korea** | 211(51%) | Median 26IQR 23 - 31 | Military hospital volunteers | Korean | Disposable N95 half masks3 brands4 models (4), 1-3 sizes | 2 | QNFT c (OSHA) Fit factor, Pass rates |
| **Foereland et al. (2019) 69****Norway** | 127(88%) | 18-65 [37] | Smelting industry workers | Norwegian  | Disposable P3 half masks4 brands14 models (≥5), 1 or 3 sizes | N/A | QNFT c (OSHA) Fit factor, Pass rates  |
| **Winski et al. (2019) 70****UK** | 262(90.5%) | N/A | General population | N/A | Disposable PPF3 half mask1 model | 3 | QNFT c (BSIF) Fit factor, Pass rates |
| **Fakherpour et al. (2020) 71****Iran** | 62 (40%) | Mean age (SD)23.45 (4.66) | University students | Iranian | Disposable N95/PPF2/FFP3 half masks4 brands (4) | 2 † | QLFTPass rates |
| **Zhang et al. (2020) 72****China** | 85(36%) | Mean age (SD)27 (4.4) | University students | Chinese | Disposable N95/FFP3 half masks4 models (4), 1 size | 8 | QNFT cFit factor, Pass rates |
| **De‐Yñigo‐Mojado et al.** **(2021) 73****Spain** | 74(50%) | Mean age (SD)34.31 (7.13) | Healthcare workers | N/A | Disposable FFP3 half masks2 brands3 models | 4 † | QNFT cFit factor, Pass rates |
| **Fakherpour et al. (2021) 74****Iran** | 37 (32%) | Mean age (SD)24.6 (4.2) | University volunteers | Iranian | Disposable N95/FFP2 half masks15 brands20 models (20) | 2 | QNFT cFit factor, Pass rates |
| **Williams et al. (2021) 75****Australia**  | 96(57%) | Mean age (SD)42.3 (9.5) | Healthcare workers | South East Asian (26%)Other (74%) | Disposable N95 half mask2-3 models3, 2 sizes | N/A | QNFT c (OSHA) Fit factor, Pass rates |

***Table 1: Study characteristics***

*US = United States, UK = United Kingdom, IQR = interquartile range, SD = standard deviation, N/A = not available/reported, QNFT = Quantitative fit test, QLFT = Qualitative fit test, SWPF = Simulated work place protection factor, PR = Pass rates, FF = Fit factor, PF = protection factor*

*\*  Unless otherwise stated*

*\*\* Ethnicity as reported by authors of respective studies. Efforts were made to determine ethnicity if not clearly reported*

*\*\*\* Brands/models/sizes included in the study. Intra-study variability in number of masks tested per participant*

*† Studies with anthropometric data reported for inclusion in meta-analysis*

*†† RPE performance measured used fluorescent tracer*

*‡ Data on ethnicity collected but no comparison made due to small numbers*

*§ Survey study design, with ‘no. of participants’ representing number of HCWs who responded to the questionnaire and were tested with the respirators. Percentage of males calculated number of questionnaires where participants supplied information on gender*

*a QNFT FF score of 10 used as equivalent to effective protection using particulate detector or condensation nuclei count (portacount) method*

*b QNFT FF score of 1000 used as equivalent to effective protection using photometric method*

*c QNFT FF score of 100 used as equivalent to effective protection using condensation nuclei count (portacount) method*

*1 Hispanics and Asian Indians*

*2 Not reported*

*3 An initial respirator was selected. Once a successful git test was obtained other models were not tested. In the event of failed testing, subsequent models were tested until fit-testing was passed*

*4 Mixed European, African or Asian ancestry as per consensus referenced in study*

*5 2 measurements taken for all participants, 2 additional measurements taken on small proportion of participants*

*6 Mixed-race, combination of ethnic backgrounds including African, White, Khoisan, Indian, and Malay*

*7 Participants were tested using the type and size of mask used in the workplace at the time of study*

**Systematic review and meta-analysis findings**

Study results were compared qualitatively. Comparisons of anthropometrics between gender and ethnicity groups are shown in table 2. Anthropometric data was available for meta-analysis from 15 studies (27, 29, 49, 51, 53-55, 60, 61, 63, 65-67, 71, 73). Mean difference and 95% confidence intervals (CI) for ­­­14 standardised anthropometric measurements are shown in table 3, with complete data and forest plots are available in appendix 5. A random-effects meta-analysis revealed all 14 anthropometric measurements were significantly smaller for females (p<0.05). Differences ranged from 0.37mm for the smallest measurement (nasal root breadth) to 22.05mm for the longest measurement bitragion-menton arc). Heterogeneity was substantial (I2 > 50%) for nine facial dimensions. Gender effect was in the opposite direction in one study, with greater face length and face width for females (71). Sensitivity analysis with exclusion of this study increased the mean difference between genders minimally and improved I2 by 10% for face length and 6% for face width. No specific study was identified to contribute substantially to heterogeneity across all 14 measurements. Therefore, no further studies were excluded for sensitivity analysis. Separation of studies by ethnicity did not improve I2 substantially but significantly reduced participant population, therefore sub-group analysis was not performed. Data for anthropometrics of ethnic groups were not available to meta-analyse. Effects of anthropometrics, gender and ethnicity on RPE fit are summarised in table 4, with complete data per study available in appendix 6. Disaggregated data for fit factor scores and/or pass rates were not available and heterogeneity in study design and reporting hampered direct comparison of RPE fit outcomes between studies.

|  |  |  |
| --- | --- | --- |
| ***Studies******Studies*** |  | ***Comparison of anthropometric measurements*** |
|  | ***Between genders*** |  | ***Between ethnicities*** | ***To other populations / panels*** |
| **Gross and Horstman** **(1990) 49****US** |  | ♀smaller dimensions for 11/12 FD  |  | N/A | Comparable to US Air Force population |
| **Oestenstad et al. (1990) 50****US** |  | N/A |  | no comparison made due to small sample size | Skewed distribution relative to LANL panel |
| **Oestenstad and Perkins** **(1992) 27****US** |  | ♀smaller dimensions |  | no comparison made due to small sample size | Comparable to previous studies and US Air Force population |
| **Brazile et al. (1998) 51****US** |  | ♀smaller dimensions for 12/14 FD except binocular and NRB |  | significant difference between ethnic groups except for FL | Comparable to previous studies and US Air Force population |
| **Han (2000) 52****South Korea** |  | ♀smaller dimensionsseparately screwed distribution of FD but with significant overlap |  | N/A | N/A |
| **Han and Choi (2003) 29****South Korea** |  | ♀smaller dimensions for all 10 FD |  | N/A | N/A |
| **Kim et al.** **(2003) 53****South Korea** |  | ♀smaller dimensions for 11/12 FD except for NRB |  | N/A | Comparable to Korean cohorts. Different (smaller and wider faces) to American cohorts |
| **Zhuang et al. (2005) 54****US** |  | ♀ smaller dimension for 9/12 measurements except LW, NRB, NP |  | N/A | N/A |
| **Oestenstad et al. (2007) 55****US** |  | ♀smaller dimensions for 10/12 FD except LFL and NL |  | N/A | Comparable to previous studies |
| **Wilkinson et al. (2010) 59****Australia** |  | N/A |  | Facial characteristics were strongly associated with racial group | N/A |
| **Spies et al. (2011) 61****South Africa** |  | ♀smaller and narrower dimensions |  | Comparison not made | Screwed distribution relative to LANL panel. Mean FD comparable to Korean and American cohorts but male FD different (smaller and wider) from American cohort.  |
| **Yu et al. (2014) 63****China** |  | ♀smaller dimensions |  | N/A | Comparable to Chinese cohort. Different (smaller and wider) to American cohorts |
| **Kim et al.** **(2015) 65****South Korea** |  | ♀smaller LW only |  | N/A | N/A |
| **Manganyi et al. (2017) 28****South Africa** |  | ♀smaller dimensions |  | Asian♀: smaller dimensions African ♂: greater NRB | N/A |
| **Lin et al. (2017) 66****Taiwan** |  | ♀smaller dimensionsseparately screwed distribution of FD |  | N/A | Screwed distribution relative to NIOSH panel. Difference to American cohorts (smaller) |
| **Honarbakhsh et al. (2018) 67****Iran** |  | N/A |  | N/A | significant proportion outside RFTP. Different to South African, Korean and American cohorts (smaller FL and FW) |
| **Fakherpour et al. (2020) 71****Iran** |  | FD reported as similar but no comparison clearly reported |  | N/A | Skewed distribution relative to panel and significant proportion outside NIOSH RFTP |
| **De‐Yñigo‐Mojado et al.** **(2021) 73** |  | ♀smaller dimensions |  | N/A | N/A |

***Table 2: Comparison of anthropometrics between gender and ethnicity groups***

*N/A = not available/assessed or not reported; ♀= female; ♂ = male; SD = standard deviation; LFL = Lower face length; LW = Lip width; NL = Nose length; NRB = Nasal root breadth; NP = Nose protrusion*

*Green panels are a visual representation of the studies reporting differences in anthropometrics between respective gender and ethnic groups. Yellow bars indicate studies that reported some differences between gender or ethnic groups.*

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ***Outcome*** | ***Studies*** | ***Participants******(n=)*** | ***Male participants (n=)*** | ***Female participants (n=)*** | ***Mean difference******[Confidence interval]*** |
| Biectoorbitale breadth | 4 | 260 | 150 | 110 | 9.26 [7.54, 10.97] |
| Bizygomatic breadth [face width] | 15 | 1503 | 742 | 761 | 7.54 [6.80, 8.27] |
| Bigonial breadth [jaw width] | 8 | 834 | 468 | 366 | 6.75 [5.81, 7.69] |
| Menton-nasion length [face length] | 15 | 1503 | 742 | 761 |  7.82 [7.13, 8.50] |
| Menton-subnasale length [lower face length] | 9 | 727 | 409 | 318 | 5.26 [4.54, 5.97] |
| Subnasale-nasion length [nose length] | 9 | 973 | 541 | 432 | 3.64 [3.16, 4.13] |
| Biocular breadth | 4 | 260 | 150 | 110 | 3.87 [3.00, 4.74] |
| Nasal root breadth | 8 | 734 | 382 | 352 | 0.37 [0.12, 0.61] |
| Nose width | 12 | 1083 | 585 | 498 | 3.42 [3.06, 3.78] |
| Lip length/width | 13 | 1157 | 622 | 535 | 2.82 [2.36, 3.28] |
| Bitragion-menton arc | 9 | 884 | 494 | 390 | 22.05 [20.15, 23.95] |
| Bitragion-subnasale arc | 10 | 933 | 510 | 423 | 18.43 [16.70, 20.16] |
| Nose protrusion | 6 | 745 | 405 | 340 | 2.03 [1.65, 2.40] |
| Interpupillary distance | 3 | 288 | 141 | 147 | 2.70 [2.02, 3.39] |

***Table 3. Summary of anthropometric measurements and mean differences from meta-analysis***

|  |  |  |
| --- | --- | --- |
| ***Outcome*** | ***Studies assessing outcome*** | ***Summary of findings (n= number of studies)*** |
| ***Significant association*** | ***Weak association or mixed results*** | ***No association*** |
| ***Pass rates\**** | 26 | High (≥75%) overall user PR1: n = 9Moderate (50-74%) overall user PR: n = 4Low (<50%) overall PR: n = 4Variable PR between gender and/or ethnic groups: n = 9Overall low or low-moderate PR in studies of non-white cohorts (n=12) |
| ***Association between facial dimensions (FD) and fit\*\**** | 25 | **n = 14**FD association with fit: FW (n=7), FL (n=6), NRB (n=4), JW (n=4), LFL (n=3), NL (n=3), NP (n=3), NW (n=2), LW (n=2), BIOC (n=2), BECTO (n=2), BTMA (n=2).Facial size and shape categories associated with FF (n=6).Extremes in FW and FL or narrower faces associated with fit (n=2). | **n = 7**Association of some facial dimensions (FW, LW, JW NW, NP, NL, NRB) but low correlation co-efficient, poor predictors of fit, explain small proportion of variability, small absolute differences or effect size. | **n = 4**No significant correlations.No relationship between facial size categories and fit. |
| ***Association between gender and fit\*\**** | 24 | **n = 12**PR males > females (n=8).PR females > males (n=2).Gender differences in PR varied with model (n=1).Association of facial dimensions and leak site attributed to gender. Male gender is independent predictor for fit. | **n = 2**PR males > females for at least 1 RPE model but comparable overall with inclusion of multiple models. | **n = 10**No significant correlations. Comparable PR between genders.Fit not predicted by gender. |
| ***Association between ethnicity and fit\*\**** | 5 | **n = 2**Race specific models improve fit predictability.Lower PR for Asians, highest for Caucasians. | **n = 2**Lower PR for black females, No significant effect on FF.Lower PR and FF for Asian females, race didn’t predict FF. | **n = 1**Non-significant ethnicity-based variation in FF |
| ***Association between mask factors and fit\*\**** | 20 | **n = 18**Variability in FF based on brand.Significant difference in FF/PR between brands (n=12)Influence of RPE on fit within facial size categories (n=2) or shape (n=1)RPE is determinant or predictor of fit (n=2) | **n = 1**FF associated with number of sizes and models, not RPE design | **n = 1**Comparable PR between models |

***Table 4. Summary of findings: Association of variables facial dimensions, gender and ethnicity with RPE fit***

*Lower face length = Menton-subnasale length; NL = Nose length/Subnasale-nasion length; BIOC = Biocular breadth; NRB = Nasal root breadth; NW = Nose width; LW = Lip width; BTMA = Bitragion-menton arc; BTSA Bitragion-subnasale arc; NP = Nose protrusion.*

*\* PR are reported as either (1) PR of users, as a percentage of participants who passed fit-testing on at least one respirator or (2) PR for RPE groups, as a percentage of participants who passed fit-testing for the respirator being tested.*

*\*\* RPE fit as measured by respective studies, including fit/protection factor (FF), simulated workplace protection factor (SWPF), inward leakage (IL), fit-testing PR (PR).*

*\*\*\* Mask factors are reported as any differences in FF or PR relating to mask factors such design, model, brand, shape or size.*

*1 Overall user pass rates – percentage of participants successfully fit-testing on at least one RPE model.*

**Qualitative synthesis**

**Facial dimensions differ with gender**

Gender-based anthropometrics were compared by 15 studies (table 2). Overall, 13 studies demonstrated gender differences, with smaller average female facial dimensions for most measurements (27-29, 49, 51-55, 61, 63, 66, 73). Female measurements were reported to range between 91.5% - 92.5% of the comparable male measurements albeit with significant overlap of 20-50% (49, 53). Some studies reported no gender differences for nasal root breadth (51, 53, 54), nose length (55), nose protrusion (54) and lip width (54), lower face length (54) and one reported greater smiling lip length for females (49). Meta-analysis demonstrated that all anthropometric were significantly smaller for females than males. Differences in nasal root breadth were minimal but still statistically significant (table 3).

**Facial dimensions differ with ethnicity**

Ethnicity data was collected by six studies, of which two studies reported anthropometric data and between-group differences. An American study with participants from three ethnic groups found significant differences in all facial measurements, except face length (51). Interestingly, facial measurements were comparable to early studies comprising a largely Caucasian male population. A South African study including four ethnic groups also reported variation between ethnicities (28). Asian females had significantly smaller facial measurements and black males had greater nasal root breath measurements as compared to their white counterparts. An Australian survey collected information on overall facial shape and nose size/shape rather than anthropometric measurements and reported facial characteristics were strongly associated with racial group. The three remaining studies were unable to compare to compare anthropometrics between ethnic groups due to small sample sizes.

Studies also drew comparisons between their cohorts and those of previous studies (table 2). Studies of various Asian populations reported significantly different facial dimensions compared to Caucasian cohorts with generally smaller and wides faces. Korean participants had wider face width and nose breadth, narrower nasal root breadth and lip width (53). Chinese and Iranian participants had wider face width and shorter face length (63, 67) and Taiwanese participants had overall smaller faces (66). Facial dimensions of males from an ethnically mixed South African cohort were also smaller and wider than for Caucasians (61). Several studies showed skewed distribution of participant facial dimensions compared to the American panel facial dimensions such that significant proportions of their cohorts lie outside RFTPs (50, 61, 66, 71).

**Gender effects on RPE fit**

Gender-based differences in anthropometrics have not consistently translated to a difference in fit factor (table 4). Of 24 studies comparing pass rates and/or fit factor scores between genders, 13 studies demonstrated significant gender effects. Of these, 11 studies reported higher fit-test failure rates and/or lower FF scores amongst females (28, 29, 49, 52, 53, 56, 63, 67, 68, 71, 73). Factors such as facial stubble which hamper RPE performance may reduce fit for males such that pass rates appear similar between genders but comparison of only clean-shaven males yielded higher pass rate than for females (28). Gender was also reported to accounted for higher proportion of variability in fit factor scores in analysis of variance. Association of facial dimension and leak sites were mostly attributed to gender (50). Two studies did not compare pass rates but did demonstrate an associated of gender based FD and leak distribution and greater predictability of fit factor using gender specific models (27, 50).

In comparison, 11 studies reported no gender effects, with similar pass rates, no effect on fit factor score or no effect of gender on leak distribution/shape/sizes (51, 54, 55, 58-61, 69, 72, 74, 75). One study reported mixed results with higher pass rates amongst males for 2 of 3 RPE models but comparable pass rates overall across all RPE models (49). A further study reported higher pass rates amongst female users (73). The variable effects of gender on RPE fit may be result of methodology. Study design was variable, with some studies assessing one model in multiple sizes, multiple models in one size or multiple models and sizes. For example, pass rates were higher for males than females for certain mask models, vice versa for others or comparable (29, 68, 72). Similarly, pass rates were higher amongst males when restricted to comparisons between individual mask models and introduction of multiple models improved overall female pass rates (49).

**Ethnic effects on RPE fit factor**

Fit factor was compared between ethnic groups by only three studies (table 4). Differences in facial measurements between three American ethnic groups did not translate to significant differences in fit factor (51). A South African study demonstrated fit factor varied with ethnicity but was underpowered to detect significance of these differences (61). This is supported by a larger South African cross-sectional study which reported while fit factor scores were lowest amongst Asians and variable between ethnicities, ethnicity was not a significant predictor for fit in the logistic regression analysis (28). A further study with ethnically mixed participants demonstrated facial dimension based predictability of fit factor scores improved with race specific models (27).

**Higher fit-test failure rates in ethnic minority groups**

Four studies revealed pass rates correlated with ethnicity. Amongst an evenly mixed cohort of Caucasian, African and Mexican Americans, pass rates were lowest amongst African American females (51). Both South African studies have demonstrated particularly low pass rates at 13.8% and 22% in their mixed cohorts of predominately BAME participants, using single model/size RPE and multiple brands/sizes RPE, respectively (28, 61). In particular, the lowest pass rates were seen in Asian females (28). The largest study, an Australian survey similarly reported the highest failure rate amongst Asian HCWs but also the highest pass rates amongst white HCWs (34).

Of studies assessing BAME cohorts, ten have reported particularly low pass rates with significant variability between RPE models. Studies of solely Chinese or Korean cohorts report low pass rates when assessing subgroups for gender and certain mask type. While some masks were associated with pass rates between 60-87%, others were successful for only 10-30% of users (29, 52, 53, 63, 66-68, 71, 72, 74). Chinese and Iranian studies even found some masks were ineffective for all of their participants (63, 67, 74). Masks that are a good fit for Caucasian Americans have been shown to provided adequate fit for only 41% of Latino workers (62). Additionally, two European studies demonstrate low pass rates amongst HWCs, suggesting current RPE way be inadequate, however the ethnic distribution of these populations was not reported (30, 73).

**Mask factors affect RPE performance**

A total of 20 studies compared fit factor and/or pass rates between different RPE brands and models, 17 studies demonstrated RPE performance differs significantly based on design (28-30, 52, 53, 55, 57, 59, 63, 64, 66-69, 71, 72, 74). One study reported fit factor score varied with RPE brand for females only, with no correction in the male group (49). A study assess 18 RPE models however demonstrated the number of models and sizes available is associated with fit factor, rather than the RPE design itself (54).

**Risk of bias within studies**

Quality assessment is presented in table 5. The majority of studies fail to meet criteria 3 as inclusion and exclusion criteria were not pre-specified. The majority of studies also do not provide sample size justifications or power calculations. However, many are still able to meet criteria 4 as they report on variance or effect estimates, as detailed by the NHLBI Assessment tool. Of note, several studies do not meet criteria 5 as anthropometric data were not collected.

|  |  |
| --- | --- |
| ***Studies*** | ***Criteria*** |
| ***1*** | ***2*** | ***3*** | ***4*** | ***5*** | ***6*** | ***7*** | ***8*** | ***9*** | ***10*** |
| **Liau et al. (1982) 48** | ● | ● | ◯ | ● | ◐ | ● | ◐ | ● | ● | ● |
| **Gross and Horstman (1990) 49** | ● | ● | ◯ | ◐ | ● | ● | ● | ● | ◐ | ● |
| **Oestenstad et al. (1990) 50** | ● | ● | ◯ | ● | ● | ● | ● | ● | ● | ● |
| **Oestenstad and Perkins (1992) 27** | ● | ● | ◯ | ● | ● | ● | ● | ● | ● | ● |
| **Brazile et al. (1998) 51** | ● | ● | ◯ | ● | ◐ | ● | ● | ● | ● | ● |
| **Han (2000) 52** | ● | ● | ◯ | ● | ● | ● | ● | ● | ● | ◯ |
| **Han and Choi (2003) 29** | ● | ● | ◯ | ● | ● | ● | ● | ● | ● | ◯ |
| **Kim et al. (2003) 53** | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● |
| **Zhuang et al. (2005) 54** | ● | ◯ | ◯ | ● | ● | ◐ | ● | ● | ● | ◯ |
| **Oestenstad et al. (2007) 55** | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● |
| **McMahon et al. (2008) 56** | ● | ● | ● | ◯ | N/A | ◐ | ● | ● | ● | ◯ |
| **Zhuang et al. (2008) 57** | ● | ● | ◯ | ● | ● | ● | ● | ● | ● | ● |
| **Winter et al. (2010) 58** | ● | ● | ● | ◯ | N/A | ● | ● | ● | ◐ | ● |
| **Wilkinson et al. (2010) 59** | ● | ● | ◯ | ◯ | N/A | ◐ | ◐ | ● | ● | ● |
| **Oestenstad and Bartolucci (2010) 60** | ● | ● | ◯ | ● | ● | ● | ● | ● | ● | ● |
| **Spies et al. (2011) 61** | ● | ● | ● | ◯ | ◐ | ● | ● | ● | ◐ | ● |
| **Ciotti et al. (2012) 30** | ● | ● | ◯ | ◯ | N/A | ● | ● | ● | ● | ● |
| **Earle-Richardson et al. (2014) 62** | ● | ● | ◯ | ◯ | N/A | ◐ | ● | ◯ | ● | ● |
| **Yu et al. (2014) 63** | ● | ● | ● | ◯ | ● | ● | ● | ● | ● | ◯ |
| **Bergman et al. (2014) 64** | ● | ● | ◯ | ◯ | ● | ● | ● | ● | ● | ● |
| **Kim et al. (2015) 65** | ● | ● | ◯ | ● | ● | ● | ● | ● | ● | ● |
| **Lin et al. (2017) 66** | ● | ● | ● | ◯ | ● | ● | ● | ● | ● | ◯ |
| **Manganyi et al. (2017) 28** | ● | ● | ◯ | ● | ● | ◐ | ● | ● | ● | ● |
| **Honarbakhsh et al. (2018) 67** | ● | ● | ◯ | ◯ | ● | ● | ● | ● | ● | ● |
| **Huh et al. (2018) 68** | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● |
| **Foereland et al. (2019) 69** | ● | ● | ● | ◯ | N/A | ● | ● | ● | ● | ● |
| **Winski et al. (2019) 70** | ● | ◯ | ◯ | ● | ● | ● | ● | ● | ● | ◯ |
| **Fakherpour et al. (2020) 71** | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● |
| **Zhang et al. (2020) 72** | ● | ● | ● | ● | ● | ● | ● | ● | ● | ◯ |
| **De‐Yñigo‐Mojado et al. (2021) 73** | ● | ● | ● | ● | ● | ◐ | ● | ● | ● | ● |
| **Fakherpour et al. (2021) 74** | ● | ● | ● | ● | N/A | ● | ● | ● | ● | ◯ |
| **Williams et al. (2021) 75** | ● | ● | ● | ● | N/A | ◐ | ● | ● | ● | ● |

***Table 5. Assessment for bias using modified National Heart, Lung and Blood institute (NHRBI) study quality assessment tools***

*● criteria met ◐ Criteria partially met ◯ Criteria not met*

*Criteria:**(1) Were aims and objectives clearly stated? (2) Was the study population clearly specified and defined? (3) Were inclusion and exclusion criteria for being in the study pre-specified and applied uniformly to all participants? (4) Was a sample size justification, power description, variance or effect estimates provided? (5) Were methods of anthropometric measurement clearly described, valid, reliable, and implemented consistently across all study participants? (6) Were other independent variables clearly defined, valid, reliable, and implemented consistently across all study participants? (7) Were the dependent variables clearly defined, valid, reliable, and implemented consistently across all study participants? (8) Is it clear what was used for analysis or to determine statistical significance estimates? (9) Results—were basic data adequately described? (10) Were limitations of study discussed?*

*Note: Where indicated as ‘criteria not met’ for criteria (3), inclusion and/or exclusion criteria have not been specified. Where indicated as ‘criteria not met’ for criteria (4), no sample size justification or power calculation has been reported, nor assessment of variance or effect size****.*** *Most studies did not report sample size justification or power calculation, but criteria were deemed to be satisfied if variance or effect estimate provided.*

*48 Anthropometric measurements made from photographs of participants using established landmarks for five of seven facial dimensions. Protection factor scores required to pass not reported. Correlation analysis performed for only a white male subset of the study population.*

*49 Correlation analysis for facial dimensions and RPE fit reported as having been performed but results were not provided as no significant correlations made.*

*50 The study was underpowered to assess for race.*

*51 Facial measurements not entirely in keeping with standard anthropometric landmarks and measurements, as judged by included figure.*

*52, 29 Physical examination and pulmonary function performed but inclusion/exclusion criteria not stated.*

*54**Study population not specified. Some participants did not test all respirator models and were substituted by others with similar face size categories.*

*56**Once a successful fit test was obtained other models were not tested. The order of masks tested was applied consistently.*

*57 Results of effect of gender, age and occupation reported only briefly.*

*59**Data on facial categories collected rather than anthropometric measurements. Respirator for testing was selected by the tester based on observed facial characteristics rather than measured facial dimensions and LANL categories. Once a successful fit test was obtained other models were not tested. HCWs who failed fit testing were not tracked and if returned for second fit-testing sessions were treated as independent events.*

*61 Two facial measurements were collected only on a small proportion of participants. Standard deviations provided but no between group comparisons available. Correlation analysis was not performed between the facial dimensions and fit factor.*

*62 Once a successful fit test was obtained other models were not tested.*

*64 Estimate of variance and/or effect size were irrelevant for aims of study to determine if RPE fit of respirator size relates to RFTP facial size categories.*

*28 Participants that were not clean shaven were initially included in the analysis which likely skews results given known effect of facial hair on RPE performance.*

*73**Factors such as facial hair presence was not records, and could influence the difference in fit factors between genders*

*75**Anthropometric data not collected. Ambiguous categorisation on ethnicity of participants as South East Asian and non-Asian.*

**DISCUSSION**

Our review demonstrates significant gender-based variance in standardised anthropometric measurements, with significantly smaller female facial dimensions for all measurements. Comparing Asian and Black/African groups to Caucasians shows differences in facial geometry such as overall face size and nose measurements. With regard to RPE performance, female and BAME participants have generally low fit factors score and/or fit-test pass rates. However, only a limited number of studies included BAME people in RPE fit-testing. Given the limited number of comparative studies available and heterogeneity in study design, we cannot be conclusive in our evaluation of RPE performance in gender or ethnic groups and their associations with specific anthropometric parameters.

BSI recognises anatomical and structural differences between genders (77). Our review shows that facial measurements included in RFTPs, namely face length, face width and lip width, are smaller for females. This is consistent with a large gender-based anthropometric study (78). In the context of fit-testing; most studies collected data limited to facial dimensions included in the LANL and NIOSH bivariate RPTPs. Limited number of studies collected additional facial measurements, such as nose dimensions, and showed that these features are relevant to RPE fit. Hence, the inclusion of these additional dimensions and their correlation to RPE performance would be valuable in future studies.

ISO has reported differences in facial characteristics between Caucasian, sub-Saharan and European facial types (77). Comparisons between Caucasian and Black participants demonstrate that the latter have greater protrusion of lips, deeper head, and shorter, wider, shallower noses (26, 78). Hispanic workers have significantly larger facial features for 14 measurements than Caucasians, with shorter nose protrusion and head length (26). Asian participants have statistically different dimensions as compared to Caucasians for 16 anthropometric values (26). However, only a limited number of studies comparatively evaluate the impact of ethnicity on RPE performance.

Furthermore, disaggregated comparisons are lacking for ethnicities outside predominant American groups (Caucasian, Black, Hispanic). Often studies categorise participants as ‘Other’ which includes a diverse group of Central, South and East Asians, even though there are significant anthropometric differences between these groups based on ancestry (79, 80). Our review also includes studies using American RFTPs as benchmarks, which show significant proportions of Chinese, Korean and Iranian participants’ facial measurements lie outside the distribution of American RFTPs (66, 71, 81, 82). Additionally, individuals from Asian and Black ethnic groups continue to be underrepresented in RFTPs. There appears to be an urgent need to use fit-test panels that account for ethnic specific differences.

Gender-based anthropometric differences are associated with RPE performance in about half of our studies, the majority of which demonstrate that female participants have significantly lower RPE performance, need a variety of mask models for successful fit and are more likely to fail fit-testing altogether (27-29, 50, 52, 53, 56, 63, 67, 68). The heterogeneity in results is likely related to study design, of which RPE availability and the assortment of models on offer are particularly relevant. Firstly, many studies do not make gender-based comparisons of RPE performance for individual mask models, comparing overall fit-testing success between genders instead. This is based on successful fit-testing on at least one respirator, which fails to account for the higher fit-testing failure rates for individual RPE models amongst female, therefore reducing gender-based differences in RPE performance. Secondly, provision of one model in limited sizes or RPE designed as ‘one-size-fits-all’ fails to cater to smaller facial dimensions. Increasing RPE choice improves user success rates and reduced gender-based fit-testing differences. For example, inclusion of two additional models accounting for a 20% improvement in female pass rates (54). Certainly, several studies included here recommend a variety of RPE should be made available to ensure successful fit-testing (30, 56, 58, 61, 62, 65, 69, 71, 74). In practice, implementing a comprehensive fit-testing program is a financial and logistical challenge (59). The variety of RPE in different healthcare environments is variable and procurement dependent. It may not be feasible to test HCWs on all available RPE given the time-consuming nature of fit-testing.

Studies report mixed results for ethnicity-based differences in RPE performance. Small comparative studies have demonstrated lower pass rates for Black and Asian females, but with no effect of ethnicity on FF (28, 51, 61). These studies were likely underpowered to recognise subgroup differences. Studies of Asian populations have consistently yielded higher rates of fit-test failure amongst Chinese, Koreans, Taiwanese and Iranians, further emphasising the need to consider facial dimensions of their population in RPE design (29, 52, 53, 63, 66-68, 71, 72, 74). Therefore, RPE currently available does not provide comparable protection across ethnicities, likely disadvantaging those from minority groups. This implies, RPE design may be failing to accommodate for heterogeneity in facial features across diverse user populations due to the limited panels used for international standards in their manufacture.

The 2007 NIOSH updated panel and 2014 ISO standards (ISO 16900-1:2014) aim to reflect greater end user diversity. While efforts to diversify panels have been promulgated, many respirators in current use meet outdated standards from early 2000s (EN 149:2001 + A1:2009) which comprise a very limited panel. This is supported by a survey of FFP3 respirators used across acute NHS centres during the COVID-19 pandemic (83). Therefore, designing RPE that fit a wide range of demographics is difficult if RPE is permitted to satisfy standards with limited representation.

In practice, poorly fitted RPE design hamper work and user safety (84, 85). Widespread concerns around inadequacies in areas of RPE fit-test access, availability and training have been raised (86, 87). Unfortunately, the proportion of female and BAME HCWs affected and the need for personalised RPE has not been quantified (85). Studies included in this review were not designed to identify modifications during RPE donning, such as excessive tightening of straps or use of adhesive tape which may allow for successful fit-testing but indicate poor RPE fit. Notably, skin damaged is reported to affect 42 – 97% of HCWs and ill-fitting RPE may account for higher rates of adverse reactions amongst BAME HCWs (88-91). Given the lack of data, specific guidance on modification measures are limited from NHS England and NHS Improvement (92). Modifications during RPE donning many affect RPE efficacy and the presence of facial lesions encourage face touching and mask handling, resulting in inadvertent PPE contamination (93-98).

**Strengths and limitations**

This is the first systematic review and meta-analysis of the influence of gender and ethnicity on RPE, to the best of our knowledge. Our search strategy and eligibility criteria were broad and have captured a large number of relevant studies. However, we were limited to English-based databases. We excluded studies in Chinese as we were unable to gain access to the data. Of note, including only English language studies is a significant limitation considering the focus of this review and inclusion of non-English may affect results significantly.

Inherent associations exist between gender and facial dimensions as well as multicollinearity between facial dimensions, although these associations were not always clearly accounted for or reported by studies. Meta-analysis showed significant heterogeneity existed for nine facial dimensions. Of these measurements, those with small magnitude of effect (ie smaller differences in measurements) such as nasal root breadth (MD 0.37mm), nose length (MD 3.64mm), nose protrusion (MD 2.03mm) and lip width (MD 2.82mm) may be less relevant or irrelevant to gender-based differences in anthropometrics. By extension, they may be less relevant to RPE fit.

There was significant disparity in study design and methodology in gender-based studies. Assessment of study design confirmed anthropometric were collected by standardised methods. Only one study reported conflicting results, with facial dimensions greater for females. Exclusion of this study did not sufficiently improved heterogeneity. BAME people have different facial dimensions to Caucasians, and it was suspected that heterogeneity may be result of participant diversity. However, sub-group analysis based on ethnicity was not possible as studies measured varying combination of facial dimensions and ethnicity-based grouping reduced sample size such that meta-analysis would not provide meaningful conclusions. Risk of bias assessment demonstrated most studies failed to meet criteria 3, relating to use of pre-specified inclusion and exclusion criteria. This may contribute to heterogeneity observed in meta-analysis of anthropometrics and differences in conclusions regarding gender-based differences in RPE performance. Several studies failed to account for their sample size through justification, power calculation or estimate of variance/effect. This risks studies being underpowered to detect differences in RPE performance between gender and/or ethnic groups, and may account for the conflicting results. Limited number of studies included ethnically diverse participants with all relevant anthropometrics. Hence, we cannot be conclusive in our evaluation of RPE performance on gender or ethnic groups and their associations with specific anthropometric parameters.

**Future research**

Successfully fit-testing HCW is particularly important in the current climate. Future studies addressing the disparity in RPE fit will require a review of how respirators are designed and tested, including utilising a relevant fit-test panel. Studies should aim to include a diverse group of participants inclusive of BAME people to better inform future mask design and fit testing performance. Studies should include the provision of a variety of mask models, brands and sizes, denoting modifications made during the donning process, and the fit-test pass rate for all mask models tested rather than using an overall success rate.  Longitudinal studies on how facial anthropometrics influence fit, but also user comfort and adverse outcomes thereafter would be useful to inform mask designs. The future clearly lies in personalising fit-testing with modern technology, for example, 3D facial model-capture to assess fit, in order to reduce time and costs of fit-testing as well as expedite identification of HCWs who need alternative RPE.

**CONCLUSION**

Anthropometric data is key in design and testing of respirators, and user demographic reflected in respiratory fit test panels may influence the level of protection respirators provide. Facial measurements vary significantly between gender and ethnicity. Our meta-analysis demonstrates women have significantly smaller facial measurements for 14 standardised measurements compared to men. The literature suggests significant differences in anthropometrics between ethnicities, however minority groups continue to be under-represented in comparative studies and race-based differences could not be established in our study. The effect of differences in facial anthropometrics on respirator fit and effectiveness is less clear. Over half of studies reporting gender-bases difference in RPE performance report significantly lower pass rates amongst females. Three studies report lower pass rates amongst Asian or Black participants. However, these pass rate differences are inconsistently associated with absolute fit factors scores. Facial dimensions across ethnicities monitories may fall outside the parameters of current RFTPs and impact RPE performance. Therefore, RFTPs need to be expanded to capture the distribution of anthropometric data from all ethnicities and RPE development to reflect a more diverse group of users.

**ACKNOWLEDGEMENTS**

This work was supported by the Wessex Academic Health Sciences Network and Southampton Faculty of Medicine Enterprise board. NA was supported by the European Union's Horizon 2020 research and innovation programme under the Marie Skłodowska‐Curie grant agreement No. 811965 (Project STINTS ‐ Skin Tissue Integrity under Shear). PW had funding support from the Engineering and Physical Research Council grant ‘A BioEngineering approach for the SAFE design and fitting of Respiratory Protective Equipment (BE-SAFE RPE)’ (EP/V045563/1).

**CONTRIBUTORS**

The review was designed by JC, CM, PW and YC. The search was conducted by JC under supervision from YC. Records were screened by JC and NA independently. Data was extracted and meta-analysis conducted by JC. JC led the writing of the manuscript for publication with significant contributions from all authors. All authors approved the final article. The corresponding author attests that all listed authors meet authorship criteria and that no others meeting the criteria have been omitted.

**COMPETING INTERESTS**

None to declare

**FUNDING**

JC is an NIHR Academic Fellow. NA was supported by the European Union's Horizon 2020 research and innovation programme under the Marie Skłodowska‐Curie grant agreement No. 811965 (Project STINTS ‐ Skin Tissue Integrity under Shear). PW had funding support from the Engineering and Physical Research Council grant ‘A BioEngineering approach for the SAFE design and fitting of Respiratory Protective Equipment (BE-SAFE RPE)’ (EP/V045563/1). The funder had no direct involvement in this work.

**DATA SHARING**

All data relevant to the study are included in the article or uploaded as supplementary information. Dissemination of the results is not applicable.

**PATIENT CONSENT FOR PUBLICATION**

Not required

**REFERENCES**

1. Aldridge RW, Lewer D, Katikireddi SV, Mathur R, Pathak N, Burns R, et al. Black, Asian and Minority Ethnic groups in England are at increased risk of death from COVID-19: indirect standardisation of NHS mortality data. Wellcome Open Res. 2020;5:88.

2. Platt L, Warwick R. Are some ethnic groups more vulnerable to COVID-19 than others? IFS: The Institute for Fiscal Studies; 2020.

3. Williamson EJ, Walker AJ, Bhaskaran K, Bacon S, Bates C, Morton CE, et al. Factors associated with COVID-19-related death using OpenSAFELY. Nature. 2020;584(7821):430-6.

4. PHE. Disparities in the risk and outcomes of COVID-19 2020.

5. PHE. Beyond the data: Understanding the impact of COVID-19 on BAME groups. Public Health England; 2020.

6. Coronavirus (COVID-19) related deaths by ethnic group, England and Wales: 2 March 2020 to 10 April 2020. Online: Office for National Statistics.

7. 2011 Census analysis: Ethnicity and religion of the non-UK born population in England and Wales: 2011. Office for National Statistics: ONS; 2011.

8. ICNARC report on COVID-19 in critical care 07 September 2020 ICNARC; 2020.

9. Johns A, Buford T. Early Data Shows African Americans Have Contracted, Died of Coronavirus at an Alarming Rate. Online: Medscape: Mescape; 2020 April.

10. Ramos E, Zamudio M. In Chicago, 70 per cent of COVID-19 deaths are Black. WBEZ. 2020 April.

11. Eligon J, Burch A, Searcey D, Oppel JR. Black Americans Face Alarming Rates of Coronavirus Infection in Some States. Online: The New York Times; 2020.

12. THF. Black and minority ethnic workers make up a disproportionately large share of key worker sectors in London. The Health Foundation; 2020.

13. Cook T, Kursumovic E, Lennane S. Exclusive: deaths of NHS staff from covid-19 analysed. Health Service Journal; 2020.

14. Workforce and Facilities ND. NHS Workforce Statistics. Health and Social Care Information Centre; 2019.

15. Liang M, Gao L, Cheng C, Zhou Q, Uy JP, Heiner K, et al. Efficacy of face mask in preventing respiratory virus transmission: A systematic review and meta-analysis. Travel Med Infect Dis. 2020;36:101751.

16. Li Y, Liang M, Gao L, Ayaz Ahmed M, Uy JP, Cheng C, et al. Face masks to prevent transmission of COVID-19: A systematic review and meta-analysis. Am J Infect Control. 2020.

17. OSHA. Respiratory Protection. Subpart I - Personal Protective Equipment: Occupational Safety and Health Administration.

18. ISO. 16900-1:2019 - Respiratory protective devices — Methods of test and test equipment — Part 1: Determination of inward leakage International Organization for Standardization; 2019.

19. NIOSH. RCT-APR-STP-0068: Total Inward Leakage Test for Half-mask Air-purifying Particulate Respirators. 42 CFR Part 84, Subpart K: National Institute for Occupational Safety and Health; 2009.

20. Hack AL, McConville JT. Respirator protection factors: Part I -- Development of an anthropometric test panel. Am Ind Hyg Assoc J. 1978;39(12):970-5.

21. Zhuang Z, Guan J, Hsiao H, Bradtmiller B. Evaluating the representativeness of the LANL respirator fit test panels for the current U.S. civilian workers. The International Society for Respiratory Protection 2004;21:83-93.

22. Zhuang Z, Bradtmiller B, Shaffer RE. New Respirator Fit Test Panels Representing the Current U.S. Civilian Work Force. Journal of Occupational and Environmental Hygiene. 2007;4(9):647-59.

23. BSI. Respiratory protective devices - Filtering half masks to protect against particles - Requirements, testing, marking BS EN 149:2001 +A1:20092009.

24. OSHA. 1910.134: Respiratory protection. App A: Fit testing procedures (mandatory). Subpart I: Personal Protective Equipment: Occupational Safety and Health Administration.

25. Worsley PR, Spratt F, Bader DL. COVID19: Challenging tissue viability in both patients and clinicians. J Tissue Viability. 2020;29(3):153-4.

26. Zhuang Z, Landsittel D, Benson S, Roberge R, Shaffer R. Facial anthropometric differences among gender, ethnicity, and age groups. Ann Occup Hyg. 2010;54(4):391-402.

27. Oestenstad RK, Perkins LL. An assessment of critical anthropometric dimensions for predicting the fit of a half-mask respirator. Am Ind Hyg Assoc J. 1992;53(10):639-44.

28. Manganyi J, Wilson KS, Rees D. Quantitative Respirator Fit, Face Sizes, and Determinants of Fit in South African Diagnostic Laboratory Respirator Users. Ann Work Expo Health. 2017;61(9):1154-62.

29. Han DH, Choi KL. Facial dimensions and predictors of fit for half-mask respirators in Koreans. AIHA J (Fairfax, Va). 2003;64(6):815-22.

30. Ciotti C, Pellissier G, Rabaud C, Lucet JC, Abiteboul D, Bouvet E, et al. Effectiveness of respirator masks for healthcare workers, in France. Med Mal Infect. 2012;42(6):264-9.

31. Feinmann J. When the masks don’t fit: the British collaboration making PPE designed for individuals. BMJ; 2020.

32. Moher D LA, Tetzlaff J, Altman DG, PRISMA Group. Preferred reporting items for systematic reviews and meta-analyses: the PRISMA statement . Ann Intern Med; 2009. p. 264-9.

33. Review Manager (RevMan) [Computer program]. Version 5.3.  Copenhagen: The Nordic Cochrane Centre, The Cochrane Collaboration. 2014.

34. NHLBI. Quality assessment tool for observational cohort and cross-sectional studies. 2018.

35. Thurstans S, Opondo C, Seal A, Wells J, Khara T, Dolan C, et al. Boys are more likely to be undernourished than girls: a systematic review and meta-analysis of sex differences in undernutrition. BMJ Glob Health. 2020;5(12).

36. Cherrie JW, Apsley A, Cowie H, Steinle S, Mueller W, Lin C, et al. Effectiveness of face masks used to protect Beijing residents against particulate air pollution. Occupational and Environmental Medicine. 2018;75(6):446-52.

37. Coffey CC, Lawrence RB, Campbell DL, Zhuang Z, Calvert CA, Jensen PA. Fitting characteristics of eighteen N95 filtering-facepiece respirators. 2004;1(4):262-71.

38. Coffey CC, Lawrence RB, Zhuang Z, Campbell DL, Jensen PA, Myers WR. Comparison of five methods for fit-testing N95 filtering-facepiece respirators. Appl Occup Environ Hyg. 2002;17(10):723-30.

39. Fakherpour A, Jahangiri M, Banaee S. Qualitative fitting characteristics of elastomeric half face-piece respirators using Isoamyl acetate agent. Ind Health. 2021.

40. Han DH, Lee J. Evaluation of particulate filtering respirators using inward leakage (IL) or total inward leakage (TIL) Testing - Korean experience. Annals of Occupational Hygiene. 2005;49(7):569-74.

41. Han DH, Park Y, Woo JJ. Effect of the tight fitting net on fit performance in single-use filtering facepieces for Koreans. 2018;1(1):78-84.

42. Hui CYT, Leung CCH, Gomersall CD. Performance of a novel non-fit-tested HEPA filtering face mask.

43. Lawrence RB, Duling MG, Calvert CA, Coffey CC. Comparison of performance of three different types of respiratory protection devices. J Occup Environ Hyg. 2006;3(9):465-74.

44. Regli A, von Ungern-Sternberg BS. Fit testing of N95 or P2 masks to protect health care workers. Med J Aust 2020;213(7):293-5.e1.

45. Reponen T, Lee SA, Grinshpun SA, Johnson E, McKay R. Effect of fit testing on the protection offered by N95 filtering facepiece respirators against fine particles in a laboratory setting. Annals of Occupational Hygiene. 2010;55(3):264-71.

46. Sietsema M, Brosseau LM. Are quantitative fit factors predictive of respirator fit during simulated healthcare activities? Journal of Occupational and Environmental Hygiene. 2018;15(12):803-9.

47. Suen LKP, Guo YP, Ho SSK, Au-Yeung CH, Lam SC. Comparing mask fit and usability of traditional and nanofibre N95 filtering facepiece respirators before and after nursing procedures. Journal of Hospital Infection. 2020;104(3):336-34.

48. Liau YH, Bhattacharya A, Ayer H, Miller C. Determination of critical anthropometric parameters for design of respirators. Am Ind Hyg Assoc J. 1982;43(12):897-9.

49. Gross SF, Horstman SW. Half-Mask Respirator Selection for a Mixed Worker Group. Applied Occupational and Environmental Hygiene. 1990;5(4):229-35.

50. Oestenstad RK, Dillion HK, Perkins LL. Distribution of faceseal leak sites on a half-mask respirator and their association with facial dimensions. Am Ind Hyg Assoc J. 1990;51(5):285-90.

51. Brazile WJ, Buchan RM, Sandfort DR, Melvin W, Johnson JA, Charney M. Respirator Fit and Facial Dimensions of Two Minority Groups. Appl Occup Environ Hyg. 1998;13(4):233-7.

52. Han DH. Fit factors for quarter masks and facial size categories. Ann Occup Hyg. 2000;44(3):227-34.

53. Kim H, Han DH, Roh YM, Kim K, Park YG. Facial anthropometric dimensions of Koreans and their associations with fit of quarter-mask respirators. Ind Health. 2003;41(1):8-18.

54. Zhuang Z, Coffey CC, Ann RB. The effect of subject characteristics and respirator features on respirator fit. J Occup Environ Hyg. 2005;2(12):641-9.

55. Oestenstad RK, Elliott LJ, Beasley TM. The effect of gender and respirator brand on the association of respirator fit with facial dimensions. J Occup Environ Hyg. 2007;4(12):923-30.

56. McMahon E, Wada K, Dufresne A. Implementing fit testing for N95 filtering facepiece respirators: practical information from a large cohort of hospital workers. Am J Infect Control. 2008;36(4):298-300.

57. Zhuang ZQ, Groce D, Ahlers HW, Iskander W, Landsittel D, Guffey S, et al. Correlation between respirator fit and respirator fit test panel cells by respirator size. Journal of Occupational and Environmental Hygiene. 2008;5(10):617-28.

58. Winter S, Thomas JH, Stephens DP, Davis JS. Particulate face masks for protection against airborne pathogens - one size does not fit all: an observational study. Crit Care Resusc. 2010;12(1):24-7.

59. Wilkinson IJ, Pisaniello D, Ahmad J, Edwards S. Evaluation of a large-scale quantitative respirator-fit testing program for healthcare workers: survey results. Infect Control Hosp Epidemiol. 2010;31(9):918-25.

60. Oestenstad RK, Bartolucci AA. Factors affecting the location and shape of face seal leak sites on half-mask respirators. J Occup Environ Hyg. 2010;7(6):332-41.

61. Spies A, Wilson KS, Ferrie R. Respirator fit of a medium mask on a group of South Africans: a cross-sectional study. Environ Health. 2011;10:17.

62. Earle-Richardson G, Fiske T, Wyckoff S, Shuford J, May J. Respiratory fit testing for farmworkers in the Black Dirt region of Hudson Valley, New York. J Agromedicine. 2014;19(4):346-53.

63. Yu Y, Jiang L, Zhuang Z, Liu Y, Wang X, Liu J, et al. Fitting characteristics of N95 filtering-facepiece respirators used widely in China. PLoS One. 2014;9(1):e85299.

64. Bergman M, Zhuang Z, Brochu E, Palmiero A. Fit Assessment of N95 Filtering-Facepiece Respirators in the U.S. Centers for Disease Control and Prevention Strategic National Stockpile. J Int Soc Respir Prot. 2015;32(2):50-64.

65. Kim H, Baek JE, Seo HK, Lee JE, Myong JP, Lee SJ, et al. Assessing real-time performances of N95 respirators for health care workers by simulated workplace protection factors. Ind Health. 2015;53(6):553-61.

66. Lin YC, Chen CP. Characterization of small-to-medium head-and-face dimensions for developing respirator fit test panels and evaluating fit of filtering facepiece respirators with different faceseal design. PLoS One. 2017;12(11):e0188638.

67. Honarbakhsh M, Jahangiri M, Ghaem H, Ghorbani M, Omidvari F, Khorasani MA, et al. Qualitative Fit Testing of Medium - Size N95/FFP2 Respirators on Iranian Health Care Workers. Health Scope. 2018;7(4).

68. Huh YJ, Jeong HM, Lim J, Park HY, Kim MY, Oh HS, et al. Fit Characteristics of N95 Filtering Facepiece Respirators and the Accuracy of the User Seal Check among Koreans. Infect Control Hosp Epidemiol. 2018;39(1):104-7.

69. Foereland S, Robertsen O, Hegseth MN. Do Various Respirator Models Fit the Workers in the Norwegian Smelting Industry? Saf Health Work. 2019;10(3):370-6.

70. Winski TA, Mueller WA, Graveling RA. If the mask fits: Facial dimensions and mask performance. 2019;72:308-10.

71. Fakherpour A, Jahangiri M, Seif M. Qualitative fitting characteristics of filtering face-piece respirators on Iranian people. Journal of Environmental Health Science and Engineering. 2020;18(2):587-97.

72. Zhang X, Jia N, Wang Z. The relationship between the filtering facepiece respirator fit and the facial anthropometric dimensions among Chinese people. Ind Health. 2020;58(4):318-24.

73. De-Yñigo-Mojado B, Madera-García J, Becerro-De-Bengoa-Vallejo R, Losa-Iglesias ME, Rodríguez-Sanz D, Calvo-Lobo C, et al. Fit factor compliance of masks and FFP3 respirators in nurses: A case–control gender study. 2021.

74. Fakherpour A, Jahangiri M, Seif M, Charkhand H, Abbaspour S, Floyd EL. Quantitative fit testing of filtering face-piece respirators during the COVID-19 pandemic reveals anthropometric deficits in most respirators available in Iran. J Environ Health Sci Eng. 2021:1-13.

75. Williams DL, Kave B, Lee K, Segal R, Krieser RB, Mezzavia PM, et al. A randomised crossover study to compare the user seal check and quantitative fit test between two types of duckbill N95 particulate respirator masks: The Halyard Fluidshield® N95 and the BSN Medical ProShield® N-95 particulate respirator masks. Anaesth Intensive Care. 2021:310057x20974022.

76. Hertzberg H, Daniels GS, Churchill E. ANTHROPOMETRY OF FLYING PERSONNEL - 1950. Antioch College; 1954.

77. BSI. Diversity in Personal Protective Equipment (PPE). In: Field K, editor.

78. Zhuang Z, Shu C, Xi P, Bergman M, Joseph M. Head-and-face shape variations of U.S. civilian workers. Appl Ergon. 2013;44(5):775-84.

79. Lee HJ, Park SJ. Comparison of Korean and Japanese head and face anthropometric characteristics. Hum Biol. 2008;80(3):313-30.

80. Prasanna L, Bhosale S, D’Souza A, Mamatha H, Thomas R, Sachin K. Facial indices of north and South Indian adults: reliability in stature estimation and sexual dimorphism. J Clin Diagn Res. 2013;7(8):1540-2.

81. Yang L, Wei R, Shen H. The fractal characteristic of facial anthropometric data for developing PCA fit test panels for youth born in central China. J Occup Environ Hyg. 2017;14(1):9-16.

82. Yang L, Shen H, Wu G. Racial differences in respirator fit testing: a pilot study of whether American fit panels are representative of Chinese faces. Ann Occup Hyg. 2007;51(4):415-21.

83. Abiakam N. in press. International Wound Journal.2020.

84. TUC. Personal protective equipment and women. 2017.

85. Fidler H. PPE: ‘one size fits all’ design is a fallacy that’s putting female health staff at risk. Nursing Standard. 2020.

86. RCN. Second Personal Protective Equipment Survey of UK Nursing Staff Report: Use and availability of PPE during the COVID-19 pandemic. 2020.

87. Gilroy R. PPE designed for rugby players not BME women, warns MP. Nursing Times. 2020.

88. Zhao Y, Liang W, Luo Y, Chen Y, Liang P, Zhong R, et al. Personal protective equipment protecting healthcare workers in the Chinese epicentre of COVID-19. Clinical microbiology and infection. 2020;20:30437-7.

89. Jiang Q, Song S, Zhou J, Liu Y, Chen A, Bai Y, et al. The Prevalence, Characteristics, and Prevention Status of Skin Injury Caused by Personal Protective Equipment Among Medical Staff in Fighting COVID-19: A Multicenter, Cross-Sectional Study. Adv Wound Care (New Rochelle). 2020;9(7):357-64.

90. Lan J, Song Z, Miao X, Li H, Li Y, Dong L, et al. Skin damage among health care workers managing coronavirus disease-2019. J Am Acad Dermatol. 2020;82(5):1215-6.

91. Abiakam N, Worsley P, Jayabal H, Mitchell K, Jones M, Fletcher J, et al. Personal protective equipment related skin reactions in healthcare professionals during COVID-19. Int Wound J. 2021.

92. NHS England and NHS Improvement. Helping prevent facial skin damage beneath personal protective equipment. 2019.

93. Kantor J. Behavioral considerations and impact on personal protective equipment use: Early lessons from the coronavirus (COVID-19) pandemic. J Am Acad Dermatol. 2020;82(5):1087-8.

94. Rahman J, Mumin J, Fakhruddin B. How Frequently Do We Touch Facial T-Zone: A Systematic Review. Ann Glob Health. 2020;86(1):75.

95. Nicas M, Best D. A study quantifying the hand-to-face contact rate and its potential application to predicting respiratory tract infection. J Occup Environ Hyg. 2008;5(6):347-52.

96. Bertsch RA. Avoiding upper respiratory tract infections by not touching the face. Archives of internal medicine. 2010;170(9):833-4.

97. BSCA/BAD. Update on occupational skin disease during the coronavirus pandemic British Society for Cutaneous Allergy & British Association of Dermatologists; 2020.

98. Dean E. COVID-19: how to avoid skin damage while wearing PPE. Nursing Standard; 2020.