##### Title:

Systematic review with meta-analysis: the accuracy of serological tests to support the diagnosis of coeliac disease

##### Short title:

Serological testing for coeliac disease

##### Authors’ names:

Athena L Sheppard (0000-0003-1564-0740)1,2, Martha M C Elwenspoek1,2, Lauren J Scott1,2, Victoria Corfield2, Hazel Everitt3, Peter M Gillett4, Alastair D Hay2, Hayley E Jones2, Susan Mallett5, Jessica Watson2, Penny F Whiting2

##### Authors’ affiliations:

1. The National Institute for Health Research Applied Research Collaboration West (NIHR ARC West) at University Hospitals Bristol NHS Foundation Trust, Bristol, UK
2. Population Health Sciences, Bristol Medical School, University of Bristol, Bristol, UK
3. Primary Care Research Centre, Faculty of Medicine, University of Southampton, Southampton, UK
4. Paediatric Gastroenterology Department, Royal Hospital for Children and Young People, Edinburgh, UK
5. Centre for Medical Imaging, University College London, London, UK

##### Corresponding author:

Athena L Sheppard

Swansea University Medical School

Swansea University

Swansea, UK

Email: 2138248@swansea.ac.uk

##### Acknowledgments

The authors wish to thank Alison Richards, Research Associate, and Sarah Dawson, Senior Research Associate in Information Retrieval, at NIHR ARC West at University Hospitals Bristol NHS Foundation Trust, and Population Health Sciences, Bristol Medical School, University of Bristol, UK, for performing the searches.

Word count (excluding summary): 4,804

# Summary

**Background:** There is growing support for a biopsy avoidant approach to diagnose coeliac disease in both children and adults, using a serological diagnosis instead.

**Aims:** To assess the diagnostic accuracy of serological tests for coeliac disease in adults and children.

**Methods:** Seven electronic databases were searched between January 1990 and August 2020. Eligible diagnostic studies evaluated the accuracy of serological tests for coeliac disease against duodenal biopsy. Risk of bias assessment was performed using QUADAS-2. Bivariate random effects meta-analyses were used to estimate serology sensitivity and specificity at the most commonly reported thresholds.

**Results:** 113 studies (n=28,338) were included, all in secondary care populations. A subset of studies were included in meta-analyses due to variations in diagnostic thresholds. Summary sensitivity and specificity of immunoglobulin A (IgA) anti-tissue transglutaminase were 90.7% (95% confidence interval: 87.3%, 93.2%) and 87.4% (84.4%, 90.0%) in adults (5 studies) and 97.7% (91.0%, 99.4%) and 70.2% (39.3%, 89.6%) in children (6 studies); and of IgA endomysial antibodies were 88.0% (75.2%, 94.7%) and 99.6% (92.3%, 100%) in adults (5 studies) and 94.5% (88.9%, 97.3%) and 93.8% (85.2%, 97.5%) in children (5 studies).

**Conclusions:** Anti-tissue transglutaminase sensitivity appears to be sufficient to rule out coeliac disease in children. The high specificity of endomysial antibody in adults supports its use to rule in coeliac disease. This evidence underpins the current development of clinical guidelines for a serological diagnosis of coeliac disease. Studies in primary care are needed to evaluate serological testing strategies in this setting.

**Keywords:** coeliac disease; diagnostic tests; meta-analyses

# Introduction

Coeliac disease is a chronic small intestinal immune-mediated enteropathy triggered by the ingestion of gluten, a protein found in wheat, rye and barley.[1] Exposure to gluten results in intestinal damage of varying severity in patients affected by coeliac disease. Symptomatic coeliac disease is characterised by gastrointestinal symptoms, including diarrhoea, nausea, vomiting and abdominal pain, and extraintestinal symptoms such as fatigue and weight loss.

Coeliac disease is estimated to affect around 1% of people in the UK,[2] however only 24% of those with coeliac disease are thought to be diagnosed.[3] These large numbers of undiagnosed patients – known as the “coeliac iceberg” – are thought to be a consequence of the non-specific nature of coeliac disease symptoms and variation in clinical presentation, from none (asymptomatic coeliac disease) to a broad spectrum of symptoms.[1] People with certain health conditions, such as Type I diabetes, autoimmune thyroid disease or Down syndrome, as well as first-degree relatives of people with coeliac disease, are at higher risk of developing coeliac disease than the general population and are more likely to present without classical symptoms.[4]

Currently the only treatment for coeliac disease is lifetime adherence to a gluten-free diet, which is expensive and can be difficult to comply with. Left undiagnosed and untreated, coeliac disease often leaves patients with troublesome symptoms that significantly affect their quality of life and lead to a higher risk of complications such as osteoporosis, infertility and small bowel cancer.[5] As such, a timely and accurate diagnosis of coeliac disease is important.

Coeliac disease is diagnosed using a combination of serological tests for coeliac-specific antibodies and endoscopic intestinal biopsy. Current guidelines by the National Institute for Health and Care Excellence recommend both adults and children with suspected coeliac disease first undergo serological testing for total immunoglobulin A (IgA) and IgA anti-tissue transglutaminase (tTG).[4] In IgA deficient patients, immunoglobulin G (IgG) endomysial antibodies (EMA), IgG deamidated gliadin peptide (DGP) or IgG tTG can be used. In adults, weakly positive for IgA tTG, IgA EMA should be measured. Seropositive adults should be referred for intestinal biopsy, while seropositive children should be referred for further investigation, which may include intestinal biopsy, IgA EMA, human leukocyte antigen (HLA) genetic testing, or a combination of the above.[4]

Intestinal biopsy is invasive and can be burdensome for patients, particularly children, who require general anaesthesia to undergo the procedure. Patients must consume a gluten-containing diet for at least six weeks prior to any serological test or biopsy, meaning those with coeliac disease may continue to experience painful and debilitating symptoms while they wait. Guidelines in the UK have begun to move towards biopsy-avoidance strategies for coeliac disease in children and, more recently, in adults. In their 2013 guidelines, the British Society of Paediatric Gastroenterology, Hepatology and Nutrition advised that children with IgA tTG greater than or equal to 10x the upper limit of normal for the assay, positive for IgA EMA and HLA positive do not need to undergo biopsy to confirm their coeliac disease diagnosis.[6] During the coronavirus pandemic, the British Society of Gastroenterology published interim guidance including a COVID-19 specific non-biopsy protocol for adults with suspected coeliac disease.[7]

Previous systematic reviews of the accuracy of serological testing for diagnosing coeliac disease suggest that the tests are highly sensitive and specific in both adults and children.[8-12] These systematic reviews, however, are all out-of-date and most have methodological limitations. Limitations included: limited search;[8-11] use of the Moses-Littenberg model[13] to pool estimates of sensitivity and specificity rather than the more robust bivariate or hierarchical summary receiver operating characteristic (HSROC) models[14-15] or no statistical synthesis of results;[10] and use of the original QUADAS-tool[16] to assess study quality (although at the time this was the most appropriate tool) the results of which were then not incorporated into the synthesis,[8-9,11] or no quality assessment.[10] The most recent, comprehensive review by Maglione et al, conducted for the AHRQ programme was the only review to include more than 20 studies.[12] However, this review also included existing systematic reviews and only generated overall summary estimates for studies published since existing reviews; it did not produce overall estimates of the accuracy of the included serological tests. This review was restricted to studies that either included at least 300 participants or was conducted in an “at risk” population – reasons for the sample size restriction were not justified. None of the reviews considered study threshold when calculating pooled estimates of sensitivity and specificity.

The purpose of this systematic review is to provide a robust and up-to-date evaluation of the accuracy of serological tests for coeliac disease in adults and children.

# Materials and Methods

This review followed Cochrane recommended methods and guidance from the Centre for Reviews and Dissemination for systematic reviews of diagnostic test accuracy.[17, 18] Our findings are reported in accordance with the PRISMA-DTA guidelines.[19] We developed and followed a standard protocol for all stages of the review, which was registered with PROSPERO (registration number: CRD42019115506).[20] Any deviations from the protocol are indicated.

## Literature search

MEDLINE, Embase, Cochrane Library, KSR Evidence and the Science databases on Web of Science were searched for relevant studies from January 1990 (when IgA EMA antibodies were introduced into practice) to August 2020, combining terms for “antibodies” and “coeliac disease” (see Appendix 1 for full strategies). Ongoing and completed studies were identified using the WHO International Clinical Trials Registry and the National Institutes of Health Clinical Trials database. Internet searches using keywords such as “celiac”/“coeliac” and “serological tests” were undertaken. The reference lists of relevant systematic reviews identified during the literature search were also used as a source of potentially relevant studies. No language restrictions were applied.

## Inclusion criteria

Inclusion criteria were defined during protocol development and piloted on a subset of 500 articles at title and abstract screening to ensure functionality.

Studies using a diagnostic cohort design were included. Studies using a case-control design were excluded as they have been shown to overestimate test accuracy and a substantial evidence base from cohort studies was anticipated.[21]

Studies in patients with classical symptoms of coeliac disease (e.g. diarrhoea, abdominal pain, fatigue), as well as mixed symptomatic and risk group (e.g. Type I diabetic) populations, were included. After piloting our inclusion criteria, we chose to exclude studies in healthy individuals (i.e. screening) or specific risk groups only to ensure the review was conducted in a clinically relevant population and that accuracy measures could be reasonably combined in a meta-analysis.

Studies in which patients underwent at least one serological test for coeliac disease, including IgA tTG, IgG tTG, IgA EMA, IgG EMA, IgA DGP, IgG DGP and IgA anti-actin antibodies (AAA) were included. Combined serological tests, such as IgA/IgG tTG (which detect the presence of IgA tTG or IgG tTG in a serum sample) were also included.

Studies were included if diagnosis was confirmed by duodenal biopsy and if at least some seronegative patients also underwent a biopsy. Studies in which serology formed part of the reference standard, which could lead to overestimation of accuracy, were excluded.

## Methods of study selection, data extraction and quality assessment

### Study selection

Titles and abstracts identified through electronic database and web searching were uploaded to Rayyan and independently screened by two reviewers (ALS, MMCE or VC).[22] Articles considered potentially relevant were obtained and assessed by one reviewer (ALS) and checked by a second reviewer (MMCE, LJS or VC) for inclusion in the review. Any discrepancies between reviewers were resolved through discussion or referral to a third reviewer.

### Data extraction

Data from each study were extracted by one reviewer (ALS) and all were checked by a second (MMCE, LJS or VC) using data extraction forms developed in Microsoft Access 2016. Disagreements were resolved through discussion or referral to a third reviewer. Data on study and patient characteristics, serological tests, and biopsy procedures were extracted.

Two-by-two data comparing serological test results with reference standard (biopsy) results (number of true positives, false negatives, false positives and true negatives) were extracted. Data relating to patients that did not undergo biopsy were excluded from the 2x2 tables where possible. Where 2x2 data were reported at multiple thresholds within a study, data relating to the manufacturer or study authors’ pre-specified cut-off were extracted. Where a threshold of primary importance was not pre-specified, data relating to the lowest reported threshold were extracted. Two-by-two data were extracted at biopsy cut-off Marsh Grade 3a if available, or at any reported biopsy cut-off otherwise.

### Study quality

Included studies were assessed for methodological quality using the QUADAS-2 tool,[23] tailored to our review (Appendix 2), which evaluates the risk of bias and applicability in primary diagnostic accuracy studies. The tool consists of four domains: patient selection, index test, reference standard, and flow and timing, each rated as high, low or unclear risk of bias. If at least one of the domains was rated as “high”, the study was considered at high risk of bias; if all domains were judged as “low” the study was considered at low risk of bias; otherwise, the study was considered as “unclear” risk of bias.

When a study reported accuracy data for two or more tests, the ‘index test’ and ‘flow and timing’ domains were applied separately to each test. When a study reported accuracy data for adults and children separately, all domains were applied separately to each patient group.

## Quantitative analysis and meta-analysis methods

Analyses were stratified by age group (adults >16 years; children ≤16 years; mixed [adults and children] and age unspecified) and test. All analyses were performed in Stata version 16.0 using the metandi command.[24]

### Primary analyses

For data sets including four or more studies, a bivariate random effects meta-analysis of sensitivity and specificity was performed,[14] assuming binomial likelihoods for the number of true positive and true negative test results.[25] When there were few (2-3) studies in a data set, univariate fixed effect meta-analyses of sensitivity and specificity were performed. Where only a single study was available, the sensitivity and specificity reported in that study are presented.

Where the extracted data on a test related to a range of thresholds, we report results from two separate meta-analyses. First, we fitted the bivariate model[14] to studies reporting at the most commonly reported threshold only. From these models, we report summary sensitivity and specificity at that threshold. We used summary estimates of sensitivity and specificity to calculate summary positive and (inverse) negative likelihood ratios and associated confidence intervals. Second, we fitted the HSROC model[15] to the full data set, which consisted of one estimate per study to avoid double counting. From these models, we present the summary receiver operating characteristic (ROC) curve, which represents the trade-off between sensitivity and specificity across thresholds.

The sensitivity and specificity reported in each study were plotted in ROC space, with colour coding allowing for comparisons between different thresholds to be made. Summary estimates of sensitivity and specificity with 95% confidence intervals at the most commonly reported threshold and summary ROC curves across all reported thresholds are presented.

Summary positive and negative predictive values and natural frequencies were estimated for a hypothetical population of 10,000 people tested for coeliac disease, for a pre-test probability of 2% (the estimated pre-test probability of coeliac disease in a primary care population presenting with symptoms suggestive of coeliac disease[26]). Values were estimated based on summary sensitivity and specificity, restricted to the most commonly reported threshold.

### Direct comparisons

For the two most commonly assessed tests, IgA tTG and IgA EMA, we also estimated the relative sensitivity and specificity within each study to summarise their comparative accuracy. Relative sensitivity is a ratio of two sensitivities, e.g. if relative sensitivity is 1 then the sensitivity of the two tests is the same (similarly for specificity). We had intended to pool estimates of relative sensitivity and specificity. However, none of the studies that evaluated comparative accuracy reported estimates of sensitivity and specificity for the same thresholds. We therefore report the observed range of these measures across comparative studies (which evaluated both tests in the same group of patients).The relative accuracy of tests with high estimated sensitivity and/or specificity (>90% across all studies), that were compared to IgA tTG or IgA EMA, are also reported.

### Sensitivity analyses

Sensitivity analyses were performed restricting inclusion to: 1) studies rated at low risk of bias using the QUADAS-2 tool, 2) studies carried out in symptomatic patients only, and 3) studies in which all patients received a biopsy.

## Patient and public involvement

Patients and the public were not involved in the choice of research question, the design of the study, the conduct of the study, the interpretation of the results, or our dissemination plans.

## Deviations from the protocol

In the protocol for this review,[20] we described our target population as “adults or children at risk of coeliac disease”. After piloting our inclusion criteria at title and abstract screening, we chose to exclude studies in healthy populations (i.e. screening) or single risk groups only, as described in the Eligibility criteria.

We described the intervention as “any serological test for coeliac disease”, including HLA-DQ typing. We decided not to include anti-gliadin antibodies as they are not recommended for use in the diagnosis of coeliac disease by the National Institute for Health and Care Excellence.[4] We decided to focus this review on serological tests; we have evaluated the accuracy of HLA testing in a separate review.[26] We did not include point-of-care or rapid serological tests as a systematic review of their accuracy has recently been published.[27]

We described our comparator as “any reported reference standard”. After piloting our exclusion criteria at title and abstract screening, we decided to exclude studies where serology formed part or all of the reference standard as this would lead to over-inflation of test accuracy estimates.

In the strategy for data synthesis, we said “If a test is reported at a single threshold for test positivity across studies, summary operating points will be used to measure the test’s accuracy. If a test is reported at differing thresholds across studies, summary ROC curves showing the trade-off between sensitivity and specificity at the various thresholds will be produced”. In the review, we produced both summaries of the evidence for completeness: a summary ROC curve across all reported thresholds and summary sensitivity/specificity at the most commonly reported threshold.

# Results

## Study characteristics

A total of 15,170 articles were identified through electronic searches (see PRISMA study flow diagram in Figure 1). After removing duplicates, the titles and abstracts of 7,956 articles were independently screened by two reviewers, of which 398 were considered potentially relevant and full-texts were obtained. We were unable to obtain full-texts for four studies and translation was not possible for a further five studies. After further assessment for eligibility, 113 studies in 131 publications fulfilled our inclusion criteria. Two hundred and three sets of 2x2 data on a total of 28,338 patients were extracted across the studies.

Twenty-nine studies were conducted in adults, 48 in children and 33 in a mixed (adults and children) population or an age unspecified population[[1]](#footnote-1). A further three studies reported separate accuracy data for adults and children, which were extracted as two distinct sets of data. Where reported, the mean age of adults was 43.6 years (standard deviation: 13.9 years, range: 13-94 years) and of children was 6.3 years (standard deviation: 4.4 years, range: 2 months-19 years). On average 66% of adults and 52% of children were female. Fifty-six studies were prospective and 57 were retrospective in design. See Appendix 3 for full characteristics of included studies.

## Quality of evidence

One hundred and thirty-seven sets of 2x2 data were judged to be at high risk of bias, 22 were low risk of bias and 44 were deemed unclear (Appendix 4).

Most (118) sets of 2x2 data were at high risk of bias because biopsy results were interpreted with knowledge of (or not explicitly blinded to) serology results. In 28 sets of 2x2 data there was potential for partial verification bias due to some patients not undergoing biopsy to verify their true disease status. A further 23 sets of 2x2 data were rated high risk of bias due to concerns about patient selection (e.g. inappropriate study exclusions, patients not adhering to a gluten-free diet prior to testing) and 12 due to concerns about the index test (e.g. threshold not pre-specified).

Twenty-four sets of 2x2 data were judged to be at unclear risk of bias due to missing information on patient selection (e.g. study exclusion criteria), 23 where details of serological testing (e.g. threshold for test positivity) were not reported and 40 where information on flow and timing (e.g. interval between serology and biopsy, or whether patients maintained a gluten-free diet between tests) was not reported.

## Primary analyses

### All thresholds

All accuracy data extracted from the included studies are summarised in Table 1. IgA tTG and IgA EMA were the most commonly studied tests across all age groups, with 27 and 37 studies of IgA tTG and 19 and 28 studies of IgA EMA performed in adults and children, respectively. Coeliac disease prevalence varied greatly between studies (range: 1.8 to 92.6%).

Study estimates of sensitivity and specificity are shown in ROC space in Figures 2 and 3, with summary ROC curves estimated across the full range of thresholds and summary estimates restricted to the most common threshold. There was considerable heterogeneity in sensitivity and specificity between studies.

### Most common threshold

At a threshold of 15 U/mL (5 studies), IgA tTG was moderately sensitive (90.7%, 95% confidence interval: 87.3, 93.2) and specific (87.4%, 84.4, 90.0) for coeliac disease in adults (Table 2). IgA EMA was highly specific (99.6%, 92.3, 100.0) in adults at a threshold of 1:5 (5 studies), but less sensitive (88.0%, 75.2, 94.7). IgA tTG was highly sensitive (97.7%, 91.0, 99.4) in children at a threshold of 20 U/mL (6 studies) but less specific (70.2%, 39.3, 89.6), while IgA EMA was both highly sensitive (94.5%, 88.9, 97.3) and specific (93.8, 85.2, 97.5) at a threshold of 1:10 (5 studies). Using IgA EMA, adults and children with coeliac disease were 341x and 11x more likely to test positive for coeliac disease than patients without the condition, respectively (Table 2). Children without coeliac disease were 30x more likely to test negative on IgA tTG and 15x more likely to test negative on IgA EMA than patients with coeliac disease.

Figure 4 shows the results that would be obtained if a hypothetical cohort of patients who present to primary care with symptoms suggestive of coeliac disease (pre-test probability of 2%[26]) were tested for coeliac disease. A high number of false positive results are likely to be observed if IgA tTG or IgA EMA were used in isolation at the most commonly reported thresholds (Figure 4).

## Sensitivity analyses

There was little evidence that estimates of sensitivity and specificity varied according to study quality, whether all patients presented with symptoms or whether all patients within a study underwent biopsy (Table 3 and Appendix 5). However, formal comparison was not possible as too few studies within each subgroup reported accuracy estimates at consistent thresholds.

## Direct comparisons

Comparative accuracy studies provided little evidence of differences in accuracy between tests (Table 2). Fourteen studies in adults and sixteen studies in children provided direct comparison of IgA tTG and IgA EMA. There was a suggestion that IgA EMA was more specific than IgA tTG in adults with similar estimates of sensitivity; estimates in children were similar for both tests. However, studies reported results at different thresholds therefore formal statistical comparison was not appropriate.

Other test pairs were only compared directly in three or four studies. IgG DGP and IgA/IgG DGP appeared slightly more sensitive and specific than IgA tTG, however, this difference was much smaller than indirect comparisons suggested (Table 2). This suggests that studies providing a direct comparison between DGP and other serological tests may be subject to bias, resulting in overestimated accuracy for all tests evaluated in these studies.

# Discussion

## Statement of principal findings

The accuracy of serological tests for detecting coeliac disease was high. IgA tTG was found to have a sensitivity of 90.7% (95% confidence interval: 87.3, 93.2, threshold: 15 U/mL) in adults and 97.7% (91.0, 99.4, threshold: 20 U/mL) in children, based on five and six studies, respectively. Specificity was slightly lower at 87.4% (84.4, 90.0) in adults and 70.2% (39.3, 89.6) in children. This suggests that IgA tTG is better at ruling out coeliac disease than at ruling in a diagnosis of coeliac disease.

The sensitivity of IgA EMA was slightly lower at 88.0 (75.2, 94.7, threshold: 1:5) in adults and 94.5 (88.9, 97.3 threshold: 1:10) in children based on 5 studies each. Specificity was higher at 99.6% (92.3, 100.0) in adults and 93.8% in children (85.2, 97.5) based on five studies each. This suggests the EMA may be useful in ruling in coeliac disease, possibly as a secondary test following an initial positive IgA tTG tests. However, there were insufficient data to formally evaluate its use as an add-on test.

## Strengths and limitations

There are several key strengths to this review, which avoids the methodological limitations highlighted in previous reviews. Limiting inclusion to diagnostic cohort studies helps to ensure the quality of the supporting evidence and avoids overestimation of test accuracy due to potential bias introduced by case-control designs. However, this also means that fewer studies were available to contribute to summary estimates, potentially resulting in reduced precision of these estimates. Potentially relevant studies were identified through an extensive literature search and screening was carried out independently by two reviewers at each stage. We identified 113 studies that fulfilled our review inclusion criteria, considerably more than were included in previous reviews; the largest number of studies included in any of the previous reviews identified was 31 studies in addition to 11 reviews that included smaller numbers of studies.[12] Data extraction was also performed by one reviewer and checked by a second to ensure accuracy and completeness. We conducted detailed risk of bias assessment using an appropriate and validated tool.[23] Syntheses of studies was carried out in line with Cochrane recommended methods and sensitivity analyses were performed to explore heterogeneity.[17, 18]

A large amount of heterogeneity was present across included studies. A wide variety of thresholds for test positivity were reported across studies, with some not reporting the threshold at all. There is a lack of clarity on how thresholds relate to one another across laboratories and manufacturers. Where threshold units differed between assays we assumed they represented the same arbitrary units and were comparable, however as they do not measure absolute amounts of antibodies there may be slight variation between different commercial assays. We would have liked to investigate differences between commercial kits and whether accuracy of tests has changed over time as new testing methods have evolved. However, the different thresholds at which results were reported and wide variety of commercial kits employed mean that there were insufficient data to allow us to stratify out analysis in this way.

There was substantial variation in coeliac disease prevalence between studies, likely due to differences in patient characteristics such as clinical presentation and reason for biopsy. Some studies excluded patients with IgA deficiencies while others did not, which may have affected the accuracy estimates for tests that detected the presence of IgA in serum samples. Sources of heterogeneity were explored through sensitivity analyses, but summary results were relatively robust to a number of exclusions.

All studies were carried out in a secondary care population by nature of the reference standard (duodenal biopsy), which limits the generalisability of the review. Caution is needed if trying to extrapolate these results to testing outside of hospital clinics in community populations where prevalence is lower and thus the probability that a positive result is false increases. There was some variability in biopsy procedure across studies; where biopsies were collected in an optimal manner this may have impacted study specificity.

Despite limiting our review to cohort studies, most sets of 2x2 data (67%) included were judged to be at high risk of bias, mainly due to a lack of blinding to serology when interpreting biopsy results. Partial verification bias may be present where not all patients in a study underwent biopsy, whether due to study design, clinical practice or deviation from study protocol. A recent systematic review suggests that failure to account for partial verification bias may result in overestimated sensitivity of IgA tTG.[28] However, our sensitivity analysis of sets of 2x2 data at low risk of bias found little difference in test accuracy estimates compared to the evidence base as a whole, however there was only a small pool of data on which to base this comparison and formal statistical comparison was not possible.

## Comparison to existing literature

Existing evidence on the accuracy of serology for diagnosing coeliac disease is mixed. In a systematic review of serological test accuracy, Rostom et al stratified their analyses by age, test and substrate.[8] Summary sensitivity and specificity of IgA tTG (human recombinant) and IgA EMA were >90% across all age groups. Giersiepen et al conducted a systematic review of antibody test accuracy in children.[9] Meta-analyses were not performed due to between-study heterogeneity; sensitivity and specificity of IgA tTG ranged from 13% to 100% and 78% to 100%, and of IgA EMA from 83% to 100% and 95% to 100%. Schyum and Rumessen carried out a systematic review of serological test accuracy in adults.[10] Study data was not meta-analysed, but median sensitivity and specificity of IgA tTG was estimated as 93% and 95%, and of IgA EMA as 84% and 100%. van der Windt et al estimated serological test accuracy in adults presenting with abdominal symptoms in primary care.[11] Summary sensitivity and specificity were 89% and 98% for IgA tTG and 90% and 99% for IgA EMA. Sensitivity and specificity estimates of IgA tTG and IgA EMA in this review were slightly lower than in previous reviews. Inclusion of case-control studies may have inflated previous accuracy estimates.

## Implications for clinical practice and future research

Serological tests are useful as a first step towards diagnosis in patients with suspected coeliac disease. The British Society of Paediatric Gastroenterology, Hepatology and Nutrition guidelines have already incorporated the safe and secure serological diagnosis of coeliac disease, allowing children meeting certain criteria – including IgA tTG ≥10x the upper limit of normal across a number of different assays – to be diagnosed without biopsy. These guidelines have since been validated in large prospective studies.[29-30] IgA tTG accuracy should always be internally validated against biopsy results within a practice, due to variation between assays and laboratory procedures.

There is increasing evidence of the high predictive value of IgA tTG ≥10x the upper limit of normal in an adult population,[31] with interim guidance including a non-biopsy protocol for adults with suspected coeliac disease published in light of the coronavirus pandemic.[7] We found IgA EMA to be highly specific in adults, lending support to its utility as a secondary test to reduce the likelihood of a false positive tTG result. This may help to pave the way for serological diagnosis of coeliac disease in an adult population in the future, a topic that is of great interest to the gastroenterology community. Although, EMA is not available in all labs because it depends much on observer interpretation than other tests such as tTG.

The interpretation of serological test results remains an important area of research, and further work is needed to confirm the thresholds above and below which we can confidently rule in or rule out coeliac disease. The practice of dichotomising continuous test results may be an oversimplification of a complex disease with a wide range of clinical presentations. Further research is also needed to estimate the accuracy of serological tests used in sequence or combination, and to model the clinical and cost effectiveness of tests and testing strategies. Identification of highly accurate serological testing strategies may allow for progressively more biopsy-avoidant pathways in the future. To assess the accuracy of a serological diagnosis in adults, an analysis of IgA tTG at the full range of thresholds should be undertaken to establish a cut-off for which the positive predictive value is close to 100%. There are further tests in development for coeliac disease that will require evaluation, with research focussed on rapid point-of-care tests and genetic tests such as the HLA-DQ-gluten tetramer test.[32]

There is a need for research on serological test accuracy in primary care settings where serological tests are used in practice. With the growing movement towards biopsy-avoidant pathways, the diagnosis and management of coeliac disease is likely to increasingly take place in primary rather than secondary care. It is therefore key that serological testing strategies are evaluated in primary care populations.

# Data Availability Statement

All data and statistical code are available from GitHub (<https://github.com/athenasheppard/coeliac-dta>).

# Ethical Approval

Ethical approval was not required.

# Statement of Interests

1. Authors’ declaration of personal interests:

Athena L Sheppard has received research funding from the National Institute for Health Research.

2. Declaration of funding interests:

This report is independent research arising from a Systematic Review Fellowship (Athena L Sheppard, RM-SR-2017-08-012) supported by the National Institute for Health Research. This research was funded by the National Institute for Health Research Applied Research Collaboration West (NIHR ARC West). The views expressed in this article are those of the author(s) and not necessarily those of the NIHR or the Department of Health and Social Care. The funders had no role in considering the study design or in the collection, analysis, interpretation of data, writing of the report, or decision to submit the article for publication.

# Authorship Statement

Athena L Sheppard acts as the submission’s guarantor and takes responsibility for the integrity of the work as a whole, from inception to published article. All authors approved the final version of the article.

Conceptualization: ALS, MMCE, LJS, VC, HE, PMG, HEJ, JW, PFW. Data curation: ALS, MMCE, LJS, VC. Formal analysis: ALS, MMCE, LJS, HE, PMG, ADH, HEJ, SM, JW, PFW. Funding acquisition: PFW. Investigation: ALS, MMCE, LJS, HE, PMG, ADH, HEJ, SM, JW, PFW. Methodology: ALS, MMCE, LJS, HE, PMG, ADH, HEJ, SM, JW, PFW. Project administration: ALS. Resources: ALS. Software: ALS. Supervision: PFW. Validation: ALS, MMCE, LJS, HE, PMG, ADH, HEJ, SM, JW, PFW. Visualization: ALS, MMCE, LJS, HE, PMG, ADH, HEJ, SM, JW, PFW. Writing – original draft: ALS. Writing – review & editing: ALS, MMCE, LJS, VC, HE, PMG, ADH, HEJ, SM, JW, PFW.

# References

|  |  |
| --- | --- |
| 1 | Ludvigsson JF, Leffler, DA, Bai J, et al. The Oslo definitions for coeliac disease and related terms. *Gut* 2013;62:43-52. |
| 2 | Bingley PJ, Williams AJ, Norcross AJ, et al. Undiagnosed coeliac disease at age seven: population based prospective birth cohort study. *BMJ* 2004;328(7435):322-3. |
| 3 | West J, Fleming KM, Tata LJ, et al. Incidence and prevalence of celiac disease and dermatitis herpetiformis in the UK over two decades: population-based study. *American Journal of Gastroenterology* 2014;109(5):757-68. |
| 4 | Coeliac disease: recognition, assessment and management (NG20). The National Institute for Health and Care Excellence. 2015. URL: <https://www.nice.org.uk/guidance/conditions-and-diseases/blood-and-immune-system-conditions/coeliac-disease>. [Accessed May 2021]. |
| 5 | Conditions linked to coeliac disease. Coeliac UK. URL: <https://www.coeliac.org.uk/information-and-support/coeliac-disease/conditions-linked-to-coeliac-disease>. [Accessed May 2021]. |
| 6 | Murch S, Jenkins H, Auth M, et al. Joint BSPGHAN and Coeliac UK guidelines for the diagnosis and management of coeliac disease in children. *Archives of Disease in Childhood* 2013;98(10):806-11. |
| 7 | Edwards C. BSG Interim Guidance: COVID-19 specific non-biopsy protocol for those with suspected coeliac disease. 2020. URL: [https://www.bsg.org.uk/covid-19-advice/covid-19-specific-non-biopsy-protocol-guidance-for-those-with-suspected-coeliac-disease](https://www.bsg.org.uk/covid-19-advice/covid-19-specific-non-biopsy-protocol-guidance-for-those-with-suspected-coeliac-disease/). [Accessed May 2021]. |
| 8 | Rostom A, Dube C, Cranney A, et al. The diagnostic accuracy of serologic tests for celiac disease: A systematic review. *Gastroenterology* 2005;128(Supplement 1):S38-S46. |
| 9 | Giersiepen K, Lelgemann M, Stuhldreher N, et al. Accuracy of diagnostic antibody tests for coeliac disease in children: summary of an evidence report. *Journal of Pediatric Gastroenterology and Nutrition* 2012;54(2):229-41. |
| 10 | Schyum AC, Rumessen JJ. Serological testing for celiac disease in adults. *United European Gastroenterology Journal* 2013;1(5):319-25. |
| 11 | van der Windt DA, Jellema P, Mulder CJ, et al. Diagnostic Testing for Celiac Disease Among Patients With Abdominal Symptoms: A Systematic Review. *JAMA* 2010;303(17):1738-46. |
| 12 | Maglione MA, Okunogbe A, Ewing B, et al. Diagnosis of Celiac Disease. Comparative Effectiveness Review No. 162. *AHRQ* 2016;15(16)-EHC032-EF. |
| 13 | Littenberg B, Moses LE. Estimating Diagnostic Accuracy from Multiple Conflicting Reports: A New Meta-analytic Method. *Medical Decision Making*. 1993;13(4):313-321. |
| 14 | Reitsma J, Glas A, Rutjes A, et al. Bivariate analysis of sensitivity and specificity produces informative summary measures in diagnostic reviews. *Journal of Clinical Epidemiology* 2005;58(10):982-90. |
| 15 | Rutter CM, Gatsonis CA. A hierarchical regression approach to meta-analysis of diagnostic test accuracy evaluations. *Statistics in Medicine* 2001;20(19):2865-2884. |
| 16 | Whiting P, Rutjes AW, Reitsma JB, et al. The development of QUADAS: a tool for the quality assessment of studies of diagnostic accuracy included in systematic reviews. *BMC Medical Research Methodology* 2003;3(25). |
| 17 | Centre for Reviews and Dissemination (CRD). Systematic Reviews: CRD’s guidance for undertaking reviews in health care. University of York: Centre for Reviews and Dissemination 2009. |
| 18 | Deeks JJ, Bossuyt PM, Gatsonis C. Cochrane Handbook for Systematic Reviews of Diagnostic Test Accuracy Version 1.0.0. The Cochrane Collaboration. 2013. URL: <http://srdta.cochrane.org>. [Accessed May 2021]. |
| 19 | McInnes MDF, Moher D, Thombs BD, et al. Preferred Reporting Items for a Systematic Review and Meta-analysis of Diagnostic Test Accuracy Studies: The PRISMA-DTA Statement. *JAMA* 2018;319(4):388-96. |
| 20 | Sheppard AL, Whiting P, Corfield V, et al. What is the accuracy of serological testing for diagnosing coeliac disease in adults and children? A systematic review. PROSPERO. 2019. URL: <https://www.crd.york.ac.uk/prospero/display_record.php?RecordID=115506>. [Accessed May 2021]. |
| 21 | Whiting P, Rutjes A, Westwood M, et al. A systematic review classifies sources of bias and variation in diagnostic test accuracy studies. *Journal of Clinical Epidemiology* 2013;66(10):1093-104. |
| 22 | Ouzzani M, Hammady H, Fedorowicz Z, et al. Rayyan - a web and mobile app for systematic reviews. *Systematic Reviews* 2016;5:210. |
| 23 | Whiting P, Rutjes AWS, Westwood ME, et al. QUADAS-2: A revised tool for the quality assessment of diagnostic accuracy studies. *Annals of Internal Medicine* 2011;155(8):529-36. |
| 24 | StataCorp. Stata Statistical Software: Release 16. *College Station, TX: StataCorp LLC*.2019. |
| 25 | Chu H, Cole S. Bivariate meta-analysis of sensitivity and specificity with sparse data: a generalized linear mixed model approach. *Journal of Clinical Epidemiology* 2006;59(12):1331-3. |
| 26 | Elwenspoek MMC, Jackson J, O’Donnell R, et al. The accuracy of diagnostic indicators for coeliac disease: A systematic review and meta-analysis. *PLOS ONE* 16(10):e0258501. |
| 27 | Singh P, Arora A, Strand TA, et al. Diagnostic Accuracy of Point of Care Tests for Diagnosing Celiac Disease: A Systematic Review and Meta-Analysis. *Journal of Clinical Gastroenterology* 2019;53(7):535-42. |
| 28 | Hujoel IA, Jansson-Knodell CL, Hujoel PP, et al. Estimating the Impact of Verification Bias on Celiac Disease Testing. *Journal of Clinical Gastroenterology* 2021;55(4):327-334. |
| 29 | Werkstetter KJ, Korponay-Szabó IR, Popp A , et al. Accuracy in diagnosis of celiac disease without biopsies in clinical practice. *Gatroenterology* 2017;153(4):924-35. |
| 30 | Wolf J, Petroff D, Richter T, et al. Validation of antibody-based strategies for diagnosis of pediatric celiac disease without biopsy. *Gatroenterology* 2017;153(2):410-9. |
| 31 | Penny HA, Raju SA, Sanders DS. Progress in the serology-based diagnosis and management of adult celiac disease. *Expert Review of Gastroenterology & Hepatology* 2020;14(3):147-54. |
| 32 | Sarna VK, Lundin KEA, Morkrid L, et al. HLA-DQ-gluten tetramer blood test accurately identifies patients with and without celiac disease in absence of gluten consumption. *Gatroenterology* 2018;154(4):886-96. |
| 33 | Abdollahi A, Mehrazma M, Talachian E. Diagnostic value of serum IgG-antigliadin, IgA anti-endomysial and IgA anti-tissue transglutaminase antibodies for pediatric celiac disease. *Pediatric Research* 2011;70:775. |
| 34 | Aberg AK, Olcen P. Serologic screening for celiac disease in children: a comparison between established assays and tests with deamidated gliadin-derived peptides plus conjugates for both IgA and IgG antibodies. *APMIS* 2009;117(11):808-13. |
| 35 | Abrams JA, Brar P, Diamond B, et al. Utility in clinical practice of immunoglobulin a anti-tissue transglutaminase antibody for the diagnosis of celiac disease. *Clinical Gastroenterology & Hepatology* 2006;4(6):726-30. |
| 36 | Al Saidi SS, Al Harthi SO, Mula-Abed WA. Diagnostic utility of coeliac disease: a descriptive study in a tertiary care hospital. *Oman Medical Journal* 2013;28(4):232-6. |
| 37 | Ali Z, Hagglund K, Lyons A, et al. Is small intestinal biopsy always necessary to diagnose celiac disease in children?. *American Journal of Gastroenterology* 2012;107(Supplement 1):S785. |
| 38 | Alonso M, Saenz M, Echaniz P, et al. Evaluation of intraepithelial duodenal subsets, marsh pathological grades, and anti transglutaminase antibodies in diagnosis of celiac disease in a paediatric population. *European Journal of Immunology* 2009;39(S1):S704. |
| 39 | Ashorn S, Raukola H, Valineva T, et al. Elevated serum anti-Saccharomyces cerevisiae, anti-I2 and anti-OmpW antibody levels in patients with suspicion of celiac disease. *Journal of Clinical Immunology* 2008;28(5):486-94. |
| 40 | Atkinson K, Tokmakajian S, Watson W, et al. Evaluation of the endomysial antibody for celiac disease: operating properties and associated cost implications in clinical practice. *Canadian Journal of Gastroenterology* 1997;11(8):673-7. |
| 41 | Barada K, Habib RH, Malli A, et al. Prediction of celiac disease at endoscopy. *Endoscopy* 2014;46(2):110-9. |
| 42 | Barker CC, Mitton C, Jevon G, et al. Can tissue transglutaminase antibody titers replace small-bowel biopsy to diagnose celiac disease in select pediatric populations?. *Pediatrics* 2005;115(5):1341-6. |
| 43 | Basso D, Gallo N, Guariso G, et al. Role of anti-transglutaminase (anti-tTG), anti-gliadin, and anti-endomysium serum antibodies in diagnosing celiac disease: a comparison of four different commercial kits for anti-tTG determination. *Journal of Clinical Laboratory Analysis* 2001;15(3):112-5. |
| 44 | Bayram Y, Parlak M, Aypak C, et al. Diagnostic accuracy of IgA anti-tissue transglutaminase in celiac disease in Van-Turkey. *Eastern Journal of Medicine* 2015;20(1):20-3. |
| 45 | Bhatnagar S, Gupta SD, Mathur M, et al. Celiac disease with mild to moderate histologic changes is a common cause of chronic diarrhea in Indian children. *Journal of Pediatric Gastroenterology & Nutrition* 2005;41(2):204-9. |
| 46 | Bishop J, Reed P, Austin P, et al. Prospective Evaluation of the ESPGHAN Guidelines for Diagnosis of Coeliac Disease in New Zealand Children. *Journal of Pediatric Gastroenterology & Nutrition* 2018;67(6):749-754. |
| 47 | Bowron A, Moorghen M, Morgan JE, et al. Cost-effective strategy for the serological investigation of coeliac disease. *Annals of Clinical Biochemistry* 2000;47(4):467-70. |
| 48 | Bozzato D, Rossi E, Pelloso M, et al. Aeskulisa and H-TTG/DGP screen for celiac disease diagnosis. *Clinical Chemistry and Laboratory Medicine* 2011;49(S1):S596. |
| 49 | Burginwolff A, Gaze H, Hadziselimovic F, et al. The diagnostic significance of gliadin and endomysium antibodies in childhood celiac-disease. In: Inflammatory Bowel Disease and Coeliac Disease in Children. Hadziselimovic F, Herzog B, Bürgin-Wolff A, eds. Dordrecht: Springer 1990:177-87. |
| 50 | Camarero C, Roldan B, Sebastian M, et al. Predictive value of antigliadin, antireticulin, and antiendomysium antibodies in the diagnosis of gluten-associated enteropathy. *Revista Espanola de Pediatria* 1997;53(316):309-14. |
| 51 | Carroccio A, Vitale G, Di Prima L, et al. Comparison of anti-transglutaminase ELISAs and an anti-endomysial antibody assay in the diagnosis of celiac disease: A prospective study. *Clinical Chemistry* 2002;48(9):1546-50. |
| 52 | Carroccio A, Di Prima L, Pirrone G, et al. Anti-transglutaminase antibody assay of the culture medium of intestinal biopsy specimens can improve the accuracy of celiac disease diagnosis. *Clinical Chemistry* 2006;52(6):1175-80. |
| 53 | Chan AW, Butzner JD, McKenna R, et al. Tissue transglutaminase enzyme-linked immunosorbent assay as a screening test for celiac disease in pediatric patients. *Pediatrics* 2001;107:E8. |
| 54 | Clouzeau H, Taupin JL, Le BB, et al. Diagnostic value of HLA DQ2/DQ8 and antitransglutaminase antibodies for the diagnosis of coeliac disease: Is jejunal biopsy still mandatory?. *Journal of Pediatric Gastroenterology and Nutrition* 2007;44:e63. |
| 55 | Corrao G, Corazza GR, Andreani ML, et al. Serological screening of coeliac disease: choosing the optimal procedure according to various prevalence values. *Gut* 1994;35(6):771-5. |
| 56 | Dahlbom I, Nyberg BI, Berntson L, et al. Simultaneous detection of IgA and IgG antibodies against tissue transglutaminase: The preferred pre-biopsy test in childhood celiac disease. *Scandinavian Journal of Clinical & Laboratory Investigation* 2016;76(3):208-16. |
| 57 | Dahle C, Hagman A, Ignatova S, et al. Antibodies against deamidated gliadin peptides identify adult coeliac disease patients negative for antibodies against endomysium and tissue transglutaminase. *Alimentary Pharmacology & Therapeutics* 2010;32(2):254-60. |
| 58 | Del Rosario MA, Fitzgerald JF, Chong SK, et al. Further studies of anti-endomysium and anti-gliadin antibodies in patients with suspected celiac disease. *Journal of Pediatric Gastroenterology & Nutrition* 1998;27(2):191-5. |
| 59 | Diamanti A, Colistro F, Calce A, et al. Clinical value of immunoglobulin A antitransglutaminase assay in the diagnosis of celiac disease. *Pediatrics* 2006;118(6):1696-700. |
| 60 | Dickey W, McMillan SA, McCrum EE, et al. Association between serum levels of total IgA and IgA class endomysial and antigliadin antibodies: implications for coeliac disease screening. *European Journal of Gastroenterology & Hepatology* 1997;9(6):559-62. |
| 61 | Donaldson MR, Firth SD, Wimpee H, et al. Correlation of duodenal histology with tissue transglutaminase and endomysial antibody levels in pediatric celiac disease. *Clinical Gastroenterology & Hepatology* 2007;5(5):567-73. |
| 62 | Dutta AK, Chacko A, Avinash B. Suboptimal performance of IgG anti-tissue transglutaminase in the diagnosis of celiac disease in a tropical country. *Digestive Diseases & Sciences* 2010;55(3):698-702. |
| 63 | El Zanati H, El Goweini M, Doran N, et al. Are we overestimating or underestimating the value of coeliac serology in diagnosing coeliac disease?. *British Journal of Surgery* 2019;106(S5):123. |
| 64 | Elliott RM, Horowitz GL, Fan SL. Comparison of Anti-Tissue Transglutaminase, Anti-Gliadin and Anti-Deamidated Gliadin Peptide Serologic Testing in the Detection of Celiac Disease. *Clinical Chemistry* 2009;55(6):A126. |
| 65 | Emami MH, Karimi S, Kouhestani S, et al. Diagnostic accuracy of IgA anti-tissue transglutaminase in patients suspected of having coeliac disease in Iran. *Journal of Gastrointestinal & Liver Diseases* 2008;17(2):141-6. |
| 66 | Eremic N, Deic M , Hadnadev L. Diagnostic accuracy of IGA anti-tissue transglutaminase antibody testing in celiac disease. *Journal of Medical Biochemistry* 2012;31(2):100-6. |
| 67 | Feighery C, Weir DG, Whelan A, et al. Diagnosis of gluten-sensitive enteropathy: is exclusive reliance on histology appropriate?. *European Journal of Gastroenterology & Hepatology* 1998;10(11):919-25. |
| 68 | Fernandez ML, Vivas S, Ruiz de Morales JM, et al. Usefulness of anti-transglutaminase antibodies in the diagnosis of celiac disease. *Gastroenterologia y Hepatologia* 2005;28(8):437-40. |
| 69 | Ford RP. Which serological tests best identify gluten reactions?. *Journal of Pediatric Gastroenterology and Nutrition* 2009;49(Suppl 1):E14-E15. |
| 70 | Gandolfi L, Catassi C, Garcia S, et al. Antiendomysial antibody test reliability in children with frequent diarrhea and malnutrition: is it celiac disease?. *Journal of Pediatric Gastroenterology & Nutrition* 2001;33(4):483-7. |
| 71 | Gidrewicz D, Potter K, Trevenen CL, et al. Evaluation of the ESPGHAN Celiac Guidelines in a North American Pediatric Population. *American Journal of Gastroenterology* 2015;110(5)760-7. |
| 72 | Gonzalez R, Mella JM, Mohaidle A, et al. Accuracy of the antibodies against synthetic deaminated gliadin peptides for the diagnosis of celiac disease in a general community hospital in argentina: Are so sensitive for patients with low pretest probability?. *Gastroenterology* 2012;144(Supplement 1):S276. |
| 73 | Grodzinsky E, Jansson G, Skogh T, et al. Anti-endomysium and anti-gliadin antibodies as serological markers for coeliac disease in childhood: a clinical study to develop a practical routine. *Acta Paediatrica* 1995;84(3):294-8. |
| 74 | Hadithi M, Von Blomberg BME, Crusius JBA, et al. Accuracy of serologic tests and HLA-DQ typing for diagnosing celiac disease. *Annals of Internal Medicine* 2007;147(5):294-302. |
| 75 | Hashmi MA, Hussain T, Masood N, et al. Accuracy of Anti-Tissue Transglutaminase IgA Antibody in the Diagnosis of Paediatric Celiac Disease. *Journal of the College of Physicians & Surgeons – Pakistan* 2016;26(4):263-6. |
| 76 | Hojsak I, Mozer-Glassberg Y, Segal Gilboa N, et al. Celiac disease screening assays for children younger than 3 years of age: the performance of three serological tests. *Digestive Diseases & Sciences* 2012;57(1):127-32. |
| 77 | Hollen E, Farnback M, Forslund T, et al. Evaluation of Multiple Diagnostic Indicators in Comparison to the Intestinal Biopsy as the Golden Standard in Diagnosing Celiac Disease in Children. *Medical Sciences* 2016;4(4):20. |
| 78 | Holmes GKT, Forsyth JM, Knowles S, et al. Coeliac disease: further evidence that biopsy is not always necessary for diagnosis. *European Journal of Gastroenterology & Hepatology* 2017;29(6):640-5. |
| 79 | Hopper AD, Cross SS, Hurlstone DP, et al. Pre-endoscopy serological testing for coeliac disease: evaluation of a clinical decision tool. *BMJ* 2007;334:729. |
| 80 | Hopper AD, Hadjivassiliou M, Hurlstone DP, et al. What is the role of serologic testing in celiac disease? A prospective, biopsy-confirmed study with economic analysis. *Clinical Gastroenterology & Hepatology* 2008;6(3):314-20. |
| 81 | Iiritano E, Grassia R, Staiano T, et al. Ema biopsy in suspected coeliac disease: Correlation with serological and histopathological findings. *Digestive and Liver Disease* 2013;45(Supplement 2):S125. |
| 82 | Iwanczak F, Iwanczak B, Matusiewicz K, et al. Assessment of serum antibodies against gliadin, endomysium and tissue transglutaminase in diagnosis of celiac disease in children. *Gastroenterologia Polska* 2003;10(4):323-8. |
| 83 | Jarmi V, Cejas N, Kiener O, et al. Diagnostic accuracy of antibodies to deamidated gliadin peptides. *Acta Bioquimica Clinica Latinoamericana* 2010;44(1):47-52. |
| 84 | Javaeed A, Shah W, Akhtar R, et al. Diagnostic accuracy of IgA anti-tissue transglutaminase antibodies in comparison with histopathological findings in celiac disease in Pakistan. *Medical Forum Monthly* 2015;25(12):15-9. |
| 85 | Johnston SD, McMillan SA, Collins JS, et al. A comparison of antibodies to tissue transglutaminase with conventional serological tests in the diagnosis of coeliac disease. *European Journal of Gastroenterology & Hepatology* 2003;15(9):1001-4. |
| 86 | Jora R, Raghuvanshi V, Payal V, et al. Correlation of Tissue Transglutaminase with Modified Marsh Grading in Celiac Disease: A Prospective Cohort Study. *Indian Journal of Pediatrics* 2017;84(7)515-20. |
| 87 | Kabatova J, Hust R, Blazickova S, et al. Evaluation and applicability of nonbiopsy criteria in children and adolescents according to espghan for diagnosis of celiac disease. *Gastroenterologie a Hepatologie* 2017;71(6):469-75. |
| 88 | Kashif T, Kashif A, Kashif Z, et al. Prevalence of celiac disease and role of anti-tissue transglutaminase antibodies in different types of intestinal damage in celiac disease according to marsh classification. *Pakistan Journal of Medical and Health Sciences* 2017;11(1):475-7. |
| 89 | Kocna P, Vanickova Z, Perusicova J, et al. Tissue transglutaminase-serology markers for coeliac disease. *Clinical Chemistry and Laboratory Medicine* 2002;40(5):485-92. |
| 90 | Kotze LM, Utiyama SR, Nisihara RM, et al. IgA class anti-endomysial and anti-tissue transglutaminase antibodies in relation to duodenal mucosa changes in coeliac disease. *Pathology* 2003;35(1):56-60. |
| 91 | Kurien M, Johnston A, Avgerinos A, et al. Does IgA tissue transglutaminase antibody levels correlate with histological findings of Coeliac Disease (CD)?. *United European Gastroenterology Journal* 2013;1(Supplement 1):A22-A23. |
| 92 | Kutty JS, McDermott M, O'Sullivan M, et al. Coeliac serology testing in Irish children-a substitute for biopsy?. *Archives of Disease in Childhood* 2014;99(Suppl 1):A3-A4. |
| 93 | Lau MS, Mooney PD, White WL, et al. Office-Based Point of Care Testing (IgA/IgG-Deamidated Gliadin Peptide) for Celiac Disease. *American Journal of Gastroenterology* 2018;113(8)1238-46. |
| 94 | Leon F, Camarero CRP, Eiras P, et al. Anti-transglutaminase IgA ELISA: clinical potential and drawbacks in celiac disease diagnosis. *Scandinavian Journal of Gastroenterology* 2001;36(8):849-53. |
| 95 | Lindquist BL, Rogozinski T, Moi H, et al. Endomysium and gliadin IgA antibodies in children with coeliac disease. *Scandinavian Journal of Gastroenterology* 1994;29(5):452-6. |
| 96 | Llorente MJ, Sebastian M, Fernandez-Acenero MJ, et al. IgA antibodies against tissue transglutaminase in the diagnosis of celiac disease: concordance with intestinal biopsy in children and adults. *Clinical Chemistry* 2004;50(2):451-3. |
| 97 | Lock RJ, Stevens S, Pitcher MC, et al. Is immunoglobulin A anti-tissue transglutaminase antibody a reliable serological marker of coeliac disease?. *European Journal of Gastroenterology & Hepatology* 2004;16(5):467-70. |
| 98 | Longarini GI, Sugai E, Hwang H, et al. How does specific serology match with esphgan serologic guidelines for diagnosis of celiac disease in a prospective cohort of adults with high pretest probability?. *United European Gastroenterology Journal* 2014;2(Supplement 1):A278. |
| 99 | McClements D, Rivera-Forrester, R, Horsted F, et al. Accuracy of simtomax rapid coeliac screening test compared with ELISA tTg assay and duodenal biopsy. *Gut* 2013;62(Suppl 1):A126. |
| 100 | McMillan SA, Haughton DJ, Biggart JD, et al. Predictive value for coeliac disease of antibodies to gliadin, endomysium, and jejunum in patients attending for jejunal biopsy. *BMJ* 1991;303(6811):1163-5. |
| 101 | Mendez NI, Guastavino MA, Zacharzewski CL, et al. Utilidad de los autoanticuerpos en la enfermedad celiaca: Un estudio en la provincia de Misiones. *Acta Bioquimica Clinica Latinoamericana* 1998;32(1):55-61. |
| 102 | Mooney PD, Kurien M, Evans KE, et al. Point-of-care testing for celiac disease has a low sensitivity in endoscopy. *Gastrointestinal Endoscopy* 2014;80(3):456-62. |
| 103 | Mooney PD, Wong SH, Johnston AJ, et al. Increased Detection of Celiac Disease With Measurement of Deamidated Gliadin Peptide Antibody Before Endoscopy. *Clinical Gastroenterology & Hepatology* 2015;13(7):1278-84. |
| 104 | Moreno ML, Sugai E, Cabanne A, et al. Very high performance of deamidated gliadin peptide antibodies in subjects with low risk for celiac disease. *Gastroenterology* 2007;132(4):A666. |
| 105 | Mubarak A, Gmelig-Meyling FH, Wolters VM, et al. Immunoglobulin G antibodies against deamidated-gliadin-peptides outperform anti-endomysium and tissue transglutaminase antibodies in children <2 years age. *APMIS* 2011;119(12):894-900. |
| 106 | Mubarak A, Wolters VM, Gmelig-Meyling FH, et al. Tissue transglutaminase levels above 100 U/mL and celiac disease: a prospective study. *World Journal of Gastroenterology* 2012;18(32):4399-403. |
| 107 | Murphy JGP, Annis P, Burke L, et al. The relationship between anti-endomysial &amp; anti-tissue transglutaminase antibody levels and the mucosal lesion in patients with suspected Coeliac disease. *Laboratory Investigation* 2001;81(1):92A. |
| 108 | Nguyen CMT, Portolese O, Yazdani PA, et al. Validation of the ESPGHAN guidelines for the diagnosis of coeliac disease in a Canadian population. *Journal of Pediatric Gastroenterology and Nutrition* 2019;68(Supplement 1):167. |
| 109 | Niveloni S, Sugai E, Moreno ML, et al. Antibodies to synthetic gliadin-related peptides for detecting celiac disease in a population with high pre-test probability. *Gastroenterology* 2006;130(Supplement 2):A662-A663. |
| 110 | Niveloni S, Sugai E, Cabanne A, et al. Antibodies against synthetic deamidated gliadin peptides as predictors of celiac disease: prospective assessment in an adult population with a high pretest probability of disease. *Clinical Chemistry* 2007;53(12):2186-92. |
| 111 | Novogrudsky A, Weisberg I, Abrams J, et al. Disappointing sensitivity and specificity of antibody to tissue transglutaminase for celiac disease in clinical practice. *American Journal of Gastroenterology* 2004;99(Supplement 1):S60. |
| 112 | Olen O, Gudjonsdottir AH, Browaldh L, et al. Antibodies against deamidated gliadin peptides and tissue transglutaminase for diagnosis of pediatric celiac disease. *Journal of Pediatric Gastroenterology & Nutrition* 2012;55(6):695-700. |
| 113 | Pallav K, Kabbani T, Tariq S, et al. Clinical utility of celiac disease-associated HLA testing. *Digestive Diseases & Sciences* 2014;59(9):2199-206. |
| 114 | Panetta F, Torre G, Colistro F, et al. Clinical accuracy of anti-tissue transglutaminase as screening test for celiac disease under 2 years. *Acta Paediatrica* 2011;100(5):728-31. |
| 115 | Parizade M, Bujanover Y, Weiss B, et al. Performance of serology assays for diagnosing celiac disease in a clinical setting. *Clinical & Vaccine Immunology* 2009;16(11):1576-82. |
| 116 | Pearce AB, Sinclair D, Duncan HD, et al. Use of the anti-endomysial antibody test to diagnose coeliac disease in clinical practice. *Clinical Laboratory* 2002;48(5-6):319-25. |
| 117 | Pettei MJ, Levine JJ. The use of tissue transglutaminase IGG antibody (TTG-G) in the diagnosis of celiac disease. *Journal of Pediatric Gastroenterology and Nutrition* 2009;49(Suppl 1):E16. |
| 118 | Poddar U, Thapa BR, Nain CK, et al. Is tissue transglutaminase autoantibody the best for diagnosing celiac disease in children of developing countries?. *Journal of Clinical Gastroenterology* 2008;42(2):147-51. |
| 119 | Polanco I, Esteban MM, Larrauri J. Relation of anti-tissue transglutaminase IgA antibodies with the morphology of the intestinal mucosa in children with celiac disease. *Pediatrika* 2001;21(2):9-20. |
| 120 | Pretto LE, Hernandez MA, Eusebi SM, et al. Utility of anti deamidated gliadin peptides antibodies in the screening of celiac disease in children. *Biocell 20th Congress 38th Annual Meeting of Rosario Biology Society* 2019;43(S2):A60. |
| 121 | Previtali G, Licini L, D'Antiga L, et al. Celiac Disease Diagnosis Without Biopsy: Is a 10x ULN Antitransglutaminase Result Suitable for a Chemiluminescence Method?. *Journal of Pediatric Gastroenterology & Nutrition* 2018;66(4):645-50. |
| 122 | Rabbani MW, Aziz MT, Basit A, et al. Diagnostic accuracy of serum anti-tissue transglutaminase IgA, in the diagnosis of celiac disease, taking small bowel biopsy as a gold standard. *Pakistan Paediatric Journal* 2015;39(4):203-8. |
| 123 | Rahmati A, Shakeri R, Sohrabi M, et al. Correlation of tissue transglutaminase antibody with duodenal histologic marsh grading. *Middle East Journal of Digestive Diseases* 2014;6(3):131-6. |
| 124 | Reeves GE, Squance ML, Duggan AE, et al. Diagnostic accuracy of coeliac serological tests: a prospective study. *European Journal of Gastroenterology & Hepatology* 2006;18(5):493-501. |
| 125 | Roca M, Donat E, Marco-Maestud N, et al. Efficacy Study of Anti-Endomysium Antibodies for Celiac Disease Diagnosis: A Retrospective Study in a Spanish Pediatric Population. *Journal of Clinical Medicine* 2019;8(12):2179. |
| 126 | Russo PA, Chartrand LJ, Seidman E. Comparative analysis of serologic screening tests for the initial diagnosis of celiac disease. *Pediatrics* 1999;104(1):75-8. |
| 127 | Saneian H, Gorgani AM. Diagnostic value of serologic tests in celiac screening. *International Journal of Preventive Medicine* 2012;3(S1):S58-S63. |
| 128 | Santaolalla R, Fernandez-Banares F, Rodriguez R, et al. Diagnostic value of duodenal antitissue transglutaminase antibodies in gluten-sensitive enteropathy. *Alimentary Pharmacology & Therapeutics* 2008;27(9):820-9. |
| 129 | Sayed SK, Imam HM, Mahran AM, et al. Diagnostic utility of deamidated gliadin peptide antibody in celiac disease compared to anti-tissue transglutaminase and IgA- endomysium antibodies. *Egyptian Journal of Immunology* 2012;19(2):41-52. |
| 130 | Scoglio R, Di Pasquale G, Pagano G, et al. Is intestinal biopsy always needed for diagnosis of celiac disease?. *American Journal of Gastroenterology* 2003;98(6):1325-31. |
| 131 | Srinivas M, Basumani P, Podmore G, et al. Utility of testing patients, on presentation, for serologic features of celiac disease. *Clinical Gastroenterology & Hepatology* 2014;12(6):946-52. |
| 132 | Sugai E, Moreno ML, Hwang HJ, et al. Celiac disease serology in patients with different pretest probabilities: is biopsy avoidable?. *World Journal of Gastroenterology* 2010;16(25):3144-52. |
| 133 | Swallow K, Wild G, Sargur R, et al. Quality not quantity for transglutaminase antibody 2: the performance of an endomysial and tissue transglutaminase test in screening coeliac disease remains stable over time. *Clinical & Experimental Immunology* 2013;171(1):100-6. |
| 134 | Tesei N, Sugai E, Vazquez H, et al. Antibodies to human recombinant tissue transglutaminase may detect coeliac disease patients undiagnosed by endomysial antibodies. *Alimentary Pharmacology & Therapeutics* 2003;17(11):1415-23. |
| 135 | Tronconi GM, Parma B, Bazzigaluppi E, et al. Antibodies against synthetic deamidated gliadin peptides for the diagnosis of childhood celiac disease: Do they play a role?. *Digestive and Liver Disease* 2010;42(Supplement 5):S350. |
| 136 | Valdimarsson T, Franzen L, Grodzinsky E, et al. Is small bowel biopsy necessary in adults with suspected celiac disease and IgA anti-endomysium antibodies? 100% positive predictive value for celiac disease in adults. *Digestive Diseases & Sciences* 1996;41(1):83-7. |
| 137 | Vargas Perez ML, Melero Ruiz J, Fernandez de Mera J, et al. Serological and genetic markers in the diagnosis and follow-up of coeliac disease. *Anales de Pediatria* 2005;62(5):412-9. |
| 138 | Vogelsang H, Genser D, Wyatt J, et al. Screening for celiac disease: a prospective study on the value of noninvasive tests. *American Journal of Gastroenterology* 1995;90(3):394-8. |
| 139 | Volta U, Granito A, Parisi C, et al. Deamidated gliadin peptide antibodies as a routine test for celiac disease: a prospective analysis. *Journal of Clinical Gastroenterology* 2010;44(3):186-90. |
| 140 | Weile B, Heegaard NH, Hoier-Madsen M, et al. Tissue transglutaminase and endomysial autoantibodies measured in an historical cohort of children and young adults in whom coeliac disease was suspected. *European Journal of Gastroenterology & Hepatology* 2002;14(1):71-6. |
| 141 | Whyte M, Smale S, Heil PM, et al. IgA antibody to tissue transglutaminase is a highly sensitive predictor of adult onset coeliac disease in clinical practice. *Gut* 2001;48(Suppl 1):A77. |
| 142 | Wildfang S, Knauss M, Stern M. IgA endomysium antibodies. Detection in children with celiac disease. *Monatsschrift Kinderheilkunde* 1992;140(9):639-45. |
| 143 | Yiannakou JY, Ramanaden DN, King L, et al. Prospective study of the efficacy of endomysial antibody in the diagnosis of coeliac disease. *Gut* 1998;42(Suppl 1):A22. |
| 144 | Zanini B, Magni A, Caselani F, et al. High tissue-transglutaminase antibody level predicts small intestinal villous atrophy in adult patients at high risk of celiac disease. *Digestive & Liver Disease* 2012;44(4):280-5. |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |

# Tables

**Table 1:** Study estimates of test accuracy, stratified by age group and test.

| **Serological test** | **Studies, n** | **Participants (coeliac disease), n** | **Threshold** | **Sensitivity (range), %** | **Specificity (range), %** |
| --- | --- | --- | --- | --- | --- |
| **All data** | | | | | |
| **Adults**  IgA tTG  IgG tTG  IgA EMA  IgG EMA  IgA DGP  IgG DGP  IgA/IgG DGP  IgA/IgG tTG/DGP  IgA AAA | 27  1  19  1  3  4  4  3  2 | 11355 (2566)  65 (14)  7122 (1028)  96 (28)  885 (154)  1046 (217)  1161 (280)  1849 (173)  820 (140) | 5 – 25 U/mL  10 U/mL  1:5 – 1:20  1:20  10 – 20 U/mL  10 – 20 U/mL  20 U/mL  20 U/mL  25 U/mL | 35.2 – 100.0  71.4  61.3 – 100.0  39.3  85.7 – 98.3  90.0 – 96.7  86.2 – 98.3  72.2 – 96.3  80.0, 86.7 | 0.0 – 100.0  96.1  87.5 – 100.0  98.5  92.2 – 95.7  99.2 – 100.0  95.9 – 98.8  80.4 – 97.4  92.2, 95.1 |
| **Children**  IgA tTG  IgG tTG  IgA/IgG tTG  IgA EMA  IgA/IgG EMA  IgA DGP  IgG DGP  IgA/IgG DGP  IgA/IgG tTG/DGP | 37  5  2  28  2  1  3  6  4 | 7944 (4164)  599 (278)  742 (282)  4974 (2472)  173 (131)  212 (109)  1135 (669)  941 (464)  986 (415) | 3 – 100 U/mL  3, 7 U/mL  6, 45.1 U/mL  1:5 – 1:40  1:2.5, 1:5  20 U/mL  10 – 25 U/mL  16 – 20 U/mL  3 – 32.7 U/mL | 28.6 – 100.0  31.0 – 97.4  94.4, 96.0  40.0 – 100.0  95.3, 95.7  85.3  77.2 – 92.0  87.5 – 100.0  87.5 – 98.2 | 7.9 – 100.0  70.8 – 100.0  85.8, 99.5  29.4 – 100.0  74.2, 90.9  88.3  83.5 – 94.1  22.2 – 96.4  61.2 – 99.5 |
| **Mixed or unspecified**  IgA tTG  IgG tTG  IgA/IgG tTG  IgA EMA IgA DGP  IgG DGP  IgA/IgG DGP  IgA AAA | 25  2  1  15  2  2  3  1 | 4564 (1414)  432 (122)  254 (26)  2884 (843)  561 (58)  562 (56)  480 (48)  391 (10) | 2 – 89.5 U/mL  10, 18.9 U/mL  7.8 U/mL  1:2.5 – 1:10  19.9 U/mL  19.9 U/mL  NR  NR | 38.1 – 100.0  40.6, 84.6  92.3  68.0 – 100.0  77.1, 90.0  76.1, 80.0  70.6 – 85.7  50.0 | 9.5 – 100.0  78.0, 89.0  82.9  38.9 – 100.0  93.4, 96.6  92.0, 99.2  92.9 – 98.7  91.3 |

IgA, immunoglobulin A; IgG, immunoglobulin G; tTG, anti-tissue transglutaminase; EMA, endomysial antibodies; DGP, deamidated gliadin peptide; AAA, anti-actin antibodies; NR, not reported

**Table 2:** Summary estimates of sensitivity, specificity and likelihood ratios, restricted to the most commonly reported threshold only.

| **Serological test** | **Studies, n** | **Participants (coeliac disease), n** | **Threshold** | **Sensitivity (95% CI), %** | **Specificity (95% CI), %** | **Positive likelihood ratio (95% CI)** | **Inverse negative likelihood ratio (95% CI)** |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Most common threshold** | | | | | | | |
| **Adults**  IgA tTG  IgA EMA  IgA DGP†  IgG DGP†  IgA/IgG DGP  IgA/IgG tTG/DGP†  IgA AAA† | 5  5  2  3  4  2  2 | 4310 (454)  927 (446)  820 (140)  981 (203)  1161 (280)  851 (155)  820 (140) | 15 U/mL  1:5  20 U/mL  20 U/mL  20 U/mL  20 U/mL  25 U/mL | 90.7 (87.3, 93.2)  88.0 (75.2, 94.7)  96.4 (91.7, 98.5)  93.6 (88.6, 96.5)  91.5 (84.7, 95.4)  93.5 (88.4, 96.5)  82.9 (75.7, 88.2) | 87.4 (84.4, 90.0)  99.6 (92.3, 100.0)  95.4 (93.6, 96.8)  99.4 (98.5, 99.7)  96.7 (95.3, 97.7)  86.3 (79.7, 91.0)  92.5 (90.3, 94.3) | 7.2 (5.8, 9.1)  340.7 (12.2, 9539.8)  21.2 (15.0, 29.9)  145.7 (60.8, 349.4)  27.7 (19.0, 40.5)  6.8 (4.5, 10.3)  11.0 (8.4, 14.5) | 9.4 (6.8, 12.8)  7.6 (3.9, 14.7)  26.7 (11.3, 63.2)  15.6 (8.6, 28.3)  11.4 (6.2, 20.9)  13.4 (7.3, 24.5)  5.4 (3.7, 7.8) |
| **Children**  IgA tTG  IgA EMA  IgA/IgG DGP  IgA/IgG tTG/DGP† | 6  5  5  2 | 2232 (1051)  1257 (685)  533 (276)  244 (133) | 20 U/mL  1:10  20 U/mL  20 U/mL | 97.7 (91.0, 99.4)  94.5 (88.9, 97.3)  96.4 (91.7, 98.5)  95.6 (83.9, 98.9) | 70.2 (39.3, 89.6)  93.8 (85.2, 97.5)  77.4 (44.0, 93.7)  62.2 (52.8, 70.7) | 3.3 (1.3, 8.0)  11.2 (3.3, 37.4)  4.3 (1.4, 13.1)  2.5 (2.0, 3.2) | 30.4 (8.5, 108.7)  14.8 (7.7, 28.2)  21.5 (10.7, 43.4)  14.3 (3.6, 57.0) |

† Univariate fixed effect meta-analysis

CI, confidence interval; IgA, immunoglobulin A; IgG, immunoglobulin G; tTG, anti-tissue transglutaminase; EMA, endomysial antibodies; DGP, deamidated gliadin peptide; AAA, anti-actin antibodies

**Table 3:** Study estimates of sensitivity and specificity limited to specific subgroups, stratified by age group and test.

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Serological test** | **Studies, n** | **Participants (coeliac disease), n** | **Threshold** | **Sensitivity (range), %** | **Specificity (range), %** |
| **Symptomatic patients only** | | | | | |
| **Adults**  IgA tTG  IgA EMA | 7  8 | 4244 (325)  3786 (327) | 5 – 20 U/mL  1:5 – 1:20 | 64.3 – 100.0  61.3 – 100.0 | 88.2 – 98.1  98.1 – 100.0 |
| **Children**  IgA tTG  IgA EMA | 8  8 | 1126 (615)  1327 (753) | 4 – 20 U/mL  1:5 – 1:20 | 40.0 – 100.0  40.0 – 97.6 | 7.9 – 100.0  42.9 – 100.0 |
| **All patients underwent biopsy** | | | | | |
| **Adults**  IgA tTG  IgA EMA | 26  18 | 11183 (2444)  7010 (1021) | 5 – 25 U/mL  1:5 – 1:20 | 64.3 – 100.0  61.3 – 100.0 | 0.00 – 100.0  87.5 – 100.0 |
| **Children**  IgA tTG  IgA EMA | 31  22 | 5824 (3330)  3685 (2015) | 3 – 100 U/mL  1:5 – 1:40 | 28.6 – 100.0  45.8 – 100.0 | 23.5 – 100.0  29.4 – 100.0 |
| **Low risk of bias** | | | | | |
| **Adults**  IgA tTG  IgA EMA | 5  2 | 1577 (426)  268 (103) | 5 – 20 U/mL  1:5, 1:20 | 76.0 – 100.0  61.3, 89.3 | 87.5 – 98.3  100.0, 100.0 |
| **Children**  IgA tTG  IgA EMA | 4  1 | 1319 (823)  873 (528) | 20 – 21 U/mL  1:10 | 94.8 – 100.0  95.3 | 23.5 – 98.7  94.2 |

IgA, immunoglobulin A; tTG, anti-tissue transglutaminase; EMA, endomysial antibodies

**Table 4:** Study estimates of sensitivity and specificity, restricted to comparative studies only.

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Serological test** | **Studies, n** | **Participants (coeliac disease), n** | **Threshold** | **Sensitivity (range), %** | **Relative sensitivity (range), %** | **Specificity (range), %** | **Relative specificity (range), %** |
| **Comparative data** | | | | | | | |
| **Adults**  IgA tTG vs. IgA EMA  IgA tTG  IgA EMA  IgA tTG vs. IgA DGP  IgA tTG  IgA DGP  IgA tTG vs. IgG DGP  IgA tTG  IgG DGP  IgA tTG vs. IgA/IgG DGP  IgA tTG  IgA/IgG DGP | 14  3  4  4 | 6575 (881)  885 (154)  1046 (217)  1161 (280) | 5 – 25 U/mL  1:5  10 – 20 U/mL  10 – 20 U/mL  10 – 20 U/mL  10 – 20 U/mL  5 – 20 U/mL  20 U/mL | 64.3 – 100.0  61.3 – 100.0  64.3 – 95.0  85.7 – 98.3  64.3 – 95.2  90.0 – 96.7  76.0 – 95.0  86.2 – 98.3 | 0.81 – 1.22  1.04 – 1.33  0.99 – 1.44  1.01 – 1.14 | 81.3 – 99.1  87.5 – 100.0  88.2 – 97.5  92.2 – 95.7  88.2 – 98.0  99.2 – 100.0  94.8 – 99.0  95.9 – 98.8 | 1.00 – 1.17  0.96 – 1.04  1.02 – 1.13  0.99 – 1.01 |
| **Children**  IgA tTG vs. IgA EMA  IgA tTG  IgA EMA | 16 | 3021 (1746) | 5.5 – 21 U/mL  1:5 – 1:10 | 28.6 – 99.0  50.0 – 100.0 | 0.91 – 2.25 | 23.5 – 100.0  29.4 – 100.0 | 0.76 – 1.25 |

IgA, immunoglobulin A; IgG, immunoglobulin G; tTG, anti-tissue transglutaminase; EMA, endomysial antibodies; DGP, deamidated gliadin peptide

# Figure legends

**Figure 1:** PRISMA diagram showing the flow of studies through the review. Abbreviations: IgA, immunoglobulin A; IgG, immunoglobulin G; tTG, anti-tissue transglutaminase; EMA, endomysial antibodies; DGP, deamidated gliadin peptide; AAA, anti-actin antibodies.

**Figure 2:** Study estimates of test sensitivity and specificity in adults plotted in receiver operating characteristic (ROC) space. Summary ROC curves are estimated from a meta-analysis of all data, across thresholds. Summary point estimates are estimated from a meta-analysis of data reporting at the most commonly reported threshold only. [A] Immunoglobulin A (IgA) anti-tissue transglutaminase (tTG); [B] IgA endomysial antibodies; [C] IgA deamidated gliadin peptide (DGP); [D] Immunoglobulin G (IgG) DGP; [E] IgA/IgG DGP; [F] IgA/IgG tTG/DGP.

**Figure 3:** Study estimates of test sensitivity and specificity in children plotted in receiver operating characteristic (ROC) space. Summary ROC curves are estimated from a meta-analysis of all data, across thresholds. Summary point estimates are estimated from a meta-analysis of data reporting at the most commonly reported threshold only. [A] Immunoglobulin A (IgA) anti-tissue transglutaminase (tTG); [B] Immunoglobulin G (IgG) tTG; [C] IgA endomysial antibodies; [D] IgG deamidated gliadin peptide (DGP); [E] IgA/IgG DGP; [F] IgA/IgG tTG/DGP.

**Figure 4:** Diagram showing results that would be obtained if a hypothetical cohort of 10,000 adults and children were tested for coeliac disease using immunoglobulin A (IgA) anti-tissue transglutaminase (tTG) or IgA endomysial antibodies (EMA), assuming a prevalence of 2%.

1. Although we defined adults as >16 years and children as ≤16 years, cut-offs for age groups differed between studies in practice, e.g. studies in children including patients as old as 18 years, studies in adults including patients as young as 15 years. [↑](#footnote-ref-1)