Implant surface culture may be a useful adjunct to standard tissue sampling culture for identification of pathogens accounting for fracture device related infection: A within person randomized, agreement study

Nan JIANG 1, Yan-jun HU 1, Qing-rong LIN 1, Peng CHEN 2, Hao-yang WAN 2, Si-ying HE 2, Paul STOODLEY 3,4, Bin YU 1, 2

- Division of Orthopaedics & Traumatology, Department of Orthopaedics, Southern Medical University Nanfang Hospital, Guangzhou, PR China.

- Guangdong Provincial Key Laboratory of Bone and Cartilage Regenerative Medicine, Southern Medical University Nanfang Hospital, Guangzhou, PR China.

- Departments of Microbial Infection and Immunity and Orthopaedics, The Ohio State University Wexner Medical Center, Columbus, OH, 43210, USA.

- National Centre for Advanced Tribology at Southampton (nCATS) and National Biofilm Innovation Centre (NBIC), Department of Mechanical Engineering, University of Southampton, Southampton, SO17 1BJ, UK.

Nan Jiang and Yan-jun Hu contributed equally to this study.

Correspondence to: Paul Stoodley & Bin Yu

Paul Stoodley, E-mail: Paul.Stoodley@osumc.edu, Tel: +1-614-292-7826

Bin Yu. E-mail: yubin@smu.edu.cn, Tel: +86-20-6164-1741

Postal address:

P. Stoodley

Departments of Microbial Infection and Immunity,

The Ohio State University Wexner Medical Center,

716 Biomedical Research Tower,

460 West 12th Avenue, Columbus OH 43210.

B. Yu

Division of Orthopaedics & Traumatology, Department of Orthopaedics,

Southern Medical University Nanfang Hospital,

No. 1838 Guangzhou Avenue North,

Guangzhou, PR China.

Funding: This study was supported by NIH R01 [grant number: GM124436] (PS), National Natural Science Foundation of China [grant number: 82172197] and Natural Science Foundation of Guangdong Province [grant number: 2022A1515012385].

Acknowledgements: The authors are grateful for the funding support by NIH R01, National Natural Science Foundation of China and Natural Science Foundation of Guangdong Province. We also would like to thank the working staff, Dr. Jing Chen, from the Department of Clinical Laboratory of Southern Medical University Nanfang Hospital for her help in pathogen identification.

Conflict of interest: The authors declare that they have no conflict of interests.

Authors’ Contributions:

Study design: Stoodley P & Yu B; Conduct experiment: Chen P, Wan HY & He SY; Participants screening and inclusion: Jiang N, Hu YJ & Lin QR; Data acquisition: Jiang N, Hu YJ & Chen P; Statistical analysis: Jiang N & Wan HY; Analysis and interpretation of data: Jiang N, Hu YJ & Yu B; Paper drafting: Jiang N & Yu B; Paper revision: Jiang N, Hu YJ, Lin QR, Wan HY, Chen P, He SY, Stoodley P & Yu B. All the authors have approved the final version to be published.

Word Count:

Total: 2734

Abstract: 247

Introduction: 300

Implant surface culture may be a useful adjunct to standard tissue sampling culture for identification of pathogens accounting for fracture device related infection: A within person randomized, agreement study

Background and purpose - Identification of pathogens causing fracture device related infection (FDRI) is always a challenge as positive rate of standard tissue sampling culture (TSC) remains unsatisfying. This study aimed to evaluate the efficiency of implant surface culture (ISC) as an adjunct to standard TSC for identification of FDRI associated microorganisms.

Patients and methods - Between November 2020 and March 2022, patients diagnosed of FDRI defined by the International Fracture-Related Infection (FRI) Consensus Group, and indicated for implants removal, underwent the both methods for bacteria detection. For ISC, the recovered implants were gently covered with tryptic soy agar following rinsed with normal saline twice, and then incubated at 37℃ 5% CO2 for up to 14 days. For TSC, five specimens were sampled and sent to the Department Clinical Laboratory of our hospital for culture and identification.

Results - 42 consecutive patients were included, with a mean age of 46 years. The most frequent infection site and implant type were the tibia (21 cases) and plates with screws (30 cases), respectively. Altogether 21 patients were found with positive outcomes by both methods, and the identified pathogens were consistent. ISC found an additional 15 patients showing positive results which were negative by TSC. Furthermore, the mean culture time of ISC was shorter than that of TSC (1.5 days vs. 3.2 days).

Interpretation - ISC may be a useful adjunct to TSC for detection of bacteria causing FDRI, with a relatively higher positive rate and a shorter culture time.

Fracture device related infection (FDRI) is defined as infection of the osseous tissue contacting the implant with or without infection of the surrounding soft tissue following implantation of the fracture devices, resulting from contamination of pathogens and/or compromised immunity of the host (1). Despite great advances in surgical techniques, FDRI still poses great challenges to orthopaedic surgeons. On the one hand, diagnosis is sometimes difficult due to the non-specific symptoms. On the other hand, treatment is often complex, with a high risk of infection recurrence (2,3). In addition, FDRI also brings a series of adverse events, such as limb amputation, prolonged length of hospital stay, multiple surgeries, side effects of antibiotic medications, and socioeconomic issues (4). Thus, how to effectively increase the treatment success rate is of great significance, both personally and socially.

In order to increase the cure rate, one of the key points rests with how to correctly and effectively identify the related pathogens. Currently, intraoperative tissue sampling culture (TSC) remains the gold standard for bacteria identification (5). However, the positive rate of culture remains not high as expected (6). In order to increase the positive rate, different adjunctive strategies had been introduced, such as sonicate fluid culture (7), and intramedullary tissue culture (8).

Recently, a study had reported using a novel “agar candle dip” method to map the bacterial biofilms on recovered orthopaedic implants (9), which showed promise in growing bacteria directly from the implants. These findings suggest that culturing directly from implant surfaces may be an effective method for bacteria detection as there may exist bacterial biofilms attached to the implant surfaces. Therefore, here, we evaluated the efficiency of this method, here referred to as “implant surface culture” (ISC) which is more accurately descriptive, as an adjunct to standard TSC for identification of FDRI related microorganisms.

Patients and Methods

Study design, setting, inclusion and exclusion criteria

This study, designed as a within-person randomized, agreement study (10,11), was conducted following a prespecified protocol (Supplementary material) in the Southern Medical University Nanfang Hospital, a tertiary healthcare center providing specialist treatment to patients with musculoskeletal infections. Included patients were those diagnosed of FDRI, received removal of the implant components as indicated for treatment, and complied with the protocol. Excluded from the present study were FDRI patients that underwent debridement, antibiotic therapy at the time of surgery, implant retention (DAIR) surgery or conservative treatment or protocol violations. FDRI diagnosis was diagnosed according to the criteria outlines by the International Fracture-Related Infection (FRI) Consensus Group (12,13). FDRI was established based on any of the following confirmatory criteria, including a sinus tract and wound breakdown to the bone or the implant, pus in the fracture site, visible microorganisms on histological analysis, and presence of over 5NP/HPF (14,15) on histology.

ISC and TSC procedures

All the patients received routine tests after admission, and antibiotics were stopped for at least 2 weeks prior to surgery. During surgery, empirical intravenous cephalosporins or alternatively clindamycin was applied only after implants had been removed, and multiple specimens had been collected and sent for culture and histology. ISC and TSC were conducted independently, thus, the test order of the two methods did not influence the outcomes.

For ISC, the removed implants were first rinsed with normal saline twice to wash out the residual blood, tissue, and potential planktonic bacteria, and were placed in aseptic culture plates in the operation room. Then, the explants were transported to the laboratory and processed within 2 hours. Their surfaces were gently covered with cooled but still molten tryptic soy agar (TSA), and incubated at 37℃ containing 5% CO2. The recovered implants were inspected every day for bacterial outgrowth, and if necessary, sterile TSA was carefully supplemented in order not let the surface dry out. If bacterial colonies were found, at least three different sites were swabbed and sent to the Department of Clinical Laboratory of our hospital for pathogen identification. Such a procedure was continued for 14 days as suggested (16), or until there was evidence of bacterial colony growth. The implants were then discarded as medical waste.

For TSC, an experienced orthopaedic surgeon sampled at least five different sites suspected of infection, usually at the implant-bone interface, using the “no-touch-technique” as recommended (13). The “No-touch-technique” refers to that separate, unused surgical instruments should be used for each sample obtained in order to avoid cross-contamination. Specimens obtained were transported individually using sterile containers and processed within 2 hours by the Department of Clinical Laboratory of our hospital. The specimens were first homogenized separately in 10 mL of saline solution using glass beads, and then, were inoculated into blood culture bottles (BACTEC Lytic/10 Anaerobic/F bottle and BACTEC Plus Aerobic/F bottle, Becton, Dickinson and Company, MD, USA) for incubation for at least 7 days. Any identified bacterial colonies were collected and sent for further identification.

Statistical analysis

Statistical analysis was conducted using the Statistical Product and Service Solutions software (version 17.0, SPSS Inc., Chicago, IL, USA). The McNemar’s test and paired t test with 95% confidence interval (CI) were used to compare the positive rate and culture time between the two methods, respectively. All reported values were 2-sided with a P value of less than 0.05 as statistically significant.

Ethics, funding, and potential conflicts of interest

All the included patients signed the informed consent form, and this study was approved by the Medical Ethical Committee of the Southern Medical University Nanfang Hospital (NFEC-2020-075). Research was funded by grants from NIH R01 [grant number: GM124436], National Natural Science Foundation of China [grant number: 82172197], and Natural Science Foundation of Guangdong Province [grant number: 2022A1515012385]. There is no conflict of interest to declare.

Results

Participant flow, and demographics, infection site and implant type of the included patients

50 patients were considered for inclusion initially, and 42 were included and randomized finally, with each group having 42 patients analyzed (Figure 1). There were 33 males and 9 females. The mean age of the patients was 46 ± 15 years, with males and females as 44 ± 14 years and 54 ± 17 years, respectively. The most frequent infection site was the tibia (21 cases), followed by femur (12 cases), calcaneus (5 cases), humerus (1 case), patella (1 case), fibula (1 case) and clavicle (1 case). With regard to implant type, 30 cases had plate and screws, with an intramedullary nail in 7 cases, Kirschner wire and steel wire in 4 cases, and a cannulated screw in 1 case.

Culture outcome and culture time by TSC and ISC

Among the 42 patients, 21 patients were found with positive cultures by the both methods, and the detected pathogens were consistent between methods. However, ISC identified an additional 15 patients with positive culture outcomes, which were negative by the TSC method. Thus, the detection rate following ISC significantly increased (P = 0.001). Furthermore, the mean culture time of ISC was much shorter than that by TSC (1.5 ± 1.1 days vs. 3.2 ± 0.7 days, P ＜ 0.001 ) (95% CI of the difference: -2.2 to -1.1 days) among the 21 patients. The detailed outcomes were listed in Table 1 and Figure 2 displayed 4 FDRI patients having positive outcomes using the ISC method.

Pathogen type

Among the 36 patients with positive cultures by ISC, 33 cases were identified with monomicrobial infection. Staphylococcus aureus (20 cases), Staphylococcus epidermidis (3 cases) and Enterococcus faecalis (3 cases) were the top three detected bacteria species (Table 1). There were two cases showing negative culture by ISC while were positive by TSC, with one as Streptococcus dysgalactiae, the other as Streptococcus intermadius.

Discussion

Surgery is one of the most effective ways to treat FDRI. For surgical treatment, aside from radical debridement, sensitive antibiotics use is another indispensable strategy to treat such infections, however, the optimal antibiotic therapy relies on correct and effective identification of FDRI associated pathogens. However, to date, the positive rate of TSC is less than expected from another diagnostic criteria (6,17), despite growing investigations focusing on improving diagnostics by various sampling and culturing procedures of tissue samples (18-20). Here, we analyzed the efficiency of ISC as an adjunct of TSC for detection of FDRI related pathogens, with reference to a previous study focusing on mapping bacterial biofilms on the recovered orthopaedic implants (9). Our results showed that, compared with the TSC, ISC was able to detect additional pathogens that failed to be identified by TSC, and also had a shorter time to culture. In addition, the culture outcomes were in consistent with each other among the patients with positive culture between both methods. These data suggest that ISC is may be a useful adjunct of TSC for identification FDRI related microorganisms.

Currently, TSC stills to be the mainstay to identify FDRI associated pathogen, however, the sensitivity of TSC remains unsatisfying, ranging from 43% (21) to 89.4% (22), with most of the reported outcomes around 60% (23). It’s known that TSC outcome is influenced by multiple factors, such as recent surgical intervention and antibiotic use, specimen selections, culture condition, and even the number of tissue samples for culture (18). In order to increase the positive rate of TSC, several recommendations were proposed by the AO foundation, the European Bone and Joint Infection Society (EBJIS), the Orthopaedic Trauma Association and the PRO-Implant Foundation, such as at least 2 weeks of free of antibiotics, collection of 5 or more deep tissue or fluid samples, and administration of antibiotics immediately after sampling obtained (13).

Aside from TSC, recently, new emerging techniques have been developed, also aiming at increase the detection rate of FDRI associated microorganisms. Based on a retrospective analysis of 230 cases, Bellova et al. (7) found that sonicate fluid culture might be a useful adjunct in diagnosis FDRI, especially for low-grade infections. Outcomes of an updated meta-analysis revealed that traditional tissue sampling was more sensitive while sonication fluid sampling was more specific, and thus, the authors suggested the integration of both methods to obtain the optimal results (23). Aside from sonication fluid culture, a recent study (8) compared the efficiency of intramedullary tissue cultures from the Reamer‐Irrigator‐Aspirator (RIA) system with the standard tissue culture. Although similar results were found between the two strategies, RIA-system culture were able to displayed additional relevant pathogens that were not identified by traditional tissue culture. Therefore, they concluded that such a novel method could be used as an adjunct to standard tissue cultures. However, RIA does not allow easy acquisition of multiple independent samples, something which will increase the accuracy of tissue culture by avoiding potential false positive results. In general, compared with TSC, such emerging pathogen identification strategies display advantages, however, their efficiency should be evaluated by future studies.

The satisfying outcomes of aforementioned “agar candle dip” method (9) implies that culture on explant components may be a useful strategy to identify FDRI related pathogens because of the possibility of bacterial biofilms attached to the implant surfaces. We believe that ISC primarily has three advantages compared with TSC. First, the whole implant surface culture may reduce the risk of specimen selection bias. It’s known one of the important factors that affects TSC result is the selection of specimens during surgery, which largely relies on the surgeon’s experience. Thus, selection bias cannot be avoided absolutely. Also, biofilms are known to be highly heterogenous, often occurring as small aggregates of 10s to 100s of microns (24-26) and swabbing discrete locations may miss biofilm. Second, the bacterial biofilms attached to the explant surfaces may be less influenced by systematic antibiotic use and thus, return a higher positive of culture. Although antibiotics were stopped for at least 2 weeks before surgery in the present study, the detection rate of TSC was not as high as expected from another diagnostic criteria. Third, if biofilm is present it is allowed to grow from its in situ environment without disturbing it with methods such as sonication scraping or swabbing. However, ISC also has several drawbacks. First, the implants need to be special handled in the operation room and the implants take up more room in a clinical microbiology culture room. Additionally, pouring or supplement of the TSA agar means that the implant was exposed for a relatively long period, which may increase the risk of contaminations. It is notable that four patients with definite diagnosis of FDRI by another diagnostic criteria showed negative outcomes by the both methods, which may associate with several possible factors, such as special bacteria type, special requirement of culture condition. In this study, TSA agar was used to cover the explant surface, whether it's the optimal culture medium requires further investigation. There were still two cases showing negative outcomes following ISC method but with positive outcomes by TSC, thus, whether ICS can be used in all FDRI cases or only specific patient group needs to be further evaluated since it requires specialized handling and training.

With regard to the difference and benefits between ISC and sonication, sonication is designed to remove biofilm bacteria from hardware into the surrounding media for subsequent culture. However, this necessarily requires that the biofilm is physically disrupted and it is not known how this may affect culture viability. Also, although it is very useful in improving culture recovery from whole implants it does not provide information on how the biofilm may be distributed. The ISC method has the potential to identify particular components, materials and surface features which may be more susceptible to biofilm formation, however, further studies are required to assess the importance of such mapping to current and future infection management.

Our study provides a new strategy for identification FDRI related pathogens, however, one limitation of the method rests with the fact that it cannot be conducted in where implant hardware is not removed. The current study also has several limitations. First, the outcomes were based on an analysis of 42 patients, and the sample size was limited. In order to obtain more reliable conclusions, more participants should be included. Second, we just conducted preliminary comparisons between ISC and TSC, in order to better evaluate the ISC efficiency, control group should be considered to calculate its sensitivity and specificity. Third, this study did not trace the treatment efficacy, especially for those with TSC showing negative while ISC revealing positive outcomes. We believe that positive culture outcome may have influence on efficacy, which needs to be certified by future studies.

Conclusions

In summary, outcomes of the present study demonstrated that ISC may be a useful adjunct to TSC for detection of FDRI related microorganisms, which is able to identify additional pathogens with a relatively shorter culture time. However, the whole procedure of ISC should be conducted carefully as explant exposure out of operation room may increase the risk of contamination, and specialized handling and training are recommended.

References:

1.  Jiang N, Wang BW, Chai YM, Wu XB, Tang PF, Zhang YZ, et al. Chinese expert consensus on diagnosis and treatment of infection after fracture fixation. Injury 2019; 50: 1952-1958.

2.  Baertl S, Metsemakers WJ, Morgenstern M, Alt V, Richards RG, Moriarty TF, et al. Fracture-related infection. Bone Joint Res 2021; 10: 351-353.

3.  Bezstarosti H, Van Lieshout EMM, Voskamp LW, Kortram K, Obremskey W, McNally MA, et al. Insights into treatment and outcome of fracture-related infection: a systematic literature review. Archives of orthopaedic and trauma surgery 2019; 139: 61-72.

4.  Walter N, Rupp M, Hierl K, Pfeifer C, Kerschbaum M, Hinterberger T, et al. Long-term patient-related quality of life after fracture-related infections of the long bones. Bone Joint Res 2021; 10: 321-327.

5.  Post JC, Preston RA, Aul JJ, Larkins-Pettigrew M, Rydquist-White J, Anderson KW, et al. Molecular analysis of bacterial pathogens in otitis media with effusion. Jama 1995; 273: 1598-1604.

6.  Wang B, Xiao X, Zhang J, Han W, Hersi SA, Tang X. Epidemiology and microbiology of fracture-related infection: a multicenter study in Northeast China. J Orthop Surg Res 2021; 16: 490.

7.  Bellova P, Knop-Hammad V, Königshausen M, Schildhauer TA, Gessmann J, Baecker H. Sonication in the diagnosis of fracture-related infections (FRI)-a retrospective study on 230 retrieved implants. J Orthop Surg Res 2021; 16: 310.

8.  Onsea J, Pallay J, Depypere M, Moriarty TF, Van Lieshout EMM, Obremskey WT, et al. Intramedullary tissue cultures from the Reamer-Irrigator-Aspirator system for diagnosing fracture-related infection. Journal of orthopaedic research : official publication of the Orthopaedic Research Society 2021; 39: 281-290.

9.  Moley JP, McGrath MS, Granger JF, Sullivan AC, Stoodley P, Dusane DH. Mapping bacterial biofilms on recovered orthopaedic implants by a novel agar candle dip method. APMIS 2019; 127: 123-130.

10.  Kottner J, Audigé L, Brorson S, Donner A, Gajewski BJ, Hróbjartsson A, et al. Guidelines for Reporting Reliability and Agreement Studies (GRRAS) were proposed. Journal of clinical epidemiology 2011; 64: 96-106.

11.  Pandis N, Chung B, Scherer RW, Elbourne D, Altman DG. CONSORT 2010 statement: extension checklist for reporting within person randomised trials. Bmj 2017; 357: j2835.

12.  McNally M, Govaert G, Dudareva M, Morgenstern M, Metsemakers WJ. Definition and diagnosis of fracture-related infection. EFORT Open Rev 2020; 5: 614-619.

13.  Govaert GAM, Kuehl R, Atkins BL, Trampuz A, Morgenstern M, Obremskey WT, et al. Diagnosing Fracture-Related Infection: Current Concepts and Recommendations. Journal of orthopaedic trauma 2020; 34: 8-17.

14.  McNally M, Ferguson J, Kugan R, Stubbs D. Ilizarov Treatment Protocols in the Management of Infected Nonunion of the Tibia. Journal of orthopaedic trauma 2017; 31 Suppl 5: S47-S54.

15.  Morgenstern M, Athanasou NA, Ferguson JY, Metsemakers WJ, Atkins BL, McNally MA. The value of quantitative histology in the diagnosis of fracture-related infection. The bone & joint journal 2018; 100-B: 966-972.

16.  Steinmetz S, Wernly D, Moerenhout K, Trampuz A, Borens O. Infection after fracture fixation. EFORT Open Rev 2019; 4: 468-475.

17.  Zhao XQ, Wan HY, Qin HJ, Jiang N, Yu B. Interleukin-6 versus Common Inflammatory Biomarkers for Diagnosing Fracture-Related Infection: Utility and Potential Influencing Factors. Journal of immunology research 2021; 2021: 1461638.

18.  Dudareva M, Barrett LK, Morgenstern M, Atkins BL, Brent AJ, McNally MA. Providing an Evidence Base for Tissue Sampling and Culture Interpretation in Suspected Fracture-Related Infection. The Journal of bone and joint surgery American volume 2021; 103: 977-983.

19.  Morgenstern M, Kuhl R, Eckardt H, Acklin Y, Stanic B, Garcia M, et al. Diagnostic challenges and future perspectives in fracture-related infection. Injury 2018; 49 Suppl 1: S83-S90.

20.  Hellebrekers P, Rentenaar RJ, McNally MA, Hietbrink F, Houwert RM, Leenen LPH, et al. Getting it right first time: The importance of a structured tissue sampling protocol for diagnosing fracture-related infections. Injury 2019; 50: 1649-1655.

21.  Banousi A, Evangelopoulos DS, Stylianakis A, Fandridis E, Chatziioannou S, Sipsas NV, et al. A comparative study of heterogeneous antibiotic resistance of microbial populations in conventional periprosthetic tissue cultures and sonication fluid cultures of orthopaedics explanted prostheses. European journal of orthopaedic surgery & traumatology : orthopedie traumatologie 2020; 30: 1307-1318.

22.  Finelli CA, da Silva CB, Murca MA, dos Reis FB, Miki N, Fernandes HA, et al. Microbiological diagnosis of intramedullary nailing infection: comparison of bacterial growth between tissue sampling and sonication fluid cultures. International Orthopaedics 2021; 45: 565-573.

23.  Ahmed EA, Almutairi MK, Alkaseb AT. Accuracy of Tissue and Sonication Fluid Sampling for the Diagnosis of Fracture-Related Infection: Diagnostic Meta-Analysis. Cureus 2021; 13: e14925.

24.  McConoughey SJ, Howlin R, Granger JF, Manring MM, Calhoun JH, Shirtliff M, et al. Biofilms in periprosthetic orthopedic infections. Future microbiology 2014; 9: 987-1007.

25.  Stoodley P, Nistico L, Johnson S, Lasko LA, Baratz M, Gahlot V, et al. Direct demonstration of viable Staphylococcus aureus biofilms in an infected total joint arthroplasty. A case report. The Journal of bone and joint surgery American volume 2008; 90: 1751-1758.

26.  Palmer MP, Altman DT, Altman GT, Sewecke JJ, Saltarski C, Nistico L, et al. Bacterial Identification and Visualization of Bacterial Biofilms Adjacent to Fracture Sites After Internal Fixation. Genet Test Mol Biomarkers 2022; 26: 70-80.

Considered for inclusion

n = 50

Figure 1

Declined to participate, 3

Screened for assessment

n = 47

Excluded (n = 5)

- received DAIR surgery, 2

- protocol violations, 2

- conservative treatment, 1

Within person randomized

n = 42

Allocated to ISC group

n = 42

Allocated to the TSC group

n = 42

Analyzed (n = 42)

Analyzed (n = 42)

Figure 1 Flow chart of the FDRI patients included in this study

Figure 2 Presentations of 4 FDRI patients showed positive culture outcomes using the ISC method. Case no. 6: A 34-year-old male was diagnosed of patella FDRI, with ISC of Kirschner wire and steel wire showing S. aureus colonies (a). The TSC outcome also revealed S. aureus infection but with a longer culture time (3 days vs. 1 day). Case no. 13: A 51-year-old male was diagnosed of calcaneal FDRI, with ISC of plate and screws displaying S. aureus colonies (b), which was supported by the TSC result. Case no. 14: A 63-year-old male was diagnosed of tibial FDRI, and the ISC outcome showed a mass of S. aureus colonies on and surrounding the screws (c), which was in consistent with the TSC outcome. Case no. 29: A 53-year-old male was diagnosed of femoral FDRI, and ISC of intramedullary and tail cap showed S. aureus colonies (d & e). However, the TSC outcome was negative.

Table 1 Clinical characteristics of the FDRI patients included, culture time and culture outcomes by ISC and TSC

| Case no. | Sex/age (year) | Infection site | Implant type | ISC outcome | ISC time (day) | TSC outcome | TSC time (day) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | F/16 | Humerus | Intramedullary nail | Enterobacter cloacae | 2 | Enterobacter cloacae | 3 |
| 2 | M/65 | Tibia | Plate and screws | Staphylococcus aureus | 2 | Negative | n. a. |
| 3 | F/62 | Calcaneus | Cannulated screw | Staphylococcus aureus | 1 | Staphylococcus aureus | 3 |
| 4 | M/59 | Tibia | Plate and screws | Streptococcus agalactiae + Staphylococcus aureus | 2 | Negative | n. a. |
| 5 | M/29 | Femur | Plate and screws | Staphylococcus aureus | 2 | Staphylococcus aureus | 5 |
| 6 | M/34 | Patella | K-wire and steel wire | Staphylococcus aureus | 1 | Staphylococcus aureus | 3 |
| 7 | M/45 | Tibia | Intramedullary nail | Pseudomonas aeruginosa | 2 | Pseudomonas aeruginosa | 2 |
| 8 | M/42 | Tibia | Intramedullary nail | Enterococcus faecalis | 6 | Enterococcus faecalis | 4 |
| 9 | M/39 | Tibia | Plate and screws | Staphylococcus aureus | 4 | Negative | n. a. |
| 10 | F/64 | Femur | Plate and screws | Viridans streptococcus + Staphylococcus epidermidis | 4 | Negative | n. a. |
| 11 | M/46 | Tibia | Plate and screws | Staphylococcus aureus | 2 | Staphylococcus aureus | 3 |
| 12 | M/40 | Tibia | Plate and screws | Staphylococcus lugdunensis | 5 | Negative | / |
| 13 | M/51 | Calcaneus | Plate and screws | Staphylococcus aureus | 1 | Staphylococcus aureus | 2 |
| 14 | M/63 | Tibia | Plate and screws | Staphylococcus aureus | 2 | Staphylococcus aureus | 3 |
| 15 | F/70 | Femur | Plate and screws | Staphylococcus epidermidis | 4 | Negative | n. a. |
| 16 | F/56 | Tibia | Plate and screws | Negative | n. a. | Streptococcus dysgalactiae | 4 |
| 17 | M/49 | Tibia | Plate and screws | Negative | n. a. | Negative | n. a. |
| 18 | F/67 | Tibia | Plate and screws | Enterococcus faecalis | 4 | Negative | n. a. |
| 19 | M/54 | Femur | Plate and screws | Staphylococcus aureus | 2 | Staphylococcus aureus | 3 |
| 20 | M/45 | Calcaneus | Plate and screws | Staphylococcus aureus | 2 | Negative | n. a. |
| 21 | F/37 | Femur | Plate and screws | Staphylococcus aureus | 1 | Staphylococcus aureus | 3 |
| 22 | M/62 | Calcaneus | Plate and screws | Staphylococcus epidermidis | 5 | Negative | n. a. |
| 23 | M/22 | Clavicle | Plate and screws | Negative | n. a. | Negative | n. a. |
| 24 | M/36 | Tibia | K-wire | Staphylococcus lentus | 2 | Negative | 14 |
| 25 | M/47 | Tibia | Plate and screws | Staphylococcus aureus + Escherichia coli | 1 | Staphylococcus aureus + Escherichia coli | 4 |
| 26 | M/53 | Femur | Intramedullary nail | Negative | n. a. | Streptococcus intermediate | 7 |
| 27 | M/24 | Tibia | K-wire and steel wire | Staphylococcus epidermidis | 3 | Negative | n. a. |
| 28 | F/62 | Tibia | Intramedullary nail | Staphylococcus aureus | 2 | Negative | n. a. |
| 29 | M/53 | Femur | Intramedullary nail | Staphylococcus aureus | 3 | Negative | n. a. |
| 30 | M/14 | Femur | Plate and screws | Staphylococcus aureus | 1 | Staphylococcus aureus | 3 |
| 31 | M/29 | Tibia | Plate and screws | Staphylococcus aureus | 1 | Staphylococcus aureus | 3 |
| 32 | M/49 | Tibia | Plate and screws | Escherichia coli | 1 | Escherichia coli | 3 |
| 33 | M/62 | Fibula | Plate and screws | Bacillus cereus | 1 | Negative | n. a. |
| 34 | M/52 | Femur | Plate and screws | Negative | n. a. | Negative | n. a. |
| 35 | M/72 | Femur | Intramedullary nail | Escherichia coli | 1 | Escherichia coli | 3 |
| 36 | M/35 | Tibia | Plate and screws | Staphylococcus aureus | 1 | Staphylococcus aureus | 3 |
| 37 | M/31 | Tibia | Plate and screws | Negative | n. a. | Negative | n. a. |
| 38 | M/51 | Calcaneus | Plate and screws | Staphylococcus aureus | 1 | Staphylococcus aureus | 4 |
| 39 | M/50 | Tibia | Plate and screws | Staphylococcus aureus | 1 | Staphylococcus aureus | 2 |
| 40 | M/49 | Tibia | Plate and screws | Staphylococcus aureus | 1 | Staphylococcus aureus | 4 |
| 41 | M/16 | Femur | Plate and screws | Enterococcus faecalis | 1 | Negative | n. a. |
| 42 | F/48 | Femur | K-wire | Staphylococcus aureus | 1 | Staphylococcus aureus | 4 |

ISC: Implant surface culture; TSC: tissue sampling culture.

Protocol

After admission (before surgery):

Suspected of FDRI by clinical signs and symptoms, imaging tests, or serological tests.

Screened for eligibility and sign the informed consent.

Antibiotics has been stopped for at least for 2 weeks prior to surgery.

Surgery plans to remove the implants.

During surgery:

At least three different sites suspected of infection should be collected and sent for histology.

Empirical intravenous antibiotics can be used only after implants has been removed, and multiple specimens has been collected and sent for culture and histology.

ISC protocol:

Implants type include but not limited to plate, screw, intramedullary, Kirschner wire and steel wire.

Rinse the removed implants with normal saline twice.

Put the explants in an aseptic culture plate.

Transfer the explants to the laboratory and dispose within 2 hours after implant removal.

Cover the surface of the explant surfaces gently with cooled but still molten tryptic soy agar (TSA).

Incubate the plate at 37℃ containing 5% CO2.

Inspect the explants every day for bacterial outgrowth and supplement TSA to the surfaces when necessary.

In case of bacterial outgrowth, at least three different sites of colonies should be swabbed aseptically and sent to the Clinical Laboratory Department for microorganism identification.

Observe the explants for 14 days and if there is no evidence of bacterial outgrowth after 2 weeks, discard the explants as medical wastes harmlessly.

Record the culture outcomes and culture time.

TSC protocol:

Sample at least five different sites suspected infection, and implant-bone interface should be the superiority site.

Use separate, unused surgical instruments for each sample collection.

Transport the specimens individually using sterile containers and dispose within 2 hours by the Clinical Laboratory Department.

Homogenize the specimens separately in 10 mL of saline solution using glass beads.

Inoculate the samples into blood culture bottles (BACTEC Lytic/10 Anaerobic/F bottle and BACTEC Plus Aerobic/F bottle) for at least 7 days, and extend the culture time to 14 days when necessary.

Collect bacterial colonies observed for identification.

Record the culture outcomes and culture time.