## Table 8 (A)
Mixed sludge |  | freeze-dried | 2017-09-05 | [5 empty] | on total weight |  |  |  | on TS | [6 empty] | on TS
Replica | Crucible (g) | plus sample | dry | Total Solids | TS average | SD | Confid. Inter. | after 550C 2h (g) | Volatile solids | VS average | SD | Confid. Inter. | Volatile solids | VS average | SD | Confid. Inter. | ASH | ASH average | after 900C 2h (g) | CaCO3 % | CaCO3 % average | SD | Confid. Inter.
1 | 15.6212 | 15.8112 | 15.7994 | 93.79% | 94.54% | 0.575% | 0.6507% | 15.6555 | 75.74% | 74.26% | 1.474% | 2.042% | - | 75.94% | 0.9588% | 1.329% | - | 24.06% | 15.6519 | 4.591% | 4.998% | 0.4065% | 0.5634%
2 | 16.0089 | 16.2577 | 16.2444 | 94.65% |  |  |  | 16.0633 | 72.79% |  |  |  | 76.9% |  |  |  | 23.1% |  | 16.0577 | 5.404%
3 | 15.8163 | 16.1195 | 16.1049 | 95.18% |  |  |  | 15.8885 | - |  |  |  | 74.98% |  |  |  | 25.02% |  | 15.8805 | -
|  |  |  | error | 0.7534% | [7 empty] | error | 0.9588%
Mixed sludge |  | fresh-frozen | 2017-09-05 | [5 empty] | on total weight |  |  |  | on TS | [6 empty] | on TS
Replica | Crucible (g) | plus sample | dry | Total Solids | TS average | SD | Confid. Inter. | after 550C 2h (g) | Volatile solids | VS average | SD | Confid. Inter. | Volatile solids | VS average | SD | Confid. Inter. | ASH | ASH average | after 900C 2h (g) | CaCO3 % | CaCO3 % average | SD | Confid. Inter.
1 | 15.7484 | 16.0892 | 15.839 | 26.58% | 26.64% | 0.05173% | 0.07169% | 15.7729 | 19.4% | 18.15% | 0.9237% | 1.045% | 72.96% | 68.68% | 4.276% | 5.927% | 27.04% | 31.32% | 15.7712 | 4.264% | 3.48% | 0.7848% | 1.088%
2 | 17.5933 | 18.0628 | 17.7186 | 26.69% |  |  |  | 17.6379 | 17.19% |  |  |  | 64.41% |  |  |  | 35.59% |  | 17.6249 | -
3 | 15.4902 | 15.8379 | 15.5661 | - |  |  |  | 15.504 | 17.86% |  |  |  | - |  |  |  | - |  | 15.5031 | 2.695%
|  |  |  | error | 0.05173% | [14 empty] | error | 0.7848%
Mixed sludge |  | extractive free | 2017-08-31
Replica | Crucible (g) | plus sample | dry | Total Solids | TS average | SD | Confid. Inter.
1 | 15.6563 | 15.8197 | 15.8083 | 93.02% | 92.55% | 0.3406% | 0.3854%
2 | 16.6655 | 16.87 | 16.8541 | 92.22%
3 | 16.4715 | 16.6587 | 16.6445 | 92.41%
FIBER ANALYSIS |  | extractive free | [6 empty] | Concentration (mg/L)
Replica | Sample (g) | TS (g) | acid concentrated (g) | Sample + acid + water (g) | with flask (g) | after autoclave (g) | Flask (g) |  | Arabinose | Galactose | Glucose | Xylose | Mannose | Cellobiose | sample (g) | water (g) | Dilution | Cellulose % | Hemicellulose%
1 | 0.3073 | 0.28442 | 4.95 | 89.34 | 138.21 | 135.39 | 48.87 |  | 26.955 | 25.8301 | 1126.2932 | 88.3783 | 46.3532 | 12.1737 | - | - | 1 | 37.95% | 6.386%
2 | 0.3197 | 0.2959 | 4.94 | 89.36 | 137.74 | 134.74 | 48.38 |  | 28.2837 | 23.9679 | 992.142 | 82.9323 | 43.26 | 13.4845 | - | - | 1 | 32.08% | 5.882%
|  |  |  | sugar solution | 59.08 | 58.71 | [10 empty] | AVERAGE | 35.01% | 6.134%
| Sugar sol. | added (g) | [14 empty] | STD | 2.938% | 0.252%
| xylose | 0.1132 |  | Sugar loss | measured | expected | sample (g) | water (g) | Dil. Factor | measured | Loss | [5 empty] | Conf Int | 4.072% | 0.3493%
| glucose | 0.2082 |  | glucose (mg/L) | 108.3139 | 21502.9332 | 0.028 | 4.9318 | 177.1357 | 19186.2622 | 10.77% | [5 empty] | Corrected | 33.37% | 5.846%
| water | 10.0524 |  | xylose (mg/L) | 58.3467 | 11691.3162 | 0.028 | 4.9318 | 177.1357 | 10335.283 | 11.6% | [5 empty] | ERROR | 2.938% | 0.252%
Replica | filter+foil tray (g) | B column + dry sample (g) | lignin + ash (g) | after 550C 2h (g) | volatile solids(g) | ash (g) | lignin based on TS | lignin average | SD | confidence intervals | ash based on TS | ash average | SD | confidence intervals | ash based on TS
1 | 1.168 | 1.2475 | 0.0795 | 1.1909 | 0.0566 | 0.0229 | 19.9% | 19.97% | 0.07031% | 0.09745% | 8.051% | 8.301% | 0.2494% | 0.3456% | 0.0007198%
2 | 1.1717 | 1.2563 | 0.0846 | 1.197 | 0.0593 | 0.0253 | 20.04% |  |  |  | 8.55% |  |  |  | 0%
[7 empty] | corrected | 19.03%
[6 empty] | corrected for proteins |  | 10.92%
[7 empty] | Error | 0.07031%
Replica | dilution factor | ABS at 325 nm | Acid Soluble Lignin | lignin average | SD | confidence intervals
1 | 1.5 | 0.79 | 1.237% | 1.333% | 0.09647% | 0.1337%
2 | 1.5 | 0.95 | 1.43%
|  |  | corrected | 1.399%
|  |  | Error | 0.09647%
LIPIDS | freeze-dried | 2017-08-16
Replica | Empty flask (g) | sample (g) | Flask + lipids (g) | lipids (g) | TS (g) | lipids | average | STD | Conf. Interv.
1 | 102.5365 | 3.2515 | 102.6824 | 0.1459 | 3.0741 | 4.746% | 4.707% | 0.1674% | 0.1894%
2 | 95.2822 | 2.9711 | 95.4082 | 0.126 | 2.809 | 4.486%
3 | 100.9966 | 2.7946 | 101.1258 | 0.1292 | 2.6421 | 4.89%
[6 empty] | Error | 0.2216%
Proteins (TKN) | freeze-dried
Sample | ID | weight 1 (g) | weight 2 (g) | mL H2SO4 | %N | real %N | % protein
water (not digested) | Blank | - | - | 0.01 | - | -
NH4Cl (10 mL at 1000mg/L) F=0.971 | NH4Cl | - | - | 2.76 | - | - |  | average | STD | Conf. Int.
Mixed sludge | 1 | 0.2076 | - | 0.75 | 1.29% | 1.293% | 8.081% | 8.115% | 0.2217% | 0.2509%
Mixed sludge | 2 | 0.147 | - | 0.56 | 1.341% | 1.344% | 8.401%
Mixed sludge | 3 | 0.2312 | - | 0.81 | 1.255% | 1.258% | 7.861%
Mixed sludge | 4 | 0.2353 | - | 0.1 | 0.1106% | 0.1109% | error | 0.2866%
Glutamic acid | 7 | 0.4613 | - | 11.7 | 9.169% | -
Glutamic acid + sample | 8 | 0.1853 | 0.1062 | 5.44 | - | -
Ammonium chloride | 9 | 0.2282 | - | 17.05 | 27.03% | -
paper-blank | 10 | - | - | 0.03 | - | -
paper-blank | 11 | - | - | 0.03 | - | -
paper-blank | 12 | - | - | 0.02 | - | -
Glutamic acid |  |  | digestion % | 99.97%
molecular weight (g/mol) | 147.1 |  | nitrogen recovery % | 99.78%
N content | 9.524%
Ammonium chloride
molecular weight (g/mol) | 53.49
N content | 26.19%
Note on R21: Author: dilution is already considered in the data, that is way I input 1

## Table 8 (B)
Klason lignin (AIL)
Date | Starch | Uronics | Acetyl | Glycerol | Name | Order | Tot. Sugars | Glucan | Xylan | Arabinan | Mannan | KL | ASL | Ash | Extr. | // -> solvent wash with acetone or something similar which removes waxes, gums, some oils etc
05/07/2020 |  |  |  |  | DRY ORS USA 3/2/20 | 1097 | 37.24 | 29.15 | 4.48 | 0.37 | 2.48 | 14.46 | 0.66 | 32.78 | 10.65
[7 empty] | Average: 37.24 | Average: 29.15 | Average: 4.48 | Average: 0.37 | Average: 2.48 | Average: 14.46 | Average: 0.66 | Average: 32.78 | Average: 10.65
[8 empty] | hemicellulose | hemicellulose |  |  |  |  | VS
[8 empty] | 8.09 | 7.33 |  |  |  | 100-ash | 67.22
[13 empty] | all organic | 68.97
[5 empty] | Total fatty acids | Oleic | Linoleic | Linolenic | Palmitic | Palmitoleic | Stearic | Octanoic | Decanoic | Dodecanoic | Myristic | Arachidic | Behenic | Euricic | Lignoceric
[5 empty] | 6.72 | 0.4 | 1.22 | - | 2.83 | 0.08 | 1.83 | 0.01 | 0.02 | 0.04 | 0.14 | 0.05 | 0.03 | 0.05 | 0.02
[7 empty] | 0.18155 |  | 0.42113 |  | 0.27232

## Table 9-10
TABLE ROW | SAMPLE NAME | TYPE | STD LOT | wt(mg) | A/S | RT-N | PA-N | PA/wt | %N | RT-C | PA-C | PA/wt | %C | RT-H | PA-H | PA/wt | %H | RT-S | PA-S | PA/wt | %S
89 | std1 | bypass |  |  | 0 | 52 | 271344 |  |  | 73.5 | 9668106 |  |  | 283 | 4007623 |  |  | 58.4 | 10396
90 | B | unk |  |  | 1 | 54 | 90409 |  |  | 84.5 | 14678 |  |  | 239.5 | 10549
91 | B1 | unk |  |  | 2 | 54 | 91117 |  |  | 84.5 | 33490 |  |  | 233 | 29834
92 | STD2 | STD | Birch_st6 | 4.06 | 3 | 52 | 258333 | 63628.8177 | 1.753% | 74 | 9368513 | 2307515.5172 | 48.26% | 281.5 | 4031620 | 993009.8522 | 6.529% | 585.5 | 9930 | 2445.8128 | 0.1532%
93 | STD3 | STD | Birch_st6 | 2.12 | 4 | 52 | 183668 | 86635.8491 | 2.18% | 77 | 4882523 | 2303076.8868 | 48.1% | 240 | 2017331 | 951571.2264 | 6.238% | 583.5 | 5575 | 2629.717 | 0.1647%
94 | STD4 | STD | Birch_st6 | 2.35 | 5 | 52 | 193868 | 82497.0213 | 2.112% | 76.5 | 5523743 | 2350528.9362 | 49.11% | 246.5 | 2349235 | 999674.4681 | 6.559% | 584 | 6440 | 2740.4255 | 0.1716%
95 | STD5 | unk |  | 2.92 | 6 | 52 | 218185 | 74720.8904 | 1.978% | 75.5 | 6643240 | 2275082.1918 | 47.55% | 257 | 2841632 | 973161.6438 | 6.391% | 584.5 | 7803 | 2672.2603 | 0.1674%
98 | B2OK | unk |  |  |  | 54.5 | 46717 |  |  | 84.5 | 21895 |  |  | 238 | 17600
99 | B3 | unk |  |  | 8 | 54.5 | 47600 |  |  | 84 | 11247 | - |  | 239 | 15652
100 | S1 | unk |  | 3.72 | 9 | 52.5 | 155606 | 41829.5699 | 0.9901% | 75 | 7012331 | 1885035.2151 | 39.4% | 263.5 | 3064424 | 823769.8925 | 5.411% | 582.5 | 9483 | 2549.1935 | 0.1597%
101 | S2 | unk |  | 3.13 | 10 | 52 | 143975 | 45998.4026 | 1.052% | 76 | 5898295 | 1884439.2971 | 39.38% | 251 | 2489126 | 795247.9233 | 5.219% | 583 | 8215 | 2624.6006 | 0.1644%
102 | S3 | unk |  | 3.92 |  | 52 | 166101 | 42372.7041 | 1.029% | 74.5 | 7492158 | 1911264.7959 | 39.96% | 266 | 3229392 | 823824.4898 | 5.413% | 582 | 10194 | 2600.5102 | 0.1629%
103 | S4 | unk |  | 2.73 |  | 52.5 | 119189 | 43658.9744 | 0.9031% | 76.5 | 5318559 | 1948190.1099 | 40.7% | 247 | 2290615 | 839053.1136 | 5.504% | 584.5 | 6834 | 2503.2967 | 0.1568%
104 | S5 | unk |  | 4.2 |  | 52.5 | 166901 | 39738.3333 | 0.9669% | 74.5 | 7965121 | 1896457.381 | 39.65% | 271 | 3344029 | 796197.381 | 5.232% | 583 | 10365 | 2467.8571 | 0.1546%
105 | B4 | unk |  |  |  | 54.5 | 47366 |  |  | 84 | 12587 | - |  | 242 | 14000
106 | STD7 | unk |  | 3.08 |  | 52.5 | 188585 | 61228.8961 | 1.554% | 84 | 7164100 | 2326006.4935 | 48.62% | 267 | 2852940 | 926279.2208 | 6.083% | 584.5 | 7037 | 2284.7403 | 0.1431%
107 | B5 | unk |  |  |  | 54.5 | 42330 |  |  | 75.5 | 10581 | - |  | 246 | 11326 |  |  |  |  | #DIV/0!
BIRCH ST-6 |  | B | B1 | B2OK | B4 | B5 | [6 empty] | N | C | H | S | O
N | 2.09% | - | - | 46717 | 47366 | 42330 | [5 empty] | STD2 | - | 48.26% | 6.529% | -
C | 48.33% | 14678 | e=M4 | - | 12587 | 10581 | [5 empty] | STD3 | 2.18% | 48.1% | 6.238% | 0.1647%
H | 6.36% | 10549 | e=Q4 | - | 14000 | 11326 | [5 empty] | STD4 | 2.112% | 49.11% | 6.559% | 0.1716%
S | 0.16% | 0 | 0 | 0 | 0 | 0 | [5 empty] | STD5 | 1.978% | 47.55% | 6.391% | 0.1674%
[12 empty] | STD7 | - | 48.62% | 6.083% | -
blank-mean |  | %CV | [9 empty] | Mean | 2.09% | 48.33% | 6.36% | 0.1679% | 43.05%
N | 45471 | 6.025% | [9 empty] | %CV | 4.915% | 1.205% | 3.152% | 2.083%
C | 12615.3333 | 16.24%
H | 11958.3333 | 15.14% | [10 empty] | N | C | H | S | O |  | % in moles assuming 1kg of ORS
S | 0 | - | [9 empty] | S1 | 0.9901% | 39.4% | 5.411% | 0.1597% |  |  | N | C | H | S | O | total
|  |  | K - FACTOR | [8 empty] | S2 | - | 39.38% | 5.219% | 0.1644% |  | g/mol | 14.007 | 12.011 | 1.008 | 32.065 | 15.999
|  |  |  | N | C | H | S |  |  |  |  | S3 | 1.029% | 39.96% | 5.413% | 0.1629% |  | mols | 0.69416 | 33.1516 | 53.1343 | 0.049791 | 33.5607 | 120.5905
K (mean factor) |  |  | STD2 |  | 4768070.1268 | 15567051.0993 | 1528633.0049 |  |  |  |  | S4 | 0.9031% | 40.7% | 5.504% | 0.1568% |  | % | 0.5756% | 27.49% | 44.06% | 0.04129% | 27.83%
N | 2990168.3232 |  | STD3 | 3119007.8541 | 4753002.8096 | 14873121.1186 | 1643573.1132 |  |  |  |  | S5 | 0.9669% | 39.65% | 5.232% | 0.1546% |  | % corrected | 0.020939 | 1 | 1.6028 | 0.0015019 | 1.0123
C | 4775240.1149 |  | STD4 | 3021419.1184 | 4852391.2874 | 15638141.7548 | 1712765.9574 | [5 empty] | 0.9723% | 39.82% | 5.356% | 0.1597% | 53.69%
H | 15163659.5531 |  | STD5 | 2830077.997 | 4698452.0425 | 15236891.89 | 1670162.6712 | [5 empty] | 5.433% | 1.371% | 2.332% | 2.561%
S | 1596619.4818 |  | STD7 |  | 4804284.308 | 14503091.9029 | 1427962.6623 | [11 empty] | Methane potential (Buswell equation) |  |  |  | (required)
[19 empty] | CO2 | CH4 | NH3 | H2S | H2O
[18 empty] | moles | 18.5969 | 14.5547 | 0.69416 | 0.049791 | 3.6332
|  |  | Mean | 2990168.3232 | 4775240.1149 | 15163659.5531 | 1596619.4818 | [10 empty] | kg/mol | 0.04401 | 0.01604 | 0.01703 | 0.03401 | 0.01802 | Mass balance
|  |  | %CV | 4.915% | 1.205% | 3.152% | 7.289% | [10 empty] | kg | 0.81845 | 0.23346 | 0.011821 | 0.0016934 | 0.065471 | 4.7463e-05
Per mole of methane one mole of acetate is needed so:
[18 empty] | moles | 14.5547
[18 empty] | kg/mol | 0.06005
[18 empty] | kg | 0.87401 | 0.14858