## List of layers
DOI of this supplementary data: https://doi.org/10.5258/SOTON/D2324
Feature category | Availability Category | Feature name | Been used/not been used in previous studies
Met-Ocean constraint | No-go zones | Wind speed (at 110 m height) | Been used
Anthropogenic constraints | No-go zones | Protected Wrecks (PW) | Been used
¦¦ | No-go zones | Aggregate Sites (Ag) | Been used
¦¦ | No-go zones | Dredging sites (Dr) | Been used
¦¦ | No-go zones | Mineral Mining (MM) | Been used
¦¦ | No-go zones | Non-Renewable Energy (NRn): (Oil and gas fields ceased after 2050) (Oil and gas infrastructures) | Been used
¦¦ | No-go zones | Renewable Energy (Rn) | Been used
¦¦ | No-go zones | Aquaculture sites (Aq) | Been used
¦¦ | No-go zones | Vessel route (VR) | Been used
¦¦ | No-go zones | Waste Disposal (WD) | Not been used
¦¦ | No-go zones | Military zones (Mlt) | Not been used
¦¦ | No-go zones | Cable (C) | Been used
¦¦ | No-go zones | Harbour Areas & Facilities (HbA) | Been used
¦¦ | No-go zones | Active Wells (AcW) | Been used
¦¦ | Co-usage | IMO Routes (IMOR) | Been used
¦¦ | Co-usage | Anchorage sites (An) | Been used
¦¦ | Co-usage | Carbon Capture Storage (CCS) | Been used
¦¦ | Co-usage | Fishing sites (Fi) | Been used
| Co-usage | Non-Renewable Energy (NRn): (Oil and gas fields ceased before 2050) | Been used
¦¦ | Co-location | Areas of Natural Beauty (NaB) | Been used
¦¦ | Co-location | Heritage Coastline (HrC) | Been used
¦¦ | Co-location | NATS Radar Interference: High Interference (Ra) | Been used
¦¦ | Co-location | Navigation Points (Nav) | Been used
¦¦ | Co-location | Seabed Obstruction (SbO) | Been used
¦¦ | Co-location | Suspended Wells (SuW) | Been used
¦¦ | Co-location | Seabed Obstruction (SbO) | Not been used
Geological | Co-location | Deep Sea Reservation (DSR) | Not been used
¦¦ | Co-location | Gemorphology Features (GmF) | Not been used
¦¦ | Co-location | Steep slope (Slp) | Not been used
¦¦ | Co-location | Submerged Landscape (SL) | Not been used
Ecological | Co-location | Fishing spawning & nuresery ground (FNS) | Not been used
¦¦ | Co-location | Marine Conservation Zone (MCZ) | Been used
¦¦ | Co-location | OSPAR threatened species (OST) | Been used
¦¦ | Co-location | Special areas of conversation (SAC) | Been used
¦¦ | Co-location | Special Protection Area (SPA) | Been used

## Spatial layers details
Layer name | Subclass | Source | Layer type | Resolution | Pre-exclusion spatial analysis process
|  |  |  | (if applicable) | (if applicable)
Metocean Layer
Wind speed (at 110 m height) |  | Marine Data Exchange | Raster | 5 km | Raster to polygons conversion:
Polygons area was created by converting the areas with values of >4 m/s, which is considered as areas where the wind speed is adequate (Díaz and Guedes Soares, 2020).
Anthropogenic Layers
Renewable energy sites (RE) | Scottish energy infrastructure agreements: | Scottish dataset: TCE Scot | Polygon
| Development - commercial | English, Wales, and Northern Ireland dataset: TCE
Tidal Farm
Wave Farm
Wind Farm
Scottish renewable site designated areas
Tidal Farm
Wind Farm
English, Wales, and Northern Ireland wind cable agreements
Round 1-4
Ad-hoc floating
Demonstration
Extension
English, Wales, and Northern Ireland wind cable agreements
Active/in operation
Consented
In Planning
Under Construction
English, Wales, and Northern Ireland wave site agreements
Active/in operation
Pre-planning application
English, Wales, and Northern Ireland tidal site agreements
Active/in operation
Pre-planning application
Consented
Mining sites (MM) | Offshore subsurface mining lease | TCE | Polygon
Offshore seabed mining lease
Aggregates sites (Ag) | Exploration and option area | TCE | Polygon
Production and agreement area
Dredging sites (Dr) |  | EMODNET - HA | Polygon
Military (Mlt) |  | OGA portal | Polygon
Carbon capture storage (CCS) | Scottish CCS | SCOT CCS: TCE Scot | Polygon
| English CCS | ENG CCS: OGA portal
Non-Renewable Energy (NRn) | O&G surface infrastructure | O&G surface infrastructure: OGA portal | O&G surface infrastructure - points |  | Polygon of buffer areas creation:
| Buoy | O&G subsurface infrastructure: OGA portal | O&G subsurface infrastructure - points |  | Buffer areas were created for the points/polylines data, with details buffer for each side is given as:
| FPSO | O&G freepans: OGA portal | O&G freepans - polylines |  | O&G surface infrastructure (500 m)
| FSO | O&G pipelines: OGA portal | O&G pipelines - polylines |  | O&G subsurface infrastructure (500 m)
| Monitor Buoy | Scottish energy pipelines agreements: TCE Scot | Scottish energy pipelines agreements - polylines |  | O&G freespans (500 m)
| Other surface | Nuclear power plants: EMODNET - HA | Nuclear power plants - polygon |  | O&G pipelines (135 m)
| Platform | O&G active license: EMODNET - HA | O&G active license - polygon |  | Buffer area for O&G pipelines are based on The Crown Estate (2020)
| SBM | O&G offshore installations: EMODNET - HA | O&G offshore installations - points |  | Buffer area for others features are not stated in any document that could be found publicly at this moment. Therefore buffer areas of 500 m is used.
Terminal
O&G subsurface infrastructure
Anchor;
Anchor block;
Anchor pile;
Anode assembly;
Berm;
Debris;
Manifold;
Obstruction;
Other Subsea;
Pig Launch/trap;
Pile;
Pipe Junction;
Pipeline Span;
Protection;
Riser Base;
Rock Dump;
Seabed Fastener;
Spool Piece;
Storage Tank;
Subsea Buoy;
Tee Piece;
Template;
Towhead;
Valve:
Wellhead;
Wreck
O&G freepans
O&G pipelines
Scottish energy pipelines agreements
Nuclear power plants
O&G active license
O&G offshore installations
Vessel routes (VR) | 2019 to 2020 cargo ship | EMODNET - HA | Raster (in Routes per km2 per month) | 1 km2 | Raster to polygons conversion:
| 2019 to 2020 passenger ship |  |  |  | Polygons areas was created by converting the areas with raster value > 250 (of ~32,000 at the max), which is considered as areas where the vessel routes are dense, from the raster data into polygon.
| 2019 to 2020 tanker ship |  |  |  | Polygons of buffer areas creation:
Then a 500 m buffer zones were created from the polygons. The distance for buffer zone used here based on the UNCLOS document for the distance of others infrastructure to international shipping routes.
IMO routes (IMOR) | Deep Water Route Part | ADMIRALTY DATAHUB | Polygons
Inshore Traffic Zones
Precautionary Areas
Areas to be avoided
Traffic separation Zones
Traffic Separation Scheme Lanes
Two-way Routes
Cables (C) | Telecom Cable schematic | EMODNET - HA | Polyline |  | Polygons of buffer areas creation:
| FR SHOM electricity cable |  |  |  | Buffer areas were created for the points/polylines data, with details buffer areas on each side is given as:
| FR SHOM telecommunication cable |  |  |  | For electricity cable: 500 m
| NL Electricity cable |  |  |  | For telecommunication cable:
| NL telecommunication cable |  |  |  | 235 m at water depths <= 55 m
485 m at water depths > 55 m
Buffer for electricity table is based on the Subsea Cables UK document.
Buffer for telecommunication cables is based on the Crown Estate document.
Seabed obstructions (SbO) | Obstruction: | Edina-Digimap/OceanWise | Points |  | Polygons of buffer areas creation:
| Fish haven |  |  |  | Since no document found for buffer areas that should be put for seabed obstructions, we used a default buffer areas of 500 m for each side.
Foul area
Foul ground
Ground Tackle
Snag or stump
Undefined
Underwater rock
Wrecks:
Dangerous wreck
Distributed remains of wreck
Non-dangerous wreck
Undefined
Wreck showing any portion of hill or superstructure
Wreck showing mast/masts
Fishing sites (Fi) | Inshore fishing lining activities: 2010-2012 | Inshore fishing activities: CEFAS | Inshore fishing activities: Raster (activity per km2) | For the inshore fishing activities: 0.05 deg. in longitude and 0.025 deg. in latitude cells (approx. 5.5 by 5 km) | For the inshore fishing activities:
| Limited to England and Wales Inshore area |  |  |  | Raster to polygons conversion:
| Inshore fishing trawling activities: 2010-2012 |  |  |  | Polygons area was created by converting the areas with values of >1 activity per km2, which is considered as areas where the fishing activities exist there, from raster data into polygon.
| Limited to England and Wales Inshore area |  |  |  | Polygons of buffer areas creation:
Then a 500 m buffer areas for each side were created from that area as the default buffer area used here since no document was found ruling the buffer area.
Aquaculture sites (Aq) | Aquaculture in freshwater | Aquaculture sites: EMODNET HA | Aquaculture sites: Points |  | For the aquaculture site:
| Aquaculture in shellfish |  |  |  | Polygons of buffer areas creation:
Since no document found for buffer areas that should be put for aquaculture sites, we used a default buffer areas of 500 m for each side.
Protected Wrecks (PW) | Protected wrecks in England | English protected wreck sites: Historic England | Points |  | Polygons of buffer areas creation:
| Protected wrecks in Wales |  |  |  | Buffer areas of 1000 m was created for each side.
|  | Wales protected wreck sites: Historic Wales |  |  | The buffer areas was based on the distance area for protected areas mentioned in Díaz and Guedes Soares (2020).
Scottish protected wreck sites:
HES Scot
Waste Disposal | UWWTP discharge | EMODNET - HA | Polygons
(WD) | Dumped Munitions
Dredge spoil dumping
Active Well sites (AcW) | Active borehole well sites | OGA portal | Points |  | Polygons of buffer areas creation:
Since no document found for buffer areas that should be put for seabed obstructions, we used a default buffer areas of 500 m for each side.
Suspended Well sites (SuW) | Suspended borehole well sites | OGA portal | Points |  | Polygons of buffer areas creation:
Since no document found for buffer areas that should be put for seabed obstructions, we used a default buffer areas of 500 m for each side.
NATS - High radar Interference (Ra) | Primary Surveillance Radar | NATS | Polygons
Secondary Surveillance radars
Air-Ground-Air communication sites
En-route navigation aids
Site of Specific Scientific Interest (SSSI) | SSSI in England | England SSSI: DEFRA | Polygons
| SSSI in Wales | Wales SSSI: Ile Wales
| ASSI in Northern Ireland | NI ASSI: OpendataNI
Heritage Coastline (HrC) | Heritage Coastline in England | England Heritage Coastline: | Polygons
| Heritage Coastline in Wales | DEFRA
Heritage Coastline in Northern Ireland
Wales Heritage Coastline:
Lle Wales
Northern Ireland Coastline:
OpendataNI
Areas of Natural Beauty (NaB) | Scenic Areas in England | England Scenic Areas: | Polygons
| Scenic Areas in Wales | DEFRA
Scenic Areas in Northern Ireland
| Scenic Areas in Scotland | Wales Scenic Areas:
Lle Wales
Northern Ireland Scenic Areas:
OpendataNI
Scottish Scenic Areas:
Data gov UK
Harbour Areas & Facilities (HbA) | Harbour Administrative Areas | Edina-Digimap/OceanWise | Polygons
Harbour Facility:
Pontoon
Boom
Mooring/Warping facility, Dolphin
Mooring/Warping Facility, Undefined
Dry dock
Undefined
Anchorage Areas (An) |  | Edina-Digimap/OceanWise | Polygons
Navigational Points (Nav) | Beacon | Edina-Digimap/OceanWise | Points |  | Polygons of buffer areas creation:
| Buoy |  |  |  | Since no document found for buffer areas that should be put for seabed obstructions, we used a default buffer areas of 500 m for each side.
Light float
Light vessel
Navigation line
Routes Identificatory
Gelogical Layers
Slope (modified from bathymetry) (Slp) |  | Bathymetry: EMODNET Bathymetry | Bathymetry: Raster | Bathymetry: 115 m | Spatial surface analysis of bathymetry raster:
The conversion was done using 'Slope' Spatial Analysis toolbox in ArcGIS.
Raster to polygons conversion:
Polygons area was created by converting the areas with values of >5o, which is considered as steep areas that could be dangerous for structure (Fugro, 2016).
Polygons of buffer areas creation:
Then a 500 m buffer areas for each side were created from that area as the default buffer area used here since no document was found ruling the buffer area.
Geomorphology features (GmF) | Slide area, | EMODNET GEO | Polygon
Bank crest,
Basin,
Channel,
Collapsed blocks,
Coralmound,
Drumlin Field
Escarpment
Fan
Furrow
Gully
Moat
Moraine
Mud diapir
Pinnacle
Ploughmarks field
Pockmark field
Ridge, unspecified
Rocky outcrop
Sand ribbon field
Sand ridge
Scour
Seamount
Sediment bank
Sediment wave
Sediment wave field
Slide escarpment
Submarine landslide
Trough
Tunnel valley
| Rock and Hard Substrates | Digimap (edina.ac.uk)/BGS | Polygon
Submerged landscape (SL) | Channel | EMODNET GEO | Channel: Line & Polygon |  | Polygons of buffer areas creation:
| Coastal Landform: |  |  |  | Since no document found for buffer areas that should be put for channel/coastal landform, we used a default buffer areas of 500 m for each side.
| Submerged forest |  | Submerged forest and peat: Point
Submerged Peat
| Wetlands |  | Others: polygon
Terrace
Lake
Estuary
Delta
Deep Sea Reservation - North Atlantic Ocean (DSR) |  | JNCC | Polygon
Ecological Layers
OSPAR threatened species (OST) | Threatened Actinopteri | EMODNET BIO | Points |  | Spatial analysis - kernel density raster creation:
| Threatened Aves |  |  |  | Kernel density raster was made based on the points dataset by using the 'Kernel Density' toolbox in ArcGIS.
| Threatened Elasmobranchii |  |  |  | The toolbox is used to detect how much detection as gathered from counts of items in the points dataset per 10 km2.
| Threatened Gastropoda |  |  |  | Raster to polygons conversion:
| Threatened Mammalia |  |  |  | Polygons area was created by converting the areas with values of >=1 detection of a species per 10 km2 grid, which is considered as areas where the species could be found in the grid into polygon. Those delineated raster data was converted into an automatic simplified (triangle) polygon in the conversion.
| Threatened Petromyzonti |  |  |  | Polygons of buffer areas creation:
Then a 500 m buffer areas for each side were created from that area as the default buffer area used here since no document was found ruling the buffer area.
After thatn the polygons were smoothed using 'Smooth Polygons' tools with 20000 m distance of tolerance.
Fishing spawning & nursery ground for selected fish (FNS) | Spawning ground | Cefas | Polygon
Nursery ground
Special areas of conservation (SAC) |  | JNCC | Polygon
Special Protection Area (SPA) |  | JNCC | Polygon
Marine Conservation Zone (MCZ) |  | JNCC | Polygon

## TCE 2019
Study by The Crown Estate, 2019 | Reference: | TCE. 2019. Resource and Constraints Assessment for Offshore Wind: Methology Report. https://www.thecrownestate.co.uk/media/3331/tce-r4-resource-and-constraints-assessment-methodology-report.pdf (February 16, 2022).
TCE study classified constraints that they used for their GIS study for OW into hard & soft constraints. Hard constraints are dedfined as constraints that were used in the exclusion model, which either (i) there is existing in place that would preclude development, (ii) Safety reasons would inhibit development (e.g., International Maritime Organisation (IMO) shipping routes and oil and gas safety zones), and (iii) Existing rights have been granted over the seabed which precludes granting rights for offshore wind development). While soft consraints are defined as constraints that were used in the restrictions model, which may provide variable constraints on the development of (fixed doundation) offshore wind, but not necessarily preclude development.
Category explanation:
: The constraint is covered in this study and comes from the same sourc, but may be further update
: The constraint maybe covered in this study, but collected from different source and/or classified differently in TCE, 2019
: The constraint is not covered in this study
Comments about the TCE, 2019 used constraint compared to this study | Category | Name | Space occupancy category (hard and soft constraints class based on TCE, 2019) | Source | Date of update | Comments from TCE, 2019
May be covered by Oil and Gas active license sourced from EMODNET |  | UK Deal Safety Zones | Hard constraint | UK Oil and Gas Data | 14/08/2017 | These are the 500m exclusion zones around platforms that would be inappropriate for development.
May be covered by derived Vessel Routes constraints sourced from EMODNET |  | OceanWise Shipping Routes | Hard constraint | OceanWIse | 13/04/2018 | This data shows where shipping designations are in place that restricts shipping movements and infrastructure development to enhance safe navigation.
|  | Traffic separations Schemes (IMO) | Hard constraint | UKHO | 03/02/2017 | This data shows where shipping designations are in place that restricts shipping movements and infrastructure development to enhance safe navigation.
|  | Protected Wrecks | Hard constraint | CADW, EH, HS, DAERA | 18/01/2018 | Wrecks protected by statutory legislation.
This study classified them as soft constraint |  | The Crown Estate - Pipes Infrastructure | Hard constraint | TCE | 18/01/2018 | Hard infrastructure that would prohibit development.
This study classified them as soft constraint |  | The Crown Estate - Cables Infrastructure | Hard constraint | TCE | 18/01/2018 | Hard infrastructure that would prohibit development.
This study classified them as soft constraint |  | The Crown Estate - Cables Agreements | Hard constraint | TCE | 18/01/2018 | Hard infrastructure that would prohibit development.
|  | The Crown Estate - Tidal Stream agreements | Hard constraint | TCE | 18/01/2018 | Hard infrastructure that would prohibit development.
|  | The Crown Estate - Wind Agreements | Hard constraint | TCE | 18/01/2018 | Where agreements or actual infrastructure exists that would inhibit development of offshore wind farms.
|  | The Crown Estate - Wave Agreements | Hard constraint | TCE | 18/01/2018 | Where agreements or actual infrastructure exists that would inhibit development of offshore wind farms.
|  | The Crown Estate - Minerals and Aggregates agreements | Hard constraint | TCE | 18/01/2018 | Where agreements or actual infrastructure exists that would inhibit development of offshore wind farms.
This study classified them as soft constraint |  | The Crown Estate - Pipeline Agreements | Hard constraint | TCE | 18/01/2018 | Where agreements or actual infrastructure exists that would inhibit development of offshore wind farms.
Data no longer available/could not be accessed in this study |  | The Crown Estate - Natural Gas Storage Agreements | Hard constraint | TCE | 18/01/2018 | Where agreements or actual infrastructure exists that would inhibit development of offshore wind farms.
May be covered by Mineral Mining constraints sourced from TCE |  | The Crown Estate - Minerals Capital and Navigation agreements | Hard constraint | TCE | 18/01/2018 | Where agreements or actual infrastructure exists that would inhibit development of offshore wind farms.
Data no longer available/could not be accessed in this study |  | The Crown Estate - Meteorological Equipment agreements | Hard constraint | TCE | 18/01/2018 | Where agreements or actual infrastructure exists that would inhibit development of offshore wind farms.
May be covered by Mineral Mining constraints sourced from TCE |  | The Crown Estate - Infrastructure Oil and Gas agreements | Hard constraint | TCE | 18/01/2018 | Where agreements or actual infrastructure exists that would inhibit development of offshore wind farms.
May be covered by Mineral Mining constraints sourced from TCE |  | EDF - UK Nuclear Power Stations | Hard constraint | EDF, via MAGIS | 14/03/2018 | Where agreements or actual infrastructure exists that would inhibit development of offshore wind farms.
May be covered by Mineral Mining constraints sourced from TCE |  | MMO - MCMS Navigational Dredging | Hard constraint | MMO | 04/10/2017 | Where agreements or actual infrastructure exists that would inhibit development of offshore wind farms.
May be covered by Mineral Mining constraints sourced from TCE |  | EWNI Lease Outfalls export 29092017 | Hard constraint | TCE | 17/02/2017 | Where agreements or actual infrastructure exists that would inhibit development of offshore wind farms.
May be covered by Mineral Mining constraints sourced from TCE |  | Aquaculture Extract 29092017 | Hard constraint | TCE | 17/02/2017 | Where agreements or actual infrastructure exists that would inhibit development of offshore wind farms.
May be covered by derived Vessel Route constraints sourced from EMODNET & This study classified them as soft constraints |  | MMO Vessel Density Grid 2015 UKCS | Soft constraint | MMO | 03/10/2017 | This data describes shipping activity based on Automatic Identification System (AIS) data over an annual average.
|  | OW Harbour Authority Areas | Soft constraint | OceanWise | 13/04/2018 | Describes the extent of harbour authority areas.
|  | OW Anchorage Area CEFAS | Soft constraint | OceanWise | 13/04/2018 | Describes the extent of anchorage areas.
May be covered by derived Waste Disposal constraints sourced from EMODNET & This study classified them as soft constraints |  | CEFAS Disposal Sites Within UKCS | Soft constraint | CEFAS | 25/04/2017 | Describes the extent of disposal sites.
May be covered by derived Mineral Mining constraints sourced from TCE&EMODNET & This study classified them as soft constraints |  | The Crown Estate — Minerals Evaporites agreements | Soft constraint | TCE | 18/01/2018 | Describes the extent of evaporates agreements that we (The Crown Estate) are party to. This has not been included as a hard constraint as rights do not extend completely to the seabed. The nature of activity below also means that it may be feasible to co-locate offshore wind farms over the top with permission of the evaporates tenant.
May be covered by derived CCS constraints sourced from TCE/TCEScot & This study classified them as soft constraints |  | The Crown Estate —Carbon Capture and Storage agreements | Soft constraint | TCE | 18/01/2018 | Described the extent of the CCS agreement that we (The Crown Estate) are party to. This has not been included as a hard constraint as rights do not extend completely to the seabed. The nature of activity below also means that it may be feasible to co-locate offshore wind farms over the top with permission of the evaporates tenant
May be covered by Fishing sites constraints sourced from CEFAS |  | MMO Fishing Activity 2015 UKCS | Soft constraint | MMO | 03/10/2017 | Fishing activities symbolised as total kWhrs to demonstrate unit effort of activity.
|  | Cefas 2010 High Intensity Nursery and Spawning Overlaps Vector AHP Score Classes | Soft constraint | CEFAS | 04/10/2017 | An overlap count of all high intensity areas for fish spawning and nursery grounds based on Cefas data.
Data no longer available/could not be accessed in this study |  | RYA AIS Intensity AHP Score Classes | Soft constraint | RYA | 04/10/2017 | Data licensed from RYA which uses AIS to portray recreational vessel activity.
Data no longer available/could not be accessed in this study |  | RYA Marinas | Soft constraint | RYA | 08/12/2010 | Describes the extent of marinas. These were buffered by 1NM.
Data no longer available/could not be accessed in this study |  | MCS — Bathing beaches JNCC | Soft constraint | Marine Convservation Society | 14/10/2016 | Describes the extent of bathing beaches. These were buffered by 1NM.
|  | JNCC — Harbour porpoise cSAC | Soft constraint | JNCC | 14/03/2018 | The cSACs that are in the process of being designated for mobile species.
|  | All UK SSSI | Soft constraint | NE, NRW, DAERA, SNH | 11/04/2018 | Describes the extent of SSSIs.
|  | NRW MNR Wales | Soft constraint | NRW | 14/03/2018 | Describes the extent of Marine Nature Reserves in Wales. This has subsequently been designated as a Marine Conservation Zone.
|  | DOENI MCZ | Soft constraint | DAERA | 04/10/2017 | Describes the extent of Marine Conservation Zones in Northern Ireland.
|  | NE MCZs All ALL | Soft constraint | Natural England and TCE | 14/03/2018 | Describes the extent of Marine Conservation Zones in England.
|  | ALL SAC Offshore | Soft constraint | JNCC, NE, NRW, DAERA, SNH | 14/03/2018 | Describes the extent of Special Areas of Conservation.
|  | ALL SAC Inshore | Soft constraint | JNCC, NE, NRW, DAERA, SNH | 14/03/2018 | Describes the extent of Special Areas of Conservation.
|  | ALL SPA | Soft constraint | JNCC, NE, NRW, DAERA, SNH | 14/03/2018 | Describes the extent of Special Protection Areas.
|  | ALL RAMSAR | Soft constraint | JNCC, NE, NRW, DAERA, SNH | 14/03/2018 | Describes the extent of RAMSARs.
Seascape/landscape visual is not considered in this study |  | VA srtm 500m All Receptors pts500m EWNI Diss | Soft constraint | TCE derived | 23/11/2017 | Analysis to assess the visibility of sea surface to landscape designations: AONBs, National Parks, Heritage Coasts and Scheduled Ancient Monuments.

## TOVG 2010
Study by The Offshore Valuation Group, 2010 | References: | The Offshore Valuation Group. 2010. A Valuation of the UK’s Offshore Renewable Energy Resource.
TOVG study classified the contraints they used in their study into hard and soft constraints.
Hard constraints areexisting uses of the sea that exclude all possibility of the deployment of wind energy.
Soft constraints are difed as existing uses of the seabed, water column, or airspace which may restrict the deployment of offshore wind.
Category explanation:
: this constraint covered in this study
: maybe covered in this study and/or classified oppossed classification in this study
: not covered in this study
Comments about the used constraint in TOVG 2010 to this study | Category | List of contraint | Constraints class
|  | Subsurface Infrastructure | Hard constraints
|  | Surface Infrastructure | Hard constraints
Maybe covered from OnG active license sourced from EMODNET data |  | Oil and Gas Safety Zones | Hard constraints
|  | Protected Wrecks (Polygon) | Hard constraints
|  | Protected Wrecks | Hard constraints
Will be added to this study |  | Active Wells | Hard constraints
|  | Round 1 Wind Farm Lease | Hard constraints
|  | Round 2 Wind Farm Lease | Hard constraints
|  | Round 3 Wind Farm Lease | Hard constraints
Maybe covered in Wind site agreement/licensed sourced from TCE |  | Wind Farm Exclusion Zone | Hard constraints
Maybe covered in Wind site agreement/licensed sourced from TCE Scot |  | Scottish Wind Farm Exclusivity Awards | Hard constraints
No available data found yet |  | Interconnectors | Hard constraints
Maybe covered in Aquaculture sites sourced from EMODNET data |  | Pending Aquaculture Leases | Hard constraints
|  | Current Aquaculture Leases | Hard constraints
|  | Anemometers | Hard constraints
This constraint classified opposedly in this study |  | Active Pipelines | Hard constraints
This constraint classified opposedly in this study |  | Active Cables | Hard constraints
Considered not relevant |  | Round 2 SEA Zones | Hard constraints
|  | Wave Lease | Hard constraints
|  | Tidal Lease | Hard constraints
Maybe covered in Dredging sites sourced from EMODNET |  | Dredging Prospecting | Hard constraints
Maybe covered in Dredging sites sourced from EMODNET |  | Dredging Options | Hard constraints
|  | Dredging Licenses | Hard constraints
Maybe covered in Dredging sites sourced from EMODNET |  | Dredging Applications | Hard constraints
Maybe covered in Dredging sites sourced from EMODNET |  | Dredging Future Interest Areas | Hard constraints
|  | Offshore Mines | Hard constraints
|  | IMO Routes | Hard constraints
|  | Fish Spawning Nursery | Soft constraints
|  | Helicopter Platform | Soft constraints
|  | Sites of Special Scientific Interest | Soft constraints
|  | Special Protected Areas SAC in Scotland | Soft constraints
|  | Protected Wetlands (RAMSAR) | Soft constraints
Maybe covered in ecological constraints sourced from JNCC |  | Candidate Special Areas of Conservation | Soft constraints
Maybe covered in ecological constraints sourced from JNCC |  | Draft Special Areas of Conservation | Soft constraints
Maybe covered in ecological constraints sourced from JNCC |  | Potential Special Areas of Conservation | Soft constraints
|  | World Heritage Sites | Soft constraints
|  | Heritage Coastline | Soft constraints
|  | Bird Reserves | Soft constraints
|  | Important Bird Areas | Soft constraints
This constraint classified opposedly in this study |  | MOD PEXA 6, 10 | Soft constraints
No available data found yet |  | TCE Wind Knowledge | Soft constraints
This study not consider seascae and landscape visual sight |  | Coastal Seascape | Soft constraints
This constraint classified opposedly in this study |  | MOD Munitions Dumps | Soft constraints
No available data found yet |  | Proposed Cables & Pipelines | Soft constraints
|  | Offshore Obstructions | Soft constraints
This constraint classified opposedly in this study |  | Wave Lease | Soft constraints
No available data found yet |  | Channel Tunnel | Soft constraints
|  | Anchorage Areas | Soft constraints
No available data found yet |  | Medium Interference | Soft constraints
|  | Areas of Natural Beauty | Soft constraints
Maybe covered in ecological constraints sourced from JNCC |  | National Nature Reserves | Soft constraints
No available data found yet |  | Main Helicopter Routes | Soft constraints
Maybe covered in ecological constraints sourced from JNCC |  | Local Nature Reserves | Soft constraints
No available data found yet |  | LAR Aviation Routes | Soft constraints
No available data found yet |  | Civil Airfields (24 km Buffer) | Soft constraints
|  | Scheduled Ancient Monuments | Soft constraints
|  | Shipping Density | Soft constraints
This constraint classified opposedly in this study |  | Tidal Lease | Soft constraints
Maybe covered in waste disposal constraint sourced from EMODNET |  | Open Dumps | Soft constraints
This constraint classified opposedly in this study |  | CO2 and Gas Fields | Soft constraints
Maybe covered in cable and pipeline constraint sourced from EMODNET/OnG |  | Not in Use Pipelines & Cables | Soft constraints
Maybe covered in derived dense vessel route constraint sourced from EMODNET |  | Inshore & Offshore Ship Zones | Soft constraints
Maybe covered in waste disposal constraint sourced from EMODNET |  | Disused Dumps | Soft constraints
|  | Oil Fields | Soft constraints
|  | Suspended Wells | Soft constraints
|  | Navigation Points | Soft constraints
No available data found yet |  | Yacht Sailing & Racing Areas | Soft constraints
No available data found yet |  | Yacht Cruising Areas | Soft constraints
|  | MOD Airfields (24 km buffer) | Soft constraints
|  | NATS Radar Interference: High Interference | Soft constraints
No available data found yet |  | Total Annual Fishing Value | Soft constraints

## BVG associate 2017
Study by BVG associates, 2017 | References: | BVG Associates. 2017. Unleashing Europe’s Offshore Wind Potential: A New Resource Assessment.
Category explanation:
: this constraint covered in this study
: maybe covered in this study and/or classified oppossed classification in this study
: not covered in this study
Comments about the used constraint in BVG associates, 2017 to this study | Category | Constraints used
Will be added to this study |  | IMO shipping routes
MPAs
SPA/SCI
Pipelines and cables
Dumped munitions
Water over 1000 m deep
This constraint is considered inshore area as constraint |  | Inshore waters 5nm of the coast and between 5 nm and 12 nm from the coast
Sea ice coincident with water depths over 70 m

## Bahaj et al., 2020
Study by Bahaj et al., 2020 | References: | Bahaj, AbuBakr S, Mostafa Mahdy, Abdulsalam S Alghamdi, and David J Richards. 2020. “New Approach to Determine the Importance Index for Developing Offshore Wind Energy Potential Sites: Supported by UK and Arabian Peninsula Case Studies.” Renewable Energy 152: 441–57.
Category explanation:
: this constraint covered in this study
: maybe covered in this study and/or classified oppossed classification in this study
: not covered in this study
Comments about the used constraint in Bahaj et al 2020 to this study | Category | Constraints used
Maybe covered in OnG active license sourced from EMODNET |  | OnG activity
high capacity shippin routes
cable paths
maritime natural reverse
maritime boundaries
military practice
fishing zones
existing wind farms
protected wrecks
No available data could be accessed |  | tunnels

## Loughney et al., 2021
Study by Loughney et al., 2021: | References: | Loughney, Sean et al. 2021. “Development and Application of a Multiple-Attribute Decision-Analysis Methodology for Site Selection of Floating Offshore Wind Farms on the UK Continental Shelf.” Sustainable Energy Technologies and Assessments 47: 101440. https://dx.doi.org/10.1016/j.seta.2021.101440.
Category explanation:
: this constraint covered in this study
: maybe covered in this study and/or classified oppossed classification in this study
: not covered in this study
Comments about the used constraint in Loughney et al 2021 to this study | Category | Constraints used
Not sure what the land mass mean in the study |  | Land mass
Not sure what the land marks mean in the study |  | land marks
wrecks protected areas
fisheries
military training areas
subsea facilities
marine protection area
SAC
max depth - 60 m no floating
So far this study does not consider wind potential as constraint, since the wind speed and capacity factor of offshore wind across the UKCS are considered sufficient to become farms |  | wind potential
extreme wave height

## Gusatu et al., 2020
Study by Gusatu et al., 2020: | References: | Gusatu, L F, C Yamu, C Zuidema, and A Faaij. 2020. “A Spatial Analysis of the Potentials for Offshore Wind Farm Locations in the North Sea Region: Challenges and Opportunities.” ISPRS International Journal of Geo-Information 9(2).
Category explanation:
: this constraint covered in this study
: maybe covered in this study and/or classified oppossed classification in this study
: not covered in this study
Comments about the used constraint in Gusatu et al 2021 to this study | Category | Constraints used
shipping
cables and pipelines
oil and gas infrastructure
maritime protected areas
military areas
aggregate extraction

## Cavazzi and Dutton, 2016
Study by Cavazzi and Dutton, 2016 | References: | Cavazzi, S, and A G Dutton. 2016. “An Offshore Wind Energy Geographic Information System (OWE-GIS) for Assessment of the UK’s Offshore Wind Energy Potential.” Renewable Energy 87: 212–28.
Category explanation:
: this constraint covered in this study
: maybe covered in this study and/or classified oppossed classification in this study
: not covered in this study
Comments about the used constraint in Cavazzi and Dutton 2016 to this study | Category | Constraints used
Protected wrecks
anchorage areas
aggreagate dredging
existing wind farms
IMO traffic separation schemes
active submarine cables
May be covered by oil and gas active license area |  | oil and gas safety zones and
oil and gas infrastructure