Controlling the positive ion electrospray ionisation of poly(ethylene glycols) when using ultra-high performance supercritical fluid chromatography-mass spectrometry

Author information

Sergio Cancho-Gonzalez 1, Paul Ferguson 2, Julie M. Herniman 1, G. John Langley 1

1. Faculty of Engineering & Physical Sciences, School of Chemistry, University of Southampton, Southampton, United Kingdom

2. New Modalities & Parenteral Development, Pharmaceutical Technology & Development, Operations, AstraZeneca, Macclesfield, United Kingdom

Corresponding author:

Professor G. John Langley, Faculty of Engineering & Physical Sciences, School of Chemistry, University of Southampton, Southampton, United Kingdom, g.j.langley@soton.ac.uk

Non-standard abbreviations

AmAc: Ammonium Acetate

mPEG: monomethoxy PEG

Keywords: electrospray, mass spectrometry, pharmaceuticals, ionisation, supercritical fluid chromatography, poly(ethylene glycol), polymer

Abstract

Poly(ethylene glycols) are complex polymers often added to pharmaceutical formulations to improve drug solubility and delivery. One of the main challenges when using chromatographic techniques coupled to mass spectrometry is the unselective ionisation of poly(ethylene glycols) oligomers. Additionally, when the chain length is large enough, multiply charged species are formed, further complicating the mass spectra and processing. This study uses the advanced oligomer separation provided by supercritical fluid chromatography with an mass spectrometry approach that selectively ionises poly(ethylene glycols) as ammoniated molecules to simplify data analysis and facilitate batch-to-batch comparisons. Several visual representations of the response of the ionisation events based on the polymer molecular weight and the repeating unit were used to elucidate trends in ionisation. Evaluation of the influence of the oligomer length and end-group on the electrospray ionisation of the polymer allowed the development of a process to enable selective ionisation for these complex polymers.

1. Introduction

PEGs are frequently used in formulations due to their safety, cost and availability as pure materials with narrow molecular weight distributions [1]. Their addition to pharmaceutical formulations as excipients improve drug delivery, e.g., through drug encapsulation in micelles, aid dissolution, or may be reacted with drug molecules (PEGylation) via a covalent bond (prodrug) to enhance drug protection against metabolism [2-4]. Different end groups are selected to modify drug lipophilicity and improve biological targeting. Figure 1 shows the structure of the PEGs discussed in this paper. PEGs are typically low-dispersed materials, characterised by their polydispersity [1]. Polydispersity refers to the non-uniformity of the polymer molecular weight band related to the different chain lengths of the oligomers [5] and appropriate quantitation approaches are required [6]. Uncontrolled polydispersity may lead to reduced effectiveness of drug delivery resulting in the required therapeutic dose not being reached and compromising the physicochemical characteristics and integrity of formulations [7,8].

The standard approach for polymer analysis is SEC [9]; however, coupling to MS is required to obtain information about the polymer molecular structure and/or end groups [10,11]. The complex mass spectra generated are challenging to interpret, especially when analysing polymeric mixtures. Reversed phase LC and HILIC can provide end-group separation; however, only a small degree of oligomer separation has been reported for linear PEGs [12-14] and sometimes 2D-LC is required for improved characterisation [15,16]. Coupling LC with MS can aid polymer characterisation and quantification, but the use of aerosol detectors is more prevalent in quality control environments as an alternative to UV detectors to detect polymeric materials that lack a chromophore [6,13,17]. Further, enhanced methods of analysis are still required to fully understand and control the quality of the final drug product when using these materials and ensure drug efficacy [18].

SFC is an excellent complementary approach to LC for the analysis of polymeric materials due to improved oligomer resolution [19,20]. The SFC mobile phase consists of dense carbon dioxide (scCO2) that varies from the supercritical state at initial conditions to a subcritical fluid when a co-solvent is added [21]. The co-solvent is typically methanol with a volatile salt or acid, to aid elution and improve chromatographic peak shape. When coupling to MS, a flow splitter delivers a make-up solvent to improve spray stability in an atmospheric pressure ionisation source. Gidden et al. showed the dependence of the charge state to the ions generated by polyethers on the structure of the repeating unit and the molecular weight when using positive ion ESI [22]. Poulton et al. proposed the first modern packed-column SFC-ELSD-MS method that separated PEGs with methoxy and acidic end groups [18]; however, the selection of the mobile phase, make-up solvent, and the corresponding ions produced was not fully detailed.

Building on the work by Poulton et al. [18], this work sought to develop new SFC-MS methods to characterise PEGs with different end groups. The use of MS addresses the lack of a chromophore within the PEG structures by facilitating the PEG chain detection by ionisation, resulting in a reliable and robust approach that measures differences between PEG batches and supports impurity profiling [6]. Positive ion ESI enables large PEG polymers to form multiply charged species during the ionisation process, ensuring that the ions of interest are observed within the m/z range of quadrupole mass analysers. However, one of the challenges is the uncontrolled ionisation of PEGs, where different ionic species are formed in the ion source, e.g., different ratios of protonated, ammoniated, and sodiated molecules that adds complexity to the data. Further, there is a direct link between the ion formation and the chain length of the oligomer. Also, as PEG oligomers increase in mass, the ionisation process changes and is further complicated by the production of multiply charged ions for the longer chain length PEGs (Figure 2). The combination of the improved oligomer resolution provided by SFC and the control of the ionisation event in the MS source simplifies data analysis, aids interpretation and delivers improved detection to allow compound characterisation and quantitation.

2. Materials and methods

ACN, methanol and water (LC-MS grade) were purchased from ThermoFisher Scientific (Loughborough, UK). PEG 600, 1000, 1450 and 2050, monomethoxy-PEG (mPEG) 350, 550, 750 and 2000, Brij® 58, LC-MS grade ammonium acetate (AmAc), LC-MS grade formic acid and LC-MS grade ammonium formate were purchased from Sigma-Aldrich (Gillingham, UK). Monomethoxy-α,ω-(2-carboxymethyl) PEG 2000 (mPEG acid 2000) and α,ω-bis(2-carboxymethyl) PEG 2000 (PEG diacid 2000) were purchased from Laysan Bio, Inc. (Arab, AL, USA). Food-grade carbon dioxide was purchased from BOC Special Gases (Manchester, UK).

SFC analysis was performed using a Waters® Acquity UPC2 system (Waters Corp., Wilmslow, UK). Separation was performed using a Waters® Acquity TorusTM Diol packed column (1.7 μm x 3 mm i.d. x 100 mm) at 70 °C with an active back pressure regulator (ABPR) set to 150 bar using a linear gradient of 1-40% over 10 min of an optimised co-solvent composition (see section 3.1) of 15 mM AmAc in 94% methanol / 6% water (%v/v) at a flow rate of 1.3 mL/min.

MS was performed using a ZSpray® ESI source in positive mode and a Waters® Xevo SQD 2 (Waters Corp., Wilmslow, UK). The chromatographic system was interfaced with the mass spectrometer using a splitter, and a make-up solvent flow of 50 µM AmAc was delivered at 0.45 mL/min using an isocratic solvent manager. The capillary voltage was set at 2 kV, source temperature 150 oC, optimised cone voltage of 20 V (see section 3.1), optimised desolvation temperature 350 oC (see section 3.1), desolvation gas flow 600 L/h and cone gas flow 50 L/h. Continuum data was collected using full scan analysis over the range of m/z 100-1500.

Data acquisition was undertaken using MassLynxTM v.4.1 SCN 855 and processed using Microsoft Office 365 and MZmine 2.52.

3. Results and discussion

3.1. Achieving selective ionisation

Previous work showed that SFC delivers oligomeric separation across various PEG molecules [18]. When considering the mobile phase additives, the presence of ammonium ions - either from hydroxide or acetate salts used as additives in the co-solvent - was crucial to achieving good oligomer separation due to the interactions of the PEG chain with the ammonium ion and the diol groups of the stationary phase. Ammonium formate was considered, but unselective ionisation was observed due to a facile formation of protonated species due to a more acidic environment within the ionisation source. AmAc was preferred for this work due to the lower volatility of the salt compared to ammonium hydroxide solutions that might result in larger stability of solutions, despite possible bacterial growth in the AmAc acetate solution in a methanolic environment [23].

Whilst the use of AmAc alone as the additive of the methanolic co-solvent provided separation for simple model PEG oligomers, further optimisation of the mobile phase was required when more complex PEGs were investigated, for example, mPEG acid and PEG diacid. The addition of small percentages of water to the methanolic co-solvent resulted in an improved chromatographic peak shape of PEG with acidic end groups (Figure 3 a and b) with the addition of increased retention from the solvation of the stationary phase (HILIC-like mechanism [24,25]) and a larger hydrodynamic size of the analytes (size-related mechanism [18]). Increasing the concentration of AmAc in the aqueous methanolic co-solvent (Figure 3 b, c and d) increased the analyte retention, which was similar to observations by Cazenave-Gassiot et al. [26]; however, a larger tailing of the chromatographic peak was observed associated with a higher acidity favouring the ionic state of PEG with acidic end groups.

For short chain length PEGs (n≤5), protonation is the favoured ionisation event, whilst alkali metal cation adducts are favoured for longer chain lengths. However, the ionisation was found to be complex due to the presence of proton, sodium and ammonium ions, the latter from co-solvent additives, which resulted in oligomers forming a mixture of protonated, sodiated, and ammoniated species (Figure 4 a). Also, as the oligomer chain length increases, ionisation via protonation become negligible, but as multiple charging increases, the complexity of the mass spectral data enhances (Figure 2).

Ratsameepakai et al. addressed ionisation control for fatty acid methyl esters with SFC-MS by adding sodium acetate to the make-up flow solvent, thus promoting the formation of sodiated molecules [27]. Attempts in this work to force the formation of sodiated PEG molecules through the use of sodium acetate in the make-up flow solvent failed because of the presence of excess ammonium ions from the additive used in the SFC co-solvent. Hence, ionisation control was achieved using AmAc in the make-up flow solvent (Figure 4).

Even with these conditions, the ionisation was impacted by instrument source conditions. A lower cone voltage value was preferred to maintain control of the ionisation event and stability of the ions formed. A higher cone voltage (Waters® specific) is recommended for transmitting higher mass ions and multiply charged species; however, this should be avoided when analysing high molecular weight PEGs when ionisation is achieved through an ammoniation event. At high cone voltage values, the positive ion ESI mass spectra showed ions that could be misinterpreted as protonated molecules; hence, the assumption was that a protonation event was driving the ionisation of these species. Further investigation of the impact of cone voltage and desolvation temperature confirmed that these ions were formed through the loss of ammonia from the ammoniated molecules as part of an in-source collision-induced dissociation process. Increasing the cone voltage dissociated the ammoniated molecules [M + NH4]+ to give the protonated molecule ion [M + H]+ whilst increasing the desolvation temperature favoured the evaporation of ammonia (see supplementary material).

By controlling this ionisation process, batch comparisons could become more accessible since the mass spectral data that underpins the chromatography data is simplified (Figure 4). Further, the simplified mass spectral data facilitated impurity identification within different PEG samples. For example, uncontrolled ionisation (Figure 5 a) resulted in an ion response divided between 90% ammoniated vs 10% other species. With control of the ionisation state (Figure 5 b), the MS data was simplified (99% ammoniated species vs 1% others) and the signal improved, resulting in enhanced limits of detection.

3.2. Understanding ionisation current trends

Iavarone and Williams proposed the use of the average charge state of polymers (zavg, Equation 1) to aid in understanding the trends of sodiated events in the mass spectra when PEG was exposed to different solutions [28]. In this work, zavg was used to evaluate the influence of the chain length and the end group on the PEG oligomer ionisation based on the relative ion current for different ionisation events. The ionisation of polymers with different molecular weights and end groups were compared as pie charts by the relative proportion of each ionisation charged state (Figure 6). Oligomer ionisation with different molecular weights and end groups was compared by the relative proportion of the total ionisation charged for each specific chain length of the oligomer, i.e., the repeating unit. zavg is calculated using the number of observed analyte charge states in the mass spectrum N, the charge state of the ith oligomer zi and the sum of the peak areas of the RICC of all the oligomers in the ith charge state wi.

|  | (1) |
| --- | --- |

For PEGs that differed in molecular weight, a linear fitting of zavg to the reported molecular weight of different alcohol PEGs proved that the ionisation response was independent of the charge state and confirmed that multiple charges predominate when increasing the chain length. When comparing pie charts and the zavg (Figure 6), the influence of the polymer molecular weight was evident and in line with the conclusions of Gidden et al. [22]. The 2D-graph representation for alcohol PEGs (Figure 6) showed the dependence of the charged state to the oligomer chain length and illustrated that longer PEG chains could accommodate more ammonium adducts due to a minimisation of the Coulombic repulsions between ammonium ions chelated to the ethylene oxide units. When comparing PEGs with similar molecular weight but different end groups (pie charts in the last column of Figure 6), slight variations in ionisation profiles were associated with differences in electron-donating and electron-withdrawing effects of the end group. The overall ionisation event appeared to be governed by the chelation of the alkali metal ions by the lone pairs of electrons in the ethoxylate groups, resulting in the formation of pseudo-crown ether environments during ionisation.

4. Concluding remarks

Understanding why different ions are formed during positive ion ESI MS conditions and then controlling this process was found critical to selectively optimise the ionisation of PEGs via ammoniated adducts, with the critical aspects being the mobile phase composition (particularly the concentration of ammonium ions), the cone voltage and the desolvation temperature. The optimised mobile phase conditions were A: CO2 and B: 15 mM AmAc in 94% methanol / 6% water (%v/v), and the optimised ionisation conditions were cone voltage 20 V and desolvation temperature 350 °C. The method shown here provides cleaner mass spectra that aids the characterisation and quantitation of these polymers.

An example was presented showing the benefits of selective ionisation to provide detailed insights into the influence of the ionisation of PEGs based on the oligomer chain length and the polymer end group. This comparison was possible using visual representations of the ionisation trends that provided insight into the factors controlling the ionisation of PEG species and the preferential formation of ammoniated adduct ions. These results suggest a considerable influence of the PEG chain length on the ionisation, whilst the end groups altered the ionisation state to a lesser extent due to an inductive effect that altered the ion cloud.

Acknowledgements

The authors would like to acknowledge the valuable discussions with Dr Matthias Baud. The authors appreciate the financial support provided by AstraZeneca and the UK Engineering and Physical Sciences Research Council to support this research project.

Conflict of interest

The authors declare that there is no conflict of interest.

References

1.	Knop K., Hoogenboom R., Fischer D., Schubert U.S., Poly(ethylene glycol) in drug delivery: pros and cons as well as potential alternatives, Angew. Chem. Int. Ed. Engl., 2010, 49, 6288-6308

2.	Kolate A., Baradia D., Patil S., Vhora I., Kore G., Misra A., PEG - a versatile conjugating ligand for drugs and drug delivery systems, J. Controlled Release, 2014, 192, 67-81

3.	Pang X., Du H. L., Zhang H. Q., Zhai Y. J., Zhai G. X., Polymer-drug conjugates: present state of play and future perspectives, Drug Discovery Today, 2013, 18, 1316-1322

4.	Khandare J., Minko T., Polymer-drug conjugates: Progress in polymeric prodrugs, Prog. Polym. Sci., 2006, 31, 359-397

5.	Jones R. G., Wilks E. S., Metanomski W. V., Kahovec J., Hess M., Stepto R., Kitayama T., Compendium of Polymer Terminology and Nomenclature. First Edition, RSC Publishing, 2008

6.	Knol W. C., Pirok B. W. J., Peters R. A. H., Detection challenges in quantitative polymer analysis by liquid chromatography, J. Sep. Sci., 2021, 44, 63-87

7.	Duncan R., Spreafico F., Polymer conjugates. Pharmacokinetic considerations for design and development., Clin. Pharmacokinet., 1994, 27, 290-306

8.	Sonam R., Chaudhary H., Arora V., Kholi K., Kumar V., Effect of Physicochemical properties of biodegradable polymers on nano drug delivery, Polymer Reviews, 2013, 53, 546-567

9.	Wang Y, Gao W, Orski S, Liu M., in: Chang T. (Eds.), Recent progress in separation of macromolecules and particulates., American Chemical Society 2018, pp. 19-30

10.	Trathnigg B., Maier B., Schulz G., Krüger R. P., Just U., Characterisation of polyethers using different methods: SFC, LAC and SEC with different detectors, and MALDI‐TOF‐MS, Macromol. Symp., 1996, 110, 231-240

11.	Hanton S. D., Mass spectrometry of polymers and polymer surfaces, Chem. Rev., 2001, 101, 527-569

12.	Barman B. N., Champion D. H., Sjoberg S. L., Identification and quantification of poly(ethylene glycol) types in poly(ethylene glycol) methyl ether and poly(ethylene glycol) vinyl ether., J. Chromatogr. A, 2009, 1216, 6816-6823

13.	Theiss C., Holzgrabe U., Characterization of polydisperse macrogols and macrogol-based excipients via HPLC and charged aerosol detection, J. Pharm. Biomed. Anal., 2018, 160, 212-221

14.	Abrar S., Trathnigg B., Characterization of polyoxyethylenes according to the number of hydroxy end groups by hydrophilic interaction chromatography at critical conditions for polyethylene glycol, Anal. Bioanal. Chem., 2011, 400, 2531-2537

15.	Ahmed H., Trathnigg B., Characterization of PEG in monomethyl ethers of PEG by 2-D LC, J. Sep. Sci., 2010, 33, 1448-1453

16.	Groeneveld G., Dunkle M. N., Rinken M., Gargano A. F. G., de Niet A., Pursch M., Mes E. P. C., Schoenmakers P. J., Characterization of complex polyether polyols using comprehensive two-dimensional liquid chromatography hyphenated to high-resolution mass spectrometry, J. Chromatogr. A, 2018, 1569, 128-138

17.	Lee Y. H., Jeong E. S., Cho H. E., Moon D. C., Separation and determination of poly(ethylene glycol) fatty acid esters in cosmetics by a reversed-phase HPLC/ELSD, Talanta, 2008, 74, 1615-1620

18.	Poulton A. M., Poulten R. C., Baldaccini A., Gabet A., Mott R., Treacher K. E., Roddy E., Ferguson P., Towards improved characterisation of complex poly(ethylene glycol) excipients using supercritical fluid chromatography-evaporative light scattering detection-mass spectrometry and comparison with size exclusion chromatography-triple detection array, J. Chromatogr. A, 2021, 1638, 461839

19.	Takahashi K., Polymer analysis by supercritical fluid chromatography, J. Biosci. Bioeng., 2013, 116, 133-140

20.	Uliyanchenko E., van der Wal S., Schoenmakers P. J., Challenges in polymer analysis by liquid chromatography., Polym. Chem., 2012, 3, 2313-2335.

21.	Li F., Hsieh Y., Supercritical fluid chromatography-mass spectrometry for chemical analysis, J. Sep. Sci., 2008, 31, 1231-1237

22.	Gidden J., Wyttenbach T., Jackson A. T., Scrivens J. H., Bowers M. T., Gas-phase conformations of synthetic polymers:  poly(ethylene glycol), poly(propylene glycol), and poly(tetramethylene glycol)., J. Am. Chem. Soc., 2000, 122, 4692-4699

23.	Hamman C., Schmidt D. E., Wong M., Hayes M., The use of ammonium hydroxide as an additive in supercritical fluid chromatography for achiral and chiral separations and purifications of small, basic medicinal molecules, J. Chromatogr. A, 2011, 1218, 7886-7894

24.	Taylor L. T., Packed column supercritical fluid chromatography of hydrophilic analytes via water-rich modifiers, J. Chromatogr. A., 2012, 1250, 196-204

25.	Liu J., Regalado E. L., Mergelsberg I., Welch C. J., Extending the range of supercritical fluid chromatography by use of water-rich modifiers, Org. Biomol. Chem., 2013, 11, 4925-4929

26.	Cazenave-Gassiot A., Boughtflower R., Caldwell J., Hitzel L., Holyoak C., Lane S., Oakley P., Pullen F., Richardson S., Langley G. J., Effect of increasing concentration of ammonium acetate as an additive in supercritical fluid chromatography using CO2-methanol mobile phase, J. Chromatogr. A., 2009, 1216, 6441-6450

27.	Ratsameepakai W., Herniman J. M., Jenkins T. J., Langley G. J., Evaluation of ultrahigh-performance supercritical fluid chromatography-mass spectrometry as an alternative approach for the analysis of fatty acid methyl esters in aviation turbine fuel, Energy & Fuels, 2015, 29, 2485-2492

28.	Iavarone A. T., Williams E. R., Mechanism of charging and supercharging molecules in electrospray ionization, J. Am. Chem. Soc., 2003, 125, 2319-2327

Figure captions

- Figure 1. Chemical structures of the different PEGs used in this study

- Figure 2. The mass spectra of PEGs highlighting the overlapping ions from different PEG oligomers at different polymer molecular weight

- Figure 3. Optimisation of the mobile phase co-solvent and additive concentration. The chromatographic peak shape corresponds to the reconstructed ion current chromatogram of a representative oligomer of mPEG acid (n = 41, m/z 650, [M + 3NH4]3+). 100 µg/mL mPEG acid 2000 in ACN + 0.1% formic acid. USP symmetry factor (at 0.05% width of the peak height) is shown for each condition

- Figure 4. Simplification in the mass spectra of PEG 600 (50 µg/mL in ACN) when selective ionisation is promoted for a) one oligomer and b) the polymeric distribution

- Figure 5. Three-dimensional ion map of PEG 600 (50 µg/mL in ACN) with a) uncontrolled ionisation (25 mM ammonium formate in 100% methanol (%v/v)) and b) controlled ionisation (15 mM ammonium acetate in 94% methanol / 6% water (%v/v))

- Figure 6. Evaluation of the ionisation current trends for a variety of PEGs based on the oligomer chain length, the molecular weight, and the end group. Pie charts were produced from data acquired at a concentration of 50 µg/mL of the corresponding PEG in ACN. Light blue: [M+ H]+, orange [M + NH4]+, grey [M + 2NH4]2+, yellow [M + 3NH4]3+, dark blue [M + 4NH4]4+