## Sheet1
CTC1 Empty Weight (g) | CTC1 Weight with15 mL matrix (g) | Weight with tracer (g) | Mass used in CT7 (g) | CTFR1 after CT7 Test (g) | Mass used in CT8 Test (g) | Mass after CT8 Test (g) | Mass before CT9 test (g) | Mass used in CT9 (g) | Mass after CT9 test (g)
15.2555 | 35.225 | 35.3754 | 6.3003 | 29.0751 | 6.0917 | 22.9834 | 22.9834 | 6.0254 | 16.958
activity of source | 245.2793 | Bq/g | ± 0.75% |  | 0.0075
Mass of source | 0.1504 | g | ± 0.0001 g |  | 0.00066489
sample weight | 20.1199 | ± 0.0001g
Activity of sample | 1.8335 | Bq/g | ± 0.810583116 % | 0.014862 | Bq
RAM378
Total activity in sample 05/06/2018 = | 36.89 |  | ± 16.30885 % | 6.0163 | Bq
| Measured Activity | Test | Mass Used (g) | Uncertainty on mass used (± g) | Theoretical activity | Recovery % | Uncertainty on recovery (+/-) | Uncertainty on measured activity (+/- Bq) | Uncertainty on measured activity (%) | Relative method uncertainty on weight of source (S) (%) | Relative uncertainty on mass of sample (W) (%) | Relative uncertainty on source activity (A) (%) | Relative uncertainty on sample weight used (U) (%) | Combined method uncertainty for σT - ((σAS/σW)σU) (%) | Absolute uncertainty of theoretical activity (± Bq) | Relative uncertainty of recovery
decay corrected activity calculated from lsc = | 11.7685 | ct9 | 6.0254 | 0.0001 | 11.0476 | 106.5253 | 0.9193 | 0.062072 | 0.0052744 | 0.00066489 | 4.9702e-06 | 0.0075 | 1.6596e-05 | 0.0075294 | 0.083182 | 0.9193
| 11.9024 | ct8 | 6.0917 | 0.0001 | 11.1692 | 106.5649 | 0.91578 | 0.062044 | 0.0052127 | 0.00066489 | 4.9702e-06 | 0.0075 | 1.6416e-05 | 0.0075294 | 0.084098 | 0.91578
| 12.3416 | ct7 | 6.3003 | 0.0001 | 11.5517 | 106.8383 | 0.91036 | 0.063151 | 0.0051169 | 0.00066489 | 4.9702e-06 | 0.0075 | 1.5872e-05 | 0.0075294 | 0.086977 | 0.91036
36.0125
Activity left in ctc1 = | 3.1451
Total activity left (bq) = | 39.1576
difference = | 2.2676