## Sheet1
CTFR3 Empty Weight (g) | CTFR3 Weight with 7.425 mL matrix and dilution (g) | Weight with tracer added (g) | Mass used in CT16 (g) | CTFR3 after CT16 Test (g) | Mass used in CT17 Test (g) | Mass after CT17 Test (g) | Mass before CT18 test (g) | Mass used in CT18 (g) | Mass after CT18 test (g)
15.2288 | 34.4904 | 34.6413 | 5.6983 | 28.943 | 5.6776 | 23.2654 | 23.116 | 5.592 | 17.524
Activity of source | 244.5328 | Bq/g | 0.75%
Mass of source | 0.1509 | g | 0.0001
Sample weight | 19.4125 |  | 0.0001
Activity of sample | 1.9008 | Bq/g
activity in centrifuge 19/07/2018 = | 36.9
| Measured activity | Test | Mass (g) | Uncertainty (± g) | Theoretical Activity | Recovery % | Uncertainty on recovery (+/-) | Uncertainty on measured activity (+/- Bq) | Uncertainty on measured activity (%) | Method uncertainty on weight of source (S) (%) | Uncertainty on mass of sample (W) (%) | Uncertainty on source activity (A) (%) | Uncertainty on sample weight used (U) (%) | Combined method uncertainty for σT - ((σAS/σW)σU) (%) | Relative uncertainty of recovery
decay corrected activity calculated from lsc = | 9.825 | ct16 | 5.6983 | 0.0001 | 10.8315 | 90.7071 | 0.99672 | 0.064168 | 0.0065311 | 0.00066269 | 5.1513e-06 | 0.0075 | 1.7549e-05 | 0.0075292 | 0.99672
| 10.1889 | ct17 | 5.6776 | 0.0001 | 10.7922 | 94.4098 | 1.1387 | 0.08704 | 0.0085427 | 0.00066269 | 5.1513e-06 | 0.0075 | 1.7613e-05 | 0.0075292 | 1.1387
| 9.7911 | ct18 | 5.592 | 0.0001 | 10.6295 | 92.1128 | 1.1484 | 0.084904 | 0.0086716 | 0.00066269 | 5.1513e-06 | 0.0075 | 1.7883e-05 | 0.0075292 | 1.1484
29.805
Activity left in ctc1 = | 4.397
Total activity left (bq) = | 34.202
difference = | -2.698