## Sheet1
CTFR4 Empty Weight (g) | CTFR4 Weight with 7.425 mL matrix and dilution (g) | Weight with tracer added (g) | Mass used in CT19 (g) | CTFR4 after CT19 Test (g) | Mass used in CT20 Test (g) | Mass after CT20 Test (g) | Mass before CT21 test (g) | Mass used in CT21 (g) | Mass after CT21 test (g)
15.3971 | 53.9318 | 54.2293 | 10.1193 | 44.11 | 10.2826 | 33.8274 | 33.8274 | 10.2552 | 23.5722
Activity of source | 244.4034 | Bq/g | 0.75%
Mass of source | 0.2975 | g | 0.0001
Sample weight | 38.8322 |  | 0.0001
Activity of sample | 1.8724 | Bq/g
activity in centrifuge 31/07/2018 = | 72.71 |  | recovery
| Measured activity | Test | Mass (g) | Uncertainty (± g) | Theoretical Activity | Recovery % | Uncertainty on recovery (+/-) | Uncertainty on measured activity (+/- Bq) | Uncertainty on measured activity (%) | Method uncertainty on weight of source (S) (%) | Uncertainty on mass of sample (W) (%) | Uncertainty on source activity (A) (%) | Uncertainty on sample weight used (U) (%) | Combined method uncertainty for σT - ((σAS/σW)σU) (%) | Relative uncertainty of recovery
decay corrected activity calculated from lsc = | 19.1536 | CT19 | 10.1193 | 0.0001 | 18.9475 | 101.0875 | 0.92839 | 0.10461 | 0.0054615 | 0.00033613 | 2.5752e-06 | 0.0075 | 9.8821e-06 | 0.0075075 | 0.92839
| 19.1475 | CT20 | 10.2826 | 0.0001 | 19.2533 | 99.4503 | 0.89816 | 0.094399 | 0.0049301 | 0.00033613 | 2.5752e-06 | 0.0075 | 9.7252e-06 | 0.0075075 | 0.89816
| 17.9464 | CT21 | 10.2552 | 0.0001 | 19.202 | 93.4613 | 0.93132 | 0.098907 | 0.0055112 | 0.00033613 | 2.5752e-06 | 0.0075 | 9.7512e-06 | 0.0075075 | 0.93132
56.2475
Activity left in ctc1 = | 15.4254
Total activity left (bq) = | 71.6728