## Sheet1
CTFR5 Empty Weight (g) | CTFR5 Weight with 7.425 mL matrix and dilution (g) | Weight with tracer added (g) | Mass used in CT22 (g) | CTFR5 after CT22 Test (g) | Mass used in CT23 Test (g) | Mass after CT23 Test (g) | Mass before CT24 test (g) | Mass used in CT24 (g) | Mass after CT24 test (g)
15.2508 | 54.15 | 54.4505 | 10.3746 | 44.0759 | 10.6378 | 33.4381 | 33.4381 | 10.3348 | 23.1033
Activity of source | 244.3927 | Bq/g | 0.75%
Mass of source | 0.3005 | g | 0.0001
Sample weight | 39.1997 |  | 0.0001
Activity of sample | 1.8735 | Bq/g
activity in centrifuge 31/07/2018 = | 73.44 |  | recovery
| Measured activity | Test | Mass (g) | Uncertainty (± g) | Theoretical Activity | Recovery % | Uncertainty on recovery (+/-) | Uncertainty on measured activity (+/- Bq) | Uncertainty on measured activity (%) | Method uncertainty on weight of source (S) (%) | Uncertainty on mass of sample (W) (%) | Uncertainty on source activity (A) (%) | Uncertainty on sample weight used (U) (%) | Combined method uncertainty for σT - ((σAS/σW)σU) (%) | Relative uncertainty of recovery
decay corrected activity calculated from lsc = | 19.0044 | CT22 | 10.3746 | 0.0001 | 19.4366 | 97.7759 | 0.93317 | 0.10533 | 0.0055426 | 0.00033278 | 2.551e-06 | 0.0075 | 9.6389e-06 | 0.0075074 | 0.93317
| 19.0543 | CT23 | 10.6378 | 0.0001 | 19.9297 | 95.6076 | 0.90642 | 0.096782 | 0.0050793 | 0.00033278 | 2.551e-06 | 0.0075 | 9.4004e-06 | 0.0075074 | 0.90642
| 20.1273 | CT24 | 10.3348 | 0.0001 | 19.3621 | 103.9523 | 0.8902 | 0.096285 | 0.0047838 | 0.00033278 | 2.551e-06 | 0.0075 | 9.676e-06 | 0.0075074 | 0.8902
58.186
Activity left in CTFR5 = | 14.8252
Total activity left (bq) = | 73.0112