## Sheet1
CTFR7 Empty Weight (g) | CTFR7 Weight with 7.425 mL matrix and dilution (g) | Weight with tracer added (g) | Mass used in CT31 (g) | CTFR7 after CT31 Test (g) | Mass used in CT32 Test (g) | Mass after CT32 Test (g) | Mass used in CT33 (g) | Mass after CT33 test (g)
15.3742 | 34.3021 | 34.5976 | 5.1668 | 29.4308 | 5.1393 | 24.2915 | 5.149 | 19.1425
Activity of source | 106.0914 | Bq/g | 0.75%
Mass of source | 0.2955 | g | 0.0001
Sample weight | 19.2234 |  | 0.0001
Activity of sample | 1.6308 | Bq/g
activity in centrifuge 13/09/2018 = | 31.35 |  | recovery
| Measured activity | Test | Mass (g) | Uncertainty (± g) | Theoretical Activity | Recovery % | Uncertainty on recovery (+/-) | Uncertainty on measured activity (+/- Bq) | Uncertainty on measured activity (%) | Method uncertainty on weight of source (S) (%) | Uncertainty on mass of sample (W) (%) | Uncertainty on source activity (A) (%) | Uncertainty on sample weight used (U) (%) | Combined method uncertainty for σT - ((σAS/σW)σU) (%) | Relative uncertainty of recovery
decay corrected activity calculated from lsc = | 9.2536 | CT31 | 5.1668 | 0.0001 | 8.4261 | 109.8206 | 1.1524 | 0.080898 | 0.0087423 | 0.00033841 | 5.202e-06 | 0.0075 | 1.9354e-05 | 0.0075077 | 1.1524
| 8.1907 | CT32 | 5.1393 | 0.0001 | 8.3813 | 97.7253 | 1.1768 | 0.074219 | 0.0090614 | 0.00033841 | 5.202e-06 | 0.0075 | 1.9458e-05 | 0.0075077 | 1.1768
| 8.1846 | CT33 | 5.149 | 0.0001 | 8.3971 | 97.4693 | 1.1568 | 0.072034 | 0.0088011 | 0.00033841 | 5.202e-06 | 0.0075 | 1.9421e-05 | 0.0075077 | 1.1568
25.6289
Activity left in CTFR7 = | 6.2414
Total activity left (bq) = | 31.8703