## Sheet1
CTFR8 Empty Weight (g) | CTFR8 Weight with 7.425 mL matrix and dilution (g) | Weight with tracer added (g) | Mass used in CT34 (g) | CTFR8 after CT34 Test (g) | Mass used in CT35 Test (g) | Mass after CT35 Test (g) | Mass used in CT36 (g) | Mass after CT36 test (g)
15.2974 | 34.1022 | 34.3971 | 5.1916 | 29.2055 | 5.1278 | 24.0777 | 5.129 | 18.9487
Activity of source | 106.1038 | Bq/g | 0.75%
Mass of source | 0.2949 | g | 0.0001
Sample weight | 19.0997 |  | 0.0001
Activity of sample | 1.6382 | Bq/g
activity in centrifuge 13/09/2018 = | 31.29 |  | recovery
| Measured activity | Test | Mass (g) | Uncertainty (± g) | Theoretical Activity | Recovery % | Uncertainty on recovery (+/-) | Uncertainty on measured activity (+/- Bq) | Uncertainty on measured activity (%) | Method uncertainty on weight of source (S) (%) | Uncertainty on mass of sample (W) (%) | Uncertainty on source activity (A) (%) | Uncertainty on sample weight used (U) (%) | Combined method uncertainty for σT - ((σAS/σW)σU) (%) | Relative uncertainty of recovery
decay corrected activity calculated from lsc = | 7.6015 | CT34 | 5.1916 | 0.0001 | 8.5051 | 89.376 | 1.2666 | 0.077543 | 0.010201 | 0.0003391 | 5.2357e-06 | 0.0075 | 1.9262e-05 | 0.0075077 | 1.2666
| 7.2164 | CT35 | 5.1278 | 0.0001 | 8.4006 | 85.9034 | 1.3201 | 0.078354 | 0.010858 | 0.0003391 | 5.2357e-06 | 0.0075 | 1.9502e-05 | 0.0075077 | 1.3201
| 7.6536 | CT36 | 5.129 | 0.0001 | 8.4026 | 91.0859 | 1.2538 | 0.076859 | 0.010042 | 0.0003391 | 5.2357e-06 | 0.0075 | 1.9497e-05 | 0.0075077 | 1.2538
22.4715
Activity left in CTFR8 = | 6.0755
Total activity left (bq) = | 28.547