## CT13
Sample name | Time separated | Time measured | Measured counts (cpm) | Total Bkgd corrected counts (cpm) | Time elapsed (hrs) | Ingrowth factor | Efficiency Factor (Y) | Efficiency factor (Sr) | CPM of Sr-90 | CPM of Y-90 | DPM Total | DPM Y-90 | DPM Sr-90 | Weight of Eluate (g) | Weight Corrected Sr-90 Activity (DPM) | Cumulative Activity (DPM)
CT13 1 mL | 2018-07-11 15:00 | 2018-07-13 23:41 | 8.15 | 0.72 | 56.6833 | 0.47266 | 1 | 1 | 0.48891 | 0.23109 | 0.72 | 0.23109 | 0.48891 | 1.04 | 0.47011 | 0.47011 | Decay constant of Y-90=
CT13 2 mL | 2018-07-11 15:00 | 2018-07-14 00:14 | 7.81 | 0.38 | 57.2333 | 0.47592 | 1 | 1 | 0.25747 | 0.12253 | 0.38 | 0.12253 | 0.25747 | 1.0409 | 0.24735 | 0.71746 | 0.011289
CT13 3 mL | 2018-07-11 15:00 | 2018-07-14 00:47 | 9.41 | 1.98 | 57.7833 | 0.47916 | 1 | 1 | 1.3386 | 0.64141 | 1.98 | 0.64141 | 1.3386 | 0.999 | 1.3399 | 2.0574
CT13 4 mL | 2018-07-11 15:00 | 2018-07-14 01:19 | 9.38 | 1.95 | 58.3167 | 0.48229 | 1 | 1 | 1.3155 | 0.63447 | 1.95 | 0.63447 | 1.3155 | 0.8519 | 1.5442 | 3.6016
CT13 5 mL | 2018-07-11 15:00 | 2018-07-14 01:52 | 88.23 | 80.8 | 58.8667 | 0.48549 | 1 | 1 | 54.3927 | 26.4073 | 80.8 | 26.4073 | 54.3927 | 0.8095 | 67.1929 | 70.7946
CT13 6 mL | 2018-07-11 15:00 | 2018-07-14 02:25 | 446.28 | 438.85 | 59.4167 | 0.48868 | 1 | 1 | 294.7916 | 144.0584 | 438.85 | 144.0584 | 294.7916 | 0.8376 | 351.948 | 422.7425
CT13 7 mL | 2018-07-11 15:00 | 2018-07-14 02:58 | 282.08 | 274.65 | 59.9667 | 0.49184 | 1 | 1 | 184.1011 | 90.5489 | 274.65 | 90.5489 | 184.1011 | 0.8286 | 222.1833 | 644.9258
CT13 8 mL | 2018-07-11 15:00 | 2018-07-14 03:31 | 89.05 | 81.62 | 60.5167 | 0.49499 | 1 | 1 | 54.5957 | 27.0243 | 81.62 | 27.0243 | 54.5957 | 0.8183 | 66.7185 | 711.6442
CT13 9 mL | 2018-07-11 15:00 | 2018-07-14 04:03 | 32.41 | 24.98 | 61.05 | 0.49802 | 1 | 1 | 16.6753 | 8.3047 | 24.98 | 8.3047 | 16.6753 | 0.8249 | 20.215 | 731.8592
CT13 10 mL | 2018-07-11 15:00 | 2018-07-14 04:36 | 15.08 | 7.65 | 61.6 | 0.50113 | 1 | 1 | 5.0962 | 2.5538 | 7.65 | 2.5538 | 5.0962 | 0.8152 | 6.2514 | 738.1107
CT13 11 mL | 2018-07-11 15:00 | 2018-07-14 05:09 | 10.81 | 3.38 | 62.15 | 0.50422 | 1 | 1 | 2.247 | 1.133 | 3.38 | 1.133 | 2.247 | 0.8286 | 2.7118 | 740.8225
CT13 12 mL | 2018-07-11 15:00 | 2018-07-14 05:42 | 10.71 | 3.28 | 62.7 | 0.50728 | 1 | 1 | 2.1761 | 1.1039 | 3.28 | 1.1039 | 2.1761 | 0.8031 | 2.7096 | 743.5321
CT13 13 mL | 2018-07-11 15:00 | 2018-07-14 06:15 | 9.31 | 1.88 | 63.25 | 0.51033 | 1 | 1 | 1.2448 | 0.63524 | 1.88 | 0.63524 | 1.2448 | 0.8133 | 1.5305 | 745.0626
CT13 14 mL | 2018-07-11 15:00 | 2018-07-14 06:47 | 9.17 | 1.74 | 63.7833 | 0.51327 | 1 | 1 | 1.1498 | 0.59017 | 1.74 | 0.59017 | 1.1498 | 0.8133 | 1.4138 | 746.4764
CT13 15 mL | 2018-07-11 15:00 | 2018-07-14 07:20 | 9.58 | 2.15 | 64.3333 | 0.51629 | 1 | 1 | 1.4179 | 0.73206 | 2.15 | 0.73206 | 1.4179 | 0.8278 | 1.7129 | 748.1893
Blk | 2018-07-11 15:00 | 2018-07-14 07:54 | 7.43 | 0 | 64.9 | 0.51937 | 1 | 1 | 0 | 0 | 0 | 0 | 0
1 mL/min

## CT14
Sample name | Time separated | Time measured | Total counts (cpm) | Total bkgd corrected counts (cpm) | Time elapsed (hrs) | Ingrowth factor | Efficiency Factor (Y) | Efficiency factor (Sr) | CPM of Sr-90 | CPM of Y-90 | DPM Total | DPM Y-90 | DPM Sr-90 | Weight of Eluate (g) | Weight Corrected Sr-90 Activity (DPM) | Cumulative Counts (DPM)
CT14 1 mL | 2018-07-18 10:53 | 2018-07-21 12:30 | 5.69 | -2.02 | 73.6167 | 0.56441 | 1 | 1 | -1.2912 | -0.72878 | -2.02 | -0.72878 | -1.2912 | 0.9653 | -1.3376 | -1.3376 | Decay constant of Y-90=
CT14 2 mL | 2018-07-18 10:53 | 2018-07-21 13:03 | 6.72 | -0.99 | 74.1667 | 0.56711 | 1 | 1 | -0.63174 | -0.35826 | -0.99 | -0.35826 | -0.63174 | 1.0237 | -0.61711 | -1.9547 | 0.011289
CT14 3 mL | 2018-07-18 10:53 | 2018-07-21 13:35 | 6.65 | -1.06 | 74.7 | 0.56971 | 1 | 1 | -0.67528 | -0.38472 | -1.06 | -0.38472 | -0.67528 | 1.0227 | -0.6603 | -2.615
CT14 4 mL | 2018-07-18 10:53 | 2018-07-21 14:08 | 7.98 | 0.27 | 75.25 | 0.57237 | 1 | 1 | 0.17172 | 0.098285 | 0.27 | 0.098285 | 0.17172 | 0.9169 | 0.18728 | -2.4278
CT14 5 mL | 2018-07-18 10:53 | 2018-07-21 14:41 | 9.79 | 2.08 | 75.8 | 0.57502 | 1 | 1 | 1.3206 | 0.75938 | 2.08 | 0.75938 | 1.3206 | 0.7941 | 1.663 | -0.76472
CT14 6 mL | 2018-07-18 10:53 | 2018-07-21 15:14 | 73.87 | 66.16 | 76.35 | 0.57765 | 1 | 1 | 41.9358 | 24.2242 | 66.16 | 24.2242 | 41.9358 | 0.8168 | 51.3416 | 50.5769
CT14 7 mL | 2018-07-18 10:53 | 2018-07-21 15:46 | 273.68 | 265.97 | 76.8833 | 0.58018 | 1 | 1 | 168.3158 | 97.6542 | 265.97 | 97.6542 | 168.3158 | 0.8467 | 198.7904 | 249.3673
CT14 8 mL | 2018-07-18 10:53 | 2018-07-21 16:19 | 280.3 | 272.59 | 77.4333 | 0.58278 | 1 | 1 | 172.222 | 100.368 | 272.59 | 100.368 | 172.222 | 0.7813 | 220.43 | 469.7973
CT14 9 mL | 2018-07-18 10:53 | 2018-07-21 16:52 | 178.96 | 171.25 | 77.9833 | 0.58537 | 1 | 1 | 108.0193 | 63.2307 | 171.25 | 63.2307 | 108.0193 | 0.8158 | 132.409 | 602.2063
CT14 10 mL | 2018-07-18 10:53 | 2018-07-21 17:25 | 81.88 | 74.17 | 78.5333 | 0.58793 | 1 | 1 | 46.7086 | 27.4614 | 74.17 | 27.4614 | 46.7086 | 0.7843 | 59.5545 | 661.7608
CT14 11 mL | 2018-07-18 10:53 | 2018-07-21 17:58 | 43.94 | 36.23 | 79.0833 | 0.59048 | 1 | 1 | 22.7793 | 13.4507 | 36.23 | 13.4507 | 22.7793 | 0.8722 | 26.117 | 687.8778
CT14 12 mL | 2018-07-18 10:53 | 2018-07-21 18:30 | 21.73 | 14.02 | 79.6167 | 0.59294 | 1 | 1 | 8.8013 | 5.2187 | 14.02 | 5.2187 | 8.8013 | 0.7674 | 11.469 | 699.3468
CT14 13 mL | 2018-07-18 10:53 | 2018-07-21 19:03 | 14.46 | 6.75 | 80.1667 | 0.59546 | 1 | 1 | 4.2308 | 2.5192 | 6.75 | 2.5192 | 4.2308 | 0.8193 | 5.1639 | 704.5107
CT14 14 mL | 2018-07-18 10:53 | 2018-07-21 19:36 | 10.4 | 2.69 | 80.7167 | 0.59796 | 1 | 1 | 1.6834 | 1.0066 | 2.69 | 1.0066 | 1.6834 | 0.7922 | 2.125 | 706.6356
CT14 15 mL | 2018-07-18 10:53 | 2018-07-21 20:09 | 10.81 | 3.1 | 81.2667 | 0.60045 | 1 | 1 | 1.937 | 1.163 | 3.1 | 1.163 | 1.937 | 0.879 | 2.2036 | 708.8392
Blk | 2018-07-18 10:53 | 2018-07-21 20:42 | 7.71 | 0 | 81.8167 | 0.60293 | 1 | 1 | 0 | 0 | 0 | 0 | 0
2 mL/min

## CT15
Sample name | Time separated | Time measured | Total counts (cpm) | Total bkgd corrected counts (cpm) | Time elapsed (hrs) | Ingrowth factor | Efficiency Factor (Y) | Efficiency factor (Sr) | CPM of Sr-90 | CPM of Y-90 | DPM Total | DPM Y-90 | DPM Sr-90 | Weight of Eluate (g) | Weight Corrected Sr-90 Activity (DMP) | Cumulative Counts (DPM)
CT15 1 mL | 2018-07-18 15:00 | 2018-07-21 21:17 | 6.41 | -1.23 | 78.2833 | 0.58677 | 1 | 1 | -0.77516 | -0.45484 | -1.23 | -0.45484 | -0.77516 | 1.0505 | -0.7379 | -0.7379 | Decay constant of Y-90=
CT15 2 mL | 2018-07-18 15:00 | 2018-07-21 21:50 | 6.44 | -1.2 | 78.8333 | 0.58932 | 1 | 1 | -0.75504 | -0.44496 | -1.2 | -0.44496 | -0.75504 | 0.9717 | -0.77703 | -1.5149 | 0.011289
CT15 3 mL | 2018-07-18 15:00 | 2018-07-21 22:23 | 6.78 | -0.86 | 79.3833 | 0.59187 | 1 | 1 | -0.54025 | -0.31975 | -0.86 | -0.31975 | -0.54025 | 1.032 | -0.52349 | -2.0384
CT15 4 mL | 2018-07-18 15:00 | 2018-07-21 22:55 | 6.75 | -0.89 | 79.9167 | 0.59432 | 1 | 1 | -0.55823 | -0.33177 | -0.89 | -0.33177 | -0.55823 | 0.8855 | -0.63042 | -2.6688
CT15 5 mL | 2018-07-18 15:00 | 2018-07-21 23:28 | 18.18 | 10.54 | 80.4667 | 0.59683 | 1 | 1 | 6.6006 | 3.9394 | 10.54 | 3.9394 | 6.6006 | 0.8202 | 8.0475 | 5.3787
CT15 6 mL | 2018-07-18 15:00 | 2018-07-22 00:01 | 129.01 | 121.37 | 81.0167 | 0.59932 | 1 | 1 | 75.8883 | 45.4817 | 121.37 | 45.4817 | 75.8883 | 0.8036 | 94.4355 | 99.8142
CT15 7 mL | 2018-07-18 15:00 | 2018-07-22 00:34 | 245.29 | 237.65 | 81.5667 | 0.6018 | 1 | 1 | 148.364 | 89.286 | 237.65 | 89.286 | 148.364 | 0.815 | 182.0417 | 281.8559
CT15 8 mL | 2018-07-18 15:00 | 2018-07-22 01:06 | 228.44 | 220.8 | 82.1 | 0.60419 | 1 | 1 | 137.6392 | 83.1608 | 220.8 | 83.1608 | 137.6392 | 0.8119 | 169.5273 | 451.3832
CT15 9 mL | 2018-07-18 15:00 | 2018-07-22 01:39 | 156.88 | 149.24 | 82.65 | 0.60664 | 1 | 1 | 92.8893 | 56.3507 | 149.24 | 56.3507 | 92.8893 | 0.8764 | 105.9896 | 557.3729
CT15 10 mL | 2018-07-18 15:00 | 2018-07-22 02:12 | 90.59 | 82.95 | 83.2 | 0.60908 | 1 | 1 | 51.5512 | 31.3988 | 82.95 | 31.3988 | 51.5512 | 0.7703 | 66.9236 | 624.2965
CT15 11 mL | 2018-07-18 15:00 | 2018-07-22 02:45 | 58.99 | 51.35 | 83.75 | 0.6115 | 1 | 1 | 31.8648 | 19.4852 | 51.35 | 19.4852 | 31.8648 | 0.822 | 38.7649 | 663.0614
CT15 12 mL | 2018-07-18 15:00 | 2018-07-22 03:18 | 30.46 | 22.82 | 84.3 | 0.6139 | 1 | 1 | 14.1396 | 8.6804 | 22.82 | 8.6804 | 14.1396 | 0.8185 | 17.2751 | 680.3364
CT15 13 mL | 2018-07-18 15:00 | 2018-07-22 03:50 | 24.56 | 16.92 | 84.8333 | 0.61622 | 1 | 1 | 10.4689 | 6.4511 | 16.92 | 6.4511 | 10.4689 | 0.8188 | 12.7856 | 693.122
CT15 14 mL | 2018-07-18 15:00 | 2018-07-22 04:23 | 19.17 | 11.53 | 85.3833 | 0.6186 | 1 | 1 | 7.1235 | 4.4065 | 11.53 | 4.4065 | 7.1235 | 0.7693 | 9.2597 | 702.3817
CT15 15 mL | 2018-07-18 15:00 | 2018-07-22 04:56 | 14.36 | 6.72 | 85.9333 | 0.62096 | 1 | 1 | 4.1457 | 2.5743 | 6.72 | 2.5743 | 4.1457 | 0.8185 | 5.065 | 707.4467
Blk | 2018-07-18 15:00 | 2018-07-22 05:29 | 7.64 | 0 | 86.4833 | 0.6233 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4 mL/min

## CT16
Sample name | Time separated | Time measured | Measured Counts (cpm) | Total Bkgd corrected counts (cpm) | Time elapsed (hrs) | Ingrowth factor | Efficiency Factor (Y) | Efficiency factor (Sr) | CPM of Sr-90 | CPM of Y-90 | DPM Total | DPM Y-90 | DPM Sr-90 | Weight of Eluate (g) | Weight Corrected Sr-90 Activity (DPM) | Cumulative Counts (DPM)
CT16 1 mL | 2018-07-19 15:00 | 2018-07-23 10:47 | 8.08 | 0.78 | 91.7833 | 0.64518 | 1 | 1 | 0.47411 | 0.30589 | 0.78 | 0.30589 | 0.47411 | 0.9788 | 0.48438 | 0.48438 | Decay constant of Y-90=
CT16 2 mL | 2018-07-19 15:00 | 2018-07-23 11:20 | 7.33 | 0.03 | 92.3333 | 0.64738 | 1 | 1 | 0.018211 | 0.011789 | 0.03 | 0.011789 | 0.018211 | 1.0229 | 0.017803 | 0.50218 | 0.011289
CT16 3 mL | 2018-07-19 15:00 | 2018-07-23 11:53 | 6.55 | -0.75 | 92.8833 | 0.64956 | 1 | 1 | -0.45467 | -0.29533 | -0.75 | -0.29533 | -0.45467 | 1.018 | -0.44663 | 0.055556
CT16 4 mL | 2018-07-19 15:00 | 2018-07-23 12:26 | 7.47 | 0.17 | 93.4333 | 0.65173 | 1 | 1 | 0.10292 | 0.067078 | 0.17 | 0.067078 | 0.10292 | 0.8649 | 0.119 | 0.17456
CT16 5 mL | 2018-07-19 15:00 | 2018-07-23 12:58 | 23.98 | 16.68 | 93.9667 | 0.65382 | 1 | 1 | 10.0857 | 6.5943 | 16.68 | 6.5943 | 10.0857 | 0.8167 | 12.3494 | 12.5239
CT16 6 mL | 2018-07-19 15:00 | 2018-07-23 13:31 | 105.87 | 98.57 | 94.5167 | 0.65596 | 1 | 1 | 59.5243 | 39.0457 | 98.57 | 39.0457 | 59.5243 | 0.8123 | 73.2787 | 85.8027
CT16 7 mL | 2018-07-19 15:00 | 2018-07-23 14:04 | 187.21 | 179.91 | 95.0667 | 0.65809 | 1 | 1 | 108.5043 | 71.4057 | 179.91 | 71.4057 | 108.5043 | 0.833 | 130.2572 | 216.0599
CT16 8 mL | 2018-07-19 15:00 | 2018-07-23 14:37 | 171.21 | 163.91 | 95.6167 | 0.66021 | 1 | 1 | 98.7286 | 65.1814 | 163.91 | 65.1814 | 98.7286 | 0.7766 | 127.1293 | 343.1892
CT16 9 mL | 2018-07-19 15:00 | 2018-07-23 15:10 | 173.56 | 166.26 | 96.1667 | 0.66231 | 1 | 1 | 100.0174 | 66.2426 | 166.26 | 66.2426 | 100.0174 | 0.8229 | 121.5426 | 464.7318
CT16 10 mL | 2018-07-19 15:00 | 2018-07-23 15:42 | 158.86 | 151.56 | 96.7 | 0.66434 | 1 | 1 | 91.0632 | 60.4968 | 151.56 | 60.4968 | 91.0632 | 0.799 | 113.9715 | 578.7033
CT16 11 mL | 2018-07-19 15:00 | 2018-07-23 16:15 | 97.2 | 89.9 | 97.25 | 0.66642 | 1 | 1 | 53.9481 | 35.9519 | 89.9 | 35.9519 | 53.9481 | 0.8082 | 66.751 | 645.4543
CT16 12 mL | 2018-07-19 15:00 | 2018-07-23 16:48 | 52.16 | 44.86 | 97.8 | 0.66848 | 1 | 1 | 26.8867 | 17.9733 | 44.86 | 17.9733 | 26.8867 | 0.7857 | 34.2201 | 679.6744
CT16 13 mL | 2018-07-19 15:00 | 2018-07-23 17:21 | 40.9 | 33.6 | 98.35 | 0.67053 | 1 | 1 | 20.1133 | 13.4867 | 33.6 | 13.4867 | 20.1133 | 0.8393 | 23.9644 | 703.6388
CT16 14 mL | 2018-07-19 15:00 | 2018-07-23 17:53 | 29.27 | 21.97 | 98.8833 | 0.67251 | 1 | 1 | 13.1359 | 8.8341 | 21.97 | 8.8341 | 13.1359 | 0.7815 | 16.8086 | 720.4475
CT16 15 mL | 2018-07-19 15:00 | 2018-07-23 18:26 | 19.34 | 12.04 | 99.4333 | 0.67454 | 1 | 1 | 7.19 | 4.85 | 12.04 | 4.85 | 7.19 | 0.8238 | 8.7279 | 729.1754
Blk | 2018-07-19 15:00 | 2018-07-23 18:59 | 7.3 | 0 | 99.9833 | 0.67655 | 1 | 1 | 0 | 0 | 0 | 0 | 0
6 mL/min

## CT18
Sample name | Time separated | Time measured | Total counts (cpm) | Total bkgd corrected counts (cpm) | Time elapsed (hrs) | Ingrowth factor | Efficiency Factor (Y) | Efficiency factor (Sr) | CPM of Sr-90 | CPM of Y-90 | DPM Total | DPM Y-90 | DPM Sr-90 | Weight of eluate (g) | Weight Corrected Sr-90 Activity (DPM) | Cumulative Activity (DPM)
CT18 1 mL | 2018-07-25 15:05 | 2018-07-25 18:21 | 8.08 | -0.07 | 3.2667 | 0.036206 | 1 | 1 | -0.067554 | -0.0024459 | -0.07 | -0.0024459 | -0.067554 | 1.019 | -0.066295 | -0.066295 | Decay constant of Y-90=
CT18 2 mL | 2018-07-25 15:05 | 2018-07-25 18:53 | 7.06 | -1.09 | 3.8 | 0.041991 | 1 | 1 | -1.0461 | -0.043926 | -1.09 | -0.043926 | -1.0461 | 0.7339 | -1.4254 | -1.4917 | 0.011289
CT18 3 mL | 2018-07-25 15:05 | 2018-07-25 19:02 | 7.26 | -0.89 | 3.95 | 0.043612 | 1 | 1 | -0.85281 | -0.037193 | -0.89 | -0.037193 | -0.85281 | 0.6648 | -1.2828 | -2.7745
CT18 4 mL | 2018-07-25 15:05 | 2018-07-25 19:59 | 7.4 | -0.75 | 4.9 | 0.053814 | 1 | 1 | -0.7117 | -0.0383 | -0.75 | -0.0383 | -0.7117 | 0.9319 | -0.76371 | -3.5382
CT18 5 mL | 2018-07-25 15:05 | 2018-07-25 20:32 | 56.02 | 47.87 | 5.45 | 0.059671 | 1 | 1 | 45.1744 | 2.6956 | 47.87 | 2.6956 | 45.1744 | 0.8038 | 56.2011 | 52.6629
CT18 6 mL | 2018-07-25 15:05 | 2018-07-25 21:04 | 174.15 | 166 | 5.9833 | 0.065315 | 1 | 1 | 155.8224 | 10.1776 | 166 | 10.1776 | 155.8224 | 0.8117 | 191.9704 | 244.6333
CT18 7 mL | 2018-07-25 15:05 | 2018-07-25 21:37 | 197.11 | 188.96 | 6.5333 | 0.071101 | 1 | 1 | 176.4166 | 12.5434 | 188.96 | 12.5434 | 176.4166 | 0.809 | 218.0675 | 462.7008
CT18 8 mL | 2018-07-25 15:05 | 2018-07-25 22:10 | 119.52 | 111.37 | 7.0833 | 0.07685 | 1 | 1 | 103.422 | 7.948 | 111.37 | 7.948 | 103.422 | 0.7743 | 133.5683 | 596.2692
CT18 9 mL | 2018-07-25 15:05 | 2018-07-25 22:43 | 75.03 | 66.88 | 7.6333 | 0.082565 | 1 | 1 | 61.7792 | 5.1008 | 66.88 | 5.1008 | 61.7792 | 0.8063 | 76.6206 | 672.8898
CT18 10 mL | 2018-07-25 15:05 | 2018-07-25 23:15 | 38.11 | 29.96 | 8.1667 | 0.088072 | 1 | 1 | 27.535 | 2.425 | 29.96 | 2.425 | 27.535 | 0.8024 | 34.3157 | 707.2056
CT18 11 mL | 2018-07-25 15:05 | 2018-07-25 23:48 | 20.02 | 11.87 | 8.7167 | 0.093716 | 1 | 1 | 10.8529 | 1.0171 | 11.87 | 1.0171 | 10.8529 | 0.7957 | 13.6394 | 720.845
CT18 12 mL | 2018-07-25 15:05 | 2018-07-26 00:21 | 13.3 | 5.15 | 9.2667 | 0.099326 | 1 | 1 | 4.6847 | 0.46531 | 5.15 | 0.46531 | 4.6847 | 0.8256 | 5.6743 | 726.5193
CT18 13 mL | 2018-07-25 15:05 | 2018-07-26 00:54 | 10.5 | 2.35 | 9.8167 | 0.1049 | 1 | 1 | 2.1269 | 0.22311 | 2.35 | 0.22311 | 2.1269 | 0.8005 | 2.6569 | 729.1763
CT18 14 mL | 2018-07-25 15:05 | 2018-07-26 01:27 | 8.9 | 0.75 | 10.3667 | 0.11044 | 1 | 1 | 0.67541 | 0.074593 | 0.75 | 0.074593 | 0.67541 | 0.7989 | 0.84542 | 730.0217
CT18 15 mL | 2018-07-25 15:05 | 2018-07-26 01:59 | 9.72 | 1.57 | 10.9 | 0.11578 | 1 | 1 | 1.4071 | 0.16291 | 1.57 | 0.16291 | 1.4071 | 0.7928 | 1.7748 | 731.7965
Blk | 2018-07-25 15:05 | 2018-07-26 02:32 | 8.15 | 0 | 11.45 | 0.12125 | 1 | 1 | 0 | 0 | 0 | 0 | 0
3 ml/min

## CT17
Sample name | Time separated | Time measured | Measured Counts (cpm) | Total Bkgd corrected counts (cpm) | Uncertainty on counts (σCPM) | Time elapsed (hrs) | Ingrowth factor | Efficiency Factor (Y) | Efficiency factor (Sr) | CPM of Sr-90 | CPM of Y-90 | DPM Total | DPM Y-90 | DPM Sr-90 | Weight of eluate | Weight Corrected Sr-90 Activity (DPM) | Cumulative Activity (DPM) | DPS | Time from 05.06.2018 | DC factor | DC to 05.06.2018 | Absolute Uncertainty on counts | Measurement uncertainty (%) | σCCPM (+/-) | σ CPM Sr-90 | σDPM Sr-90 (+/-) | Relative uncertainty DPM Sr-90 | σDPM ^2 | σDPS Sr-90 | σDPS Sr-90 D.C to 05.06.2018 | σDPS Sr-90^2
CT17 1 mL | 2018-07-24 11:45 | 2018-07-24 14:46 | 9.92 | 3.1 | 0.58131 | 3.0167 | 0.033482 | 1 | 1 | 2.9996 | 0.10043 | 3.1 | 0.10043 | 2.9996 | 1.0273 | 2.9199 | 2.9199 | 0.049993 | 122.7667 | 0.99966 | 0.05001 | 0.58131 | 5.86 | 0.75526 | 0.73079 | 0.73079 | 0.24363 | 0.53405 | 0.01218 | 0.012184 | 0.00014845 | Decay constant of Y-90=
CT17 2 mL | 2018-07-24 11:45 | 2018-07-24 15:18 | 9.89 | 3.07 | 0.58054 | 3.55 | 0.039284 | 1 | 1 | 2.954 | 0.11604 | 3.07 | 0.11604 | 2.954 | 1.0229 | 2.8878 | 5.8077 | 0.049233 | 123.3 | 0.99966 | 0.049249 | 0.58054 | 5.87 | 0.75467 | 0.72614 | 0.72614 | 0.24582 | 0.52728 | 0.012102 | 0.012106 | 0.00014657 | 0.011289
CT17 3 mL | 2018-07-24 11:45 | 2018-07-24 15:51 | 8.15 | 1.33 | 0.52731 | 4.1 | 0.04523 | 1 | 1 | 1.2724 | 0.057553 | 1.33 | 0.057553 | 1.2724 | 0.9934 | 1.2809 | 7.0886 | 0.021207 | 123.85 | 0.99966 | 0.021215 | 0.52731 | 6.47 | 0.71452 | 0.6836 | 0.6836 | 0.53723 | 0.46731 | 0.011393 | 0.011397 | 0.0001299
CT17 4 mL | 2018-07-24 11:45 | 2018-07-24 16:24 | 8.22 | 1.4 | 0.52937 | 4.65 | 0.05114 | 1 | 1 | 1.3319 | 0.068113 | 1.4 | 0.068113 | 1.3319 | 0.8553 | 1.5572 | 8.6458 | 0.022198 | 124.4 | 0.99966 | 0.022206 | 0.52937 | 6.44 | 0.71605 | 0.68121 | 0.68121 | 0.51146 | 0.46405 | 0.011353 | 0.011357 | 0.00012899
CT17 5 mL | 2018-07-24 11:45 | 2018-07-24 16:57 | 36.78 | 29.96 | 1.1218 | 5.2 | 0.057013 | 1 | 1 | 28.344 | 1.616 | 29.96 | 1.616 | 28.344 | 0.8068 | 35.1314 | 43.7772 | 0.4724 | 124.95 | 0.99966 | 0.47256 | 1.1218 | 3.05 | 1.221 | 1.1552 | 1.1552 | 0.040755 | 1.3344 | 0.019253 | 0.019259 | 0.00037092 | 2018-07-19 12:00
CT17 6 mL | 2018-07-24 11:45 | 2018-07-24 17:29 | 113.04 | 106.22 | 1.9669 | 5.7333 | 0.062674 | 1 | 1 | 99.9554 | 6.2646 | 106.22 | 6.2646 | 99.9554 | 0.7951 | 125.7143 | 169.4915 | 1.6659 | 125.4833 | 0.99966 | 1.6665 | 1.9669 | 1.74 | 2.0251 | 1.9057 | 1.9057 | 0.019065 | 3.6317 | 0.031762 | 0.031773 | 0.0010095
CT17 7 mL | 2018-07-24 11:45 | 2018-07-24 18:02 | 157.36 | 150.54 | 2.3132 | 6.2833 | 0.068476 | 1 | 1 | 140.8923 | 9.6477 | 150.54 | 9.6477 | 140.8923 | 0.8121 | 173.4913 | 342.9828 | 2.3482 | 126.0333 | 0.99965 | 2.349 | 2.3132 | 1.47 | 2.3629 | 2.2115 | 2.2115 | 0.015696 | 4.8906 | 0.036858 | 0.036871 | 0.0013595 | Decay constant of sr-90=
CT17 8 mL | 2018-07-24 11:45 | 2018-07-24 18:35 | 125.05 | 118.23 | 2.0633 | 6.8333 | 0.074241 | 1 | 1 | 110.0591 | 8.1709 | 118.23 | 8.1709 | 110.0591 | 0.7915 | 139.0512 | 482.0341 | 1.8343 | 126.5833 | 0.99965 | 1.835 | 2.0633 | 1.65 | 2.1189 | 1.9725 | 1.9725 | 0.017922 | 3.8907 | 0.032875 | 0.032886 | 0.0010815 | 2.7474e-06
CT17 9 mL | 2018-07-24 11:45 | 2018-07-24 19:08 | 90.82 | 84 | 1.7619 | 7.3833 | 0.079972 | 1 | 1 | 77.7798 | 6.2202 | 84 | 6.2202 | 77.7798 | 0.8182 | 95.0621 | 577.0962 | 1.2963 | 127.1333 | 0.99965 | 1.2968 | 1.7619 | 1.94 | 1.8267 | 1.6914 | 1.6914 | 0.021746 | 2.8609 | 0.02819 | 0.0282 | 0.00079526
CT17 10 mL | 2018-07-24 11:45 | 2018-07-24 19:40 | 57.25 | 50.43 | 1.3969 | 7.9167 | 0.085494 | 1 | 1 | 46.4581 | 3.9719 | 50.43 | 3.9719 | 46.4581 | 0.8158 | 56.9479 | 634.0441 | 0.7743 | 127.6667 | 0.99965 | 0.77457 | 1.3969 | 2.44 | 1.4778 | 1.3614 | 1.3614 | 0.029304 | 1.8534 | 0.02269 | 0.022698 | 0.00051519
CT17 11 mL | 2018-07-24 11:45 | 2018-07-24 20:13 | 38.93 | 32.11 | 1.1523 | 8.4667 | 0.091155 | 1 | 1 | 29.4275 | 2.6825 | 32.11 | 2.6825 | 29.4275 | 0.7924 | 37.1372 | 671.1813 | 0.49046 | 128.2167 | 0.99965 | 0.49063 | 1.1523 | 2.96 | 1.2491 | 1.1448 | 1.1448 | 0.038902 | 1.3105 | 0.01908 | 0.019087 | 0.00036429
CT17 12 mL | 2018-07-24 11:45 | 2018-07-24 20:46 | 32.41 | 25.59 | 1.0501 | 9.0167 | 0.09678 | 1 | 1 | 23.3319 | 2.2581 | 25.59 | 2.2581 | 23.3319 | 0.819 | 28.4883 | 699.6696 | 0.38887 | 128.7667 | 0.99965 | 0.389 | 1.0501 | 3.24 | 1.1555 | 1.0535 | 1.0535 | 0.045154 | 1.1099 | 0.017559 | 0.017565 | 0.00030853
CT17 13 mL | 2018-07-24 11:45 | 2018-07-24 21:19 | 24.63 | 17.81 | 0.91624 | 9.5667 | 0.10237 | 1 | 1 | 16.1561 | 1.6539 | 17.81 | 1.6539 | 16.1561 | 0.804 | 20.0946 | 719.7643 | 0.26927 | 129.3167 | 0.99964 | 0.26936 | 0.91624 | 3.72 | 1.0354 | 0.93922 | 0.93922 | 0.058134 | 0.88213 | 0.015654 | 0.015659 | 0.00024521
CT17 14 mL | 2018-07-24 11:45 | 2018-07-24 21:52 | 17.64 | 10.82 | 0.77616 | 10.1167 | 0.10793 | 1 | 1 | 9.766 | 1.054 | 10.82 | 1.054 | 9.766 | 0.8174 | 11.9476 | 731.7119 | 0.16277 | 129.8667 | 0.99964 | 0.16282 | 0.77616 | 4.4 | 0.91374 | 0.82473 | 0.82473 | 0.084449 | 0.68017 | 0.013745 | 0.01375 | 0.00018907
CT17 15 mL | 2018-07-24 11:45 | 2018-07-24 22:24 | 14.09 | 7.27 | 0.69323 | 10.65 | 0.11328 | 1 | 1 | 6.5302 | 0.73976 | 7.27 | 0.73976 | 6.5302 | 0.7982 | 8.1812 | 739.8931 | 0.10884 | 130.4 | 0.99964 | 0.10888 | 0.69323 | 4.92 | 0.84443 | 0.7585 | 0.7585 | 0.11615 | 0.57533 | 0.012642 | 0.012646 | 0.00015993
CT17 16 mL | 2018-07-24 11:45 | 2018-07-24 22:58 | 12.41 | 5.59 | 0.65028 | 11.2167 | 0.11894 | 1 | 1 | 4.9958 | 0.59418 | 5.59 | 0.59418 | 4.9958 | 0.8072 | 6.1891 | 746.0822 | 0.083264 | 130.9667 | 0.99964 | 0.083294 | 0.65028 | 5.24 | 0.80954 | 0.72349 | 0.72349 | 0.14482 | 0.52344 | 0.012058 | 0.012063 | 0.00014551
CT17 17 mL | 2018-07-24 11:45 | 2018-07-24 23:31 | 10.37 | 3.55 | 0.59524 | 11.7667 | 0.12439 | 1 | 1 | 3.1573 | 0.39273 | 3.55 | 0.39273 | 3.1573 | 0.7953 | 3.9699 | 750.0521 | 0.052621 | 131.5167 | 0.99964 | 0.05264 | 0.59524 | 5.74 | 0.76603 | 0.68128 | 0.68128 | 0.21578 | 0.46415 | 0.011355 | 0.011359 | 0.00012902
CT17 18 mL | 2018-07-24 11:45 | 2018-07-25 00:03 | 8.83 | 2.01 | 0.54834 | 12.3 | 0.12965 | 1 | 1 | 1.7793 | 0.23068 | 2.01 | 0.23068 | 1.7793 | 0.8129 | 2.1889 | 752.2409 | 0.029655 | 132.05 | 0.99964 | 0.029666 | 0.54834 | 6.21 | 0.73019 | 0.64638 | 0.64638 | 0.36328 | 0.41781 | 0.010773 | 0.010777 | 0.00011614
CT17 19 mL | 2018-07-24 11:45 | 2018-07-25 00:36 | 9.14 | 2.32 | 0.55845 | 12.85 | 0.13503 | 1 | 1 | 2.044 | 0.27601 | 2.32 | 0.27601 | 2.044 | 0.7903 | 2.5864 | 754.8273 | 0.034067 | 132.6 | 0.99964 | 0.034079 | 0.55845 | 6.11 | 0.73781 | 0.65003 | 0.65003 | 0.31802 | 0.42254 | 0.010834 | 0.010838 | 0.00011746
CT17 20 mL | 2018-07-24 11:45 | 2018-07-25 01:09 | 8.97 | 2.15 | 0.55345 | 13.4 | 0.14039 | 1 | 1 | 1.8853 | 0.26468 | 2.15 | 0.26468 | 1.8853 | 0.8112 | 2.3241 | 757.1514 | 0.031422 | 133.15 | 0.99963 | 0.031434 | 0.55345 | 6.17 | 0.73403 | 0.64367 | 0.64367 | 0.34141 | 0.41431 | 0.010728 | 0.010732 | 0.00011517
Blk | 2018-07-19 15:00 | 2018-07-25 01:43 | 6.82 | 0 | 0.48217 | 130.7167 | 0.77137 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0.48217 | 7.07 | 0.6819 | 0.38495 | 0.38495 |  | 0.14819 | 0.0064159 |  | 0
[18 empty] | 10.0376 |  |  | 10.1889
[28 empty] | 5.2348 |  |  | 0.08704
5 ml/min

## Graphs
|  | mL/min | volume of 1/2 elution
5.8 | 300 | 1 | 5.8
6.6 | 300 | 2 | 7.5
7.2 | 300 | 3 | 6.6
7.5 | 300 | 4 | 7.5
7.5 | 300 | 5 | 7.2
8.2 | 300 | 6 | 8.2