## Data
Sample | [6 empty] | 88 -> 88 Sr [ No Gas ] |  |  | 115 -> 115 In ( ISTD ) [ No Gas ] |  |  | 185 -> 185 Re ( ISTD ) [ No Gas ] |  |  | 187 -> 187 Re ( ISTD ) [ No Gas ] |  |  | Bkgrd Corrected | IST Corrected
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery %
| FALSE | 001SMPL.d | 2018-11-02 11:31 | Sample |  | 2 % HNO3 WASH | 834.969 | 15.117 |  | 38.043 | 74.2279 |  | 8.008 | 114.8671 |  | 9.01 | 142.9787
| FALSE | 002SMPL.d | 2018-11-02 11:34 | Sample |  | 2 % HNO3 WASH | 843.989 | 18.0264 |  | 36.042 | 91.8517 |  | 7.007 | 178.8094 |  | 10.01 | 105.4093
| FALSE | 003SMPL.d | 2018-11-02 11:37 | Sample |  | 2 % HNO3 WASH | 837.972 | 14.3272 |  | 46.053 | 100.5151 |  | 4.004 | 210.8185 |  | 8.008 | 114.8671
| FALSE | 004CALB.d | 2018-11-02 11:40 | CalBlk | 1 | 0 ppb Sr | 2898.551 | 6.3919 |  | 1584833.942 | 1.3049 | 100 | 480038.099 | 1.2401 | 100 | 805386.267 | 1.1784 | 100 | 2015.0245 | 2015.0245 | 0
| FALSE | 005SMPL.d | 2018-11-02 11:43 | Sample |  | 2 % HNO3 WASH | 929.081 | 14.6075 |  | 200.23 | 38.6597 | 0.012634 | 50.057 | 73.6375 | 0.010428 | 62.069 | 57.3032 | 0.0077067 |  | 0
| FALSE | 006CALS.d | 2018-11-02 11:47 | CalStd | 2 | 0.05 ppb Sr | 10914.796 | 3.2297 | 0.05 | 1596731.41 | 1.2916 | 102.041 | 491172.681 | 1.2529 | 103.6299 | 821420.661 | 0.65647 | 103.2971 | 10011.2475 | 9811.0007 | 0.048
| FALSE | 007SMPL.d | 2018-11-02 11:50 | Sample |  | 2 % HNO3 WASH | 878.016 | 12.0569 | <0.000 | 248.289 | 17.7077 | 0.015667 | 46.051 | 72.6101 | 0.0095932 | 73.085 | 50.0406 | 0.0090745 |  | 0
| FALSE | 008CALS.d | 2018-11-02 11:53 | CalStd | 3 | 0.1 ppb Sr | 18837.581 | 4.4569 | 0.096709 | 1599133.753 | 0.9677 | 103.015 | 487235.582 | 0.82005 | 103.6246 | 814000.9 | 0.4883 | 103.1858 | 17961.5655 | 17435.8732 | 0.096
| FALSE | 009SMPL.d | 2018-11-02 11:56 | Sample |  | 2 % HNO3 WASH | 874.015 | 15.0912 | <0.000 | 256.294 | 31.8527 | 0.016172 | 41.044 | 58.0137 | 0.0085502 | 58.067 | 61.2559 | 0.0072098 |  | 0
| FALSE | 010CALS.d | 2018-11-02 11:59 | CalStd | 4 | 0.25 ppb Sr | 39951.088 | 2.0001 | 0.23979 | 1595308.278 | 0.8918 | 102.5178 | 486461.654 | 0.55218 | 103.2075 | 811310.807 | 0.49322 | 102.5939 | 39074.0675 | 38114.4185 | 0.243
| FALSE | 011SMPL.d | 2018-11-02 12:02 | Sample |  | 2 % HNO3 WASH | 880.026 | 13.4125 | <0.000 | 258.297 | 21.2926 | 0.016298 | 59.067 | 53.274 | 0.012305 | 87.101 | 41.9864 | 0.010815 |  | 0
| FALSE | 012CALS.d | 2018-11-02 12:06 | CalStd | 5 | 0.5 ppb Sr | 74208.609 | 1.1662 | 0.48243 | 1594312.64 | 1.0091 | 102.8244 | 482203.714 | 0.79664 | 102.6742 | 806725.661 | 0.7832 | 102.3831 | 73352.6105 | 71337.715 | 0.489
| FALSE | 013SMPL.d | 2018-11-02 12:09 | Sample |  | 2 % HNO3 WASH | 831.971 | 19.0477 | <0.000 | 234.272 | 34.6719 | 0.014782 | 35.038 | 71.593 | 0.007299 | 68.077 | 31.6162 | 0.0084527 |  | 0
| FALSE | 014CALS.d | 2018-11-02 12:12 | CalStd | 6 | 1 ppb Sr | 145371.179 | 1.6859 | 0.98056 | 1590392.943 | 1.2955 | 101.3431 | 488118.058 | 0.83858 | 102.6887 | 813913.004 | 0.97845 | 102.0581 | 144497.1595 | 142582.1004 | 0.986
| FALSE | 015SMPL.d | 2018-11-02 12:15 | Sample |  | 2 % HNO3 WASH | 916.068 | 13.2586 | <0.000 | 332.382 | 23.1061 | 0.020973 | 65.078 | 61.2197 | 0.013557 | 89.101 | 47.5102 | 0.011063 |  | 0
| FALSE | 016CALS.d | 2018-11-02 12:18 | CalStd | 7 | 2 ppb Sr | 282624.112 | 1.3033 | 1.9549 | 1560034.738 | 0.91843 | 100.9388 | 479246.048 | 0.9411 | 102.3742 | 798116.61 | 0.6034 | 101.6178 | 281715.553 | 279095.2802 | 1.965
| FALSE | 017SMPL.d | 2018-11-02 12:22 | Sample |  | 2 % HNO3 WASH | 901.05 | 16.8839 | <0.000 | 333.384 | 26.3345 | 0.021036 | 48.054 | 52.7065 | 0.01001 | 101.118 | 41.3393 | 0.012555 |  | 0
| FALSE | 018CALS.d | 2018-11-02 12:25 | CalStd | 8 | 10 ppb Sr | 1452714.542 | 0.62537 | 9.8828 | 1587433.66 | 0.82778 | 105.3217 | 485062.707 | 1.155 | 106.2498 | 812452.818 | 1.2485 | 106.0718 | 1451759.93 | 1378405.3005 | 9.87
| FALSE | 019SMPL.d | 2018-11-02 12:28 | Sample |  | 2 % HNO3 WASH | 1008.174 | 12.1095 | <0.000 | 412.478 | 22.1532 | 0.026027 | 84.096 | 61.7847 | 0.017519 | 119.136 | 41.6349 | 0.014792 |  | 0
| FALSE | 020SMPL.d | 2018-11-02 12:31 | Sample |  | 2 % HNO3 WASH | 961.114 | 22.8271 | <0.000 | 271.312 | 24.7501 | 0.017119 | 31.037 | 57.8127 | 0.0064655 | 82.093 | 23.562 | 0.010193 |  | 0
| FALSE | 021SMPL.d | 2018-11-02 12:34 | Sample |  | 2 % HNO3 WASH | 923.07 | 8.4907 | <0.000 | 219.25 | 17.6797 | 0.013834 | 30.033 | 87.4943 | 0.0062564 | 56.064 | 52.7026 | 0.0069611 |  | 0
| FALSE | 022SMPL.d | 2018-11-02 12:37 | Sample |  | RU3.1 2 mL | 23792.243 | 2.173 | 0.14242 | 2050468.577 | 1.034 | 129.3807 | 465414.64 | 0.76936 | 96.9537 | 780447.14 | 0.47905 | 96.9035 | 22898.707 | 22898.707
| FALSE | 023SMPL.d | 2018-11-02 12:41 | Sample |  | 2 % HNO3 WASH | 864.002 | 10.1324 | <0.000 | 455.532 | 29.7469 | 0.028743 | 74.085 | 31.9763 | 0.015433 | 129.151 | 71.2772 | 0.016036 |  | 0
| FALSE | 024SMPL.d | 2018-11-02 12:44 | Sample |  | RU3.1 4 mL | 55278.033 | 2.1728 | 0.35705 | 2039451.684 | 0.78896 | 128.6855 | 466350.473 | 0.97511 | 97.1486 | 780373.267 | 0.47729 | 96.8943 | 54399.515 | 54693.3752
| FALSE | 025SMPL.d | 2018-11-02 12:47 | Sample |  | 2 % HNO3 WASH | 893.034 | 10.5674 | <0.000 | 459.531 | 14.0619 | 0.028996 | 69.082 | 62.7832 | 0.014391 | 120.136 | 57.2003 | 0.014917 |  | 0
| FALSE | 026SMPL.d | 2018-11-02 12:50 | Sample |  | RU3.1 6 mL | 1403343.119 | 0.75706 | 9.5463 | 2027225.909 | 0.84329 | 127.9141 | 460884.479 | 0.80726 | 96.01 | 773601.291 | 1.063 | 96.0534 | 1402386.01 | 1418464.7278
| FALSE | 027SMPL.d | 2018-11-02 12:53 | Sample |  | 2 % HNO3 WASH | 1021.184 | 12.7831 | <0.000 | 565.655 | 18.9401 | 0.035692 | 86.098 | 32.0546 | 0.017936 | 126.144 | 41.6953 | 0.015663 |  | 0
| FALSE | 028SMPL.d | 2018-11-02 12:56 | Sample |  | RU3.1 8 mL | 1375841.754 | 0.67411 | 9.3588 | 2022585.709 | 0.4372 | 127.6213 | 460801.323 | 0.87692 | 95.9927 | 772210.051 | 0.79038 | 95.8807 | 1374822.567 | 1393775.5324
| FALSE | 029SMPL.d | 2018-11-02 13:00 | Sample |  | 2 % HNO3 WASH | 1017.19 | 11.8417 | <0.000 | 437.506 | 23.2377 | 0.027606 | 59.068 | 55.0373 | 0.012305 | 95.108 | 38.1987 | 0.011809 |  | 0
| FALSE | 030SMPL.d | 2018-11-02 13:03 | Sample |  | RU3.1 10 mL | 450365.382 | 0.87793 | 3.0502 | 2070686.372 | 0.58553 | 130.6564 | 472065.772 | 1.1986 | 98.3392 | 787610.9 | 0.84803 | 97.7929 | 449388.24 | 445000.4973
| FALSE | 031SMPL.d | 2018-11-02 13:06 | Sample |  | 2 % HNO3 WASH | 937.094 | 12.8926 | <0.000 | 494.575 | 29.0111 | 0.031207 | 86.101 | 35.1871 | 0.017936 | 140.162 | 28.1724 | 0.017403 |  | 0
| FALSE | 032SMPL.d | 2018-11-02 13:09 | Sample |  | RU3.1 12 mL | 115323.166 | 1.2453 | 0.76635 | 2089874.254 | 0.43807 | 131.8671 | 475288.634 | 0.68162 | 99.0106 | 797847.113 | 0.87987 | 99.0639 | 114408.099 | 112250.8742
| FALSE | 033SMPL.d | 2018-11-02 13:12 | Sample |  | 2 % HNO3 WASH | 893.04 | 18.9946 | <0.000 | 414.477 | 21.1252 | 0.026153 | 54.063 | 61.8558 | 0.011262 | 97.113 | 35.398 | 0.012058 |  | 0
| FALSE | 034SMPL.d | 2018-11-02 13:16 | Sample |  | RU3.1 14 mL | 39105.269 | 2.1031 | 0.24681 | 2056582.205 | 0.62717 | 129.7664 | 468755.132 | 1.2155 | 97.6496 | 785898.88 | 0.95089 | 97.5804 | 38203.718 | 38090.1493
| FALSE | 035SMPL.d | 2018-11-02 13:19 | Sample |  | 2 % HNO3 WASH | 910.062 | 19.9414 | <0.000 | 583.676 | 18.2439 | 0.036829 | 71.081 | 38.969 | 0.014807 | 149.172 | 24.5981 | 0.018522 |  | 0
| FALSE | 036SMPL.d | 2018-11-02 13:22 | Sample |  | RU3.1 16 mL | 20865.164 | 3.9511 | 0.12247 | 2068795.887 | 0.67803 | 130.5371 | 468795.182 | 0.57662 | 97.6579 | 784209.112 | 0.53735 | 97.3706 | 19933.0775 | 19756.4918
| FALSE | 037SMPL.d | 2018-11-02 13:25 | Sample |  | 2 % HNO3 WASH | 954.111 | 9.2426 | <0.000 | 499.582 | 27.9212 | 0.031523 | 86.099 | 49.3956 | 0.017936 | 126.142 | 33.9208 | 0.015662 |  | 0
| FALSE | 038SMPL.d | 2018-11-02 13:28 | Sample |  | RU3.1 18 mL | 10772.617 | 4.146 | 0.053674 | 2086007.091 | 0.95411 | 131.6231 | 473086.721 | 0.90117 | 98.5519 | 794771.529 | 0.79898 | 98.682 | 9847.5415 | 9679.7727
| FALSE | 039SMPL.d | 2018-11-02 13:32 | Sample |  | 2 % HNO3 WASH | 896.04 | 10.656 | <0.000 | 571.662 | 15.1211 | 0.036071 | 78.09 | 49.7637 | 0.016267 | 145.168 | 27.054 | 0.018025 |  | 0
| FALSE | 040SMPL.d | 2018-11-02 13:35 | Sample |  | RU3.1 20 mL | 7436.056 | 5.4952 | 0.03093 | 2066651.563 | 0.86567 | 130.4018 | 466212.636 | 1.0496 | 97.1199 | 781514.531 | 0.62904 | 97.036 | 6565.043 | 6513.6352
| FALSE | 041SMPL.d | 2018-11-02 13:38 | Sample |  | 2 % HNO3 WASH | 845.986 | 17.1077 | <0.000 | 550.637 | 14.8455 | 0.034744 | 88.102 | 51.3261 | 0.018353 | 146.167 | 41.7522 | 0.018149 |  | 0
| FALSE | 042SMPL.d | 2018-11-02 13:41 | Sample |  | RU3.2 2 mL | 26322.683 | 1.6827 | 0.15967 | 2074972.806 | 1.1712 | 130.9268 | 470869.921 | 0.77983 | 98.0901 | 786739.244 | 1.0397 | 97.6847 | 25449.165 | 25148.6251
| FALSE | 043SMPL.d | 2018-11-02 13:44 | Sample |  | 2 % HNO3 WASH | 901.05 | 12.462 | <0.000 | 587.676 | 15.4914 | 0.037081 | 80.093 | 42.0798 | 0.016685 | 159.183 | 36.7288 | 0.019765 |  | 0
| FALSE | 044SMPL.d | 2018-11-02 13:48 | Sample |  | RU3.2 4 mL | 51529.158 | 1.593 | 0.3315 | 2067177.918 | 0.74888 | 130.435 | 471246.919 | 0.50259 | 98.1686 | 787054.536 | 0.56205 | 97.7239 | 50655.1425 | 50245.6886
| FALSE | 045SMPL.d | 2018-11-02 13:51 | Sample |  | 2 % HNO3 WASH | 846.981 | 7.9632 | <0.000 | 642.75 | 22.5229 | 0.040556 | 97.111 | 54.127 | 0.02023 | 139.161 | 34.9919 | 0.017279 |  | 0
| FALSE | 046SMPL.d | 2018-11-02 13:54 | Sample |  | RU3.2 6 mL | 897732.415 | 1.0389 | 6.0997 | 2080689.256 | 0.75191 | 131.2875 | 471060.949 | 0.6728 | 98.1299 | 786341.806 | 0.80856 | 97.6354 | 896815.8455 | 883790.1699
| FALSE | 047SMPL.d | 2018-11-02 13:57 | Sample |  | 2 % HNO3 WASH | 986.158 | 8.3889 | <0.000 | 553.643 | 11.659 | 0.034934 | 67.077 | 49.274 | 0.013973 | 120.135 | 44.7925 | 0.014916 |  | 0
| FALSE | 048SMPL.d | 2018-11-02 14:00 | Sample |  | RU3.2 8 mL | 1211242.95 | 0.80736 | 8.2368 | 2058622.058 | 0.69722 | 129.8951 | 468516.093 | 0.79268 | 97.5998 | 778388.636 | 0.69652 | 96.6479 | 1210266.808 | 1205473.3654
| FALSE | 049SMPL.d | 2018-11-02 14:03 | Sample |  | 2 % HNO3 WASH | 966.126 | 12.0974 | <0.000 | 538.621 | 28.2963 | 0.033986 | 65.075 | 59.0308 | 0.013556 | 113.129 | 44.944 | 0.014047 |  | 0
| FALSE | 050SMPL.d | 2018-11-02 14:07 | Sample |  | RU3.2 10 mL | 645744.092 | 0.91496 | 4.382 | 2069947.43 | 0.83689 | 130.6097 | 468049.088 | 1.2622 | 97.5025 | 783354.19 | 1.0048 | 97.2644 | 644782.972 | 638715.3627
| FALSE | 051SMPL.d | 2018-11-02 14:10 | Sample |  | 2 % HNO3 WASH | 956.114 | 9.7012 | <0.000 | 618.715 | 15.3471 | 0.03904 | 84.098 | 29.2691 | 0.017519 | 153.175 | 37.2361 | 0.019019 |  | 0
| FALSE | 052SMPL.d | 2018-11-02 14:13 | Sample |  | RU3.2 12 mL | 246891.155 | 1.1624 | 1.6632 | 2058884.296 | 1.0165 | 129.9117 | 464908.276 | 0.951 | 96.8482 | 780437.769 | 1.0741 | 96.9023 | 245941.0475 | 244935.76
| FALSE | 053SMPL.d | 2018-11-02 14:16 | Sample |  | 2 % HNO3 WASH | 944.101 | 14.9149 | <0.000 | 645.75 | 14.1582 | 0.040746 | 64.072 | 46.1195 | 0.013347 | 140.161 | 28.5727 | 0.017403 |  | 0
| FALSE | 054SMPL.d | 2018-11-02 14:19 | Sample |  | RU3.2 14 mL | 93630.408 | 1.1751 | 0.61848 | 2064470.875 | 0.79131 | 130.2642 | 468097.977 | 0.86631 | 97.5127 | 779146.897 | 0.54397 | 96.742 | 92695.316 | 92066.609
| FALSE | 055SMPL.d | 2018-11-02 14:23 | Sample |  | 2 % HNO3 WASH | 926.083 | 10.8867 | <0.000 | 560.656 | 18.7091 | 0.035376 | 80.093 | 40.8271 | 0.016685 | 117.133 | 36.9382 | 0.014544 |  | 0
| FALSE | 056SMPL.d | 2018-11-02 14:26 | Sample |  | RU3.2 16 mL | 39540.808 | 2.1584 | 0.24978 | 2046165.273 | 0.75071 | 129.1091 | 462979.571 | 0.9547 | 96.4464 | 775143.184 | 0.52407 | 96.2449 | 38762.9025 | 38844.425
| FALSE | 057SMPL.d | 2018-11-02 14:29 | Sample |  | 2 % HNO3 WASH | 629.728 | 16.6141 | <0.000 | 506.581 | 19.6582 | 0.031964 | 67.077 | 56.749 | 0.013973 | 118.135 | 30.3708 | 0.014668 |  | 0
| FALSE | 058SMPL.d | 2018-11-02 14:32 | Sample |  | RU3.2 18 mL | 21128.791 | 1.8338 | 0.12427 | 2060351.631 | 0.6796 | 130.0043 | 466130.305 | 1.2452 | 97.1028 | 779191.961 | 0.89398 | 96.7476 | 20476.533 | 20378.3116
| FALSE | 059SMPL.d | 2018-11-02 14:35 | Sample |  | 2 % HNO3 WASH | 674.788 | 9.3617 | <0.000 | 652.752 | 16.7672 | 0.041187 | 102.118 | 44.281 | 0.021273 | 127.146 | 49.3915 | 0.015787 |  | 0
| FALSE | 060SMPL.d | 2018-11-02 14:38 | Sample |  | RU3.2 20 mL | 13398.371 | 2.5525 | 0.071573 | 2058807.343 | 0.49536 | 129.9068 | 466506.796 | 0.96615 | 97.1812 | 777413.546 | 0.70283 | 96.5268 | 12741.108 | 12689.5028
| FALSE | 061SMPL.d | 2018-11-02 14:42 | Sample |  | 2 % HNO3 WASH | 639.738 | 12.3101 | <0.000 | 682.794 | 13.0014 | 0.043083 | 91.104 | 42.8594 | 0.018978 | 151.174 | 40.7593 | 0.01877 |  | 0
| FALSE | 062SMPL.d | 2018-11-02 14:45 | Sample |  | RU3.3 2 mL | 30570.5 | 1.9525 | 0.18863 | 2050760.297 | 0.99753 | 129.3991 | 466277.67 | 1.1049 | 97.1335 | 778272.012 | 0.5774 | 96.6334 | 29895.217 | 29890.9644
| FALSE | 063SMPL.d | 2018-11-02 14:48 | Sample |  | 2 % HNO3 WASH | 710.828 | 8.7335 | <0.000 | 718.834 | 20.9051 | 0.045357 | 117.135 | 45.056 | 0.024401 | 177.207 | 37.5754 | 0.022003 |  | 0
| FALSE | 064SMPL.d | 2018-11-02 14:51 | Sample |  | RU3.3 4 mL | 38700.801 | 1.9789 | 0.24405 | 2064940.197 | 1.1781 | 130.2938 | 467185.251 | 0.81452 | 97.3225 | 778127.292 | 0.91029 | 96.6154 | 38019.0095 | 37752.5627
| FALSE | 065SMPL.d | 2018-11-02 14:54 | Sample |  | 2 % HNO3 WASH | 652.755 | 16.1644 | <0.000 | 685.793 | 15.5762 | 0.043272 | 120.138 | 49.5373 | 0.025027 | 195.225 | 26.4 | 0.02424 |  | 0
| FALSE | 066SMPL.d | 2018-11-02 14:57 | Sample |  | RU3.3 6 mL | 468614.066 | 0.72319 | 3.1746 | 2050995.509 | 1.1474 | 129.4139 | 462066.461 | 1.0972 | 96.2562 | 773340.407 | 0.9232 | 96.0211 | 467947.294 | 467827.0713
| FALSE | 067SMPL.d | 2018-11-02 15:01 | Sample |  | 2 % HNO3 WASH | 680.789 | 11.7853 | <0.000 | 703.824 | 18.6686 | 0.04441 | 79.09 | 40.2287 | 0.016476 | 173.2 | 34.2577 | 0.021505 |  | 0
| FALSE | 068SMPL.d | 2018-11-02 15:04 | Sample |  | RU3.3 8 mL | 1164665.61 | 0.73821 | 7.9193 | 2074408.398 | 0.87954 | 130.8912 | 467001.754 | 0.83606 | 97.2843 | 776919.075 | 0.87067 | 96.4654 | 1163927.2505 | 1150494.8862
| FALSE | 069SMPL.d | 2018-11-02 15:07 | Sample |  | 2 % HNO3 WASH | 795.93 | 10.9694 | <0.000 | 767.891 | 16.8658 | 0.048452 | 110.127 | 44.9487 | 0.022941 | 166.19 | 31.2638 | 0.020635 |  | 0
| FALSE | 070SMPL.d | 2018-11-02 15:10 | Sample |  | RU3.3 10 mL | 748530.109 | 1.1503 | 5.0827 | 2067781.786 | 0.47587 | 130.4731 | 462754.59 | 1.1944 | 96.3996 | 773833.55 | 0.98249 | 96.0823 | 747752.703 | 741491.8884
| FALSE | 071SMPL.d | 2018-11-02 15:13 | Sample |  | 2 % HNO3 WASH | 758.882 | 12.3414 | <0.000 | 832.974 | 17.0249 | 0.052559 | 134.156 | 37.4295 | 0.027947 | 208.239 | 33.1394 | 0.025856 |  | 0
| FALSE | 072SMPL.d | 2018-11-02 15:16 | Sample |  | RU3.3 12 mL | 374763.459 | 0.68706 | 2.5349 | 2048759.492 | 0.92895 | 129.2728 | 463566.572 | 0.45787 | 96.5687 | 771621.643 | 0.46438 | 95.8076 | 374044.125 | 374356.1545
| FALSE | 073SMPL.d | 2018-11-02 15:20 | Sample |  | 2 % HNO3 WASH | 679.786 | 14.3376 | <0.000 | 692.797 | 15.3967 | 0.043714 | 79.091 | 32.3809 | 0.016476 | 169.195 | 22.043 | 0.021008 |  | 0
| FALSE | 074SMPL.d | 2018-11-02 15:23 | Sample |  | RU3.3 14 mL | 175107.136 | 1.4079 | 1.1739 | 2037732.81 | 1.0788 | 128.5771 | 460749.991 | 1.3068 | 95.982 | 768378.324 | 0.91017 | 95.4049 | 174400.8135 | 175490.8132
| FALSE | 075SMPL.d | 2018-11-02 15:26 | Sample |  | 2 % HNO3 WASH | 732.859 | 13.2738 | <0.000 | 838.985 | 18.6895 | 0.052938 | 111.128 | 37.6161 | 0.02315 | 176.202 | 37.5175 | 0.021878 |  | 0
| FALSE | 076SMPL.d | 2018-11-02 15:29 | Sample |  | RU3.3 16 mL | 82812.797 | 1.7111 | 0.54474 | 2037550.775 | 0.75875 | 128.5656 | 457585.725 | 0.76583 | 95.3228 | 766512.875 | 1.0138 | 95.1733 | 82096.963 | 82617.4469
| FALSE | 077SMPL.d | 2018-11-02 15:32 | Sample |  | 2 % HNO3 WASH | 698.809 | 16.9771 | <0.000 | 901.047 | 12.2276 | 0.056854 | 136.158 | 35.2122 | 0.028364 | 221.253 | 43.1626 | 0.027472 |  | 0
| FALSE | 078SMPL.d | 2018-11-02 15:36 | Sample |  | RU3.3 18 mL | 40186.017 | 2.6567 | 0.25417 | 2058665.233 | 0.78654 | 129.8979 | 462783.783 | 0.65418 | 96.4056 | 772951.37 | 0.91055 | 95.9728 | 39486.204 | 39328.9881
| FALSE | 079SMPL.d | 2018-11-02 15:39 | Sample |  | 2 % HNO3 WASH | 700.817 | 25.7871 | <0.000 | 933.094 | 17.2112 | 0.058876 | 113.129 | 43.9609 | 0.023567 | 183.209 | 32.2831 | 0.022748 |  | 0
| FALSE | 080SMPL.d | 2018-11-02 15:42 | Sample |  | RU3.3 20 mL | 40011.997 | 2.248 | 0.25299 | 2070136.979 | 0.75558 | 130.6217 | 466325.595 | 0.92391 | 97.1435 | 779697.229 | 0.76412 | 96.8103 | 39224.0815 | 38851.4129
| FALSE | 081SMPL.d | 2018-11-02 15:45 | Sample |  | 2 % HNO3 WASH | 875.014 | 20.0899 | <0.000 | 1807.152 | 8.2558 | 0.11403 | 343.395 | 12.8967 | 0.071535 | 629.736 | 16.6486 | 0.078191 |  | 0
| FALSE | 082SMPL.d | 2018-11-02 15:48 | Sample |  | RU3.4 2 mL | 30732.14 | 2.2372 | 0.18973 | 2021329.713 | 0.64514 | 127.5421 | 451147.367 | 0.80125 | 93.9816 | 755334.148 | 0.64183 | 93.7853 | 29976.767 | 30408.9028
| FALSE | 083SMPL.d | 2018-11-02 15:52 | Sample |  | 2 % HNO3 WASH | 635.732 | 20.7899 | <0.000 | 907.055 | 11.6142 | 0.057233 | 122.141 | 36.8208 | 0.025444 | 237.272 | 24.1197 | 0.029461 |  | 0
| FALSE | 084SMPL.d | 2018-11-02 15:55 | Sample |  | RU3.4 4 mL | 48550.277 | 1.6984 | 0.31119 | 2032853.206 | 0.67489 | 128.2692 | 452530.844 | 0.8869 | 94.2698 | 756660.123 | 0.96351 | 93.95 | 47885.5095 | 48300.4539
| FALSE | 085SMPL.d | 2018-11-02 15:58 | Sample |  | 2 % HNO3 WASH | 693.803 | 16.0552 | <0.000 | 941.101 | 16.9403 | 0.059382 | 138.157 | 41.8097 | 0.02878 | 221.255 | 35.4665 | 0.027472 |  | 0
| FALSE | 086SMPL.d | 2018-11-02 16:01 | Sample |  | RU3.4 6 mL | 517640.17 | 0.86102 | 3.5088 | 2028391.397 | 0.8454 | 127.9876 | 449489.488 | 0.88064 | 93.6362 | 751798.202 | 0.38738 | 93.3463 | 516925.3415 | 522551.5999
| FALSE | 087SMPL.d | 2018-11-02 16:04 | Sample |  | 2 % HNO3 WASH | 735.854 | 14.0553 | <0.000 | 915.069 | 15.4228 | 0.057739 | 141.162 | 35.6101 | 0.029406 | 233.273 | 14.8734 | 0.028964 |  | 0
| FALSE | 088SMPL.d | 2018-11-02 16:07 | Sample |  | RU3.4 8 mL | 1109277.422 | 1.0174 | 7.5418 | 2067786.784 | 0.77547 | 130.4734 | 460404.763 | 0.93474 | 95.91 | 768237.371 | 0.83491 | 95.3874 | 1108533.56 | 1099249.3276
| FALSE | 089SMPL.d | 2018-11-02 16:11 | Sample |  | 2 % HNO3 WASH | 751.87 | 15.1753 | <0.000 | 897.044 | 14.0314 | 0.056602 | 123.14 | 47.2606 | 0.025652 | 229.264 | 22.1185 | 0.028466 |  | 0
| FALSE | 090SMPL.d | 2018-11-02 16:14 | Sample |  | RU3.4 10 mL | 685616.427 | 0.80721 | 4.6538 | 2025754.69 | 0.6568 | 127.8213 | 452476.471 | 1.0062 | 94.2584 | 755908.55 | 1.0778 | 93.8566 | 684862.053 | 693217.262
| FALSE | 091SMPL.d | 2018-11-02 16:17 | Sample |  | 2 % HNO3 WASH | 756.878 | 15.2632 | <0.000 | 889.029 | 11.5928 | 0.056096 | 111.127 | 49.7933 | 0.02315 | 202.233 | 33.8832 | 0.02511 |  | 0
| FALSE | 092SMPL.d | 2018-11-02 16:20 | Sample |  | RU3.4 12 mL | 386582.021 | 0.7837 | 2.6154 | 2022676.096 | 0.51629 | 127.627 | 449639.28 | 1.1655 | 93.6674 | 755037.687 | 0.70421 | 93.7485 | 385808.624 | 391109.8085
| FALSE | 093SMPL.d | 2018-11-02 16:23 | Sample |  | 2 % HNO3 WASH | 789.916 | 14.2203 | <0.000 | 1033.209 | 7.7639 | 0.065194 | 124.141 | 41.3321 | 0.025861 | 255.293 | 24.3332 | 0.031698 |  | 0
| FALSE | 094SMPL.d | 2018-11-02 16:27 | Sample |  | RU3.4 14 mL | 164049.202 | 1.8864 | 1.0985 | 2039493.413 | 1.4067 | 128.6881 | 453057.145 | 0.95112 | 94.3794 | 757815.315 | 1.4137 | 94.0934 | 163304.3375 | 164183.1302
| FALSE | 095SMPL.d | 2018-11-02 16:30 | Sample |  | 2 % HNO3 WASH | 699.813 | 19.7022 | <0.000 | 908.057 | 10.7397 | 0.057297 | 141.16 | 24.2143 | 0.029406 | 243.282 | 22.6275 | 0.030207 |  | 0
| FALSE | 096SMPL.d | 2018-11-02 16:33 | Sample |  | RU3.4 16 mL | 77449.381 | 1.882 | 0.50818 | 2014614.91 | 1.003 | 127.1184 | 450538.93 | 0.79822 | 93.8548 | 750963.2 | 0.7533 | 93.2426 | 76763.584 | 78129.729
| FALSE | 097SMPL.d | 2018-11-02 16:36 | Sample |  | 2 % HNO3 WASH | 671.781 | 16.7206 | <0.000 | 950.113 | 12.4331 | 0.05995 | 122.139 | 36.6185 | 0.025444 | 228.263 | 27.2588 | 0.028342 |  | 0
| FALSE | 098SMPL.d | 2018-11-02 16:39 | Sample |  | RU3.4 18 mL | 38703.802 | 1.5044 | 0.24407 | 2019711.917 | 0.81494 | 127.44 | 450526.303 | 1.1854 | 93.8522 | 749249.449 | 0.96245 | 93.0298 | 38025.013 | 38604.0671
| FALSE | 099SMPL.d | 2018-11-02 16:43 | Sample |  | 2 % HNO3 WASH | 685.797 | 14.3578 | <0.000 | 825.956 | 11.6721 | 0.052116 | 144.166 | 21.7629 | 0.030032 | 212.245 | 33.7091 | 0.026353 |  | 0
| FALSE | 100SMPL.d | 2018-11-02 16:46 | Sample |  | RU3.4 20 mL | 23023.363 | 2.9691 | 0.13718 | 2013248.209 | 0.75465 | 127.0321 | 445893.655 | 0.9253 | 92.8871 | 748055.049 | 0.85128 | 92.8815 | 22363.5995 | 22777.0515
| FALSE | 101SMPL.d | 2018-11-02 16:49 | Sample |  | 2 % HNO3 WASH | 633.73 | 16.4188 | <0.000 | 1001.173 | 9.2982 | 0.063172 | 135.153 | 25.2427 | 0.028155 | 246.287 | 26.15 | 0.03058 |  | 0
| FALSE | 102SMPL.d | 2018-11-02 16:52 | Sample |  | RU3.5 2 mL | 35903.634 | 2.6042 | 0.22498 | 2048457.267 | 0.52521 | 129.2537 | 457251.564 | 0.95777 | 95.2532 | 763734.644 | 0.80127 | 94.8284 | 35224.8455 | 35259.4316
| FALSE | 103SMPL.d | 2018-11-02 16:55 | Sample |  | 2 % HNO3 WASH | 723.847 | 13.3631 | <0.000 | 915.069 | 10.6608 | 0.057739 | 148.17 | 22.9257 | 0.030866 | 264.304 | 14.1955 | 0.032817 |  | 0
| FALSE | 104SMPL.d | 2018-11-02 16:58 | Sample |  | RU3.5 4 mL | 48181.922 | 2.4412 | 0.30868 | 2059081.847 | 1.0986 | 129.9241 | 459357.772 | 0.7858 | 95.6919 | 765360.885 | 0.89163 | 95.0303 | 47468.5905 | 47270.0264
| FALSE | 105SMPL.d | 2018-11-02 17:02 | Sample |  | 2 % HNO3 WASH | 702.816 | 13.6277 | <0.000 | 1016.188 | 12.8821 | 0.06412 | 144.167 | 31.2647 | 0.030032 | 258.297 | 41.8189 | 0.032071 |  | 0
| FALSE | 106SMPL.d | 2018-11-02 17:05 | Sample |  | RU3.5 6 mL | 528589.785 | 0.98076 | 3.5834 | 2082585.982 | 0.73626 | 131.4072 | 459684.208 | 0.81608 | 95.7599 | 772251.81 | 0.53053 | 95.8859 | 527884.9655 | 519743.9835
| FALSE | 107SMPL.d | 2018-11-02 17:08 | Sample |  | 2 % HNO3 WASH | 706.823 | 16.4953 | <0.000 | 1103.294 | 13.5402 | 0.069616 | 162.191 | 40.8224 | 0.033787 | 275.319 | 31.0104 | 0.034185 |  | 0
| FALSE | 108SMPL.d | 2018-11-02 17:11 | Sample |  | RU3.5 8 mL | 1095551.028 | 0.78512 | 7.4482 | 2067780.074 | 0.95315 | 130.473 | 457486.694 | 0.85988 | 95.3022 | 767350.714 | 0.7944 | 95.2774 | 1094840.7015 | 1085674.6731
| FALSE | 109SMPL.d | 2018-11-02 17:14 | Sample |  | 2 % HNO3 WASH | 713.83 | 11.0251 | <0.000 | 1059.236 | 14.5667 | 0.066836 | 150.174 | 34.5697 | 0.031284 | 296.342 | 18.2432 | 0.036795 |  | 0
| FALSE | 110SMPL.d | 2018-11-02 17:17 | Sample |  | RU3.5 10 mL | 768671.673 | 0.68431 | 5.22 | 2052459.909 | 0.89304 | 129.5063 | 456117.711 | 0.76252 | 95.017 | 762392.888 | 0.61278 | 94.6618 | 767978.8665 | 767233.7604
| FALSE | 111SMPL.d | 2018-11-02 17:21 | Sample |  | 2 % HNO3 WASH | 671.783 | 17.8214 | <0.000 | 1296.518 | 16.4149 | 0.081808 | 162.185 | 29.3601 | 0.033786 | 310.362 | 26.7736 | 0.038536 |  | 0
| FALSE | 112SMPL.d | 2018-11-02 17:24 | Sample |  | RU3.5 12 mL | 360177.763 | 0.82658 | 2.4354 | 2039806.899 | 0.77086 | 128.7079 | 450484.208 | 0.8433 | 93.8434 | 754015.746 | 0.90659 | 93.6216 | 359536.5185 | 361415.7468
| FALSE | 113SMPL.d | 2018-11-02 17:27 | Sample |  | 2 % HNO3 WASH | 610.706 | 20.8219 | <0.000 | 1283.515 | 12.0111 | 0.080987 | 175.204 | 27.2406 | 0.036498 | 347.4 | 24.5682 | 0.043135 |  | 0
| FALSE | 114SMPL.d | 2018-11-02 17:30 | Sample |  | RU3.5 14 mL | 179123.248 | 0.90094 | 1.2013 | 2022494.172 | 0.45973 | 127.6155 | 446912.028 | 0.70786 | 93.0993 | 746834.524 | 0.60147 | 92.73 | 178537.5735 | 181007.0404
| FALSE | 115SMPL.d | 2018-11-02 17:33 | Sample |  | 2 % HNO3 WASH | 560.643 | 11.041 | <0.000 | 992.159 | 10.6527 | 0.062603 | 165.189 | 32.4812 | 0.034412 | 256.295 | 28.5391 | 0.031823 |  | 0
| FALSE | 116SMPL.d | 2018-11-02 17:37 | Sample |  | RU3.5 16 mL | 80911.5 | 1.9345 | 0.53178 | 2045414.169 | 1.1125 | 129.0617 | 450233.975 | 0.93738 | 93.7913 | 751765.552 | 0.61702 | 93.3422 | 80374.8825 | 80573.4963
| FALSE | 117SMPL.d | 2018-11-02 17:40 | Sample |  | 2 % HNO3 WASH | 512.592 | 16.3889 | <0.000 | 828.967 | 12.4714 | 0.052306 | 88.101 | 34.2159 | 0.018353 | 150.176 | 27.0351 | 0.018646 |  | 0
| FALSE | 118SMPL.d | 2018-11-02 17:43 | Sample |  | RU3.5 18 mL | 39558.667 | 1.0024 | 0.2499 | 2031765.178 | 0.80679 | 128.2005 | 448754.385 | 0.78446 | 93.4831 | 752276.216 | 0.80612 | 93.4056 | 39034.5615 | 39393.8939
| FALSE | 119SMPL.d | 2018-11-02 17:46 | Sample |  | 2 % HNO3 WASH | 535.619 | 16.1587 | <0.000 | 806.947 | 7.5636 | 0.050917 | 87.1 | 57.8673 | 0.018144 | 180.209 | 28.4498 | 0.022375 |  | 0
| FALSE | 120SMPL.d | 2018-11-02 17:49 | Sample |  | RU3.5 20 mL | 25749.471 | 2.7975 | 0.15577 | 2039749.413 | 0.6471 | 128.7043 | 451472.011 | 0.86845 | 94.0492 | 754504.06 | 0.58162 | 93.6823 | 25206.342 | 25338.8048
| FALSE | 121SMPL.d | 2018-11-02 17:52 | Sample |  | 2 % HNO3 WASH | 550.639 | 8.2664 | <0.000 | 817.954 | 22.644 | 0.051611 | 103.119 | 39.117 | 0.021481 | 159.185 | 37.2027 | 0.019765 |  | 0
| FALSE | 122SMPL.d | 2018-11-02 17:56 | Sample |  | 2 % HNO3 WASH | 515.593 | 17.5663 | <0.000 | 697.812 | 16.2202 | 0.044031 | 95.109 | 33.7453 | 0.019813 | 123.143 | 27.3845 | 0.01529 |  | 0
| FALSE | 123SMPL.d | 2018-11-02 17:59 | Sample |  | 2 % HNO3 WASH | 461.53 | 30.0489 | <0.000 | 573.665 | 21.0404 | 0.036197 | 53.061 | 51.1361 | 0.011053 | 96.11 | 42.8665 | 0.011933 |  | 0
| FALSE | 124SMPL.d | 2018-11-02 18:02 | Sample |  | 10,000x dilute matrix | 334935.273 | 0.69343 | 2.2634 | 2045636.902 | 0.60067 | 129.0758 | 455737.782 | 0.91171 | 94.9378 | 763849.119 | 0.88051 | 94.8426 | 334435.699 | 335225.6167
| FALSE | 125SMPL.d | 2018-11-02 18:05 | Sample |  | 2 % HNO3 WASH | 537.618 | 12.0055 | <0.000 | 837.979 | 12.6704 | 0.052875 | 85.096 | 36.4749 | 0.017727 | 131.151 | 32.8732 | 0.016284 |  | 0
| FALSE | 126SMPL.d | 2018-11-02 18:08 | Sample |  | 2 % HNO3 WASH | 509.592 | 19.1717 | <0.000 | 530.614 | 12.6729 | 0.033481 | 42.05 | 36.886 | 0.0087597 | 80.093 | 47.1402 | 0.0099447 |  | 0

## Calculations
| Bkgrd Corrected | And IST Corrected | Concentration (ppb)
| 2015.0245 | 2015.0245 | 0
| 10011.2475 | 9811.0007 | 0.048
Reuse at 6 mL/min
| 17961.5655 | 17435.8732 | 0.096
| 39074.0675 | 38114.4185 | 0.243
| 73352.6105 | 71337.715 | 0.489
| 144497.1595 | 142582.1004 | 0.986
| 281715.553 | 279095.2802 | 1.965
| 1451759.93 | 1378405.3005 | 9.87
[5 empty] | RSD | RSD/100 | Dilution factor 1 (to 4 mL) | Rel uncertainty on DF1 | Concentration (ppb) after DF1 applied | Dilution factor 2 (for QQQ) | Rel uncertainty on DF2 | Concentration (ppb) after DF2 applied | Rel uncertainty on counts | Eluate weight of fraction (g) | Rel uncertainty on mass of fraction | Mass of Sr-88 in aliquot (g) | Mass of Sr-88 in μg | Relative mass uncertainty | absolute Sr mass uncertainty (μg) | σ Mass^2 (µg) | Cumulative mass (μg) | Cumulative uncertainty (μg) | Percentage of recovery (%) | σ percentage recovery (%) | σ percentage recovery ^2 | Cum Recovery (%) | σ cumulative recovery (%) | Test | Mass of Sr-88 used (μg) | Mass of Sr-88 recovered (µg) | Error (± μg) | Recovery % | Error (± %)
[28 empty] | RU3.1 | 98.233 | 94.8333 | 0.57166 | 96.5392 | 0.88702
[28 empty] | RU3.2 | 94.5761 | 87.1574 | 0.53451 | 92.1559 | 0.8531
RU3.1 2 mL | 22898.707 | 22898.707 | 0.13686 |  | 2.173 | 0.02173 | 0.4769 | 8.518e-05 | 0.28697 | 0.0010546 | 0.0065777 | 272.1056 | 0.02173 | 1.8394 | 5.4366e-05 | 5.0051e-07 | 0.50051 | 0.022704 | 0.011364 | 0.00012914 | 0.50051 | 0.011364 | 0.50951 | 0.012096 | 0.00014631 | 0.50951 | 0.012096 | RU3.3 | 95.5736 | 87.4697 | 0.489 | 91.5208 | 0.8152
RU3.1 4 mL | 54399.515 | 54693.3752 | 0.36509 |  | 2.1728 | 0.021728 | 0.48866 | 8.1908e-05 | 0.74712 | 0.00099305 | 0.0070359 | 752.3465 | 0.021728 | 1.9217 | 5.2037e-05 | 1.4458e-06 | 1.4458 | 0.022839 | 0.033021 | 0.0010904 | 1.9463 | 0.034921 | 1.4718 | 0.03513 | 0.0012341 | 1.9813 | 0.037154 | RU3.4 | 95.2812 | 87.3815 | 0.51769 | 91.7091 | 0.83644
RU3.1 6 mL | 1402386.01 | 1418464.7278 | 10.1546 |  | 0.75706 | 0.0075706 | 0.44014 | 9.7289e-05 | 23.0712 | 0.00096548 | 0.0072154 | 23896.1335 | 0.0075706 | 1.5882 | 6.2964e-05 | 3.7952e-05 | 37.9518 | 0.010459 | 0.39693 | 0.15756 | 39.8981 | 0.39847 | 38.6345 | 0.48482 | 0.23505 | 40.6158 | 0.48624 | RU3.5 | 95.3034 | 87.9725 | 0.46157 | 92.3078 | 0.80267
RU3.1 8 mL | 1374822.567 | 1393775.5324 | 9.9773 |  | 0.67411 | 0.0067411 | 0.43713 | 9.8345e-05 | 22.8244 | 0.00094144 | 0.0074043 | 24244.0619 | 0.0067411 | 1.5694 | 6.3719e-05 | 3.8049e-05 | 38.0486 | 0.010014 | 0.38102 | 0.14517 | 77.9468 | 0.55132 | 38.7331 | 0.47179 | 0.22258 | 79.3489 | 0.67751
RU3.1 10 mL | 449388.24 | 445000.4973 | 3.1668 |  | 0.87793 | 0.0087793 | 0.44816 | 9.4422e-05 | 7.0662 | 0.00093835 | 0.0074432 | 7530.5063 | 0.0087793 | 1.6413 | 6.0927e-05 | 1.236e-05 | 12.3598 | 0.01151 | 0.14227 | 0.02024 | 90.3066 | 0.56938 | 12.5822 | 0.16908 | 0.028587 | 91.931 | 0.69828
RU3.1 12 mL | 114408.099 | 112250.8742 | 0.77825 |  | 1.2453 | 0.012453 | 0.41719 | 0.00010566 | 1.8654 | 0.00093128 | 0.0074826 | 2003.1035 | 0.012453 | 1.4502 | 6.8956e-05 | 2.9049e-06 | 2.9049 | 0.014529 | 0.042205 | 0.0017812 | 93.2115 | 0.57094 | 2.9572 | 0.047607 | 0.0022664 | 94.8882 | 0.69991
RU3.1 14 mL | 38203.718 | 38090.1493 | 0.24591 |  | 2.1031 | 0.021031 | 0.44237 | 9.6188e-05 | 0.55588 | 0.0009513 | 0.0073275 | 584.3396 | 0.021031 | 1.6077 | 6.2201e-05 | 9.3944e-07 | 0.93944 | 0.022271 | 0.020922 | 0.00043774 | 94.1509 | 0.57132 | 0.95634 | 0.022307 | 0.00049761 | 95.8445 | 0.70026
RU3.1 16 mL | 19933.0775 | 19756.4918 | 0.1143 |  | 3.9511 | 0.039511 | 0.44485 | 9.514e-05 | 0.25695 | 0.00093179 | 0.0074826 | 275.7556 | 0.039511 | 1.6269 | 6.1467e-05 | 4.4863e-07 | 0.44863 | 0.040213 | 0.018041 | 0.00032547 | 94.5996 | 0.57161 | 0.4567 | 0.018636 | 0.00034731 | 96.3012 | 0.70051
RU3.1 18 mL | 9847.5415 | 9679.7727 | 0.041969 |  | 4.146 | 0.04146 | 0.44362 | 9.5679e-05 | 0.094605 | 0.00093682 | 0.0074432 | 100.9848 | 0.04146 | 1.617 | 6.1843e-05 | 1.6329e-07 | 0.16329 | 0.042123 | 0.0068784 | 4.7312e-05 | 94.7628 | 0.57165 | 0.16623 | 0.0070964 | 5.0358e-05 | 96.4675 | 0.70054
RU3.1 20 mL | 6565.043 | 6513.6352 | 0.019242 |  | 5.4952 | 0.054952 | 0.45721 | 9.1241e-05 | 0.042085 | 0.0009609 | 0.0072524 | 43.7968 | 0.054952 | 1.7043 | 5.8675e-05 | 7.4643e-08 | 0.074643 | 0.055428 | 0.0041373 | 1.7117e-05 | 94.8375 | 0.57166 | 0.075986 | 0.0042446 | 1.8016e-05 | 96.5434 | 0.70056
RU3.2 2 mL | 25449.165 | 25148.6251 | 0.15301 |  | 1.6827 | 0.016827 | 0.48126 | 8.3888e-05 | 0.31793 | 0.0010653 | 0.0065473 | 298.4479 | 0.016827 | 1.8709 | 5.345e-05 | 5.5837e-07 | 0.55837 | 0.018056 | 0.010082 | 0.00010165 | 0.55837 | 0.010082 | 0.59039 | 0.011419 | 0.0001304 | 0.59039 | 0.011419
RU3.2 4 mL | 50655.1425 | 50245.6886 | 0.33316 |  | 1.593 | 0.01593 | 0.48601 | 8.1934e-05 | 0.6855 | 0.0010079 | 0.0069324 | 680.1208 | 0.01593 | 1.9191 | 5.2108e-05 | 1.3052e-06 | 1.3052 | 0.017373 | 0.022675 | 0.00051418 | 1.8636 | 0.024816 | 1.3801 | 0.025815 | 0.00066643 | 1.9705 | 0.028228
RU3.2 6 mL | 896815.8455 | 883790.1699 | 6.3165 |  | 1.0389 | 0.010389 | 0.44589 | 9.463e-05 | 14.166 | 0.00090866 | 0.0076859 | 15590.0531 | 0.010389 | 1.6363 | 6.1113e-05 | 2.551e-05 | 25.51 | 0.012924 | 0.32969 | 0.10869 | 27.3736 | 0.33062 | 26.973 | 0.3956 | 0.1565 | 28.9435 | 0.39661
RU3.2 8 mL | 1210266.808 | 1205473.3654 | 8.6257 |  | 0.80736 | 0.0080736 | 0.44363 | 9.575e-05 | 19.4432 | 0.0009388 | 0.0074432 | 20710.6194 | 0.0080736 | 1.6158 | 6.1889e-05 | 3.3464e-05 | 33.4642 | 0.010982 | 0.3675 | 0.13505 | 60.8378 | 0.49433 | 35.3834 | 0.45955 | 0.21119 | 64.3269 | 0.60703
RU3.2 10 mL | 644782.972 | 638715.3627 | 4.5573 |  | 0.91496 | 0.0091496 | 0.44364 | 9.5834e-05 | 10.2726 | 0.0010458 | 0.0066708 | 9822.7216 | 0.0091496 | 1.6144 | 6.1943e-05 | 1.5858e-05 | 15.8578 | 0.011324 | 0.17957 | 0.032246 | 76.6956 | 0.52593 | 16.7672 | 0.22264 | 0.049569 | 81.0941 | 0.64657
RU3.2 12 mL | 245941.0475 | 244935.76 | 1.7307 |  | 1.1624 | 0.011624 | 0.43034 | 0.00010057 | 4.0217 | 0.00098788 | 0.0070711 | 4071.008 | 0.011624 | 1.5309 | 6.5321e-05 | 6.2323e-06 | 6.2323 | 0.013607 | 0.0848 | 0.0071911 | 82.9279 | 0.53273 | 6.5897 | 0.10064 | 0.010128 | 87.6838 | 0.65436
RU3.2 14 mL | 92695.316 | 92066.609 | 0.63336 |  | 1.1751 | 0.011751 | 0.44908 | 9.4047e-05 | 1.4103 | 0.00091177 | 0.0076444 | 1546.8219 | 0.011751 | 1.6484 | 6.0665e-05 | 2.5498e-06 | 2.5498 | 0.014019 | 0.035746 | 0.0012778 | 85.4777 | 0.53393 | 2.696 | 0.042167 | 0.001778 | 90.3798 | 0.65572
RU3.2 16 mL | 38762.9025 | 38844.425 | 0.25132 |  | 2.1584 | 0.021584 | 0.44392 | 9.5968e-05 | 0.56614 | 0.00094251 | 0.0074043 | 600.6779 | 0.021584 | 1.6123 | 6.2023e-05 | 9.6847e-07 | 0.96847 | 0.022819 | 0.022099 | 0.00048838 | 86.4462 | 0.53438 | 1.024 | 0.024422 | 0.00059642 | 91.4039 | 0.65617
RU3.2 18 mL | 20476.533 | 20378.3116 | 0.11877 |  | 1.8338 | 0.018338 | 0.44315 | 9.5905e-05 | 0.268 | 0.00092888 | 0.0075626 | 288.5209 | 0.018338 | 1.6129 | 6.2e-05 | 4.6536e-07 | 0.46536 | 0.019837 | 0.009231 | 8.5212e-05 | 86.9115 | 0.53446 | 0.49204 | 0.01034 | 0.00010691 | 91.8959 | 0.65625
RU3.2 20 mL | 12741.108 | 12689.5028 | 0.063573 |  | 2.5525 | 0.025525 | 0.46146 | 8.9575e-05 | 0.13776 | 0.00091513 | 0.0076444 | 150.5413 | 0.025525 | 1.7388 | 5.7511e-05 | 2.6176e-07 | 0.26176 | 0.026645 | 0.0069746 | 4.8645e-05 | 87.1733 | 0.53451 | 0.27677 | 0.0076203 | 5.8069e-05 | 92.1727 | 0.6563
RU3.3 2 mL | 29895.217 | 29890.9644 | 0.18705 |  | 1.9525 | 0.019525 | 0.48635 | 8.2185e-05 | 0.3846 | 0.0010461 | 0.0067024 | 367.6534 | 0.019525 | 1.9135 | 5.226e-05 | 7.035e-07 | 0.7035 | 0.020644 | 0.014523 | 0.00021092 | 0.7035 | 0.014523 | 0.73609 | 0.01603 | 0.00025696 | 0.73609 | 0.01603
RU3.3 4 mL | 38019.0095 | 37752.5627 | 0.24348 |  | 1.9789 | 0.019789 | 0.49166 | 8.0638e-05 | 0.49522 | 0.0010201 | 0.0068651 | 485.4589 | 0.019789 | 1.9543 | 5.1169e-05 | 9.4873e-07 | 0.94873 | 0.020947 | 0.019873 | 0.00039493 | 1.6522 | 0.024614 | 0.99267 | 0.021903 | 0.00047974 | 1.7288 | 0.027142
RU3.3 6 mL | 467947.294 | 467827.0713 | 3.3307 |  | 0.72319 | 0.0072319 | 0.44638 | 9.4751e-05 | 7.4615 | 0.0009148 | 0.0076444 | 8156.5008 | 0.0072319 | 1.6345 | 6.1181e-05 | 1.3332e-05 | 13.3318 | 0.010524 | 0.1403 | 0.019684 | 14.984 | 0.14244 | 13.9493 | 0.1758 | 0.030906 | 15.678 | 0.17789
RU3.3 8 mL | 1163927.2505 | 1150494.8862 | 8.231 |  | 0.73821 | 0.0073821 | 0.45042 | 9.3651e-05 | 18.274 | 0.00095335 | 0.0074826 | 19168.2779 | 0.0073821 | 1.6562 | 6.0379e-05 | 3.1747e-05 | 31.7465 | 0.010512 | 0.33371 | 0.11136 | 46.7305 | 0.36284 | 33.2168 | 0.4183 | 0.17497 | 48.8948 | 0.45455
RU3.3 10 mL | 747752.703 | 741491.8884 | 5.2951 |  | 1.1503 | 0.011503 | 0.44639 | 9.4653e-05 | 11.862 | 0.00090859 | 0.0077279 | 13055.3391 | 0.011503 | 1.6362 | 6.1117e-05 | 2.1361e-05 | 21.3611 | 0.013858 | 0.29603 | 0.087634 | 68.0917 | 0.46828 | 22.3505 | 0.34635 | 0.11996 | 71.2453 | 0.57147
RU3.3 12 mL | 374044.125 | 374356.1545 | 2.6597 |  | 0.68706 | 0.0068706 | 0.44487 | 9.541e-05 | 5.9786 | 0.00095184 | 0.0073657 | 6281.1444 | 0.0068706 | 1.6223 | 6.1641e-05 | 1.019e-05 | 10.1899 | 0.010073 | 0.10265 | 0.010536 | 78.2816 | 0.4794 | 10.6618 | 0.13039 | 0.017001 | 81.9072 | 0.58616
RU3.3 14 mL | 174400.8135 | 175490.8132 | 1.2322 |  | 1.4079 | 0.014079 | 0.44588 | 9.5071e-05 | 2.7635 | 0.00092965 | 0.0075224 | 2972.6582 | 0.014079 | 1.6287 | 6.1399e-05 | 4.8416e-06 | 4.8416 | 0.015963 | 0.077287 | 0.0059733 | 83.1232 | 0.48559 | 5.0658 | 0.088167 | 0.0077734 | 86.973 | 0.59275
RU3.3 16 mL | 82096.963 | 82617.4469 | 0.56553 |  | 1.7111 | 0.017111 | 0.44772 | 9.4257e-05 | 1.2631 | 0.00088306 | 0.007945 | 1430.4071 | 0.017111 | 1.6439 | 6.0831e-05 | 2.3514e-06 | 2.3514 | 0.018866 | 0.044363 | 0.0019681 | 85.4746 | 0.48761 | 2.4604 | 0.049454 | 0.0024457 | 89.4333 | 0.59481
RU3.3 18 mL | 39486.204 | 39328.9881 | 0.2548 |  | 2.6567 | 0.026567 | 0.44368 | 9.5758e-05 | 0.57428 | 0.00090821 | 0.0077279 | 632.3251 | 0.026567 | 1.6157 | 6.1893e-05 | 1.0216e-06 | 1.0216 | 0.027669 | 0.028268 | 0.00079906 | 86.4962 | 0.48843 | 1.069 | 0.030492 | 0.00092974 | 90.5023 | 0.59559
RU3.3 20 mL | 39224.0815 | 38851.4129 | 0.25137 |  | 2.248 | 0.02248 | 0.4582 | 9.0748e-05 | 0.54861 | 0.00094759 | 0.0074432 | 578.9492 | 0.02248 | 1.7142 | 5.8336e-05 | 9.9243e-07 | 0.99243 | 0.02368 | 0.023501 | 0.0005523 | 87.4887 | 0.489 | 1.0384 | 0.025622 | 0.00065649 | 91.5407 | 0.59614
RU3.4 2 mL | 29976.767 | 30408.9028 | 0.19077 |  | 2.2372 | 0.022372 | 0.4827 | 8.3312e-05 | 0.39521 | 0.0010563 | 0.0066085 | 374.1419 | 0.022372 | 1.8849 | 5.3053e-05 | 7.0522e-07 | 0.70522 | 0.023328 | 0.016451 | 0.00027064 | 0.70522 | 0.016451 | 0.74015 | 0.018013 | 0.00032445 | 0.74015 | 0.018013
RU3.4 4 mL | 47885.5095 | 48300.4539 | 0.3192 |  | 1.6984 | 0.016984 | 0.49057 | 8.0814e-05 | 0.65066 | 0.0010153 | 0.0068986 | 640.8364 | 0.016984 | 1.9492 | 5.1303e-05 | 1.2491e-06 | 1.2491 | 0.018332 | 0.022899 | 0.00052434 | 1.9543 | 0.028195 | 1.311 | 0.025694 | 0.00066021 | 2.0511 | 0.031379
RU3.4 6 mL | 516925.3415 | 522551.5999 | 3.7235 |  | 0.86102 | 0.0086102 | 0.44346 | 9.5732e-05 | 8.3965 | 0.00087946 | 0.007945 | 9547.294 | 0.0086102 | 1.616 | 6.1881e-05 | 1.5428e-05 | 15.4284 | 0.011716 | 0.18076 | 0.032676 | 17.3828 | 0.18295 | 16.1925 | 0.22045 | 0.0486 | 18.2437 | 0.22268
RU3.4 8 mL | 1108533.56 | 1099249.3276 | 7.8632 |  | 1.0174 | 0.010174 | 0.44887 | 9.3801e-05 | 17.5177 | 0.00091202 | 0.0078133 | 19207.5485 | 0.010174 | 1.6526 | 6.0511e-05 | 3.1742e-05 | 31.7424 | 0.012829 | 0.40722 | 0.16583 | 49.1252 | 0.44643 | 33.3144 | 0.48583 | 0.23603 | 51.5581 | 0.53443
RU3.4 10 mL | 684862.053 | 693217.262 | 4.9486 |  | 0.80721 | 0.0080721 | 0.42188 | 0.00010415 | 11.7299 | 0.00092714 | 0.0074826 | 12651.694 | 0.0080721 | 1.4737 | 6.7856e-05 | 1.8645e-05 | 18.6448 | 0.011007 | 0.20523 | 0.04212 | 67.77 | 0.49134 | 19.5682 | 0.25457 | 0.064808 | 71.1263 | 0.59196
RU3.4 12 mL | 385808.624 | 391109.8085 | 2.78 |  | 0.7837 | 0.007837 | 0.45965 | 9.0355e-05 | 6.0479 | 0.00093661 | 0.0074043 | 6457.2427 | 0.007837 | 1.7226 | 5.8052e-05 | 1.1123e-05 | 11.1232 | 0.010782 | 0.11993 | 0.014384 | 78.8932 | 0.50577 | 11.6741 | 0.14966 | 0.022397 | 82.8004 | 0.61059
RU3.4 14 mL | 163304.3375 | 164183.1302 | 1.151 |  | 1.8864 | 0.018864 | 0.43625 | 9.8653e-05 | 2.6385 | 0.00085778 | 0.0081277 | 3075.9191 | 0.018864 | 1.564 | 6.3939e-05 | 4.8107e-06 | 4.8107 | 0.02054 | 0.098814 | 0.0097643 | 83.7039 | 0.51533 | 5.049 | 0.10946 | 0.011981 | 87.8494 | 0.62032
RU3.4 16 mL | 76763.584 | 78129.729 | 0.53332 |  | 1.882 | 0.01882 | 0.44755 | 9.4446e-05 | 1.1916 | 0.00092712 | 0.0074826 | 1285.3092 | 0.01882 | 1.6405 | 6.0957e-05 | 2.1085e-06 | 2.1085 | 0.020253 | 0.042705 | 0.0018237 | 85.8125 | 0.5171 | 2.213 | 0.047374 | 0.0022443 | 90.0624 | 0.62213
RU3.4 18 mL | 38025.013 | 38604.0671 | 0.24959 |  | 1.5044 | 0.015044 | 0.44537 | 9.5375e-05 | 0.56042 | 0.00089691 | 0.0077704 | 624.8325 | 0.015044 | 1.6232 | 6.1607e-05 | 1.0142e-06 | 1.0142 | 0.016933 | 0.017174 | 0.00029494 | 86.8267 | 0.51738 | 1.0645 | 0.019477 | 0.00037936 | 91.1269 | 0.62243
RU3.4 20 mL | 22363.5995 | 22777.0515 | 0.13598 |  | 2.9691 | 0.029691 | 0.4641 | 8.9434e-05 | 0.29301 | 0.00088683 | 0.0078567 | 330.3984 | 0.029691 | 1.7433 | 5.7362e-05 | 5.7598e-07 | 0.57598 | 0.030713 | 0.01769 | 0.00031294 | 87.4027 | 0.51769 | 0.60451 | 0.019034 | 0.00036228 | 91.7314 | 0.62272
RU3.5 2 mL | 35224.8455 | 35259.4316 | 0.22559 |  | 2.6042 | 0.026042 | 0.47301 | 8.6697e-05 | 0.47691 | 0.0010423 | 0.0067344 | 457.5465 | 0.026042 | 1.8045 | 5.5417e-05 | 8.2564e-07 | 0.82564 | 0.026899 | 0.022209 | 0.00049323 | 0.82564 | 0.022209 | 0.86633 | 0.024065 | 0.00057913 | 0.86633 | 0.024065
RU3.5 4 mL | 47468.5905 | 47270.0264 | 0.3118 |  | 2.4412 | 0.024412 | 0.51423 | 7.816e-05 | 0.60635 | 0.0010235 | 0.006832 | 592.4051 | 0.024412 | 2.0346 | 4.915e-05 | 1.2053e-06 | 1.2053 | 0.02535 | 0.030554 | 0.00093356 | 2.0309 | 0.037773 | 1.2647 | 0.033238 | 0.0011047 | 2.131 | 0.041035
RU3.5 6 mL | 527884.9655 | 519743.9835 | 3.7033 |  | 0.98076 | 0.0098076 | 0.44986 | 9.3961e-05 | 8.2322 | 0.00092319 | 0.0075626 | 8917.0905 | 0.0098076 | 1.6504 | 6.0591e-05 | 1.4717e-05 | 14.7168 | 0.012385 | 0.18227 | 0.033223 | 16.7477 | 0.18614 | 15.442 | 0.21919 | 0.048044 | 17.5731 | 0.223
RU3.5 8 mL | 1094840.7015 | 1085674.6731 | 7.7657 |  | 0.78512 | 0.0078512 | 0.44668 | 9.5433e-05 | 17.3855 | 0.00093309 | 0.0074826 | 18632.2325 | 0.0078512 | 1.623 | 6.1614e-05 | 3.024e-05 | 30.2401 | 0.010846 | 0.32799 | 0.10758 | 46.9878 | 0.37713 | 31.7304 | 0.40848 | 0.16686 | 49.3034 | 0.46539
RU3.5 10 mL | 767978.8665 | 767233.7604 | 5.4799 |  | 0.68431 | 0.0068431 | 0.45772 | 9.1135e-05 | 11.9722 | 0.00090972 | 0.0076859 | 13160.3358 | 0.0068431 | 1.7066 | 5.8596e-05 | 2.2459e-05 | 22.4594 | 0.010291 | 0.23114 | 0.053426 | 69.4473 | 0.44233 | 23.5662 | 0.29245 | 0.085526 | 72.8697 | 0.54965
RU3.5 12 mL | 359536.5185 | 361415.7468 | 2.5668 |  | 0.82658 | 0.0082658 | 0.42481 | 0.00010329 | 6.0423 | 0.00093996 | 0.0074043 | 6428.2356 | 0.0082658 | 1.4876 | 6.7222e-05 | 9.5626e-06 | 9.5626 | 0.011098 | 0.10612 | 0.011262 | 79.0099 | 0.45488 | 10.0339 | 0.13131 | 0.017241 | 82.9036 | 0.56511
RU3.5 14 mL | 178537.5735 | 181007.0404 | 1.2718 |  | 0.90094 | 0.0090094 | 0.45681 | 9.201e-05 | 2.7841 | 0.00092198 | 0.0075224 | 3019.637 | 0.0090094 | 1.6898 | 5.9179e-05 | 5.1026e-06 | 5.1026 | 0.011737 | 0.059891 | 0.003587 | 84.1125 | 0.45881 | 5.354 | 0.072991 | 0.0053276 | 88.2576 | 0.56981
RU3.5 16 mL | 80374.8825 | 80573.4963 | 0.55086 |  | 1.9345 | 0.019345 | 0.4529 | 9.2953e-05 | 1.2163 | 0.00094343 | 0.0073657 | 1289.2271 | 0.019345 | 1.6702 | 5.9873e-05 | 2.1533e-06 | 2.1533 | 0.0207 | 0.044573 | 0.0019867 | 86.2658 | 0.46097 | 2.2594 | 0.049324 | 0.0024328 | 90.517 | 0.57194
RU3.5 18 mL | 39034.5615 | 39393.8939 | 0.25526 |  | 1.0024 | 0.010024 | 0.44243 | 9.7029e-05 | 0.57696 | 0.00085798 | 0.0081277 | 672.4626 | 0.010024 | 1.5938 | 6.2743e-05 | 1.0718e-06 | 1.0718 | 0.012906 | 0.013832 | 0.00019132 | 87.3375 | 0.46118 | 1.1246 | 0.016476 | 0.00027146 | 91.6416 | 0.57218
RU3.5 20 mL | 25206.342 | 25338.8048 | 0.15437 |  | 2.7975 | 0.027975 | 0.46873 | 8.7426e-05 | 0.32935 | 0.00090006 | 0.0077279 | 365.9146 | 0.027975 | 1.7865 | 5.5975e-05 | 6.5371e-07 | 0.65371 | 0.029023 | 0.018973 | 0.00035997 | 87.9912 | 0.46157 | 0.68592 | 0.020468 | 0.00041894 | 92.3275 | 0.57254
[12 empty] | Conc in ppb | σ conc in ppb | Volume (g) used for each experiment |  | Mass used in each experiment (g) | Mass used in each experiment (μg)
10,000x dilute matrix | 334435.699 | 335225.6167 | 2.3788 |  | 0.69343 | 0.0069343 |  |  |  | Mass in unseparated solution |  | 18508.521 | 128.3442 | 5 |  | 9.2543e-05 | 92.5426
Calculations of actual dilution of matrix
Label | Empty weight | with aliquot | aliquot weight | With dilution |  |  | Weight of dilution and aliquot |  | Actual dilution factor | σ Dilution factor |  | relative uncertainty on conc in ppb = | 0.0069343
100x | 6.1164 | 6.3776 | 0.2612 | 26.6314 |  |  | 20.515 |  | 0.012732 | 6.8941e-06
1,000x | 6.1608 | 8.1941 | 2.0333 | 26.3653 |  |  | 20.2045 |  | 0.0012813 | 6.9955e-07
10,000x | 6.191 | 8.2163 | 2.0253 | 26.3819 |  |  | 20.1909 |  | 0.00012853 | 7.0748e-08
σ weights
100x | 0.0001 | 0.0001 | 0.00014142 | 0.0001 |  |  | 0.00014142
1,000x | 0.0001 | 0.0001 | 0.00014142 | 0.0001 |  |  | 0.00014142
10,000x | 0.0001 | 0.0001 | 0.00014142 | 0.0001 |  |  | 0.00014142 |  |  | Test |  | Conc in ppb | rel uncertainty on conc in ppb | Mass of matrix used in test |  | Mass of Sr-88 used in test (g) | Mass used in each test (μg) | Relative uncertainty on mass of matrix used | Relative uncertainty on mass sr used in each test | unceratinty on mass used (μg)
[10 empty] | RU3.1 |  | 18508.521 | 0.0069343 | 5.308 |  | 9.8243e-05 | 98.2432 | 1.8839e-05 | 0.0069344 | 0.68125
relative weight uncert | [8 empty] | Relative dilution uncert | RU3.2 |  | 18508.521 | 0.0069343 | 5.1104 |  | 9.4586e-05 | 94.5859 | 1.9568e-05 | 0.0069344 | 0.65589
100x | 1.6349e-05 | 1.568e-05 | 0.00054143 | 3.755e-06 |  |  | 6.8936e-06 |  | 0.00054147 | RU3.3 |  | 18508.521 | 0.0069343 | 5.1643 |  | 9.5584e-05 | 95.5836 | 1.9364e-05 | 0.0069344 | 0.66281
1,000x | 1.6232e-05 | 1.2204e-05 | 6.9553e-05 | 3.7929e-06 |  |  | 6.9995e-06 |  | 0.00054597 | RU3.4 |  | 18508.521 | 0.0069343 | 5.1485 |  | 9.5291e-05 | 95.2911 | 1.9423e-05 | 0.0069344 | 0.66078
10,000x | 1.6152e-05 | 1.2171e-05 | 6.9827e-05 | 3.7905e-06 |  |  | 7.0042e-06 |  | 0.00055046 | RU3.5 |  | 18508.521 | 0.0069343 | 5.1497 |  | 9.5313e-05 | 95.3133 | 1.9419e-05 | 0.0069344 | 0.66094
0.00054597
0.00055046

## Sheet1
2.173
2.1728
0.75706
0.67411
0.87793
1.2453
2.1031
3.9511
4.146
5.4952
1.6827
1.593
1.0389
0.80736
0.91496
1.1624
1.1751
2.1584
1.8338
2.5525
1.9525
1.9789
0.72319
0.73821
1.1503
0.68706
1.4079
1.7111
2.6567
2.248
2.2372
1.6984
0.86102
1.0174
0.80721
0.7837
1.8864
1.882
1.5044
2.9691
2.6042
2.4412
0.98076
0.78512
0.68431
0.82658
0.90094
1.9345
1.0024
2.7975

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd