Procedure ID

Author

Date

GCL

Ruth Farley, Rex Taylor, Agnes Michalik.

01/03/16

Procedure

Single stage separation of Sr and Pb using Sr spec chromatographic resin columns

Take the columns out of container and rinse with MQ water.

Put columns in rack with waste pots beneath and fill columns with MQ water, allow to drip through.

Add 7mm (250µl) of Sr spec resin to each column with a rinsed pipette.  The height of the frit is 3mm, so should have a 10mm white block at base of each column; use a ruler to measure.

Clean the resin with 10ml 6M HCl.  5ml takes you to the base of the thread at the top of the column.

Remove the HCl by adding 3ml of MQ water.  3ml is to the top of the neck of the column.

Condition the resin by adding 1ml of 7M HNO3 to the column using a 1ml rinsed pipette.

If collecting Nd, put a clean scint vial under the column.

Tip each sample (in 1ml of 7M HNO3) including any residue into a MQ rinsed centrifuge tube and centrifuge for a few minutes.

Rinse the Pb sample pots with MQ water, add 1ml of conc HNO3, put cap on vessel and put on hot plate.

Take up supernatant sample solution in rinsed micropipette, add to column and pass onto resin.

Remove the matrix by adding 4ml of 7M HNO3 to the column using a rinsed 3ml pipette.

If collecting Sr, put a clean scint vial under the column.

Extract the Sr elution by adding 4ml of MQ water to the column.

Return the waste pots under the columns

Add 1ml 3M HCl to the columns using a rinsed pipette.

Remove Pb pots from hot plate and allow to cool, discard conc HNO3 and rinse with MQ water.

Place Pb pots under columns.

Collect Pb fraction by adding 3ml 8M HCl to the columns using a rinsed pipette.

Put Pb pots on hot plate, evaporate to dryness.

Load with 1ml of 3% HNO3 ready for ICP, and put on hot plate to dissolve.

Method after Smet, I., De Muynck, D., Vanhaecke, F. and Elburg, M. 2010 ‘From volcanic rock powder to Sr and Pb isotope ratios: a fit-for-purpose procedure for multi-collector ICP-mapp spectrometric analysis.’ J. Anal. At. Spectrom., 25, 1025-1032.

COSHH Assessments:

Procedure Title

Single stage separation of Nd, Sr and Pb using Sr spec chromatographic resin columns.

HCl, HNO3

Sheet   1  of   1