## C11D
Vial label | Empty mass | Mass wth sample | Mass of sample |  | Concentration of solid (calculated from prep data 2 spreadsheet) | Equiv mass of solid
C11D | 13.2707 | 50.4126 | 47.522 |  | 0.010525 | 0.50016
Radiotracers & Target radionuclides
Strontium | Database no. | Activity conc of source (Bq/g) | Mass added (g) | Activity in sample (Bq) | σ of activity conc | σ of mass added | σ of activity in sample
Sr-90 Target | RAM 1595 | 98.0178 | 0.1014 | 9.939 | 0.50757 | 0.0001 | 0.052393 | Sr-90 activity conc calculated from SrT Test
Sr-85 Tracer | RAM 1611 | 198.1 | 0.0515 | 10.2021 | 0.1 | 0.0001 | 0.020468
Uranium
U-238 Target | Depleted U ICPMS dilute | 0.61007 | 0.0851 | 0.063668 | 0.024697 | 0.0001 | 0.0025785
U-236 Tracer | RAM 1593 | 0.09937 | 0.5499 | 0.054644 | 1e-05 | 0.0001 | 1.1357e-05
0.0001
Thorium | [5 empty] | 0.0001
Th-232 Target | Th ICPMS Std 1000 ppm | 4.076 | 0.0122 | 0.063297 | 0.1749 | 0.0001 | 0.0027651
Th-229 Tracer | RAM 1459 | 0.8561 | 0.0628 | 0.053763 | 0.0001 | 0.0001 | 8.584e-05
0.0001
Plutonium | [5 empty] | 0.0001
Pu-239 Target | RAM 1579 Dilute | 0.5188 | 0.1 | 0.05188 | 0.01006 | 0.0001 | 0.0010074
Pu-242 Tracer | RAM 1584 | 0.9859 | 0.0552 | 0.054422 | 0.0001 | 0.0001 | 9.8744e-05
Np | [7 empty] | th-232 activity conc of sample (Bq/g) | 0.00028554
Np-237 contaminant | RAM 219 | 4.6 |  | 0 |  |  |  | u-238 activity conc of sample (Bq/g) | 0.00024727
Pb
Pb-210 contaminant | RAM 324 | 463 | 0.0209 | 9.6767
Mixed Gamma source | RAM 1297 |  | 0.1078
Am-241 |  | 81.24 |  | 8.7577
Cd-109 |  | 27.47 |  | 2.9613
Co-57 |  | 0.2548 |  | 0.027467
Ce-139 |  | 0.00139 |  | 0.00014984
Sn-113 |  | 0.000765 |  | 8.2467e-05
Cs-137 |  | 76.47 |  | 8.2435
Mn-54 |  | 1.195 |  | 0.12882
Zn-65 |  | 0.9162 |  | 0.098766
Co-60 |  | 49.69 |  | 5.3566

## C11D gamma data
Radiotracers & Target radionuclides |  |  |  | σ |  | Radiotracers & Target radionuclides post sep
Strontium | Database no. | Activity measured in gamma | Height corrected |  |  | Activity (bq) | Height corrected | Uncertainty (bq) | Recovery |  | Uncertainty
Sr-85 Tracer | RAM 1591 | 9.95 | 10.149 |  |  | 8.58 | 8.7516 | 0.56 | 0.86231 | +/- | 0.055178
[9 empty] | 86.2312 | +/- | 5.5178
Pb
Pb-210 contaminant | RAM 324 | 11.7 | 11.934 | 2.4
[5 empty] | Height of sample measured (mm) = | 44
Mixed Gamma source | RAM 1297
Am-241 |  | 8.71 | 8.8842 | 0.6 | Correction factor = | 1.02
Cd-109 |  | 3 | 3.06
Co-57 |  | 0 | 0
Ce-139 |  | 0 | 0
Sn-113 |  | 0 | 0
Cs-137 |  | 8.44 | 8.6088
Mn-54 |  | 0.139 | 0.14178
Co-60 |  | 5.49 | 5.5998
Po-210 added |  |  | 12.1487 | 2.4432

## Sr-90 cherenkov
Date | Counts per min | Activity (bq) |  | Counter efficiency corrected |  | Quench corrected |  | s |  |  | 1-e^-lamtda t |  | lambda y90 | 2.9805e-06
2021-05-05 |  | 0 |  |  |  |  | -2 | 0 | 0 | 0
2021-05-07 | 146.75 | 2.4458 |  | 3.3551 |  | 3.7278 | 0.45 | 211680 | 2.45 | 211680 | 0.46789
2021-05-10 | 236.73 | 3.9455 |  | 5.4122 |  | 6.0136 | 3.25 | 453600 | 5.25 | 453600 | 0.74127
2021-05-12 | 268.18 | 4.4697 |  | 6.1312 |  | 6.8125 | 5.25 | 626400 | 7.25 | 626400 | 0.84541
2021-05-15 | 291.7 | 4.8617 |  | 6.669 |  | 7.4099 | 7.5 | 820800 | 9.5 | 820800 | 0.9134
2021-05-17 | 306.27 | 5.1045 |  | 7.0021 |  | 7.7801 | 10 | 1036800 | 12 | 1036800 | 0.95451
2021-05-18 | 304.25 | 5.0708 |  | 6.9559 |  | 7.7288 | 11 | 1123200 | 13 | 1123200 | 0.96484
2021-05-19 | 306.78 | 5.113 |  | 7.0137 |  | 7.793 | 12 | 1209600 | 14 | 1209600 | 0.97282
2021-05-20 | 306.27 | 5.1045 |  | 7.0021 |  | 7.7801 | 13 | 1296000 | 15 | 1296000 | 0.97899
2021-05-21 | 314.94 | 5.249 |  | 7.2003 |  | 8.0003 | 14 | 1382400 | 16 | 1382400 | 0.98376 | [13 empty] | Sr 85 recovery | σ
2021-05-22 | 310.29 | 5.1715 |  | 7.094 |  | 7.8822 | 15 | 1468800 | 17 | 1468800 | 0.98745 | [13 empty] | 0.86231 | 0.055178
2021-05-22 | 311.7 | 5.195 |  | 7.1262 |  | 7.918 | 15 | 1468800 | 17 | 1468800 | 0.98745
2021-05-24 | 320.41 | 5.3402 |  | 7.3253 |  | 8.1393 | 17 | 1641600 | 19 | 1641600 | 0.9925 | [13 empty] | QT1 factor | σ
[25 empty] | 0.88693 | 0.012925
Label | Date | CPM1 | Counts1 | CPM1 % |  |  |  | Total counts |  | Live time (mins) | CPM | Bq | σcounts1 |  | σtotal counts | σCPM | σBq | Quantalus | Count efficiency | σ efficiency | Efficiency corr activity (bq) | σ efficiency corr activity | Blk activity | σ blk activity | Blk corrected | σ blk corrected | QT1 corrected | σ QT1 corrected | Sr-85 corrected | σ Sr 85 corrected
C11 SrF | 2021-05-24 | 320.41 | 9497 | 1.03 |  |  |  | 9497 |  | 29.6401 | 320.41 | 5.3402 | 97.8191 |  | 97.8191 | 3.3002 | 0.055004 | 3 | 72.87 | 2.38 | 7.3283 | 0.25097 | 0.0231 | 0.0042851 | 7.3052 | 0.25101 | 8.3194 | 0.3105 | 9.6478 | 0.71468
Blk | 2021-05-24 | 1.01 | 30 | 18.26 |  |  |  | 30 |  | 29.703 | 1.01 | 0.016833 | 5.478 |  | 5.478 | 0.18443 | 0.0030738 | 3 | 72.87 | 2.38 | 0.0231 | 0.0042851
| Fully corrected activity = |  | 9.6478 |  | +/- | 0.71468
|  | sr-90 added = | 9.939
|  | recovery | 0.9707
|  | recovery before sr -85 corr | 0.83704

## C11HP
Vial label | Empty mass | Mass with sample | Mass of sample | Mass with NaNO2 | Total mass
C11HP | 13.3992 | 23.7974 | 10.3982 | 24.3796 | 10.9804

## Alpha data
Name of fraction | Time counted | Tracer measured counts | Tracer Bkgd counts | Counter | Counting efficiency (%) | Activity of tracer measured | Activity added | Recovery % |  | Target counts | Target bkgd counts | Activity of target measured | Target activity corrected by tracer recovery | Activity of target added | overall recovery
C6 Pu | 200000 | 3924 | 5 | 11 | 37.25 | 0.052604 | 0.054422 | 96.6601 |  | 3867 | 1 | 0.051893 | 0.053686 | 0.05188 | 103.4805
C6 Np | [5 empty] | #DIV/0! | [5 empty] | #DIV/0! | - | 0 | #DIV/0!
C6 U | 199511.1 | 1890 | 2 | 8 | 35.78 | 0.026448 | 0.054644 | 48.4011 |  | 2018 | 0 | 0.028269 | 0.058406 | 0.063668 | 91.7358
C6 Th | 200000 | 2883 | 4 | 16 | 35.76 | 0.040254 | 0.053763 | 74.8738 |  | 3463 | 2 | 0.048392 | 0.064631 | 0.063297 | 102.1089
[9 empty] | disposal to drain | Pu 239 | -1.2617e-05
|  | disposal to drain |  | Pu 242 | 0.0018177 |  |  |  |  | Np 237 | #DIV/0!
#DIV/0!
|  |  |  | U236 | 0.028195
|  |  |  | Th 229 | 0.013509
Pu fraction |  |  | Np fraction |  |  | Th fraction |  |  | UF1 fraction |  |  | UF2 fraction |  |  | UF3 fraction |  | Total U activity
Detector # | 11 |  | Detector # |  |  | Detector # | 16 |  | Detector # | 8 |  | Detector # | 1 |  | Detector # | 5
Time counted | 200000 |  | Time counted |  |  | Time counted | 200000 |  | Time counted | 199511.1 |  | Time counted | 173752.3 |  | Time counted | 200000
Counter efficiency | 37.25 |  | Counter efficiency |  |  | Counter efficiency | 35.76 |  | Counter efficiency | 35.78 |  | Counter efficiency | 37.82 |  | Counter efficiency | 36.93
Pu-242 tracer counts | 3924 |  |  |  |  | Th-229 tracer counts | 2883 |  | U-236 tracer counts | 1814 |  | U-236 tracer counts | 76 |  | U-236 tracer counts | 1525
Tracer Bkgd counts | 5 |  |  |  |  | Tracer Bkgd counts | 4 |  | Tracer Bkgd counts | 5 |  | Tracer Bkgd counts | 1 |  | Tracer Bkgd counts | 0
Corrected counts | 3919 |  |  |  |  | Corrected counts | 2879 |  | Corrected counts | 1809 |  | Corrected counts | 75 |  | Corrected counts | 1525
Pu-242 measured | 0.052604 |  |  |  |  | Th-229 measured | 0.040254 |  | U-236 measured | 0.025341 |  | U-236 measured | 0.0011413 |  | U-236 measured | 0.020647 | Total U-236 activity | 0.045989
Tracer activity added | 0.054422 |  |  |  |  | Tracer activity added | 0.053763 |  | Tracer activity added | 0.054644 |  | Tracer activity added | 0.054644 |  | Tracer activity added | 0.054644 | Tracer activity added | 0.054644
Recovery | 0.9666 |  |  |  |  | Recovery | 0.74874 |  | Recovery | 0.46376 |  | Recovery | 0.020887 |  | Recovery | 0.37785 | Overall tracer recovery | 0.84161
Pu-239 target counts | 3867 |  | Np-237 target counts |  |  | Th-232 target counts | 3463 |  | U-238 target counts | 1951 |  | U-238 target counts | 70 |  | U-238 target counts | 1654
Target bkgd counts | 1 |  | Target bkgd counts |  |  | Target bkgd counts | 2 |  | Target bkgd counts | 4 |  | Target bkgd counts | 0 |  | Target bkgd counts | 1
Corrected counts | 3866 |  | Corrected counts | 0 |  | Corrected counts | 3461 |  | Corrected counts | 1947 |  | Corrected counts | 70 |  | Corrected counts | 1653
Activity of Pu-239 measured | 0.051893 |  | Activity of Np-237 measured | #DIV/0! |  | Activity of Th-232 measured | 0.048392 |  | Activity of U-238 measured | 0.027275 |  | Activity of U-238 measured | 0.0010652 |  | Activity of U-238 measured | 0.02238 | Total U-238 activity | 0.049655
Target Pu-239 tracer corrected | 0.053686 |  |  |  |  | Target Th-232 tracer corrected | 0.064631 |  | Target U-238 tracer corrected | 0.058812 |  | Target U-238 tracer corrected | 0.051001 |  | Target U-238 tracer corrected | 0.05923 | Target activity tracer corrected | 0.059
Activity of target added | 0.05188 |  | Activity of target added |  |  | Activity of target added | 0.063297 |  | Activity of target added | 0.063668 |  | Activity of target added | 0.063668 |  | Activity of target added | 0.063668 | Activity of target added | 0.063668
Overall recovery | 1.0348 |  | Overall recovery |  |  | Overall recovery | 1.0211 |  | Overall recovery | 0.92373 |  | Overall recovery | 0.80104 |  | Overall recovery | 0.9303 | Overall target recovery | 0.92668
recovery without tracer correction | 1.0002 |  |  |  |  | recovery without tracer correction | 0.76453 | [9 empty] | recovery without tracer correction | 0.77991
|  |  | U-236 counts |  |  | U-236 counts | 112 |  | U-234 counts | 592 |  | U-234 counts | 23 |  | U-234 counts | 489
|  |  | U-236 bkgd counts |  |  | U-236 bkgd counts | 0 |  | U-234 bkgd counts | 4 |  | U-234 bkgd counts | 0 |  | U-234 bkgd counts | 0
|  |  | Corrected counts | 0 |  | Corrected counts | 112 |  | Corrected counts | 588 |  | Corrected counts | 23 |  | Corrected counts | 489
|  |  | U-236 activity |  |  | U-236 activity | 0.001566 |  | U-234 activity | 0.008237 |  | U-234 activity | 0.00035001 |  | U-234 activity | 0.0066206 | Total U-234 activity | 0.014858
|  |  | U-238 counts |  |  | U-238 counts | 111 |  | Th-229 counts |  |  | Th-229 counts | np |  | Th-229 counts | np
Po-210 counts | 190 |  | U-238 bkgd counts |  |  | U-238 bkgd counts | 2 |  | Th-229 bkgd counts |  |  | Th-229 bkgd counts |  |  | Th-229 bkgd counts
Po-210 bkgd counts | 1 |  | Corrected counts | 0 |  | Corrected counts | 109 |  | Corrected counts | 0 |  | Corrected counts | #VALUE! |  | Corrected counts | #VALUE!
Corrected counts | 189 |  | U-238 activity |  |  | U-238 activity | 0.001524 |  | Th-229 activity | 0 |  | Th-229 activity |  |  | Th-229 activity |  | Total Th-229 activity | 0
Po-210 activity | 0.0025369
Am-241 counts | 267 |  | Pu-239 counts |  |  | Po-210 counts | 49150 |  | Th-232 counts |  |  | Th-232 counts | np |  | Th-232 counts | np
Am-241 bkgd counts | 7 |  | Pu-239 bkgd counts |  |  | Po-210 bkgd counts | 4 |  | Th-232 bkgd counts |  |  | Th-232 bkgd counts |  |  | Th-232 bkgd counts
Corrected counts | 260 |  | Corrected counts | 0 |  | Corrected counts | 49146 |  | Corrected counts | 0 |  | Corrected counts | #VALUE! |  | Corrected counts | #VALUE!
Am-241 activity | 0.0034899 |  | Pu-239 activity |  |  | Po-210 activity | 0.68716 |  | Th-232 activity | 0 |  | Th-232 activity |  |  | Th-232 activity |  | Total Th-232 activity | 0
[9 empty] | Po-210 counts | 398 |  | Po-210 counts | 96 |  | Po-210 counts | 96 | Po-210 counts | 590
[9 empty] | Po-210 bkgd counts | 6 |  | Po-210 bkgd counts | 3 |  | Po-210 bkgd counts | 7 | Po-210 bkgd counts | 16
[9 empty] | Corrected counts | 392 |  | Corrected counts | 93 |  | Corrected counts | 89 | Corrected counts | 574
[9 empty] | Po-210 activity | 0.0054913 |  | Po-210 activity | 0.0014152 |  | Po-210 activity | 0.001205 | Po-210 activity | 0.0081116
Time counted σ | 0.1 |  | Time counted |  |  | Time counted σ | 0.1 |  | Time counted σ | 0.1 |  | Time counted σ | 0.1 |  | Time counted σ | 0.1
Counter efficiency σ | 1.474 |  | Counter efficiency |  |  | Counter efficiency σ | 0.84883 |  | Counter efficiency σ | 0.336 |  | Counter efficiency σ | 2.753 |  | Counter efficiency σ | 1.246
Pu-242 corrected counts σ | 62.6019 |  |  |  |  | Th-229 tracer counts σ | 53.6563 |  | U-236 corrected counts σ | 42.5323 |  | U-236 corrected counts σ | 8.6603 |  | U-236 corrected counts σ | 39.0512
Pu-242 measured σ | 0.0022448 |  |  |  |  | Th-229 measured σ | 0.0012148 |  | U-236 measured σ | 0.00064158 |  | U-236 measured σ | 0.00015579 |  | U-236 measured σ | 0.00087455 | Total U-236 activity σ | 0.0010846
Tracer activity added σ | 9.8744e-05 |  |  |  |  | Tracer activity added σ | 8.584e-05 |  | Tracer activity added σ | 1.1357e-05 |  | Tracer activity added σ | 1.1357e-05 |  | Tracer activity added σ | 1.1357e-05 | Tracer activity added σ | 1.1357e-05
Recovery σ | 0.041285 |  |  |  |  | Recovery σ | 0.022628 |  | Recovery σ | 0.011742 |  | Recovery σ | 0.002851 |  | Recovery σ | 0.016005 | Overall tracer recovery σ | 0.01985
Pu-239 corrected counts σ | 62.1772 |  | Np-237 target counts |  |  | Th-232 corrected counts σ | 58.8303 |  | U-238 corrected counts σ | 44.1248 |  | U-238 corrected counts σ | 8.3666 |  | U-238 corrected counts σ | 40.6571
Target bkgd counts
Activity of Pu-239 measured σ | 0.0022165 |  | Activity of Np-237 measured |  |  | Activity of Th-232 measured σ | 0.0014128 |  | Activity of U-238 measured σ | 0.00066909 |  | Activity of U-238 measured σ | 0.00014907 |  | Activity of U-238 measured σ | 0.00093444 | Total U-238 activity σ | 0.0011493
Target Pu-239 tracer corrected σ | 0.0032429 |  |  |  |  | Target Th-232 tracer corrected σ | 0.0027158 |  | Target U-238 tracer corrected σ | 0.0020733 |  | Target U-238 tracer corrected σ | 0.0099701 |  | Target U-238 tracer corrected σ | 0.0035228 | Target activity tracer corrected σ | 0.0019497
Activity of target added σ | 0.0010074 |  | Activity of target added |  |  | Activity of target added σ | 0.0027651 |  | Activity of target added σ | 0.0025785 |  | Activity of target added σ | 0.0025785 |  | Activity of target added σ | 0.0025785 | Activity of target added σ | 0.0025785
Overall recovery σ | 0.065658 |  | Overall recovery |  |  | Overall recovery σ | 0.061892 |  | Overall recovery σ | 0.049599 |  | Overall recovery σ | 0.15992 |  | Overall recovery σ | 0.066941 | Overall target recovery σ | 0.048438
|  |  | U-236 counts |  |  | U-236 corrcted counts σ | 10.583 |  | U-234 corrected counts σ | 24.2487 |  | U-234 corrected counts σ | 4.7958 |  | U-234 corrected counts σ | 22.1133
U-236 bkgd counts
|  |  | U-236 activity |  |  | U-236 activity σ | 0.00015257 |  | U-234 activity σ | 0.00034838 |  | U-234 activity σ | 7.7301e-05 |  | U-234 activity σ | 0.00037354 | Total U-234 activity | 0.00051079
|  |  | U-238 counts |  |  | U-238 corrected counts σ | 10.4403 |  | Th-229 corrected counts σ | 0 |  | Th-229 corrected counts σ |  |  | Th-229 corrected counts σ
Po-210 counts σ | 13.784 |  | U-238 bkgd counts
Po-210 bkgd counts σ | 13.8203 |  | U-238 activity |  |  | U-238 activity σ | 0.00015039 |  | Th-229 activity σ | #DIV/0! |  | Th-229 activity σ |  |  | Th-229 activity σ
Po-210 activity σ | 0.00021093
Am-241 counts σ | 16.3401 |  | Pu-239 counts |  |  | Po-210 counts σ | 221.698 |  | Th-232 corrected counts σ | 0 |  | Th-232 corrected counts σ |  |  | Th-232 corrected counts σ |  | Total Th-229 activity | #DIV/0!
Am-241 bkgd counts σ | 16.5529 |  | Pu-239 bkgd counts |  |  | Po-210 bkgd counts σ | 221.707
Am-241 activity σ | 0.00026161 |  | Pu-239 activity |  |  | Po-210 activity σ | 0.016603 |  | Th-232 activity σ | #DIV/0! |  | Th-232 activity σ |  |  | Th-232 activity σ
[9 empty] | Po-210 counts | 19.9499 |  | Po-210 counts | 9.798 |  | Po-210 counts | 9.798
[9 empty] | Po-210 bkgd corr counts | 20.0998 |  | Po-210 bkgd counts | 9.9499 |  | Po-210 bkgd counts | 10.1489 | Total Po-210 activity | 0.0003688
[9 empty] | Po-210 activity | 0.00028625 |  | Po-210 activity | 0.00018314 |  | Po-210 activity | 0.0001433

## U234 calcs
U in digest (ppb) | Mass of sample used | U from digest (ug) | Moles U from digest | Atoms u from digest | U from digest (bq) | U234 from digest (bq) |  | U in spike | Mass spike used | U from spike (bq) | 234U from spike (bq)
19.8791 | 47.522 | 0.94469 | 3.9693e-09 | 2.3903e+15 | 0.011751 | 0.011804 |  | 0.61007 | 0.0851 | 0.051917 | 0.006735
σ
1.9838 | 0.00014142 | 0.094275 | 3.9611e-10 | 2.3854e+14 | 0.0011726 | 0.001178 |  | 0.024697 | 0.0001 | 0.0021026 | 0.00027277
σ
[7 empty] | u234 total | 0.018539 |  | 0.0012092
[7 empty] | u238 total | 0.063668 |  | 0.0024075
2σ
[7 empty] | sample 234/238 | 0.29119 |  | 0.021953 | 0.043906
t1/2 u238 years = | 4468000000
T1/2 U 238 in secs = | 1.41e+17
a=la*n
lambda u 238 | 4.916e-18
avogadros = | 6.022e+23
sample 234/238 | 1.0046 | activtiy
spike 234/238 | 0.12973 | activity