## C9D
Vial label | Empty mass | Mass wth sample | Mass of sample |  | Concentration of solid (calculated from prep data 2 spreadsheet) | Equiv mass of solid
C9D | 13.2707 | 50.4126 | 47.563 |  | 0.010525 | 0.50059
| 0.0001 | 0.0001 | 0.00014142 |  | 3.4283e-07 | 1.6374e-05
Radiotracers & Target radionuclides
Strontium | Database no. | Activity conc of source (Bq/g) | Mass added (g) | Activity in sample (Bq) | σ of activity conc | σ of mass added | σ of activity in sample
Sr-90 Target | RAM 1595 | 98.0178 | 0.1015 | 9.9488 | 0.50757 | 0.0001 | 0.052443 | Sr-90 activity conc calculated from SrT Test
Sr-85 Tracer | RAM 1611 | 198.1 | 0.0507 | 10.0437 | 0.1 | 0.0001 | 0.020448 | ref date 27/04/2021
[6 empty] | 0.0001 | #DIV/0!
Uranium | [5 empty] | 0.0001 | #DIV/0!
U-238 Target | Depleted U ICPMS dilute | 0.61007 | 0.0852 | 0.063739 | 0.024697 | 0.0001 | 0.0025814
U-236 Tracer | RAM 1593 | 0.09937 | 0.5495 | 0.054604 | 1e-05 | 0.0001 | 1.1355e-05
[6 empty] | 0.0001 | #DIV/0!
Thorium | [5 empty] | 0.0001 | #DIV/0!
Th-232 Target | Th ICPMS Std 1000 ppm | 4.076 | 0.0124 | 0.064124 | 0.1749 | 0.0001 | 0.0027996
Th-229 Tracer | RAM 1459 | 0.8561 | 0.0626 | 0.053592 | 0.0001 | 0.0001 | 8.5839e-05
[6 empty] | 0.0001 | #DIV/0!
Plutonium | [5 empty] | 0.0001 | #DIV/0!
Pu-239 Target | RAM 1579 Dilute | 0.5188 | 0.0993 | 0.051517 | 0.01006 | 0.0001 | 0.0010003
Pu-242 Tracer | RAM 1584 | 0.9859 | 0.0551 | 0.054323 | 0.0001 | 0.0001 | 9.8744e-05
Np | [7 empty] | th-232 activity conc of sample (Bq/g) | 0.00028554
Np-237 contaminant | RAM 219 | 4.6 |  | 0 |  |  |  | u-238 activity conc of sample (Bq/g) | 0.00024727
Pb | [7 empty] | U234 activity in unspike sample = | 0.011761
Pb-210 contaminant | RAM 324 | 463 | 0.0209 | 9.6767 |  | 0.062435 |  |  |  | 238/234 act in spike
[6 empty] | 0.062425 |  | u 234 activty in spike = | 0.006743 | 7.7085
Mixed Gamma source | RAM 1297 |  | 0.1071
Am-241 |  | 81.24 |  | 8.7008 |  |  |  | total u234 = | 0.018504
Cd-109 |  | 27.47 |  | 2.942
Co-57 |  | 0.2548 |  | 0.027289 |  | 99.9841
Ce-139 |  | 0.00139 |  | 0.00014887
Sn-113 |  | 0.000765 |  | 8.1931e-05
Cs-137 |  | 76.47 |  | 8.1899
Mn-54 |  | 1.195 |  | 0.12798
Zn-65 |  | 0.9162 |  | 0.098125
Co-60 |  | 49.69 |  | 5.3218

## C9D gamma data
Radiotracers & Target radionuclides | [5 empty] | Radiotracers & Target radionuclides post sep
Strontium | Database no. | Activity measured in gamma | Height corrected |  |  | Activity (bq) | Height corrected | Uncertainty (bq) | Recovery |  | Uncertainty
Sr-85 Tracer | RAM 1591 | 10 | 10.2 |  |  | 8.43 | 8.5986 | 0.56 | 0.843 | +/- | 0.054902
[9 empty] | 84.3 | +/- | 5.4902
Pb
Pb-210 contaminant | RAM 324 | 13.6 | 13.872 | 2.5
[5 empty] | Height of sample measured (mm) = | 44
Mixed Gamma source | RAM 1297
Am-241 |  | 8.86 | 9.0372 | 0.61 | Correction factor = | 1.02
Cd-109 |  | 3.6 | 3.672
Co-57 |  |  | 0
Ce-139 |  |  | 0
Sn-113 |  |  | 0
Cs-137 |  | 8.59 | 8.7618
Mn-54 |  |  | 0
Co-60 |  | 5.28 | 5.3856
Po-210 acitivity |  |  | 14.1216 | 2.545

## Sr-90 cherenkov
Date | Counts per min | Activity (bq) |  | Counter efficiency corrected | % | Quench corrected |  | s | days after sep | secs after sep | 1-e^-lamtda t |  | lambda y90 | 2.9805e-06
2021-05-05 |  | 0 |  |  | 0 |  | -2 | -172800 | 0 | 0
2021-05-07 | 151.07 | 2.5178 |  | 3.4538 | 47.039 | 3.8376 | 0.5 | 43200 | 2.5 | 216000 | 0.4747
2021-05-10 | 242 | 4.0333 |  | 5.5327 | 75.3521 | 6.1474 | 3.25 | 280800 | 5.25 | 453600 | 0.74127
2021-05-12 | 272.33 | 4.5388 |  | 6.2261 | 84.796 | 6.9179 | 5.25 | 453600 | 7.25 | 626400 | 0.84541
2021-05-15 | 289.47 | 4.8245 |  | 6.618 | 90.1329 | 7.3533 | 7.5 | 648000 | 9.5 | 820800 | 0.9134
2021-05-17 | 305.33 | 5.0888 |  | 6.9806 | 95.0713 | 7.7562 | 10 | 864000 | 12 | 1036800 | 0.95451
2021-05-19 | 313.73 | 5.2288 |  | 7.1726 | 97.6868 | 7.9696 | 12 | 1036800 | 14 | 1209600 | 0.97282
2021-05-20 | 311.43 | 5.1905 |  | 7.12 | 96.9706 | 7.9111 | 13 | 1123200 | 15 | 1296000 | 0.97899
2021-05-21 | 312.31 | 5.2052 |  | 7.1401 | 97.2447 | 7.9335 | 14 | 1209600 | 16 | 1382400 | 0.98376
2021-05-22 | 312.08 | 5.2013 |  | 7.1349 | 97.173 | 7.9277 | 15 | 1296000 | 17 | 1468800 | 0.98745 | [13 empty] | Sr 85 recovery | σ
2021-05-22 | 310.39 | 5.1732 |  | 7.0963 |  | 7.8847 | 15 | 1296000 | 17 | 1468800 | 0.98745 | [13 empty] | 0.843 | 0.054902
2021-05-24 | 318.65 | 5.3108 |  | 7.2851 | 99.2188 | 8.0945 | 17 | 1468800 | 19 | 1641600 | 0.9925
|  |  |  | 7.3425 | 100 | 8.1583 | [18 empty] | QT1 factor | σ
[25 empty] | 0.88693 | 0.012925
Label | Date | CPM1 | Counts1 | CPM1 % |  |  |  | Total counts |  | Live time (mins) | CPM | Bq | σcounts1 |  | σtotal counts | σCPM | σBq | Quantalus | Count efficiency | σ efficiency | Efficiency corr activity (bq) | σ efficiency corr activity | Blk activity | σ blk activity | Blk corrected | σ blk corrected | QT1 corrected | σ QT1 corrected | Sr-85 corrected | σ Sr 85 corrected
C9 SrF | 2021-05-24 | 318.65 | 9445 | 1.03 |  |  |  | 9445 |  | 29.6407 | 314.08 | 5.2347 | 97.2835 |  | 97.2835 | 3.2821 | 0.054702 | 3 | 72.87 | 2.38 | 7.1836 | 0.24634 | 0.0231 | 0.0042851 | 7.1605 | 0.24638 | 8.1545 | 0.30471 | 9.6732 | 0.72631
Blk | 2021-05-24 | 1.01 | 30 | 18.26 |  |  |  | 30 |  | 29.703 | 1.01 | 0.016833 | 5.478 |  | 5.478 | 0.18443 | 0.0030738 | 3 | 72.87 | 2.38 | 0.0231 | 0.0042851
| Fully corrected activity = |  | 9.6732 |  | +/- | 0.72631
|  | sr-90 added = | 9.9488
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  | recovery = | 0.9723 |  |  |  | 1 | 22.6423 | 2.5 | 3.4538 | 3.9538 | 47.039
[7 empty] | 2 | 40.1592 | 5.25 | 5.5327 | 6.0327 | 75.3521
|  | recovery before sr -85 corr | 0.81965 |  |  |  | 3 | 53.7109 | 7.25 | 6.2261 | 6.7261 | 84.796
[7 empty] | 4 | 64.195 | 9.19 | 6.618 | 7.118 | 90.1329
[7 empty] | 5 | 72.3058 | 12 | 6.9806 | 7.4806 | 95.0713
[7 empty] | 6 | 78.5806 | 14 | 7.1726 | 7.4806 | 97.6868
[7 empty] | 7 | 83.435 | 15 | 7.12 | 7.4806 | 96.9706
[7 empty] | 8 | 87.1906 | 16 | 7.1401 | 7.4806 | 97.2447
[7 empty] | 9 | 90.096 | 17 | 7.1349 | 7.4806 | 97.173
[7 empty] | 10 | 92.3437 | 17 | 7.0963 | 7.4806 | 96.6468
[7 empty] | 11 | 94.0827 | 19 | 7.2851 | 7.4806 | 99.2188
[7 empty] | 12 | 95.4279 |  | 7.3425 | 7.618
[7 empty] | 13 | 96.4687
[7 empty] | 14 | 97.2739
[7 empty] | 15 | 97.8968
[7 empty] | 16 | 98.3787
[7 empty] | 17 | 98.7515
[7 empty] | 18 | 99.04
[7 empty] | 19 | 99.2631
[14 empty] | 0.70833 | 0.1875
[14 empty] | 0.45833 |  | 0.8125

## C9HP
Vial label | Empty mass | Mass with sample | Mass of sample | Mass with NaNO2 | Total mass
C6HP | 13.3992 | 23.7974 | 10.3982 | 24.3796 | 10.9804

## Alpha data
Name of fraction | Time counted | σ time counted | Tracer measured counts | σ counts | Tracer Bkgd counts | σ bkgd counts | corrected counts | σ corrected counts | Detector number | Counting efficiency (%) | σ counting eff | Activity of tracer measured | σ activity measured | Activity added | σ activity added | Recovery | σ Recovery | Target counts | σ tcounts | Target bkgd counts | σ t bkgd counts | target corrected counts | σ t corrected counts | Activity of target measured | σ activity of target | Target activity corrected by tracer recovery | σ tracer corrected activity | Activity of target added | σ activity of target added | overall recovery | σ overall recovery | overall recovery (%) |  | 2σ
C9 Pu | 200000 | 0.1 | 4062 | 63.7338 | 2 | 1.4142 | 4060 | 63.7495 | 9 | 37.54 | 2.2633 | 0.054076 | 0.003369 | 0.054323 | 9.8744e-05 | 0.99545 | 0.062043 | 3885 | 62.3298 | 1 | 1 | 3884 | 62.3378 | 0.051731 | 0.0032275 | 0.051968 | 0.004583 | 0.051517 | 0.0010003 | 1.0088 | 0.091091 | 100.8761 | +/- | 18.2183
C9 Np |  |  |  | 0 |  | 0 | 0 | 0 |  |  |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! |  | #DIV/0! |  | 0 |  | #DIV/0!
C9 U | 167708 |  | 711 | 26.6646 | 3 | 1.7321 | 708 | 26.7208 | 1 | 37.82 |  | 0.011162 | 0.00042128 | 0.054604 | 1.1355e-05 | 0.20443 | 0.0077154 | 774 |  | 1 |  |  |  | 0.012187 |  | 0.059617 |  | 0.063739 |  | 0.93533
C9 Th | 168440.7 |  | 1896 | 43.5431 |  | 0 | 1896 | 43.5431 | 16 | 35.76 | 0.84883 | 0.031477 | 0.0010396 | 0.053592 | 8.5839e-05 | 0.58735 | 0.019422 | 2348 | [5 empty] | 0.038981 |  | 0.066368 |  | 0.064124 |  | 1.035
[9 empty] | disposal to drain | Pu 239 | -0.00021465
|  | disposal to drain |  | Pu 242 | 0.00024744 |  |  |  |  | Np 237 | 0
#DIV/0!
|  |  |  | U236 | 0.043441
|  |  |  | Th 229 | 0.022115
Pu fraction |  |  | Np fraction |  |  | Th fraction |  |  | UF1 fraction |  |  | UF2 fraction |  |  | UF3 fraction |  |  | Total U activity
Detector # | 9 |  | Detector # |  |  | Detector # | 16 |  | Detector # | 1 |  | Detector # | 4 |  | Detector # | 1
Time counted | 200000 |  | Time counted |  |  | Time counted | 168440.7 |  | Time counted | 167707.2 |  | Time counted | 167794.3 |  | Time counted | 200000
Counter efficiency | 37.54 |  | Counter efficiency |  |  | Counter efficiency | 35.76 |  | Counter efficiency | 37.82 |  | Counter efficiency | 37.22 |  | Counter efficiency | 37.82
Pu-242 tracer counts | 4062 |  |  |  |  | Th-229 tracer counts | 1911 |  | U-236 tracer counts | 731 |  | U-236 tracer counts | 50 |  | U-236 tracer counts | 963
Tracer Bkgd counts | 2 |  |  |  |  | Tracer Bkgd counts | 4 |  | Tracer Bkgd counts | 3 |  | Tracer Bkgd counts | 1 |  | Tracer Bkgd counts | 3
Corrected counts | 4060 |  |  |  |  | Corrected counts | 1907 |  | Corrected counts | 728 |  | Corrected counts | 49 |  | Corrected counts | 960
Pu-242 measured | 0.054076 |  |  |  |  | Th-229 measured | 0.03166 |  | U-236 measured | 0.011478 |  | U-236 measured | 0.00078459 |  | U-236 measured | 0.012692 |  | Total U-236 activity | 0.024169
Tracer activity added | 0.054323 |  |  |  |  | Tracer activity added | 0.053592 |  | Tracer activity added | 0.054604 |  | Tracer activity added | 0.054604 |  | Tracer activity added | 0.054604 |  | Tracer activity added | 0.054604 |  |  | 0.27022
Recovery | 0.99545 |  |  |  |  | Recovery | 0.59075 |  | Recovery | 0.2102 |  | Recovery | 0.014369 |  | Recovery | 0.23243 |  | Overall tracer recovery | 0.44263
0.2887
Pu-239 target counts | 3885 |  | Np-237 target counts |  |  | Th-232 target counts | 2348 |  | U-238 target counts | 832 |  | U-238 target counts | 46 |  | U-238 target counts | 1150
Target bkgd counts | 1 |  | Target bkgd counts |  |  | Target bkgd counts | 1 |  | Target bkgd counts | 1 |  | Target bkgd counts | 6 |  | Target bkgd counts | 1 |  |  |  |  | 1150 | 332
Corrected counts | 3884 |  | Corrected counts | 0 |  | Corrected counts | 2347 |  | Corrected counts | 831 |  | Corrected counts | 40 |  | Corrected counts | 1149
[21 empty] | 832 | 216
Activity of Pu-239 measured | 0.051731 |  | Activity of Np-237 measured | #DIV/0! |  | Activity of Th-232 measured | 0.038964 |  | Activity of U-238 measured | 0.013102 |  | Activity of U-238 measured | 0.00064048 |  | Activity of U-238 measured | 0.01519 |  | Total U-238 activity | 0.028292
Target Pu-239 tracer corrected | 0.051968 |  |  |  |  | Target Th-232 tracer corrected | 0.065957 |  | Target U-238 tracer corrected | 0.062329 |  | Target U-238 tracer corrected | 0.044575 |  | Target U-238 tracer corrected | 0.065354 |  | Target activity tracer corrected | 0.063918 |  | 46 | 0
Activity of target added | 0.051517 |  | Activity of target added |  |  | Activity of target added | 0.064124 |  | Activity of target added | 0.063739 |  | Activity of target added | 0.063739 |  | Activity of target added | 0.063739 |  | Activity of target added | 0.063739
Overall recovery | 1.0088 |  | Overall recovery |  |  | Overall recovery | 1.0286 |  | Overall recovery | 0.97789 |  | Overall recovery | 0.69933 |  | Overall recovery | 1.0253 |  | Overall target recovery | 1.0028
recovery without tracer correction | 1.0042 |  |  |  |  | recovery without tracer correction | 0.60765 | [10 empty] | recovery without tracer correction | 0.44387
|  |  | U-236 counts |  |  | U-236 counts | 49 |  | U-234 counts | 216 |  | U-234 counts | 12 |  | U-234 counts | 332
|  |  | U-236 bkgd counts |  |  | U-236 bkgd counts | 1 |  | U-234 bkgd counts | 2 |  | U-234 bkgd counts | 50 |  | U-234 bkgd counts | 2
|  |  | Corrected counts | 0 |  | Corrected counts | 48 |  | Corrected counts | 214 |  | Corrected counts | -38 |  | Corrected counts | 330 |  |  |  | tracer corrected
|  |  | U-236 activity |  |  | U-236 activity | 0.00079689 |  | U-234 activity | 0.003374 |  | U-234 activity | -0.00060846 |  | U-234 activity | 0.0043628 |  | Total U-234 activity | 0.0077367 | 0.017479 |  | 0.25752
0.28721
|  |  | U-238 counts |  |  | U-238 counts | 49 |  | Th-229 counts | 32 |  | Th-229 counts | np |  | Th-229 counts | np | [5 empty] | 0.27346
Po-210 counts | 73 |  | U-238 bkgd counts |  |  | U-238 bkgd counts | 1 |  | Th-229 bkgd counts | 1 |  | Th-229 bkgd counts |  |  | Th-229 bkgd counts
Po-210 bkgd counts | 2 |  | Corrected counts | 0 |  | Corrected counts | 48 |  | Corrected counts | 31 |  | Corrected counts | #VALUE! |  | Corrected counts | #VALUE!
Corrected counts | 71 |  | U-238 activity |  |  | U-238 activity | 0.00079689 |  | Th-229 activity | 0.00048875 |  | Th-229 activity |  |  | Th-229 activity |  |  | Total Th-229 activity | 0.00048875
Po-210 activity | 0.00094566
Am-241 counts | 305 |  | Pu-239 counts |  |  | Po-210 counts | 2625 |  | Th-232 counts | 58 |  | Th-232 counts | np |  | Th-232 counts | np
Am-241 bkgd counts | 7 |  | Pu-239 bkgd counts |  |  | Po-210 bkgd counts | 4 |  | Th-232 bkgd counts | 1 |  | Th-232 bkgd counts |  |  | Th-232 bkgd counts
Corrected counts | 298 |  | Corrected counts | 0 |  | Corrected counts | 2621 |  | Corrected counts | 57 |  | Corrected counts | #VALUE! |  | Corrected counts | #VALUE!
Am-241 activity | 0.0039691 |  | Pu-239 activity |  |  | Po-210 activity | 0.043513 |  | Th-232 activity | 0.00089867 |  | Th-232 activity |  |  | Th-232 activity |  |  | Total Th-232 activity | 0.00089867
[9 empty] | Po-210 counts | 983 |  | Po-210 counts | 137 |  | Po-210 counts | 582 |  | Po-210 counts | 1702
[9 empty] | Po-210 bkgd counts | 6 |  | Po-210 bkgd counts | 50 |  | Po-210 bkgd counts | 6 |  | Po-210 bkgd counts | 62
[9 empty] | Corrected counts | 977 |  | Corrected counts | 87 |  | Corrected counts | 576 |  | Corrected counts | 1640
[9 empty] | Po-210 activity | 0.015404 |  | Po-210 activity | 0.001393 |  | Po-210 activity | 0.007615 |  | Po-210 activity | 0.024412
Time counted σ | 0.1 |  | Time counted |  |  | Time counted σ | 0.1 |  | Time counted σ | 0.1 |  | Time counted σ | 0.1 |  | Time counted σ | 0.1
Counter efficiency σ | 2.2633 |  | Counter efficiency |  |  | Counter efficiency σ | 0.84883 |  | Counter efficiency σ | 2.753 |  | Counter efficiency σ | 1.3662 |  | Counter efficiency σ | 2.753
Pu-242 corrected counts σ | 63.7181 |  |  |  |  | Th-229 tracer counts σ | 43.6692 |  | U-236 corrected counts σ | 26.9815 |  | U-236 corrected counts σ | 7 |  | U-236 corrected counts σ | 30.9839
Pu-242 measured σ | 0.0033688 |  |  |  |  | Th-229 measured σ | 0.0010442 |  | U-236 measured σ | 0.00093755 |  | U-236 measured σ | 0.00011573 |  | U-236 measured σ | 0.0010106 |  | Total U-236 activity σ | 0.0013785
Tracer activity added σ | 9.8744e-05 |  |  |  |  | Tracer activity added σ | 8.5839e-05 |  | Tracer activity added σ | 1.1355e-05 |  | Tracer activity added σ | 1.1355e-05 |  | Tracer activity added σ | 1.1355e-05 |  | Tracer activity added σ | 1.1355e-05
Recovery σ | 0.062041 |  |  |  |  | Recovery σ | 0.019507 |  | Recovery σ | 0.01717 |  | Recovery σ | 0.0021194 |  | Recovery σ | 0.018508 |  | Overall tracer recovery σ | 0.025246
Pu-239 corrected counts σ | 62.3217 |  | Np-237 target counts |  |  | Th-232 corrected counts σ | 48.4458 |  | U-238 corrected counts σ | 28.8271 |  | U-238 corrected counts σ | 6.3246 |  | U-238 corrected counts σ | 33.8969
Target bkgd counts
Activity of Pu-239 measured σ | 0.0032274 |  | Activity of Np-237 measured |  |  | Activity of Th-232 measured σ | 0.0012257 |  | Activity of U-238 measured σ | 0.0010565 |  | Activity of U-238 measured σ | 0.00010396 |  | Activity of U-238 measured σ | 0.0011931 |  | Total U-238 activity σ | 0.0015936
Target Pu-239 tracer corrected σ | 0.0045829 |  |  |  |  | Target Th-232 tracer corrected σ | 0.003008 |  | Target U-238 tracer corrected σ | 0.0071541 |  | Target U-238 tracer corrected σ | 0.0097763 |  | Target U-238 tracer corrected σ | 0.0073095 |  | Target activity tracer corrected σ | 0.0051237
Activity of target added σ | 0.0010003 |  | Activity of target added |  |  | Activity of target added σ | 0.0027996 |  | Activity of target added σ | 0.0025814 |  | Activity of target added σ | 0.0025814 |  | Activity of target added σ | 0.0025814 |  | Activity of target added σ | 0.0025814
Overall recovery σ | 0.091089 |  | Overall recovery |  |  | Overall recovery σ | 0.064941 |  | Overall recovery σ | 0.11902 |  | Overall recovery σ | 0.15597 |  | Overall recovery σ | 0.12197 |  | Overall target recovery σ | 0.090062
|  |  | U-236 counts |  |  | U-236 corrcted counts σ | 6.9282 |  | U-234 corrected counts σ | 14.6287 |  | U-234 corrected counts σ | #NUM! |  | U-234 corrected counts σ | 18.1659
U-236 bkgd counts
|  |  | U-236 activity |  |  | U-236 activity σ | 0.00011657 |  | U-234 activity σ | 0.00033691 |  | U-234 activity σ | #NUM! |  | U-234 activity σ | 0.00039816 |  | Total U-234 activity | 0.00052158
|  |  | U-238 counts |  |  | U-238 corrected counts σ | 6.9282 |  | Th-229 corrected counts σ | 5.5678 |  | Th-229 corrected counts σ |  |  | Th-229 corrected counts σ
Po-210 counts σ | 8.544 |  | U-238 bkgd counts
Po-210 bkgd counts σ | 8.6603 |  | U-238 activity |  |  | U-238 activity σ | 0.00011657 |  | Th-229 activity σ | 9.4718e-05 |  | Th-229 activity σ |  |  | Th-229 activity σ
Po-210 activity σ | 0.00012867
Am-241 counts σ | 17.4642 |  | Pu-239 counts |  |  | Po-210 counts σ | 51.2348 |  | Th-232 corrected counts σ | 7.5498 |  | Th-232 corrected counts σ |  |  | Th-232 corrected counts σ |  |  | Total Th-229 activity | 0.00013582
Am-241 bkgd counts σ | 17.6635 |  | Pu-239 bkgd counts |  |  | Po-210 bkgd counts σ | 51.2738
Am-241 activity σ | 0.00033558 |  | Pu-239 activity |  |  | Po-210 activity σ | 0.0013384 |  | Th-232 activity σ | 0.00013582 |  | Th-232 activity σ |  |  | Th-232 activity σ
[9 empty] | Po-210 counts | 31.3528 |  | Po-210 counts | 11.7047 |  | Po-210 counts | 24.1247
[9 empty] | Po-210 bkgd corr counts | 31.4484 |  | Po-210 bkgd counts | 13.6748 |  | Po-210 bkgd counts | 24.2487 |  | Total Po-210 activity | 0.0014013
[9 empty] | Po-210 activity | 0.001226 |  | Po-210 activity | 0.00022485 |  | Po-210 activity | 0.00064033

## U234 calcs
U in digest (ppb) | Mass of sample used | U from digest (ug) | Moles U from digest | Atoms u from digest | U from digest (bq) | U234 from digest (bq) |  | U in spike | Mass spike used | U from spike (bq) | 234U from spike (bq)
19.8791 | 47.563 | 0.94551 | 3.9727e-09 | 2392373586677941 | 0.011761 | 0.011815 |  | 0.61007 | 0.0852 | 0.051978 | 0.006743
σ
1.9838 | 0.00014142 | 0.094356 | 3.9645e-10 | 2.3875e+14 | 0.0011737 | 0.001179 |  | 0.024697 | 0.0001 | 0.0021051 | 0.00027309
σ
[7 empty] | u234 total | 0.018557 |  | 0.0012102
[7 empty] | u238 total | 0.063739 |  | 0.0024102
2σ
[7 empty] | sample 234/238 | 0.29115 |  | 0.021948 | 0.043896
t1/2 u238 years = | 4468000000 | [5 empty] | sample 238/234 | 3.4347 |  | 0.25892
T1/2 U 238 in secs = | 1.41e+17
a=la*n
lambda u 238 | 4.916e-18
avogadros = | 6.022e+23
sample 234/238 | 1.0046 | activtiy
spike 234/238 | 0.12973 | activity