## C9D gamma data
Radiotracers & Target radionuclides | [5 empty] | Radiotracers & Target radionuclides post sep
Strontium | Database no. | Activity measured in gamma | Height corrected |  |  | Activity (bq) | Height corrected | Uncertainty (bq) | Recovery |  | Uncertainty
Sr-85 Tracer | RAM 1591 | 10 | 10.2 |  |  | 8.43 | 8.5986 | 0.56 | 0.843 | +/- | 0.054902
[9 empty] | 84.3 | +/- | 5.4902
Pb
Pb-210 contaminant | RAM 324 | 3.61 | 3.6822
|  |  |  | Height of sample measured (mm) = | 44
Mixed Gamma source | RAM 1297
Am-241 |  | 4.89 | 4.9878 | Correction factor = | 1.02
Cd-109 |  | 2.02 | 2.0604
Co-57 |  | 0.044 | 0.04488
Ce-139 |  | 0 | 0
Sn-113 |  | 0 | 0
Cs-137 |  | 4.67 | 4.7634
Mn-54 |  | 0.081 | 0.08262
Co-60 |  | 2.92 | 2.9784

## Sr-90 cherenkov
Date | Counts per min | Activity (bq) |  | Counter efficiency corrected |  | Quench corrected |  | s
2021-05-05 |  | 0 |  |  |  |  | -2 | -172800 | 0
2021-05-07 | 151.07 | 2.5178 |  | 3.4538 |  | 3.8376 | 0 | 0 | 172800
2021-05-10 | 242 | 4.0333 |  | 5.5327 |  | 6.1474 | 3 | 259200 | 432000
2021-05-12 | 272.33 | 4.5388 |  | 6.2261 |  | 6.9179 | 5 | 432000 | 604800
2021-05-15 | 289.47 | 4.8245 |  | 6.618 |  | 7.3533 | 8 | 691200 | 864000
2021-05-17 | 305.33 | 5.0888 |  | 6.9806 |  | 7.7562 | 10 | 864000 | 1036800
2021-05-19 | 313.73 | 5.2288 |  | 7.1726 |  | 7.9696 | 12 | 1036800 | 1209600
2021-05-20 | 311.43 | 5.1905 |  | 7.12 |  | 7.9111 | 13 | 1123200 | 1296000
2021-05-21 | 312.31 | 5.2052 |  | 7.1401 |  | 7.9335 | 14 | 1209600 | 1382400
2021-05-22 | 312.08 | 5.2013 |  | 7.1349 |  | 7.9277 | 15 | 1296000 | 1468800 | [13 empty] | Sr 85 recovery | σ
2021-05-22 | 310.39 | 5.1732 |  | 7.0963 |  | 7.8847 | 15 | 1296000 | 1468800 | [13 empty] | 0.843 | 0.054902
2021-05-24 | 318.65 | 5.3108 |  | 7.2851 |  | 8.0945 | 17 | 1468800 | 1641600
[23 empty] | QT1 factor | σ
[23 empty] | 0.88693 | 0.012925
Label | Date | CPM1 | Counts1 | CPM1 % |  |  |  | Total counts | Live time (mins) | CPM | Bq | σcounts1 | σtotal counts | σCPM | σBq | Quantalus | Count efficiency | σ efficiency | Efficiency corr activity (bq) | σ efficiency corr activity | Blk activity | σ blk activity | Blk corrected | σ blk corrected | QT1 corrected | σ QT1 corrected | Sr-85 corrected | σ Sr 85 corrected
C9 SrF | 2021-05-24 | 318.65 | 9445 | 1.03 |  |  |  | 9445 | 29.6407 | 318.65 | 5.3108 | 97.2835 | 97.2835 | 3.2821 | 0.054702 | 3 | 72.87 | 2.38 | 7.2881 | 0.24959 | 0.0231 | 0.0042851 | 7.265 | 0.24963 | 8.2735 | 0.30879 | 9.8144 | 0.7367
Blk | 2021-05-24 | 1.01 | 30 | 18.26 |  |  |  | 30 | 29.703 | 1.01 | 0.016833 | 5.478 | 5.478 | 0.18443 | 0.0030738 | 3 | 72.87 | 2.38 | 0.0231 | 0.0042851
| Fully corrected activity = |  | 9.8144 |  | +/- | 0.7367

## C9HP
Vial label | Empty mass | Mass with sample | Mass of sample | Mass with NaNO2 | Total mass
C6HP | 13.3992 | 23.7974 | 10.3982 | 24.3796 | 10.9804

## Alpha data
Name of fraction | Time counted | σ time counted | Tracer measured counts | σ counts | Tracer Bkgd counts | σ bkgd counts | corrected counts | σ corrected counts | Detector number | Counting efficiency (%) | σ counting eff | Activity of tracer measured | σ activity measured | Activity added | σ activity added | Recovery | σ Recovery | Target counts | σ tcounts | Target bkgd counts | σ t bkgd counts | target corrected counts | σ t corrected counts | Activity of target measured | σ activity of target | Target activity corrected by tracer recovery | σ tracer corrected activity | Activity of target added | σ activity of target added | overall recovery | σ overall recovery | overall recovery (%) |  | 2σ
C9 Pu | 200000 | 0.1 | 4062 | 63.7338 | 2 | 1.4142 | 4060 | 63.7495 | 9 | 37.54 | 2.2633 | 0.054076 | 0.003369 | #REF! | #REF! | #REF! | #REF! | 3885 | 62.3298 | 1 | 1 | 3884 | 62.3378 | 0.051731 | 0.0032275 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | +/- | #REF!
C9 Np |  |  |  | 0 |  | 0 | 0 | 0 |  |  |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! |  | #DIV/0! |  | #REF! |  | #DIV/0!
C9 U | 167708 |  | 711 | 26.6646 | 3 | 1.7321 | 708 | 26.7208 | 1 | 37.82 |  | 0.011162 | 0.00042128 | #REF! | #REF! | #REF! | #REF! | 774 |  | 1 |  |  |  | 0.012187 |  | #REF! |  | #REF! |  | #REF!
C9 Th | 168440.7 |  | 1896 | 43.5431 |  | 0 | 1896 | 43.5431 | 16 | 35.76 | 0.84883 | 0.031477 | 0.0010396 | #REF! | #REF! | #REF! | #REF! | 2348 | [5 empty] | 0.038981 |  | #REF! |  | #REF! |  | #REF!
[9 empty] | disposal to drain | Pu 239 | #REF!
|  | disposal to drain |  | Pu 242 | #REF! |  |  |  |  | Np 237 | 0
#DIV/0!
|  |  |  | U236 | #REF!
|  |  |  | Th 229 | #REF!
Pu fraction |  |  | Np fraction |  |  | Th fraction |  |  | UF1 fraction
Detector # | 9 |  | Detector # |  |  | Detector # | 16 |  | Detector # | 1
Time counted | 200000 |  | Time counted |  |  | Time counted | 200000 |  | Time counted | 200000
Counter efficiency | 37.54 |  | Counter efficiency |  |  | Counter efficiency | 35.76 |  | Counter efficiency | 37.82
Pu-242 tracer counts | [5 empty] | Th-229 tracer counts | 11 |  | U-236 tracer counts
Tracer Bkgd counts | [5 empty] | Tracer Bkgd counts | 0 |  | Tracer Bkgd counts
Corrected counts | [5 empty] | Corrected counts | 11 |  | Corrected counts
Pu-242 measured | [5 empty] | Th-229 measured | 0.0001538 |  | U-236 measured
Tracer activity added | [5 empty] | Tracer activity added |  |  | Tracer activity added
Recovery | #DIV/0! |  |  |  |  | Recovery |  |  | Recovery
Pu-239 target counts | 25 |  | Np-237 target counts |  |  | Th-232 target counts | 790 |  | U-238 target counts | 220
Target bkgd counts | 0 |  | Target bkgd counts |  |  | Target bkgd counts | 1 |  | Target bkgd counts | 1
Corrected counts | 25 |  | Corrected counts | 0 |  | Corrected counts | 789 |  | Corrected counts | 219
Activity of Pu-239 measured | 0.00033298 |  | Activity of Np-237 measured | #DIV/0! |  | Activity of Th-232 measured | 0.011032 |  | Activity of U-238 measured | 0.0028953
Target Pu-239 tracer corrected | [5 empty] | Target Th-232 tracer corrected |  |  | Target U-238 tracer corrected
Activity of target added |  |  | Activity of target added | [5 empty] | Activity of target added
Overall recovery |  |  | Overall recovery | [5 empty] | Overall recovery
[6 empty] | ratio | 71.7273
|  |  | U-236 counts | [5 empty] | U-234 counts | 220
|  |  | U-236 bkgd counts | [5 empty] | U-234 bkgd counts | 0
|  |  | Corrected counts | 0 |  |  |  |  | Corrected counts | 220
|  |  | U-236 activity | [5 empty] | U-234 activity | 0.0029085
|  |  | U-238 counts | [5 empty] | Th-229 counts
|  |  | U-238 bkgd counts | [5 empty] | Th-229 bkgd counts
|  |  | Corrected counts | 0 |  |  |  |  | Corrected counts
|  |  | U-238 activity | [5 empty] | Th-229 activity
|  |  | Pu-239 counts | [5 empty] | Th-232 counts
|  |  | Pu-239 bkgd counts | [5 empty] | Th-232 bkgd counts
|  |  | Corrected counts | 0 |  |  |  |  | Corrected counts
|  |  | Pu-239 activity | [5 empty] | Th-232 activity
Pu-239 counts
Pu-239 bkgd counts
Corrected counts
Pu-239 activity
Time counted σ | 0.1 |  | Time counted |  |  | Time counted σ | 0.1 |  | Time counted σ | 0.1 |  | Time counted σ | 0.1 |  | Time counted σ | 0.1
Counter efficiency σ | 2.2633 |  | Counter efficiency |  |  | Counter efficiency σ | 0.84883 |  | Counter efficiency σ | 2.753 |  | Counter efficiency σ | 1.3662 |  | Counter efficiency σ | 2.753
Pu-242 corrected counts σ | 0 |  |  |  |  | Th-229 tracer counts σ | 3.3166 |  | U-236 corrected counts σ | 0 |  | U-236 corrected counts σ | 0 |  | U-236 corrected counts σ | 0
Pu-242 measured σ | #DIV/0! |  |  |  |  | Th-229 measured σ | 4.6517e-05 |  | U-236 measured σ | #DIV/0! |  | U-236 measured σ | #DIV/0! |  | U-236 measured σ | #DIV/0! |  | Total U-236 activity σ | #DIV/0!
Tracer activity added σ | #REF! |  |  |  |  | Tracer activity added σ | #REF! |  | Tracer activity added σ | #REF! |  | Tracer activity added σ | #REF! |  | Tracer activity added σ | #REF! |  | Tracer activity added σ | #REF!
Recovery σ | #DIV/0! |  |  |  |  | Recovery σ | #REF! |  | Recovery σ | #REF! |  | Recovery σ | #REF! |  | Recovery σ | #REF! |  | Overall tracer recovery σ | #REF!
Pu-239 corrected counts σ | 5 |  | Np-237 target counts |  |  | Th-232 corrected counts σ | 28.0891 |  | U-238 corrected counts σ | 14.7986 |  | U-238 corrected counts σ | 0 |  | U-238 corrected counts σ | 0
Target bkgd counts
Activity of Pu-239 measured σ | 6.9556e-05 |  | Activity of Np-237 measured |  |  | Activity of Th-232 measured σ | 0.00047204 |  | Activity of U-238 measured σ | 0.00028757 |  | Activity of U-238 measured σ | #DIV/0! |  | Activity of U-238 measured σ | #DIV/0! |  | Total U-238 activity σ | #DIV/0!
Target Pu-239 tracer corrected σ | #DIV/0! |  |  |  |  | Target Th-232 tracer corrected σ | #REF! |  | Target U-238 tracer corrected σ | #REF! |  | Target U-238 tracer corrected σ | #DIV/0! |  | Target U-238 tracer corrected σ | #DIV/0! |  | Target activity tracer corrected σ | #DIV/0!
Activity of target added σ | #REF! |  | Activity of target added |  |  | Activity of target added σ | #REF! |  | Activity of target added σ | #REF! |  | Activity of target added σ | #REF! |  | Activity of target added σ | #REF! |  | Activity of target added σ | #REF!
Overall recovery σ | #DIV/0! |  | Overall recovery |  |  | Overall recovery σ | #REF! |  | Overall recovery σ | #REF! |  | Overall recovery σ | #REF! |  | Overall recovery σ | #REF! |  | Overall target recovery σ | #REF!
|  |  | U-236 counts |  |  | U-236 corrcted counts σ | 0 |  | U-234 corrected counts σ | 14.8324 |  | U-234 corrected counts σ | 0 |  | U-234 corrected counts σ | 0
U-236 bkgd counts
|  |  | U-236 activity |  |  | U-236 activity σ | #DIV/0! |  | U-234 activity σ | 0.00028857 |  | U-234 activity σ | #DIV/0! |  | U-234 activity σ | #DIV/0! |  | Total U-234 activity | #DIV/0!
|  |  | U-238 counts |  |  | U-238 corrected counts σ | 0 |  | Th-229 corrected counts σ | 0 |  | Th-229 corrected counts σ |  |  | Th-229 corrected counts σ
U-238 bkgd counts
|  |  | U-238 activity |  |  | U-238 activity σ | #DIV/0! |  | Th-229 activity σ | #DIV/0! |  | Th-229 activity σ |  |  | Th-229 activity σ
|  |  | Pu-239 counts |  |  | Pu-239 counts σ | 0 |  | Th-232 corrected counts σ | 0 |  | Th-232 corrected counts σ |  |  | Th-232 corrected counts σ |  |  | Total Th-229 activity | #DIV/0!
|  |  | Pu-239 bkgd counts |  |  | Pu-239 bkgd counts σ
|  |  | Pu-239 activity |  |  | Pu-239 activity σ |  |  | Th-232 activity σ | #DIV/0! |  | Th-232 activity σ |  |  | Th-232 activity σ
[9 empty] | Pu-239 counts |  |  | Pu-239 counts | 0 |  | Pu-239 counts | np
[9 empty] | Pu-239 bkgd counts |  |  | Pu-239 bkgd counts |  |  | Pu-239 bkgd counts |  |  | Total Th-232 activity
[9 empty] | Pu-239 activity |  |  | Pu-239 activity |  |  | Pu-239 activity