## Validation
Spreadsheet summary
Document Reference Number | GAU/SSH/044
Spreadsheet title | Alpha spectrometry - efficiency check
Issue number | Issue 1
Issue date | 2014-09-11
Constructed by | P. Gaca
Updated by
Date validated | 2014-09-10
Validated by | P. Warwick

## Calculations
GAU/SSH/044
Alpha spectrometry - efficiency check
Issue 1
U-236 | (SOC/RAM/186) | A= | 7.429 | Bq/g | Ref. date: | 2013-06-28
Pu-242 | (SOC/RAM/176) | A= | 100 | Bq/g | Ref. date: | 2013-06-28
Am-241 | (SOC/RAM/410) | A= | 434 | Bq/g | Ref. date: | 2013-06-28
DATE OF CALIBRATION: |  | 2021-04-03
Code | SOC/RAM number | U-236 (SOC/RAM/186) [g] | Pu-242 (SOC/RAM/176) [g] | Am-241 (SOC/RAM/410) [g] | U-236 [Bq] | Pu-242 [Bq] | Am-241 [Bq]
STD 1 | SOC/RAM/1031 | 0.5335 | 0.0432 | 0.01 | 3.9634 | 4.3199 | 4.2863
STD 2 | SOC/RAM/1032 | 0.5344 | 0.0427 | 0.01 | 3.9701 | 4.2699 | 4.2863
STD 3 | SOC/RAM/1033 | 0.534 | 0.0427 | 0.0104 | 3.9671 | 4.2699 | 4.4578
STD 4 | SOC/RAM/1034 | 0.5347 | 0.0427 | 0.0102 | 3.9723 | 4.2699 | 4.3721
STD 5 | SOC/RAM/1035 | 0.5347 | 0.0428 | 0.0102 | 3.9723 | 4.2799 | 4.3721
STD 6 | SOC/RAM/1036 | 0.5345 | 0.0426 | 0.0103 | 3.9708 | 4.2599 | 4.4149
STD 7 | SOC/RAM/1037 | 0.5357 | 0.0427 | 0.0103 | 3.9797 | 4.2699 | 4.4149
STD 8 | SOC/RAM/1038 | 0.5356 | 0.0427 | 0.0105 | 3.979 | 4.2699 | 4.5007
No | Det No | STD used | Instrument | U-236 counts | Pu-242 counts | Am-241 counts | counting time (live) [s] | U-236 counting efficiency [%] | Pu-242 countin efficiency [%] | Am-241 counting efficiency [%] | Average efficiency [%] | U-236 peak position [channel] | Pu-242 peak position [channel] | Am-241peak position [channel] | U-236 FWHM | Pu-242 FWHM | Am-241 FWHM
1 | 1 | STD 1 | Octete 1 |  |  |  | 1000 | 0 | 0 | 0 | 0 | 159 | 201 | 261
2 | 2 | STD 2 | Octete 1 |  |  |  | 1000 | 0 | 0 | 0 | 0 | 156 | 197 | 258
3 | 3 | STD 3 | Octete 1 |  |  |  | 1000 | 0 | 0 | 0 | 0 | 158 | 199 | 259
4 | 4 | STD 4 | Octete 1 |  |  |  | 1000 | 0 | 0 | 0 | 0 | 156 | 198 | 258
5 | 5 | STD 5 | Octete 1 |  |  |  | 1000 | 0 | 0 | 0 | 0 | 157 | 199 | 259
6 | 6 | STD 6 | Octete 1 |  |  |  | 1000 | 0 | 0 | 0 | 0 | 154 | 196 | 256
7 | 7 | STD 7 | Octete 1 |  |  |  | 1000 | 0 | 0 | 0 | 0 | 160 | 202 | 263
8 | 8 | STD 8 | Octete 1 |  |  |  | 1000 | 0 | 0 | 0 | 0 | 158 | 199 | 260
9 | 9 | STD 1 | Octete 2 | 1434 | 1543 | 1746 | 1000 | 36.1813 | 35.7181 | 40.734 | 37.5445 | 153 | 195 | 255
10 | 10 | STD 2 | Octete 2 | 1610 | 1607 | 1823 | 1000 | 40.5536 | 37.6352 | 42.5305 | 40.2397 | 158 | 200 | 261
11 | 11 | STD 3 | Octete 2 | 1442 | 1540 | 1753 | 1000 | 36.3491 | 36.0661 | 39.3244 | 37.2465 | 156 | 198 | 259
12 | 12 | STD 4 | Octete 2 | 1379 | 1528 | 1660 | 1000 | 34.7155 | 35.7851 | 37.9683 | 36.1563 | 156 | 197 | 258
13 | 13 | STD 5 | Octete 2 | 1475 | 1560 | 1649 | 1000 | 37.1323 | 36.4491 | 37.7167 | 37.0994 | 159 | 201 | 261
14 | 14 | STD 6 | Octete 2 | 1394 | 1565 | 1833 | 1000 | 35.1063 | 36.7376 | 41.5182 | 37.7874 | 161 | 203 | 265
15 | 15 | STD 7 | Octete 2 | 1437 | 1621 | 1743 | 1000 | 36.1081 | 37.9631 | 39.4797 | 37.8503 | 158 | 200 | 261
16 | 16 | STD 8 | Octete 2 | 1418 | 1574 | 1566 | 1000 | 35.6374 | 36.8624 | 34.7949 | 35.7649 | 159 | 201 | 262
17 | 17 | STD 1 | Alpha Duo 1 | 1312 | 1449 | 1604 | 1000 | 33.1031 | 33.5422 | 37.4212 | 34.6888 | 317 | 373 | 456
18 | 18 | STD 2 | Alpha Duo 1 | 1337 | 1553 | 1668 | 1000 | 33.6771 | 36.3705 | 38.9143 | 36.3207 | 315 | 371 | 453
19 | 19 | STD 3 | Alpha Duo 2 | 1315 | 1451 | 1626 | 1000 | 33.1478 | 33.9818 | 36.4754 | 34.535 | 308 | 363 | 444
20 | 20 | STD 4 | Alpha Duo 2 | 1294 | 1422 | 1525 | 1000 | 32.5757 | 33.3026 | 34.8805 | 33.5863 | 310 | 367 | 448
21 | A 1-1A | STD 1 | Alpha Analyst |  |  |  | 1000 | 0 | 0 | 0 | 0 | 286 | 346 | 434
22 | A 1-1B | STD 1 | Alpha Analyst |  |  |  | 1000 | 0 | 0 | 0 | 0 | 283 | 343 | 431
23 | A 1-2A | STD 2 | Alpha Analyst |  |  |  | 1000 | 0 | 0 | 0 | 0 | 286 | 346 | 434
24 | A 1-2B | STD 2 | Alpha Analyst |  |  |  | 1000 | 0 | 0 | 0 | 0 | 276 | 335 | 422
25 | A 1-3A | STD 3 | Alpha Analyst |  |  |  | 1000 | 0 | 0 | 0 | 0 | 290 | 350 | 439
26 | A 1-3B | STD 3 | Alpha Analyst |  |  |  | 1000 | 0 | 0 | 0 | 0 | 294 | 355 | 444
27 | A 1-4A | STD 4 | Alpha Analyst |  |  |  | 1000 | 0 | 0 | 0 | 0 | 295 | 357 | 446
28 | A 1-4B | STD 4 | Alpha Analyst |  |  |  | 1000 | 0 | 0 | 0 | 0 | 293 | 354 | 443
29 | A 1-5A | STD 5 | Alpha Analyst |  |  |  | 1000 | 0 | 0 | 0 | 0 | 298 | 360 | 449
30 | A 1-5B | STD 5 | Alpha Analyst |  |  |  | 1000 | 0 | 0 | 0 | 0 | 287 | 347 | 435
31 | A 1-6A | STD 6 | Alpha Analyst |  |  |  | 1000 | 0 | 0 | 0 | 0 | 291 | 351 | 440
32 | A 1-6B | STD 6 | Alpha Analyst |  |  |  | 1000 | 0 | 0 | 0 | 0 | 287 | 347 | 436
Date: |  | 2021-04-12
Data enetered by: |  | mj

## Half lives and decay const.
GAU/SSH/044
Alpha spectrometry - efficiency check
Issue 1
| Nuclide | T 1/2 (years) | T 1/2 (s) | decay constatnt (s-1) | source
| U-236 | 23430000 | 739394568000000 | 9.3745e-16 | http://www.nucleide.org/DDEP_WG/Nuclides/U-236_tables.pdf
| Pu-242 | 373000 | 11770984800000 | 5.8886e-14 | http://www.nucleide.org/DDEP_WG/Nuclides/Pu-242_tables.pdf
| Am-241 | 432.6 | 13651817760 | 5.0773e-11 | http://www.nucleide.org/DDEP_WG/Nuclides/Am-241_tables.pdf
| Data enetered: |  |  |  |  | Date:
| Data checked: |  |  |  |  | Date:
Pswd: decay

## Summary table
GAU/SSH/044
Alpha spectrometry - efficiency check
Issue 1
Det No | Average efficiency [%]
OCTETE 1
1 | 0
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
OCTETE 2
9 | 37.5445
10 | 40.2397
11 | 37.2465
12 | 36.1563
13 | 37.0994
14 | 37.7874
15 | 37.8503
16 | 35.7649
ALPHA DUO 1
17 | 34.6888
18 | 36.3207
ALPHA DUO 2
19 | 34.535
20 | 33.5863
ALPHA ANALYST
A 1-1A | 0
A 1-1B | 0
A 1-2A | 0
A 1-2B | 0
A 1-3A | 0
A 1-3B | 0
A 1-4A | 0
A 1-4B | 0
A 1-5A | 0
A 1-5B | 0
A 1-6A | 0
A 1-6B | 0
Date: | 2021-04-12

## Sheet1
mean
1 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0
9 | 36.1813 | 35.7181 | 40.734 | 37.5445 | 2.7719 | 5.0159
10 | 40.5536 | 37.6352 | 42.5305 | 40.2397 | 2.4627 | 1.9769
11 | 36.3491 | 36.0661 | 39.3244 | 37.2465 | 1.805 | 2.9753
12 | 34.7155 | 35.7851 | 37.9683 | 36.1563 | 1.6579 | -1.0695
13 | 37.1323 | 36.4491 | 37.7167 | 37.0994 | 0.63443 | 0.58443
14 | 35.1063 | 36.7376 | 41.5182 | 37.7874 | 3.3324 | 6.4119
15 | 36.1081 | 37.9631 | 39.4797 | 37.8503 | 1.6886 | 1.5166
16 | 35.6374 | 36.8624 | 34.7949 | 35.7649 | 1.0396 | -0.84243
17 | 33.1031 | 33.5422 | 37.4212 | 34.6888 | 2.3765 | 4.3181
18 | 33.6771 | 36.3705 | 38.9143 | 36.3207 | 2.619 | 5.2372
19 | 33.1478 | 33.9818 | 36.4754 | 34.535 | 1.7314 | 3.3277
20 | 32.5757 | 33.3026 | 34.8805 | 33.5863 | 1.1783 | 2.3048
A 1-1A | 0 | 0 | 0 | 0 | 0 | 0
A 1-1B | 0 | 0 | 0 | 0 | 0 | 0
A 1-2A | 0 | 0 | 0 | 0 | 0 | 0
A 1-2B | 0 | 0 | 0 | 0 | 0 | 0
A 1-3A | 0 | 0 | 0 | 0 | 0 | 0
A 1-3B | 0 | 0 | 0 | 0 | 0 | 0
A 1-4A | 0 | 0 | 0 | 0 | 0 | 0
A 1-4B | 0 | 0 | 0 | 0 | 0 | 0
A 1-5A | 0 | 0 | 0 | 0 | 0 | 0
A 1-5B | 0 | 0 | 0 | 0 | 0 | 0
A 1-6A | 0 | 0 | 0 | 0 | 0 | 0
A 1-6B | 0 | 0 | 0 | 0 | 0 | 0

## Sheet2
| U-236 | Pu-242 | Am-241 | U-236 | Pu-242 | Am-241 |  | U-236 | Pu-242 | Am-241
| 155 | 197 | 259 | 313 | 371 | 454 |  | 287 | 347 | 435
| 157 | 199 | 261 | 312 | 369 | 451 |  | 285 | 345 | 433
| 152 | 194 | 254 | 301 | 357 | 438 |  | 288 | 348 | 436
| 157 | 199 | 261 | 303 | 360 | 442 |  | 282 | 341 | 429
| 152 | 194 | 255 | 313 | 370 | 453 |  | 295 | 357 | 446
| 156 | 198 | 260 | 312 | 368 | 450 |  | 293 | 354 | 443
| 158 | 201 | 262 | 300 | 356 | 437 |  | 295 | 357 | 446
| 156 | 199 | 260 | 302 | 358 | 440 |  | 293 | 355 | 444
| 156 | 198 | 260 | 313.5 | 370.01 | 453.38 |  | 298 | 359 | 449
| 156 | 198 | 261 | 311.71 | 368.48 | 450.52 |  | 297 | 358 | 447
| 156 | 198 | 259 | 301.1 | 356.92 | 437.8 |  | 289 | 350 | 438
| 157 | 199 | 261 | 303.83 | 359.3 | 441.06 |  | 288 | 348 | 436
| 157 | 200 | 262 |  |  |  |  | 287 | 347 | 435
| 157 | 199 | 261 |  |  |  |  | 286 | 347 | 434
| 154 | 196 | 257 |  |  |  |  | 289 | 349 | 438
| 155 | 197 | 259 |  |  |  |  | 283 | 343 | 431
[8 empty] | 296 | 357 | 447
Mean | 155.6875 | 197.875 | 259.5 | 307.1783 | 363.6425 | 445.6467 |  | 290 | 350 | 439
std | 1.7405 | 1.9279 | 2.3381 | 5.6962 | 6.1635 | 6.8493 |  | 294 | 355 | 444
STD % | 1.1179 | 0.97428 | 0.901 | 1.8544 | 1.6949 | 1.5369 |  | 293 | 354 | 443
[8 empty] | 297 | 359 | 448
5% | 7.7844 | 9.8938 | 12.975 | 15.3589 | 18.1821 | 22.2823 |  | 294 | 355 | 444
10% | 15.5687 | 19.7875 | 25.95 | 30.7178 | 36.3642 | 44.5647 |  | 291 | 351 | 440
[8 empty] | 288 | 349 | 437
[8 empty] | 285.84 | 346.01 | 434.03
[8 empty] | 284.1 | 344.1 | 431.7
[8 empty] | 289.19 | 349.66 | 437.9
[8 empty] | 290.37 | 351.09 | 440.19
[8 empty] | 293.9 | 354.85 | 444.17
[8 empty] | 292.88 | 353.7 | 442.68
[8 empty] | 292.96 | 353.9 | 443.47
[8 empty] | 292.94 | 354.3 | 443.6
[8 empty] | 297.43 | 358.53 | 448.45
[8 empty] | 291.7 | 352.35 | 440.78
[8 empty] | 292.57 | 353.32 | 442.58
[8 empty] | 287.59 | 347.81 | 436.1
[7 empty] | Mean | 290.8186 | 351.5172 | 440.2125
[7 empty] | stdev | 4.2568 | 4.8023 | 5.3952
[7 empty] | STDev % | 1.4637 | 1.3662 | 1.2256
[7 empty] | 5% | 14.5409 | 17.5759 | 22.0106
[7 empty] | 10% | 29.0819 | 35.1517 | 44.0213