## Uranium
Mass Ram 1593 added | activity conc of std (bq/g) | Activity of U236 added |  | Time counted for (sec) | Counts of U236 | Bkgd counts | Bkgd corrected counts | Activity measured | Counter efficiency (%) |  | Corrected activity (bq) | Recovery
0.5518 | 0.09937 | 0.054832 |  | 200000 | 4037 | 2 | 4035 | 0.020175 | 35.76 |  | 0.056418 | 1.0289
σ | σ | σ |  | σ |  |  | σ | σ | σ |  | σ | σ | 2σ
0.0001 | 1e-05 | 1.1366e-05 |  | 0.01 |  |  | 63.5216 | 0.00031761 | 0.84883 |  | 0.0016069 | 0.029307 | 0.058614
Mass U ICPMS dilute added | Activity conc (bq/g) |  |  | Time counted for | Counts of U 238 | Bkgd Counts | Bkgd corrected counts | Activity measured | Counter efficiency (%) |  | Efficiency Corrected activity (bq) | Recovery corrected activity
0.0848 | 0.61007 |  |  | 200000 | 3808 | 1 | 3807 | 0.019035 | 35.76 |  | 0.05323 | 0.051734
σ | σ |  |  | σ |  |  | σ | σ | σ |  | σ | σ
0.0001 | 0.024697 |  |  | 0.01 |  |  | 61.7009 | 0.0003085 | 0.84883 |  | 0.0015299 | 0.0020934
|  | t1/2 u238 years= | 4468000000
|  | T1/2 U 238 in secs = | 1.41e+17
|  | lambda u 238 | 4.916e-18 | σ
|  | Number of atoms in dilute = | 1.241e+17 | 5023870525008086
|  | number of moles of u238 per gram dilute = | 2.0608e-07 | 8.3425e-09 | avogadro = | 6.022e+23
|  | mass of u 238 per gram dilute (g) = | 4.9047e-05 | 1.9855e-06
|  | conc of U 238 (ppm)= | 49.0465 | 1.9855 |  |  |  | mass u in sample (ug) | mass u in sample (g) | number of moles | number of atoms | activity associated | Bq U-238 per gram of matrix
|  |  |  | . |  |  | 47.5
|  | Mass of U238 in sample (ug) = | 4.1591 | 0.16844 |  |  | 0.02 | 0.95 | 9.5e-07 | 3.9916e-09 | 2.4037e+15 | 0.011817 | 0.00024877

## Thorium
Mass Ram 1459 added | activity conc of std (bq/g) | Activity of Th-229 added |  | Time counted for (sec) | Counts of Th-229 | Bkgd counts | Bkgd corrected counts | Activity measured | Counter efficiency (%) |  | Corrected activity (bq) | Recovery
0.0627 | 0.8561 | 0.053677 |  | 189614.94 | 2554 | 2 | 2552 | 0.013459 | 35.76 |  | 0.037637 | 0.70116
σ | σ |  |  | σ |  |  | σ | σ | σ |  | σ | σ
0.0001 | 0.0001 | 8.5839e-05 |  | 0.01 |  |  | 50.5173 | 0.00026642 | 0.84883 |  | 0.0011633 | 0.0217
Mass Th ICPMS dilute added | Activity conc (bq/g) |  |  | Time counted for | Counts of Th-232 | Bkgd Counts | Bkgd corrected counts | Activity measured | Counter efficiency (%) |  | Efficiency Corrected activity (bq) | Recovery corrected activity
0.013 | 4.0756 |  |  | 189614.94 | 2520 | 1 | 2519 | 0.013285 | 35.76 |  | 0.03715 | 0.052983
σ | σ |  |  | σ |  |  | σ | σ | σ |  | σ | σ
0.0001 | 0.18124 |  |  | 0.01 |  |  | 50.1896 | 0.00026469 | 0.84883 |  | 0.0011513 | 0.0023206
0.016041
|  | t1/2 th years = | 14050000000
|  | t1/2 th secs = | 4.4338e+17
|  | lambda Th 232 | 1.5633e-18 | σ | avogadros = | 6.022e+23
|  | Number of atoms Th per gram of icpms dilute = | 2.6071e+18 | 1.1593e+17
|  | number of moles Th per gram of icpms dilute = | 4.3292e-06 | 1.9251e-07
|  | Mass of th 232 per gram of icpms dilute = | 0.0010044 | 4.4663e-05
|  | Conc of Th 232 in icpms dilute (ppm) = | 1004.3804 | 44.6633
Actual conc = 1000ppm
|  | mass th 232 added to sample (g) = | 1.3057e-05
[6 empty] | 47.5 | mass Th in sample (ug) | mass Th in sample (g) | number of moles Th | number of atoms | activity of Th in sample (bq) | Bq Th 232 per gram concrete
|  | mass in ug = | 13.0569 |  |  | 0.07 | 3.325 | 3.325e-06 | 1.4332e-08 | 8630668103448276 | 0.013492 | 0.00028405

## 234.238
[21 empty] | t 1/2 yrs | t 1/2 days | t 1/2 secs | lambda | time from now (years) | time from now (secs) | Activity | Original activity (2003) | Number of atoms | C value | number of atoms | activity
[20 empty] | u 238 | 4468000000 | 1631937000000 | 1.41e+17 | 4.916e-18 | 10000000 | 315576000000000 | 0.0028953 | 0.0028998 | 5.8987e+14 | 32479091040.4103
[20 empty] | th234 |  | 24 | 2073600 | 3.3427e-07 | [5 empty] | 8777.0239
|  | activity | [5 empty] | ratios | [5 empty] | number of atoms | [5 empty] | pa 234 |  |  | 24120 | 2.8737e-05 | [5 empty] | -1.1875
U chem yield (%) | test | u 238 | u 238 σ | u236 | u234 | u234σ |  | 238/234 | 238/234 σ | 234/238 | 234/238 σ |  | calcuated 234/238 | u238 N | u234N |  | 234/238N |  |  | u 234 | 246000 | 89851500 | 7763169600000 | 8.9287e-14 | [5 empty] | -32479099816.2466 | 32428743375.4426 | 0.0028955
44 | 9 | 0.028 | 0.0015 | 0.0246 | 0.0077 | 0.00052 |  | 3.6364 | 0.31346 | 0.275 | 0.023705 |  | 0.29115 | 5695734039069019 | 86239124382.9497 |  | 1.5141e-05
52.2 | 10 | 0.0328 | 0.0011 | 0.029 | 0.0083 | 0.0004 |  | 3.9518 | 0.23202 | 0.25305 | 0.014857 |  | 0.29031 | 6672145588623709 | 92959056153.0497 |  | 1.3932e-05
79.7 | 11 | 0.0497 | 0.00115 | 0.0546 | 0.0148 | 0.00051 |  | 3.3581 | 0.13939 | 0.29779 | 0.01236 |  | 0.29119 | 10109927919347510 | 165758316995.7994 |  | 1.6396e-05
71 | 12 | 0.0445 | 0.00142 | 0.0385 | 0.0118 | 0.000515 |  | 3.7712 | 0.20389 | 0.26517 | 0.014336 |  | 0.29026 | 9052148740663262 | 132158658145.2995 |  | 1.46e-05
61 | 13 | 0.0378 | 0.00091 | 0.0338 | 0.01017 | 0.00041 |  | 3.7168 | 0.17453 | 0.26905 | 0.012633 |  | 0.29163 | 7689240952743176 | 113902843503.1946 |  | 1.4813e-05
[10 empty] | 0.27201 |  | avg | 0.29091
[10 empty] | 0.032992 |  | stdev | 0.00059835
[12 empty] | 2 sig | 0.0011967 | [15 empty] | total u atoms | % of u 234 atoms
[28 empty] | 0.9985 | 5.9419e+14 | 0.0054577
[25 empty] | 10830891527645562 |  |  |  | ^ = 238/(nat abund of 238U/100) | nat abundace of u234 is 0.005%
|  | calib |  |  |  |  | 238 count | 236 count |  | 234 count |  |  |  | 238 act | 236 act | 234 act |  | 238/234 | 234/238 |  | 238 N | 234 N
|  |  |  | 0.3576 |  |  | 3808 | 4037 |  | 494 |  |  |  | 0.053244 | 0.056446 | 0.0069072 |  | 7.7085 | 0.12973 |  | 10830814168252050 | 77359393512.9891 |  | 0.00071425 | 99.9993
200000
5.8899e+14
u bkg
|  |  |  | 0.3782 |  |  | 219 |  |  | 220 |  |  |  | 0.0028953 | #DIV/0! | 0.0029085 |  | 0.99545 | 1.0046 |  | 5.8896e+14 | 32575026207.9586 |  | 0.0055307 | 99.9945
200000
|  | u bkg σ | [25 empty] | 99.274 | 0.005
|  | efficiency |  | 0.0275 |  |  | 14.7986 |  |  | 14.8324 |  |  |  | 0.0002874 |  | 0.00028841 |  | 0.13967 | 0.14095 |  | 1.1686e+14 | 6463657136.0083 |  | 0.001552 |  |  |  | 0.0050366
|  | time |  | 0.1
[21 empty] | tot | 5.9327e+14
[21 empty] | 235u N | 4.2715e+12
[21 empty] | 235 u act | 0.00013327
[21 empty] | 235 u t1/2 yr |  |  | lambda
[21 empty] | 704000000 | 257136000000 | 22216550400000000 | 3.12e-17