## Sheet1
Sample | [6 empty] | 232 -> 232 Th [ No Gas ] |  |  | 238 -> 238 U [ No Gas ] |  |  | 115 -> 115 In ( ISTD ) [ No Gas ] |  |  | 185 -> 185 Re ( ISTD ) [ No Gas ] |  |  | 187 -> 187 Re ( ISTD ) [ No Gas ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD | Conc. | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery %
| FALSE | 001SMPL.d | 2021-05-17 12:54 | Sample |  | 2 % HNO3 | 8.008 | 114.8671 |  | 9547.918 | 3.731 |  | 22.025 | 148.165 |  | 2.002 | 210.8185 |  | 4.004 | 174.8015
| FALSE | 002SMPL.d | 2021-05-17 12:58 | Sample |  | 2 % HNO3 | 9.01 | 152.2688 |  | 9173.284 | 5.0887 |  | 22.024 | 73.6103 |  | 7.007 | 135.5262 |  | 12.014 | 140.564
| FALSE | 003CALB.d | 2021-05-17 13:01 | CalBlk | 1 | 0 ppb | 4.004 | 174.8015 |  | 3138.954 | 6.3179 |  | 875317.267 | 0.62609 | 100 | 286372.269 | 0.85112 | 100 | 485392.46 | 0.81777 | 100
| FALSE | 004SMPL.d | 2021-05-17 13:04 | Sample |  | 2 % HNO3 | 7.007 | 135.5262 |  | 9185.333 | 4.1595 |  | 30.035 | 52.1189 | 0.0034313 | 11.012 | 168.4592 | 0.0038453 | 21.023 | 72.5756 | 0.0043311
| FALSE | 005CALS.d | 2021-05-17 13:08 | CalStd | 2 | 0.1 ppb | 11991.459 | 4.5762 | 0.1 | 14343.311 | 3.0896 | 0.1 | 881193.961 | 1.0077 | 100.6714 | 286560.088 | 0.95004 | 100.0656 | 484952.823 | 0.74026 | 99.9094
| FALSE | 006SMPL.d | 2021-05-17 13:11 | Sample |  | 2 % HNO3 | 13.013 | 81.4885 | 7.5154e-05 | 9031.078 | 2.4344 | 0.052588 | 41.047 | 50.7107 | 0.0046894 | 11.011 | 79.5995 | 0.003845 | 10.01 | 141.4214 | 0.0020622
| FALSE | 007CALS.d | 2021-05-17 13:14 | CalStd | 3 | 1 ppb | 121593.306 | 1.9985 | 1.0001 | 121210.594 | 1.6492 | 1.0005 | 873146.923 | 0.90425 | 99.7521 | 285538.266 | 1.0485 | 99.7088 | 482783.913 | 1.3341 | 99.4626
| FALSE | 008SMPL.d | 2021-05-17 13:18 | Sample |  | 2 % HNO3 | 92.107 | 31.9167 | 0.0007247 | 8819.678 | 3.376 | 0.048137 | 28.03 | 62.548 | 0.0032023 | 6.006 | 140.5457 | 0.0020973 | 21.023 | 115.4543 | 0.0043311
| FALSE | 009CALS.d | 2021-05-17 13:21 | CalStd | 4 | 5 ppb | 593067.348 | 1.0878 | 4.9952 | 577634.406 | 1.4218 | 4.9947 | 879231.664 | 0.27731 | 100.4472 | 287313.025 | 1.0793 | 100.3285 | 485333.722 | 0.90817 | 99.9879
| FALSE | 010SMPL.d | 2021-05-17 13:25 | Sample |  | 2 % HNO3 | 509.596 | 18.4406 | 0.0042584 | 9083.211 | 4.7262 | 0.05168 | 28.031 | 82.1403 | 0.0032024 | 2.002 | 316.2278 | 0.00069909 | 21.023 | 96.4298 | 0.0043311
| FALSE | 011CALS.d | 2021-05-17 13:28 | CalStd | 5 | 10 ppb | 1202570.65 | 0.77349 | 10.0263 | 1169517.016 | 1.3209 | 10.0287 | 870018.891 | 0.66036 | 99.3947 | 284859.308 | 1.07 | 99.4717 | 478458.565 | 0.73151 | 98.5715
| FALSE | 012SMPL.d | 2021-05-17 13:31 | Sample |  | 2 % HNO3 | 1003.189 | 15.3816 | 0.0083306 | 8801.731 | 3.6493 | 0.048689 | 60.07 | 61.8637 | 0.0068627 | 10.01 | 81.6497 | 0.0034955 | 9.01 | 161.0238 | 0.0018562
| FALSE | 013CALS.d | 2021-05-17 13:35 | CalStd | 6 | 20 ppb | 2378230.31 | 0.78687 | 19.9586 | 2323460.231 | 0.52589 | 19.9881 | 859120.925 | 0.71321 | 98.1497 | 279143.384 | 1.0252 | 97.4757 | 471021.242 | 0.90041 | 97.0393
| FALSE | 014SMPL.d | 2021-05-17 13:38 | Sample |  | 2 % HNO3 | 1779.161 | 11.4633 | 0.014898 | 9090.136 | 4.2906 | 0.051266 | 28.031 | 87.1618 | 0.0032024 | 12.013 | 183.4266 | 0.0041949 | 24.027 | 71.3692 | 0.00495
| FALSE | 015CALS.d | 2021-05-17 13:42 | CalStd | 7 | 50 ppb | 5523939.621 | 0.49916 | 49.3264 | 5476291.004 | 0.5169 | 49.4797 | 862732.505 | 0.59923 | 98.5623 | 275883.986 | 0.7707 | 96.3375 | 463940.551 | 0.57379 | 95.5805
| FALSE | 016SMPL.d | 2021-05-17 13:45 | Sample |  | 2 % HNO3 | 4988.546 | 7.5537 | 0.04451 | 10472.607 | 5.229 | 0.066299 | 45.051 | 70.4732 | 0.0051468 | 14.014 | 83.842 | 0.0048936 | 24.027 | 107.9538 | 0.00495
| FALSE | 017SMPL.d | 2021-05-17 13:48 | Sample |  | 2 % HNO3 | 1210.431 | 7.9383 | 0.010773 | 8393.01 | 4.293 | 0.047499 | 28.032 | 78.6121 | 0.0032025 | 6.006 | 179.1613 | 0.0020973 | 13.013 | 72.9756 | 0.0026809
| FALSE | 018SMPL.d | 2021-05-17 13:52 | Sample |  | Concrete D100 | 92749.772 | 1.3594 | 0.82818 | 26673.881 | 1.9982 | 0.21277 | 846608.577 | 0.94375 | 96.7202 | 274414.413 | 1.0256 | 95.8244 | 465441.006 | 0.57416 | 95.8896
| FALSE | 019SMPL.d | 2021-05-17 13:55 | Sample |  | 2 % HNO3 | 450.522 | 15.4322 | 0.0039872 | 7596.606 | 4.4228 | 0.040299 | 37.041 | 46.0331 | 0.0042317 | 10.01 | 94.2809 | 0.0034955 | 23.026 | 71.1562 | 0.0047438
| FALSE | 020SMPL.d | 2021-05-17 13:58 | Sample |  | Concrete D10 | 814934.705 | 0.72632 | 7.277 | 221729.642 | 0.8172 | 1.9762 | 795964.478 | 0.42646 | 90.9344 | 258196.557 | 1.356 | 90.1612 | 436302.859 | 0.64267 | 89.8866
| FALSE | 021SMPL.d | 2021-05-17 14:02 | Sample |  | 2 % HNO3 | 1276.523 | 8.9141 | 0.011363 | 7450.394 | 3.9143 | 0.038977 | 72.081 | 46.6682 | 0.0082348 | 8.008 | 114.8671 | 0.0027964 | 15.016 | 110.0028 | 0.0030936

## Calibration
| empty | empty σ | with aliquot | with aliquot σ | mass of aliquot | mass of aliquot σ | with dilute | with dilute σ | mass of dilute | mass of dilute σ | mass of sample | mass of sample σ | DF | DF σ | conc u | conc u σ | conc th | conc th σ | in/re | in/re σ | % of 0 ppb | % of 0 ppb σ
0 | 6.2866 | 0.0001 | 26.6887 | 0.0001 |  | 0.00014142 | 26.6887 | 0.0001 | 20.4021 | 0.00014142 | 20.4021 | 0.00014142 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 5 | 0 | 100 | 0
0.1 | 6.2917 | 0.0001 | 8.3105 | 0.0001 | 2.0188 | 0.00014142 | 26.6317 | 0.0001 | 18.3212 | 0.00014142 | 20.34 | 0.00014142 | 1.9642e-05 | 7.2557e-09 | 0.10317 | 0.0041793 | 0.099196 | 0.0044098 | 5 | 0.0018493 | 100 | 0.036985
1 | 6.2631 | 0.0001 | 8.2902 | 0.0001 | 2.0271 | 0.00014142 | 26.6763 | 0.0001 | 18.3861 | 0.00014142 | 20.4132 | 0.00014142 | 0.00019789 | 7.1764e-08 | 1.0395 | 0.042107 | 0.99942 | 0.04443 | 5 | 0.0018151 | 99.9998 | 0.036301
5 | 6.2832 | 0.0001 | 8.2848 | 0.0001 | 2.0016 | 0.00014142 | 26.7155 | 0.0001 | 18.4307 | 0.00014142 | 20.4323 | 0.00014142 | 0.00097182 | 1.1844e-07 | 5.1048 | 0.20677 | 4.9079 | 0.21818 | 4.9999 | 0.00061511 | 99.999 | 0.012302
10 | 6.2675 | 0.0001 | 6.673 | 0.0001 | 0.4055 | 0.00014142 | 26.5356 | 0.0001 | 19.8626 | 0.00014142 | 20.2681 | 0.00014142 | 0.0019928 | 7.0904e-07 | 10.4681 | 0.42403 | 10.0644 | 0.44741 | 4.9999 | 0.0017804 | 99.9979 | 0.035609
20 | 6.2898 | 0.0001 | 7.1031 | 0.0001 | 0.8133 | 0.00014142 | 26.46 | 0.0001 | 19.3569 | 0.00014142 | 20.1702 | 0.00014142 | 0.0040164 | 7.5348e-07 | 21.0975 | 0.85456 | 20.2838 | 0.9017 | 4.9998 | 0.00094084 | 99.9958 | 0.018817
50 | 6.2652 | 0.0001 | 8.2944 | 0.0001 | 2.0292 | 0.00014142 | 26.64 | 0.0001 | 18.3456 | 0.00014142 | 20.3748 | 0.00014142 | 0.0099203 | 9.8278e-07 | 52.11 | 2.1107 | 50.1002 | 2.2271 | 4.9995 | 0.00050084 | 99.9896 | 0.010017
500 | 6.2828 | 0.0001 | 8.3112 | 0.0001 | 2.0284 | 0.00014142 | 26.6467 | 0.0001 | 18.3355 | 0.00014142 | 20.3639 | 0.00014142 | 0.099608 | 6.9791e-06 | 523.2267 | 21.1933 | 503.0464 | 22.3623 | 4.9948 | 0.00035568 | 99.8955 | 0.0071136
| Empty | empty σ | with 1000 ppm U | with 1000 ppm U σ | mass of 1000 ppm U | mass of 1000 ppm U σ | with 1000 ppm Th | with 1000 ppm Th σ | mass of 1000 ppm Th | mass of 1000 ppm Th σ | mass with dilute | mass with dilute σ | Mass of solution | Mass of solution σ | conc of U (ppm) | conc of U (ppm) σ | Conc of Th (ppm) | Conc of Th (ppm) σ | mass of dlute | mass of dlute σ |  | in/re conc | in/re conc σ | % off 0 ppb | % off 0 ppb σ
5 ppm | 6.3369 | 0.0001 | 6.442 | 0.0001 | 0.1051 | 0.00014142 | 6.5455 | 0.0001 | 0.1035 | 0.00014142 | 26.216 | 0.0001 | 19.8791 | 0.00014142 | 5.2529 | 0.21277 | 5.0503 | 0.2245 | 19.6705 | 0.00014142 |  | 4.9475 | 5.0041e-05 | 98.9507 | 0.0010008
actual conc U 1000 ppm | 993.5534 |  | σ
actual conc th 1000 ppm | 970 |  | 43.1003
| empty | empty σ | with 1000 ppm u | with 1000 ppm u σ | mass of 1000 ppm u | mass of 1000 ppm u σ | mass with dilute | mass with dilute σ | mass of sample | mass of sample σ |  |  | actual conc from alpha analysis | actual conc from alpha analysis σ | actal conc of 1000 ppm U | actal conc of 1000 ppm U σ
making of U 50 ppm for alpha spike | 13.372 | 0.0001 | 14.3908 | 0.0001 | 1.0188 | 0.00014142 | 34.0102 | 0.0001 | 20.6382 | 0.00014142 |  |  | 49.0465 | 1.9855 | 993.5534 | 40.2217

## concrete dilution
| Empty | Empty | with aliquot | with aliquot | mass of aliquot | mass of aliquot | with dilute | with dilute | mass of sample | mass of sample | Df | Df | mass after aliquot taken | mass after aliquot taken | mass with 2 ppm in/re | mass with 2 ppm in/re | mass of in re | mass of in re | conc of in /re | conc of in /re | sample mass | sample mass | % of 0ppb | % of 0ppb
dil 10 | 6.2663 | 0.0001 | 8.8511 | 0.0001 | 2.5848 | 0.00014142 | 26.9293 | 0.0001 | 20.663 | 0.00014142 | 0.12509 | 6.8975e-06 | 24.858 | 0.0001 | 24.9057 | 0.0001 | 0.0477 | 0.00014142 | 5.1182 | 0.015175 | 18.6394 | 0.00014142 | 102.3638 | 0.30349
0
dil 100 | 6.3518 | 0.0001 | 8.4224 | 0.0001 | 2.0706 | 0.00014142 | 26.4185 | 0.0001 | 20.0667 | 0.00014142 | 0.012908 | 1.1367e-06 |  |  | 26.4704 | 0.0001 | 0.0519 | 0.00014142 | 5.1727 | 0.014095 | 20.0667 | 0.00014142 | 103.455 | 0.2819

## Sheet4
sample |  |  | 232 -> 232 Th [ No Gas ] | [13 empty] | 238 -> 238 U [ No Gas ] | [13 empty] | 115 -> 115 In ( ISTD ) [ No Gas ] |  |  | 185 -> 185 Re ( ISTD ) [ No Gas ] |  |  | 187 -> 187 Re ( ISTD ) [ No Gas ] |  |  | avg istd | avg istd σ | %of 0 ppb | %of 0 ppb σ | cf | cf σ
Type | Level | Sample Name | CPS | CPS RSD | CPS σ | Conc. [ ppb ] | blk corrected cps | Blk corrected CPS σ | istd corrected cps | ISTD Corrected CPS σ | conc th calib | Calib cal conc (ppb) σ |  |  | actual conc | actual conc σ | CPS | CPS RSD | CPS σ | Conc. [ ppb ] | blk corrected cps | Blk corrected CPS σ | istd corrected cps | ISTD Corrected CPS σ | conc U calib | Calib cal conc (ppb) σ |  |  | actual conc | actual conc σ | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery %
CalBlk | 1 | 0 ppb | 4.004 | 174.8015 | 6.9991 |  | 0 | 9.8982 | 0 | #DIV/0! | 0 | #DIV/0! | 104917 | 11424.5181 | 0 | #DIV/0! | 3138.954 | 6.3179 | 198.3168 |  | 0 | 280.4622 | 0 | #DIV/0! | 0 | #DIV/0! | 99616 | 9883.7871 | 0 | #DIV/0! | 875317.267 | 0.62609 | 100 | 286372.269 | 0.85112 | 100 | 485392.46 | 0.81777 | 100 | 100 | 0 | 100 | 0 | 1 | 0
CalStd | 2 | 0.1 ppb | 11991.459 | 4.5762 | 548.7509 | 0.1 | 11987.455 | 548.7956 | 11959.3232 | 549.6282 | 0.099196 | 0.0044098 |  |  | 0.11399 | 0.013473 | 14343.311 | 3.0896 | 443.1537 | 0.1 | 11204.357 | 485.5046 | 11178.063 | 486.4588 | 0.10317 | 0.0041793 |  |  | 0.11221 | 0.012157 | 881193.961 | 1.0077 | 100.6714 | 286560.088 | 0.95004 | 100.0656 | 484952.823 | 0.74026 | 99.9094 | 100.2155 | 0.40248 | 99.9803 | 0.036985 | 0.99765 | 0.0040237
CalStd | 3 | 1 ppb | 121593.306 | 1.9985 | 2430.0927 | 1.0001 | 121589.302 | 2430.1028 | 121784.776 | 2441.8807 | 0.99942 | 0.04443 |  |  | 1.1608 | 0.12852 | 121210.594 | 1.6492 | 1998.9791 | 1.0005 | 118071.64 | 2008.7924 | 118261.4588 | 2020.9953 | 1.0395 | 0.042107 |  |  | 1.1872 | 0.11952 | 873146.923 | 0.90425 | 99.7521 | 285538.266 | 1.0485 | 99.7088 | 482783.913 | 1.3341 | 99.4626 | 99.6411 | 0.15613 | 99.8013 | 0.036301 | 1.0016 | 0.0016112
CalStd | 4 | 5 ppb | 593067.348 | 1.0878 | 6451.2254 | 4.9952 | 593063.344 | 6451.2292 | 585786.1254 | 6522.975 | 4.9079 | 0.21818 |  |  | 5.5833 | 0.61115 | 577634.406 | 1.4218 | 8213.0472 | 4.9947 | 574495.452 | 8215.4412 | 567446.0718 | 8226.3765 | 5.1048 | 0.20677 |  |  | 5.6963 | 0.57119 | 879231.664 | 0.27731 | 100.4472 | 287313.025 | 1.0793 | 100.3285 | 485333.722 | 0.90817 | 99.9879 | 100.2545 | 0.23842 | 99.0244 | 0.012302 | 0.98773 | 0.0023521
CalStd | 5 | 10 ppb | 1202570.65 | 0.77349 | 9301.7957 | 10.0263 | 1202566.646 | 9301.7983 | 1188658.8342 | 10977.6594 | 10.0644 | 0.44741 |  |  | 11.3295 | 1.2381 | 1169517.016 | 1.3209 | 15448.2056 | 10.0287 | 1166378.062 | 15449.4785 | 1152888.775 | 16341.3621 | 10.4681 | 0.42403 |  |  | 11.5733 | 1.16 | 870018.891 | 0.66036 | 99.3947 | 284859.308 | 1.07 | 99.4717 | 478458.565 | 0.73151 | 98.5715 | 99.146 | 0.49899 | 97.9993 | 0.035609 | 0.98843 | 0.0049876
CalStd | 6 | 20 ppb | 2378230.31 | 0.78687 | 18713.6732 | 19.9586 | 2378226.306 | 18713.6745 | 2339536.4082 | 22783.6569 | 20.2838 | 0.9017 |  |  | 22.2989 | 2.4378 | 2323460.231 | 0.52589 | 12218.7482 | 19.9881 | 2320321.277 | 12220.3575 | 2282573.4004 | 17777.6519 | 21.0975 | 0.85456 |  |  | 22.9137 | 2.2805 | 859120.925 | 0.71321 | 98.1497 | 279143.384 | 1.0252 | 97.4757 | 471021.242 | 0.90041 | 97.0393 | 97.5549 | 0.55942 | 95.9678 | 0.018817 | 0.98373 | 0.0056444
CalStd | 7 | 50 ppb | 5523939.621 | 0.49916 | 27573.2484 | 49.3264 | 5523935.617 | 27573.2493 | 5136789.1964 | 86132.0532 | 50.1002 | 2.2271 |  |  | 48.9605 | 5.3942 | 5476291.004 | 0.5169 | 28307.1924 | 49.4797 | 5473152.05 | 28307.887 | 5089564.8085 | 85618.2449 | 52.11 | 2.1107 |  |  | 51.0918 | 5.1416 | 862732.505 | 0.59923 | 98.5623 | 275883.986 | 0.7707 | 96.3375 | 463940.551 | 0.57379 | 95.5805 | 96.8268 | 1.5499 | 90.0406 | 0.010017 | 0.92991 | 0.014886
Sample |  | Concrete D100 | 92749.772 | 1.3594 | 1260.8238 | 0.82818 | 92745.768 | 1260.8432 | 99797.5808 | 1477.6204 |  |  |  |  | 0.95121 | 0.10453 | 26673.881 | 1.9982 | 533.0009 | 0.21277 | 23534.927 | 568.6998 | 25324.3768 | 629.7129 |  |  |  |  | 0.25422 | 0.026003 | 846608.577 | 0.94375 | 96.7202 | 274414.413 | 1.0256 | 95.8244 | 465441.006 | 0.57416 | 95.8896 | 96.1447 | 0.49944 | 103.455 | 0.2819 | 1.076 | 0.0063119
Sample |  | Concrete D10 | 814934.705 | 0.72632 | 5919.0096 | 7.277 | 814930.701 | 5919.0137 | 923522.8724 | 9129.4974 |  |  |  |  | 8.8024 | 0.96245 | 221729.642 | 0.8172 | 1811.978 | 1.9762 | 218590.688 | 1822.7983 | 247718.6095 | 2650.7721 |  |  |  |  | 2.4867 | 0.24816 | 795964.478 | 0.42646 | 90.9344 | 258196.557 | 1.356 | 90.1612 | 436302.859 | 0.64267 | 89.8866 | 90.3274 | 0.54331 | 102.3638 | 0.30349 | 1.1333 | 0.0075995

## Sheet5
σ
Th conc in icpms solution | 8.8024 | ppb | 0.96245
U conc in icpms solution | 2.4867 | ppb | 0.24816
df | 0.12509 |  | 6.8975e-06
Th conc in digest solution | 70.3669 | ppb | 7.6938
U conc in digest solution | 19.8791 | ppb | 1.9838
mass of sample | 47.563 | g | 0.0001 | t1/2 th years = | 14050000000 |  |  | t1/2 u238 years= | 4468000000
mass of th per sample | 3.3469 | ug |  | t1/2 th secs = | 4.4338e+17 |  |  | T1/2 U 238 in secs = | 1.41e+17
mass of U per sample | 0.94551 | ug
|  |  |  | lambda Th 232 | 1.5633e-18 | avogadros = | 6.022e+23 | lambda u 238 | 4.916e-18
|  |  |  | number of moles per sample | 1.4426e-08 |  |  | number of moles per sample | 3.9727e-09
|  |  |  | number of atoms per sample | 8687408202349485 |  |  | number of atoms per sample | 2392373586677941
|  |  |  | activity per sample | 0.013581 |  |  | activity per sample | 0.011761
|  |  |  | activity conc (Bq/g) | 0.00028554 |  |  | activity conc (Bq/g) | 0.00024727

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd