Laser induced forward transfer imaging using deep learning

Abstract

A novel approach for improving the accuracy and efficiency of laser-induced forward transfer (LIFT), through the application of deep learning techniques is presented. By training a neural network on a dataset of images of donor and receiver substrates, the appearance of copper droplets deposited onto the receiver was predicted directly from images of the donor. The results of droplet image prediction using LIFT gave an average RMSE of 9.63 compared with the experimental images, with the SSIM ranging from 0.75 to 0.83, reflecting reliable structural similarity across predictions. These findings underscore the model's predictive potential while identifying opportunities for refinement in minimising error. This approach has the potential to transform parameter optimisation for LIFT, as it enables the visualization of the deposited material without the time-consuming requirement of removing the donor from the setup to allow inspection of the receiver. This work therefore represents an important step forward in the development of LIFT as an additive manufacturing technology to create complex 3D structures on the microscale.

Article Highlights

- Images of donor surface and receiver surface following laser induced forward transfer (LIFT) are collected.

- A neural network predicts images of deposited copper droplets with high structural accuracy.

- The technique demonstrates non-invasive visualization suitable for real-time imaging of LIFT deposition.

Keywords LIFT, Laser induced forward transfer, deep learning, 3D printing, metal printing, copper printing

Introduction

Laser-induced forward transfer (LIFT) is a laser-based printing technique that uses focused laser pulses to transfer material from a thin-film donor, coated on a transparent substrate, onto a target substrate, known as the receiver [1]. Although backward deposition can also occur [2], LIFT allows for higher resolution and a wide variety of materials. Whilst the mechanism of transfer depends on the laser fluence and materials used, in general the laser pulse passes through the transparent substrate and is absorbed by the thin-film donor material [3], and the localised expansion results in a region of the material being removed from the donor at high speed and transferred onto the receiver substrate. The applications of LIFT include the printing of electronics [4], sensor applications [5] and functional inks [6]. Whilst high resolution printing can be achieved using electrohydrodynamic inkjet [7], such a technique is limited to viscous material, and others that combine inkjet with selective laser sintering [8] lacking the functionality of LIFT, which excels at controlled deposition of multilayered micron-scale structures without cross-contamination, enabling complex 3D structures or heterogeneous materials.

LIFT has been demonstrated for printing a wide range of materials, including metals [9], conducting polymers [10], graphene [11], and biological substances such as DNA [12], and has been shown capable of producing complex structures, such as continuous copper wires [13], congruent voxels [14], and shaped 2D [15] and 3D structures [16]. However, whilst LIFT has been demonstrated for a huge variety of materials and applications, there has been limited integration of this technique within manufacturing companies, a consequence of the highly sensitive nature of this approach, where there may only be very narrow parameter windows that result in successful deposition. In practice, to optimise a LIFT application the user will systematically explore the parameter space (e.g. laser fluence), and after each trial the donor is removed in order to image the receiver (as the donor material is generally opaque). This optimisation is hugely time-consuming, and is a major bottleneck because each donor material has distinct physical and chemical properties that affect the transfer process[17], necessitating the fine-tuning of parameters such as laser fluence, pulse duration, and spot size for each new donor to achieve precise and efficient material transfer [18]. Additionally, surface topology and roughness can significantly influence the transfer efficiency and quality, adding another layer of complexity to the optimization process [19]. Multiple experimental iterations are often necessary to identify the optimal conditions, which can be a lengthy process.

Convolutional neural networks (CNNs) [20] can classify objects based on an image input. An extension of the CNN is the conditional generative adversarial network (cGAN), which can transform an image from one domain to another image domain [21], such as from a sketch to a photograph [22], one magnetic resonance image modality to another [23], and has been used in inverse design in photonics [24]. Here we use a cGAN to transform an image of the donor substrate into an image of the receiver substrate, and hence enable the prediction of the appearance of the deposited material directly from an image of the donor. We demonstrate the ability to use neural networks to predict the deposited droplets from laser induced forward transfer without the need for removing the sample from the setup for microscope imaging. This demonstrates the potential for improving the reliability, capability and accuracy of the deposition process and thus enable more complex 2D and 3D structures. Using deep learning to visualize LIFT deposition (in this case droplets) without removing the sample from the setup is crucial for enhancing efficiency, precision, and cost-effectiveness. It enables non-destructive, real-time monitoring of droplet formation and placement, allowing for instant adjustments to optimize the process while preserving sample integrity. This approach eliminates the need for external imaging, reducing downtime and costs, and ensures consistent droplet quality for high-precision applications like microelectronics or biological material transfers. Deep learning also assists complex experimental setups by providing insights directly during the process, making it invaluable for both research and industrial applications.

The ability to visualise the deposited sample could allow accurate manufacturing of complex 3D structures on the microscale, such 3D integrated circuits or microelectromechanical systems (MEMS).

Experiment and method

2.1 Sample fabrication

An Edwards Auto 306 thermal An Edwards Auto 306 thermal evaporator was used to deposit copper onto a glass microscope slide. The slide was 2.5 cm x 7.5 cm x 0.1 cm in size and was attached to the deposition plate using Kapton tape placed along the centre of the slide, hence two regions (strips) were created of copper as shown in the photograph inset in Fig. 1. A chamber pressure of 8×10-6 mbar was used along with a current of 2.2 A to give a deposition rate of 0.2 nms-1, resulting in a 140 nm thick copper film. The receiver was an uncoated glass microscope slide of the same size.

Fig. 1 a) Side view of receiver and donor samples. b) Photograph of donor copper film with blank region where tape was used to hold sample in deposition chamber.

2.2 LIFT setup and data collection

Laser pulses with energy ranging from 0.2 mJ to 1 mJ, with a central wavelength of 1030 nm wavelength and temporal length ~190 fs from a Pharos SP Light Conversion ultrafast laser system (see Table 1 for details), that operated in single pulse mode, were focused onto the surface of the donor copper layer using a 50× microscope objective (Mitutoyo, NIR, N.A. = 0.42) to give a maximum fluence of 9.8 Jcm-2.

The formula for calculating laser fluence F is:

F=EA

where:

F is the fluence (energy per unit area, Jcm-2), E is the energy per pulse, measured in joules (J) and A is the area over which the energy is distributed. The power of the pulse was determined using a Thorlabs Power S350C meter, whilst the spot size was measured from the ablated region using the microscope images for maximum ablation at 9.8 Jcm2.

This allowed the forward transfer of copper droplets in a range of different sizes. The objective also allowed the surface to be monitored using a Basler a2A4504-18ucBAS camera (4504 × 4504 pixels, see Table 2) for monitoring LIFT (figure 1). The sample was attached via a clamp to a motorised 3-axis stage (Zaber, X-LSM050A-E03) shown in the photograph in Fig. 2b) to allow accurate translation of the sample in the path of the laser pulse, with single pulses directed at the donor surface every 20 µm in XY. Following LIFT, the donor and the receiver were removed from the setup and imaged using a Nikon Eclipse microscope, with a 50× magnification objective (Nikon LU Plan 0.55 NA, 10.1 mm working distance) and a Basler acA3088-57uc camera (3088 × 2064 pixels, RGB, see Table 3) to collect the training and testing data for the neural network.

Table 1 Laser specifications

| Specification | Details |
| --- | --- |
| Wavelength | 1030 nm |
| Pulse Length | ~190 fs |
| Laser System | Light Conversion, Pharos SP |
| Operating Mode | Single pulse mode |
| Pulse Energy Range | 0.2 mJ to 1 mJ |
| Focusing Objective | 50× microscope objective (Mitutoyo, NIR, N.A. = 0.42) |
| Maximum Fluence | 9.8 Jcm-² |

Table 2 Microscope Basler camera specifications

| Sensor Format | Resolution (H x V) | Sensor | Shutter Type | Pixel Size (H x V) |
| --- | --- | --- | --- | --- |
| 1/1.8" | 3088 x 2064 | Sony IMX178LQJ-C CMOS | Rolling shutter | 2.4 x 2.4 µm |

Fig. 2 	a) Laser pulses were focussed onto the surface of the donor substrate and copper was deposited onto a receiver. Following depositions, the samples were imaged using a separate Nikon microscope. b) Photograph of the setup with labels indicating key apparatus

2.3 Neural network

The cGAN (pix2pix variant) [21], was trained for 80 epochs using a Windows 10 computer workstation with two NVIDIA RTX A65000 (48 GB VRAM each). Images of the donor were used as the input and images of the receiver were used as the output, and 400 pairs of images were used to train the neural network. The input and output image pairs for the neural network were cropped from 3088 × 2064 (RGB) to 286 × 286 pixels and resized to 256 × 256 pixels (RGB), and a learning rate of 0.0001 and minibatch size of 2 were used for training. Random augmentation was disabled. The generator depth was set to 7, with 3 input channels and 3 output channels. Finally, the verbose frequency was set to 1000 to control the frequency of training progress updates. ADAM (adaptive moment estimation) [25] was used as the optimiser. Note that the scale bars are not present in the training data for the neural network.

Fig. 3 Schematic concept of feeding the donor image into the neural network to produce an image of the receiver.

The donor image (as shown in Fig. 3) is an image of the surface of the copper through the glass, i.e., the first copper surface that the laser pulse sees during ablation. Likewise, the receiver image is an image of the surface of the glass slide in which the droplet has been deposited, as viewed from the top of the droplet. Since the droplet is beneath the copper donor surface, it is not possible to accurately image the droplet through the copper layer.

Images of the input are known as the “donor image” and images of the droplets on the receiver surface are known as the “receiver image” as shown in example images in Fig.3. The hypothesis of this work is that the position and shape of the ablated region in the donor image will provide information to the neural network regarding the appearance of the receiver image. The ability of the neural network to reconstruct the image will depend on the training data, and the quality of the input images. The higher the magnification of the images, the more detail is present for the neural network to create a realistic relationship between donor image and receiver image.

A diagram showing how a donor image is fed into a neural network to produce an image of the receiver is shown in Fig. 3, whilst the architecture of the generator network is shown in Fig. 4.

Fig 4. Diagram of the neural network for image generation.

The diagram in Fig. 4 illustrates the U-Net architecture used for droplet image prediction for the LIFT experiment. The model features an encoder-decoder structure, where the encoder extracts spatial features through convolutional layers with batch normalization and ReLU activation, followed by max-pooling to down-sample the spatial dimensions. The decoder reconstructs the receiver image by progressively up-sampling via deconvolutions and concatenating feature maps from the encoder using skip connections. These connections preserve spatial details, ensuring finer structural accuracy in the predicted images. The network processes the donor image (256×256×3) and outputs a predicted receiver image of the same size, leveraging the U-Net's ability to combine high-level context with detailed spatial information for accurate droplet prediction.

In this work, we used Python (Version 3.8.19, Python Software Foundation, Python Language Reference, available at http://www.python.org) within the Spyder environment (Version 5.5.1, Spyder Project Contributors, Spyder IDE, 64 bit, available at https://www.spyder-ide.org).

Fig. 5 	Total generator loss as a function of neural network training iteration.

Figure 5 shows the total generator loss during network training, which is the overall error or cost that the generator incurs while trying to generate images that are indistinguishable from the real ones, and the iteration refers to a single update of the model's weights based on a batch of data during training.

Fig. 6 Flowchart of deposition and image prediction process.

A flowchart of the process data collection, processing and receiver image prediction is shown in Fig. 6. At the start of the process a laser pulse is fired, the stage is then translated before another pulse is fired and the sequence continues until all depositions are completed. Following this, images of the donor and receiver are obtained using a microscope and are processed (cropped and resized) before the donor image is fed into the neural network for receiver prediction.

Results and discussion

Figure 7 shows experimental images of the donor surface (column 1), the neural network predicted images of the receiver (column 2), the associated experimental images of the receiver (the ground truth) (column 3), and the difference between predicted and experimental (column 4), for laser fluences of a 5.4 Jcm-2, b 6.1 Jcm-2, c 6.5 Jcm-2 and d 7.1 Jcm-2. The neural network predictions of the receiver appear similar in style to the experimental receiver images, and generally show strong agreement in terms of the size and position of the deposited droplets. Single droplets are predicted correctly (b and c), as are three droplets as shown in (d). The difference column in the figure shows the result of subtracting the predicted image from the experimental, with the darker pixels indicating greater difference between the two sets of images. It is evident the neural network has predicted the colour and the droplet position, but the texture of the background is different. The structural similarity index measurement (SSIM), which is a metric that assesses the resemblance in terms of structure and intensity between two images (where images that are the same give a maximum value of 1), and the root mean squared error (RMSE) was computed for each pair of predicted and experimental receiver images in a 128 × 128-pixel region to assess the predictive accuracy of the network and is shown in yellow.

The SSIM was calculated using the following equation,

SSIM(E,G)=(2μEμG+C1)(2σEG+C2)(μE2+μG2+C1)(σE2+σG2+C2)

where μG is the mean of G, μE is the mean of E, σG2 is the variance of G, σE2 is the variance of E, σEG is the covariance of E and G. C1 = (0.01L)2 and C2 = (0.03L)2, where L is the range of the pixel values in the images.

The RMSE, where a lower value indicates greater similarity, was calculated for the predicted receiver images compared to the experimental receiver images. This was done by averaging the squared differences in pixel intensity values (ranging from 0 to 255) between corresponding pixels in the predicted and experimental images, using the following equation,

RMSE=1Ni=1NGi-Ei2

where N is the number of data points (pixels), Gi is the predicted image pixel value and Ei is the experimental image pixel value. The SSIM and RMSE values computed for the predicted images shown in Fig. 7 are shown in Table 3. The SSIM values for all images exceed 0.75, indicating good structural resemblance between the predicted and experimental images, while the RMSE remains below 12 for all images, reflecting low pixel-wise error.

Table 3 SSIM and RMSE values for the images shown in Fig. 7.

|  | a | b | c | d |
| --- | --- | --- | --- | --- |
| SSIM | 0.78 | 0.83 | 0.77 | 0.75 |
| RMSE | 8.4 | 6.9 | 11.3 | 11.9 |

As the neural network was only provided with the experimental image of the donor (and not the laser fluence), this result leads to the important conclusion that information about the deposited material is contained within the donor image. This important result could lead to future work that involves real-time imaging of the deposited material and explores using different materials. Owing to difficulty of creating 3D structures using LIFT, future work should employ the technique demonstrated here with the aim of improving the capability of creating and predicting 3D structures, such as pillars, multi-material structures or MEMS.

The main challenge was making sure that the donor area was correctly aligned to the deposited image area, so that the neural network could successfully understand the transformation. Additional data would be expected to improve the accuracy of image prediction, whilst 3D profiling of the donor ablated surface could also increase the information available to the neural network to predict the deposited droplet.

Fig. 7 	Predicting the appearance of the receiver from images of the donor for laser pulse fluence of a 5.4 Jcm-2, b 6.1 Jcm-2, c 6.5 Jcm-2 and d 7.1 Jcm-2, with size scales shown in white and SSIM values inset in yellow

Conclusion

To conclude, in this manuscript deep learning has been shown to predict the appearance of deposited material on the receiver, directly from images of the donor. The results of droplet image prediction using LIFT highlight variability in performance across samples. The analysis shows:

• The highest visual accuracy corresponded to the lowest prediction error, with an RMSE of 6.9.

• The poorest performance was observed with the highest RMSE of 11.9, indicating greater deviation between the predicted and actual images.

• Despite variations in RMSE, the SSIM ranged from 0.75 to 0.83, reflecting reliable structural resemblance between predicted and actual images.

This application of neural networks in LIFT shows the potential to improve the speed and quality of deposition by unlocking parameter optimisation and deposition visualisation without the time-consuming requirement of needing to remove the donor substrate before the receiver substrate can be imaged, enabling the potential for the fabrication of complex 3D microstructures in real-time.

Data availability Data underlying the results will be made available upon request.

Competing Interests On behalf of all authors, the corresponding author states that there is no conflict of interest.

References

1. 	Willis DA, Grosu V (2005) Microdroplet deposition by laser-induced forward transfer. Appl Phys Lett 86:244103

2. 	Papakonstantinou P, Vainos NA, Fotakis C (1999) Microfabrication by UV femtosecond laser ablation of Pt, Cr and indium oxide thin films. Appl Surf Sci 151:159–170

3. 	Serra P, Piqué A (2019) Laser-Induced Forward Transfer: Fundamentals and Applications. Adv Mater Technol 4:1800099. https://doi.org/https://doi.org/10.1002/admt.201800099

4. 	Fernández-Pradas JM, Sopeña P, González-Torres S, et al (2018) Laser-induced forward transfer for printed electronics applications. Applied Physics A 124:1–8

5. 	Papazoglou S, Zergioti I (2017) Laser Induced Forward Transfer (LIFT) of nano-micro patterns for sensor applications. Microelectron Eng 182:25–34

6. 	Fernández-Pradas JM, Serra P (2020) Laser-induced forward transfer: a method for printing functional inks. Crystals (Basel) 10:651

7. 	An BW, Kim K, Lee H, et al (2015) High-Resolution Printing of 3D Structures Using an Electrohydrodynamic Inkjet with Multiple Functional Inks. Advanced Materials 27:4322–4328. https://doi.org/https://doi.org/10.1002/adma.201502092

8. 	Goh GL, Dikshit V, Koneru R, et al (2022) Fabrication of design-optimized multifunctional safety cage with conformal circuits for drone using hybrid 3D printing technology. The International Journal of Advanced Manufacturing Technology 120:2573–2586. https://doi.org/10.1007/s00170-022-08831-y

9. 	Bohandy J, Kim BF, Adrian FJ (1986) Metal deposition from a supported metal film using an excimer laser. J Appl Phys 60:1538–1539

10. 	Kandyla M, Chatzandroulis S, Zergioti I (2010) Laser induced forward transfer of conducting polymers. Opto-Electronics Review 18:345–351

11. 	Praeger M, Papazoglou S, Pesquera A, et al (2020) Laser-induced backward transfer of monolayer graphene. Appl Surf Sci 533:147488. https://doi.org/https://doi.org/10.1016/j.apsusc.2020.147488

12. 	Serra P, Colina M, Fernández-Pradas JM, et al (2004) Preparation of functional DNA microarrays through laser-induced forward transfer. Appl Phys Lett 85:1639–1641

13. 	Grant-Jacob J, Mills B, Feinäugle M, et al (2013) Micron-scale copper wires printed using femtosecond laser-induced forward transfer with automated donor replenishment. Opt Mater (Amst) 3:747–754. https://doi.org/10.1364/OME.3.000747

14. 	Piqué A, Kim H, Auyeung RCY, et al (2016) Laser-induced forward transfer (LIFT) of congruent voxels. Appl Surf Sci 374:42–48. https://doi.org/https://doi.org/10.1016/j.apsusc.2015.09.005

15. 	Heath DJ, Feinäugle M, Grant-Jacob J, et al (2015) Dynamic spatial pulse shaping via a digital micromirror device for patterned laser-induced forward transfer of solid polymer films. Opt Mater Express 5:1129–1136. https://doi.org/10.1364/OME.5.001129

16. 	Feinaeugle M, Pohl R, Bor T, et al (2018) Printing of complex free-standing microstructures via laser-induced forward transfer (LIFT) of pure metal thin films. Addit Manuf 24:391–399. https://doi.org/https://doi.org/10.1016/j.addma.2018.09.028

17. 	Florian C, Serra P (2023) Printing via Laser-Induced Forward Transfer and the Future of Digital Manufacturing. Materials 16:. https://doi.org/10.3390/ma16020698

18. 	Bera S, Sabbah AJ, Yarbrough JM, et al (2007) Optimization study of the femtosecond laser-induced forward-transfer process with thin aluminum films. Appl Opt 46:4650–4659. https://doi.org/10.1364/AO.46.004650

19. 	Kallepalli LND, Godfrey ATK, Ratté J, et al (2019) Surface Role in Laser-Induced Forward Transfer Applications. In: 2019 Photonics North (PN). p 1

20. 	LeCun Y, Bengio Y, Hinton G (2015) Deep learning. Nature 521:436

21. 	Isola P, Zhu J-Y, Zhou T, Efros AA (2017) Image-to-Image Translation with Conditional Adversarial Networks. In: 2017 IEEE Conference on Computer Vision and Pattern Recognition (CVPR). IEEE, pp 5967–5976

22. 	Liu Y-C, Chiu W-C, Wang S-D, Wang Y-CF (2017) Domain-Adaptive generative adversarial networks for sketch-to-photo inversion. In: 2017 IEEE 27th International Workshop on Machine Learning for Signal Processing (MLSP). pp 1–6

23. 	Grant-Jacob J, Everitt C, Eason RW, et al (2021) Exploring sequence transformation in magnetic resonance imaging via deep learning using data from a single asymptomatic patient. J Phys Commun 5:. https://doi.org/10.1088/2399-6528/AC24D8

24. 	You H, Du L, Xu X, Zhao J (2024) Deep learning methods for solving non-uniqueness of inverse design in photonics. Opt Commun 554:130122

25. 	Kingma DP, Ba J (2014) Adam: A method for stochastic optimization. arXiv preprint arXiv:14126980