The International TrifectaTM and EpicTM Valve-in-Valve Registry: 
Insights into Clinical & Hemodynamic Outcomes

Running Title: Trifecta and Epic Valve-in-Valve

Matthias Raschpichler, MDa, Mohamed Abdel-Wahab, MD, PhDb, Nick Curzen, BM(Hons), PhD,c Manuel Wilbring, MD, PhDd, Christoph Dubois, MD, PhDe, Kayan Lam, MDf, Gloria Faerber, MD, PhDg, Jana Nagel, PhDh, Holger Thiele, MD, PHD b, Michael A. Borger, MD, PhDa

aLeipzig Heart Center, University Clinic of Cardiac Surgery, Leipzig, Germany

bLeipzig Heart Center, Department of Internal Medicine/Cardiology, Leipzig, Germany

cWessex Cardiothoracic Centre, University Hospital Southampton, Southampton, UK

dHeart Center Dresden, University Hospital Dresden, Dresden, Germany

eUniversity Hospital Leuven, Leuven, Belgium

fHeartcentre Catharina Hospital, Eindhoven, Netherlands

gUniversity Clinic of Cardiothoracic Surgery, Jena, Germany

hHelios Health Institute, Heart Center Leipzig, Leipzig, Germany

# Total Word Count: 4996

# Address for correspondence:

Matthias Raschpichler, MD

University Clinic of Cardiac Surgery

Heart Center

University of Leipzig

Struempellstrasse 39

04289 Leipzig, Germany

Tel: +49 341 256116

Fax: +49 341 865 1452

E-Mail: mraschpichler@gmail.com

# Abstract

## Background

We aimed to compare outcomes of valve-in-valve transcatheter aortic valve replacement (ViV-TAVR into failed TrifectaTM versus ViV-TAVR into a standard aortic bioprosthetic valve with internally mounted leaflets (EpicTM, Abbott, Minneapolis, MN).

## Methods

Data of consecutive patients who underwent ViV-TAVR into either failed TrifectaTM or EpicTM bioprostheses between October 2015 and June 2020 were retrospectively collected within the International Trifecta and Epic Valve-in-Valve Registry, and analyzed for a primary composite outcome of 30-day mortality and/or coronary obstruction (CO), defined as: (1) CO resulting in myocardial infarction and/or cardiogenic shock, or (2) CO requiring emergent coronary intervention.

Results

## A total of 76 patients (49 Trifecta, 27 Epic) with a median age of 80 years (interquartile range [IQR] 75.0;82.0] and a median Society of Thoracic Surgeons-score of 5.4 (IQR 4.0;9.8) were identified. Coronary protection techniques were more frequently performed in Trifecta than Epic patients (29.6% vs 0%, p = 0.01). The primary composite outcome was observed in 3 Trifecta versus 5 Epic cases (6.1% versus 20%, p=0.1), which included 1 case of CO following ViV-TAVR into Epic requiring stenting. Increased rates of patient-prosthesis mismatch (PPM) following valve-in-Epic were found (41.7% versus 75%, p=0.08). Survival at a median of 365 days was 86.2% and did not differ between groups (log-rank p=0.37).

## Conclusions

Compared to a stented prosthesis without increased risk of CO, ViV-TAVR into Trifecta prostheses can be performed with low risk of CO and acceptable short-term clinical outcomes. As the rate of post-ViV PPM is substantial for both prostheses, careful patient selection is warranted. (NCT05389631)

Word Count: 250/250

Keywords: Valve-in-Valve Transcatheter Aortic Valve Replacement; Coronary Obstruction; Externally Mounted Leaflets; TrifectaTM-valve; EpicTM-valve

# Introduction

Valve-in-Valve transcatheter aortic valve replacement (ViV-TAVR) has become the treatment of choice for many patients presenting with deteriorated surgical aortic bioprostheses at higher surgical risk.[1,2] Most observational studies have demonstrated superior short-term clinical outcome of ViV-TAVR compared to redo surgical aortic valve replacement (rSAVR), while the benefits regarding long-term outcome remain unclear.[3–6] Downsides of ViV-TAVR include inferior hemodynamic performance compared to rSAVR, increased risk of thrombogenicity of ViV-TAVR prostheses, and greater difficulty to access coronary arteries post-procedure.[7–9] Although rare, periprocedural coronary obstruction (CO) is a feared, and often lethal, complication. Risk factors associated with CO following ViV-TAVR include narrow sinotubular dimensions relative to the ViV-TAVR prostheses and stentless surgical prostheses or those with externally mounted leaflets.[10]

In patients at risk of CO, preventive measures such as coronary wiring, pre-emptive stenting, or bioprosthesis leaflet laceration (e.g., the BASILICA procedure), can reduce both occurrence and consequences of CO.[11,12] These techniques are particularly relevant for stented bioprostheses with externally mounted leaflets designed to provide the largest possible opening area, such as the Mitroflow (LivaNova, London, UK) or the Trifecta (Abbott, Minneapolis, MN) prostheses. The Trifecta valve is a tri-leaflet supra-annular bovine pericardial prosthesis with leaflets mounted on the outside of a polyester-covered titanium stent to maximize valve opening.[13] The titanium stent cannot be fractured with a valvuloplasty balloon, but it is possible to deform the stent posts outwardly.[14,15] Unfortunately, several reports have demonstrated limited durability compared to other stented prostheses.[16–20] Although many patients require re-intervention when rSAVR is considered high risk, data on ViV-TAVR for failed Trifecta prostheses remains limited. In comparison, the Epic Supra valve (Abbott, Minneapolis, USA) is a supra-annular valve from the same manufacturer but designed with leaflets mounted internally. It therefore allows the comparison to a potentially problematic valve.

The current study compares the clinical and hemodynamic outcome of patients undergoing ViV-TAVR for deteriorated Trifecta and EpicT aortic bioprostheses from a multicenter European registry.

Methods

Data Availability Statement

Data and statistical analysis underlying this article can be shared upon reasonable request.

Study Population

We retrospectively collected baseline, procedural, hemodynamic, and clinical data of consecutive patients that underwent ViV-TAVR for deteriorated Trifecta or Epic aortic bioprostheses at 6 European centers between October 2015 and June 2020 within The International Trifecta and Epic Valve-in-Valve Registry (NCT05389631). Exclusion criteria included (1) ViV-TAVR of an aortic valve bioprosthesis other than the Trifecta or Epic valve, and (2) patients undergoing combined multiple transcatheter valve procedures in addition to ViV-TAVR. This retrospective study was approved by the ethics committees of each participating center (Supplement Table 1). Funding was provided by Abbott Structural Heart.

The Trifecta GT valve is a second-generation valve that was introduced in 2016 and has additional features intended to make the valve easier to implant. The Epic Supra valve (Abbott, Minneapolis, USA) is a supra-annular triple composite porcine valve with leaflets mounted internally onto a low profile FlexFit polyester-covered polymer stent.[21] The stent frame can be fractured with a valvuloplasty balloon at 8 atmospheres.[14]

Outcomes of Interest

The primary outcome of interest was a composite of 30-day all-cause mortality and/or clinically significant CO defined as: (1) CO resulting in myocardial infarction and/or cardiogenic shock, or (2) CO requiring emergent coronary intervention. Secondary outcomes of interest included selected Valve Academic Research Consortium (VARC)3-based outcomes including cardiac structural complications and early safety.[22] All variables were collected locally. Median follow-up was 365 days.

Statistical Analysis

Normality of data was tested using Shapiro-Wilk test. Continuous variables of normal distribution were compared using student t-test and are shown as mean ± standard deviation (SD). Continuous variables without normal distribution were compared using Wilcoxon rank-sum or Kruskall-Wallis test and are shown as median ± interquartile range (IQR). Categorical variables were compared using Chi2 and are shown as frequencies and percentages. Missing variables were tested both numerically and graphically for patterns of missingness and subsequently treated as missing at random. Using the difference of the surgical prosthesis as well as baseline and CT-based parameters that differed at a level of p<0.1 as independent variables, and the primary composite outcome as the dependent variable within uni-variable binomial regression, we tested all variables with a p-value of less than 0.1 as well as clinically relevant variables using the Wald-test as well as Pseudo-R2 measures as criteria within multivariable analysis. Mid-term clinical outcome was analyzed using the Kaplan-Meier curve and the log-rank test. Statistical analysis was performed using base R functions (R version 4.2.1) within RStudio (version 1.4.1103), as well as the following R packages: tidyverse, compareGroups, ggthemes, ggsci, ggpubr, aod, pscl, janitor, reshape2, survival, and survminer. The manuscript was written using R Markdown and Knitr in adherence to principles of reproducible research.

Results

Study Population & Baseline Characteristics

Seventy-six patients (median age 80 years, interquartile range [IQR] 75;82]; 46.1% females) with a median Society of Thoracic Surgeons-score of 5.4 [4;9.8] were identified (Table 1). The 76 implanted surgical prostheses included Epic standard valve (N=23), Epic Supra valve (N=4), Trifecta valve (N=47), and Trifecta GT valve (N=2). Trifecta patients were more frequently female (63.3% versus 14.8%, p<0.001) and had lower rates of previous myocardial infarction (2.0% versus 14.8%, p=0.05). All Epic prostheses showed relevant stenosis (63.8% versus 100% for Trifecta versus Epic, respectively, p=0.003), while approximately 2/3 of Trifecta valves had relevant prosthesis regurgitation (66.7% versus 22.7%, p=0.002), with greater valve effective orifice areas compared to Epic prostheses (0.95 versus 0.80 cm2, p=0.06). Small surgical valves (i.e., labeled valve diameter < 23 mm) were more frequent in the Trifecta group (42.9% versus 11.1%, p=0.01).

Computed Tomography Measures & Procedural Characteristics

Median time between surgery and ViV-TAVR was 6.4 years (4.5;8.0; Table 2). Selected CT-based and procedural characteristics of the two ViV sizes predominantly utilized (i.e., 23mm and 26mm valve size) are shown in Supplemental Table 2. Access for ViV-TAVR was transfemoral in all but 1 Trifecta case. Smaller aortic annulus and surgical prosthesis diameters were present in patients undergoing valve-in-Trifecta. Coronary protection was performed in 8 Trifecta cases (29.6%; 4 leaflet laceration procedures; 3 protective wiring; 1 preventive stenting) vs 0 Epic cases (p = 0.006). Coronary obstruction occurred in 1 case following valve-in-Epic. The obstructed left main coronary artery was stented and the patient was discharged uneventfully. Table S4 shows selected variables of cases of coronary protection or coronary obstruction.

Clinical & Hemodynamic Outcome

The primary composite outcome of all-cause mortality or CO was observed in 8 cases, 3 times more frequently in patients undergoing valve-in-Epic (20.0% versus 6.4%, p=0.1, Table 3). Adverse clinical events included 2 cases of VARC3-based cardiac structural or other/technical complications in Trifecta patients, and 1 Trifecta case of valve malpositioning, resulting in comparable rates of VARC3-based early safety. Multivariable logistic regression including prosthesis type and STS-score as independent variables revealed that prosthesis regurgitation was independently and inversely associated with the primary composite outcome (Supplemental Table 3).

Hemodynamic performance improved significantly following ViV-TAVR and remained improved through last follow-up (Figure 1; Table S5). Although overall comparable between groups, valve-in-Trifecta resulted in lower mean and peak gradients at 30 days (12.8 versus 15.6 mmHg and 22.4 versus 32 mmHg; p= 0.1 and 0.06, respectively); larger aortic valve area at both discharge and 1 year post-procedure (1.9 versus 1.3 cm2 and 1.7 versus 1.1 cm2, respectively, p=0.02); and lower rates of PPM and thus VARC3-based non-structural valve dysfunction (41.7% versus 75.0%, p=0.08; Supplemental Figure S1).Survival at a median of 365 days did not differ between groups (log-rank p=0.37; Figure 2).

Discussion

The International Trifecta and Epic Valve-in-Valve Registry assessed the clinical and hemodynamic outcome of ViV-TAVR, comparing surgical aortic bioprostheses with and without increased risk of CO based on the mounting of the leaflets. We found that: (1) ViV-TAVR for deteriorated Trifecta-valves was performed without major complications in more than 90% of the cases using measures to prevent CO, in 29.6% of the Trifecta patients; (2) hemodynamic outcome post-Trifecta ViV-TAVR is acceptable and appears to be comparable to other ViV-cohorts; (3) mid-term survival may be comparable to other failed prostheses treated in similar patient populations.[2]

Although our cohort was comparable to most previous reports on ViV-TAVR, some aspects are worth highlighting. First, the Trifecta patients represent a subgroup of individuals at increased risk for PPM post ViV-TAVR due to small annular dimensions relative to body surface area (BSA). Approximately 2/3 of Trifecta patients were female, with annulus diameters unsuitable for prosthesis larger than 22 mm in diameter on average, while BSA did not differ between groups. At ViV-TAVR, this did not result in lower baseline effective orifice areas (EOA) in Trifecta patients, likely due to the mode of failure which included prosthesis regurgitation in 2/3 of the cases. Nevertheless, small surgical valves (i.e., labeled valve diameter < 23 mm) were more frequent in the Trifecta group, accounting for 87.5% of all cases of small valves, of which in turn 83.3% were female. Conversely, 57.1% of all female patients received surgical prostheses smaller than 23 mm at the index SAVR procedure. Although the EOA and short-term hemodynamic outcome may be superior in prostheses with externally compared to internally mounted leaflets, the titanium stent ring ultimately limits the size of the ViV-TAVR prosthesis, since the Trifecta valve cannot be fractured.[14,15,23] This may result in PPM after ViV-TAVR, which is known to be associated with worse long-term clinical outcomes.[24] Reporting on the outcome of ViV-TAVR for these prostheses, therefore, highlights the life-time consequences of avoiding root enlargement techniques in small aortic roots at the initial SAVR procedure.

Coronary obstruction is a rare, but often lethal, complication following ViV-TAVR.[10] With a single case of CO in our series managed successfully with coronary stenting, our data confirm that CO is infrequent, even when including prostheses at higher risk of this complication. It should be noted, however, that preventive measures such as leaflet laceration or coronary wiring were utilized exclusively in Trifecta cases. We did not have access to the number of patients screened for a ViV-TAVR and were therefore unable to assess how many patients with an indication for repeat intervention were indeed referred for intervention. Thus, the degree of selection bias cannot be evaluated, and it remains unclear whether our results can be generalized to other prostheses with externally mounted leaflets. Nevertheless, recent data on coronary protection and CO in 250 cases of aortic ViV-TAVR including 28% with externally mounted leaflets demonstrated higher rates of CO or stent deployment compared to those with internally mounted leaflets, with no difference in mortality after 2 years.(12) Notably, coronary protection was performed in 79% of the cases with externally mounted leaflets (versus 6% for other prostheses), indicating the importance of patient selection and pre-procedure planning with a low threshold to utilize coronary protection.[12,25]

Finally, hemodynamic outcome in our data demonstrate that although valve-in-Trifecta may be technically challenging, it can also lead to better valve opening area compared to prostheses without externally mounted leaflets. At least moderate PPM was found more frequently following valve-in-Epic, resulting in 75% of patients meeting the VARC3-based endpoint of stage-1 non-structural valve dysfunction.[22] This is an interesting finding, because neither choice of TAVR prosthesis (balloon- versus self-expandable) nor procedural characteristics such as pre- or post-dilatation and bioprosthetic valve fracture differed between groups. In fact, the latter were used numerically less frequently in Trifecta patients. A possible explanation for this finding includes the differences in failure mode as well as pre-existing PPM in the Epic group.[9] Compared to other surgical aortic bioprostheses, the deterioration of Trifecta prostheses includes an increased rate of cusp tear and subsequent prosthesis regurgitation.[26–29] Although reduced EOA post-procedure did not translate into statistically worse hemodynamic performance in terms of mean or peak valve gradient in our study, valve-in-Epic resulted in mild prosthesis stenosis based on mean gradient and valve opening area, a finding that is in line with other reports on aortic ViV-TAVR. [9,29,31] It is known that PPM  is associated with impaired long-term survival following valve replacement.[24] In our sample, more than half of the patients discharged with at least moderate PPM were not high-risk based on the STS-score. For these patients, elective rSAVR may be considered as it could lead to improved hemodynamics and therefore better long-term clinical outcomes.[3,32,33]

## Limitations

The current study has several limitations. First, we focused on the Trifecta prostheses representing a valve design with externally mounted leaflets and our results are therefore limited to this particular heart valve. Second, sample size was limited which may explain why we could not detect statistical significance for the primary outcome of interest. Third, some hemodynamic measures were incomplete during follow-up and hence should be interpreted with caution. Forth, relevant CT-based measurements such as the valve-to-aorta or valve-to-coronary distances were available in 3 cases only and could therefore not be studied for this analysis. Finally, screening processes were not documented for patients presenting with Trifecta or Epic valve failure who were not referred for intervention, and our data therefore carries a risk of selection bias.

# Conclusions

In comparison to a standard surgical aortic bioprosthesis without increased risk of CO based on mounting of leaflets, Trifecta aortic bioprostheses with an indication for repeat intervention can be treated safely using ViV-TAVR in the majority of cases, when techniques to limit the risk of CO are appropriately utilized. One year mortality is acceptable post-ViV TAVR, but a significant proportion of patients have post-intervention PPM which may affect longer term outcomes.

# Tables

Table 1. Baseline Characteristics.

|  | Epic (N=27) | Trifecta (N=49) | p-value |
| --- | --- | --- | --- |
| Age (years) | 80.0 [78.0;84.5] | 79.0 [75.0;82.0] | 0.184 |
| Female | 4 (14.8%) | 31 (63.3%) | <0.001 |
| BSA (m2) | 1.87 [1.78;1.95] | 1.82 [1.71;1.91] | 0.385 |
| STS PROM Score | 7.73 [4.12;10.3] | 5.00 [4.02;8.53] | 0.300 |
| NYHA > I | 25 (92.6%) | 46 (97.9%) | 0.550 |
| Prior Stroke | 2 (7.41%) | 3 (6.12%) | 1.000 |
| Prior MI | 4 (14.8%) | 1 (2.04%) | 0.051 |
| Arterial Hypertension | 23 (85.2%) | 45 (91.8%) | 0.444 |
| Insulin-Dependent Diabetes Mellitus | 3 (11.1%) | 10 (20.4%) | 0.359 |
| Chronic Renal Failure | 9 (33.3%) | 18 (36.7%) | 0.963 |
| PCI Within 3 Months Prior | 2 (7.41%) | 6 (13.3%) | 0.701 |
| Prior CABG | 13 (48.1%) | 17 (34.7%) | 0.366 |
| Permanent Pacemaker | 5 (18.5%) | 13 (26.5%) | 0.614 |
| LVEF (%) | 55.5 [42.8;65.0] | 57.6 [44.2;62.2] | 0.794 |
| Aortic Stenosis > mild | 21 (100%) | 28 (68.3%) | 0.003 |
| EOA | 0.80 [0.55;0.90] | 0.95 [0.62;1.30] | 0.055 |
| AV Mean Pressure Gradient | 36.0 [30.0;45.0] | 30.5 [18.6;45.2] | 0.129 |
| AV Peak Pressure Gradient | 65.0 [51.2;77.8] | 54.9 [32.5;77.5] | 0.161 |
| Aortic Regurgitation > mild | 5 (22.7%) | 30 (66.7%) | 0.002 |
| Mode of Failure: Predominant AS | 17 (77.3%) | 15 (33.3%) | 0.002 |
| Mode of Failure: Predominant AR | 0 (0.00%) | 13 (31.7%) | 0.003 |
| Mode of Failure: Mixed | 3 (15.0%) | 12 (30.0%) | 0.343 |

AS=Aortic Stenosis, AR=Aortic Regurgitation, AV=Aortic Valve, BSA=Body Surface Area, CABG=Coronary Artery Bypass Grafting, EOA=Effective Orifice Area, LVEF=Left Ventricular Ejection Fraction, MI=Myocardial Infarction, NYHA=New York Heart Association, PCI=Percutaneous Coronary Intervention, SAVR=surgical aortic valve replacement, STS PROM=Society of Thoracic Surgeons Predicted Risk of Mortality, TIA=Transitory Ischemic Attack

Values are expressed as total numbers (percentage) and median [Interquartile Range].

Table 2. Computed Tomography and Procedural Characteristics.

|  | Epic (N=27) | Trifecta (N=49) | p-value |
| --- | --- | --- | --- |
| Time between Interventions (years) | 5.39 [4.08;10.4] | 6.55 [4.65;7.74] | 0.978 |
| Surgical Valve Diameter<23mm | 3 (11.1%) | 21 (42.9%) | 0.010 |
| Annulus Maximal Diameter (mm) | 24.0 [22.2;26.0] | 22.0 [20.0;24.1] | 0.088 |
| Annulus Mean Area (mm2) | 383 [347;415] | 344 [285;380] | 0.046 |
| Left Coronary Artery Height (mm) | 10.0 [9.50;12.0] | 8.00 [6.00;11.0] | 0.113 |
| Right Coronary Artery Height (mm) | 13.0 [9.50;16.5] | 10.0 [6.95;14.0] | 0.071 |
| SoV Width (mm) | 33.0 [31.0;36.5] | 32.0 [30.0;35.0] | 0.291 |
| STJ Width (mm) | 29.8 [29.0;32.0] | 28.0 [26.0;30.4] | 0.250 |
| Predilatation | 12 (44.4%) | 11 (22.9%) | 0.093 |
| Any Coronary Protection Maneuver | 0 (0.00%) | 8 (29.6%) | 0.006 |
| Leaflet Laceration (BASILICA) | 0 (0.00%) | 4 (14.3%) | 0.117 |
| Self-expandable ViV Prosthesis | 14 (51.9%) | 30 (61.2%) | 0.583 |
| ViV Size: |  |  | 0.074 |
| 20 | 1 (3.70%) | 0 (0.00%) |  |
| 23 | 13 (48.1%) | 35 (71.4%) |  |
| 26 | 12 (44.4%) | 11 (22.4%) |  |
| 29 | 1 (3.70%) | 3 (6.12%) |  |

SoV=Sinus of Valsalva, STJ=Sinutubular Junction, ViV=Valve-in-Valve

Values are expressed as total numbers (percentage) and median [Interquartile Range].

Table 3. Clinical and Hemodynamic Outcome.

|  | Epic (N=27) | Trifecta (N=49) | p-value |
| --- | --- | --- | --- |
| In-Hospital Outcome |  |  |  |
| Mortality | 2 (8.00%) | 3 (6.1%) | 1.000 |
| Coronary Obstruction | 1 (3.70%) | 0 (0.00%) | - |
| Stroke | 2 (7.41%) | 2 (4.08%) | 0.612 |
| Minor Vascular Complication** | 5 (18.5%) | 7 (14.3%) | 0.745 |
| Early Safety** | 18 (78.3%) | 38 (90.5%) | 0.260 |
| Mean AV Gradient [mm Hg] | 17.9 [12.0;21.0] | 15.9 [10.5;20.0] | 0.294 |
| Peak AV Gradient [mm Hg] | 25.5 [21.5;34.5] | 26.1 [18.1;34.5] | 0.488 |
| AV Residual Gradient (>=20 mmHg) | 10 (43.5%) | 11 (25.6%) | 0.226 |
| iEOA | 0.73 [0.60;0.83] | 0.81 [0.74;1.01] | 0.087 |
| Moderate or Severe PPM | 12 (75.0%) | 10 (41.7%) | 0.080 |
| Outcome at 30 Days |  |  |  |
| Primary Outcome (Mortality or CO) | 5 (20.0%) | 3 (6.1%) | 0.116 |
| LVEF [%] | 57.0 [45.0;65.0] | 59.0 [55.0;62.0] | 0.530 |
| Mean AV Gradient [mm Hg] | 15.6 [11.2;26.3] | 12.8 [10.1;17.8] | 0.097 |
| Peak AV Gradient [mm Hg] | 32.0 [22.9;41.8] | 22.4 [15.8;29.9] | 0.057 |

AR=Aortic Regurgitation, AV=Aortic Valve, iEOA=Indexed Effective Orifice Area, PPM=Patient Prosthesis Mismatch

Values are expressed as total numbers (percentage) and median [Interquartile Range].

** based on Valve Academic Research Consortium-3

# Figure Legends

Figure 1. Graphs depicting mean valve gradient by (A) prosthesis type (blue=Epic, orange=Trifecta, and (B) true internal diameter of the surgical prosthesis. Gradients improved significantly by discharge and improvements were maintained until follow up.

Figure 2. Curves depict Kaplan-Meier time-to-event rates for all-cause mortality by prosthesis type (blue=Epic, orange=Trifecta).

# Figures

Figure 1.

Figure 2.

Central Figure

# Acknowledgements

The authors would like to thank the following individuals for their support on this study: Sabine Krauspe, Torsten Doenst, and Sven Möbius-Winkler (University Clinic Jena, Jena, Germany); Christin Birkner & Klaus Matschke (Heart Center Dresden at University Hospital Dresden, Dresden, Germany); Kim Golder, John Rawlins, Sunil Ohri, Hassan Katach, and Belinda Roberts (Wessex Cardiothoracic Centre, University Hospital Southampton, Southampton, UK); Klaartje Van den Bossche & Bart Meuris (University Hospital Leuven, Leuven, Belgium); Esther van Dooren-Putmans & Bianca de Louw (Heartcentre Catharina Hospital, Eindhoven, Netherlands); and Ina Wagner, Josephine Kister, Hannes Winkler, Salome Hecht & Anne Funkat (Leipzig Heart Center, Leipzig, Germany).

Author Contributions

Matthias Raschpichler: concept/design, data analysis/interpretation, drafting article, critical revision of article, approval of article, statistics

Mohamed Abdel-Wahab: concept/design, drafting article, critical revision of article, approval of article, other

Nick Curzen: data analysis/interpretation, critical revision of article, approval of article

John Rawlins: data analysis/interpretation, critical revision of article, approval of article

Sunil Ohri: data analysis/interpretation, critical revision of article, approval of article

Hassan Kattach: data analysis/interpretation, critical revision of article, approval of article

Manuel Wilbring: data analysis/interpretation, critical revision of article, approval of article

Klaus Matschke: data analysis/interpretation, critical revision of article, approval of article

Christoph Dubois: data analysis/interpretation, critical revision of article, approval of article

Bart Meuris: data analysis/interpretation, data collection, critical revision of article, approval of article

Kayan Lam: data analysis/interpretation, data collection, critical revision of article, approval of article

Bianca de Louw: data analysis/interpretation, data collection, critical revision of article, approval of article

Torsten Doenst: data analysis/interpretation, critical revision of article, approval of article

Gloria Faerber: data analysis/interpretation, critical revision of article, approval of article

Sven Möbius-Winkler: data analysis/interpretation, data collection, critical revision of article, approval of article

Jana Nagel: concept/design, data collection, other

Thilo Noack: approval of article, data collection, other

Philip Kiefer: approval of article, data collection, other

Holger Thiele: critical revision of article, approval of article, other

Michael A. Borger: concept/design, critical revision of article, approval of article, statistics, funding

# References

1. 	Dvir D, Webb J, Brecker S, Bleiziffer S, Hildick-Smith D, Colombo A, Descoutures F, Hengstenberg C, Moat NE, Bekeredjian R, Napodano M, Testa L, Lefevre T, Guetta V, Nissen H, Hernández J-M, Roy D, Teles RC, Segev A, Dumonteil N, Fiorina C, Gotzmann M, Tchetche D, Abdel-Wahab M, De Marco F, Baumbach A, Laborde J-C, Kornowski R. Transcatheter Aortic Valve Replacement for Degenerative Bioprosthetic Surgical Valves. Circulation. 2012;126:2335–44.

2. 	Webb JG, Murdoch DJ, Alu MC, Cheung A, Crowley A, Dvir D, Herrmann HC, Kodali SK, Leipsic J, Miller DC, Pibarot P, Suri RM, Wood D, Leon MB, Mack MJ. 3-Year Outcomes After Valve-in-Valve Transcatheter Aortic Valve Replacement for Degenerated Bioprostheses. Journal of the American College of Cardiology. 2019;73:2647–55.

3. 	Deharo P, Bisson A, Herbert J, Lacour T, Etienne CS, Porto A, Theron A, Collart F, Bourguignon T, Cuisset T, Fauchier L. Transcatheter Valve-in-Valve Aortic Valve Replacement as an Alternative to Surgical Re-Replacement. Journal of the American College of Cardiology. 2020;76:489–99.

4. 	Majmundar M, Doshi R, Kumar A, Johnston D, Brockett J, Kanaa’N A, Lahorra JL, Svensson LS, Krishnaswamy A, Reed GR, Puri R, Kapadia SK, Kalra A. Valve-in-valve transcatheter aortic valve implantation versus repeat surgical aortic valve replacement in patients with a failed aortic bioprosthesis. EuroIntervention. 2022;17:1227–37.

5. 	Raschpichler M, de Waha S, Holzhey D, Schwarzer G, Flint N, Kaewkes D, Bräuchle PT, Dvir D, Makkar R, Ailawadi G, Abdel-Wahab M, Thiele H, Borger MA. Valve-in-Valve Transcatheter Aortic Valve Replacement Versus Redo Surgical Aortic Valve Replacement for Failed Surgical Aortic Bioprostheses: A Systematic Review and Meta-Analysis. Journal of the American Heart Association. 2022;11.

6. 	Nagasaka T, Koren O, Patel V, Naami R, Naami E, Shechter A, Kohan S, Allison Z, Lerner A, Cheng DE, Chakravarty T, Cheng W, Jilaihawi H, Ishii H, Nakamura M, Makkar RR. Two-Year Outcomes of Valve-in-Valve Using New-Generation Transcatheter Devices Compared With Redo-SAVR. The American Journal of Cardiology. 2023;207:380–9.

7. 	Abdel-Wahab M, Simonato M, Latib A, Goleski PJ, Allali A, Kaur J, Azadani AN, Horlick E, Testa L, Orvin K, Kornowski R, Kass M, Don CW, Richardt G, Webb JG, Dvir D. Clinical Valve Thrombosis After Transcatheter Aortic Valve-in-Valve Implantation. Circulation: Cardiovascular Interventions. 2018;11.

8. 	D’Ascenzo F, Salizzoni S, Saglietto A, Cortese M, Latib A, Franzone A, Barbanti M, Nietlispach F, Holy EW, Burriesci G, De Paoli A, Fonio P, Atzeni F, Moretti C, Perl L, D’Amico M, Rinaldi M, Conrotto F. Incidence, predictors and cerebrovascular consequences of leaflet thrombosis after transcatheter aortic valve implantation: a systematic review and meta-analysis. European Journal of Cardio-Thoracic Surgery. 2019;56:488–94.

9. 	Zenses A-S, Dahou A, Salaun E, Clavel M-A, Rodés-Cabau J, Ong G, Guzzetti E, Côté M, De Larochellière R, Paradis J-M, Doyle D, Mohammadi S, Dumont É, Chamandi C, Rodriguez-Gabella T, Rieu R, Pibarot P. Haemodynamic outcomes following aortic valve-in-valve procedure. Open Heart. 2018;5:e000854.

10. 	Ribeiro HB, Rodés-Cabau J, Blanke P, Leipsic J, Kwan Park J, Bapat V, Makkar R, Simonato M, Barbanti M, Schofer J, Bleiziffer S, Latib A, Hildick-Smith D, Presbitero P, Windecker S, Napodano M, Cerillo AG, Abdel-Wahab M, Tchetche D, Fiorina C, Sinning J-M, Cohen MG, Guerrero ME, Whisenant B, Nietlispach F, Palma JH, Nombela-Franco L, de Weger A, Kass M, Sandoli de Brito F, Lemos PA, Kornowski R, Webb J, Dvir D. Incidence, predictors, and clinical outcomes of coronary obstruction following transcatheter aortic valve replacement for degenerative bioprosthetic surgical valves: insights from the VIVID registry. European Heart Journal. 2017;39:687–95.

11. 	Khan JM, Greenbaum AB, Babaliaros VC, Rogers T, Eng MH, Paone G, Leshnower BG, Reisman M, Satler L, Waksman R, Chen MY, Stine AM, Tian X, Dvir D, Lederman RJ. The BASILICA Trial. JACC: Cardiovascular Interventions. 2019;12:1240–52.

12. 	AlBadri A, Joseph J, Patel V, Patel D, Koren O, Cheng W, Jilaihawi H, Makkar R. Hemodynamic and Mid-Term Outcomes for Transcatheter Aortic Valve Replacement in Degenerated Internally Stented Valves. JACC: Cardiovascular Interventions. 2023;16:542–54.

13. 	Bavaria JE, Desai ND, Cheung A, Petracek MR, Groh MA, Borger MA, Schaff HV. The St Jude Medical Trifecta aortic pericardial valve: Results from a global, multicenter, prospective clinical study. The Journal of Thoracic and Cardiovascular Surgery. 2014;147:590–7.

14. 	Allen KB, Chhatriwalla AK, Cohen DJ, Saxon JT, Aggarwal S, Hart A, Baron S, Davis JR, Pak AF, Dvir D, Borkon AM. Bioprosthetic Valve Fracture to Facilitate Transcatheter Valve-in-Valve Implantation. The Annals of Thoracic Surgery. 2017;104:1501–8.

15. 	Saxon JT, Allen KB, Cohen DJ, Hart A, Dvir D, Chhatriwalla AK. Bioprosthetic Valve Remodeling of Trifecta Surgical Valves to Facilitate Valve-in-Valve TAVR. Structural Heart. 2020;4:99–104.

16. 	Squiers JJ, Robinson NB, Audisio K, Ryan WH, Mack MJ, Rahouma M, Cancelli G, Kirov H, Doenst T, Gaudino M, DiMaio JM. Structural valve degeneration of bioprosthetic aortic valves: A network meta-analysis. The Journal of Thoracic and Cardiovascular Surgery. 2023;166:52–9.

17. 	Persson M, Glaser N, Nilsson J, Friberg Ö, Franco-Cereceda A, Sartipy U. Comparison of Long-term Performance of Bioprosthetic Aortic Valves in Sweden From 2003 to 2018. JAMA Network Open. 2022;5:e220962.

18. 	Werner P, Coti I, Kaider A, Gritsch J, Mach M, Kocher A, Laufer G, Andreas M. Long-term durability after surgical aortic valve replacement with the Trifecta and the Intuity valvea comparative analysis. European Journal of Cardio-Thoracic Surgery. 2021;61:416–24.

19. 	Yongue C, Lopez DC, Soltesz EG, Roselli EE, Bakaeen FG, Gillinov AM, Pettersson GB, Semple ME, Rajeswaran J, Tong MZ, Jaber W, Blackstone EH, Svensson LG, Johnston DR. Durability and Performance of 2298 Trifecta Aortic Valve Prostheses: A Propensity-Matched Analysis. The Annals of Thoracic Surgery. 2021;111:1198–205.

20. 	Sénage T, Le Tourneau T, Foucher Y, Pattier S, Cueff C, Michel M, Serfaty J-M, Mugniot A, Périgaud C, Carton HF, Al Habash O, Baron O, Roussel JC. Early Structural Valve Deterioration of Mitroflow Aortic Bioprosthesis. Circulation. 2014;130:2012–20.

21. 	Jamieson WRE, Lewis CTP, Sakwa MP, Cooley DA, Kshettry VR, Jones KW, David TE, Sullivan JA, Fradet GJ, Bach DS. St Jude Medical Epic porcine bioprosthesis: Results of the regulatory evaluation. The Journal of Thoracic and Cardiovascular Surgery. 2011;141:1449–1454.e2.

22. 	Généreux P, Piazza N, Alu MC, Nazif T, Hahn RT, Pibarot P, Bax JJ, Leipsic JA, Blanke P, Blackstone EH, Finn MT, Kapadia S, Linke A, Mack MJ, Makkar R, Mehran R, Popma JJ, Reardon M, Rodes-Cabau J, Van Mieghem NM, Webb JG, Cohen DJ, Leon MB. Valve Academic Research Consortium 3: Updated Endpoint Definitions for Aortic Valve Clinical Research. Journal of the American College of Cardiology. 2021;77:2717–46.

23. 	Sadat N, Bruhn D, Scharfschwerdt M, Schaller T, Aboud A, Saisho H, Eitel I, Ensminger S, Fujita B. Impact of high-pressure balloon aortic valvuloplasty on the hydrodynamic result after a transcatheter valve-in-valve procedure. Catheterization and Cardiovascular Interventions. 2022;100:841–9.

24. 	Head SJ, Mokhles MM, Osnabrugge RLJ, Pibarot P, Mack MJ, Takkenberg JJM, Bogers AJJC, Kappetein AP. The impact of prosthesispatient mismatch on long-term survival after aortic valve replacement: a systematic review and meta-analysis of 34 observational studies comprising 27 186 patients with 133 141 patient-years. European Heart Journal. 2012;33:1518–29.

25. 	Abdel-Wahab M, Richter I, Taramasso M, Unbehaun A, Rudolph T, Ribichini FL, Binder R, Schofer J, Mangner N, Dambrink J-H, Trejo-Velasco B, Thiele H, Kitamura M, Lanz J. Procedural and one-year outcomes of the BASILICA technique in europe: The multicentre EURO-BASILICA registry. EuroIntervention. 2023;19:e432–41.

26. 	Stanová V, Godio Raboutet Y, Barragan P, Thollon L, Pibarot P, Rieu R. Leaflet stress quantification of porcine vs bovine surgical bioprostheses: an in vitro study. Computer Methods in Biomechanics and Biomedical Engineering. 2021;25:40–51.

27. 	Malvindi PG, Kattach H, Luthra S, Ohri S. Modes of failure of Trifecta aortic valve prosthesis. Interactive CardioVascular and Thoracic Surgery. 2022;35.

28. 	Wakami T, Koizumi S, Koyama T. Impact of postoperative patient-prosthesis mismatch as a risk factor for early structural valve deterioration after aortic valve replacement with Trifecta bioprosthesis. Journal of Cardiothoracic Surgery. 2022;17.

29. 	Yount KW, Hawkins RB, Mehaffey JH, Teman NR, Yarboro LT, Kern JA, Ailawadi G. Aortic valve biologic protheses: A cohort comparison of premature valve failure. Journal of Cardiac Surgery. 2022;37:1224–9.

30. 	Bleiziffer S, Erlebach M, Simonato M, Pibarot P, Webb J, Capek L, Windecker S, George I, Sinning J-M, Horlick E, Napodano M, Holzhey DM, Petursson P, Cerillo A, Bonaros N, Ferrari E, Cohen MG, Baquero G, Jones TL, Kalra A, Reardon MJ, Chhatriwalla A, Gama Ribeiro V, Alnasser S, Van Mieghem NM, Rustenbach CJ, Schofer J, Garcia S, Zeus T, Champagnac D, Bekeredjian R, Kornowski R, Lange R, Dvir D. Incidence, predictors and clinical outcomes of residual stenosis after aortic valve-in-valve. Heart. 2018;104:828–34.

31. 	Tuzcu EM, Kapadia SR, Vemulapalli S, Carroll JD, Holmes DR, Mack MJ, Thourani VH, Grover FL, Brennan JM, Suri RM, Dai D, Svensson LG. Transcatheter Aortic Valve Replacement of Failed Surgically Implanted Bioprostheses. Journal of the American College of Cardiology. 2018;72:370–82.

32. 	Borger MA, Raschpichler M, Makkar R. Repeat Aortic Valve Surgery or Transcatheter Valve-in-Valve Therapy. Journal of the American College of Cardiology. 2020;76:500–2.

33. 	Raschpichler M, Thiele H, Borger MA. When an Aortic Bioprosthesis Fails in a Low-risk Patient, Randomize. JAMA Cardiology. 2022;7:473.