Health & Safety Risk Assessment Template

| Work task / activity | Non-invasive textile sensor for skin hydration monitoring |
| --- | --- |

| Assessor | Alexandar Todorov | Responsible Manager | Russel Torah | Date | 06/06/2022 |
| --- | --- | --- | --- | --- | --- |

| Faculty / Service | FEPS | Academic Unit / Team | ECS | Location | B59 |
| --- | --- | --- | --- | --- | --- |

| Brief description of task / activity | A prototype for a non-invasive sensor for skin hydration will be tested. The sensor consists of pairs of electrodes that come in contact with the human skin and form a capacitor with varying capacitance. The value of the capacitance depends on the dielectric properties of the skin, and thereby it is influenced by water content in the skin. A commercial LCR meter (Wayne Kerr 4300) will be used to measure the capacitance. |
| --- | --- |

| Reasonably foreseeable hazards | Inherent risk | Controls | Residual risk |
| --- | --- | --- | --- |
| Electric shock | Low X | The LCR meter (Wayne Kerr 4300) is PAT tested as of 11/2019, but its output voltage is limited to 2V (harmless). Since this is a capacitor layout, no live current will be running through the body. The frequency of operation of the machine will be in orders above 100kHz, further reducing the possibility of any sensible current to be detected. The laboratory also has a first-aid kit and a telephone connection. | Low X |
|  | Med |  | Med |
|  | High |  | High |
| Electrodes causing skin irritation | Low | The electrodes will be made out of copper or silver, which do not cause irritation on the skin. There are studies on silver being a cause for contact dermatitis in rare occasions, but the personal information sheet requires that participants do not have any known skin conditions. | Low X |
|  | Med X |  | Med |
|  | High |  | High |
| Discomfort from wearing the sensor patch | Low X | The prototype patch will be as non-invasive as possible, following the idea of the entire project, but some discomfort may arise from the adhesive bandages. If a participant experiences discomfort, the study will be ceased immediately. | Low X |
|  | Med |  | Med |
|  | High |  | High |
| Reasonably foreseeable hazards | Inherent risk | Controls | Residual risk |
| Equipment failure and cleanliness | Low X | [The LCR meter is PAT tested as of 11/2019. The probe and the equipment will be cleaned thoroughly before and after it is used on participants to avoid contamination. Electrodes will be wiped with alcohol solution to eliminate any residual bacteria or virus. | Low X |
|  | Med |  | Med |
|  | High |  | High |
| COVID-19 Measures | Low | The laboratory is ventilated and cleaned daily by the staff. Only 1 participant will be tested at a time and depending on the government’s advice at the time, masks may be worn. Electrodes will be wiped with alcohol solution to eliminate any residual bacteria or virus. | Low X |
|  | Med X |  | Med |
|  | High |  | High |
|  | Low |  | Low |
|  | Med |  | Med |
|  | High |  | High |
|  | Low |  | Low |
|  | Med |  | Med |
|  | High |  | High |
|  | Low |  | Low |
|  | Med |  | Med |
|  | High |  | High |
|  | Low |  | Low |
|  | Med |  | Med |
|  | High |  | High |
|  | Low |  | Low |
|  | Med |  | Med |
|  | High |  | High |

| Reasonably foreseeable hazards | Inherent risk | Controls | Residual risk |
| --- | --- | --- | --- |
|  | Low |  | Low |
|  | Med |  | Med |
|  | High |  | High |
|  | Low |  | Low |
|  | Med |  | Med |
|  | High |  | High |
|  | Low |  | Low |
|  | Med |  | Med |
|  | High |  | High |
|  | Low |  | Low |
|  | Med |  | Med |
|  | High |  | High |
|  | Low |  | Low |
|  | Med |  | Med |
|  | High |  | High |
|  | Low |  | Low |
|  | Med |  | Med |
|  | High |  | High |
|  | Low |  | Low |
|  | Med |  | Med |
|  | High |  | High |

| Reasonably foreseeable hazards | Inherent risk | Controls | Residual risk |
| --- | --- | --- | --- |
|  | Low |  | Low |
|  | Med |  | Med |
|  | High |  | High |
|  | Low |  | Low |
|  | Med |  | Med |
|  | High |  | High |
|  | Low |  | Low |
|  | Med |  | Med |
|  | High |  | High |
|  | Low |  | Low |
|  | Med |  | Med |
|  | High |  | High |
|  | Low |  | Low |
|  | Med |  | Med |
|  | High |  | High |
|  | Low |  | Low |
|  | Med |  | Med |
|  | High |  | High |

| Declaration by responsible manager: I confirm that this is a suitable & sufficient risk assessment for the above work task / activity. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Signed |  | Print name |  | Date |  |

Risk assessment checklist

- Risk assessments must be ‘suitable and sufficient’, that is, should cover all relevant issues and include enough detail.

- Work tasks & activities should be risk assessed, and not, as such, substances (but rather use of substances), or equipment (but rather use of equipment), or locations (but rather activities therein), or people (but rather what they do).

- This template is for ‘general’ risk assessments, and is suitable for most hazards, but certain hazards require additional regulatory and technical detail, such as ionising radiations, biological agents, genetic modification, noise, hazardous chemicals, etc.

- Risk assessments can be generic, provided they are ‘suitable and sufficient’, that is, identify all reasonably foreseeable hazards, meaningfully estimate risk, and delineate effective controls.

- ‘Hazards’ are things with the potential to cause harm.

- The qualification ‘reasonably foreseeable’ is applied to hazards to indicate that far-fetched, improbable hazards need not be considered, and also
neither need the obvious hazards of everyday life.

- ‘Inherent’ risk is that before controls are applied.

- Risk should be estimated using the matrix on the next page.

- ‘Controls’ are measures to eliminate or reduce risk.

- ‘Residual’ risk is that after controls are applied.

- The assessment should consider:

- Any competency, training and supervision that may be necessary.

- Reasonably foreseeable emergencies, and include suitable contingency plans.

- Any health surveillance that may be necessary.

- Any waste management or other environmental issues that may arise.

- The declaration at the end of the assessment must be signed by the responsible manager, principal investigator, project leader, etc.

Risk estimation matrix

High risk  – requires controls to reduce risk before activity / task can commence (or continue).

Medium risk  – requires controls to reduce risk as much and as soon as is reasonably practicable.

Low risk  – all risk should be reduced to this tolerable level, so far as is reasonably practicable.

| Reasonably foreseeable consequence severity Likelihood 3 of consequence | Minor superficial injury; or slight and temporary health effect; or trivial damage to equipment / building; or minimal disruption to work activities | Moderate significant injury or illness 1; or temporary minor disability; or minor damage to equipment / building; or slight disruption to work activities x | Major serious injury or illness 2; or significant or permanent disability; or significant damage to equipment / building; or significant disruption to work activities | Critical fatal injury or illness; or substantial and permanent disability; or severe damage to equipment / building; or extensive disruption to work activities | Catastrophic fatal injury or illness for multiple persons; or enormous damage to equipment / building; or disastrous disruption to work activities x |
| --- | --- | --- | --- | --- | --- |
| Almost certain very high probability, at or approaching 100% | high risk | high risk | high risk | high risk | high risk |
| Likely high probability, 1 in 10 chance or higher, once in two weeks or longer for activities on a daily basis | medium risk | high risk | high risk | high risk | high risk |
| Possible significant probability, 1 in 100 chance or higher, once in six months or longer for activities on a daily basis | low risk | medium risk | high risk | high risk | high risk |
| Unlikely low probability, 1 in 1,000 chance or higher, once in four years or longer for activities on a daily basis | low risk | low risk | medium risk | high risk | high risk |
| Rare very low probability, 1 in 10,000 chance or higher, once in a decade or longer for activities on a daily basis | low risk | low risk | low risk | medium risk | high risk |
| Almost never extremely low probability, less than 1 in 100,000 chance, once in a century or longer for activities on a daily basis | low risk | low risk | low risk | low risk | medium risk |

1  ‘Significant injury’ could include, for example, laceration, burn, concussion, serious sprain, minor fracture, etc.
‘Significant illness’ could include, for example, dermatitis, minor work-related musculoskeletal conditions, partial hearing loss, etc.

2  ‘Serious injury’ could include fracture or dislocation (other than fingers, thumbs or toes), amputation, loss of sight,
penetration or burn to eye, serious electric shock, asphyxia, or any injury leading to unconsciousness or requiring resuscitation
or admittance to hospital for more than 24 hours. ‘Serious illness’ could include, for example, requiring medical treatment after chemical or biological or radiological exposure, severe musculoskeletal conditions, severe dermatitis, asthma, etc.

3  For likelihoods in between the listed values, use the higher likelihood to estimate risk.