Measurement of lung clearance index (LCI2.5) by nitrogen multiple breath washout (N2-MBW) is feasible and well-tolerated by adults and children with cystic fibrosis

AUTHORS
Urquhart DS,1,2 Taylor E,1,2 Miller D,3 Bowens D,4 Lacey E,4 Cunningham S,1,2,5 Abkir M,6,7,8 Saunders C,6,7,8 Saynor ZL,9,10,11 on behalf of the ExACT-CF study group

ExACT-CF Study Group
Don S. Urquhart,1,2 Emily Taylor,1,2 Debbie Miller,3  Donna Bowens,4 Steve Cunningham,1,2,5 Steff Lewis,12  Aileen Rae Neilson,12 Dia Soilemezi,13 Hannah Ensor,12 Ioannis Vogiatizis,14 Lorna Allen,15 Ellyse Kilarski,3  Ellen Lacey,4 Gary Connett,16 Julian Legg,16  Hazel Evans,16  Thom Daniels,10  Mark Allenby,10 Mary Carroll,10 Robert Gray,3 Carlos Echevarria,17 Lisa Morrison,18 Gordon MacGregor,18 Mary Abkir, 6,7,8 Clare Saunders, 6,7,8 and Zoe L. Saynor.9,10,11

INSTITUTIONS
1 Department of Child Life and Health, University of Edinburgh, Edinburgh, United Kingdom; 
2 Department of Paediatric Respiratory and Sleep Medicine, Royal Hospital for Children and Young People, Edinburgh, United Kingdom; 3 Adult Cystic Fibrosis Unit, Western General Hospital, Edinburgh, United Kingdom; 4 NIHR Southampton Clinical Research Facility, University Hospitals Southampton NHS Foundation Trust, Southampton, United Kingdom; 5 Centre for Inflammation Research, University of Edinburgh, Edinburgh, United Kingdom; 6 Royal Brompton & Harefield Hospitals, part of Guys and St Thomas’ NHS Foundation Trust, London, United Kingdom; 7 National Heart and Lung Institute, Imperial College London, London, United Kingdom; 8 European Cystic Fibrosis Society, Lung Clearance Index Core Facility, London, United Kingdom; 9 School of Health Sciences, Faculty of Environmental and Life Sciences, University of Southampton, United Kingdom; 10 University Hospitals Southampton NHS Foundation Trust, Southampton, United Kingdom; 11 National Institute for Health Research, Southampton Biomedical Research Centre, University Hospitals Southampton NHS Foundation Trust, United Kingdom; 12 Usher Institute, University of Edinburgh, Edinburgh Clinical Trials Unit, NINE Edinburgh Bioquarter, 9 Little France, Edinburgh, UK; United Kingdom; 13 Department of Psychology, Faculty of Science and Health, University of Portsmouth, Portsmouth, United Kingdom; 14 Department of Sport, Exercise and Rehabilitation, Faculty of Health and Life Sciences, Northumbria University Newcastle, United Kingdom; 15 Cystic Fibrosis Trust, One Aldgate, Second Floor, London, United Kingdom; 16 Department of Paediatric Respiratory Medicine, University Hospital Southampton NHS Foundation Trust, Southampton, United Kingdom; 17 Adult Cystic Fibrosis Unit, Royal Victoria Infirmary, Newcastle-upon-Tyne, United Kingdom; 18 West of Scotland Adult CF Unit, Queen Elizabeth University Hospital, Glasgow, United Kingdom;

CORRESPONDING AUTHOR
Dr Don Urquhart, Consultant and Honorary Reader in Paediatric Respiratory and Sleep Medicine, Royal Hospital for Children and Young People, 50 Little France Crescent, Edinburgh, EH16 4TJ, United Kingdom.

E-mail: don.urquhart@nhslothian.scot.nhs.uk

AUTHOR CONTRIBUTIONS
Conceptualisation and design (DSU, ZLS, SC); Acquisition of data (ET,DM, DB, EL); Statistical analysis (DSU); Analysis and interpretation of data (MA,CS) First draft (DSU,ZLS,SC). All authors edited, reviewed, and approved the final version of the manuscript.

RUNNING TITLE
Feasibility of LCI2.5 across the age range in CF

WORD COUNT
2435 words, + 2 Tables and 1 Figure

WHAT IS ALREADY KNOWN ON THIS TOPIC

Lung clearance index (LCI2.5) measurement by nitrogen multiple breath washout (N2-MBW) is a sensitive measure of lung health.

The utility of LCI2.5 in adults with cystic fibrosis has previously been questioned due to the time taken to undertake the test and its acceptability to adult patients.

WHAT THIS STUDY ADDS

With standardised training and central over-reading support from respiratory physiologists, the measurement of LCI2.5 by N2-MBW can be successfully performed by multidisciplinary research staff (e.g. nurses, physiotherapists) within a clinical trial setting.

Test duration is comparable between adults and children, challenging assumptions that N2-MBW is impractical in older individuals or those with more advanced cystic fibrosis lung disease.

HOW THIS STUDY MIGHT AFFECT RESEARCH, PRACTICE OR POLICY

Patient-reported experience of N2-MBW was overwhelmingly positive, supporting its use as a low-burden outcome measure in clinical trials.

ABSTRACT

Background
Lung clearance index (LCI2.5), measured by nitrogen-multiple breath washout (N2-MBW) is a sensitive measure of ventilatory inhomogeneity that can be performed awake/unsedated from aged 3 years. However, concerns have been raised about the feasibility of LCI2.5 measurement by N2-MBW in adults with cystic fibrosis (CF), especially those with advanced lung disease, due to prolonged test durations. We assessed the feasibility, technical acceptability, and patient perception of N2-MBW in adults and children/adolescents with CF within the ExACT-CF feasibility trial.

Methods
N2-MBW (Exhalyzer-D, EcoMedics, Switzerland) was performed on two separate occasions, by multidisciplinary trial staff. Data were centrally over-read (European Cystic Fibrosis Society LCI Core Facility). Outcomes included the proportion of technically-acceptable tests, numbers of trials per test, times per trial, and total time to perform N2-MBW. Comparisons were made according to age group, and FEV1 category (>70% versus <70% predicted). Participants also completed a questionnaire assessing acceptability and willingness to repeat testing.

Results
Forty-nine participants (21 female; age: 10-55 years, FEV1: 38-113% predicted) completed N2-MBW. Median (IQR) test durations were similar for adults (42 (27-55) minutes) and children (37 (26-44) minutes) with CF. Technically-acceptable LCI2.5 results were obtained for 90/94 (95.8%) tests. Most participants rated the test easy to perform (87%) and comfortable (93%), with none reporting unwillingness to repeat N2-MBW testing.

Conclusion
N2-MBW testing is feasible, technically-acceptable, and well-tolerated in people with CF across a wide age and disease severity spectrum.  With appropriate standardised training and over-reading, LCI2.5 represents a robust outcome measure for consideration in CF clinical trials.

ABSTRACT WORD COUNT = 250/250 words

INTRODUCTION
Lung clearance index (LCI2.5), measured by nitrogen-multiple breath washout (N2-MBW), is a non-invasive marker of ventilation inhomogeneity that is being increasingly used as a physiological endpoint in cystic fibrosis (CF) clinical trials  [1-4]. LCI2.5 quantifies the efficiency of gas mixing within the lungs by calculating the number of lung turnovers required to reduce the concentration of nitrogen (N2) to 1/40th (2.5%) of its baseline level. In simple terms, the LCI2.5 tells us how well air empties from the lungs, and can highlight if some airways are emptying less well. N2-MBW testing requires the participant to initially breathe medical air (approximately 79% N2) to achieve a steady-state N2 concentration, followed by a switch to breathing 100% oxygen (0% N2), during which the N2 washout time and volumes are measured. LCI2.5 is determined across at least two N2-MBW trials.

LCI2.5 has a narrow normal range and can detect early lung disease, even when FEV1 is normal [5]. As lung disease progresses, LCI2.5 increases reflecting worsening ventilatory inhomogeneity. When compared to FEV1, LCI2.5 may be more sensitive to change following intervention [6,7], offering significant advantages for CF clinical trials, including smaller sample size requirements in this rare disease group. Moreover, its feasibility in young children further enhances its utility as an all-age trial endpoint [6].

However, concerns remain regarding the utility of N2-MBW in adults, particularly those with advanced lung disease. Prolonged test durations have been reported in adult bronchiectasis cohorts [8], alongside low rates of technically acceptable trials ranging from 58% to 80% having been determined by central over-reading [8,9]. Additionally, in those with severe lung disease the tracer gas may not reach poorly ventilated areas of lung, leading to an underestimate of lung inhomogeneity. For adults with CF, N2-MBW has previously been described as time-consuming [10], uncomfortable, and the least preferred test among a suite of monitoring tools (sputum sampling, spirometry, electrical impedance tomography and impedance oscillometry) [11]. Notably, much of this evidence pre-dates the release of updated Spiroware software (versions  3.3.1 and above), which has improved usability with the most commonly used Exhalyzer-D device.

A recent large study by Allomba and colleagues, utilising Spiroware version 3.3.1, suggests that N2-MBW is feasible in adults in a clinical setting [12]. Building on this, we evaluated its application within a research setting through the ExACT-CF feasibility trial, which included children, adolescents, and adults. Outside of industry-sponsored studies, there is limited evidence on LCI2.5 as a trial endpoint. In particular, data from investigator-led studies that employ centralised, standardised training alongside expert over-reading are sparse [2]. The European CF Society Clinical Trials Network (ECFS-CTN) LCI Core Facility supports such standardised delivery for multicentre clinical trials (both CTIMPs and investigator-led).

This study aimed to evaluate the feasibility measured by technical success, test duration, and patient acceptability of LCI2.5 measurement using N2-MBW in children, adolescents, and adults with CF as part of the ExACT-CF feasibility trial [13, 14], with ECFS-CTN LCI Core Facility support. We hypothesised that test burden and technical success may vary by age and site, and that adult participants may face greater challenges.

METHODS

This is a sub-study assessing the technical acceptability, feasibility and acceptability of measuring LCI2.5 by N2-MBW in adults and children with CF under the care of teams in Edinburgh and Southampton (UK). The parent trial (ExACT-CF) [13, 14] was a randomised, pilot feasibility trial of exercise as an airway clearance technique (ExACT) where LCI2.5 was a key safety outcome.

Training and measurement of LCI2.5 by N2-MBW

LCI2.5 was measured by N2-MBW (Exhalyzer-D device, EcoMedics AG, Duernten, Switzerland) at baseline and day 28. Trial staff delivering the tests included professionals from nursing, physiotherapy, and physiology backgrounds. All underwent standardised training delivered by the ECFS-CTN LCI core facility at the Royal Brompton Hospital (London, UK). Data were analysed using Spiroware 3.3.1 software [13] and validated reference equations [15].

Technical acceptability of LCI2.5 measurement

Each test was centrally over-read for technical acceptability by the ECFS-CTN LCI core facility team (MA, CS).

Feasibility of LCI2.5 in adults and children

Feasibility was assessed through the analysis of a number of variables, averaged across baseline and follow-up testing. These included 1) the number of N2-MBW trials required, 2) the duration of pre-test and active test phases, and 3) the total time required to obtain three technically acceptable trials (of which two required successful over-reading).

Subgroup comparisons were then made between adults and children/adolescents, and differences by site and disease severity were also explored using non-parametric Mann–Whitney U tests (significance set at p <0.05).

Acceptability of LCI2.5 to people with CF and clinical trial staff

Participants were invited to also complete a brief, bespoke questionnaire (see Supplementary Material) assessing the ease, comfort, perceived time burden, and willingness to repeat N2-MBW in the future; using a 5-point Likert scale. Free-text responses were also collated.

A purposive subsample of participants, caregivers and trial staff also undertook semi-structured interviews exploring their trial experiences [13, 16], including outcome measure perceptions. Interview transcripts were thematically analysed using a Framework Approach, and all content related to N2 -MBW extracted and summarised herein.

Patient Public Involvement:

The ExACT-CF study was developed with extensive community involvement including several people with CF and their caregivers via the UK CF Trust patient involvement group, co-ordinated by Mrs Lorna Allen.

Ethical approval

Ethical approval was obtained from the Yorkshire and Humber – Sheffield NHS Research Ethics Committee (#22/YH/0223) and the Health Research Authority, and the study was pre-registered on ClinicalTrials.gov (NCT05482048).

Statistical analyses

Quantitative data were analysed using the IBM Statistical Package for the Social Sciences Statistics (Version 25, IBM Corp., Armonk, NY, USA). Data are presented as median (range) or proportions, as appropriate. As most variables were  not normally distributed, group comparisons were made using non-parametric Mann-Whitney U tests, with significance set at p <0.05. Ninety-five percent confidence intervals were calculated for between-group differences.

Funding:
This research was funded by the National Institute for Health and Care Research (NIHR) Research for Patient Benefit funding scheme (NIHR203185). The views expressed are those of the authors and not necessarily those of the NIHR, the NHS or the Department of Health and Social Care.

RESULTS
Participant characteristics

Fifty participants were recruited to the ExACT-CF feasibility trial, of whom 48 participants (age: 10-55 years; FEV1: 43-113% predicted) were randomised. Baseline demographics are summarised in Table 1.

Technical acceptability of LCI2.5 measurement
LCI2.5 measurements were performed in 49 participants (one of whom exited the study pre-randomisation) with paired baseline and day 28 data being available for 45 participants. Of 94 LCI2.5 tests undertaken, only 4 tests were deemed technically unacceptable by the ECFS-CTN LCI Core Facility. Comparisons between baseline and day 28 tests for the 43 participants with technically-acceptable paired data are displayed in Table 2.

Feasibility of LCI2.5 in adults and children

Forty-nine individuals completed 94 tests of which 90 (96%) were technically-acceptable. The median (IQR) age of those with acceptable tests was 16 (13, 25.5) years compared with 20.3 (14.5, 36.5) years in those with a test over-read as technically unacceptable (p=0.49). The median (IQR) FEV1 of those with acceptable tests was 89 (78, 101) %predicted compared with 92 (73, 109) %predicted in those with a test over-read as technically unacceptable (p=0.59).

The time for each active washout trial was significantly longer in adults, at a median (IQR) of 164 (130, 214) seconds of compared with 110 95, 127) seconds in children (p<0.001). A median of 4.5 (3.5, 5.8) N2-MBW trials were undertaken in adults versus 5 (4.5, 5.5) trials in children (p=0.16). Figure 1 suggests that younger children may be required to undertake a greater number of N2-MBW trials in order to achieve technically-acceptable results. As a result, total test time was not statistically different between adults who took a median (IQR) of 42 (27-56) minutes and children who took 38 (27-45) () minutes in total to perform N2-MBW (p=0.22). These data are shown in Table 2.

Those with worse CF lung disease (FEV1 <70% predicted) had significantly longer average times per active washout trial at 210 (141, 383) seconds compared with 125 (103, 161) in those with FEV1 >70% predicted (p=0.02). Those with FEV1 <70% predicted took a median (IQR) of 56 (27-78) minutes to complete a N2-MBW test, whilst those with FEV1 >70% predicted who took 38 (27-46) minutes in total to perform N2-MBW (p=0.21). These data are also displayed in Table 2.

The small number of unacceptable tests (3/49 at Southampton, and 1/45 at Edinburgh) limited meaningful between-site comparison. However, the total time required to measure LCI2.5 did vary by site. In Edinburgh, a median (IQR) of 27 (25-35) minutes was taken to obtain technically acceptable LCI2.5 measurement, whereas in Southampton the test took 49 (39-60) minutes in total (p <0.001).

Acceptability of LCI2.5 to adults and children with CF

Of the 48 participants randomised in the ExACT-CF feasibility trial, 15 (31%) returned the participant experience questionnaire (6 children/adolescents, 9 adults). Among respondents, 86.7% rated the test as ‘easy’ or ‘very easy’ to perform; 93.3% rated it ‘comfortable’ or ‘very comfortable’; and 100% reported willingness to repeat the test in the future.

It was acknowledged that if N2-MBW testing was new to the participant, the initial test time was longer due to trying to adapt to tidal breathing with a mask – “I had never done the LCI before. So the first one was quite a lengthy one…the research nurse was like, oh, just breathe normally, so I was. And then she was like, oh, no, you need to breathe deeper, and suchlike, so the first one took a lot longer. When I went back the second time, it was done quicker, because I knew I needed to breathe a bit deeper than just breathing normally” (adult with CF, aged in mid-40syears, male). For those familiar with the test, N2-MBW was felt to be a routine test – “It was easy to do, it was like returning to somewhere that’s a familiar ground” (parent of a young person with CF, aged in late 30s, female). The new software package was recognised as being much easier to use and cut down the length of test time, even for participants ‘with a lot of disease’ or moderate disease  - “There’s a new version of LCI (software) which is the first time I’ve used it, and that’s great. It just seems to cut down the length of time. So, even the ones who had quite a lot of disease, they still weren’t eight minutes long to try and wash out. They were much quicker, so I think that was good.” (CF research nurse and N2-MBW operator, aged in late 50s, female).  The support provided by the over-reading team was also commented upon by trial staff. Furthermore, trial staff expressed a preference for more timely over reading / feedback to highlight any errors or issues in order to avoid ongoing repetition of these errors – “it’s just really nice to have that feedback within a week or so. And for your own improvement to make sure that that doesn’t happen again to highlight any issues that you don’t want to be continuously repeating” (research nurse and N2-MBW operator aged early 40s, female).

DISCUSSION

This study evaluated the feasibility, technical performance, and acceptability of LCI2.5 measurement by N2-MBW in a cohort of children, adolescents, and adults with CF as part of a multicentre pilot feasibility clinical trial. With centralised training and oversight provided by the ECFS-CTN LCI Core Facility, a multidisciplinary group of trial staff, many of whom were new to N2-MBW, achieved a high proportion (96%) of technically acceptable LCI2.5 measurements across a cohort of participants with a wide range of age and disease severity.

As expected, participants with more advanced lung disease (typically adults) demonstrated higher LCI2.5 values than children. However, the time required to complete testing was similar between adults (longer washout as disease becomes more severe) and children (more trials, especially in younger children), despite prior reports suggesting N2-MBW may be prohibitively time-consuming in older or more severely affected populations [8-10].

It was noted that there were between site differences in test durations to achieve three acceptable trials. This is likely to be due to a combination of a) participant familiarity (the test is undertaken routinely in clinical practice for children in Edinburgh) as well as b) prior testing experience for N2-MBW operators – all Edinburgh tests were undertaken by an N2-MBW operator with more than 14 years’ experience.

Patient acceptability data were encouraging. Most participants rated the test as comfortable and easy to perform, with no individuals expressing unwillingness to repeat it in the future. These findings contrast with earlier reports describing N2-MBW as unfavourable in adults with CF [10,11], but concur with recent studies using Spiroware 3.3.1 software for N2-MBW where 92.5% success rates are reported for adults [12].

We note that test durations in our study were similar to those previously deemed unacceptable by adults with bronchiectasis [8, 10]. It remains unclear why acceptability rates higher in our cohort, butthe adoption of the more usable (updated Spiroware 3.3.1) software in our study, along with structured training for practitioners, may have mitigated some of the previous barriers to feasibility and patient satisfaction when using LCI2.5 as a clinical trial outcome. This is in line with recent observations from a large dataset in clinical practice [12].

Limitations of this study include its modest sample size and the limited response rate to the participant experience questionnaire. We acknowledge that our small sample size and the use of univariate analyses may have introduced confounders; e.g. comparisons between adults and children may be affected by factors other than age, such as lung function, infection status, etc. Although qualitative data enriched understanding of participant and staff perspectives, larger studies would enable subgroup analyses (e.g. by age, disease severity, etc.) to broaden its generalisability. It is also noted that the study was conducted at two well-resourced CF centres within the UK CF Trust Clinical Trial Accelerator Platform network, both of whom have some existing N2-MBW experience, and that this may not reflect all CF sites. Replication in a broader range of trial settings is needed to confirm these findings and refine implementation strategies.

CONCLUSIONS:
Measurement of LCI2.5 by N2-MBW appears feasible across a wide range of ages (10-55 years) and levels of disease severity (FEV1 43 to 113 %predicted) in people with CF. Test durations were similar between children/adolescents and adults, and participant-reported experience was positive. These findings support the use of LCI2.5 as a candidate outcome measure for clinical trials involving both paediatric and adult populations with CF, whilst further work to establish its utility of LCI2.5 in routine clinical practice across the disease spectrum is also warranted.

ACKNOWLEDGEMENTS

We thank Lorna Allen and all at the UK CF trust for their co-ordination of patient and public involvement. We further thank the Wessex NIHR Applied Research Collaboration and UK CF Trust Clinical Trials Accelerator Platform (CTAP) for adopting the trial and their support. We also thank all at the ECFS-CTN Lung Clearance Index Core Facility at Imperial College/Royal Brompton Hospital for their over-reading of N2-MBW measurements.

CONFLICT OF INTEREST STATEMENT:

There are no conflicts of interest to declare in regards to this manuscript.

REFERENCES:

1.	Davies J, Sheridan H, Bell N, et al. Assessment of clinical response to ivacaftor with lung clearance index in cystic fibrosis patients with a G551D-CFTR mutation and preserved spirometry: a randomised controlled trial. Lancet Respir Med 2013;1:630-8.

2.	Ratjen F, Davis SD, Stanojevic S, et al. Inhaled hypertonic saline in preschool children with cystic fibrosis (SHIP): a multicentre, randomised, double-blind, placebo-controlled trial. Lancet Respir Med 2019;7:802-9.

3.	Zemanick ET, Taylor-Cousar JL, Davies J, et al. A Phase 3 Open-Label Study of Elexacaftor/Tezacaftor/Ivacaftor in Children 6 through 11 Years of Age with Cystic Fibrosis and at Least One F508del Allele. Am J Respir Crit Care Med 2021;203:1522-32.

4.	Mall MA, Brugha R, Gartner S, et al. Efficacy and Safety of Elexacaftor/Tezacaftor/Ivacaftor in Children 6 Through 11 Years of Age with Cystic Fibrosis Heterozygous for F508del and a Minimal Function Mutation: A Phase 3b, Randomized, Placebo-controlled Study. Am J Respir Crit Care Med 2022;206:1361-9.

5.	Aurora P, Gustafsson P, Bush A, et al. Multiple breath inert gas washout as a measure of ventilation distribution in children with cystic fibrosis. Thorax 2004; 59:1068–73.

6.	Saunders C, Jensen R, Robinson PD, et al. Integrating the multiple breath washout test into international multicentre trials. J Cyst Fibros 2020;19:602-7.

7.	Short C, Saunders C, Davies JC. Utility of lung clearance index in CF: What we know, what we don’t know and musings on how to bridge the gap. J Cyst Fibros 2020;19:852-5.

8.	O’Neill K, Lakshmipathy GR, Neely C, Cosgrove D, Ferguson K, McLeese R, et al. Multiple-Breath Washout Outcome Measures in Adults with Bronchiectasis. Ann Am Thorac Soc 2022;19:1489–97.

9.	O’Neill K, Ferguson K, Cosgrove D, et al. Multiple breath washout in bronchiectasis clinical trials: is it feasible? ERJ Open Res 2020;6:00363-2019.

10.	Stanford G, Davies JC, Bilton D, et al. WS06.01 Outcome measures for assessment of lung function – cross-sectional analysis of relationships between impulse oscillometry, electrical impedance tomography, multiple breath washout and spirometry.  J Cyst Fibros 2023;22(Supplement):S11.

11.	Stanford G, Davies JC, Charman SC, et al. WS14.01 Outcome measures for airway clearance – better the devil you know? Perspectives from adults with cystic fibrosis (CF). J Cyst Fibros 2022;21(Supplement):S26-7.

12.	Allomba C, Busack L, Ziegahn N, et al. Feasibility of multiple-breath washout in the clinical setting and prediction of its duration in children and adults with cystic fibrosis. J Cyst Fibros 2025;24:982-90.

13.	Urquhart DS, Cunningham S, Taylor E, et al. Exercise as an Airway Clearance Technique in people with Cystic Fibrosis (ExACT-CF): rationale and study protocol for a randomised pilot trial. NIHR Open Res. 2022;2:64.

14.	Urquhart DS, Taylor E, Cunningham S, et al. Safety, efficacy and feasibility of exercise as an airway clearance technique in cystic fibrosis - A randomised pilot feasibility trial. Thorax 2026;81:140-9.

15.	Kentgens AC, Latzin P, Anagnostopoulou P, et al. Normative multiple-breath washout data in school-aged children corrected for sensor error. Eur Respir J 2022;60: 2102398.

16.	Taylor E, Soilemezi D, Urquhart DS, et al. Exploring Exercise as Airway Clearance in Cystic Fibrosis: A Qualitative Study from the ExACT-CF Feasibility Trial.  Pediatr Pulmonol 2026;61:e71470.

Table 1.
Participant baseline demographics at randomisation (n=48).

| PARAMETER | DISTRIBUTION Mean (SD) or n (%) |
| --- | --- |
| Age (years) Adults >16 years (n) Children (<16 years (n) | 20.5 (11.6) 25 23 |
| Sex (n, male/female) | 28/20 |
| Height (m) | 162.3 (14.3) |
| Weight (kg) | 58.2 (18.2) |
| Body mass index (kg·m-2) | 21.7 (4.4) |
| Ethnicity (n, %) White – UK White – European | 44 (92%) 4 (8%) |
| CFTR genotype (n) F508del/F508del F508del/other | 28 20 |
| Pancreatic insufficiency (n.%) | 42 (88%) |
| CF diabetes (n, %) | 9 (19%) |
| LCI2.5 | 8.3 (2.9) |
| FEV1 (%predicted) | 86 (19) |
| FVC (%predicted) | 94 (13) |

Values are means (SD) unless otherwise stated. 
CFTR, cystic fibrosis transmembrane conductance regulator; FEV1, forced expiratory volume in 1 second; FVC, forced vital capacity; LCI2.5, lung clearance index.

Table 2.
Feasibility and utility of LCI2.5 as a trial outcome 
(n=43 with baseline and day 28 N2-MBW data)

| N2-MBW PARAMETER | N2-MBW PARAMETERS STRATIFIED BY LUNG FUNCTION |  |  | N2-MBW PARAMETERS STRATIFIED BY AGE |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | FEV1>70% | FEV1 <70% | p-value* | Adult (16+) | Child (<16y) | p-value* |
| Baseline LCI2.5 | 6.9 (5.9-11.8) | 14.3 (6.3-16.9) | 0.002 | 8.2 (6.0-16.9) | 6.4 (5.9-14.3) | 0.001 |
| Number of LCI trials averaged over the two visits | 5 (3-14) | 4.5 (3-7) | 0.69 | 4.5 (3-10) | 5 (3-14) | 0.16 |
| Time for pre-measurement phase (seconds) | 62 (37-128) | 70 (51-90) | 0.78 | 70 (43-106) | 60 (37-128) | 0.64 |
| Time for active LCI measurement (seconds) | 125 (75-258) | 210 (50-388) | 0.02 | 163 (92-388) | 110 (50-188) | <0.001 |
| Average number of breaths per trial (successful trials only) | 40 (25-66) | 71 (27-100) | 0.14 | 46 (25-100) | 39 (25-57) | <0.05 |
| Total time to do N2-MBW (seconds) | 2266 (1643-2742) | 3371 (1018-5407) | 0.21 | 2495 1451-5407) | 2280 (1018-3780) | 0.22 |
| Total time to do N2-MBW (minutes) | 38 (27-46) | 56 (20-90-) |  | 42 (24-90 | 21 (17-63) |  |

*Median (Range) displayed, Mann-Whitney U-test

Figure 1
Number of N2-MBW trials required to achieve technically-acceptable results by age

SUPPLEMENTARY MATERIAL

### LCI – Multiple Breath Washout Questionnaire

### We would be grateful if you would take a few minutes to complete this questionnaire in order to help us understand your experience with your lung function / breathing assessment using the LCI machine for Multiple Breath Washout.

### Please complete each section of this questionnaire by ticking the appropriate box.

Age group of participant:

10 – 15  		16+

### LCI Test / Procedure:

|  | Very Easy | Easy | Fair | Hard | Very Hard |
| --- | --- | --- | --- | --- | --- |
| How did you find performing the test? |  |  |  |  |  |

|  | Very Comfortable | Comfortable | Fair | Uncomfortable | Very Uncomfortable |
| --- | --- | --- | --- | --- | --- |
| How comfortable did you find it to do the test? |  |  |  |  |  |

|  | 0-10 minutes | 10-20 minutes | 20-30 minutes | More than 30 minutes |
| --- | --- | --- | --- | --- |
| How long did you feel the test took |  |  |  |  |

|  | Yes | Maybe | No |
| --- | --- | --- | --- |
| Would you be happy to do the test again in the future? |  |  |  |

Is there anything that could make things better for patients doing this test?