## Methods
Name of Lab | Lab10
Type of Lysate received (e.g. Trizol / RLT) | RLT
RQ-PCR machine | Rotorgene
RQ-PCR analysis software | Rotorgene
Method of RNA quantification e.g.Nanodrop, Qubit (if applicable) | Nanodrop
Real time PCR protocol e.g. EAC, Emig, name of commercial kit | EAC
Real time PCR reaction volume | 20
Volume of Plasmid standard added to RQ-PCR reactions | 2
Volume of cDNA added to RQ-PCR reactions | 2
Please provide your laboratiories standard RQ-PCR conditions (i.e. master mix, reaction componets and PCR cycling conditions), if different from those specified in the study protocol. You may provide these in a separate document if necessary.
Please provide the sequences of your laboratories ABL and BCR-ABL primers/probes, if different from the standard EAC sequences. | ABL F
ABL R
ABL Probe
BCR-ABL F
BCR-ABL R
BCR-ABL Probe

## Overview
| Lysate 1 |  | Lysate 2 |  | Lysate 3
| Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6
| Primer set 1 | Primer set 2 | Primer set 3 | Primer set 2 | Lab BCR-ABL1 | Lab ABL1
| Plasmid X 1 | X 1 | X 1 | X 1 | X 1 | X 1
| Plasmid X 2 | X 2 | X 2 | X 2 | X 2 | X 2
| Plasmid X 3 | X 3 | X 3 | X 3 | X 3 | X 3
| Plasmid X 4 | X 4 | X 4 | X 4 | X 4 | X 4
| Plasmid X 5 | X 5 | X 5 | X 5 | X 5 | X 5
| Plasmid X 6 | X 6 | X 6 | X 6 | X 6 | X 6
| Plasmid Y 1 | Y 1 | Y 1 | Y 1 | Y 1 | Y 1
| Plasmid Y 2 | Y 2 | Y 2 | Y 2 | Y 2 | Y 2
| Plasmid Y 3 | Y 3 | Y 3 | Y 3 | Y 3 | Y 3
| Plasmid Y 4 | Y 4 | Y 4 | Y 4 | Y 4 | Y 4
| Plasmid Y 5 | Y 5 | Y 5 | Y 5 | Y 5 | Y 5
| Plasmid Y 6 | Y 6 | Y 6 | Y 6 | Y 6 | Y 6
| Lysate A | A | A | A | A | A
| Lysate B | B | B | B | B | B
| Lysate C | C | C | C | C | C
| Lysate D | D | D | D | D | D
| Lysate E | E | E | E | E | E
| Lysate F | F | F | F | F | F
| Lysate G | G | G | G | G | G
| Lysate H | H | H | H | H | H
| Lysate I | I | I | I | I | I
| Lysate J | J | J | J | J | J
| NTC | NTC | NTC | NTC | NTC | NTC
Standard curve to use
23 points in duplicate = 46 | 46 | 46 | 46 | 46 | 46 | 46 | 276
276 PCRs
23 points in triplicate = 69 | 69 | 69 | 69 | 69 | 69 | 69 | 414
414 PCRs

## RNA - Optional
| RNA volume (µL) | RNA concentration (ng/µL) | RNA 260/280 | RNA 260/230 | Total RNA (µg)
Lysate A 1 | 40 | 146.2 | 1.98 | 1.44 | 5.848
Lysate A 2 | 40 | 153.4 | 2.04 | 0.65 | 6.136
Lysate A 3 | 40 | 142.9 | 2 | 2.18 | 5.716
Lysate B 1 | 40 | 130.9 | 2 | 2.01 | 5.236
Lysate B 2 | 40 | 127.9 | 2.03 | 0.43 | 5.116
Lysate B 3 | 40 | 128.3 | 1.99 | 1.09 | 5.132
Lysate C 1 | 40 | 147.2 | 2.01 | 2 | 5.888
Lysate C 2 | 40 | 147.9 | 2.05 | 0.63 | 5.916
Lysate C 3 | 40 | 133.5 | 1.99 | 1.96 | 5.34
Lysate D 1 | 40 | 142.5 | 1.99 | 2.2 | 5.7
Lysate D 2 | 40 | 146.4 | 2.03 | 1.47 | 5.856
Lysate D 3 | 40 | 151.1 | 2.01 | 2.16 | 6.044
Lysate E 1 | 40 | 145.5 | 2 | 0.73 | 5.82
Lysate E 2 | 40 | 141.3 | 2.02 | 1.1 | 5.652
Lysate E 3 | 40 | 144.1 | 2 | 1.08 | 5.764
Lysate F 1 | 40 | 156.7 | 2 | 2.03 | 6.268
Lysate F 2 | 40 | 149.4 | 2.01 | 2.06 | 5.976
Lysate F 3 | 40 | 147.1 | 1.99 | 1.2 | 5.884
Lysate G 1 | 40 | 142.9 | 2 | 2.17 | 5.716
Lysate G 2 | 40 | 134.9 | 2.03 | 1.61 | 5.396
Lysate G 3 | 40 | 152.6 | 2 | 1.56 | 6.104
Lysate H 1 | 40 | 141.9 | 2 | 1.88 | 5.676
Lysate H 2 | 40 | 138.2 | 2.01 | 0.98 | 5.528
Lysate H 3 | 40 | 142.9 | 2.01 | 0.84 | 5.716
Lysate I 1 | 40 | 140.4 | 2.01 | 1.29 | 5.616
Lysate I 2 | 40 | 150.2 | 2.01 | 0.9 | 6.008
Lysate I 3 | 40 | 141.2 | 1.99 | 1.32 | 5.648
Lysate J 1 | 40 | 150.7 | 1.99 | 1.58 | 6.028
Lysate J 2 | 40 | 137.1 | 2.02 | 1.77 | 5.484
Lysate J 3 | 40 | 140.9 | 2.01 | 1.05 | 5.636

## Run 1
Run 1 - Primer Set 1
Standard Curve | Plasmid X
Gradient | -3.468
Intercept | 38.422
Ct threshold | 0.04
Samples | Ct value | Copy number | µL Plasmid X added
Plasmid X 1 | 32.41 | 40 | 2
Plasmid X 1 | 33.57 | 40 | 2
Plasmid X 1 | 33.38 | 40 | 2
Plasmid X 2 | 29.18 | 400 | 2
Plasmid X 2 | 29.39 | 400 | 2
Plasmid X 2 | 29.06 | 400 | 2
Plasmid X 3 | 25.91 | 4000 | 2
Plasmid X 3 | 25.81 | 4000 | 2
Plasmid X 3 | 25.81 | 4000 | 2
Plasmid X 4 | 22.45 | 40000 | 2
Plasmid X 4 | 22.33 | 40000 | 2
Plasmid X 4 | 22.25 | 40000 | 2
Plasmid X 5 | 18.89 | 400000 | 2
Plasmid X 5 | 18.9 | 400000 | 2
Plasmid X 5 | 19.02 | 400000 | 2
Plasmid X 6 | 15.64 | 4000000 | 2
Plasmid X 6 | 15.78 | 4000000 | 2
Plasmid X 6 | 15.69 | 4000000 | 2
Plasmid Y 1 | 0 | 0
Plasmid Y 1 | 0 | 0
Plasmid Y 1 | 42.72 | 0.0576
Plasmid Y 2 | 48.68 | 0.0011
Plasmid Y 2 | 48.69 | 0.0011
Plasmid Y 2 | 38.89 | 0.735
Plasmid Y 3 | 38.09 | 1.25
Plasmid Y 3 | 37.97 | 1.35
Plasmid Y 3 | 37.91 | 1.4
Plasmid Y 4 | 34.32 | 15.2
Plasmid Y 4 | 34.87 | 10.5
Plasmid Y 4 | 34.62 | 12.4
Plasmid Y 5 | 31.1 | 129
Plasmid Y 5 | 31.48 | 100
Plasmid Y 5 | 31.21 | 120
Plasmid Y 6 | 27.25 | 1660
Plasmid Y 6 | 27.54 | 1370
Plasmid Y 6 | 27.38 | 1530
Lysate A | 24.95 | 7680
Lysate A | 24.99 | 7470
Lysate A | 25.06 | 7140
Lysate B | 27.16 | 1770
Lysate B | 27.09 | 1850
Lysate B | 27.3 | 1610
Lysate C | 29.08 | 493
Lysate C | 29.01 | 517
Lysate C | 29.03 | 512
Lysate D | 31.57 | 94.5
Lysate D | 31.31 | 112
Lysate D | 31.6 | 92.9
Lysate E | 33.52 | 25.9
Lysate E | 34.57 | 12.9
Lysate E | 33.57 | 25.1
Lysate F | 36.51 | 3.55
Lysate F | 36.11 | 4.66
Lysate F | 37.18 | 2.28
Lysate G | 39.46 | 0.502
Lysate G | 38.35 | 1.05
Lysate G | 38.57 | 0.906
Lysate H | 39.25 | 0.576
Lysate H | 37.18 | 2.28
Lysate H | 38.38 | 1.03
Lysate I | 39.51 | 0.485
Lysate I | 37.24 | 2.2
Lysate I | 39.25 | 0.579
Lysate J | 37.52 | 1.81
Lysate J | 39.63 | 0.449
Lysate J | 38.85 | 0.755

## Run 2
Run 2 - Primer Set 2
Standard Curve | Plasmid X
Gradient | -3.418
Intercept | 37.807
Ct threshold | 0.04
Samples | Ct value | Copy number | µL Plasmid X added
Plasmid X 1 | 32.23 | 40 | 2
Plasmid X 1 | 32.37 | 40 | 2
Plasmid X 1 | 32.62 | 40 | 2
Plasmid X 2 | 28.74 | 400 | 2
Plasmid X 2 | 28.83 | 400 | 2
Plasmid X 2 | 29.04 | 400 | 2
Plasmid X 3 | 25.46 | 4000 | 2
Plasmid X 3 | 25.59 | 4000 | 2
Plasmid X 3 | 25.29 | 4000 | 2
Plasmid X 4 | 22.15 | 40000 | 2
Plasmid X 4 | 22.07 | 40000 | 2
Plasmid X 4 | 22.09 | 40000 | 2
Plasmid X 5 | 18.61 | 400000 | 2
Plasmid X 5 | 18.64 | 400000 | 2
Plasmid X 5 | 18.44 | 400000 | 2
Plasmid X 6 | 15.32 | 4000000 | 2
Plasmid X 6 | 15.25 | 4000000 | 2
Plasmid X 6 | 15.43 | 4000000 | 2
Plasmid Y 1 | 32.13 | 46
Plasmid Y 1 | 32.56 | 34.3
Plasmid Y 1 | 32.78 | 29.5
Plasmid Y 2 | 29.17 | 337
Plasmid Y 2 | 29.01 | 376
Plasmid Y 2 | 28.98 | 383
Plasmid Y 3 | 25.7 | 3480
Plasmid Y 3 | 25.85 | 3150
Plasmid Y 3 | 25.83 | 3200
Plasmid Y 4 | 22.22 | 36400
Plasmid Y 4 | 22.37 | 32800
Plasmid Y 4 | 22.3 | 34400
Plasmid Y 5 | 18.88 | 344000
Plasmid Y 5 | 18.88 | 346000
Plasmid Y 5 | 18.88 | 344000
Plasmid Y 6 | 15.41 | 3580000
Plasmid Y 6 | 15.38 | 3640000
Plasmid Y 6 | 15.34 | 3740000
Lysate A | 19.76 | 191000
Lysate A | 19.82 | 184000
Lysate A | 19.71 | 197000
Lysate B | 19.73 | 195000
Lysate B | 19.43 | 238000
Lysate B | 19.61 | 210000
Lysate C | 19.2 | 279000
Lysate C | 19.36 | 249000
Lysate C | 19.31 | 258000
Lysate D | 19.31 | 258000
Lysate D | 19.27 | 265000
Lysate D | 19.29 | 261000
Lysate E | 19.28 | 264000
Lysate E | 34.76 | 7.79
Lysate E | 19.37 | 248000
Lysate F | 19.16 | 285000
Lysate F | 19.22 | 274000
Lysate F | 19.28 | 263000
Lysate G | 19.26 | 267000
Lysate G | 19.43 | 239000
Lysate G | 19.29 | 263000
Lysate H | 19.65 | 205000
Lysate H | 19.64 | 206000
Lysate H | 21.84 | 46900
Lysate I | 19.48 | 230000
Lysate I | 19.63 | 208000
Lysate I | 19.68 | 201000
Lysate J | 19.48 | 230000
Lysate J | 19.3 | 261000
Lysate J | 19.45 | 235000

## Run 3
Run 3 - Primer Set 3
Standard Curve | Plasmid Y
Gradient | -3.558
Intercept | 39.471
Ct threshold | 0.04
Samples | Ct value | Copy number
Plasmid X 1 | 0 | 0
Plasmid X 1 | 0 | 0
Plasmid X 1 | 0 | 0
Plasmid X 2 | 0 | 0
Plasmid X 2 | 0 | 0
Plasmid X 2 | 0 | 0
Plasmid X 3 | 0 | 0
Plasmid X 3 | 0 | 0
Plasmid X 3 | 0 | 0
Plasmid X 4 | 0 | 0
Plasmid X 4 | 0 | 0
Plasmid X 4 | 0 | 0
Plasmid X 5 | 0 | 0
Plasmid X 5 | 0 | 0
Plasmid X 5 | 0 | 0
Plasmid X 6 | 0 | 0
Plasmid X 6 | 0 | 0
Plasmid X 6 | 0 | 0 | µL Plasmid Y added
Plasmid Y 1 | 33.48 | 40 | 2
Plasmid Y 1 | 33.39 | 40 | 2
Plasmid Y 1 | 32.88 | 40 | 2
Plasmid Y 2 | 29.29 | 400 | 2
Plasmid Y 2 | 29.4 | 400 | 2
Plasmid Y 2 | 29.42 | 400 | 2
Plasmid Y 3 | 25.71 | 4000 | 2
Plasmid Y 3 | 26.14 | 4000 | 2
Plasmid Y 3
Plasmid Y 4 | 22.6 | 40000 | 2
Plasmid Y 4 | 22.75 | 40000 | 2
Plasmid Y 4 | 22.64 | 40000 | 2
Plasmid Y 5 | 19.21 | 400000 | 2
Plasmid Y 5 | 19.1 | 400000 | 2
Plasmid Y 5 | 19.12 | 400000 | 2
Plasmid Y 6 | 15.84 | 4000000 | 2
Plasmid Y 6 | 15.64 | 4000000 | 2
Plasmid Y 6 | 15.83 | 4000000 | 2
Lysate A | 43.07 | 0.0975
Lysate A | 39.13 | 1.25
Lysate A | 44.43 | 0.0405
Lysate B | 42.15 | 0.176
Lysate B | 39.75 | 0.836
Lysate B | 0 | 0
Lysate C | 42.85 | 0.112
Lysate C | 43.25 | 0.0866
Lysate C | 40.53 | 0.504
Lysate D | 43.5 | 0.0735
Lysate D | 47.66 | 0.00498
Lysate D | 0 | 0
Lysate E | 46.63 | 0.00969
Lysate E | 45.88 | 0.0158
Lysate E | 41.6 | 0.253
Lysate F | 23.62 | 28600
Lysate F | 23.56 | 29700
Lysate F | 23.62 | 28600
Lysate G | 26.15 | 5560
Lysate G | 25.97 | 6250
Lysate G | 25.95 | 6330
Lysate H | 28.33 | 1350
Lysate H | 28.22 | 1450
Lysate H | 28.51 | 1210
Lysate I | 30.83 | 268
Lysate I | 30.94 | 250
Lysate I | 31.03 | 236
Lysate J | 32.92 | 69.3
Lysate J | 32.32 | 102
Lysate J | 33.69 | 42.2

## Run 4
Run 4 - Primer Set 2
Standard Curve | Plasmid Y
Gradient | -3.447
Intercept | 38.083
Ct threshold | 0.04
Samples | Ct value | Copy number
Plasmid X 1 | 32.72 | 36
Plasmid X 1 | 32.39 | 44.9
Plasmid X 1 | 31.35 | 89.8
Plasmid X 2 | 28.78 | 499
Plasmid X 2 | 28.86 | 474
Plasmid X 2 | 28.94 | 448
Plasmid X 3 | 25.37 | 4880
Plasmid X 3 | 25.5 | 4480
Plasmid X 3 | 25.23 | 5370
Plasmid X 4 | 22.01 | 45800
Plasmid X 4 | 21.98 | 46800
Plasmid X 4 | 21.94 | 48200
Plasmid X 5 | 18.53 | 471000
Plasmid X 5 | 18.58 | 455000
Plasmid X 5 | 18.51 | 477000
Plasmid X 6 | 15.32 | 4000000
Plasmid X 6 | 15.15 | 4490000
Plasmid X 6 | 15.22 | 4300000 | µL Plasmid Y added
Plasmid Y 1 | 32.62 | 40 | 2
Plasmid Y 1 | 31.97 | 40 | 2
Plasmid Y 1 | 32.75 | 40 | 2
Plasmid Y 2 | 28.96 | 400 | 2
Plasmid Y 2 | 29.39 | 400 | 2
Plasmid Y 2 | 29.26 | 400 | 2
Plasmid Y 3 | 25.64 | 4000 | 2
Plasmid Y 3 | 25.66 | 4000 | 2
Plasmid Y 3 | 25.73 | 4000 | 2
Plasmid Y 4 | 22.26 | 40000 | 2
Plasmid Y 4 | 22.42 | 40000 | 2
Plasmid Y 4 | 22.24 | 40000 | 2
Plasmid Y 5 | 18.83 | 400000 | 2
Plasmid Y 5 | 18.84 | 400000 | 2
Plasmid Y 5 | 18.64 | 400000 | 2
Plasmid Y 6 | 15.25 | 4000000 | 2
Plasmid Y 6 | 15.17 | 4000000 | 2
Plasmid Y 6 | 15.32 | 4000000 | 2
Lysate A | 19.04 | 334000
Lysate A | 19.23 | 294000
Lysate A | 19.34 | 273000
Lysate B | 19.03 | 336000
Lysate B | 19.03 | 336000
Lysate B | 19.19 | 302000
Lysate C | 19.06 | 329000
Lysate C | 19.24 | 292000
Lysate C | 19.22 | 297000
Lysate D | 19.16 | 308000
Lysate D | 19.32 | 277000
Lysate D | 19.21 | 299000
Lysate E | 19.04 | 333000
Lysate E | 19.25 | 290000
Lysate E | 19.29 | 283000
Lysate F | 19.1 | 321000
Lysate F | 19.13 | 315000
Lysate F | 19.31 | 279000
Lysate G | 19.44 | 256000
Lysate G | 19.52 | 243000
Lysate G | 19.42 | 259000
Lysate H | 19.52 | 243000
Lysate H | 19.54 | 239000
Lysate H | 19.58 | 233000
Lysate I | 19.63 | 225000
Lysate I | 19.55 | 238000
Lysate I | 19.61 | 229000
Lysate J | 19.56 | 237000
Lysate J | 19.53 | 241000
Lysate J | 19.68 | 218000

## Run 5
Run 5 - Lab BCR-ABL1 Primers
Standard Curve | Plasmid Y
Gradient | -3.502
Intercept | 37.905
Ct threshold | 0.04
Samples | Ct value | Copy number
Plasmid X 1 | 30.21 | 158
Plasmid X 1 | 30.93 | 98.3
Plasmid X 1 | 31.5 | 67.3
Plasmid X 2 | 27.46 | 958
Plasmid X 2 | 27.72 | 810
Plasmid X 2 | 27.59 | 881
Plasmid X 3 | 24.14 | 8510
Plasmid X 3 | 24.12 | 8600
Plasmid X 3 | 23.91 | 9890
Plasmid X 4 | 20.6 | 87300
Plasmid X 4 | 20.63 | 85700
Plasmid X 4 | 20.81 | 76300
Plasmid X 5 | 17.33 | 751000
Plasmid X 5 | 17.27 | 782000
Plasmid X 5 | 17.42 | 705000
Plasmid X 6 | 14.2 | 5850000
Plasmid X 6 | 13.89 | 7210000
Plasmid X 6 | 14.14 | 6080000 | µL Plasmid Y added
Plasmid Y 1 | 32.95 | 40 | 2
Plasmid Y 1 | 32.45 | 40 | 2
Plasmid Y 1 | 31.96 | 40 | 2
Plasmid Y 2 | 28.54 | 400 | 2
Plasmid Y 2 | 28.92 | 400 | 2
Plasmid Y 2 | 28.45 | 400 | 2
Plasmid Y 3 | 25.15 | 4000 | 2
Plasmid Y 3 | 25.18 | 4000 | 2
Plasmid Y 3 | 25.25 | 4000 | 2
Plasmid Y 4 | 21.78 | 40000 | 2
Plasmid Y 4 | 21.86 | 40000 | 2
Plasmid Y 4 | 21.85 | 40000 | 2
Plasmid Y 5 | 18.47 | 400000 | 2
Plasmid Y 5 | 18.28 | 400000 | 2
Plasmid Y 5 | 18.17 | 400000 | 2
Plasmid Y 6 | 14.75 | 4000000 | 2
Plasmid Y 6 | 14.73 | 4000000 | 2
Plasmid Y 6 | 14.95 | 4000000 | 2
Lysate A | 22.96 | 18500
Lysate A | 23 | 18100
Lysate A | 23.02 | 17800
Lysate B | 25.33 | 3890
Lysate B | 25.23 | 4160
Lysate B | 25.4 | 3730
Lysate C | 27.53 | 914
Lysate C | 27.76 | 789
Lysate C | 27.73 | 806
Lysate D | 29.89 | 195
Lysate D | 29.48 | 254
Lysate D | 30.39 | 140
Lysate E | 32.87 | 27.5
Lysate E | 32.21 | 42.1
Lysate E | 32.84 | 28
Lysate F | 23.02 | 17700
Lysate F | 23.18 | 16000
Lysate F | 23.2 | 15800
Lysate G | 25.32 | 3930
Lysate G | 25.37 | 3800
Lysate G | 25.25 | 4120
Lysate H | 27.79 | 773
Lysate H | 27.98 | 682
Lysate H | 27.88 | 727
Lysate I | 30.21 | 158
Lysate I | 30.31 | 148
Lysate I | 30.37 | 142
Lysate J | 31.92 | 51.3
Lysate J | 32.17 | 43.4
Lysate J | 33.6 | 16.9

## Run 6
Run 6 - Lab ABL1 Primers
Standard Curve | Plasmid Y
Gradient | -3.371
Intercept | 37.707
Ct threshold | 0.04
Samples | Ct value | Copy number
Plasmid X 1 | 32.1 | 46
Plasmid X 1
Plasmid X 1 | 32.29 | 40.4
Plasmid X 2 | 28.79 | 442
Plasmid X 2 | 29.01 | 380
Plasmid X 2 | 28.91 | 406
Plasmid X 3 | 25.57 | 3990
Plasmid X 3 | 25.34 | 4660
Plasmid X 3 | 25.24 | 4990
Plasmid X 4 | 21.85 | 50600
Plasmid X 4 | 22.05 | 44200
Plasmid X 4 | 21.94 | 47600
Plasmid X 5 | 18.53 | 487000
Plasmid X 5 | 18.48 | 504000
Plasmid X 5 | 18.44 | 521000
Plasmid X 6 | 15.32 | 4390000
Plasmid X 6 | 15.07 | 5200000
Plasmid X 6 | 15.19 | 4770000 | µL Plasmid Y added
Plasmid Y 1 | 32.44 | 40 | 2
Plasmid Y 1 | 31.99 | 40 | 2
Plasmid Y 1 | 32.14 | 40 | 2
Plasmid Y 2 | 28.92 | 400 | 2
Plasmid Y 2 | 28.91 | 400 | 2
Plasmid Y 2 | 29.16 | 400 | 2
Plasmid Y 3 | 25.56 | 4000 | 2
Plasmid Y 3 | 25.61 | 4000 | 2
Plasmid Y 3 | 25.84 | 4000 | 2
Plasmid Y 4 | 22.28 | 40000 | 2
Plasmid Y 4 | 22.11 | 40000 | 2
Plasmid Y 4 | 22.25 | 40000 | 2
Plasmid Y 5 | 18.86 | 400000 | 2
Plasmid Y 5 |  |  | 2
Plasmid Y 5 | 18.71 | 400000 | 2
Plasmid Y 6 | 15.36 | 4000000 | 2
Plasmid Y 6 | 15.4 | 4000000 | 2
Plasmid Y 6 |  |  | 2
Lysate A | 19.43 | 264000
Lysate A | 19.53 | 247000
Lysate A | 19.48 | 256000
Lysate B | 19.54 | 246000
Lysate B | 19.48 | 256000
Lysate B | 19.53 | 247000
Lysate C | 19.6 | 235000
Lysate C | 19.49 | 253000
Lysate C | 19.6 | 235000
Lysate D | 19.22 | 304000
Lysate D | 19.31 | 286000
Lysate D | 19.17 | 315000
Lysate E | 19.25 | 299000
Lysate E | 19.51 | 250000
Lysate E | 19.32 | 284000
Lysate F | 19.54 | 246000
Lysate F | 19.46 | 259000
Lysate F | 19.52 | 248000
Lysate G | 19.41 | 268000
Lysate G | 19.43 | 265000
Lysate G | 19.24 | 300000
Lysate H | 19.63 | 230000
Lysate H | 19.59 | 237000
Lysate H | 19.69 | 221000
Lysate I | 19.57 | 240000
Lysate I | 19.49 | 253000
Lysate I | 19.66 | 226000
Lysate J | 19.63 | 230000
Lysate J | 19.44 | 262000
Lysate J | 19.75 | 212000