## Methods
Name of Lab | Lab1
Type of Lysate received (e.g. Trizol / RLT) | TRIZOL
RQ-PCR machine | 7500 FAST REAL TIME PCR SYSTEM
RQ-PCR analysis software | 7500 SOFTWARE V.2.0.6
Method of RNA quantification e.g.Nanodrop, Qubit (if applicable) | NANODROP
Real time PCR protocol e.g. EAC, Emig, name of commercial kit | EAC
Real time PCR reaction volume | 25
Volume of Plasmid standard added to RQ-PCR reactions | 2.5
Volume of cDNA added to RQ-PCR reactions | 2.5
Please provide your laboratiories standard RQ-PCR conditions (i.e. master mix, reaction componets and PCR cycling conditions), if different from those specified in the study protocol. You may provide these in a separate document if necessary. | THE ONLY DIFFERENCE IS THE USE OF A READY TO USE PROBE SET FOR ABL1. REF . HS9999902_mH ABL1
Please provide the sequences of your laboratories ABL and BCR-ABL primers/probes, if different from the standard EAC sequences. | ABL F
ABL R
| ABL Probe | REF . HS9999902_mH ABL1
| BCR-ABL F | EAC SEQUENCES
| BCR-ABL R | EAC SEQUENCES
| BCR-ABL Probe | EAC SEQUENCES

## Overview
| Lysate 1 |  | Lysate 2 |  | Lysate 3
| Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6
| Primer set 1 | Primer set 2 | Primer set 3 | Primer set 2 | Lab BCR-ABL1 | Lab ABL1
| Plasmid X 1 | X 1 | X 1 | X 1 | X 1 | X 1
| Plasmid X 2 | X 2 | X 2 | X 2 | X 2 | X 2
| Plasmid X 3 | X 3 | X 3 | X 3 | X 3 | X 3
| Plasmid X 4 | X 4 | X 4 | X 4 | X 4 | X 4
| Plasmid X 5 | X 5 | X 5 | X 5 | X 5 | X 5
| Plasmid X 6 | X 6 | X 6 | X 6 | X 6 | X 6
| Plasmid Y 1 | Y 1 | Y 1 | Y 1 | Y 1 | Y 1
| Plasmid Y 2 | Y 2 | Y 2 | Y 2 | Y 2 | Y 2
| Plasmid Y 3 | Y 3 | Y 3 | Y 3 | Y 3 | Y 3
| Plasmid Y 4 | Y 4 | Y 4 | Y 4 | Y 4 | Y 4
| Plasmid Y 5 | Y 5 | Y 5 | Y 5 | Y 5 | Y 5
| Plasmid Y 6 | Y 6 | Y 6 | Y 6 | Y 6 | Y 6
| Lysate A | A | A | A | A | A
| Lysate B | B | B | B | B | B
| Lysate C | C | C | C | C | C
| Lysate D | D | D | D | D | D
| Lysate E | E | E | E | E | E
| Lysate F | F | F | F | F | F
| Lysate G | G | G | G | G | G
| Lysate H | H | H | H | H | H
| Lysate I | I | I | I | I | I
| Lysate J | J | J | J | J | J
| NTC | NTC | NTC | NTC | NTC | NTC
Standard curve to use
23 points in duplicate = 46 | 46 | 46 | 46 | 46 | 46 | 46 | 276
276 PCRs
23 points in triplicate = 69 | 69 | 69 | 69 | 69 | 69 | 69 | 414
414 PCRs

## RNA - Optional
| RNA volume (µL) | RNA concentration (ng/µL) | RNA 260/280 | RNA 260/230 | Total RNA (µg)
Lysate A 1 | 21 | 135 | 1.84 | 0.98 | 2.8
Lysate A 2 | 21 | 111 | 1.86 | 0.61 | 2.3
Lysate A 3 | 21 | 109 | 1.83 | 0.81 | 2.3
Lysate B 1 | 21 | 184 | 1.82 | 0.51 | 3.9
Lysate B 2 | 21 | 156 | 1.9 | 0.68 | 3.3
Lysate B 3 | 21 | 204 | 1.79 | 0.51 | 4.3
Lysate C 1 | 21 | 142 | 1.81 | 1.34 | 2.9
Lysate C 2 | 21 | 114 | 1.89 | 1.01 | 2.4
Lysate C 3 | 21 | 254 | 1.8 | 0.61 | 5.3
Lysate D 1 | 21 | 172 | 1.82 | 0.63 | 3.6
Lysate D 2 | 21 | 141 | 1.85 | 0.63 | 2.9
Lysate D 3 | 21 | 146 | 1.83 | 0.43 | 3.1
Lysate E 1 | 21 | 163 | 1.84 | 0.44 | 3.4
Lysate E 2 | 21 | 188 | 1.85 | 0.59 | 3.9
Lysate E 3 | 21 | 147 | 1.8 | 0.48 | 3.1
Lysate F 1 | 21 | 128 | 1.84 | 1.44 | 2.7
Lysate F 2 | 21 | 197 | 1.78 | 0.54 | 4.1
Lysate F 3 | 21 | 156 | 1.86 | 0.69 | 3.3
Lysate G 1 | 21 | 136 | 1.85 | 1.38 | 2.8
Lysate G 2 | 21 | 116 | 1.88 | 0.91 | 2.4
Lysate G 3 | 21 | 101 | 1.84 | 0.59 | 2.1
Lysate H 1 | 21 | 150 | 1.78 | 0.72 | 3.2
Lysate H 2 | 21 | 109 | 1.81 | 0.46 | 2.3
Lysate H 3 | 21 | 160 | 1.78 | 0.46 | 3.4
Lysate I 1 | 21 | 140 | 1.87 | 0.84 | 2.9
Lysate I 2 | 21 | 119 | 1.8 | 0.55 | 2.5
Lysate I 3 | 21 | 148 | 1.84 | 0.62 | 3.1
Lysate J 1 | 21 | 173 | 1.82 | 0.55 | 3.6
Lysate J 2 | 21 | 147 | 1.93 | 0.76 | 3.1
Lysate J 3 | 21 | 236 | 1.8 | 0.58 | 4.9

## Run 1
Run 1 - Primer Set 1
Standard Curve | Plasmid X
Gradient | -3.479
Intercept | 39.969
Ct threshold | 0.1
Samples | Ct value | Copy number | µL Plasmid X added
Plasmid X 1 | 34.0342 | 50 | 2.5
Plasmid X 1 | 34.7821 | 50 | 2.5
Plasmid X 1 | 33.9816 | 50 | 2.5
Plasmid X 2 | 30.5721 | 500 | 2.5
Plasmid X 2 | 30.1612 | 500 | 2.5
Plasmid X 2 | 30.6103 | 500 | 2.5
Plasmid X 3 | 26.7027 | 5000 | 2.5
Plasmid X 3 | 27.4951 | 5000 | 2.5
Plasmid X 3 | 26.8726 | 5000 | 2.5
Plasmid X 4 | 23.5446 | 50000 | 2.5
Plasmid X 4 | 23.5766 | 50000 | 2.5
Plasmid X 4 | 23.5939 | 50000 | 2.5
Plasmid X 5 | 19.9669 | 500000 | 2.5
Plasmid X 5 | 19.9798 | 500000 | 2.5
Plasmid X 5 | 19.9925 | 500000 | 2.5
Plasmid X 6 | 16.828 | 5000000 | 2.5
Plasmid X 6 | 16.8222 | 5000000 | 2.5
Plasmid X 6 | 17.0094 | 5000000 | 2.5
Plasmid Y 1 | 0 | 0
Plasmid Y 1 | 0 | 0
Plasmid Y 1 | 0 | 0
Plasmid Y 2 | 46.081 | 0.017501
Plasmid Y 2 | 0 | 0
Plasmid Y 2 | 0 | 0
Plasmid Y 3 | 43.1479 | 0.12197
Plasmid Y 3 | 43.0598 | 0.12929
Plasmid Y 3 | 44.1486 | 0.062887
Plasmid Y 4 | 37.6743 | 4.5683
Plasmid Y 4 | 37.602 | 4.7921
Plasmid Y 4 | 38.4948 | 2.6538
Plasmid Y 5 | 34.5464 | 36.2181
Plasmid Y 5 | 34.4905 | 37.584
Plasmid Y 5 | 35.9053 | 14.7332
Plasmid Y 6 | 30.4678 | 538.7938
Plasmid Y 6 | 30.7968 | 433.3526
Plasmid Y 6 | 31.2451 | 322.0823
Lysate A | 27.0496 | 5176.6816
Lysate A | 26.8489 | 5912.1602
Lysate A | 26.8396 | 5948.7734
Lysate B | 29.8629 | 804.0746
Lysate B | 29.8406 | 816.066
Lysate B | 29.696 | 898.0031
Lysate C | 31.8219 | 219.8563
Lysate C | 32.0663 | 187.0209
Lysate C | 31.6058 | 253.6638
Lysate D | 34.7593 | 31.4575
Lysate D | 33.9851 | 52.5142
Lysate D | 34.6885 | 32.9677
Lysate E | 37.7116 | 4.4568
Lysate E | 37.8921 | 3.9549
Lysate E | 37.5637 | 4.9152
Lysate F | 39.9752 | 0.99608
Lysate F | 40.6571 | 0.63428
Lysate F | 38.207 | 3.2108
Lysate G | 38.2062 | 3.2125
Lysate G | 38.8953 | 2.0358
Lysate G | 39.9674 | 1.0012
Lysate H | 39.5953 | 1.2809
Lysate H | 40.7751 | 0.58662
Lysate H | 40.1498 | 0.88736
Lysate I | 38.4535 | 2.7275
Lysate I | 38.3065 | 3.0061
Lysate I | 39.3875 | 1.4698
Lysate J | 40.7599 | 0.59254
Lysate J | 39.5878 | 1.2873
Lysate J | 0 | 0

## Run 2
Run 2 - Primer Set 2
Standard Curve | Plasmid X
Gradient | -3.431
Intercept | 40.134
Ct threshold | 0.1
Samples | Ct value | Copy number | µL Plasmid X added
Plasmid X 1 | 34.4919 | 50 | 2.5
Plasmid X 1 | 34.407 | 50 | 2.5
Plasmid X 1 | 34.4159 | 50 | 2.5
Plasmid X 2 | 30.8456 | 500 | 2.5
Plasmid X 2 | 30.6434 | 500 | 2.5
Plasmid X 2 | 30.7731 | 500 | 2.5
Plasmid X 3 | 27.4532 | 5000 | 2.5
Plasmid X 3 | 27.446 | 5000 | 2.5
Plasmid X 3 | 27.473 | 5000 | 2.5
Plasmid X 4 | 23.897 | 50000 | 2.5
Plasmid X 4 | 23.9757 | 50000 | 2.5
Plasmid X 4 | 23.8128 | 50000 | 2.5
Plasmid X 5 | 20.5471 | 500000 | 2.5
Plasmid X 5 | 20.529 | 500000 | 2.5
Plasmid X 5 | 20.6141 | 500000 | 2.5
Plasmid X 6 | 17.1619 | 5000000 | 2.5
Plasmid X 6 | 17.1369 | 5000000 | 2.5
Plasmid X 6 | 17.4365 | 5000000 | 2.5
Plasmid Y 1 | 34.3432 | 48.7066
Plasmid Y 1 | 34.8838 | 33.8887
Plasmid Y 1 | 34.1894 | 54.0019
Plasmid Y 2 | 30.7538 | 541.5378
Plasmid Y 2 | 30.5309 | 628.9034
Plasmid Y 2 | 30.9417 | 477.3799
Plasmid Y 3 | 27.4732 | 4894.4053
Plasmid Y 3 | 27.6966 | 4212.9995
Plasmid Y 3 | 27.6151 | 4449.8936
Plasmid Y 4 | 24.2201 | 43424.6445
Plasmid Y 4 | 24.2705 | 41978.4336
Plasmid Y 4 | 24.1912 | 44273.4648
Plasmid Y 5 | 20.8914 | 405311.8438
Plasmid Y 5 | 20.7308 | 451440.875
Plasmid Y 5 | 20.6568 | 474432.6562
Plasmid Y 6 | 16.9823 | 5584768.5
Plasmid Y 6 | 16.9864 | 5569699.5
Plasmid Y 6 | 16.9389 | 5749737
Lysate A | 23.9244 | 52955.0195
Lysate A | 23.6801 | 62387.5312
Lysate A | 23.537 | 68673.6328
Lysate B | 23.3713 | 76753.8516
Lysate B | 23.1739 | 87623.3125
Lysate B | 23.2242 | 84716.6016
Lysate C | 23.1957 | 86349.2344
Lysate C | 23.1561 | 88676.8359
Lysate C | 23.0857 | 92966.1875
Lysate D | 23.1507 | 88995.5469
Lysate D | 23.1118 | 91350.8594
Lysate D | 22.9976 | 98628.1562
Lysate E | 23.2064 | 85732.875
Lysate E | 23.1233 | 90651.6797
Lysate E | 23.1251 | 90540.5938
Lysate F | 23.0726 | 93784.2266
Lysate F | 22.9672 | 100657.7656
Lysate F | 22.912 | 104458.4609
Lysate G | 22.9421 | 102367.2812
Lysate G | 22.8768 | 106957.9297
Lysate G | 22.8845 | 106402.8984
Lysate H | 22.9796 | 99827.1562
Lysate H | 22.9687 | 100556.0391
Lysate H | 22.8702 | 107427.9609
Lysate I | 22.5086 | 136935.375
Lysate I | 22.5114 | 136677.1094
Lysate I | 22.4493 | 142487.2344
Lysate J | 22.9534 | 101596.1406
Lysate J | 22.9542 | 101543.3594
Lysate J | 22.8549 | 108537.75

## Run 3
Run 3 - Primer Set 3
Standard Curve | Plasmid Y
Gradient | -3.416
Intercept | 39.454
Ct threshold | 0.1
Samples | Ct value | Copy number
Plasmid X 1 | 0 | 0
Plasmid X 1 | 0 | 0
Plasmid X 1 | 0 | 0
Plasmid X 2 | 0 | 0
Plasmid X 2 | 0 | 0
Plasmid X 2 | 0 | 0
Plasmid X 3 | 0 | 0
Plasmid X 3 | 0 | 0
Plasmid X 3 | 0 | 0
Plasmid X 4 | 0 | 0
Plasmid X 4 | 0 | 0
Plasmid X 4 | 0 | 0
Plasmid X 5 | 0 | 0
Plasmid X 5 | 0 | 0
Plasmid X 5 | 0 | 0
Plasmid X 6 | 0 | 0
Plasmid X 6 | 0 | 0
Plasmid X 6 | 0 | 0 | µL Plasmid Y added
Plasmid Y 1 | 33.5039 | 50 | 2.5
Plasmid Y 1 | 34.1605 | 50 | 2.5
Plasmid Y 1 | 33.5669 | 50 | 2.5
Plasmid Y 2 | 30.0975 | 500 | 2.5
Plasmid Y 2 | 30.5256 | 500 | 2.5
Plasmid Y 2 | 30.1962 | 500 | 2.5
Plasmid Y 3 | 26.6697 | 5000 | 2.5
Plasmid Y 3 | 26.7577 | 5000 | 2.5
Plasmid Y 3 | 26.6913 | 5000 | 2.5
Plasmid Y 4 | 23.4418 | 50000 | 2.5
Plasmid Y 4 | 23.1061 | 50000 | 2.5
Plasmid Y 4 | 23.2596 | 50000 | 2.5
Plasmid Y 5 | 20.0211 | 500000 | 2.5
Plasmid Y 5 | 20.0398 | 500000 | 2.5
Plasmid Y 5 | 19.8168 | 500000 | 2.5
Plasmid Y 6 | 16.6643 | 5000000 | 2.5
Plasmid Y 6 | 16.7989 | 5000000 | 2.5
Plasmid Y 6 | 16.6541 | 5000000 | 2.5
Lysate A | 0 | 0
Lysate A | 0 | 0
Lysate A | 0 | 0
Lysate B | 47.378 | 0.0047919
Lysate B | 43.2848 | 0.075632
Lysate B | 0 | 0
Lysate C | 0 | 0
Lysate C | 46.8112 | 0.0070218
Lysate C | 0 | 0
Lysate D | 0 | 0
Lysate D | 0 | 0
Lysate D | 0 | 0
Lysate E | 0 | 0
Lysate E | 0 | 0
Lysate E | 0 | 0
Lysate F | 25.2403 | 14479.3252
Lysate F | 25.2439 | 14443.7783
Lysate F | 25.0143 | 16861.377
Lysate G | 26.8681 | 4833.2959
Lysate G | 27.1356 | 4035.9951
Lysate G | 26.9508 | 4571.3677
Lysate H | 29.6007 | 766.215
Lysate H | 29.8701 | 638.9579
Lysate H | 29.5769 | 778.5744
Lysate I | 32.9923 | 77.9035
Lysate I | 32.9321 | 81.1263
Lysate I | 32.5656 | 103.8597
Lysate J | 34.9717 | 20.5176
Lysate J | 34.7871 | 23.2369
Lysate J | 34.7891 | 23.2058

## Run 4
Run 4 - Primer Set 2
Standard Curve | Plasmid Y
Gradient | -3.399
Intercept | 40.316
Ct threshold | 0.1
Samples | Ct value | Copy number
Plasmid X 1 | 34.5641 | 49.2368
Plasmid X 1 | 34.7439 | 43.5908
Plasmid X 1 | 34.5739 | 48.9095
Plasmid X 2 | 30.5999 | 722.0864
Plasmid X 2 | 30.7112 | 669.6665
Plasmid X 2 | 30.9974 | 551.6376
Plasmid X 3 | 27.4616 | 6052.397
Plasmid X 3 | 27.5268 | 5791.0811
Plasmid X 3 | 27.49 | 5937.0933
Plasmid X 4 | 24.0128 | 62607.168
Plasmid X 4 | 24.1628 | 56555.2812
Plasmid X 4 | 24.1834 | 55770.7422
Plasmid X 5 | 20.719 | 583044.6875
Plasmid X 5 | 20.7615 | 566465.9375
Plasmid X 5 | 20.7561 | 568555.125
Plasmid X 6 | 17.3378 | 5760955.5
Plasmid X 6 | 17.3175 | 5840404
Plasmid X 6 | 17.386 | 5575856.5 | µL Plasmid Y added
Plasmid Y 1 | 34.3004 | 50 | 2.5
Plasmid Y 1 | 34.114 | 50 | 2.5
Plasmid Y 1 | 34.4998 | 50 | 2.5
Plasmid Y 2 | 31.4859 | 500 | 2.5
Plasmid Y 2 | 31.0966 | 500 | 2.5
Plasmid Y 2 | 31.3913 | 500 | 2.5
Plasmid Y 3 | 27.9245 | 5000 | 2.5
Plasmid Y 3 | 27.8205 | 5000 | 2.5
Plasmid Y 3 | 27.8041 | 5000 | 2.5
Plasmid Y 4 | 24.345 | 50000 | 2.5
Plasmid Y 4 | 24.4605 | 50000 | 2.5
Plasmid Y 4 | 24.3815 | 50000 | 2.5
Plasmid Y 5 | 20.9903 | 500000 | 2.5
Plasmid Y 5 | 20.9939 | 500000 | 2.5
Plasmid Y 5 | 20.9466 | 500000 | 2.5
Plasmid Y 6 | 17.3494 | 5000000 | 2.5
Plasmid Y 6 | 17.454 | 5000000 | 2.5
Plasmid Y 6 | 17.4302 | 5000000 | 2.5
Lysate A | 23.4089 | 94249.4219
Lysate A | 23.0307 | 121775.75
Lysate A | 23.21 | 107844.2891
Lysate B | 23.6719 | 78870.3984
Lysate B | 23.2819 | 102717.9219
Lysate B | 23.2343 | 106085.2891
Lysate C | 23.4833 | 89618.3906
Lysate C | 23.3679 | 96907.2188
Lysate C | 23.2254 | 106728.6172
Lysate D | 23.4769 | 90007.7422
Lysate D | 23.4182 | 93658.5703
Lysate D | 23.3291 | 99484.4297
Lysate E | 23.9083 | 67196.4375
Lysate E | 23.912 | 67028.375
Lysate E | 23.7274 | 75958.9688
Lysate F | 23.9021 | 67482.5312
Lysate F | 23.6641 | 79285.25
Lysate F | 23.6365 | 80782.9609
Lysate G | 23.4724 | 90281.6953
Lysate G | 23.1622 | 111393.3906
Lysate G | 23.2004 | 108547.3594
Lysate H | 23.4507 | 91619.1719
Lysate H | 23.4814 | 89734.6094
Lysate H | 23.4359 | 92541.5
Lysate I | 23.3094 | 100820.3125
Lysate I | 23.3191 | 100161.7266
Lysate I | 23.3306 | 99385.625
Lysate J | 23.1053 | 115773.0391
Lysate J | 23.127 | 114083.1094
Lysate J | 22.9828 | 125789.5078

## Run 5
Run 5 - Lab BCR-ABL1 Primers
Standard Curve | Plasmid Y
Gradient | -3.398
Intercept | 39.324
Ct threshold | 0.1
Samples | Ct value | Copy number
Plasmid X 1 | 32.812 | 82.4809
Plasmid X 1 | 33.0721 | 69.1514
Plasmid X 1 | 32.7729 | 84.6964
Plasmid X 2 | 29.678 | 689.7448
Plasmid X 2 | 29.5199 | 767.7623
Plasmid X 2 | 29.5491 | 752.7247
Plasmid X 3 | 25.7622 | 9797.3955
Plasmid X 3 | 25.5956 | 10968.3916
Plasmid X 3 | 25.9719 | 8499.7852
Plasmid X 4 | 22.2708 | 104385.0312
Plasmid X 4 | 22.5101 | 88757.5234
Plasmid X 4 | 22.5059 | 89007.6172
Plasmid X 5 | 18.7633 | 1124320.125
Plasmid X 5 | 18.9153 | 1014238.5
Plasmid X 5 | 18.9975 | 959330
Plasmid X 6 | 16.1548 | 6585027
Plasmid X 6 | 16.1348 | 6674814
Plasmid X 6 | 16.1825 | 6462604.5 | µL Plasmid Y added
Plasmid Y 1 | 34.1638 | 50 | 2.5
Plasmid Y 1 | 33.3809 | 50 | 2.5
Plasmid Y 1 | 33.4078 | 50 | 2.5
Plasmid Y 2 | 30.0267 | 500 | 2.5
Plasmid Y 2 | 30.049 | 500 | 2.5
Plasmid Y 2 | 30.2624 | 500 | 2.5
Plasmid Y 3 | 26.829 | 5000 | 2.5
Plasmid Y 3 | 26.5813 | 5000 | 2.5
Plasmid Y 3 | 26.8402 | 5000 | 2.5
Plasmid Y 4 | 23.2678 | 50000 | 2.5
Plasmid Y 4 | 23.1938 | 50000 | 2.5
Plasmid Y 4 | 23.251 | 50000 | 2.5
Plasmid Y 5 | 19.7661 | 500000 | 2.5
Plasmid Y 5 | 19.8991 | 500000 | 2.5
Plasmid Y 5 | 19.9446 | 500000 | 2.5
Plasmid Y 6 | 16.7626 | 5000000 | 2.5
Plasmid Y 6 | 16.7129 | 5000000 | 2.5
Plasmid Y 6 | 16.6644 | 5000000 | 2.5
Lysate A | 25.4075 | 12459.4609
Lysate A | 25.297 | 13428.4414
Lysate A | 25.4778 | 11880.0146
Lysate B | 28.4025 | 1637.0443
Lysate B | 28.3579 | 1687.2844
Lysate B | 28.4592 | 1575.3319
Lysate C | 31.5313 | 196.4589
Lysate C | 31.4979 | 200.9538
Lysate C | 31.2756 | 233.6187
Lysate D | 33.5053 | 51.5621
Lysate D | 33.2358 | 61.8917
Lysate D | 32.8078 | 82.7166
Lysate E | 35.8666 | 10.4086
Lysate E | 35.3625 | 14.6468
Lysate E | 36.3673 | 7.4137
Lysate F | 24.8847 | 17756.9844
Lysate F | 24.9346 | 17166.043
Lysate F | 24.8168 | 18592.9902
Lysate G | 26.9985 | 4239.1309
Lysate G | 27.0458 | 4105.3979
Lysate G | 26.9503 | 4379.9146
Lysate H | 29.7547 | 654.824
Lysate H | 29.8397 | 618.1833
Lysate H | 29.9432 | 576.3143
Lysate I | 32.1586 | 128.4267
Lysate I | 31.8658 | 156.6085
Lysate I | 31.961 | 146.8236
Lysate J | 35.2807 | 15.4817
Lysate J | 35.5167 | 13.1938
Lysate J | 34.8895 | 20.1813

## Run 6
Run 6 - Lab ABL1 Primers
Standard Curve | Plasmid Y
Gradient | -3.502
Intercept | 39.643
Ct threshold | 0.1
Samples | Ct value | Copy number
Plasmid X 1 | 33.2938 | 57.2932
Plasmid X 1 | 33.2938 | 87.5827
Plasmid X 1 | 33.2938 | 54.7034
Plasmid X 2 | 29.775 | 695.4591
Plasmid X 2 | 29.775 | 695.7007
Plasmid X 2 | 29.775 | 586.3365
Plasmid X 3 | 26.2887 | 7033.7314
Plasmid X 3 | 26.2887 | 6660.1172
Plasmid X 3 | 26.2887 | 5870.752
Plasmid X 4 | 22.7927 | 67236.5234
Plasmid X 4 | 22.7927 | 63417.4258
Plasmid X 4 | 22.7927 | 63727.0703
Plasmid X 5 | 19.3317 | 651009.0625
Plasmid X 5 | 19.3317 | 625886.3125
Plasmid X 5 | 19.3317 | 614960.4375
Plasmid X 6 | 16.2063 | 5042436.5
Plasmid X 6 | 16.2063 | 5165360
Plasmid X 6 | 16.2063 | 4575857
Plasmid Y 1 | 33.9905 | 50 | 2.5
Plasmid Y 1 | 33.9905 | 50 | 2.5
Plasmid Y 1 | 33.9905 | 50 | 2.5
Plasmid Y 2 | 29.9599 | 500 | 2.5
Plasmid Y 2 | 29.9599 | 500 | 2.5
Plasmid Y 2 | 29.9599 | 500 | 2.5
Plasmid Y 3 | 26.5978 | 5000 | 2.5
Plasmid Y 3 | 26.5978 | 5000 | 2.5
Plasmid Y 3 | 26.5978 | 5000 | 2.5
Plasmid Y 4 | 23.0823 | 50000 | 2.5
Plasmid Y 4 | 23.0823 | 50000 | 2.5
Plasmid Y 4 | 23.0823 | 50000 | 2.5
Plasmid Y 5 | 19.5959 | 500000 | 2.5
Plasmid Y 5 | 19.5959 | 500000 | 2.5
Plasmid Y 5 | 19.5959 | 500000 | 2.5
Plasmid Y 6 | 16.3969 | 5000000 | 2.5
Plasmid Y 6 | 16.3969 | 5000000 | 2.5
Plasmid Y 6 | 16.3969 | 5000000 | 2.5
Lysate A | 20.3629 | 311537
Lysate A | 20.3629 | 325644.5
Lysate A | 20.3629 | 323081.4688
Lysate B | 21.1344 | 195757.6562
Lysate B | 21.1344 | 195645.75
Lysate B | 21.1344 | 186834.6562
Lysate C | 21.4838 | 177696.9062
Lysate C | 21.4838 | 148393.3281
Lysate C | 21.4838 | 136232.5625
Lysate D | 20.6814 | 252860.8281
Lysate D | 20.6814 | 270417.3125
Lysate D | 20.6814 | 255739.25
Lysate E | 20.9271 | 230731.0938
Lysate E | 20.9271 | 212696.1562
Lysate E | 20.9271 | 219485.25
Lysate F | 20.5911 | 272906.6562
Lysate F | 20.5911 | 265603.5
Lysate F | 20.5911 | 288293.6875
Lysate G | 20.4698 | 312440.7812
Lysate G | 20.4698 | 290749.1562
Lysate G | 20.4698 | 292184.1875
Lysate H | 20.9125 | 221814.8438
Lysate H | 20.9125 | 228945.2344
Lysate H | 20.9125 | 218285.4375
Lysate I | 20.6924 | 278552.7188
Lysate I | 20.6924 | 251206.8594
Lysate I | 20.6924 | 244558.9219
Lysate J | 21.5826 | 140651.8906
Lysate J | 21.5826 | 142631.5156
Lysate J | 21.5826 | 147342.4688