## Methods
Name of Lab | Lab2
Type of Lysate received (e.g. Trizol / RLT) | RLT
RQ-PCR machine | TAQMAN 7900 APPLIED BIOSYSTEM
RQ-PCR analysis software | SDS 2.4
Method of RNA quantification e.g.Nanodrop, Qubit (if applicable) | NANODROP
Real time PCR protocol e.g. EAC, Emig, name of commercial kit | ONESTEP BIOCLARMA
Real time PCR reaction volume | 25
Volume of Plasmid standard added to RQ-PCR reactions | 5
Volume of cDNA added to RQ-PCR reactions | 5
Please provide your laboratiories standard RQ-PCR conditions (i.e. master mix, reaction componets and PCR cycling conditions), if different from those specified in the study protocol. You may provide these in a separate document if necessary. | ALL REAGENTS (MASTER MIX, PRIMERS AND PROBE) ARE PROVIDED BY THE KIT ONESTEP BIOCLARMA (STANDARD EAC SEQUENCES)
Please provide the sequences of your laboratories ABL and BCR-ABL primers/probes, if different from the standard EAC sequences. | ABL F
ABL R
ABL Probe
BCR-ABL F
BCR-ABL R
BCR-ABL Probe

## Overview
| Lysate 1 |  | Lysate 2 |  | Lysate 3
| Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6
| Primer set 1 | Primer set 2 | Primer set 3 | Primer set 2 | Lab BCR-ABL1 | Lab ABL1
| Plasmid X 1 | X 1 | X 1 | X 1 | X 1 | X 1
| Plasmid X 2 | X 2 | X 2 | X 2 | X 2 | X 2
| Plasmid X 3 | X 3 | X 3 | X 3 | X 3 | X 3
| Plasmid X 4 | X 4 | X 4 | X 4 | X 4 | X 4
| Plasmid X 5 | X 5 | X 5 | X 5 | X 5 | X 5
| Plasmid X 6 | X 6 | X 6 | X 6 | X 6 | X 6
| Plasmid Y 1 | Y 1 | Y 1 | Y 1 | Y 1 | Y 1
| Plasmid Y 2 | Y 2 | Y 2 | Y 2 | Y 2 | Y 2
| Plasmid Y 3 | Y 3 | Y 3 | Y 3 | Y 3 | Y 3
| Plasmid Y 4 | Y 4 | Y 4 | Y 4 | Y 4 | Y 4
| Plasmid Y 5 | Y 5 | Y 5 | Y 5 | Y 5 | Y 5
| Plasmid Y 6 | Y 6 | Y 6 | Y 6 | Y 6 | Y 6
| Lysate A | A | A | A | A | A
| Lysate B | B | B | B | B | B
| Lysate C | C | C | C | C | C
| Lysate D | D | D | D | D | D
| Lysate E | E | E | E | E | E
| Lysate F | F | F | F | F | F
| Lysate G | G | G | G | G | G
| Lysate H | H | H | H | H | H
| Lysate I | I | I | I | I | I
| Lysate J | J | J | J | J | J
| NTC | NTC | NTC | NTC | NTC | NTC
Standard curve to use
23 points in duplicate = 46 | 46 | 46 | 46 | 46 | 46 | 46 | 276
276 PCRs
23 points in triplicate = 69 | 69 | 69 | 69 | 69 | 69 | 69 | 414
414 PCRs

## RNA - Optional
| RNA volume (µL) | RNA concentration (ng/µL) | RNA 260/280 | RNA 260/230 | Total RNA (µg)
Lysate A 1 | 50 | 20.6 | 2.06 | 1.6 | 1.03
Lysate A 2 | 50 | 24.2 | 2.16 | 1.95 | 1.21
Lysate A 3 | 50 | 22.9 | 1.96 | 1.66 | 1.145
Lysate B 1 | 50 | 19 | 2.08 | 1.23 | 0.95
Lysate B 2 | 50 | 22.1 | 2.03 | 1.95 | 1.105
Lysate B 3 | 50 | 21.1 | 2.01 | 1.65 | 1.055
Lysate C 1 | 50 | 19.4 | 2.08 | 1.06 | 0.97
Lysate C 2 | 50 | 22.9 | 2.18 | 1.9 | 1.145
Lysate C 3 | 50 | 23.8 | 1.99 | 1.66 | 1.19
Lysate D 1 | 50 | 20.9 | 2.05 | 1.85 | 1.045
Lysate D 2 | 50 | 25 | 2.04 | 2.4 | 1.25
Lysate D 3 | 50 | 20.9 | 2.04 | 1.67 | 1.045
Lysate E 1 | 50 | 18.4 | 1.92 | 1.55 | 0.92
Lysate E 2 | 50 | 26.2 | 2.06 | 2.11 | 1.31
Lysate E 3 | 50 | 21 | 2.05 | 1.71 | 1.05
Lysate F 1 | 50 | 19.8 | 2.06 | 1.75 | 0.99
Lysate F 2 | 50 | 25.5 | 2.07 | 2.38 | 1.275
Lysate F 3 | 50 | 23 | 1.99 | 1.71 | 1.15
Lysate G 1 | 50 | 21.5 | 2.07 | 1.38 | 1.075
Lysate G 2 | 50 | 22.1 | 2.12 | 1.46 | 1.105
Lysate G 3 | 50 | 22.6 | 2.01 | 1.64 | 1.13
Lysate H 1 | 50 | 19.8 | 2.12 | 1.26 | 0.99
Lysate H 2 | 50 | 23.1 | 2.05 | 2.22 | 1.155
Lysate H 3 | 50 | 22.5 | 2.03 | 1.58 | 1.125
Lysate I 1 | 50 | 21.2 | 1.92 | 0.65 | 1.06
Lysate I 2 | 50 | 23.2 | 2.12 | 1.46 | 1.16
Lysate I 3 | 50 | 21.7 | 1.89 | 1.6 | 1.085
Lysate J 1 | 50 | 20.8 | 1.08 | 1.65 | 1.04
Lysate J 2 | 50 | 23 | 2.07 | 2.37 | 1.15
Lysate J 3 | 50 | 22 | 2 | 1.61 | 1.1

## Run 1
Run 1 - Primer Set 1
Standard Curve | Plasmid X
Gradient | -3.4267
Intercept | 37.4548
Ct threshold | 0.99915
Samples | Ct value | Copy number | µL Plasmid X added
Plasmid X 1 | 32.74 | 100 | 5
Plasmid X 1 | 33.4535 | 100 | 5
Plasmid X 1
Plasmid X 2 | 29.391 | 1000 | 5
Plasmid X 2 | 29.5806 | 1000 | 5
Plasmid X 2
Plasmid X 3 | 26.1228 | 10000 | 5
Plasmid X 3 | 26.0998 | 10000 | 5
Plasmid X 3
Plasmid X 4 | 22.5869 | 100000 | 5
Plasmid X 4 | 22.708 | 100000 | 5
Plasmid X 4
Plasmid X 5 | 19.4189 | 1000000 | 5
Plasmid X 5 | 19.2756 | 1000000 | 5
Plasmid X 5
Plasmid X 6 | 15.8251 | 10000000 | 5
Plasmid X 6 | 15.9495 | 10000000 | 5
Plasmid X 6
Plasmid Y 1 | 0 | 0
Plasmid Y 1 | 0 | 0
Plasmid Y 1
Plasmid Y 2 | 40.0806 | 0.17128
Plasmid Y 2 | 42.5933 | 0.03165
Plasmid Y 2
Plasmid Y 3 | 37.7918 | 0.79736
Plasmid Y 3 | 38.272 | 0.57749
Plasmid Y 3
Plasmid Y 4 | 35.4419 | 3.8672
Plasmid Y 4 | 35.3046 | 4.241
Plasmid Y 4
Plasmid Y 5 | 31.9438 | 40.5715
Plasmid Y 5 | 31.7833 | 45.1935
Plasmid Y 5
Plasmid Y 6 | 27.9104 | 609.9156
Plasmid Y 6 | 27.881 | 622.0829
Plasmid Y 6
Lysate A | 28.956 | 302.0829
Lysate A | 28.6334 | 375.2235
Lysate A
Lysate B | 32.6386 | 25.4364
Lysate B | 31.6269 | 50.2006
Lysate B
Lysate C | 33.9751 | 10.3617
Lysate C | 33.651 | 12.8835
Lysate C
Lysate D | 35.7328 | 3.1807
Lysate D | 37.9667 | 0.70896
Lysate D
Lysate E | 38.8929 | 0.3805
Lysate E | 0 | 0
Lysate E
Lysate F | 0 | 0
Lysate F | 44.3203 | 0.0099
Lysate F
Lysate G | 0 | 0
Lysate G | 41.3926 | 0.0709
Lysate G
Lysate H | 0 | 0
Lysate H | 0 | 0
Lysate H
Lysate I | 0 | 0
Lysate I | 0 | 0
Lysate I
Lysate J | 0 | 0
Lysate J | 0 | 0
Lysate J

## Run 2
Run 2 - Primer Set 2
Standard Curve | Plasmid X
Gradient | -3.448
Intercept | 38.1394
Ct threshold | 0.99909
Samples | Ct value | Copy number | µL Plasmid X added
Plasmid X 1 | 33.3077 | 100 | 5
Plasmid X 1 | 34.0432 | 100 | 5
Plasmid X 1
Plasmid X 2 | 30.2796 | 1000 | 5
Plasmid X 2 | 30.1345 | 1000 | 5
Plasmid X 2
Plasmid X 3 | 26.7685 | 10000 | 5
Plasmid X 3 | 26.8044 | 10000 | 5
Plasmid X 3
Plasmid X 4 | 23.3947 | 100000 | 5
Plasmid X 4 | 23.0487 | 100000 | 5
Plasmid X 4
Plasmid X 5 | 19.8212 | 1000000 | 5
Plasmid X 5 | 19.8449 | 1000000 | 5
Plasmid X 5
Plasmid X 6 | 16.4113 | 10000000 | 5
Plasmid X 6 | 16.542 | 10000000 | 5
Plasmid X 6
Plasmid Y 1 | 33.9651 | 16.2419
Plasmid Y 1 | 33.3769 | 24.0574
Plasmid Y 1
Plasmid Y 2 | 30.2463 | 194.6183
Plasmid Y 2 | 30.1836 | 202.9447
Plasmid Y 2
Plasmid Y 3 | 26.967 | 1738.8239
Plasmid Y 3 | 26.923 | 1790.663
Plasmid Y 3
Plasmid Y 4 | 23.4279 | 18478.285
Plasmid Y 4 | 23.4902 | 17724.94
Plasmid Y 4
Plasmid Y 5 | 20.0139 | 180633.69
Plasmid Y 5 | 19.9663 | 186464.64
Plasmid Y 5
Plasmid Y 6 | 16.3255 | 2120794
Plasmid Y 6 | 16.2745 | 2194286.5
Plasmid Y 6
Lysate A | 24.4304 | 9460.727
Lysate A | 24.1464 | 11436.279
Lysate A
Lysate B | 25.3532 | 5108.3433
Lysate B | 25.0334 | 6324.714
Lysate B
Lysate C | 24.3682 | 9861.868
Lysate C | 24.3658 | 9877.744
Lysate C
Lysate D | 24.8 | 7391.226
Lysate D | 24.7166 | 7814.916
Lysate D
Lysate E | 24.0982 | 11810.558
Lysate E | 24.1797 | 11184.324
Lysate E
Lysate F | 24.415 | 9558.255
Lysate F | 24.3623 | 9900.578
Lysate F
Lysate G | 24.5259 | 8875.865
Lysate G | 24.4496 | 9340.119
Lysate G
Lysate H | 0 | 0
Lysate H | 24.7965 | 7408.389
Lysate H
Lysate I | 24.7641 | 7570.788
Lysate I | 24.7916 | 7432.9746
Lysate I
Lysate J | 24.9641 | 6624.2793
Lysate J | 24.935 | 6754.255
Lysate J

## Run 3
Run 3 - Primer Set 3
Standard Curve | Plasmid Y
Gradient | -3.3915
Intercept | 37.27
Ct threshold | 0.99988
Samples | Ct value | Copy number
Plasmid X 1 | 0 | 0
Plasmid X 1 | 0 | 0
Plasmid X 1
Plasmid X 2 | 0 | 0
Plasmid X 2 | 0 | 0
Plasmid X 2
Plasmid X 3 | 0 | 0
Plasmid X 3 | 0 | 0
Plasmid X 3
Plasmid X 4 | 0 | 0
Plasmid X 4 | 0 | 0
Plasmid X 4
Plasmid X 5 | 0 | 0
Plasmid X 5 | 0 | 0
Plasmid X 5
Plasmid X 6 | 0 | 0
Plasmid X 6 | 0 | 0
Plasmid X 6 |  |  | µL Plasmid Y added
Plasmid Y 1 | 32.8461 | 100 | 5
Plasmid Y 1 | 32.7851 | 100 | 5
Plasmid Y 1
Plasmid Y 2 | 29.4164 | 1000 | 5
Plasmid Y 2 | 29.4944 | 1000 | 5
Plasmid Y 2
Plasmid Y 3 | 26.1551 | 10000 | 5
Plasmid Y 3 | 26.1699 | 10000 | 5
Plasmid Y 3
Plasmid Y 4 | 22.6783 | 100000 | 5
Plasmid Y 4 | 22.6246 | 100000 | 5
Plasmid Y 4
Plasmid Y 5 | 19.3322 | 1000000 | 5
Plasmid Y 5 | 19.352 | 1000000 | 5
Plasmid Y 5
Plasmid Y 6 | 15.7831 | 10000000 | 5
Plasmid Y 6 | 15.9072 | 10000000 | 5
Plasmid Y 6
Lysate A | 50 | 0
Lysate A | 50 | 0
Lysate A
Lysate B | 50 | 0
Lysate B | 50 | 0
Lysate B
Lysate C | 50 | 0
Lysate C | 50 | 0
Lysate C
Lysate D | 50 | 0
Lysate D | 50 | 0
Lysate D
Lysate E | 50 | 0
Lysate E | 50 | 0
Lysate E
Lysate F | 27.7506 | 640.9269
Lysate F | 27.8709 | 590.6881
Lysate F
Lysate G | 29.996 | 139.5568
Lysate G | 29.8806 | 150.935
Lysate G
Lysate H | 37.3685 | 0.93528
Lysate H | 36.8171 | 1.36
Lysate H
Lysate I | 34.6863 | 5.7786
Lysate I | 34.782 | 5.4147
Lysate I
Lysate J | 50 | 0
Lysate J | 36.8761 | 1.3066
Lysate J

## Run 4
Run 4 - Primer Set 2
Standard Curve | Plasmid Y
Gradient | -3.4249
Intercept | 38.2153
Ct threshold | 0.99906
Samples | Ct value | Copy number
Plasmid X 1 | 33.839 | 18.9575
Plasmid X 1 | 34.1022 | 15.8835
Plasmid X 1
Plasmid X 2 | 30.6721 | 159.3832
Plasmid X 2 | 30.4696 | 182.6255
Plasmid X 2
Plasmid X 3 | 27.0516 | 1817.8118
Plasmid X 3 | 26.95 | 1946.3334
Plasmid X 3
Plasmid X 4 | 23.556 | 19061.94
Plasmid X 4 | 23.4001 | 21167.975
Plasmid X 4
Plasmid X 5 | 19.9421 | 216438.16
Plasmid X 5 | 19.9682 | 212675.89
Plasmid X 5
Plasmid X 6 | 16.723 | 1884727.4
Plasmid X 6 | 16.7135 | 1896855.4
Plasmid X 6 |  |  | µL Plasmid Y added
Plasmid Y 1 | 33.3775 | 100 | 5
Plasmid Y 1 | 33.7171 | 100 | 5
Plasmid Y 1
Plasmid Y 2 | 30.3382 | 1000 | 5
Plasmid Y 2 | 30.4171 | 1000 | 5
Plasmid Y 2
Plasmid Y 3 | 27.1001 | 10000 | 5
Plasmid Y 3 | 27.2359 | 10000 | 5
Plasmid Y 3
Plasmid Y 4 | 23.5604 | 100000 | 5
Plasmid Y 4 | 23.4538 | 100000 | 5
Plasmid Y 4
Plasmid Y 5 | 20.1649 | 1000000 | 5
Plasmid Y 5 | 20.0886 | 1000000 | 5
Plasmid Y 5
Plasmid Y 6 | 16.5051 | 10000000 | 5
Plasmid Y 6 | 16.4058 | 10000000 | 5
Plasmid Y 6
Lysate A | 24.6006 | 9444.225
Lysate A | 24.3741 | 10997.527
Lysate A
Lysate B | 25.9038 | 3932.4666
Lysate B | 25.3817 | 5586.2656
Lysate B
Lysate C | 24.0952 | 13266.373
Lysate C | 24.4986 | 10114.62
Lysate C
Lysate D | 25.1226 | 6649.076
Lysate D | 24.993 | 7254.355
Lysate D
Lysate E | 23.791 | 16276.668
Lysate E | 24.0504 | 13671.723
Lysate E
Lysate F | 24.1856 | 12483.938
Lysate F | 24.196 | 12396.809
Lysate F
Lysate G | 24.1249 | 13003.79
Lysate G | 24.2868 | 11662.382
Lysate G
Lysate H | 28.1221 | 885.0564
Lysate H | 28.154 | 866.2957
Lysate H
Lysate I | 24.5364 | 9861.04
Lysate I | 24.7205 | 8713.027
Lysate I
Lysate J | 24.8523 | 7974.327
Lysate J | 25.0375 | 7040.7056
Lysate J

## Run 5
Run 5 - Lab BCR-ABL1 Primers
Standard Curve | Plasmid Y
Gradient | -3.2992
Intercept | 36.7415
Ct threshold | 0.99969
Samples | Ct value | Copy number
Plasmid X 1 | 31.8355 | 30.6903
Plasmid X 1 | 32.7331 | 16.403
Plasmid X 1
Plasmid X 2 | 28.8899 | 239.7772
Plasmid X 2 | 28.971 | 226.591
Plasmid X 2
Plasmid X 3 | 25.5358 | 2491.2996
Plasmid X 3 | 25.5551 | 2458.0322
Plasmid X 3
Plasmid X 4 | 22.3373 | 23222.812
Plasmid X 4 | 22.2499 | 24682.318
Plasmid X 4
Plasmid X 5 | 19.0722 | 226763.02
Plasmid X 5 | 19.9235 | 234600.22
Plasmid X 5
Plasmid X 6 | 15.9776 | 1935791.4
Plasmid X 6 | 15.9776 | 1996135.2
Plasmid X 6 |  |  | µL Plasmid Y added
Plasmid Y 1 | 32.4172 | 100 | 5
Plasmid Y 1 | 32.4505 | 100 | 5
Plasmid Y 1
Plasmid Y 2 |  | 1000 | 5
Plasmid Y 2 | 29.3188 | 1000 | 5
Plasmid Y 2
Plasmid Y 3 | 25.9738 | 10000 | 5
Plasmid Y 3 | 25.8407 | 10000 | 5
Plasmid Y 3
Plasmid Y 4 | 22.4714 | 100000 | 5
Plasmid Y 4 | 22.5303 | 100000 | 5
Plasmid Y 4
Plasmid Y 5 | 19.1399 | 1000000 | 5
Plasmid Y 5 | 19.1046 | 1000000 | 5
Plasmid Y 5
Plasmid Y 6 | 16.0833 | 10000000 | 5
Plasmid Y 6 | 16.0317 | 10000000 | 5
Plasmid Y 6
Lysate A | 27.0148 | 887.4594
Lysate A | 27.2387 | 759.0989
Lysate A
Lysate B | 29.3747 | 170.9509
Lysate B | 30 | 110.4977
Lysate B
Lysate C | 32.2553 | 22.8961
Lysate C | 32.3917 | 20.8173
Lysate C
Lysate D | 34.3834 | 5.1846
Lysate D | 34.9362 | 3.5252
Lysate D
Lysate E | 36.8138 | 0.95075
Lysate E | 36.5918 | 1.1101
Lysate E
Lysate F | 26.9611 | 921.3555
Lysate F | 26.9917 | 901.8947
Lysate F
Lysate G | 29.4311 | 164.3478
Lysate G | 29.7004 | 136.1899
Lysate G
Lysate H | 32.9671 | 13.9317
Lysate H | 32.416 | 20.4671
Lysate H
Lysate I | 34.5474 | 4.624
Lysate I | 35.65 | 2.142
Lysate I
Lysate J | 0 | 0
Lysate J | 39.3298 | 0.16423
Lysate J

## Run 6
Run 6 - Lab ABL1 Primers
Standard Curve | Plasmid Y
Gradient | -3.3586
Intercept | 37.299
Ct threshold | 0.99884
Samples | Ct value | Copy number
Plasmid X 1 | 33.1651 | 17.0146 | 31.8355
Plasmid X 1 | 32.5573 | 25.8104 | 32.7331
Plasmid X 1
Plasmid X 2 | 29.4516 | 217.0103 | 28.8899
Plasmid X 2 | 29.5309 | 205.5335 | 28.971
Plasmid X 2
Plasmid X 3 | 25.5691 | 3107.8564 | 25.5358
Plasmid X 3 | 25.8937 | 2487.7258 | 25.5551
Plasmid X 3 | [5 empty] | 10
Plasmid X 4 | 22.356 | 28126.01 | 22.3373 |  |  | 104
Plasmid X 4 | 22.9343 | 18920.629 | 22.2499 |  |  | 1020
Plasmid X 4 | [5 empty] | 10300
Plasmid X 5 | 18.5095 | 392980.78 | 19.0722 |  |  | 108000
Plasmid X 5 | 18.651 | 356657.47 | 19.9235 |  |  | 1080000
Plasmid X 5
Plasmid X 6 | 16.3902 | 1680227.2 | 15.9776
Plasmid X 6 | 16.2187 | 1889822.8 | 15.9776
Plasmid X 6 |  |  | µL Plasmid Y added
Plasmid Y 1 | 32.849 | 100 | 5 | 7009192478.3982 | 32.849 | 100 | 2 | 10 | 2
Plasmid Y 1 | 32.9886 | 100 | 5 | 7718384370.3585 | 32.9886 | 100 | 2 | 10 | 2
Plasmid Y 1 |  |  |  |  | 29.7889 | 1000 | 3 | 104 | 3.017
Plasmid Y 2 | 29.7889 | 1000 | 5 |  | 29.2958 | 1000 | 3 | 104 | 3.017
Plasmid Y 2 | 29.2958 | 1000 | 5 | 603519300.1276 | 26.1731 | 10000 | 4 | 1020 | 4.0086
Plasmid Y 2 |  |  |  |  | 26.5978 | 10000 | 4 | 1020 | 4.0086
Plasmid Y 3 | 26.1731 | 10000 | 5 | 69944007.9272 | 22.7435 | 100000 | 5 | 10300 | 5.0128
Plasmid Y 3 | 26.5978 | 10000 | 5 | 93760089.0458 | 22.6115 | 100000 | 5 | 10300 | 5.0128
Plasmid Y 3 |  |  |  |  | 19.6142 | 1000000 | 6 | 108000 | 6.0334
Plasmid Y 4 | 22.7435 | 100000 | 5 | 6558322.142 | 19.3703 | 1000000 | 6 | 108000 | 6.0334
Plasmid Y 4 | 22.6115 | 100000 | 5 | 5987421.2587 | 16.369 | 10000000 | 7 | 1080000 | 7.0334
Plasmid Y 4 |  |  |  |  | 15.9908 | 10000000 | 7 | 1080000 | 7.0334
Plasmid Y 5 | 19.6142 | 1000000 | 5 | 756629.9043
Plasmid Y 5 | 19.3703 | 1000000 | 5 | 639409.8732
Plasmid Y 5
Plasmid Y 6 | 16.369 | 10000000 | 5 | 80572.3553
Plasmid Y 6 | 15.9908 | 10000000 | 5 | 62063.9336
Plasmid Y 6
Lysate A | 22.2701 | 29833.176
Lysate A | 22.3955 | 27376.11
Lysate A
Lysate B | 22.3778 | 27709.512
Lysate B | 22.3968 | 27351.443
Lysate B
Lysate C | 22.4472 | 26422.633
Lysate C | 22.4417 | 26521.89
Lysate C
Lysate D | 22.5317 | 24934.957
Lysate D | 22.9283 | 18999.006
Lysate D
Lysate E | 22.7453 | 21537.686
Lysate E | 22.2575 | 30091.848
Lysate E
Lysate F | 22.4558 | 26266.928
Lysate F | 22.7667 | 21225.133
Lysate F
Lysate G | 21.8475 | 39857.637
Lysate G | 21.9262 | 37765.566
Lysate G
Lysate H | 22.5941 | 23890.033
Lysate H | 22.6352 | 23226.408
Lysate H
Lysate I | 22.3434 | 28371.936
Lysate I | 22.2102 | 31083.531
Lysate I
Lysate J | 22.1903 | 31509.686
Lysate J | 22.3676 | 27903.838
Lysate J