## Methods
Name of Lab | Lab3
Type of Lysate received (e.g. Trizol / RLT) | RLT
RQ-PCR machine | ABI7300
RQ-PCR analysis software | 7300 System Software v1.3.1
Method of RNA quantification e.g.Nanodrop, Qubit (if applicable) | Nanodrop
Real time PCR protocol e.g. EAC, Emig, name of commercial kit | EAC
Real time PCR reaction volume | 25 uL
Volume of Plasmid standard added to RQ-PCR reactions | 5 uL
Volume of cDNA added to RQ-PCR reactions | 5 uL
Please provide your laboratiories standard RQ-PCR conditions (i.e. master mix, reaction componets and PCR cycling conditions), if different from those specified in the study protocol. You may provide these in a separate document if necessary. | ABsolute QPCR ROX Mix (Thermo Fisher Scientific), EAC primers/probes, PCR conditions: 95°C/15 min, 95°C/15 sec, 60°C/ 1 min - 50 cycles
Please provide the sequences of your laboratories ABL and BCR-ABL primers/probes, if different from the standard EAC sequences. | ABL F | 5-TGGAGATAACACTCTAAGCATAACTAAAGGT-3
| ABL R | 5-GATGTAGTTGCTTGGGACCCA-3
| ABL Probe | FAM-CCATTTTTGGTTTGGGCTTCACACCATT-BHQ
| BCR-ABL F | 5-TCCGCTGACCATCAAYAAGGA-3
| BCR-ABL R | 5-CACTCAGACCCTGAGGCTCAA-3
| BCR-ABL Probe | FAM-CCCTTCAGCGGCCAGTAGCATCTGA-BHQ

## Overview
| Lysate 1 |  | Lysate 2 |  | Lysate 3
| Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6
| Primer set 1 | Primer set 2 | Primer set 3 | Primer set 2 | Lab BCR-ABL1 | Lab ABL1
| Plasmid X 1 | X 1 | X 1 | X 1 | X 1 | X 1
| Plasmid X 2 | X 2 | X 2 | X 2 | X 2 | X 2
| Plasmid X 3 | X 3 | X 3 | X 3 | X 3 | X 3
| Plasmid X 4 | X 4 | X 4 | X 4 | X 4 | X 4
| Plasmid X 5 | X 5 | X 5 | X 5 | X 5 | X 5
| Plasmid X 6 | X 6 | X 6 | X 6 | X 6 | X 6
| Plasmid Y 1 | Y 1 | Y 1 | Y 1 | Y 1 | Y 1
| Plasmid Y 2 | Y 2 | Y 2 | Y 2 | Y 2 | Y 2
| Plasmid Y 3 | Y 3 | Y 3 | Y 3 | Y 3 | Y 3
| Plasmid Y 4 | Y 4 | Y 4 | Y 4 | Y 4 | Y 4
| Plasmid Y 5 | Y 5 | Y 5 | Y 5 | Y 5 | Y 5
| Plasmid Y 6 | Y 6 | Y 6 | Y 6 | Y 6 | Y 6
| Lysate A | A | A | A | A | A
| Lysate B | B | B | B | B | B
| Lysate C | C | C | C | C | C
| Lysate D | D | D | D | D | D
| Lysate E | E | E | E | E | E
| Lysate F | F | F | F | F | F
| Lysate G | G | G | G | G | G
| Lysate H | H | H | H | H | H
| Lysate I | I | I | I | I | I
| Lysate J | J | J | J | J | J
| NTC | NTC | NTC | NTC | NTC | NTC
Standard curve to use
23 points in duplicate = 46 | 46 | 46 | 46 | 46 | 46 | 46 | 276
276 PCRs
23 points in triplicate = 69 | 69 | 69 | 69 | 69 | 69 | 69 | 414
414 PCRs

## RNA - Optional
| RNA volume (µL) | RNA concentration (ng/µL) | RNA 260/280 | RNA 260/230 | Total RNA (µg)
Lysate A 1 | 60 | 71.1 | 1.93 | 1.23 | 4.266
Lysate A 2 | 60 | 71.7 | 1.98 | 1.99 | 4.302
Lysate A 3 | 60 | 79.3 | 1.93 | 1.87 | 4.758
Lysate B 1 | 60 | 59.3 | 1.97 | 1.31 | 3.558
Lysate B 2 | 60 | 63.6 | 1.99 | 1.26 | 3.816
Lysate B 3 | 60 | 67.1 | 1.91 | 1.23 | 4.026
Lysate C 1 | 60 | 64.1 | 1.95 | 1.4 | 3.846
Lysate C 2 | 60 | 65.1 | 1.98 | 1.56 | 3.906
Lysate C 3 | 60 | 79.8 | 1.84 | 1.48 | 4.788
Lysate D 1 | 60 | 72.1 | 1.94 | 1.6 | 4.326
Lysate D 2 | 60 | 63.9 | 1.97 | 1.34 | 3.834
Lysate D 3 | 60 | 60.2 | 1.94 | 1.25 | 3.612
Lysate E 1 | 60 | 64.2 | 1.97 | 1.65 | 3.852
Lysate E 2 | 60 | 71.5 | 1.95 | 1.92 | 4.29
Lysate E 3 | 60 | 71.1 | 1.9 | 1.35 | 4.266
Lysate F 1 | 60 | 77.4 | 1.94 | 1.61 | 4.644
Lysate F 2 | 60 | 68 | 1.98 | 1.52 | 4.08
Lysate F 3 | 60 | 83.7 | 1.85 | 1.36 | 5.022
Lysate G 1 | 60 | 68.9 | 1.94 | 1.44 | 4.134
Lysate G 2 | 60 | 65.7 | 2 | 1.74 | 3.942
Lysate G 3 | 60 | 81.5 | 1.92 | 1.61 | 4.89
Lysate H 1 | 60 | 65 | 1.94 | 1.32 | 3.9
Lysate H 2 | 60 | 66.3 | 1.96 | 1.32 | 3.978
Lysate H 3 | 60 | 74.4 | 1.93 | 1.7 | 4.464
Lysate I 1 | 60 | 65.7 | 1.99 | 1.45 | 3.942
Lysate I 2 | 60 | 65 | 2 | 1.39 | 3.9
Lysate I 3 | 60 | 73.6 | 1.95 | 1.36 | 4.416
Lysate J 1 | 60 | 70.1 | 1.96 | 1.24 | 4.206
Lysate J 2 | 60 | 66.6 | 1.96 | 1.88 | 3.996
Lysate J 3 | 60 | 90.1 | 1.89 | 1.59 | 5.406

## Run 1
Run 1 - Primer Set 1
Standard Curve | Plasmid X
Gradient | -3.2488
Intercept | 37.9148
Ct threshold | 0.2
Samples | Ct value | Copy number | µL Plasmid X added
Plasmid X 1 | 31.6 | 100 | 5
Plasmid X 1 | 31.6 | 100 | 5
Plasmid X 1 | 31.81 | 100 | 5
Plasmid X 2 | 27.99 | 1000 | 5
Plasmid X 2 | 28.09 | 1000 | 5
Plasmid X 2 | 28.31 | 1000 | 5
Plasmid X 3 | 24.8 | 10000 | 5
Plasmid X 3 | 24.71 | 10000 | 5
Plasmid X 3 | 24.82 | 10000 | 5
Plasmid X 4 | 21.48 | 100000 | 5
Plasmid X 4 | 21.45 | 100000 | 5
Plasmid X 4 | 21.39 | 100000 | 5
Plasmid X 5 | 18.14 | 1000000 | 5
Plasmid X 5 | 18.17 | 1000000 | 5
Plasmid X 5 | 18.23 | 1000000 | 5
Plasmid X 6 | 15.53 | 10000000 | 5
Plasmid X 6 | 15.59 | 10000000 | 5
Plasmid X 6 | 15.58 | 10000000 | 5
Plasmid Y 1 | 0 | 0
Plasmid Y 1 | 0 | 0
Plasmid Y 1 | 0 | 0
Plasmid Y 2 | 0 | 0
Plasmid Y 2 | 0 | 0
Plasmid Y 2 | 0 | 0
Plasmid Y 3 | 0 | 0
Plasmid Y 3 | 37.18 | 1.68
Plasmid Y 3 | 0 | 0
Plasmid Y 4 | 37.4 | 1.44
Plasmid Y 4 | 38.39 | 0.713
Plasmid Y 4 | 36.72 | 2.33
Plasmid Y 5 | 33.95 | 16.59
Plasmid Y 5 | 33.18 | 28.76
Plasmid Y 5 | 34.4 | 12.09
Plasmid Y 6 | 28.93 | 581.51
Plasmid Y 6 | 31.79 | 76.63
Plasmid Y 6 | 35.4 | 5.96
Lysate A | 25.74 | 5594
Lysate A | 25.73 | 5641.71
Lysate A | 25.74 | 5597.68
Lysate B | 28.35 | 882.04
Lysate B | 28.2 | 978.18
Lysate B | 28.27 | 932.29
Lysate C | 30.4 | 206.01
Lysate C | 30.51 | 189.97
Lysate C | 30.45 | 198.3
Lysate D | 32.54 | 44.99
Lysate D | 32.58 | 44
Lysate D | 33.56 | 21.86
Lysate E | 36.46 | 2.8
Lysate E | 36.2 | 3.38
Lysate E | 35.26 | 6.57
Lysate F | 0 | 0
Lysate F | 37.84 | 1.05
Lysate F | 0 | 0
Lysate G | 0 | 0
Lysate G | 0 | 0
Lysate G | 0 | 0
Lysate H | 0 | 0
Lysate H | 0 | 0
Lysate H | 0 | 0
Lysate I | 0 | 0
Lysate I | 0 | 0
Lysate I | 0 | 0
Lysate J | 0 | 0
Lysate J | 0 | 0
Lysate J | 0 | 0

## Run 2
Run 2 - Primer Set 2
Standard Curve | Plasmid X
Gradient | -3.293
Intercept | 39.0949
Ct threshold | 0.2
Samples | Ct value | Copy number | µL Plasmid X added
Plasmid X 1 | 32.49 | 100 | 5
Plasmid X 1 | 32.55 | 100 | 5
Plasmid X 1 | 32.76 | 100 | 5
Plasmid X 2 | 29.26 | 1000 | 5
Plasmid X 2 | 29.29 | 1000 | 5
Plasmid X 2 | 29.2 | 1000 | 5
Plasmid X 3 | 25.88 | 10000 | 5
Plasmid X 3 | 25.91 | 10000 | 5
Plasmid X 3 | 25.93 | 10000 | 5
Plasmid X 4 | 22.45 | 100000 | 5
Plasmid X 4 | 22.46 | 100000 | 5
Plasmid X 4 | 22.44 | 100000 | 5
Plasmid X 5 | 19.14 | 1000000 | 5
Plasmid X 5 | 19.14 | 1000000 | 5
Plasmid X 5 | 19.21 | 1000000 | 5
Plasmid X 6 | 16.28 | 10000000 | 5
Plasmid X 6 | 16.28 | 10000000 | 5
Plasmid X 6 | 16.31 | 10000000 | 5
Plasmid Y 1 | 32.02 | 140.56
Plasmid Y 1 | 32.49 | 101.59
Plasmid Y 1 | 32.89 | 76.43
Plasmid Y 2 | 29.47 | 837.92
Plasmid Y 2 | 29.36 | 907.23
Plasmid Y 2 | 29.47 | 835.14
Plasmid Y 3 | 26.23 | 8040.94
Plasmid Y 3 | 26.22 | 8108.89
Plasmid Y 3 | 26.21 | 8185.34
Plasmid Y 4 | 22.93 | 81204.58
Plasmid Y 4 | 22.73 | 93105.38
Plasmid Y 4 | 22.8 | 88815.81
Plasmid Y 5 | 19.46 | 920600.94
Plasmid Y 5 | 19.46 | 919477
Plasmid Y 5 | 19.58 | 843926.06
Plasmid Y 6 | 16.7 | 6340000
Plasmid Y 6 | 16.38 | 7920000
Plasmid Y 6 | 16.46 | 7470000
Lysate A | 21.9 | 166755.16
Lysate A | 21.6 | 205427.66
Lysate A | 21.49 | 221338.31
Lysate B | 21.87 | 169932.89
Lysate B | 21.73 | 187122.06
Lysate B | 21.79 | 179615.47
Lysate C | 21.62 | 201943.52
Lysate C | 21.62 | 201959.67
Lysate C | 21.61 | 204126.02
Lysate D | 21.57 | 209458.52
Lysate D | 21.55 | 212792.59
Lysate D | 21.53 | 216055.78
Lysate E | 21.7 | 191326.31
Lysate E | 21.72 | 189044.02
Lysate E | 21.65 | 198994.03
Lysate F | 21.86 | 171057.31
Lysate F | 21.88 | 168366.38
Lysate F | 21.89 | 167387.95
Lysate G | 21.9 | 166369.06
Lysate G | 21.97 | 158867.38
Lysate G | 22.02 | 152801.66
Lysate H | 22.04 | 150538.58
Lysate H | 22.13 | 141427.45
Lysate H | 22.07 | 148371.55
Lysate I | 21.68 | 194397.16
Lysate I | 21.58 | 207806.83
Lysate I | 21.73 | 186981.11
Lysate J | 21.71 | 189755.84
Lysate J | 21.66 | 197201.44
Lysate J | 21.74 | 186852.48

## Run 3
Run 3 - Primer Set 3
Standard Curve | Plasmid Y
Gradient | -3.2122
Intercept | 38.1953
Ct threshold | 0.2
Samples | Ct value | Copy number
Plasmid X 1 | 0 | 0
Plasmid X 1 | 0 | 0
Plasmid X 1 | 0 | 0
Plasmid X 2 | 0 | 0
Plasmid X 2 | 0 | 0
Plasmid X 2 | 0 | 0
Plasmid X 3 | 0 | 0
Plasmid X 3 | 0 | 0
Plasmid X 3 | 0 | 0
Plasmid X 4 | 0 | 0
Plasmid X 4 | 37.4 | 1.77
Plasmid X 4 | 0 | 0
Plasmid X 5 | 0 | 0
Plasmid X 5 | 0 | 0
Plasmid X 5 | 0 | 0
Plasmid X 6 | 0 | 0
Plasmid X 6 | 0 | 0
Plasmid X 6 | 0 | 0 | µL Plasmid Y added
Plasmid Y 1 | 31.56 | 100 | 5
Plasmid Y 1 | 32.04 | 100 | 5
Plasmid Y 1 | 31.71 | 100 | 5
Plasmid Y 2 | 28.38 | 1000 | 5
Plasmid Y 2 | 28.72 | 1000 | 5
Plasmid Y 2 | 28.72 | 1000 | 5
Plasmid Y 3 | 25.32 | 10000 | 5
Plasmid Y 3 | 25.28 | 10000 | 5
Plasmid Y 3 | 25.6 | 10000 | 5
Plasmid Y 4 | 22.04 | 100000 | 5
Plasmid Y 4 | 21.98 | 100000 | 5
Plasmid Y 4 | 22.06 | 100000 | 5
Plasmid Y 5 | 18.72 | 1000000 | 5
Plasmid Y 5 | 18.73 | 1000000 | 5
Plasmid Y 5 | 18.85 | 1000000 | 5
Plasmid Y 6 | 15.81 | 10000000 | 5
Plasmid Y 6 | 15.87 | 10000000 | 5
Plasmid Y 6 | 15.92 | 10000000 | 5
Lysate A | 0 | 0
Lysate A | 0 | 0
Lysate A | 0 | 0
Lysate B | 0 | 0
Lysate B | 0 | 0
Lysate B | 0 | 0
Lysate C | 0 | 0
Lysate C | 38.73 | 0.682
Lysate C | 0 | 0
Lysate D | 0 | 0
Lysate D | 0 | 0
Lysate D | 0 | 0
Lysate E | 0 | 0
Lysate E | 0 | 0
Lysate E | 0 | 0
Lysate F | 25.52 | 8858.07
Lysate F | 25.43 | 9408.58
Lysate F | 25.46 | 9199.01
Lysate G | 27.82 | 1694.34
Lysate G | 27.86 | 1644.72
Lysate G | 27.61 | 1968.18
Lysate H | 30.09 | 334.41
Lysate H | 30.04 | 346.37
Lysate H | 30.1 | 330.56
Lysate I | 32.46 | 61.2
Lysate I | 32.12 | 78.05
Lysate I | 32.09 | 79.76
Lysate J | 34.1 | 18.89
Lysate J | 34.83 | 11.18
Lysate J | 34.95 | 10.26

## Run 4
Run 4 - Primer Set 2
Standard Curve | Plasmid Y
Gradient | -3.2628
Intercept | 39.166
Ct threshold | 0.2
Samples | Ct value | Copy number
Plasmid X 1 | 32.29 | 127.88
Plasmid X 1 | 32.41 | 117.9
Plasmid X 1 | 32.65 | 99.52
Plasmid X 2 | 28.95 | 1354.6
Plasmid X 2 | 29.09 | 1221.65
Plasmid X 2 | 29.05 | 1259.95
Plasmid X 3 | 25.83 | 12208.04
Plasmid X 3 | 25.73 | 13110.12
Plasmid X 3 | 25.88 | 11791.05
Plasmid X 4 | 22.48 | 130090.39
Plasmid X 4 | 22.47 | 131367.2
Plasmid X 4 | 22.48 | 129863.47
Plasmid X 5 | 19.1 | 1420000
Plasmid X 5 | 19.15 | 1360000
Plasmid X 5 | 19.17 | 1350000
Plasmid X 6 | 16.25 | 10600000
Plasmid X 6 | 16.29 | 10300000
Plasmid X 6 | 16.26 | 10500000 | µL Plasmid Y added
Plasmid Y 1 | 32.73 | 100 | 5
Plasmid Y 1 | 32.17 | 100 | 5
Plasmid Y 1 | 32.65 | 100 | 5
Plasmid Y 2 | 29.43 | 1000 | 5
Plasmid Y 2 | 29.52 | 1000 | 5
Plasmid Y 2 | 29.44 | 1000 | 5
Plasmid Y 3 | 26.22 | 10000 | 5
Plasmid Y 3 | 26.21 | 10000 | 5
Plasmid Y 3 | 26.25 | 10000 | 5
Plasmid Y 4 | 22.99 | 100000 | 5
Plasmid Y 4 | 22.86 | 100000 | 5
Plasmid Y 4 | 22.77 | 100000 | 5
Plasmid Y 5 | 19.4 | 1000000 | 5
Plasmid Y 5 | 19.47 | 1000000 | 5
Plasmid Y 5 | 19.59 | 1000000 | 5
Plasmid Y 6 | 16.28 | 10000000 | 5
Plasmid Y 6 | 16.33 | 10000000 | 5
Plasmid Y 6 | 16.39 | 10000000 | 5
Lysate A | 21.91 | 195067.92
Lysate A | 21.69 | 227837.73
Lysate A | 21.77 | 214661.61
Lysate B | 21.91 | 195105.48
Lysate B | 21.79 | 211477.3
Lysate B | 21.85 | 202386.89
Lysate C | 21.88 | 198750.16
Lysate C | 21.91 | 194443.75
Lysate C | 21.84 | 204740.88
Lysate D | 21.84 | 203827.13
Lysate D | 21.83 | 205330.11
Lysate D | 21.86 | 201517.02
Lysate E | 22 | 182584.11
Lysate E | 21.95 | 188923.61
Lysate E | 21.71 | 224526.27
Lysate F | 21.98 | 184498.78
Lysate F | 21.94 | 189982.44
Lysate F | 22.1 | 170165.61
Lysate G | 21.97 | 186423.75
Lysate G | 22.04 | 177481.41
Lysate G | 22.05 | 175795.91
Lysate H | 22.1 | 170511.59
Lysate H | 22.28 | 149970.48
Lysate H | 22.15 | 164349.77
Lysate I | 21.64 | 235150.77
Lysate I | 21.69 | 226984.63
Lysate I | 21.93 | 191343.39
Lysate J | 21.93 | 191801.63
Lysate J | 21.8 | 210493.81
Lysate J | 21.83 | 205678.09

## Run 5
Run 5 - Lab BCR-ABL1 Primers
Standard Curve | Plasmid Y
Gradient | -3.2584
Intercept | 37.7055
Ct threshold | 0.2
Samples | Ct value | Copy number
Plasmid X 1 | 30.92 | 121.24
Plasmid X 1 | 30.56 | 156.44
Plasmid X 1 | 31.01 | 113.71
Plasmid X 2 | 27.39 | 1462.55
Plasmid X 2 | 27.33 | 1533.5
Plasmid X 2 | 27.19 | 1690.37
Plasmid X 3 | 24.02 | 15888.87
Plasmid X 3 | 23.96 | 16590.98
Plasmid X 3 | 24.03 | 15750.61
Plasmid X 4 | 20.71 | 164436.75
Plasmid X 4 | 20.68 | 167460.55
Plasmid X 4 | 20.66 | 170862.73
Plasmid X 5 | 17.4 | 1710000
Plasmid X 5 | 17.41 | 1690000
Plasmid X 5 | 17.48 | 1610000
Plasmid X 6 | 15.05 | 9000000
Plasmid X 6 | 15.08 | 8760000
Plasmid X 6 | 15.06 | 8940000 | µL Plasmid Y added
Plasmid Y 1 | 31.27 | 100 | 5
Plasmid Y 1 | 31.36 | 100 | 5
Plasmid Y 1 | 31.56 | 100 | 5
Plasmid Y 2 | 28.02 | 1000 | 5
Plasmid Y 2 | 28.06 | 1000 | 5
Plasmid Y 2 | 27.96 | 1000 | 5
Plasmid Y 3 | 24.44 | 10000 | 5
Plasmid Y 3 | 24.47 | 10000 | 5
Plasmid Y 3 | 24.43 | 10000 | 5
Plasmid Y 4 | 21.18 | 100000 | 5
Plasmid Y 4 | 21.1 | 100000 | 5
Plasmid Y 4 | 21.15 | 100000 | 5
Plasmid Y 5 | 17.95 | 1000000 | 5
Plasmid Y 5 | 18.07 | 1000000 | 5
Plasmid Y 5 | 18.03 | 1000000 | 5
Plasmid Y 6 | 15.21 | 10000000 | 5
Plasmid Y 6 | 15.24 | 10000000 | 5
Plasmid Y 6 | 15.28 | 10000000 | 5
Lysate A | 25.12 | 7271.66
Lysate A | 25.11 | 7353.17
Lysate A | 25.21 | 6821.88
Lysate B | 27.74 | 1146.21
Lysate B | 27.53 | 1326.97
Lysate B | 27.71 | 1165.39
Lysate C | 29.79 | 269.43
Lysate C | 29.96 | 237.51
Lysate C | 30.11 | 213.78
Lysate D | 32.5 | 39.69
Lysate D | 32.84 | 31.15
Lysate D | 33.12 | 25.63
Lysate E | 34.97 | 6.93
Lysate E | 34.47 | 9.83
Lysate E | 34.62 | 8.87
Lysate F | 24.99 | 7975.96
Lysate F | 25.03 | 7775.71
Lysate F | 25.03 | 7740.14
Lysate G | 27.36 | 1496.36
Lysate G | 27.51 | 1348.81
Lysate G | 27.36 | 1493.25
Lysate H | 30.14 | 210.51
Lysate H | 30.02 | 228.43
Lysate H | 29.63 | 301.77
Lysate I | 31.73 | 67.98
Lysate I | 31.42 | 85.14
Lysate I | 32.1 | 52.59
Lysate J | 33.65 | 17.58
Lysate J | 34.23 | 11.69
Lysate J | 33.47 | 19.89

## Run 6
Run 6 - Lab ABL1 Primers
Standard Curve | Plasmid Y
Gradient | -3.2927
Intercept | 38.5416
Ct threshold | 0.2
Samples | Ct value | Copy number
Plasmid X 1 | 31.97 | 99.35
Plasmid X 1 | 32.02 | 95.77
Plasmid X 1 | 31.78 | 112.74
Plasmid X 2 | 28.25 | 1335.73
Plasmid X 2 | 28.36 | 1235.95
Plasmid X 2 | 28.4 | 1205.28
Plasmid X 3 | 25.03 | 12728.92
Plasmid X 3 | 24.86 | 14249.53
Plasmid X 3 | 24.92 | 13714.34
Plasmid X 4 | 21.38 | 162568.09
Plasmid X 4 | 21.71 | 129543.32
Plasmid X 4 | 21.54 | 146028.78
Plasmid X 5 | 18.32 | 1390000
Plasmid X 5 | 18.24 | 1470000
Plasmid X 5 | 18.2 | 1500000
Plasmid X 6 | 15.57 | 9450000
Plasmid X 6 | 15.63 | 9100000
Plasmid X 6 | 15.61 | 9200000 | µL Plasmid Y added
Plasmid Y 1 | 31.83 | 100 | 5
Plasmid Y 1 | 31.85 | 100 | 5
Plasmid Y 1 | 32.19 | 100 | 5
Plasmid Y 2 | 28.58 | 1000 | 5
Plasmid Y 2 | 28.82 | 1000 | 5
Plasmid Y 2 | 28.91 | 1000 | 5
Plasmid Y 3 | 25.27 | 10000 | 5
Plasmid Y 3 | 25.28 | 10000 | 5
Plasmid Y 3 | 25.46 | 10000 | 5
Plasmid Y 4 | 22.11 | 100000 | 5
Plasmid Y 4 | 21.93 | 100000 | 5
Plasmid Y 4 | 22.01 | 100000 | 5
Plasmid Y 5 | 18.51 | 1000000 | 5
Plasmid Y 5 | 18.58 | 1000000 | 5
Plasmid Y 5 | 18.64 | 1000000 | 5
Plasmid Y 6 | 15.66 | 10000000 | 5
Plasmid Y 6 | 15.67 | 10000000 | 5
Plasmid Y 6 | 15.73 | 10000000 | 5
Lysate A | 20.8 | 243922.86
Lysate A | 21.03 | 208547.97
Lysate A | 21.05 | 205027.53
Lysate B | 21.1 | 197492.67
Lysate B | 21.3 | 172746.53
Lysate B | 21.12 | 195143.89
Lysate C | 21.01 | 211115.23
Lysate C | 21.09 | 199156.55
Lysate C | 21.22 | 181969.44
Lysate D | 21.05 | 204618.02
Lysate D | 20.98 | 215762
Lysate D | 21.17 | 188935.73
Lysate E | 21.15 | 191674.53
Lysate E | 21.04 | 205987.47
Lysate E | 21.14 | 193090.72
Lysate F | 21.18 | 187849.2
Lysate F | 21.16 | 189991.3
Lysate F | 21.11 | 197115.3
Lysate G | 21.34 | 167383.47
Lysate G | 21.14 | 193090.45
Lysate G | 21.29 | 173633.81
Lysate H | 21.05 | 205729.36
Lysate H | 21.5 | 149588.33
Lysate H | 21.4 | 160706.03
Lysate I | 20.96 | 218581.88
Lysate I | 20.92 | 225037.52
Lysate I | 21.03 | 208438.69
Lysate J | 20.71 | 260424.13
Lysate J | 20.67 | 267762.81
Lysate J | 20.98 | 215256.09