## Methods
Name of Lab | Lab4
Type of Lysate received (e.g. Trizol / RLT) | RLT
RQ-PCR machine | Applied Biosystems 7500 Real-Time PCR System
RQ-PCR analysis software
Method of RNA quantification e.g.Nanodrop, Qubit (if applicable) | Nanodrop
Real time PCR protocol e.g. EAC, Emig, name of commercial kit | EAC
Real time PCR reaction volume | 20 uL; our protocol: 25uL
Volume of Plasmid standard added to RQ-PCR reactions | 2
Volume of cDNA added to RQ-PCR reactions | 5
Please provide your laboratiories standard RQ-PCR conditions (i.e. master mix, reaction componets and PCR cycling conditions), if different from those specified in the study protocol. You may provide these in a separate document if necessary.
Please provide the sequences of your laboratories ABL and BCR-ABL primers/probes, if different from the standard EAC sequences. | ABL F
ABL R
ABL Probe
BCR-ABL F
BCR-ABL R
BCR-ABL Probe

## Overview
| Lysate 1 |  | Lysate 2 |  | Lysate 3
| Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6
| Primer set 1 | Primer set 2 | Primer set 3 | Primer set 2 | Lab BCR-ABL1 | Lab ABL1
| Plasmid X 1 | X 1 | X 1 | X 1 | X 1 | X 1
| Plasmid X 2 | X 2 | X 2 | X 2 | X 2 | X 2
| Plasmid X 3 | X 3 | X 3 | X 3 | X 3 | X 3
| Plasmid X 4 | X 4 | X 4 | X 4 | X 4 | X 4
| Plasmid X 5 | X 5 | X 5 | X 5 | X 5 | X 5
| Plasmid X 6 | X 6 | X 6 | X 6 | X 6 | X 6
| Plasmid Y 1 | Y 1 | Y 1 | Y 1 | Y 1 | Y 1
| Plasmid Y 2 | Y 2 | Y 2 | Y 2 | Y 2 | Y 2
| Plasmid Y 3 | Y 3 | Y 3 | Y 3 | Y 3 | Y 3
| Plasmid Y 4 | Y 4 | Y 4 | Y 4 | Y 4 | Y 4
| Plasmid Y 5 | Y 5 | Y 5 | Y 5 | Y 5 | Y 5
| Plasmid Y 6 | Y 6 | Y 6 | Y 6 | Y 6 | Y 6
| Lysate A | A | A | A | A | A
| Lysate B | B | B | B | B | B
| Lysate C | C | C | C | C | C
| Lysate D | D | D | D | D | D
| Lysate E | E | E | E | E | E
| Lysate F | F | F | F | F | F
| Lysate G | G | G | G | G | G
| Lysate H | H | H | H | H | H
| Lysate I | I | I | I | I | I
| Lysate J | J | J | J | J | J
| NTC | NTC | NTC | NTC | NTC | NTC
Standard curve to use
23 points in duplicate = 46 | 46 | 46 | 46 | 46 | 46 | 46 | 276
276 PCRs
23 points in triplicate = 69 | 69 | 69 | 69 | 69 | 69 | 69 | 414
414 PCRs

## RNA - Optional
| RNA volume (µL) | RNA concentration (ng/µL) | RNA 260/280 | RNA 260/230 | Total RNA (µg)
Lysate A 1 | 30 | 33.2 | 2.06 | 0.52 | 0.996
Lysate A 2 | 30 | 40.6 | 2.08 | 1.37 | 1.218
Lysate A 3 | 30 | 38.2 | 2.08 | 1.82 | 1.146
Lysate B 1 | 30 | 31.8 | 1.99 | 0.76 | 0.954
Lysate B 2 | 30 | 41.3 | 2.15 | 1.23 | 1.239
Lysate B 3 | 30 | 32 | 2.03 | 1.59 | 0.96
Lysate C 1 | 30 | 33.5 | 2 | 1.28 | 1.005
Lysate C 2 | 30 | 37.7 | 2.15 | 1 | 1.131
Lysate C 3 | 30 | 37.9 | 2.11 | 1.43 | 1.137
Lysate D 1 | 30 | 42.8 | 2.04 | 1.79 | 1.284
Lysate D 2 | 30 | 41.2 | 2.15 | 1.57 | 1.236
Lysate D 3 | 30 | 31.4 | 2.04 | 1.55 | 0.942
Lysate E 1 | 30 | 37.5 | 2 | 1.84 | 1.125
Lysate E 2 | 30 | 46.6 | 2.08 | 0.92 | 1.398
Lysate E 3 | 30 | 39.2 | 2.09 | 1.61 | 1.176
Lysate F 1 | 30 | 33.2 | 2.04 | 1.26 | 0.996
Lysate F 2 | 30 | 44.6 | 2.04 | 1.61 | 1.338
Lysate F 3 | 30 | 38.2 | 2.08 | 0.28 | 1.146
Lysate G 1 | 30 | 37.7 | 2.04 | 1.84 | 1.131
Lysate G 2 | 30 | 37.3 | 2.15 | 1.08 | 1.119
Lysate G 3 | 30 | 43.9 | 1.97 | 1.53 | 1.317
Lysate H 1 | 30 | 35.6 | 2.08 | 0.53 | 1.068
Lysate H 2 | 30 | 31.3 | 2.07 | 0.48 | 0.939
Lysate H 3 | 30 | 39 | 2.06 | 1.45 | 1.17
Lysate I 1 | 30 | 35.3 | 2.07 | 0.28 | 1.059
Lysate I 2 | 30 | 44.6 | 2.12 | 0.83 | 1.338
Lysate I 3 | 30 | 33.9 | 2.04 | 1.34 | 1.017
Lysate J 1 | 30 | 46.1 | 2.01 | 1.9 | 1.383
Lysate J 2 | 30 | 36.1 | 2.16 | 1.48 | 1.083
Lysate J 3 | 30 | 34.2 | 2.01 | 1.05 | 1.026

## Run 1
Run 1 - Primer Set 1
Standard Curve | Plasmid X
Gradient | -3.4522
Intercept | 39.3125
Ct threshold | 0.99811
Samples | Ct value | Copy number | µL Plasmid X added
Plasmid X 1 | 33.77 | 40 | 2
Plasmid X 1 | 34.42 | 40 | 2
Plasmid X 1
Plasmid X 2 | 30.15 | 400 | 2
Plasmid X 2 | 30.13 | 400 | 2
Plasmid X 2
Plasmid X 3 | 26.76 | 4000 | 2
Plasmid X 3 | 26.69 | 4000 | 2
Plasmid X 3
Plasmid X 4 | 23.33 | 40000 | 2
Plasmid X 4 | 23.17 | 40000 | 2
Plasmid X 4
Plasmid X 5 | 19.92 | 400000 | 2
Plasmid X 5 | 19.86 | 400000 | 2
Plasmid X 5
Plasmid X 6 | 16.9 | 4000000 | 2
Plasmid X 6 | 16.66 | 4000000 | 2
Plasmid X 6
Plasmid Y 1 | 0 | 0
Plasmid Y 1 | 0 | 0
Plasmid Y 1
Plasmid Y 2 | 0 | 0
Plasmid Y 2 | 41.08 | 0.30635
Plasmid Y 2
Plasmid Y 3 | 42.25 | 0.14095
Plasmid Y 3 | 42.79 | 0.09803
Plasmid Y 3
Plasmid Y 4 | 38.29 | 1.97
Plasmid Y 4 | 37.46 | 3.43
Plasmid Y 4
Plasmid Y 5 | 34.91 | 18.75
Plasmid Y 5 | 34.25 | 19.11
Plasmid Y 5
Plasmid Y 6 | 30.08 | 470.103
Plasmid Y 6 | 31.35 | 201.288
Plasmid Y 6
Lysate A | 26.08 | 6783.23
Lysate A | 26.06 | 6871.8
Lysate A
Lysate B | 28.45 | 1398.32
Lysate B | 28.61 | 1253.93
Lysate B
Lysate C | 31.31 | 207.344
Lysate C | 31.47 | 186.237
Lysate C
Lysate D | 33.03 | 65.8738
Lysate D | 33.4 | 51.4583
Lysate D
Lysate E | 35.66 | 11.3818
Lysate E | 35.12 | 16.3722
Lysate E
Lysate F | 40.12 | 1.8785
Lysate F | 38.25 | 2.02
Lysate F
Lysate G | 0 | 0
Lysate G | 46.9 | 0.00633
Lysate G
Lysate H | 41.76 | 0.19
Lysate H | 41.95 | 0.17
Lysate H
Lysate I | 46.1 | 0.01079
Lysate I | 0 | 0
Lysate I
Lysate J | 0 | 0
Lysate J | 0 | 0
Lysate J

## Run 2
Run 2 - Primer Set 2
Standard Curve | Plasmid X
Gradient | -3.3412
Intercept | 38.9156
Ct threshold | 0.99883
Samples | Ct value | Copy number | µL Plasmid X added
Plasmid X 1 | 33.64 | 40 | 2
Plasmid X 1 | 33.2 | 40 | 2
Plasmid X 1
Plasmid X 2 | 30.36 | 400 | 2
Plasmid X 2 | 30.41 | 400 | 2
Plasmid X 2
Plasmid X 3 | 26.94 | 4000 | 2
Plasmid X 3 | 27.12 | 4000 | 2
Plasmid X 3
Plasmid X 4 | 23.41 | 40000 | 2
Plasmid X 4 | 23.4 | 40000 | 2
Plasmid X 4
Plasmid X 5 | 20.05 | 400000 | 2
Plasmid X 5 | 20.01 | 400000 | 2
Plasmid X 5
Plasmid X 6 | 16.76 | 4000000 | 2
Plasmid X 6 | 17.17 | 4000000 | 2
Plasmid X 6
Plasmid Y 1 | 34.01 | 29.25
Plasmid Y 1 | 33.79 | 34.17
Plasmid Y 1
Plasmid Y 2 | 30.24 | 393.89
Plasmid Y 2 | 30.44 | 344.005
Plasmid Y 2
Plasmid Y 3 | 27.14 | 3332.38
Plasmid Y 3 | 27.13 | 3362.15
Plasmid Y 3
Plasmid Y 4 | 23.67 | 36486.6
Plasmid Y 4 | 23.71 | 35504.4
Plasmid Y 4
Plasmid Y 5 | 20.23 | 390632
Plasmid Y 5 | 20.27 | 378307
Plasmid Y 5
Plasmid Y 6 | 16.94 | 3760000
Plasmid Y 6 | 16.86 | 3973770
Plasmid Y 6
Lysate A | 22.2 | 100056
Lysate A | 22.17 | 102352
Lysate A
Lysate B | 22.06 | 110387
Lysate B | 22.19 | 100827
Lysate B
Lysate C | 22.26 | 95943.2
Lysate C | 22.32 | 92533.7
Lysate C
Lysate D | 21.87 | 126386
Lysate D | 21.88 | 124752
Lysate D
Lysate E | 21.98 | 116748
Lysate E | 21.96 | 118205
Lysate E
Lysate F | 22 | 114962
Lysate F | 21.87 | 126045
Lysate F
Lysate G | 22.1 | 107746
Lysate G | 22.13 | 105407
Lysate G
Lysate H | 22.01 | 114500
Lysate H | 22.03 | 112883
Lysate H
Lysate I | 22.02 | 113447
Lysate I | 22.04 | 111634
Lysate I
Lysate J | 22.9 | 62021
Lysate J | 22.96 | 59302.8
Lysate J

## Run 3
Run 3 - Primer Set 3
Standard Curve | Plasmid Y
Gradient | -3.3505
Intercept | 38.8393
Ct threshold | 0.99913
Samples | Ct value | Copy number
Plasmid X 1 | 38.31 | 1.4291
Plasmid X 1 | 37.26 | 2.956
Plasmid X 1
Plasmid X 2 | 39.22 | 0.76657
Plasmid X 2 | 0 | 0
Plasmid X 2
Plasmid X 3 | 0 | 0
Plasmid X 3 | 0 | 0
Plasmid X 3
Plasmid X 4 | 0 | 0
Plasmid X 4 | 0 | 0
Plasmid X 4
Plasmid X 5 | 0 | 0
Plasmid X 5 | 0 | 0
Plasmid X 5
Plasmid X 6 | 0 | 0
Plasmid X 6 | 0 | 0
Plasmid X 6 |  |  | µL Plasmid Y added
Plasmid Y 1 | 33.75 | 40 | 2
Plasmid Y 1 | 33.62 | 40 | 2
Plasmid Y 1
Plasmid Y 2 | 30.05 | 400 | 2
Plasmid Y 2 | 29.9 | 400 | 2
Plasmid Y 2
Plasmid Y 3 | 26.68 | 4000 | 2
Plasmid Y 3 | 26.8 | 4000 | 2
Plasmid Y 3
Plasmid Y 4 | 23.23 | 40000 | 2
Plasmid Y 4 | 23.24 | 40000 | 2
Plasmid Y 4
Plasmid Y 5 | 19.93 | 400000 | 2
Plasmid Y 5 | 20.03 | 400000 | 2
Plasmid Y 5
Plasmid Y 6 | 16.92 | 4000000 | 2
Plasmid Y 6 | 19.64 | 4000000 | 2
Plasmid Y 6
Lysate A | 0 | 0
Lysate A | 0 | 0
Lysate A
Lysate B | 47.26 | 0.003053
Lysate B | 0 | 0
Lysate B
Lysate C | 0 | 0
Lysate C | 0 | 0
Lysate C
Lysate D | 0 | 0
Lysate D | 0 | 0
Lysate D
Lysate E | 47.19 | 0.0032044
Lysate E | 0 | 0
Lysate E
Lysate F | 24.96 | 13853.7
Lysate F | 25.28 | 11137.4
Lysate F
Lysate G | 27.46 | 2485.11
Lysate G | 27.44 | 2523.41
Lysate G
Lysate H | 30.01 | 429.406
Lysate H | 29.96 | 444.946
Lysate H
Lysate I | 31.88 | 119.06
Lysate I | 31.9 | 114.748
Lysate I
Lysate J | 34.6 | 18.3053
Lysate J | 34.18 | 24.5102
Lysate J

## Run 4
Run 4 - Primer Set 2
Standard Curve | Plasmid Y
Gradient | -3.387
Intercept | 39.1974
Ct threshold | 0.99946
Samples | Ct value | Copy number
Plasmid X 1 | 33.86 | 37.59
Plasmid X 1 | 33.32 | 54.3
Plasmid X 1
Plasmid X 2 | 30.21 | 448.49
Plasmid X 2 | 30.07 | 494.82
Plasmid X 2
Plasmid X 3 | 27.05 | 3850.42
Plasmid X 3 | 26.95 | 4109.72
Plasmid X 3
Plasmid X 4 | 23.36 | 47336.8
Plasmid X 4 | 23.49 | 43241.4
Plasmid X 4
Plasmid X 5 | 20.06 | 446371
Plasmid X 5 | 20.05 | 449109
Plasmid X 5
Plasmid X 6 | 16.5 | 3945830
Plasmid X 6 | 17 | 3557750
Plasmid X 6 |  |  | µL Plasmid Y added
Plasmid Y 1 | 33.73 | 40 | 2
Plasmid Y 1 | 34.01 | 40 | 2
Plasmid Y 1
Plasmid Y 2 | 30.31 | 400 | 2
Plasmid Y 2 | 30.16 | 400 | 2
Plasmid Y 2
Plasmid Y 3 | 27.02 | 4000 | 2
Plasmid Y 3 | 27.06 | 4000 | 2
Plasmid Y 3
Plasmid Y 4 | 23.51 | 40000 | 2
Plasmid Y 4 | 23.51 | 40000 | 2
Plasmid Y 4
Plasmid Y 5 | 20.19 | 400000 | 2
Plasmid Y 5 | 20.5 | 400000 | 2
Plasmid Y 5
Plasmid Y 6 | 16.78 | 4000000 | 2
Plasmid Y 6 | 16.81 | 4000000 | 2
Plasmid Y 6
Lysate A | 21.82 | 134667
Lysate A | 21.84 | 133054
Lysate A
Lysate B | 21.01 | 220227
Lysate B | 21.24 | 200363
Lysate B
Lysate C | 21.14 | 108018
Lysate C | 21.12 | 109770
Lysate C
Lysate D | 21.59 | 157545
Lysate D | 21.82 | 135071
Lysate D
Lysate E | 21.43 | 175438
Lysate E | 21.45 | 173438
Lysate E
Lysate F | 21.8 | 136819
Lysate F | 21.63 | 152911
Lysate F
Lysate G | 21.98 | 120611
Lysate G | 22.01 | 118614
Lysate G
Lysate H | 22.16 | 106492
Lysate H | 22.23 | 101955
Lysate H
Lysate I | 22.11 | 110596
Lysate I | 22.12 | 109772
Lysate I
Lysate J | 22.62 | 78402.8
Lysate J | 22.76 | 71018.1
Lysate J

## Run 5
Run 5 - Lab BCR-ABL1 Primers
Standard Curve | Plasmid Y
Gradient | -3.4823
Intercept | 39.6351
Ct threshold | 0.99878
Samples | Ct value | Copy number
Plasmid X 1 | 33.2 | 70.2403
Plasmid X 1 | 33.07 | 76.7122
Plasmid X 1
Plasmid X 2 | 29.39 | 873.622
Plasmid X 2 | 29.17 | 1008.59
Plasmid X 2
Plasmid X 3 | 25.94 | 8556.17
Plasmid X 3 | 25.78 | 9478.83
Plasmid X 3
Plasmid X 4 | 22.24 | 98392.3
Plasmid X 4 | 22.29 | 95331
Plasmid X 4
Plasmid X 5 | 19.05 | 811078
Plasmid X 5 | 18.9 | 897585
Plasmid X 5
Plasmid X 6 | 16.1 | 5696930
Plasmid X 6 | 16.16 | 5489170
Plasmid X 6 |  |  | µL Plasmid Y added
Plasmid Y 1 | 33.69 | 40 | 2
Plasmid Y 1 | 34.36 | 40 | 2
Plasmid Y 1
Plasmid Y 2 | 30.7 | 400 | 2
Plasmid Y 2 | 30.63 | 400 | 2
Plasmid Y 2
Plasmid Y 3 | 27.11 | 4000 | 2
Plasmid Y 3 | 27.27 | 4000 | 2
Plasmid Y 3
Plasmid Y 4 | 23.17 | 40000 | 2
Plasmid Y 4 | 23.52 | 40000 | 2
Plasmid Y 4
Plasmid Y 5 | 20.04 | 400000 | 2
Plasmid Y 5 | 20.08 | 400000 | 2
Plasmid Y 5
Plasmid Y 6 | 16.8 | 4000000 | 2
Plasmid Y 6 | 16.76 | 4000000 | 2
Plasmid Y 6
Lysate A | 25.08 | 15072.1
Lysate A | 25.36 | 12561.4
Lysate A
Lysate B | 28.04 | 2134.77
Lysate B | 28.06 | 2095.06
Lysate B
Lysate C | 30.08 | 550.926
Lysate C | 29.86 | 639.014
Lysate C
Lysate D | 32.22 | 134.65
Lysate D | 32.92 | 84.4983
Lysate D
Lysate E | 36.29 | 9.1077
Lysate E | 35.72 | 13.2487
Lysate E
Lysate F | 25.95 | 8501.82
Lysate F | 25.73 | 9826.27
Lysate F
Lysate G | 27.96 | 2244.39
Lysate G | 28.05 | 2119.71
Lysate G
Lysate H | 30.81 | 341.411
Lysate H | 30.72 | 361.429
Lysate H
Lysate I | 35.28 | 17.783
Lysate I | 34.09 | 39.1139
Lysate I
Lysate J | 38.59 | 1.988
Lysate J | 39.67 | 0.9718
Lysate J

## Run 6
Run 6 - Lab ABL1 Primers
Standard Curve | Plasmid Y
Gradient | -3.4974
Intercept | 39.5107
Ct threshold | 0.99914
Samples | Ct value | Copy number
Plasmid X 1 | 33.36 | 57.347
Plasmid X 1 | 33.67 | 46.5387
Plasmid X 1
Plasmid X 2 | 30.23 | 449.981
Plasmid X 2 | 29.54 | 708.706
Plasmid X 2
Plasmid X 3 | 26.27 | 6071.55
Plasmid X 3 | 26.47 | 5350.38
Plasmid X 3
Plasmid X 4 | 23.09 | 49537.8
Plasmid X 4 | 22.76 | 61344.9
Plasmid X 4
Plasmid X 5 | 19.24 | 624290
Plasmid X 5 | 19.53 | 513120
Plasmid X 5
Plasmid X 6 | 16.49 | 3819880
Plasmid X 6 | 16.33 | 4240910
Plasmid X 6 |  |  | µL Plasmid Y added
Plasmid Y 1 | 34.03 | 40 | 2
Plasmid Y 1 | 34.28 | 40 | 2
Plasmid Y 1
Plasmid Y 2 | 30.28 | 400 | 2
Plasmid Y 2 | 30.09 | 400 | 2
Plasmid Y 2
Plasmid Y 3 | 26.94 | 4000 | 2
Plasmid Y 3 | 26.8 | 4000 | 2
Plasmid Y 3
Plasmid Y 4 | 23.3 | 40000 | 2
Plasmid Y 4 | 23.26 | 40000 | 2
Plasmid Y 4
Plasmid Y 5 | 19.9 | 400000 | 2
Plasmid Y 5 | 19.86 | 400000 | 2
Plasmid Y 5
Plasmid Y 6 | 16.54 | 4000000 | 2
Plasmid Y 6 | 16.6 | 4000000 | 2
Plasmid Y 6
Lysate A | 21.77 | 118088
Lysate A | 21.7 | 123215
Lysate A
Lysate B | 21.79 | 115929
Lysate B | 21.95 | 104661
Lysate B
Lysate C | 21.75 | 119177
Lysate C | 21.85 | 111432
Lysate C
Lysate D | 21.63 | 129284
Lysate D | 21.63 | 129443
Lysate D
Lysate E | 21.5 | 140892
Lysate E | 21.64 | 128108
Lysate E
Lysate F | 21.53 | 138088
Lysate F | 21.68 | 124627
Lysate F
Lysate G | 21.54 | 137100
Lysate G | 21.63 | 128905
Lysate G
Lysate H | 21.79 | 115870
Lysate H | 21.82 | 113705
Lysate H
Lysate I | 22.34 | 80778.2
Lysate I | 22.34 | 81027.8
Lysate I
Lysate J | 23.38 | 40680.7
Lysate J | 23.66 | 33883.4
Lysate J