## Methods
Name of Lab | Lab5
Type of Lysate received (e.g. Trizol / RLT) | Trizol
RQ-PCR machine | Viia7DX
RQ-PCR analysis software | ViiA7 Software v1.1
Method of RNA quantification e.g.Nanodrop, Qubit (if applicable) | Nanodrop
Real time PCR protocol e.g. EAC, Emig, name of commercial kit | EAC
Real time PCR reaction volume | 25
Volume of Plasmid standard added to RQ-PCR reactions | 5
Volume of cDNA added to RQ-PCR reactions | 5
Please provide your laboratiories standard RQ-PCR conditions (i.e. master mix, reaction componets and PCR cycling conditions), if different from those specified in the study protocol. You may provide these in a separate document if necessary. | TaqMan Universal PCR MasterMix, Primers&probes acc to EAC protocol, PCR conditions acc to EAC protocol
Please provide the sequences of your laboratories ABL and BCR-ABL primers/probes, if different from the standard EAC sequences. | ABL F
ABL R
ABL Probe
BCR-ABL F
BCR-ABL R
BCR-ABL Probe

## Overview
| Lysate 1 |  | Lysate 2 |  | Lysate 3
| Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6
| Primer set 1 | Primer set 2 | Primer set 3 | Primer set 2 | Lab BCR-ABL1 | Lab ABL1
| Plasmid X 1 | X 1 | X 1 | X 1 | X 1 | X 1
| Plasmid X 2 | X 2 | X 2 | X 2 | X 2 | X 2
| Plasmid X 3 | X 3 | X 3 | X 3 | X 3 | X 3
| Plasmid X 4 | X 4 | X 4 | X 4 | X 4 | X 4
| Plasmid X 5 | X 5 | X 5 | X 5 | X 5 | X 5
| Plasmid X 6 | X 6 | X 6 | X 6 | X 6 | X 6
| Plasmid Y 1 | Y 1 | Y 1 | Y 1 | Y 1 | Y 1
| Plasmid Y 2 | Y 2 | Y 2 | Y 2 | Y 2 | Y 2
| Plasmid Y 3 | Y 3 | Y 3 | Y 3 | Y 3 | Y 3
| Plasmid Y 4 | Y 4 | Y 4 | Y 4 | Y 4 | Y 4
| Plasmid Y 5 | Y 5 | Y 5 | Y 5 | Y 5 | Y 5
| Plasmid Y 6 | Y 6 | Y 6 | Y 6 | Y 6 | Y 6
| Lysate A | A | A | A | A | A
| Lysate B | B | B | B | B | B
| Lysate C | C | C | C | C | C
| Lysate D | D | D | D | D | D
| Lysate E | E | E | E | E | E
| Lysate F | F | F | F | F | F
| Lysate G | G | G | G | G | G
| Lysate H | H | H | H | H | H
| Lysate I | I | I | I | I | I
| Lysate J | J | J | J | J | J
| NTC | NTC | NTC | NTC | NTC | NTC
Standard curve to use
23 points in duplicate = 46 | 46 | 46 | 46 | 46 | 46 | 46 | 276
276 PCRs
23 points in triplicate = 69 | 69 | 69 | 69 | 69 | 69 | 69 | 414
414 PCRs

## RNA - Optional
| RNA volume (µL) | RNA concentration (ng/µL) | RNA 260/280 | RNA 260/230 | Total RNA (µg)
Lysate A 1 | 15 | 150 | 1.93 |  | 2.25
Lysate A 2 | 15 | 147.1 | 1.87 |  | 2.2065
Lysate A 3 | 15 | 234.4 | 1.96 |  | 3.516
Lysate B 1 | 15 | 236.4 | 1.91 |  | 3.546
Lysate B 2 | 15 | 229.1 | 1.81 |  | 3.4365
Lysate B 3 | 15 | 253.3 | 1.88 |  | 3.7995
Lysate C 1 | 15 | 139.2 | 1.92 |  | 2.088
Lysate C 2 | 15 | 257.3 | 1.79 |  | 3.8595
Lysate C 3 | 15 | 239.1 | 1.94 |  | 3.5865
Lysate D 1 | 15 | 249 | 1.92 |  | 3.735
Lysate D 2 | 15 | 215.2 | 1.9 |  | 3.228
Lysate D 3 | 15 | 219.8 | 1.97 |  | 3.297
Lysate E 1 | 15 | 289.8 | 1.98 |  | 4.347
Lysate E 2 | 15 | 143.1 | 1.96 |  | 2.1465
Lysate E 3 | 15 | 268.3 | 2.05 |  | 4.0245
Lysate F 1 | 15 | 262.1 | 1.85 |  | 3.9315
Lysate F 2 | 15 | 77.9 | 1.69 |  | 1.1685
Lysate F 3 | 15 | 191.5 | 1.93 |  | 2.8725
Lysate G 1 | 15 | 225.2 | 1.91 |  | 3.378
Lysate G 2 | 15 | 235.4 | 1.91 |  | 3.531
Lysate G 3 | 15 | 216.8 | 1.8 |  | 3.252
Lysate H 1 | 15 | 217.1 | 1.98 |  | 3.2565
Lysate H 2 | 15 | 218.2 | 1.83 |  | 3.273
Lysate H 3 | 15 | 262.5 | 1.76 |  | 3.9375
Lysate I 1 | 15 | 261.4 | 1.88 |  | 3.921
Lysate I 2 | 15 | 236.6 | 1.88 |  | 3.549
Lysate I 3 | 15 | 202.5 | 1.95 |  | 3.0375
Lysate J 1 | 15 | 260.8 | 1.93 |  | 3.912
Lysate J 2 | 15 | 240.4 | 1.92 |  | 3.606
Lysate J 3 | 15 | 216.6 | 1.9 |  | 3.249

## Run 1
Run 1 - Primer Set 1
Standard Curve | Plasmid X
Gradient | -3.393
Intercept | 39.833
Ct threshold | 0.1
Samples | Ct value | Copy number | µL Plasmid X added
Plasmid X 1 | 32.962 | 100 | 5
Plasmid X 1 | 32.997 | 100 | 5
Plasmid X 1
Plasmid X 2 | 29.85 | 1000 | 5
Plasmid X 2 | 29.563 | 1000 | 5
Plasmid X 2
Plasmid X 3 | 26.34 | 10000 | 5
Plasmid X 3 | 26.228 | 10000 | 5
Plasmid X 3
Plasmid X 4 | 22.969 | 100000 | 5
Plasmid X 4 | 22.861 | 100000 | 5
Plasmid X 4
Plasmid X 5 | 19.432 | 1000000 | 5
Plasmid X 5 | 19.394 | 1000000 | 5
Plasmid X 5
Plasmid X 6 | 16.123 | 10000000 | 5
Plasmid X 6 | 16.028 | 10000000 | 5
Plasmid X 6
Plasmid Y 1 | 0 | 0
Plasmid Y 1 | 0 | 0
Plasmid Y 1
Plasmid Y 2 | 0 | 0
Plasmid Y 2 | 0 | 0
Plasmid Y 2
Plasmid Y 3 | 49.166 | 0.0017761
Plasmid Y 3 | 0 | 0
Plasmid Y 3
Plasmid Y 4 | 48.057 | 0.003771
Plasmid Y 4 | 41.827 | 0.25847
Plasmid Y 4
Plasmid Y 5 | 40.491 | 0.63985
Plasmid Y 5 | 40.177 | 0.7918
Plasmid Y 5
Plasmid Y 6 | 36.503 | 9.579
Plasmid Y 6 | 34.427 | 39.1629
Plasmid Y 6
Lysate A | 27.982 | 3106.1248
Lysate A | 28.13 | 2810.0183
Lysate A
Lysate B | 29.951 | 816.8798
Lysate B | 30.206 | 686.8517
Lysate B
Lysate C | 32.769 | 120.6887
Lysate C | 32.944 | 107.1521
Lysate C
Lysate D | 34.703 | 32.4877
Lysate D | 35.214 | 22.9692
Lysate D
Lysate E | 36.775 | 7.964
Lysate E | 37.54 | 4.7383
Lysate E
Lysate F | 48.669 | 0.0024888
Lysate F | 46.179 | 0.013486
Lysate F
Lysate G | 44.578 | 0.039972
Lysate G | 41.563 | 0.30919
Lysate G
Lysate H | 43.998 | 0.059228
Lysate H | 41.508 | 0.32084
Lysate H
Lysate I | 46.207 | 0.013226
Lysate I | 40.973 | 0.46137
Lysate I
Lysate J | 42.214 | 0.19868
Lysate J | 42.778 | 0.13556
Lysate J

## Run 2
Run 2 - Primer Set 2
Standard Curve | Plasmid X
Gradient | -3.542
Intercept | 40.519
Ct threshold | 0.1
Samples | Ct value | Copy number | µL Plasmid X added
Plasmid X 1 | 33.434 | 100 | 5
Plasmid X 1 | 33.632 | 100 | 5
Plasmid X 1
Plasmid X 2 | 29.839 | 1000 | 5
Plasmid X 2 | 29.959 | 1000 | 5
Plasmid X 2
Plasmid X 3 | 26.116 | 10000 | 5
Plasmid X 3 | 26.164 | 10000 | 5
Plasmid X 3
Plasmid X 4 | 22.812 | 100000 | 5
Plasmid X 4 | 22.94 | 100000 | 5
Plasmid X 4
Plasmid X 5 | 19.164 | 1000000 | 5
Plasmid X 5 | 19.338 | 1000000 | 5
Plasmid X 5
Plasmid X 6 | 15.604 | 10000000 | 5
Plasmid X 6 | 15.957 | 10000000 | 5
Plasmid X 6
Plasmid Y 1 | 33.644 | 87.294
Plasmid Y 1 | 33.606 | 89.4593
Plasmid Y 1
Plasmid Y 2 | 30.09 | 880.0545
Plasmid Y 2 | 30.231 | 802.7248
Plasmid Y 2
Plasmid Y 3 | 26.765 | 7640.9922
Plasmid Y 3 | 26.831 | 7318.6621
Plasmid Y 3
Plasmid Y 4 | 23.266 | 74315.4688
Plasmid Y 4 | 23.363 | 69778.7109
Plasmid Y 4
Plasmid Y 5 | 19.898 | 663799.25
Plasmid Y 5 | 19.854 | 682894.4375
Plasmid Y 5
Plasmid Y 6 | 16.273 | 7004359.5
Plasmid Y 6 | 16.288 | 6935609
Plasmid Y 6
Lysate A | 23.137 | 80815.0391
Lysate A | 23.01 | 87759.8984
Lysate A
Lysate B | 22.764 | 102975.3359
Lysate B | 22.887 | 95100.5312
Lysate B
Lysate C | 23.158 | 79692.0703
Lysate C | 23.204 | 77387.9688
Lysate C
Lysate D | 22.893 | 94733.6797
Lysate D | 22.882 | 95373.5625
Lysate D
Lysate E | 22.89 | 94914.2812
Lysate E | 22.825 | 98957.9766
Lysate E
Lysate F | 22.835 | 98354.7656
Lysate F | 22.814 | 99710.6719
Lysate F
Lysate G | 22.952 | 91153.6328
Lysate G | 22.962 | 90575.5312
Lysate G
Lysate H | 23.08 | 83850.9609
Lysate H | 23.077 | 84023.625
Lysate H
Lysate I | 22.898 | 94369.0625
Lysate I | 22.921 | 92979.5547
Lysate I
Lysate J | 22.892 | 94756.8281
Lysate J | 22.95 | 91275.3359
Lysate J

## Run 3
Run 3 - Primer Set 3
Standard Curve | Plasmid Y
Gradient | -3.382
Intercept | 39.911
Ct threshold | 0.1
Samples | Ct value | Copy number
Plasmid X 1 | 0 | 0
Plasmid X 1 | 0 | 0
Plasmid X 1
Plasmid X 2 | 0 | 0
Plasmid X 2 | 0 | 0
Plasmid X 2
Plasmid X 3 | 0 | 0
Plasmid X 3 | 0 | 0
Plasmid X 3
Plasmid X 4 | 0 | 0
Plasmid X 4 | 0 | 0
Plasmid X 4
Plasmid X 5 | 0 | 0
Plasmid X 5 | 0 | 0
Plasmid X 5
Plasmid X 6 | 0 | 0
Plasmid X 6 | 0 | 0
Plasmid X 6 |  |  | µL Plasmid Y added
Plasmid Y 1 | 33.02 | 100 | 5
Plasmid Y 1 | 33.23 | 100 | 5
Plasmid Y 1
Plasmid Y 2 | 29.849 | 1000 | 5
Plasmid Y 2 | 29.719 | 1000 | 5
Plasmid Y 2
Plasmid Y 3 | 26.43 | 10000 | 5
Plasmid Y 3 | 26.347 | 10000 | 5
Plasmid Y 3
Plasmid Y 4 | 23.006 | 100000 | 5
Plasmid Y 4 | 22.974 | 100000 | 5
Plasmid Y 4
Plasmid Y 5 | 19.732 | 1000000 | 5
Plasmid Y 5 | 19.621 | 1000000 | 5
Plasmid Y 5
Plasmid Y 6 | 16.204 | 10000000 | 5
Plasmid Y 6 | 16.192 | 10000000 | 5
Plasmid Y 6
Lysate A | 44.075 | 0.058685
Lysate A | 43.358 | 0.095636
Lysate A
Lysate B | 43.049 | 0.11806
Lysate B | 41.999 | 0.24129
Lysate B
Lysate C | 41.959 | 0.248
Lysate C | 43.048 | 0.11814
Lysate C
Lysate D | 43.973 | 0.062898
Lysate D | 41.249 | 0.40213
Lysate D
Lysate E | 41.433 | 0.35483
Lysate E | 43.421 | 0.091637
Lysate E
Lysate F | 27.707 | 4064.7251
Lysate F | 27.666 | 4179.7261
Lysate F
Lysate G | 28.293 | 2725.8979
Lysate G | 28.618 | 2185.4019
Lysate G
Lysate H | 31.099 | 403.3925
Lysate H | 30.701 | 529.0903
Lysate H
Lysate I | 33.008 | 109.9584
Lysate I | 33.05 | 106.8705
Lysate I
Lysate J | 35.204 | 24.6509
Lysate J | 35.648 | 18.2188
Lysate J

## Run 4
Run 4 - Primer Set 2
Standard Curve | Plasmid Y
Gradient | -3.426
Intercept | 40.418
Ct threshold | 0.1
Samples | Ct value | Copy number
Plasmid X 1 | 33.182 | 129.5371
Plasmid X 1 | 33.642 | 95.0691
Plasmid X 1
Plasmid X 2 | 29.949 | 1137.7534
Plasmid X 2 | 29.862 | 1205.9052
Plasmid X 2
Plasmid X 3 | 26.496 | 11585.0986
Plasmid X 3 | 26.484 | 11679.7158
Plasmid X 3
Plasmid X 4 | 23.068 | 116042.9922
Plasmid X 4 | 23.079 | 115157.0938
Plasmid X 4
Plasmid X 5 | 19.634 | 1166003.625
Plasmid X 5 | 19.32 | 1440689.5
Plasmid X 5
Plasmid X 6 | 15.986 | 13544181
Plasmid X 6 | 16.311 | 10884576
Plasmid X 6 |  |  | µL Plasmid Y added
Plasmid Y 1 | 33.469 | 100 | 5
Plasmid Y 1 | 33.482 | 100 | 5
Plasmid Y 1
Plasmid Y 2 | 30.086 | 1000 | 5
Plasmid Y 2 | 30.202 | 1000 | 5
Plasmid Y 2
Plasmid Y 3 | 26.891 | 10000 | 5
Plasmid Y 3 | 26.792 | 10000 | 5
Plasmid Y 3
Plasmid Y 4 | 23.287 | 100000 | 5
Plasmid Y 4 | 23.31 | 100000 | 5
Plasmid Y 4
Plasmid Y 5 | 19.932 | 1000000 | 5
Plasmid Y 5 | 19.874 | 1000000 | 5
Plasmid Y 5
Plasmid Y 6 | 16.389 | 10000000 | 5
Plasmid Y 6 | 16.304 | 10000000 | 5
Plasmid Y 6
Lysate A | 23.037 | 118480.3984
Lysate A | 23.017 | 120072.2891
Lysate A
Lysate B | 22.89 | 130740.9609
Lysate B | 22.743 | 144293.7656
Lysate B
Lysate C | 23.059 | 116743.5312
Lysate C | 22.682 | 150366.5781
Lysate C
Lysate D | 22.878 | 131788.4688
Lysate D | 22.862 | 133246.5469
Lysate D
Lysate E | 23.392 | 93287.5781
Lysate E | 23.244 | 103085.7422
Lysate E
Lysate F | 24.174 | 55157.9141
Lysate F | 24.279 | 51390.168
Lysate F
Lysate G | 23.251 | 102602.9453
Lysate G | 23.077 | 115276.5859
Lysate G
Lysate H | 22.982 | 122890.9297
Lysate H | 22.766 | 142089.0156
Lysate H
Lysate I | 23.045 | 117836.7969
Lysate I | 23.009 | 120677.5078
Lysate I
Lysate J | 22.968 | 124072.2969
Lysate J | 22.81 | 137927.8125
Lysate J

## Run 5
Run 5 - Lab BCR-ABL1 Primers
Standard Curve | Plasmid Y
Gradient | -3.48
Intercept | 41.128
Ct threshold | 0.1
Samples | Ct value | Copy number
Plasmid X 1 | 32.42 | 317.7971
Plasmid X 1 | 32.845 | 239.8398
Plasmid X 1
Plasmid X 2 | 29.304 | 2497.4055
Plasmid X 2 | 29.164 | 2739.2036
Plasmid X 2
Plasmid X 3 | 25.798 | 25393.9688
Plasmid X 3 | 25.76 | 26044.7656
Plasmid X 3
Plasmid X 4 | 22.285 | 259557.0312
Plasmid X 4 | 22.357 | 247430.8281
Plasmid X 4
Plasmid X 5 | 18.912 | 2417093
Plasmid X 5 | 18.977 | 2315694.75
Plasmid X 5
Plasmid X 6 | 15.563 | 22166964
Plasmid X 6 | 15.656 | 20837460
Plasmid X 6 |  |  | µL Plasmid Y added
Plasmid Y 1 | 34.203 | 100 | 5
Plasmid Y 1 | 34.29 | 100 | 5
Plasmid Y 1
Plasmid Y 2 | 30.63 | 1000 | 5
Plasmid Y 2 | 30.58 | 1000 | 5
Plasmid Y 2
Plasmid Y 3 | 27.177 | 10000 | 5
Plasmid Y 3 | 27.195 | 10000 | 5
Plasmid Y 3
Plasmid Y 4 | 23.678 | 100000 | 5
Plasmid Y 4 | 23.733 | 100000 | 5
Plasmid Y 4
Plasmid Y 5 | 20.258 | 1000000 | 5
Plasmid Y 5 | 20.308 | 1000000 | 5
Plasmid Y 5
Plasmid Y 6 | 16.743 | 10000000 | 5
Plasmid Y 6 | 16.803 | 10000000 | 5
Plasmid Y 6
Lysate A | 27.455 | 8483.9844
Lysate A | 27.351 | 9090.1523
Lysate A
Lysate B | 29.553 | 2118.4001
Lysate B | 29.25 | 2587.3328
Lysate B
Lysate C | 32.083 | 397.1833
Lysate C | 32.09 | 395.2085
Lysate C
Lysate D | 34.304 | 91.3478
Lysate D | 34.647 | 72.814
Lysate D
Lysate E | 36.98 | 15.5539
Lysate E | 36.982 | 15.5316
Lysate E
Lysate F | 27.157 | 10339.4033
Lysate F | 27.136 | 10484.1641
Lysate F
Lysate G | 29.328 | 2458.2307
Lysate G | 29.329 | 2456.6616
Lysate G
Lysate H | 31.594 | 548.7584
Lysate H | 31.648 | 529.5483
Lysate H
Lysate I | 33.944 | 115.9803
Lysate I | 33.984 | 112.9346
Lysate I
Lysate J | 36.338 | 23.7814
Lysate J | 36.418 | 22.563
Lysate J

## Run 6
Run 6 - Lab ABL1 Primers
Standard Curve | Plasmid Y
Gradient | -3.426
Intercept | 40.347
Ct threshold | 0.1
Samples | Ct value | Copy number
Plasmid X 1 | 33.131 | 127.8238
Plasmid X 1 | 33.236 | 119.084
Plasmid X 1
Plasmid X 2 | 29.884 | 1133.3137
Plasmid X 2 | 29.879 | 1137.14
Plasmid X 2
Plasmid X 3 | 26.441 | 11468.6904
Plasmid X 3 | 26.378 | 11966.0527
Plasmid X 3
Plasmid X 4 | 22.969 | 118305.5
Plasmid X 4 | 22.968 | 118430.8516
Plasmid X 4
Plasmid X 5 | 19.539 | 1186274.875
Plasmid X 5 | 19.462 | 1249483.25
Plasmid X 5
Plasmid X 6 | 16.177 | 11373326
Plasmid X 6 | 16.002 | 12793155
Plasmid X 6 |  |  | µL Plasmid Y added
Plasmid Y 1 | 33.394 | 100 | 5
Plasmid Y 1 | 33.41 | 100 | 5
Plasmid Y 1
Plasmid Y 2 | 30.142 | 1000 | 5
Plasmid Y 2 | 30.073 | 1000 | 5
Plasmid Y 2
Plasmid Y 3 | 26.671 | 10000 | 5
Plasmid Y 3 | 26.724 | 10000 | 5
Plasmid Y 3
Plasmid Y 4 | 23.278 | 100000 | 5
Plasmid Y 4 | 23.274 | 100000 | 5
Plasmid Y 4
Plasmid Y 5 | 19.835 | 1000000 | 5
Plasmid Y 5 | 19.848 | 1000000 | 5
Plasmid Y 5
Plasmid Y 6 | 16.274 | 10000000 | 5
Plasmid Y 6 | 16.259 | 10000000 | 5
Plasmid Y 6
Lysate A | 23.119 | 106986.5078
Lysate A | 23.043 | 112563.3281
Lysate A
Lysate B | 22.74 | 137980.1719
Lysate B | 22.572 | 154552.1406
Lysate B
Lysate C | 22.965 | 118671.75
Lysate C | 22.973 | 117965.9297
Lysate C
Lysate D | 23.083 | 109555.7656
Lysate D | 22.974 | 117921.7812
Lysate D
Lysate E | 23.018 | 114454.6797
Lysate E | 22.949 | 119948.6797
Lysate E
Lysate F | 23.323 | 93276.1406
Lysate F | 23.323 | 93275.0703
Lysate F
Lysate G | 22.89 | 124756.5547
Lysate G | 22.877 | 125835.3906
Lysate G
Lysate H | 22.769 | 135301.375
Lysate H | 22.784 | 134001.4688
Lysate H
Lysate I | 23.116 | 107164.4219
Lysate I | 23.126 | 106468.0547
Lysate I
Lysate J | 23.111 | 107573.5234
Lysate J | 22.981 | 117383.7422
Lysate J