## Methods
Name of Lab | Lab6
Type of Lysate received (e.g. Trizol / RLT) | RLT
RQ-PCR machine | SDS7500
RQ-PCR analysis software
Method of RNA quantification e.g.Nanodrop, Qubit (if applicable)
Real time PCR protocol e.g. EAC, Emig, name of commercial kit | EAC
Real time PCR reaction volume | 20 µl
Volume of Plasmid standard added to RQ-PCR reactions | 5 µl
Volume of cDNA added to RQ-PCR reactions | 5 µl
Please provide your laboratiories standard RQ-PCR conditions (i.e. master mix, reaction componets and PCR cycling conditions), if different from those specified in the study protocol. You may provide these in a separate document if necessary. | Run 1-4: according to table 2. Run 5+6: Mastermix 1x: 12,5μl TaqMan Universal PCR MasterMix No AmpErase UNG 0,5μl Probe 10μM 0,75μl Forward-Primer 10μM 0,75μl Reverse-Primer 10μM 5,5μl A.dest Total Volume: 20 µl + 5 µl sample = 25 µl; Lysat 2 µl in 3 µl aqua (5 µl sample)
Please provide the sequences of your laboratories ABL and BCR-ABL primers/probes, if different from the standard EAC sequences. | ABL F | 5´ - TGGAGATAACACTCTAAGCATAACTAAAGGT - 3´
| ABL R | 5´ - GATGTAGTTGCTTGGGACCCA - 3´
| ABL Probe | 5´- FAM - CCATTTTTGGTTTGGGCTTCACACCATT - TAMRA -3´
| BCR-ABL F | 5'-TCCGCTGACCATCAAYAAGGA-3'
| BCR-ABL R | 5'-CACTCAGACCCTGAGGCTCAA-3'
| BCR-ABL Probe | 5´- FAM - CCCTTCAGCGGCCAGTAGCATCTGA - TAMRA – 3´

## Overview
| Lysate 1 |  | Lysate 2 |  | Lysate 3
| Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6
| Primer set 1 | Primer set 2 | Primer set 3 | Primer set 2 | Lab BCR-ABL1 | Lab ABL1
| Plasmid X 1 | X 1 | X 1 | X 1 | X 1 | X 1
| Plasmid X 2 | X 2 | X 2 | X 2 | X 2 | X 2
| Plasmid X 3 | X 3 | X 3 | X 3 | X 3 | X 3
| Plasmid X 4 | X 4 | X 4 | X 4 | X 4 | X 4
| Plasmid X 5 | X 5 | X 5 | X 5 | X 5 | X 5
| Plasmid X 6 | X 6 | X 6 | X 6 | X 6 | X 6
| Plasmid Y 1 | Y 1 | Y 1 | Y 1 | Y 1 | Y 1
| Plasmid Y 2 | Y 2 | Y 2 | Y 2 | Y 2 | Y 2
| Plasmid Y 3 | Y 3 | Y 3 | Y 3 | Y 3 | Y 3
| Plasmid Y 4 | Y 4 | Y 4 | Y 4 | Y 4 | Y 4
| Plasmid Y 5 | Y 5 | Y 5 | Y 5 | Y 5 | Y 5
| Plasmid Y 6 | Y 6 | Y 6 | Y 6 | Y 6 | Y 6
| Lysate A | A | A | A | A | A
| Lysate B | B | B | B | B | B
| Lysate C | C | C | C | C | C
| Lysate D | D | D | D | D | D
| Lysate E | E | E | E | E | E
| Lysate F | F | F | F | F | F
| Lysate G | G | G | G | G | G
| Lysate H | H | H | H | H | H
| Lysate I | I | I | I | I | I
| Lysate J | J | J | J | J | J
| NTC | NTC | NTC | NTC | NTC | NTC
Standard curve to use
23 points in duplicate = 46 | 46 | 46 | 46 | 46 | 46 | 46 | 276
276 PCRs
23 points in triplicate = 69 | 69 | 69 | 69 | 69 | 69 | 69 | 414
414 PCRs

## RNA - Optional
| RNA volume (µL) | RNA concentration (ng/µL) | RNA 260/280 | RNA 260/230 | Total RNA (µg)
Lysate A 1
Lysate A 2
Lysate A 3
Lysate B 1
Lysate B 2
Lysate B 3
Lysate C 1
Lysate C 2
Lysate C 3
Lysate D 1
Lysate D 2
Lysate D 3
Lysate E 1
Lysate E 2
Lysate E 3
Lysate F 1
Lysate F 2
Lysate F 3
Lysate G 1
Lysate G 2
Lysate G 3
Lysate H 1
Lysate H 2
Lysate H 3
Lysate I 1
Lysate I 2
Lysate I 3
Lysate J 1
Lysate J 2
Lysate J 3

## Run 1
Run 1 - Primer Set 1
Standard Curve | Plasmid X
Gradient | -3.4
Intercept | 37.771
Ct threshold | 0.1
Samples | Ct value | Copy number | µL Plasmid X added
Plasmid X 1 | 30.9025 | 100 | 5
Plasmid X 1 | 30.9988 | 100 | 5
Plasmid X 1 | 30.9477 | 100 | 5
Plasmid X 2 | 27.5659 | 1000 | 5
Plasmid X 2 | 27.545 | 1000 | 5
Plasmid X 2 | 27.5521 | 1000 | 5
Plasmid X 3 | 24.1911 | 10000 | 5
Plasmid X 3 | 24.1799 | 10000 | 5
Plasmid X 3 | 24.282 | 10000 | 5
Plasmid X 4 | 20.7281 | 100000 | 5
Plasmid X 4 | 20.9073 | 100000 | 5
Plasmid X 4 | 20.8197 | 100000 | 5
Plasmid X 5 | 17.3407 | 1000000 | 5
Plasmid X 5 | 17.3572 | 1000000 | 5
Plasmid X 5 | 17.2725 | 1000000 | 5
Plasmid X 6 | 13.9168 | 10000000 | 5
Plasmid X 6 | 14.0498 | 10000000 | 5
Plasmid X 6 | 13.9428 | 10000000 | 5
Plasmid Y 1 | 0 | 0
Plasmid Y 1 | 0 | 0
Plasmid Y 1
Plasmid Y 2 | 45.7543 | 0.0044853
Plasmid Y 2 | 0 | 0
Plasmid Y 2
Plasmid Y 3 | 42.0375 | 0.0556
Plasmid Y 3 | 38.073 | 0.81505
Plasmid Y 3
Plasmid Y 4 | 38.2507 | 0.72264
Plasmid Y 4 | 38.4014 | 0.65253
Plasmid Y 4
Plasmid Y 5 | 34.0155 | 12.7255
Plasmid Y 5 | 34.4535 | 9.4593
Plasmid Y 5
Plasmid Y 6 | 30.5663 | 131.6009
Plasmid Y 6 | 30.7201 | 118.5821
Plasmid Y 6
Lysate A | 24.6824 | 7078.7183
Lysate A | 24.6032 | 7468.9092
Lysate A
Lysate B | 26.5318 | 2022.8588
Lysate B | 26.5145 | 2046.7659
Lysate B
Lysate C | 29.3588 | 298.1406
Lysate C | 29.2697 | 316.6961
Lysate C
Lysate D | 31.1946 | 85.9879
Lysate D | 31.2836 | 80.9588
Lysate D
Lysate E | 33.4659 | 18.4655
Lysate E | 33.0258 | 24.8776
Lysate E
Lysate F | 0 | 0
Lysate F | 36.5661 | 2.2618
Lysate F
Lysate G | 39.1587 | 0.39071
Lysate G | 37.7131 | 1.0401
Lysate G
Lysate H | 0 | 0
Lysate H | 0 | 0
Lysate H
Lysate I | 42.419 | 0.042939
Lysate I | 41.4029 | 0.085454
Lysate I
Lysate J | 38.5682 | 0.58283
Lysate J | 41.448 | 0.08288
Lysate J

## Run 2
Run 2 - Primer Set 2
Standard Curve | Plasmid X
Gradient | -3.472
Intercept | 38.599
Ct threshold | 0.1
Samples | Ct value | Copy number | µL Plasmid X added
Plasmid X 1 | 31.2362 | 100 | 5
Plasmid X 1 | 31.6632 | 100 | 5
Plasmid X 1 | 32.1673 | 100 | 5
Plasmid X 2 | 28.2517 | 1000 | 5
Plasmid X 2 | 28.281 | 1000 | 5
Plasmid X 2 | 28.0388 | 1000 | 5
Plasmid X 3 | 24.6437 | 10000 | 5
Plasmid X 3 | 24.6603 | 10000 | 5
Plasmid X 3 | 24.6379 | 10000 | 5
Plasmid X 4 | 21.3037 | 100000 | 5
Plasmid X 4 | 21.2564 | 100000 | 5
Plasmid X 4 | 21.1719 | 100000 | 5
Plasmid X 5 | 17.6801 | 1000000 | 5
Plasmid X 5 | 17.7389 | 1000000 | 5
Plasmid X 5 | 17.763 | 1000000 | 5
Plasmid X 6 | 14.4229 | 10000000 | 5
Plasmid X 6 | 14.4148 | 10000000 | 5
Plasmid X 6 | 14.1825 | 10000000 | 5
Plasmid Y 1 | 32.1206 | 73.4042
Plasmid Y 1 | 32.0287 | 78.0134
Plasmid Y 1
Plasmid Y 2 | 28.4742 | 823.8184
Plasmid Y 2 | 28.565 | 775.6476
Plasmid Y 2
Plasmid Y 3 | 25.0209 | 8134.2773
Plasmid Y 3 | 25.1175 | 7629.4292
Plasmid Y 3
Plasmid Y 4 | 21.6231 | 77419.5781
Plasmid Y 4 | 21.6646 | 75313.4375
Plasmid Y 4
Plasmid Y 5 | 18.226 | 736488.875
Plasmid Y 5 | 18.1396 | 779885.4375
Plasmid Y 5
Plasmid Y 6 | 14.44 | 9066845
Plasmid Y 6 | 14.2391 | 10359291
Plasmid Y 6
Lysate A | 20.3764 | 176957.7031
Lysate A | 20.0956 | 213167.7031
Lysate A
Lysate B | 19.7133 | 288968.9375
Lysate B | 19.5641 | 288968.9375
Lysate B
Lysate C | 20.0711 | 216668.4531
Lysate C | 19.9326 | 237507.1875
Lysate C
Lysate D | 19.6702 | 282653.1875
Lysate D | 19.5255 | 311103
Lysate D
Lysate E | 19.6496 | 286529.0313
Lysate E | 19.5767 | 300719.6875
Lysate E
Lysate F | 19.6604 | 284481.2188
Lysate F | 19.6098 | 294191.4688
Lysate F
Lysate G | 19.9253 | 238663.2031
Lysate G | 19.8331 | 253698.4063
Lysate G
Lysate H | 19.792 | 260710.6406
Lysate H | 19.8442 | 251841.6094
Lysate H
Lysate I | 20.0245 | 223465.1719
Lysate I | 19.8779 | 246283.4844
Lysate I
Lysate J | 19.9358 | 237002.7656
Lysate J | 19.8337 | 253605.375
Lysate J

## Run 3
Run 3 - Primer Set 3
Standard Curve | Plasmid Y
Gradient | -3.438
Intercept | 38.146
Ct threshold | 0.1
Samples | Ct value | Copy number
Plasmid X 1 | 36.7585 | 2.5334
Plasmid X 1 | 0 | 0
Plasmid X 1
Plasmid X 2 | 0 | 0
Plasmid X 2 | 0 | 0
Plasmid X 2
Plasmid X 3 | 0 | 0
Plasmid X 3 | 0 | 0
Plasmid X 3
Plasmid X 4 | 0 | 0
Plasmid X 4 | 37.0121 | 2.1376
Plasmid X 4
Plasmid X 5 | 0 | 0
Plasmid X 5 | 0 | 0
Plasmid X 5
Plasmid X 6 | 0 | 0
Plasmid X 6 | 0 | 0
Plasmid X 6 |  |  | µL Plasmid Y added
Plasmid Y 1 | 31.1602 | 100 | 5
Plasmid Y 1 | 31.3519 | 100 | 5
Plasmid Y 1 | 30.9411 | 100 | 5
Plasmid Y 2 | 27.8006 | 1000 | 5
Plasmid Y 2 | 27.9653 | 1000 | 5
Plasmid Y 2 | 27.8676 | 1000 | 5
Plasmid Y 3 | 24.4509 | 10000 | 5
Plasmid Y 3 | 24.4778 | 10000 | 5
Plasmid Y 3 | 24.5928 | 10000 | 5
Plasmid Y 4 | 21.0915 | 100000 | 5
Plasmid Y 4 | 21.0061 | 100000 | 5
Plasmid Y 4 | 20.8305 | 100000 | 5
Plasmid Y 5 | 17.5425 | 1000000 | 5
Plasmid Y 5 | 17.598 | 1000000 | 5
Plasmid Y 5 | 17.5674 | 1000000 | 5
Plasmid Y 6 | 13.9763 | 10000000 | 5
Plasmid Y 6 | 14.0815 | 10000000 | 5
Plasmid Y 6 | 13.8772 | 10000000 | 5
Lysate A | 48.6895 | 0.00085716
Lysate A | 41.9722 | 0.077105
Lysate A
Lysate B | 44.8504 | 0.011216
Lysate B | 47.1823 | 0.0023523
Lysate B
Lysate C | 0 | 0
Lysate C | 43.3647 | 0.03034
Lysate C
Lysate D | 47.437 | 0.0019834
Lysate D | 39.5697 | 0.38542
Lysate D
Lysate E | 41.1933 | 0.12991
Lysate E | 42.6818 | 0.047936
Lysate E
Lysate F | 23.6562 | 23.6562
Lysate F | 23.493 | 23.493
Lysate F
Lysate G | 26.4771 | 16408.3027
Lysate G | 26.3025 | 18303.918
Lysate G
Lysate H | 28.3056 | 728.744
Lysate H | 28.0035 | 892.2261
Lysate H
Lysate I | 30.9525 | 123.7739
Lysate I | 30.8099 | 136.1771
Lysate I
Lysate J | 33.7898 | 18.5041
Lysate J | 33.6433 | 20.4127
Lysate J

## Run 4
Run 4 - Primer Set 2
Standard Curve | Plasmid Y
Gradient | -3.492
Intercept | 38.993
Ct threshold | 0.1
Samples | Ct value | Copy number
Plasmid X 1 | 31.492 | 140.6779
Plasmid X 1 | 31.5098 | 139.0347
Plasmid X 1
Plasmid X 2 | 28.2077 | 1226.8375
Plasmid X 2 | 28.1534 | 1271.5184
Plasmid X 2
Plasmid X 3 | 24.6727 | 12621.7314
Plasmid X 3 | 24.7478 | 12012.2412
Plasmid X 3
Plasmid X 4 | 21.3429 | 113419.1016
Plasmid X 4 | 21.3596 | 112179.1719
Plasmid X 4
Plasmid X 5 | 17.726 | 1231680.125
Plasmid X 5 | 17.8652 | 1123662.375
Plasmid X 5
Plasmid X 6 | 14.4733 | 10519719
Plasmid X 6 | 14.4039 | 11011845
Plasmid X 6 |  |  | µL Plasmid Y added
Plasmid Y 1 | 31.8661 | 100 | 5
Plasmid Y 1 | 31.9094 | 100 | 5
Plasmid Y 1 | 32.176 | 100 | 5
Plasmid Y 2 | 28.4644 | 1000 | 5
Plasmid Y 2 | 28.5553 | 1000 | 5
Plasmid Y 2 | 28.4325 | 1000 | 5
Plasmid Y 3 | 24.9523 | 10000 | 5
Plasmid Y 3 | 25.0118 | 10000 | 5
Plasmid Y 3 | 25.1428 | 10000 | 5
Plasmid Y 4 | 21.5958 | 100000 | 5
Plasmid Y 4 | 21.6331 | 100000 | 5
Plasmid Y 4 | 21.5249 | 100000 | 5
Plasmid Y 5 | 18.1248 | 1000000 | 5
Plasmid Y 5 | 18.2196 | 1000000 | 5
Plasmid Y 5 | 18.1786 | 1000000 | 5
Plasmid Y 6 | 14.4277 | 10000000 | 5
Plasmid Y 6 | 14.4893 | 10000000 | 5
Plasmid Y 6 | 14.3323 | 10000000 | 5
Lysate A | 19.938 | 286431.2813
Lysate A | 19.9597 | 282370.7813
Lysate A
Lysate B | 19.9629 | 281764.1563
Lysate B | 19.8943 | 294803.5625
Lysate B
Lysate C | 19.9468 | 284771.75
Lysate C | 19.7552 | 323139.8125
Lysate C
Lysate D | 20.0149 | 272276.375
Lysate D | 19.8633 | 300895.2813
Lysate D
Lysate E | 21.0972 | 133367.7813
Lysate E | 21.1433 | 129381.3516
Lysate E
Lysate F | 19.7711 | 319766
Lysate F | 19.7722 | 319519.9375
Lysate F
Lysate G | 20.3211 | 222488.5313
Lysate G | 20.2444 | 234040.1094
Lysate G
Lysate H | 19.8652 | 300523.5
Lysate H | 19.8311 | 307347.4375
Lysate H
Lysate I | 20.0851 | 259965.0938
Lysate I | 19.9898 | 276820.8125
Lysate I
Lysate J | 20.123 | 253542.1406
Lysate J | 20.1196 | 254115.5
Lysate J

## Run 5
Run 5 - Lab BCR-ABL1 Primers
Standard Curve | Plasmid Y
Gradient | -3.578
Intercept | 40.352
Ct threshold | 0.1
Samples | Ct value | Copy number
Plasmid X 1 | 31.7141 | 259.7016
Plasmid X 1 | 31.4311 | 311.5858
Plasmid X 1
Plasmid X 2 | 28.0847 | 2685.2959
Plasmid X 2 | 28.0605 | 2727.3896
Plasmid X 2
Plasmid X 3 | 24.5687 | 25810.7129
Plasmid X 3 | 24.6585 | 24360.873
Plasmid X 3
Plasmid X 4 | 21.2867 | 213406.0313
Plasmid X 4 | 21.2198 | 222784.8438
Plasmid X 4
Plasmid X 5 | 17.7357 | 2097965.75
Plasmid X 5 | 17.6929 | 2156585
Plasmid X 5
Plasmid X 6 | 14.4923 | 16919632
Plasmid X 6 | 14.2947 | 19214524
Plasmid X 6 |  |  | µL Plasmid Y added
Plasmid Y 1 | 33.3182 | 100 | 5
Plasmid Y 1 | 32.6345 | 100 | 5
Plasmid Y 1 | 33.1439 | 100 | 5
Plasmid Y 2 | 29.6576 | 1000 | 5
Plasmid Y 2 | 29.681 | 1000 | 5
Plasmid Y 2 | 29.8241 | 1000 | 5
Plasmid Y 3 | 26.225 | 10000 | 5
Plasmid Y 3 | 26.0949 | 10000 | 5
Plasmid Y 3 | 26.1295 | 10000 | 5
Plasmid Y 4 | 22.5272 | 100000 | 5
Plasmid Y 4 | 22.3144 | 100000 | 5
Plasmid Y 4 | 22.5598 | 100000 | 5
Plasmid Y 5 | 19.0181 | 1000000 | 5
Plasmid Y 5 | 19.0159 | 1000000 | 5
Plasmid Y 5 | 0 | 0 | 5
Plasmid Y 6 | 15.1417 | 10000000 | 5
Plasmid Y 6 | 15.1123 | 10000000 | 5
Plasmid Y 6 | 15.2691 | 10000000 | 5
Lysate A | 25.186 | 17347.6758
Lysate A | 25.0584 | 18832.6191
Lysate A
Lysate B | 27.5509 | 3786.2051
Lysate B | 27.4313 | 4089.1318
Lysate B
Lysate C | 29.7667 | 909.5316
Lysate C | 29.5425 | 1050.7111
Lysate C
Lysate D | 32.4589 | 160.7968
Lysate D | 32.4425 | 162.5034
Lysate D
Lysate E | 34.945 | 32.461
Lysate E | 34.5717 | 41.2778
Lysate E
Lysate F | 25.2563 | 16580.2871
Lysate F | 25.1689 | 17540.0625
Lysate F
Lysate G | 27.6332 | 3590.7954
Lysate G | 27.602 | 3663.615
Lysate G
Lysate H | 30.0052 | 780.105
Lysate H | 30.0718 | 747.3596
Lysate H
Lysate I | 33.504 | 82.0659
Lysate I | 33.0366 | 110.8669
Lysate I
Lysate J | 35.9403 | 17.106
Lysate J | 35.181 | 27.8872
Lysate J

## Run 6
Run 6 - Lab ABL1 Primers
Standard Curve | Plasmid Y
Gradient | -3.517
Intercept | 39.993
Ct threshold | 0.1
Samples | Ct value | Copy number
Plasmid X 1 | 32.8674 | 106.1298
Plasmid X 1 | 32.5304 | 132.3292
Plasmid X 1
Plasmid X 2 | 29.0245 | 1313.3328
Plasmid X 2 | 29.0987 | 1251.099
Plasmid X 2
Plasmid X 3 | 25.7795 | 10988.8731
Plasmid X 3 | 25.7853 | 10946.5576
Plasmid X 3
Plasmid X 4 | 22.3736 | 102148.1641
Plasmid X 4 | 22.2655 | 109642.6328
Plasmid X 4
Plasmid X 5 | 18.6349 | 1180714.75
Plasmid X 5 | 18.6126 | 1198078
Plasmid X 5
Plasmid X 6 | 15.2676 | 10702413
Plasmid X 6 | 15.1686 | 11419070
Plasmid X 6 |  |  | µL Plasmid Y added
Plasmid Y 1 | 33.1935 | 100 | 5
Plasmid Y 1 | 32.994 | 100 | 5
Plasmid Y 1 | 32.59 | 100 | 5
Plasmid Y 2 | 29.4854 | 1000 | 5
Plasmid Y 2 | 29.5497 | 1000 | 5
Plasmid Y 2 | 29.3215 | 1000 | 5
Plasmid Y 3 | 25.7885 | 10000 | 5
Plasmid Y 3 | 25.9101 | 10000 | 5
Plasmid Y 3 | 25.8322 | 10000 | 5
Plasmid Y 4 | 22.4687 | 100000 | 5
Plasmid Y 4 | 22.5572 | 100000 | 5
Plasmid Y 4 | 22.5208 | 100000 | 5
Plasmid Y 5 | 19.0195 | 1000000 | 5
Plasmid Y 5 | 19.0361 | 1000000 | 5
Plasmid Y 5 | 19.0199 | 1000000 | 5
Plasmid Y 6 | 15.1758 | 10000000 | 5
Plasmid Y 6 | 15.2108 | 10000000 | 5
Plasmid Y 6 | 15.2899 | 10000000 | 5
Lysate A | 21.0595 | 241454.5156
Lysate A | 20.9935 | 252114.6563
Lysate A
Lysate B | 20.9618 | 257406.6094
Lysate B | 20.81 | 284289.5625
Lysate B
Lysate C | 20.9817 | 254077.75
Lysate C | 20.8724 | 272915.9688
Lysate C
Lysate D | 20.9621 | 257348.7656
Lysate D | 20.8173 | 282941.0625
Lysate D
Lysate E | 20.6778 | 309988.8438
Lysate E | 20.4995 | 348365.8438
Lysate E
Lysate F | 20.7467 | 296317.9688
Lysate F | 21.0385 | 244797.6563
Lysate F
Lysate G | 21.0708 | 239670.0469
Lysate G | 21.0032 | 250526.2188
Lysate G
Lysate H | 21.0532 | 242461.1406
Lysate H | 21.0013 | 250837.6563
Lysate H
Lysate I | 21.5541 | 174671.125
Lysate I | 21.6073 | 168696.9375
Lysate I
Lysate J | 21.0798 | 238268.5781
Lysate J | 21.1099 | 233614.6719
Lysate J