## Methods
Name of Lab | Lab7
Type of Lysate received (e.g. Trizol / RLT) | Trizol
RQ-PCR machine | ABI Prism 7500 SDS
RQ-PCR analysis software | 7500 Software v2.0.6
Method of RNA quantification e.g.Nanodrop, Qubit (if applicable) | Nanodrop
Real time PCR protocol e.g. EAC, Emig, name of commercial kit | EAC adapted
Real time PCR reaction volume | 20
Volume of Plasmid standard added to RQ-PCR reactions | 5
Volume of cDNA added to RQ-PCR reactions | 16
Please provide your laboratiories standard RQ-PCR conditions (i.e. master mix, reaction componets and PCR cycling conditions), if different from those specified in the study protocol. You may provide these in a separate document if necessary. | 300 nM F primer 1 µl; 300 nM R primer 1µl; 200 nM probe 1µL, Taqman Universal PCR Master Mix 12,5 µl, cDNa 5µL, Water to 25 µL; 1x cycle 50ºC 2 min.; 1x cycle 95ºC 10 min.; 50x cycles 95ºC 15 sec. 60ºC 1 min.
Please provide the sequences of your laboratories ABL and BCR-ABL primers/probes, if different from the standard EAC sequences. | ABL F
ABL R
ABL Probe
BCR-ABL F
BCR-ABL R
BCR-ABL Probe

## Overview
| Lysate 1 |  | Lysate 2 |  | Lysate 3
| Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6
| Primer set 1 | Primer set 2 | Primer set 3 | Primer set 2 | Lab BCR-ABL1 | Lab ABL1
| Plasmid X 1 | X 1 | X 1 | X 1 | X 1 | X 1
| Plasmid X 2 | X 2 | X 2 | X 2 | X 2 | X 2
| Plasmid X 3 | X 3 | X 3 | X 3 | X 3 | X 3
| Plasmid X 4 | X 4 | X 4 | X 4 | X 4 | X 4
| Plasmid X 5 | X 5 | X 5 | X 5 | X 5 | X 5
| Plasmid X 6 | X 6 | X 6 | X 6 | X 6 | X 6
| Plasmid Y 1 | Y 1 | Y 1 | Y 1 | Y 1 | Y 1
| Plasmid Y 2 | Y 2 | Y 2 | Y 2 | Y 2 | Y 2
| Plasmid Y 3 | Y 3 | Y 3 | Y 3 | Y 3 | Y 3
| Plasmid Y 4 | Y 4 | Y 4 | Y 4 | Y 4 | Y 4
| Plasmid Y 5 | Y 5 | Y 5 | Y 5 | Y 5 | Y 5
| Plasmid Y 6 | Y 6 | Y 6 | Y 6 | Y 6 | Y 6
| Lysate A | A | A | A | A | A
| Lysate B | B | B | B | B | B
| Lysate C | C | C | C | C | C
| Lysate D | D | D | D | D | D
| Lysate E | E | E | E | E | E
| Lysate F | F | F | F | F | F
| Lysate G | G | G | G | G | G
| Lysate H | H | H | H | H | H
| Lysate I | I | I | I | I | I
| Lysate J | J | J | J | J | J
| NTC | NTC | NTC | NTC | NTC | NTC
Standard curve to use
23 points in duplicate = 46 | 46 | 46 | 46 | 46 | 46 | 46 | 276
276 PCRs
23 points in triplicate = 69 | 69 | 69 | 69 | 69 | 69 | 69 | 414
414 PCRs

## RNA - Optional
| RNA volume (µL) | RNA concentration (ng/µL) | RNA 260/280 | RNA 260/230 | Total RNA (µg)
Lysate A 1 | 50 | 52.6 |  |  | 2.63
Lysate A 2 | 50 | 50.4 |  |  | 2.52
Lysate A 3 | 50 | 40.8 |  |  | 2.04
Lysate B 1 | 50 | 59.6 |  |  | 2.98
Lysate B 2 | 50 | 53.4 |  |  | 2.67
Lysate B 3 | 50 | 52.5 |  |  | 2.625
Lysate C 1 | 50 | 58.3 |  |  | 2.915
Lysate C 2 | 50 | 47.3 |  |  | 2.365
Lysate C 3 | 50 | 50.8 |  |  | 2.54
Lysate D 1 | 50 | 57.9 |  |  | 2.895
Lysate D 2 | 50 | 60.6 |  |  | 3.03
Lysate D 3 | 50 | 54.9 |  |  | 2.745
Lysate E 1 | 50 | 62 |  |  | 3.1
Lysate E 2 | 50 | 59.4 |  |  | 2.97
Lysate E 3 | 50 | 62.5 |  |  | 3.125
Lysate F 1 | 50 | 59.7 |  |  | 2.985
Lysate F 2 | 50 | 41.4 |  |  | 2.07
Lysate F 3 | 50 | 53.5 |  |  | 2.675
Lysate G 1 | 50 | 59.7 |  |  | 2.985
Lysate G 2 | 50 | 46.6 |  |  | 2.33
Lysate G 3 | 50 | 60.3 |  |  | 3.015
Lysate H 1 | 50 | 59.1 |  |  | 2.955
Lysate H 2 | 50 | 57.7 |  |  | 2.885
Lysate H 3 | 50 | 55.3 |  |  | 2.765
Lysate I 1 | 50 | 56.6 |  |  | 2.83
Lysate I 2 | 50 | 63.4 |  |  | 3.17
Lysate I 3 | 50 | 54.9 |  |  | 2.745
Lysate J 1 | 50 | 53.5 |  |  | 2.675
Lysate J 2 | 50 | 58.9 |  |  | 2.945
Lysate J 3 | 50 | 53.9 |  |  | 2.695

## Run 1
Run 1 - Primer Set 1
Standard Curve | Plasmid X
Gradient | -3.474
Intercept | 39.704
Ct threshold | 0.1
Samples | Ct value | Copy number | µL Plasmid X added
Plasmid X 1 | 32.933 | 100 | 5
Plasmid X 1 | 32.7565 | 100 | 5
Plasmid X 1 | 33.123 | 100 | 5
Plasmid X 2 | 29.2258 | 1000 | 5
Plasmid X 2 | 29.2158 | 1000 | 5
Plasmid X 2 | 29.1303 | 1000 | 5
Plasmid X 3 | 25.7443 | 10000 | 5
Plasmid X 3 | 25.7362 | 10000 | 5
Plasmid X 3 | 25.688 | 10000 | 5
Plasmid X 4 | 22.2736 | 100000 | 5
Plasmid X 4 | 22.1857 | 100000 | 5
Plasmid X 4 | 22.1354 | 100000 | 5
Plasmid X 5 | 18.745 | 1000000 | 5
Plasmid X 5 | 18.8142 | 1000000 | 5
Plasmid X 5 | 18.928 | 1000000 | 5
Plasmid X 6 | 15.5351 | 10000000 | 5
Plasmid X 6 | 15.5651 | 10000000 | 5
Plasmid X 6 | 15.5139 | 10000000 | 5
Plasmid Y 1 | 0 | 0
Plasmid Y 1 | 0 | 0
Plasmid Y 1 | 0 | 0
Plasmid Y 2 | 0 | 0
Plasmid Y 2 | 0 | 0
Plasmid Y 2 | 0 | 0
Plasmid Y 3 | 0 | 0
Plasmid Y 3 | 0 | 0
Plasmid Y 3 | 0 | 0
Plasmid Y 4 | 44.305 | 0.047379
Plasmid Y 4 | 44.763 | 0.034997
Plasmid Y 4 | 43.8518 | 0.064017
Plasmid Y 5 | 38.8254 | 1.7906
Plasmid Y 5 | 38.7016 | 1.9436
Plasmid Y 5 | 38.765 | 1.8633
Plasmid Y 6 | 35.4251 | 17.0474
Plasmid Y 6 | 36.5571 | 8.0512
Plasmid Y 6 | 36.2999 | 9.5471
Lysate A | 27.3158 | 3678.5684
Lysate A | 27.3052 | 3704.4194
Lysate A | 27.3572 | 3579.0186
Lysate B | 29.6231 | 797.267
Lysate B | 29.6963 | 759.4872
Lysate B | 29.7134 | 750.95
Lysate C | 32.9839 | 85.9562
Lysate C | 32.9228 | 89.5107
Lysate C | 32.9484 | 88.0062
Lysate D | 34.1097 | 40.7639
Lysate D | 34.429 | 32.9888
Lysate D | 34.4951 | 31.5747
Lysate E | 37.95 | 3.1981
Lysate E | 37.8054 | 3.5202
Lysate E | 38.0859 | 2.9231
Lysate F | 37.9968 | 3.1008
Lysate F | 38.94 | 1.6593
Lysate F | 39.8845 | 0.88751
Lysate G | 46.4041 | 0.011795
Lysate G | 44.8008 | 0.034131
Lysate G | 44.5834 | 0.03942
Lysate H | 44.2171 | 0.081452
Lysate H | 43.4884 | 0.063845
Lysate H | 43.855 | 0.0089851
Lysate I | 46.8147 | 0.0089851
Lysate I | 0 | 0
Lysate I | 47.7925 | 0.0046999
Lysate J | 46.7533 | 0.0093579
Lysate J | 43.6009 | 0.075597
Lysate J | 45.175 | 0.026617

## Run 2
Run 2 - Primer Set 2
Standard Curve | Plasmid X
Gradient | -3.478
Intercept | 40.165
Ct threshold | 0.1
Samples | Ct value | Copy number | µL Plasmid X added
Plasmid X 1 | 33.2669 | 100 | 5
Plasmid X 1 | 33.1003 | 100 | 5
Plasmid X 1 | 33.3533 | 100 | 5
Plasmid X 2 | 29.7227 | 1000 | 5
Plasmid X 2 | 29.734 | 1000 | 5
Plasmid X 2 | 29.7277 | 1000 | 5
Plasmid X 3 | 26.2668 | 10000 | 5
Plasmid X 3 | 26.2487 | 10000 | 5
Plasmid X 3 | 26.1387 | 10000 | 5
Plasmid X 4 | 22.7262 | 100000 | 5
Plasmid X 4 | 22.7508 | 100000 | 5
Plasmid X 4 | 22.7299 | 100000 | 5
Plasmid X 5 | 19.419 | 1000000 | 5
Plasmid X 5 | 19.3278 | 1000000 | 5
Plasmid X 5 | 19.2797 | 1000000 | 5
Plasmid X 6 | 15.8856 | 10000000 | 5
Plasmid X 6 | 15.7895 | 10000000 | 5
Plasmid X 6 | 15.7926 | 10000000 | 5
Plasmid Y 1 | 33.3747 | 89.6311
Plasmid Y 1 | 33.4836 | 83.4008
Plasmid Y 1 | 33.6149 | 76.4562
Plasmid Y 2 | 29.9513 | 864.5521
Plasmid Y 2 | 30.0015 | 836.3235
Plasmid Y 2 | 29.9777 | 849.6091
Plasmid Y 3 | 26.6211 | 7840.3345
Plasmid Y 3 | 26.515 | 8410.7969
Plasmid Y 3 | 26.4974 | 8509.5742
Plasmid Y 4 | 22.6507 | 108629.9453
Plasmid Y 4 | 22.9769 | 87530.7188
Plasmid Y 4 | 22.5999 | 112343.9219
Plasmid Y 5 | 19.6788 | 777072.25
Plasmid Y 5 | 19.6953 | 768609.0625
Plasmid Y 5 | 19.8228 | 706391.1875
Plasmid Y 6 | 15.9305 | 9293943
Plasmid Y 6 | 16.1125 | 8238833
Plasmid Y 6 | 15.9829 | 8977224
Lysate A | 22.8337 | 96235.7344
Lysate A | 22.8494 | 95235.8359
Lysate A | 22.9154 | 91168.7344
Lysate B | 22.7396 | 102418.2422
Lysate B | 22.6986 | 105235.2422
Lysate B | 22.6717 | 107130.2266
Lysate C | 23.502 | 61827.2617
Lysate C | 23.4439 | 64248.25
Lysate C | 23.4458 | 64170.0039
Lysate D | 22.4441 | 124553.2109
Lysate D | 22.4269 | 125975.0859
Lysate D | 22.2453 | 142072.7188
Lysate E | 22.8738 | 93713.3516
Lysate E | 22.8695 | 93977.2656
Lysate E | 22.9771 | 87514.9141
Lysate F | 22.8401 | 95823.9219
Lysate F | 22.8353 | 96130.4297
Lysate F | 22.9113 | 91416.0156
Lysate G | 22.8504 | 95176.8047
Lysate G | 22.7812 | 99637.0078
Lysate G | 22.7647 | 100729.0234
Lysate H | 22.7561 | 101305.8594
Lysate H | 22.6144 | 111273.2891
Lysate H | 22.6229 | 110648.6406
Lysate I | 22.9001 | 92096.7344
Lysate I | 22.8835 | 93111.9922
Lysate I | 22.8868 | 92906.9219
Lysate J | 23.0958 | 80903.5547
Lysate J | 23.0957 | 80907.1328
Lysate J | 23.0002 | 86189.7266

## Run 3
Run 3 - Primer Set 3
Standard Curve | Plasmid Y
Gradient | -3.409
Intercept | 39.419
Ct threshold | 0.1
Samples | Ct value | Copy number
Plasmid X 1 | 0 | 0
Plasmid X 1 | 0 | 0
Plasmid X 1 | 0 | 0
Plasmid X 2 | 0 | 0
Plasmid X 2 | 0 | 0
Plasmid X 2 | 0 | 0
Plasmid X 3 | 0 | 0
Plasmid X 3 | 0 | 0
Plasmid X 3 | 0 | 0
Plasmid X 4 | 0 | 0
Plasmid X 4 | 0 | 0
Plasmid X 4 | 0 | 0
Plasmid X 5 | 0 | 0
Plasmid X 5 | 0 | 0
Plasmid X 5 | 0 | 0
Plasmid X 6 | 0 | 0
Plasmid X 6 | 0 | 0
Plasmid X 6 | 0 | 0 | µL Plasmid Y added
Plasmid Y 1 | 32.5148 | 100 | 5
Plasmid Y 1 | 32.4316 | 100 | 5
Plasmid Y 1 | 32.6349 | 100 | 5
Plasmid Y 2 | 29.2005 | 1000 | 5
Plasmid Y 2 | 29.2403 | 1000 | 5
Plasmid Y 2 | 29.3137 | 1000 | 5
Plasmid Y 3 | 25.815 | 10000 | 5
Plasmid Y 3 | 25.7869 | 10000 | 5
Plasmid Y 3 | 25.8407 | 10000 | 5
Plasmid Y 4 | 22.3819 | 100000 | 5
Plasmid Y 4 | 22.4444 | 100000 | 5
Plasmid Y 4 | 22.4535 | 100000 | 5
Plasmid Y 5 | 18.9467 | 1000000 | 5
Plasmid Y 5 | 18.9509 | 1000000 | 5
Plasmid Y 5 | 18.9456 | 1000000 | 5
Plasmid Y 6 | 15.5574 | 10000000 | 5
Plasmid Y 6 | 15.5113 | 10000000 | 5
Plasmid Y 6 | 15.5041 | 10000000 | 5
Lysate A | 39.0335 | 1.2976
Lysate A | 39.2796 | 1.0988
Lysate A | 39.3377 | 1.0565
Lysate B | 40.3112 | 0.54737
Lysate B | 39.6654 | 0.84671
Lysate B | 40.213 | 0.58491
Lysate C | 39.4084 | 1.0072
Lysate C | 39.2146 | 1.1481
Lysate C | 38.6342 | 1.6993
Lysate D | 39.425 | 0.98925
Lysate D | 39.5903 | 0.89077
Lysate D | 39.2608 | 1.1128
Lysate E | 39.95 | 0.69391
Lysate E | 40.8499 | 0.38039
Lysate E | 41.2943 | 0.28175
Lysate F | 26.2208 | 7448.1362
Lysate F | 26.2157 | 7474.0537
Lysate F | 26.3608 | 6776.229
Lysate G | 27.7294 | 2688.2214
Lysate G | 27.7123 | 2719.5793
Lysate G | 27.656 | 2825.0078
Lysate H | 29.5821 | 769.0253
Lysate H | 29.4741 | 827.2097
Lysate H | 29.6963 | 711.9304
Lysate I | 32.1085 | 139.559
Lysate I | 32.028 | 147.352
Lysate I | 32.0153 | 148.6219
Lysate J | 34.9232 | 20.8437
Lysate J | 34.1865 | 34.2851
Lysate J | 34.6087 | 25.7781

## Run 4
Run 4 - Primer Set 2
Standard Curve | Plasmid Y
Gradient | -3.474
Intercept | 40.527
Ct threshold | 0.1
Samples | Ct value | Copy number
Plasmid X 1 | 33.3293 | 118.0269
Plasmid X 1 | 33.0974 | 137.6389
Plasmid X 1 | 33.0834 | 138.929
Plasmid X 2 | 29.6846 | 1321.7888
Plasmid X 2 | 29.5982 | 1399.7361
Plasmid X 2 | 29.4704 | 1523.4172
Plasmid X 3 | 26.0908 | 14311.2314
Plasmid X 3 | 26.1726 | 13555.5869
Plasmid X 3 | 26.0013 | 15185.7324
Plasmid X 4 | 22.7421 | 131716.7812
Plasmid X 4 | 22.7343 | 132394.2656
Plasmid X 4 | 22.7046 | 135028.875
Plasmid X 5 | 19.232 | 1349102.75
Plasmid X 5 | 19.2508 | 1332432.125
Plasmid X 5 | 19.2935 | 1295262.75
Plasmid X 6 | 15.8315 | 12850912
Plasmid X 6 | 15.8922 | 12344026
Plasmid X 6 | 15.9511 | 11871608 | µL Plasmid Y added
Plasmid Y 1 | 33.587 | 100 | 5
Plasmid Y 1 | 33.6313 | 100 | 5
Plasmid Y 1 | 33.2002 | 100 | 5
Plasmid Y 2 | 30.2297 | 1000 | 5
Plasmid Y 2 | 30.2095 | 1000 | 5
Plasmid Y 2 | 30.0902 | 1000 | 5
Plasmid Y 3 | 26.6592 | 10000 | 5
Plasmid Y 3 | 26.64 | 10000 | 5
Plasmid Y 3 | 26.6618 | 10000 | 5
Plasmid Y 4 | 23.2245 | 100000 | 5
Plasmid Y 4 | 23.1757 | 100000 | 5
Plasmid Y 4 | 23.0796 | 100000 | 5
Plasmid Y 5 | 19.953 | 1000000 | 5
Plasmid Y 5 | 19.8301 | 1000000 | 5
Plasmid Y 5 | 19.7984 | 1000000 | 5
Plasmid Y 6 | 16.0029 | 10000000 | 5
Plasmid Y 6 | 16.0462 | 10000000 | 5
Plasmid Y 6 | 16.0812 | 10000000 | 5
Lysate A | 23.697 | 69943.7266
Lysate A | 23.6383 | 72720.3984
Lysate A | 23.6655 | 71421.6875
Lysate B | 23.3513 | 87956.875
Lysate B | 23.2954 | 91274.6953
Lysate B | 23.2382 | 94803.2031
Lysate C | 23.5988 | 74649.25
Lysate C | 23.6181 | 73699.9844
Lysate C | 23.5588 | 76654.0703
Lysate D | 22.9883 | 111882.7109
Lysate D | 22.911 | 117761.9688
Lysate D | 22.9784 | 112622.3672
Lysate E | 23.4342 | 83252.4531
Lysate E | 23.2655 | 93102.4609
Lysate E | 23.2396 | 94713.1172
Lysate F | 24.3181 | 46339.9141
Lysate F | 24.3965 | 43995.6289
Lysate F | 24.2171 | 49549.3438
Lysate G | 23.3875 | 85870.6875
Lysate G | 23.4181 | 84149.25
Lysate G | 23.3981 | 85268.8828
Lysate H | 22.7274 | 133002.3906
Lysate H | 22.6837 | 136912
Lysate H | 22.6805 | 137207.7812
Lysate I | 23.7177 | 68993.3047
Lysate I | 23.4848 | 80510.9375
Lysate I | 23.5571 | 76742.6016
Lysate J | 23.3344 | 88945.3828
Lysate J | 23.2967 | 91200.875
Lysate J | 23.3431 | 88434.2031

## Run 5
Run 5 - Lab BCR-ABL1 Primers
Standard Curve | Plasmid Y
Gradient | -3.466
Intercept | 40.146
Ct threshold | 0.1
Samples | Ct value | Copy number
Plasmid X 1 | 31.9442 | 232.4882
Plasmid X 1 | 32.0575 | 215.6245
Plasmid X 1 | 32.174 | 199.5726
Plasmid X 2 | 28.6114 | 2127.9775
Plasmid X 2 | 28.558 | 2204.7314
Plasmid X 2 | 28.6224 | 2112.468
Plasmid X 3 | 25.1068 | 21832.0527
Plasmid X 3 | 25.2121 | 20357.166
Plasmid X 3 | 25.1462 | 21268.2852
Plasmid X 4 | 21.7715 | 200158.2188
Plasmid X 4 | 21.8723 | 187194.8125
Plasmid X 4 | 21.8236 | 193356.3438
Plasmid X 5 | 18.387 | 1896176.25
Plasmid X 5 | 18.3914 | 1890574.25
Plasmid X 5 | 18.3458 | 1948803.25
Plasmid X 6 | 14.9978 | 18017830
Plasmid X 6 | 15.1953 | 15802771
Plasmid X 6 | 14.9728 | 18320152 | µL Plasmid Y added
Plasmid Y 1 | 32.918 | 100 | 5
Plasmid Y 1 | 33.276 | 100 | 5
Plasmid Y 1 | 33.2407 | 100 | 5
Plasmid Y 2 | 29.8237 | 1000 | 5
Plasmid Y 2 | 29.8319 | 1000 | 5
Plasmid Y 2 | 29.6776 | 1000 | 5
Plasmid Y 3 | 26.3973 | 10000 | 5
Plasmid Y 3 | 26.4031 | 10000 | 5
Plasmid Y 3 | 26.2776 | 10000 | 5
Plasmid Y 4 | 22.6987 | 100000 | 5
Plasmid Y 4 | 22.8085 | 100000 | 5
Plasmid Y 4 | 22.8987 | 100000 | 5
Plasmid Y 5 | 19.463 | 1000000 | 5
Plasmid Y 5 | 19.3153 | 1000000 | 5
Plasmid Y 5 | 19.3433 | 1000000 | 5
Plasmid Y 6 | 15.8566 | 10000000 | 5
Plasmid Y 6 | 15.7791 | 10000000 | 5
Plasmid Y 6 | 15.8739 | 10000000 | 5
Lysate A | 27.2791 | 5156.5063
Lysate A | 27.3421 | 4944.9951
Lysate A | 27.3818 | 4816.4707
Lysate B | 28.8193 | 1853.4424
Lysate B | 28.9633 | 1684.3715
Lysate B | 28.7729 | 1911.4067
Lysate C | 31.844 | 248.4754
Lysate C | 31.654 | 281.9165
Lysate C | 31.7241 | 269.0934
Lysate D | 34.1627 | 53.2486
Lysate D | 33.8846 | 64.056
Lysate D | 34.02 | 58.5403
Lysate E | 35.8583 | 17.2623
Lysate E | 35.99 | 15.8153
Lysate E | 36.1239 | 14.4704
Lysate F | 26.1562 | 10872.5205
Lysate F | 26.152 | 10902.6367
Lysate F | 26.1884 | 10641.9521
Lysate G | 28.3391 | 2549.8813
Lysate G | 28.3544 | 2524.0422
Lysate G | 28.2938 | 2627.7974
Lysate H | 30.707 | 528.8467
Lysate H | 30.8517 | 480.3746
Lysate H | 30.7317 | 520.2699
Lysate I | 34.6981 | 37.3113
Lysate I | 34.9903 | 30.7282
Lysate I | 34.845 | 33.8399
Lysate J | 35.885 | 16.96
Lysate J | 35.9632 | 16.1001
Lysate J | 35.8113 | 17.8094

## Run 6
Run 6 - Lab ABL1 Primers
Standard Curve | Plasmid Y
Gradient | -3.476
Intercept | 40.235
Ct threshold | 0.1
Samples | Ct value | Copy number
Plasmid X 1 | 33.0938 | 113.3525
Plasmid X 1 | 33.2428 | 102.7011
Plasmid X 1 | 33.165 | 108.13
Plasmid X 2 | 29.4777 | 1243.6731
Plasmid X 2 | 29.3873 | 1320.3832
Plasmid X 2 | 29.3885 | 1319.391
Plasmid X 3 | 25.9144 | 13175.96
Plasmid X 3 | 25.9015 | 13289.1602
Plasmid X 3 | 26.017 | 12310.4229
Plasmid X 4 | 22.6045 | 118025.8828
Plasmid X 4 | 22.5697 | 120777.6875
Plasmid X 4 | 22.1134 | 163396.875
Plasmid X 5 | 19.0163 | 1271200
Plasmid X 5 | 19.0562 | 1238081.625
Plasmid X 5 | 19.0535 | 1240281.25
Plasmid X 6 | 15.6589 | 11750727
Plasmid X 6 | 15.6381 | 11913980
Plasmid X 6 | 15.655 | 11781239 | µL Plasmid Y added
Plasmid Y 1 | 33.24 | 100 | 5
Plasmid Y 1 | 33.52 | 100 | 5
Plasmid Y 1 | 33 | 100 | 5
Plasmid Y 2 | 29.73 | 1000 | 5
Plasmid Y 2 | 29.77 | 1000 | 5
Plasmid Y 2 | 29.84 | 1000 | 5
Plasmid Y 3 | 26.43 | 10000 | 5
Plasmid Y 3 | 26.35 | 10000 | 5
Plasmid Y 3 | 26.37 | 10000 | 5
Plasmid Y 4 | 22.83 | 100000 | 5
Plasmid Y 4 | 22.83 | 100000 | 5
Plasmid Y 4 | 22.9 | 100000 | 5
Plasmid Y 5 | 19.56 | 1000000 | 5
Plasmid Y 5 | 19.4 | 1000000 | 5
Plasmid Y 5 | 19.51 | 1000000 | 5
Plasmid Y 6 | 15.78 | 10000000 | 5
Plasmid Y 6 | 15.75 | 10000000 | 5
Plasmid Y 6 | 15.87 | 10000000 | 5
Lysate A | 23.104 | 84779.8516
Lysate A | 23.2653 | 76187.9062
Lysate A | 23.1965 | 79738.7734
Lysate B | 22.3498 | 139715.4844
Lysate B | 22.3766 | 137258.625
Lysate B | 22.299 | 144495.3281
Lysate C | 22.6631 | 113533.3047
Lysate C | 22.6859 | 111834.0234
Lysate C | 22.6366 | 115539.3594
Lysate D | 22.2879 | 145561.0156
Lysate D | 22.1646 | 157948.875
Lysate D | 22.2265 | 151609.1406
Lysate E | 22.4973 | 126711.5078
Lysate E | 22.3749 | 137416.7031
Lysate E | 22.3259 | 141944.5469
Lysate F | 22.5272 | 124228.9453
Lysate F | 22.4771 | 128416
Lysate F | 22.4559 | 130232.25
Lysate G | 22.4233 | 133078.5156
Lysate G | 22.447 | 131006.8906
Lysate G | 22.4023 | 134938.5469
Lysate H | 22.4118 | 134090.8281
Lysate H | 22.4319 | 132323.0469
Lysate H | 22.3468 | 139999.2812
Lysate I | 23.9736 | 47656.7461
Lysate I | 23.9797 | 47464.0391
Lysate I | 23.9526 | 48322.8398
Lysate J | 22.7847 | 104744.3984
Lysate J | 22.6389 | 115366.5078
Lysate J | 22.6995 | 110825.0938